Annex 19. Item 8.2.1. – Chapter 2.4.5. ‘Infection with Perkinsus marinus’

Chapter 2.4.5.

infection with Perkinsus marinus

1.	Scope

Infection with Perkinsus marinus means infection with the pathogenic agent Perkinsus marinus, of the Family Perkinsidae.

2.	Disease information

2.1.	Agent factors

2.1.1.	Aetiological agent

Perkinsus marinus is a Perkinsid parasite initially described infecting eastern oysters, Crassostrea virginica and causing disease and mortality (Mackin et al., 1950).

Current phylogenomic studies place P. marinus within the class Perkinsea of the phylum Perkinsozoa, under the Kingdom Alveolata (Reece et al., 1997).

The parasite occurs as motile zoospores, trophozoites, and schizonts. Following infection, trophozoites proliferate within oyster tissues, particularly in connective tissue and haemolymph. As trophozoites grow, they undergo schizogony: cleavage furrows form, leading to the production of multiple merozoites within a morula-like stage. Fully developed schizonts rupture to release large numbers of merozoites, which disseminate through host tissues or into the environment (Andrews, 1988; Villalba et al., 2004).

As in P. olseni, the ribosomal RNA transcription units in P. marinus are highly duplicated and variable, complicating the use of rDNA as a reliable quantitative marker for infection intensity (Bogema et al., 2021). Alternative genomic regions, including internal transcribed spacer (ITS) sequences and non-ribosomal single-copy genes, have been explored for molecular diagnostics (Audemard et al., 2004; De Faveri et al., 2009; Gauthier et al., 2006; Reece et al., 1997; Robledo et al., 1999).

Cytogenetic and molecular studies suggest that P. marinus may also display variable ploidy. Early work using microsatellite loci and karyotyping suggested diploidy (Reece et al., 1997; Robledo et al., 1999), but subsequent genomic sequencing has raised the possibility of polyploidy or aneuploidy, with variation across life stages and isolates (Bogema et al., 2021; Thompson et al., 2011). Further investigation is needed to resolve the extent and biological implications of ploidy variation in this species.

2.1.2.	Survival and stability in processed or stored samples

The survival and stability of P. marinus varies according to the conditions when processing and storing samples. Refrigeration (2–6°C) and low salinity (7 ppt) significantly decreases the viability and metabolic activity of P. marinus but could not eliminate P. marinus from oysters (La Peyre et al., 2008b; 2010). It is likely that P. marinus can survive in dead or frozen oysters for an unknown, potentially long period (Andrews & Hewatt, 1957).

2.1.3.	Survival and stability outside the host

Perkinsus marinus meront cells can survive for at least 14 days in the water column, with their infectivity potentially persisting beyond 7days (Chu & Lund, 2006).

For inactivation methods, see Section 2.4.5.

2.2.	Host factors

2.2.1.	Susceptible host species

Species that fulfil the criteria for listing as susceptible to infection with P. marinus according to Chapter 1.5. of the Aquatic Animal Health Code (Aquatic Code) are:

| Family | Scientific name | Common name |
| --- | --- | --- |
| Ostreidae | Crassostrea corteziensis | Cortez oyster |
|  | Crassostrea virginica | American cupped oyster |
|  | Magallana [syn. Crassostrea] ariakensis | Ariake cupped oyster |
|  | Saccostrea palmula | palmate oyster |

2.2.2.	Species with incomplete evidence for susceptibility

Species for which there is incomplete evidence to fulfil the criteria for listing as susceptible to infection with P. marinus according to Chapter 1.5. of the Aquatic Code are:

| Family | Scientific name | Common name |
| --- | --- | --- |
| Ostreidae | Crassostrea gasar tulipa | Gasar cupped oyster |
|  | Crassostrea rhizophorae | mangrove cupped oyster |
|  | Magallana [syn. Crassostrea] gigas | Pacific cupped oyster |

In addition, pathogen-specific positive polymerase chain reaction (PCR) results have been reported in the following species, but no active infection has been demonstrated:

| Family | Scientific name | Common name |
| --- | --- | --- |
| Myidae | Mya arenaria | soft shell clam |
| Ostreidae | Crassostrea columbiensis | Columbia black oyster |
|  | Striostrea prismatica | stone oyster |

2.2.3.	Likelihood of infection by species, host life stage, population or sub-populations

Perkinsus marinus usually infects and kills oysters between 1 and 3 years of age. Differences in clinical expression to the infection with Perkinsus marinus has been shown between Crassostrea virginica populations (e.g. Bushek & Allen, 1996; Green-Beach et al., 2011).

Compared with C. virginica, Crassostrea corteziensis, Saccostrea palmula and triploid M. ariakensis were found to exhibit partial resistance to P. marinus infection and associated disease (Cáceres-Martínez et al., 2012; 2016; Calvo et al. 2000; 2001).

2.2.4.	Distribution of the pathogen in the host

While P. marinus can be found in various tissues and organs, it mostly infects intestine, vesicular connective tissue, haemocytes and digestive gland (Remacha-Triviño et al., 2008). The proliferation of the parasite causes systemic disruption of connective tissue and epithelial cells.

2.2.5.	Aquatic animal reservoirs of infection

None known

2.2.6.	Vectors

None known

2.3.	Disease pattern

2.3.1.	Mortality, morbidity and prevalence

Infection is often lethal for C. virginica. Death usually occurs 1 or 2 years after infection, during or shortly after the warmest annual water temperatures (Burreson & Ragone Calvo, 1996). Prevalence is expected to be higher in individuals with more than 1 year of exposure to the pathogen (Andrews, 1996; Burreson & Ragone Calvo, 1996).

Prevalence is highly variable depending on host populations, pathogen strain and environmental factors (Kim et al., 2025; Proestou et al., 2023). Along the US east coast, C. virginica populations consistently exhibit high P. marinus infection rates, typically exceeding 80% and sometimes reaching 100% prevalence (Smolowitz, 2013). While populations from the Mexico Gulf typically exhibit low to moderate prevalence, with infection intensities generally remaining light (Ammons et al., 2023; Cáceres-Martínez et al., 2016; Gullian-Klanian et al., 2008).

Infection prevalence and intensity are consistently low in M. ariakensis, C. corteziensis and S. palmula populations (Cáceres-Martínez et al., 2012; 2016; Calvo et al., 2000; 2001). Notably, no significant P. marinus-associated mortality has been observed in natural populations of C. corteziensis and S. palmula (Cáceres-Martínez et al., 2012; 2016). Furthermore, M. ariakensis demonstrates superior survival, faster growth, and reduced disease susceptibility compared to C. virginica across varying salinity regimes (low, medium, and high) (Calvo et al., 2001).

2.3.2.	Clinical signs, including behavioural changes

Perkinsus marinus causes a chronic wasting disease.

Infected oysters may have a pale appearance to the digestive gland, reductions in condition index, severe emaciation, gaping, shrinkage of the mantle away from the outer edge of the shell, reduced gonadal development and/or retardation of growth (Ford & Tripp, 1996). Occasionally, pus-like pockets may occur in the soft tissues. However, these signs are not pathognomonic of perkinsosis.

2.3.3	Gross pathology

Gross signs are thin, watery tissue, eventually presence of pus-like pockets, but these gross signs are not specific to infection with P. marinus.

2.3.4.	Modes of transmission and life cycle

The life cycle is direct from host to host (Andrews, 1996; Villalba et al., 2004). Perkinsus marinus is transmitted directly from host to host through the water column following release of parasites in faeces or the decay or scavenging of moribund tissues (Bushek et al., 2002). The parasite enters the paleal cavity of the oyster during filter-feeding. Labial palps and particularly the pseudo-faeces discharge area of the mantle are important sites of infection (Allam et al., 2013; Winnicki et al., 2008). Parasites infect and multiply within haemocytes. The infected circulating haemocytes migrate throughout the host tissues.

Experimental infection in controlled conditions is possible by exposing animals to in vitro culture of P. marinus (Dungan et al., 2007).

2.3.5.	Environmental factors

The prevalence and intensity of P. marinus are primarily driven by salinity and temperature. On the east coast of US, infections are acquired during the warm months of the year, when the water temperatures reach above 18°C (Smolowitz, 2013). Proliferation of the parasite and associated lesions are correlated with temperature. Temperature controls the annual cycle of P. marinus, with maximum prevalence and intensity lagging 1–2 months behind maximum summer water temperatures and minimum prevalence and intensity lagging 1–2 months behind minimum winter temperatures. Thus, P. marinus infections are most intense in autumn and least intense in early spring (Burreson & Ragone Calvo, 1996). Parasite infection intensity peaked at about 35°C (Malek et al., 2018). In tropical regions such as the Gulf of Mexico, however, P. marinus can proliferates even at significantly higher temperatures, suggesting an adaptation of host-parasite dynamics to these conditions (Cáceres-Martínez et al., 2016).

Perkinsus marinus cells were are released on a diurnal cycle, with most cells released during the hottest and brightest period of the day (12:00–18:00). Temperature had has a strong and immediate effect on the number of cells released, but salinity did does not, only influencing the intensity of infection over the course of several months (Gignoux-Wolfsohn et al., 2020). Prevalence and intensity of P. marinus infections are greatest at salinities greater than 12 practical salinity units (psu). Transmission can occur between 9 and 12 psu, but infections remain low in intensity. Perkinsus marinus can persist for long periods in hosts at salinities less than 9 psu, but replication is low and no host mortality occurs.

2.3.6.	Geographical distribution

Infection with P. marinus has been reported from the Atlantic coast of North and South America (da Silva et al., 2013). It was introduced to the Pacific coast of North America (Cáceres-Martínez et al., 2008). It has also been reported in Asia (Kim et al., 2024).

See WAHIS (https://wahis.woah.org/#/home) for recent information on distribution at the country level.

2.4.	Biosecurity and disease control strategies

2.4.1.	Vaccination

None.

2.4.2.	Chemotherapy including blocking agents

N-Halamine disinfectant compounds killed can kill cultured P. marinus cells without affecting oyster larvae (Delaney et al., 2003). Bacitracin, cycloheximide and freshwater have been shown to reduce, but not eliminate P. marinus in infected oyster hosts (Calvo & Burreson, 1994; Faisal et al., 1999; La Peyre et al., 2003). Moreover, the antimicrobial drug triclosan (5-chloro-2-[2,4 dichlorophenoxy]) phenol, may be effective in treating P. marinus-infected oysters (Chu et al., 2008; Lund et al., 2005). Finally copper (as CuCl2) was shown to can greatly reduce infection levels of P. marinus in haemocytes in vivo (Foster et al., 2011). These treatments may be relevant for aquaculture but are not practical in the natural environment.

2.4.3.	Immunostimulation

None.

2.4.4.	Breeding resistant strains

Selective breeding of surviving oysters from epizootics has demonstrated effectiveness for reducing mortality caused by P. marinus (Ragone Calvo et al., 2003).

It has been reported that survival in genomically selected individuals is 20% higher than survival in individuals selected through phenotypic selection (Wang et al., 2025).

2.4.5.	Inactivation methods

Desiccation, chlorination (>0.3 mg ml–1 = 300 ppm [parts per million]), UV light (>28,000 µWs 
cm–2) and freshwater have all been shown to inactivate P. marinus cells (Bushek et al., 1997; Bushek & Howell 2000). UV irradiation from 4000 to 14,000 µWs cm–2 will inhibit proliferation of P. marinus (Bushek & Howell, 2000).

2.4.6.	Disinfection of eggs and larvae

Perkinsus marinus is not known to infect eggs or larvae, but cells could occur extracellulary. Disinfection of eggs or larvae may be possible using N-halamine disinfectant compounds (Delaney et al., 2003).

2.4.7.	General husbandry

Farming in areas where salinity is less than 12 psu and use of fast-growing, disease-tolerant strains has shown some benefit (Andrews, 1996; Burreson & Ragone Calvo, 1996).

Water filtration to 1 µm followed by UV exposure should allow protecting hatchery produced seed against infection (Ford et al., 2001). Inversely, treating water effluents should minimise the transmission of P. marinus to local oyster populations from infected oysters maintained in facilities such as processing plants, depuration facilities or hatcheries (Bushek & Howell, 2000).

Cultured off-bottom and air daily exposed oysters from infected area showed increased survival and higher condition indexes (La Peyre et al., 2008).

3.	Specimen selection, sample collection, transportation and handling

This section draws on information in Sections 2.2, 2.3 and 2.4 to identify populations, individuals and samples that are most likely to be infected.

3.1.	Selection of populations and individual specimens

Gaping or freshly dead individuals (2 or more years old) should be sampled by priority, to increase the chances of finding infected animals. For histology, only live (including moribund) animals should be sampled.

Sampling of bivalves should be organised once a year when prevalence is known to be at a maximum. When such data is not available in a particular ecosystem, sampling should preferably be carried out during periods of oyster spawning which also corresponded with warmer temperatures (Burrell et al., 1984).

3.2.	Selection of organs or tissues

Connective tissue of all organs, and haemocytes. For Ray’s fluid thioglycollate medium (RFTM), the whole animal should be ideally sampled if its size allows. If not, pieces of gill followed by mantle and rectum or foot for abalone are typically used. For culture purposes, tissue slices that can include gill, mantle, or foot (for abalone) can be cultured. For histology, a 5-mm thick section through the visceral mass that includes digestive gland, gill and mantle is used. For PCR, a pool of organs including digestive gland, gill or mantle tissue is best recommended.

3.3.	Samples or tissues not suitable for pathogen detection

Tissues other than digestive gland, mantle and gills are less suitable.

3.4.	Non-lethal sampling

At this time, there are no non-lethal tissue samples that can support detection of P.marinus.

A real-time PCR assay targeting the multicopy internal transcribed spacer region of the genome was has been developed to detect P. marinus DNA in environmental waters allowing detecting, with a reported detection limit equivalent of to 3.3 × 10⁻² cells per 10-microl µl reaction mixture (Audemard et al., 2004). Perkinsus cells can also be detected in haemolymph, faeces, or water samples using RFTM assays (Bushek et al., 2002; Ellin & Bushek, 2006; Gauthier & Fisher, 1990; Gauthier & Vasta, 1995). Detection limits (diagnostic sensitivity and specificity) have not been established for these analyses.

3.5.	Preservation of samples for submission

For guidance on sample preservation methods for the intended test methods, see Chapter 2.4.0 General information (diseases of molluscs).

3.5.1.	Samples for pathogen isolation

The results of bioassay depend strongly on the quality of samples (time since collection and time in storage). Fresh specimens should be kept on ice and preferably sent to the laboratory within 24 hours of collection. To avoid degradation of samples, use alternate storage methods only after consultation with the receiving laboratory.

Standard sample collection, preservation and processing methods for molecular techniques can be found in Section B.5.5 of Chapter 2.4.0 General information (diseases of molluscs).

For diagnosis using RFTM, samples must be fresh.

3.5.2.	Preservation of samples for molecular detection

For polymerase chain reaction (PCR) assays, samples must be preserved in 70–100% analytical grade ethanol (80%) at room temperature and not denatured alcohol.

Standard sample collection, preservation and processing methods for molecular techniques can be found in Section B.5.5 of Chapter 2.4.0 General information (diseases of molluscs).

3.5.3.	Samples for histopathology, immunohistochemistry or in-situ hybridisation (ISH)

For histology, the best preservative is Davidson’s AFA, but 10% buffered formalin or other standard histology fixatives are also acceptable.

Standard sample collection, preservation and processing methods for histological techniques can be found in Section B.5.3 of Chapter 2.4.0 General information (diseases of molluscs).

3.5.4.	Samples for other tests

None.

3.6.	Pooling of samples

Pooling of samples from more than one individual animal for a given purpose is only recommended where robust supporting data on diagnostic sensitivity and diagnostic specificity have been evaluated and found to be suitable. If the effect of pooling on diagnostic sensitivity has not been thoroughly evaluated, larger specimens should be processed and tested individually. Small life stages such as spat can be pooled to obtain the minimum amount of material for molecular detection. Pooling of very small spat (5–10 depending on size) is acceptable for PCR analyses.

4.	Diagnostic methods

The methods currently available for pathogen detection that can be used in i) surveillance of apparently healthy animals, ii) presumptive diagnosis in clinically affected animals and iii) confirmatory diagnostic purposes are listed in Table 4.1. by animal life stage.

Ratings for purposes of use. For each recommended assay a qualitative rating for the purpose of use is provided. The ratings are determined based on multiple performance and operational factors relevant to application of an assay for a defined purpose. These factors include appropriate diagnostic performance characteristics, level of assay validation, availability cost, timeliness, and sample throughput and operability. For a specific purpose of use, assays are rated as:

+++ =	Methods are most suitable with desirable performance and operational characteristics.

++ = 	Methods are suitable with acceptable performance and operational characteristics under most circumstances.

+ = 	Methods are suitable, but performance or operational characteristics may limit application under some circumstances.

Shaded boxes = 	Not appropriate for this purpose.

Validation stage. The validation stage corresponds to the assay development and validation pathway in chapter 1.1.2. The validation stage is specific to each purpose of use. Where available, information on the diagnostic performance of recommended assays is provided in Section 6.3.

WOAH Reference Laboratories welcome feedback on diagnostic performance of recommended assays, in particular PCR methods. Of particular interest are any factors affecting expected assay sensitivity (e.g. tissue components inhibiting amplification) or expected specificity (e.g. failure to detect particular genotypes, detection of homologous sequences within the host genome). These issues should be communicated to the WOAH Reference Laboratories so that advice can be provided to diagnostic laboratories and the standards amended if necessary.

Table 4.1. WOAH recommended diagnostic methods and their level of validation for surveillance of apparently healthy animals and investigation of clinically affected animals

| Method | - Surveillance of apparently healthy animals |  |  |  | - Presumptive diagnosis of clinically affected animals |  |  |  | - Confirmatory diagnosis1 of a suspect result from surveillance or presumptive diagnosis |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Early life stages2 | Juveniles2 | Adults | LV | Early life stages2 | Juveniles2 | Adults | LV | Early life stages2 | Juveniles2 | Adults | LV |
| Wet mounts |  |  |  |  |  |  |  |  |  |  |  |  |
| Histopathology |  | ++ | ++ | 1 |  | +++ | +++ | NA |  |  |  |  |
| Cell culture |  |  |  |  |  |  |  |  |  |  |  |  |
| Transmission electron microscopy |  |  |  |  |  |  |  |  | ++ | ++ | ++ | NA |
| Real-time PCR | + ++ | +++ | +++ | 2 1 | + ++ | +++ | +++ | 2 1 | + ++ | +++ | +++ | 2 1 |
| Conventional PCR | + ++ | ++ | ++ | 1 | + ++ | ++ | ++ | 1 |  |  |  |  |
| Conventional PCR followed by amplicon sequencing |  |  |  |  |  |  |  |  | +++ | +++ | +++ | 1 |
| In-situ hybridisation |  |  |  |  |  |  |  |  |  | + | + | 1 |
| Bioassay |  |  |  |  |  |  |  |  |  |  |  |  |
| LAMP |  |  |  |  |  |  |  |  |  |  |  |  |
| Ab-ELISA |  |  |  |  |  |  |  |  |  |  |  |  |
| Ag-ELISA |  |  |  |  |  |  |  |  |  |  |  |  |
| RFTM |  | ++ | +++ | 2 1 |  | ++ | +++ | NA |  |  |  |  |

LV = level of validation, refers to the stage of validation in the WOAH Pathway (chapter 1.1.2); PCR = polymerase chain reaction; LAMP = loop-mediated isothermal amplification; 
Ab- or Ag-ELISA = antibody or antigen enzyme-linked immunosorbent assay, respectively. RFTM = Ray’s fluid thioglycollate culture method 
1For confirmatory diagnoses, methods need to be carried out in combination (see Section 6). 2Susceptibility of early and juvenile life stages is described in Section 2.2.3. 
3Specify the test used. Shading indicates the test is inappropriate or should not be used for this purpose.

4.1.	Smears

Not recommended as a diagnostic method.

4.2.	Histopathology

Samples to be taken consist of fresh, gaping or freshly dead bivalves.

Sections of tissue that include gills, digestive gland, mantle, and gonad should be fixed for 24 hours minimum in a recommended fixative followed by standard processing for histology as described in section 5.3 of Chapter 2.4.0 General information (diseases of molluscs). Observations are made at increasing magnifications up to ×1000.

Histology is generally less sensitive than PCR methods (see Sections 6.1. and 6.2).

A positive result is the occurrence of spherical, uninucleated cells, trophozoïtes, ranging from about 2 to 5 µm (sometimes to 10 µm) in diameter with a large vacuole and an eccentrically displaced nucleus. These are typically associated with host gut or sometimes epithelium in lighter infections, with colonisation of connective tissues characteristic of more advanced cases. Binucleated P. marinus schizonts (dividing forms) may be observed, though larger schizonts of greater nuclear count are not reliably presented. Many of the parasites may occur within oyster haemocytes. Perkinsus marinus cells stain basophilic. A change in Perkinsus marinus phenotype (large trophozoïtes at low infection intensity were replaced by abundant tinny cells) was reported since 1986 in oysters from Chesapeake Bay by Carnegie et al., 2021).

4.3.	Electron microscopy

Fixed sections reveal large multifocal lesions in gut epithelium or connective tissue of any organ containing P. marinus cells (Mackin, 1951). Haemocyte infiltration and phagocytosis of P. marinus cells occurs in most infections. In high intensity infections, the gut epithelium may be almost completely destroyed.

Perkinsus marinus zoospores, like zoospores of all species of Perkinsus, show an ornamented anterior flagellum with hair-like and spurs-like structures and a glabrous posterior flagellum. The zoospore contains an apical complex consisting of a conoid, subpellicular microtubules, rhoptries, rectilinear micronemes and conoid-associated micronemes. Large vacuoles also occur at the anterior end of the zoospore (Perkins 1976; 1996).

4.4.	Nucleic acid amplification

PCR assays should always be run with the controls specified in Section B.5.5 Molecular methods Chapter 2.4.0 General information (diseases of molluscs). Molluscs are known to potentially contain substances that can inhibit PCR reactions. It is recommended to check for the presence of PCR inhibitors in DNA extracts to avoid false negative results. In case PCR inhibitors are present, DNA samples can be diluted prior to PCR analyses (a 1/10 dilution usually resolves most cases of PCR inhibition). Each sample should be tested in duplicate.

Several PCR assays have been developed for the detection of Perkinsus sp. and P. marinus, most of them target portions of the rRNA gene complex. Primers that target the NTS region have demonstrated good species specificity for P. marinus, however, little is known of the variation within species for the NTS region and there is a risk of false negatives. The sequence variation in the ITS region is more broadly characterised (see the GenBank database) and primers targeting the ITS region are more thoroughly tested for specificity. For these reasons, primers that target the ITS region are recommended

Depending on the context of analysis, Perkinsus genus PCR assays be conducted first, and then samples with positive results should be tested with a P. marinus specific assay.

Extraction of nucleic acids

Samples to be taken consist of live or freshly dead molluscs. 2–3 mm2 tissue pieces are excised aseptically from gill, mantle and digestive gland placed into 1.5 ml microcentrifuge. Dissecting utensils should be flamed between samples to prevent cross-contamination.

Different kits and procedures can be used for nucleic acid extraction. DNA is usually extracted by proteinase K digestion at 56°C (generally overnight), and the spin-column methodology using commercially available kits. Faster extraction protocols using Chelex resin has also been described (De Faveri et al., 2009; Piesz et al., 2022). The quality and concentration of the extracted nucleic acid is important and can be checked using a suitable method as appropriate to the circumstances.

4.4.1.	Real-time PCR

Primers and probes (sequences)

| Pathogen/ target gene | Primer/probe (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: TaqMan PCR: Gauthier et al., 2006, amplicon size: 86 bp; GenBank Accession No.: AF149876.1 |  |  |  |
| Perkinsus sp./ITS (detects at least P. marinus, P. olseni and P. chesapeaki) | PERK-F: TCC-GTG-AAC-CAG-TAG-AAA-TCT-CAA-C PERK-R: GGA-AGA-AGA-GCG-ACA-CTG-ATA-TGT-A PERK Probe: (FAM) CCC-TTT-GTG-CAG-TAT-GC-MGB | 0.9 µM 0.9 µM 0.25 µM | 40 cycles of: 95°C/15 sec and 60°C/1 min |
| Method 2: TaqMan PCR: Gauthier et al., 2006; GenBank Accession No.: AF149876.1; amplicon size: 72 bp |  |  |  |
| Perkinsus marinus/ITS | PMAR F: TTG-TTA-ACG-CAA-CTC-AAT-GCT-TTG-T PMAR R: AAG-CGC-ACA-TAA-CGA-ACC-ACC PMAR-MGB Probe: (FAM)-GCT-TGA-ACT-AAC-TCT-MGB- | 0.9 µM 0.9 µM 0.25 µM | 40 cycles of: 95°C/15 sec and 60°C/1 min |
| Method 3: Real-time PCR: De Faveri et al., 2009; GenBank Accession No.: No data; amplicon size: 90 bp |  |  |  |
| Perkinsus marinus/ITS | F: CGC-CTG-TGA-GTA-TCT-CTC-GA R: GTT-GAA-GAG-AAG-AAT-CGC-GTG-AT Probe: [FAM]CGC-AAA-CTC-GAC-TGT-GTT-GTG-GTG | 0.2 µM 0.2 µM 0.04 µM | 35 cycles at 95°C for 30 sec, and 60°C for 45 sec |
| Method 4: SYBR Green PCR Audemard et al., 2004; 509 bp, GenBank Accession No.: AF149876.1 |  |  |  |
| Perkinsus marinus/ITS | PmarITS-70F: CTT-TTG-YTW-GAG-WGT-TGC-GAG-ATG PmarITS-600R: CGA-GTT-TGC-GAG-TAC-CTC-KAG-AG | 0.5 µM 0.5 µM | 50 cycles of: 95°C/10 sec and 69°C/5 sec and 72°C/25 sec Final elongation 72°C/10 min Meting curve analysis: from 60°C to 95°C, increment 1°C for 30 sec |

(a)A denaturation step prior to cycling has not been included.

Interpretation of results:

A sample is considered positive when a PCR amplification curve is observed (with the expected Ct value when a cut-off Ct value has been established) with the appropriate melting temperature peak (Tm) in case of SYBR Green PCR assays, with all negative controls being negative and all positive controls being positive.

Depending on the context/objective of the analysis, a cut-off Ct value can be used to define if samples are positives or negatives. The cut-off Ct value may vary depending on the equipment, reagents and consumables used for the test.

If PCR inhibitors are detected in a sample producing a negative result, this sample should be considered as uninterpretable.

4.4.2.	Conventional PCR

| Pathogen/ target gene | Primer/probe (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Audemard et al., 2004 (primers from Casas et al., 2002); GenBank Accession No.: AF149876.1, amplicon size: 703 666bp |  |  |  |
| Perkinsus sp./ITS (detects all known Perkinsus species except P. qugwadi) | PerkITS-85: CCG-CTT-TGT-TTG-GAT-CCC PerkITS-750: ACA-TCA-GGC-CTT-CTA-ATG-ATG | 0.5 µM 0.5 µM | 40 cycles of: 95°C/1 min and 55°C/1min and 72°C/1min Final elongation 72°C/10 min |
| Method 2: Audemard et al., 2004; GenBank Accession No.: AF149876.1, amplicon size: 509 bp |  |  |  |
| Perkinsus marinus/ITS | PmarITS-70F: CTT-TTG-YTW-GAG-WGT-TGC-GAG-ATG PmarITS-600R: CGA-GTT-TGC-GAG-TAC-CTC-KAG-AG | 0.5 µM 0.5 µM | 40 cycles of: 95°C/1 min and 57°C/1min and 72°C/3min Final elongation 72°C/10 min |

(a)A denaturation step prior to cycling has not been included.

4.4.3.	Other nucleic acid amplification methods

None.

4.5.	Amplicon sequencing

The size of the PCR amplicon should be verified, for example by agarose gel electrophoresis. Obtained sequences are analysed in comparison with reference sequences. Both DNA strands of the PCR product must be sequenced and analysed in comparison with reference sequences.

4.6.	In-situ hybridisation

Samples to be taken consist of live or freshly dead molluscs.

A specific DNA probe that targets the small subunit rRNA gene has been developed for the genus Perkinsus: Perksp700DIG (Elston et al., 2004) and a DNA probe that targets the LSU of the rRNA gene has been developed for the specific detection of P. marinus: PmarLSU-181 (Moss et al., 2006). Additionally, two other P. marinus probes also targeting the LSU region has been developed: Pmar LSU-420 and LSU 560 (Reece et al., 2008) and can be used in cocktails with the first one. The probe should be 5’ end-labelled with digoxigenin. Alternatively, probes can be labelled with a fluorochrome (ex. Alexa Fluor 488®)

| Pathogen/target | ISH probe type | ISH probe (5’-3’) | Reference |
| --- | --- | --- | --- |
| Perkinsus sp./SSU (detects all known Perkinsus species except P. qugwadi) | Labelled oligonucleotide | PerkspSSU-700 CGC-ACA-GTT-AAG-TRC-GTG-RGC-ACG | Elston et al. (2004) |
| Perkinsus marinus/LSU | Labelled oligonucleotide(s) (PmarLSU-181 alone or cocktail of the 3) | PmarLSU-181 gac-aaA-cgg-cga-acg-act-c PmarLSU-420 GAA-GAC-AGG-AGC-GAG-CAG-C PmarLSU-560 AAC-CAA-TTC-ACA-GAT-AGC-G | Moss et al. (2006); Reece et al. (2008) |

4.7.	Immunohistochemistry

Not available.

4.8.	Bioassay

Not available.

4.9.	Antibody- or antigen-based detection methods (ELISA, etc.)

Polyclonal antibody-based analyte-capture ELISAs are reported to detect P. marinus extracellular secretions (ECP) in tissue homogenates from oysters with infection intensities of one parasite cell/g oyster tissue (Ottinger et al., 2001). The specificity of polyclonal antibodies against P. marinus ECP was not tested against other Perkinsus spp. or marine mollusc protistan associates.

4.10.	Other methods

4.10.1.	Ray’s fluid thioglycollate culture method (RFTM)

Incubation in thioglycollate is routinely used for surveillance of P. marinus. The technique is simple, inexpensive and very sensitive, but not species specific. Trophozoites of P. marinus in oyster tissue will enlarge when cultured for at least 5 days in fluid thioglycollate medium containing dextrose that is fortified with antibiotics (penicillin, streptomycin) and an antifungal compound (nystatin) to reduce bacterial and fungal growth. When the tissue is macerated after culture to allow penetration of aqueous iodine solution (Lugol’s), the enlarged trophozoites (hypnospores or prezoosporangia in the old terminology) readily take up Lugol’s and become easily visible at low power because of their bluish–black colouration and spherical shape.

Samples to be taken consist of live or freshly dead molluscs.

Tissue assay (Ray, 1966): tissue samples measuring approximately 5–10 mm are excised, giving preference to rectal, gill and mantle tissue from oysters, and placed in test tubes containing thioglycollate medium (thioglycollate medium containing dextrose 14.6 g; NaCl, 10.0 g; sterile distilled water (dH2O), 485 ml). A total of 9.5 ml is dispensed into disposable test tubes, which are autoclaved for 15 minutes at 1.2 kg cm–2 pressure. The autoclaved solution can be stored in tubes for up to 3 weeks. Dissecting utensils should be rinsed in 95% ethanol and flamed between hosts to prevent carry-over. The recommended antifungal/antibiotics are: 500 units ml–1 penicillin G and 500 units ml–1 dihydro-streptomycin in media (penicillin, 3.13 g; streptomycin, 6.55 g; 500 ml dH2O; freeze in 50 ml aliquots; add 0.5 ml to each tube), and 50 µl of mycostatin (nystatin) per tube. Chloromycetin can be used in place of penicillin/streptomycin. The tube is plugged with a foam rubber or cotton stopper. Incubation is at 22–25°C for between 5 and 7 days, in the dark. After incubation, the fragments of tissue are collected and chopped with a scalpel blade on a glass slide, a drop of Lugol’s iodine solution is added (stock Lugol’s iodine solution: potassium iodide, 6.0 g; iodine, 4.0 g; dH2O, 100 ml. Lugol’s iodine working solution: dH2O, 30.0 ml; Lugol’s stock solution, 15.0 ml) and the preparation is covered with a cover-slip and allowed to sit for 10 minutes. The preparations are examined in the fresh state.

Whole body burden assay (Fisher & Oliver, 1996): the entire host, cut into 2–5 mm pieces, is placed in fluid thioglycollate culture medium and incubated as in the tissue assay above. The solution is centrifuged at 1500 g for 10 minutes and the supernatant is discarded. 2 M NaOH (20 ml g–1 tissue) is added and the solution is incubated at 60°C for 2–6 hours until tissue is digested. The solution is centrifuged at 1500 g for 10 minutes and the supernatant is discarded. The solution is washed three times in deionised water, the pellet is resuspended in 1 ml Lugol’s iodine working solution, and the cells are counted. Serial dilutions may have to be made to reduce the total cell number to a manageable number.

Interpretation of results:

Cultured parasites enlarge from 2–10 to 20–70 µm during incubation. Perkinsus spp. cells are spherical and the walls stain blue or bluish-black with Lugol’s iodine solution (Bushek et al., 1994; Ray 1966).

In susceptible host species, within the known range of P. marinus, a positive result is presumptive evidence of P. marinus infection, but should be confirmed in accordance with Section 6.

4.10.2.	Cell culture/artificial media

Perkinsus marinus cells are easily cultured in a variety of media (e.g. La Peyre et al., 1993). Culture medium is usually inoculated with heart, haemolymph, or gill tissue. Comparisons of commercially available media have been made (Dungan & Hamilton, 1995) and growth was supported in all media but was at a maximum in 1/1 DME (Dulbecco’s Modified Eagle’s)/Ham’s F-12 medium.

5.	Test(s) recommended for surveillance to demonstrate freedom in apparently healthy populations

Real-time PCR and eventually RFTM tissue or whole-body burden assays should be used for targeted surveillance to declare freedom from infection with P. marinus.

6.	Corroborative diagnostic criteria

This section only addresses the diagnostic test results for detection of infection in the absence (Section 6.1.) or in the presence (Section 6.2.) of clinical signs (Section 6.2.) but does not evaluate whether the infectious agent is the cause of the clinical event.

The case definitions for a suspect and confirmed case have been developed to support decision making related to trade and confirmation of disease status at the country, zone or compartment level. Case definitions for disease confirmation in endemically affected areas may be less stringent. If a Competent Authority does not have the capability to undertake the necessary diagnostic tests it should seek advice from the appropriate WOAH Reference Laboratory, and if necessary, refer samples to that laboratory for confirmatory testing of samples from the index case in a country, zone or compartment considered free. There are is currently no WOAH Reference Laboratory for Perkinsus marinus.

When two molecular methods are used for confirmation of a case, it is preferable to use two species-specific methods targeting non-overlapping regions of the pathogen genome.

6.1.	Apparently healthy animals or animals of unknown health status

Apparently healthy populations may fall under suspicion, and therefore be sampled, if there is an epidemiological link(s) to an infected population. Hydrographical proximity to, or movement of animals or animal products or equipment, etc., from a known infected population equate to an epidemiological link. Alternatively, healthy populations are sampled in surveys to demonstrate disease freedom.

6.1.1.	Definition of suspect case in apparently healthy animals

The presence of infection with P. marinus shall be suspected if at least one of the following criteria is met:

i)	Histopathological changes consistent with the presence of the pathogen or the disease

ii)	Positive result by conventional PCR

iii)	Positive result by real-time PCR

iv)	Positive result by RFTM

6.1.2.	Definition of confirmed case in apparently healthy animals

The presence of infection with P. marinus is considered to be confirmed if at least one of the following criteria is met:

i)	Positive result by real-time PCR and positive result by conventional PCR followed by amplicon sequencing

ii)	Positive result by histology and positive result by conventional PCR followed by amplicon sequencing

iii)	Positive result by in-situ hybridisation and positive result by conventional PCR followed by amplicon sequencing

iv)	Positive result by histology and positive result by species-specific real-time PCR.

v)	Positive result by in-situ hybridisation and positive result by species-specific real-time PCR.

6.2	Clinically affected animals

Clinical signs are not pathognomonic for a single disease; however, they may narrow the range of possible diagnoses.

6.2.1.	Definition of suspect case in clinically affected animals

The presence of infection with P. marinus shall be suspected if at least one of the following criteria is met:

i)	Gross pathology or clinical signs associated with the disease as described in this chapter, with or without elevated mortality

ii)	Histopathological changes consistent with the presence of the pathogen or the disease

iii)	Positive result by conventional PCR

iv)	Positive result by real-time PCR

v)	Positive result by RFTM

6.2.2.	Definition of confirmed case in clinically affected animals

The presence of infection with P. marinus is considered to be confirmed if at least one of the following criteria is met:

i)	Positive result by real-time PCR and positive result by conventional PCR followed by sequence analysis amplicon sequencing

ii)	Positive result by ISH in-situ hybridisation and positive result by conventional PCR followed by sequence analysis amplicon sequencing

ii)	Positive result by in-situ hybridisation and positive result by species-specific real-time PCR real-time PCR and ISH

6.3.	Diagnostic sensitivity and specificity for diagnostic tests

The diagnostic performance of tests recommended for surveillance or diagnosis of infection with P. marinus are provided in Tables 6.3.1. and 6.3.2 (no data are currently available for either). Data are only presented where tests are validated to at least level 2 of the validation pathway described in Chapter 1.1.2. and the information is available within published diagnostic accuracy studies.

Some data on analytical performances (stage 1 validation) are available for most diagnostic tests described in this chapter but are not always complete (for example for inclusivity and exclusivity). RFTM assays and histopathology allow a diagnostic enable diagnosis only at the genus level and do not allow cannot differentiate between species discrimination. RFTM assays are is considered to be specific for all members of the genus Perkinsus except P. qugwadi (incertae sedis). However, the apparent its exclusivity of RFTM assays for detection of detecting only Perkinsus species lacks exhaustive confirmation has not been exhaustively confirmed through testing of all other protists (Dungan & Reece, 2020). Molecular tools have been evaluated for their analytical sensitivity and specificity to varying extents. degrees but estimates of diagnostic sensitivity (DSe) and specificity (DSp) (stage 2 validation) have are generally lacking. not been estimated, however Comparative data comparing sensitivity performances of the different diagnostic tests are available. indicate that histopathology is considered as less sensitive than both PCR and RFTM assays. The whole-body burden (WBB) RFTM assay is considered very highly sensitive, with a theoretical detection limit sensitivity of one Perkinsus sp. cell per host. In contrast, tissue and haemolymph RFTM assays have a limited sensitivity when infection intensity is falls below 1000 perkinsus cells per gram wet tissue (Bushek et al., 1994).

6.3.1.	For presumptive diagnosis of clinically affected animals (no data are currently available)

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe (n) | DSp (n) | Reference test | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

DSe = diagnostic sensitivity, DSp = diagnostic specificity, n = number of animals used in the validation study,
PCR: = polymerase chain reaction.

6.3.2.	For surveillance of apparently healthy animals (no data are currently available)

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe (n) | DSp (n) | Reference test | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

DSe = diagnostic sensitivity, DSp = diagnostic specificity, n = number of animals used in the validation study,
PCR: = polymerase chain reaction.

7.	References

Allam B., Carden W.E., Ward J.E., Ralph G., Winnicki S. & Pales Espinosa E. (2013). Early host-pathogen interactions in marine bivalves: evidence that the alveolate parasite Perkinsus marinus infects through the oyster mantle during rejection of pseudofeces. J. Invertebr. Pathol., 113, 26–34. doi: 10.1016/j.jip.2012.12.011.

Ammons D., Gonzalez D., Lu M.T. & Rampersad J. (2023). Assessment of Dermo Perkinsus marinus in the “Southern Oyster” from a High‐Salinity Environment. N. Am. J. Aquac., 85, 235–240.

Andrews J.D. (1988). Epizootiology of the disease caused by the oyster pathogen Perkinsus marinus and its effects on the Oyster industry. Am. Fisheries Soc. Special Publications 18, 47–63.

Andrews J.D. (1996). History of Perkinsus marinus, a pathogen of oysters in Chesapeake Bay 1950–1984. J. Shellfish Res., 15, 13–16.

Andrews J.D. & Hewatt W.G. (1957). Oyster Mortality Studies in Virginia. II. The Fungus Disease Caused by Dermocystidium marinum in Oysters of Chesapeake Bay. Ecological Monographs, 27, 1–25. Published by: Ecological Society of America. http://www.jstor.org/stable/1948568.

Audemard C., Reece K.S. & Burreson E.M. (2004). Real-time PCR for the detection and quantification of the protistan parasite Perkinsus marinus in environmental waters. Appl. Environ. Microbiol., 70, 6611–6618.

Bogema D.R., Yam J., Micallef M.L., Gholipourkanani H., Go J., Jenkins C. & Dang C. (2021). Draft genomes of Perkinsus olseni and Perkinsus chesapeaki reveal polyploidy and regional differences in heterozygosity. Genomics, 113, 677–688.

Burrell V.G., Bobo M.Y. & Manzi J.J. (1984). A comparison of seasonal incidence and intensity of Perkinsus marinus between subtidal and intertidal oyster populations in South Carolina. J. World Mariculture Soc., 15, 301–309.

Burreson E.M. & Ragone Calvo L.M. (1996). Epizootiology of Perkinsus marinus disease of oysters in Chesapeake Bay, with emphasis on data since 1985. J. Shellfish Res., 15, 17–34.

Bushek D. & Allen S.K. (1996). Host-parasite interactions among broadly distributed populations of the eastern oyster Crassostrea virginica and the protozoan Perkinsus marinus. Mar. Ecol. Progr. Series, 139, 127–141.

Bushek D., Ford S.E. & Allen S.K. (1994). Evaluation of methods using Ray’s fluid thioglycollate medium for diagnosis of Perkinsus marinus infection in the eastern oyster, Crassostrea virginica. Ann. Rev. Fish Dis., 4, 201–217.

Bushek D., Ford S.E. & Chintala M.M. (2002). Comparison of in vitro-cultured and wild type Perkinsus marinus. III. Fecal elimination and its role in transmission. Dis. Aquat. Organ.,51, 217–225.

Bushek D., Holley R. & Kelly M. (1997). Treatment of Perkinsus marinus-contaminated materials. J. Shellfish Res., 16, 330.

Bushek D. & Howell T.L. (2000). The effect of UV irradiation on Perkinsus marinus and its potential use to reduce transmission via shellfish effluents. Northeastern Regional Aquaculture Center (NRAC) Publication No. 00-008. North Dartmouth, Massachusetts, USA, 4p.

Cáceres-Martínez J., Madero-López L.H., Padilla-Lardizábal G. & Vásquez-Yeomans R. (2016). Epizootiology of Perkinsus marinus, parasite of the pleasure oyster Crassostrea corteziensis, in the Pacific coast of Mexico. J. Invertebr. Pathol., 139, 12–18.

Cáceres-Martínez J., Ortega M.G., Vasquez-Yeomans R., Garcia T. De J., Stokes N.A. & Carnegie R.B. (2012). Natural and cultured populations of the mangrove oyster Saccostrea palmula from Sinaloa, Mexico, infected by Perkinsus marinus. J. Invertebr. Pathol., 110, 321–325.

Cáceres-Martínez J., Vásquez-Yeomans R., Padilla-Lardizábal G. & del Río Portilla M.A. (2008). Perkinsus marinus in pleasure oyster Crassostrea corteziensis from Nayarit, Pacific coast of México. J. Invert. Pathol., 99, 66–73.

Calvo G.W. & Burreson E.M. (1994). In vitro and in vivo effects of eight chemotherapeutants on the oyster parasite Perkinsus marinus (Mackin, Owen, and Collier). J. Shellfish Res., 13, 101–107.

Calvo G.W., Luckenbach M.W. & Burreson E.M. (2000). High Performance of Crassostrea ariakensis in Chesapeake Bay. J. Shellfish Res., 19, 643. (Abstract).

Calvo G.W., M.W. Luckenbach, Allen S.K. Jr & Burreson E.M. (2001). A comparative field study of Crassostrea ariakensis (Fujita 1913) and Crassostrea virginica (Gmelin 1791) in relation to salinity in Virginia. J. Shellfish Res., 20, 221–229.

Carnegie R.B., Ford S.E., Crockett R.K., Kingsley-Smith P.R., Bienlien L.M., Safi L.S.L., Whitefleet-Smith L.A. & Burreson E.M. (2021). A rapid phenotype change in the pathogen Perkinsus marinus was associated with a historically significant marine disease emergence in the eastern oyster. Sci. Rep., 11, 12872.

Casas S.M., Villalba A. & Reece K.S. (2002). Study of the perkinsosis of the carpet shell clam Tapes decussatus in Galicia (NW Spain). I. Identification of the etiological agent and in vitro modulation of zoosporulation by temperature and salinity. Dis. Aquat. Organ., 50, 51–65.

Chu F.L. & Lund E. (2006). Viability, infectivity and fatty acid synthetic activity of Perkinsus marinus meront cells incubated in estuarine and artificial seawater. Dis. Aquat. Organ., 71, 131–139.

Chu F.-L.E., Lund E.D. & Podbesek J.A. (2008). Effects of triclosan on the oyster parasite, Perkinsus marinus and its host, the eastern oyster, Crassostrea virginica J. Shellfish Res., 27, 769–773.

da Silva P.M., Vianna R.T., Guertler C., Ferreira L.P., Santana L.N., Fernández-Boo S., Ramilo A., Cao A. & Villalba A. (2013). First report of the protozoan parasite Perkinsus marinus in South America, infecting mangrove oysters Crassostrea rhizophorae from the Paraíba River (NE, Brazil). J. Invertebr. Pathol., 113, 96–103.

De Faveri J., Smolowitz R.M. & Roberts S.B. (2009). Development and validation of a real-time quantitative PCR assay for the detection and quantification of Perkinsus marinus in the eastern oyster, Crassostrea virginica. J. Shellfish Res., 28, 459-464.

Delaney M.A., Brady Y.J. Worley S.D. & Huels K.L. (2003). The effectiveness of N-Halamine disinfectant compounds on Perkinsus marinus, a parasite of the eastern oyster Crassostrea virginica. J. Shellfish Res., 22, 91–94.

Dungan C.F. & Hamilton R.M. (1995). Use of a tetrazolium-based cell proliferation assay to measure effects of in vitro conditions on Perkinsus marinus (Apicomplexan) proliferation. J. Euk. Microbiol., 42, 379–388.

Dungan C.F. & Reece K.S. (2020). Chapter 5.2. 1 Perkinsus spp. Infections of Marine Molluscs. In: FHS Blue Book: Suggested procedures for the detection and identification of certain finfish and shellfish pathogens. AFS-FHS (American Fisheries Society-Fish Health Section), Bethesda, Maryland, USA, 1–24.

Dungan C.F., Reece K.S., Hamilton R.M., Stokes N.A. & Burreson E.M. (2007). Experimental cross-infection by Perkinsus marinus and P. chesapeaki in three sympatric species of Chesapeake Bay oysters and clams. Dis. Aquat. Organ., 76, 67–75.

Ellin R. & Bushek D. (2006). Adaptation of ray’s fluid thioglycollate medium assay to detect and quantify planktonic stages of Perkinsus spp. parasites. J. Shellfish Res., 25, 1037–1042.

Elston R.A., Dungan C.F., Meyers T.R. & Reece K.S. (2004). Perkinsus sp. infection risk for manila clams, Venerupis philippinarum (A. Adams and Reeve, 1850) on the Pacific coast of North and Central America. J. Shellfish Res., 23, 101–105.

Faisal M., La Peyre J.F. & Elsayed E.E. (1999). Bacitracin inhibits the oyster pathogen Perkinsus marinus in vitro and in vivo. J. Aquat. Anim. Health, 11, 130–138.

Fisher W.S. & Oliver L.M. (1996). A whole-oyster procedure for diagnosis of Perkinsus marinus disease using Ray’s fluid thioglycollate culture medium. J. Shellfish Res., 15, 109–117.

Ford S.E. & Tripp M.R. (1996). Diseases and Defense Mechanisms. In: The Eastern Oyster Crassostrea virginica, Kennedy V.S., Newell R.I.E.& Eble A.F., eds. Maryland Sea Grant College, College Park, Maryland, USA, 581–660.

Ford S.E., Xu Z. & Debrosse G. (2001). Use of particle filtration and UV irradiation to prevent infection by Haplosporidium nelsoni (MSX) and Perkinsus marinus (Dermo) in hatchery-reared larval and juvenile oysters. Aquaculture, 194, 37–49.

Foster B., Grewal S., Graves O., Hughes F.M. Jr & Sokolova I.M. (2011). Copper exposure affects hemocyte apoptosis and Perkinsus marinus infection in eastern oysters Crassostrea virginica (Gmelin). Fish Shellfish Immunol., 31, 341–349.

Gauthier J.D. & Fisher W.S. (1990). Hemolymph assay for diagnosis of Perkinsus marinus in oysters Crassostrea virginica (Gmelin, 1791). J. Shellfish Res., 9, 367–371.

Gauthier J.D., Miller C.R., & Wilbur A.E. (2006). TaqMan® MGB real-time PCR approach to quantification of Perkinsus marinus and Perkinsus spp. in oysters. J. Shellfish Res., 25, 619-624.

Gauthier J.D. & Vasta G.R. (1995). In Vitro Culture of the Eastern Oyster Parasite Perkinsus marinus: Optimization of the Methodology. J. Invertebr. Pathol., 66, 156–168.

Gignoux-Wolfsohn S.A., Newcomb M.S.R., Ruiz G. & Pagenkopp Lohan K. (2020). Environmental factors drive release of Perkinsus marinus from infected oysters. Parasitol., 148, 1–31.

Green-Beach E., Guo X., Smouse P. & Bushek D. (2011). Population structure of oysters on Martha’s Vineyard, MA in response to selection by Perkinsus marinus, using microsatellite markers. J. Shellfish Res., 30, 512. (Abstract).

Gullian-Klanian M., Herrera-Silveira J.A., Rodríguez-Canul R. & Aguirre-Macedo L. (2008). Factors associated with the prevalence of Perkinsus marinus in Crassostrea virginica from the southern Gulf of Mexico. Dis. Aquat. Organ., 79, 237–247.

Kim S.H., Bathige S.D.N.K., Jeon H.B., Lee D., Choi K.S., Kim H.J. & Park K.I. (2024). First report of Perkinsus marinus occurrence associated with wild Pacific oysters Crassostrea gigas from the west coast of Korea. J. Invertebr. Pathol., 204, 108119. https://doi.org/10.1016/j.jip.2024.108119.

Kim S.-H., Kim H.J., Bathige S.D.N.K., Kim S. & Park K.-I. (2025). Strain-specific virulence of Perkinsus marinus and related species in Eastern oysters: A comprehensive analysis of immune responses and mortality. Fish Shellfish Immunol., 157, 110112

La Peyre J.F., Faisal M. & Burreson E.M. (1993). In vitro propagation of the protozoan Perkinsus marinus, a pathogen of the eastern oyster, Crassostrea virginica. J. Euk. Microbiol., 40, 304–310.

La Peyre J.F, Casas S., Li Y. & Supan J. (2008a). Evaluation of an adjustable long line system to increase oyster survival in Dermo endemic areas and refrigerated shelf-life after harvest. J. Shellfish Res., 27, 1041.

La Peyre M.K., Casas S.M., Galye W. & La Peyre J.F. (2010). The combined inﬂuence of sub-optimal temperature and salinity on the in vitro viability of Perkinsus marinus, a protistan parasite of the eastern oyster Crassostrea virginica. J. Invertrebr. Pathol., 105, 176–181. doi: 10.1016/j.jip.2010.06.010.

La Peyre M.K., Casas S.M., Villalba A. & La Peyre J.F. (2008b). Determination of the eﬀects of temperature on viability, metabolic activity and proliferation of two Perkinsus species, and its signiﬁcance to understanding seasonal cycles of perkinsosis. Parasitology 135, 505–519. doi:10.1017/S0031182008004150

La Peyre M.K., Nickens A.D., Volety A. K., Tolley G.S., La Peyre J.F. (2003). Environmental significance of freshets in reducing Perkinsus marinus infection in eastern oysters Crassostrea virginica: potential management applications. Mar. Ecol. Prog. Ser., 248, 165–176.

Lund E.D., Soudant P., Chu F.-L.E., Harvey E., Bolton S. & Flowers A. (2005). Effects of triclosan on growth, viability and fatty acid synthesis of the oyster protozoan parasite Perkinsus marinus. Dis. Aquat. Organ., 67, 217–224.

Mackin J.G., H.M. Owen & A. Collier A. (1950). Preliminary note on the occurrence of a new protistan parasite, Dermocystidium marinum n.sp. in Crassostrea virginica (Gmelin). Science (Washington DC), 111, 328–329.

Mackin J.G. (1951). Histopathology of infection of Crassostrea virginica Gmelin by Dermocystidium marinum Mackin, Owen and Collier. Bull. Marine Sci. Gulf Caribb., 1, 72–87.

Malek J.C. & Byers J.E. (2018). Responses of an oyster host (Crassostrea virginica) and its protozoan parasite (Perkinsus marinus) to increasing air temperature. PeerJ., 6:e5046. doi: 10.7717/peerj.5046.

Moss J.A., Burreson E.M. & Reece K.S. (2006). Advanced Perkinsus marinus infections in Crassostrea ariakensis maintained under laboratory conditions. J. Shellfish Res., 25, 65–72.

Ottinger C.A., Lewis T.D., Shapiro D.A., Faisal M. & Kaattari S.L. (2001). Detection of Perkinsus marinus extracellular proteins in tissues of the eastern oyster Crassostrea virginica: potential use in diagnostic assays. J. Aquat. Animal Health, 13, 133–141.

Perkins F.O. (1976). Zoospores of the oyster pathogen, Dermocystidium marinum. I. Fine structure of the conoid and other sporozoan-like organelles. J. Parasitol., 62, 959–974.

Perkins F.O. (1996). The structure of Perkinsus marinus (Mackin, Owen and Collier, 1950) Levine, 1978 with comments on taxonomy and phylogeny of Perkinsus spp. J. Shellfish Res., 15, 67–87.

Piesz J.L., Scro A.K., Corbett R., Lundgren K.M., Smolowitz R.& Gomez-Chiarri M. (2022). Development of a multiplex qPCR for the quantification of three protozoan parasites of the eastern oyster Crassostrea virginica. Dis. Aquat. Organ., 151, 111–121.

Proestou D.A., Sullivan M.E., Lundgren K.M., Ben-Horin T., Witkop E.M. & Hart K.M. (2023). Understanding Crassostrea virginica tolerance of Perkinsus marinus through global gene expression analysis. Front. Genet., 14, 1054558.

Ragone Calvo L.M., Dungan C.F., Roberson B.S. & Burreson E.M. (2003). Systematic evaluation of factors controlling Perkinsus marinus transmission dynamics in lower Chesapeake Bay. Dis. Aquat. Organ., 56, 75–86. doi: 10.3354/dao056075.

Ray S.M. (1966). A review of the culture method of detecting Dermocystidium marinum with suggested modifications and precautions. Proc. Natl Shellfish Assoc., 54, 55–69.

Reece K.S., Siddall M.E., Burreson E.M. & Graves J.E. (1997). Phylogenetic analysis of Perkinsus based on actin gene sequences. J. Parasitol., 83, 417–423.

Reece K.S., Dungan C.F. & Burreson E.M. (2008). Molecular epizootiology of Perkinsus marinus and P. chesapeaki infections among wild oysters and clams in Chesapeake Bay, USA. Dis. Aquat Organ., 82, 237–248.

Remacha-Triviño A., Borsay-Horowitz D., Dungan C., Gual-Arnau X., Gómez-Leon J., Villamil L. & Gómez-Chiarri M. (2008). Numerical quantification of Perkinsus marinus in the American oyster Crassostrea virginica (Gmelin, 1791) (Mollusca: Bivalvia) by modern stereology. J. Parasitol., 94, 125–136.

Robledo J.A.F., Wright A.C., Marsh A.G. & Vasta G.R. (1999). Nucleotide sequence variability in the nontranscribed spacer of the rRNA locus in the oyster parasite Perkinsus marinus. J. Parasitol., 85, 650–656.

Smolowitz R. (2013). A Review of Current State of Knowledge Concerning Perkinsus marinus Effects on Crassostrea virginica (Gmelin) (the Eastern Oyster). Vet. Pathol., 50, 404–411.

Thompson P.C., Rosenthal B.M. & Hare M.P. (2011). An evolutionary legacy of sex and clonal reproduction in the protistan oyster parasite Perkinsus marinus. Infect. Genet. Evol., 11, 598–609 doi: 10.1016/j.meegid.2011.01.008.

Villalba A., Reece K.S., Ordas M.C., Casas S.M. & Figueras A. (2004). Perkinsosis in molluscs: a review. Aquat. Living Resour., 17, 411–432.

Wang Z., Casas S., La Peyre J., Rikard S., Williams M.L., Tarnecki A., Bushek D. & Guo X. (2025). Genomic Selection for Dermo Resistance in the Eastern Oyster Crassostrea virginica: Production and Laboratory Testing of F1 Generation. J. Shellfish Res., 44, 75–87. https://doi.org/10.2983/035.044.0108.

Winnicki S.M., Carden W., Holohan B., Ralph G., Ward E. & B. Allam (2008). Establishment of Perkinsus marinus infection in Crassostrea virginica: insights into the potrtal of entry and the potential role of marine aggregates. J. Shellfish Res., 27, 1064. (Abstract).

*
*   *

NB: Currently (2026) there is no WOAH Reference Laboratory for infection with Perkinsus marinus
(please consult the WOAH web site: 
https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3).

NB: First adopted in 1995 as Perkinsosis. Most recent updates adopted in 2024 (Sections 2.2.1 and 2.2.2).

For example transboundary commodities.