Annex 25. Item 9.2.1. – Chapter 2.3.11. ‘Infection with Tilapia lake virus’

Chapter 2.3.11.

infection with TILAPIA LAKE VIRUS (TiLV)

1.	Scope

Infection with Tilapia lake virus (TiLV) means infection with the pathogenic agent Tilapinevirus of the family Amnoonviridae.

2.	Disease information

2.1.	Agent factors

2.1.1.	Aetiological agent

First described by Eyngor et al. (2014), TiLV was originally identified as an orthomyxo-like virus tentatively assigned, because of its similarity, to the family Orthomyxoviridae (Bacharach et al., 2016). ICTV (2023) classified it as species Tilapinevirus tilapiae, genus Tilapinevirus, within a new family, Amnoonviridae (Realm Riboviria, kingdom Orthornavirae, phylum Negarnaviricota, class Insthoviricetes, order Articulavirales).

Each genomic segment encodes a single open reading frame (ORF). RNA1 (1641 nt) encodes a protein with an RNA-dependant RNA polymerase (RdRP) domain homologous to the PB1 of influenza C virus (Acharya et al., 2019; Bacharach et al., 2016; Ortiz-Baez et al., 2020). RNA2 (1471 nt) and RNA3 (1371 nt) ORFs encode the PB2 and PA polymerase subunit homologs of orthomyxoviruses (Arragain et al., 2023) and RNA4 (1250 nt) encodes a nucleoprotein (Abu Rass et al., 2022a). The identities and functions of proteins encoded by the remaining segments RNA5: 1099 nt; RNA6: 1044 nt; RNA7: 777 nt; RNA8: 657 nt; RNA9: 548 nt; and RNA10: 465 nt (Bacharach et al., 2016) are unknown.

Virions are spherical, pleomorphic, enveloped, of 55–100 nm in diameter and contain 10 segments of linear negative sense RNA of varying lengths totalling approximately 10.3 kb (Bacharach et al., 2016; Eyngor et al., 2014).

The replication cycle of TiLV is not currently known. All segments have conserved, complementary sequences at their 5’- and 3’-ends, similar to those found in orthomyxoviridae genome sequences (Bacharach et al., 2016). TiLV does not hemagglutinate red blood cells, suggesting that entry into host cells is different to orthomyxoviruses which do (Chengula et al., 2019). It is also known that entry occurs via dynamin-mediated endocytosis in a cholesterol-dependent, cytoskeleton-dependent manner that is independent of clathrin and pH (Abu Rass et al., 2022b). Reassortment of genomic segments has been observed on several occasions (Abbadi et al 2023; Chaput et al., 2020; Verma et al., 2022).

2.1.2.	Survival and stability in processed or stored samples

Genomic RNA and viable virus, capable of infecting cell cultures, were shown to persist for up to 28 days in tilapia fillets at –20°C. Genomic RNA was detectable by PCR methods but not able to infect cell cultures when the fillets were from subclinical fish or when clinically affected material was stored frozen for 90 and 120 days. Subclinically affected fillets failed to transmit disease after 14 days frozen storage (Thammatorn et al., 2019). Sample preservation studies by Rawiwan et al. (2021), indicated genomic RNA will persist for at least 1 year under most common sample storage methods (–20°C, 70% and 95% ethanol, RNAlater, Whatman FTA cards) for subsequent detection by molecular methods. Genomic quantity was hardly changed in RNALater or frozen storage over the period, compared with a rapid loss of up to approximately two logs in the first 30 days followed by limited further loss for the other methods.

2.1.3.	Survival and stability outside the host

TiLV genomic RNA remained detectable in faeces and water samples collected from experimental challenge tanks 10 days post infection (Pierezan et al., 2019). In studies using spiked water samples incubated at 27°C, TiLV genomic RNA was shown to persist for at least 14 days in sterile distilled water, with 1 log reduction during the period whilst 4 log reductions to below detectable levels were seen after 3 and 7 days respectively in freshwater from fish rearing tanks or natural pond water (Yamkasem et al., 2022). In the same studies the virus was shown to lose infectivity in E-11 cells after 1 day of incubation at 27°C in each of the water types.

For inactivation methods, see Section 2.4.5.

2.2.	Host factors

2.2.1.	Susceptible host species

Species that fulfil the criteria for listing as susceptible to infection with Tilapia lake virus according to Chapter 1.5 of Aquatic Animal Health Code (Aquatic Code) are:

| Family | Scientific name | Common name |
| --- | --- | --- |
| Cichlidae | Oreochromis aureus × O. niloticus | blue-Nile tilapia hybrid |
|  | Sarotherodon galilaeus | mango tilapia |
|  | Oreochromis mossambicus | Mozambique tilapia |
|  | Oreochromis niloticus | Nile tilapia |
|  | Oreochromis niloticus × O. mossambicus | red hybrid tilapia |

2.2.2.	Species with incomplete evidence for susceptibility

Species for which there is incomplete evidence to fulfil the criteria for listing as susceptible to infection with TiLV according to Chapter 1.5 of the Aquatic Code are:

| Family | Scientific name | Common name |
| --- | --- | --- |
| Cyprinidae | Barbonymus schwanenfeldii | tinfoil barb |

In addition, pathogen-specific positive polymerase chain reaction (PCR) results have been reported in the following species, but an active infection has not been demonstrated:

| Family | Scientific name | Common name |
| --- | --- | --- |
| Latidae | Lates calcarifer | barramundi |

2.2.3.	Likelihood of infection by species, host life stage, population or sub-populations

Fingerlings are mainly affected, particularly when juveniles are stocked into grow out ponds and cages, although infection and mortality can occur across all life stages. Dong et al. (2017) reported approximately 90% mortality in red tilapia fingerlings within one months of stocking into cages. Mortality just over 9% in medium to large sized Nile tilapia was noted by Fathi et al. (2017). Experimental evidence demonstrates that TiLV susceptibility is weight-dependent; smaller fish are significantly more vulnerable than larger individuals, with higher mortality, earlier clinical onset, and more severe pathology in the liver and spleen Roy et al. (2021).

2.2.4.	Distribution of the pathogen in the host

The main organ consistently affected is the liver. Kidney, brain, spleen and gills are also commonly affected and are organs the virus can be observed and detected (Dong et al., 2017; Eyngor et al., 2014; Jansen et al., 2019 for reviews).

2.2.5.	Aquatic animal reservoirs of infection

Low levels of viable virus and genomic RNA has been detected in asymptomatic fish (Senapin et al. 2018).

2.2.6.	Vectors

To date, no living organisms have been identified as vectors for TilV.

2.3.	Disease pattern

2.3.1.	Mortality, morbidity and prevalence

Though morbidity and mortality vary significantly across both wild and farmed populations, ranging from 10% to over 90% depending on environmental conditions and management practices, evidence suggests that fish with no prior exposure to TiLV are highly susceptible with high mortality. Field data and experimental studies suggest that smaller fingerlings (0.5–50 g) are more vulnerable, though larger, older fish that are naïve will succumb.

2.3.2.	Clinical signs, including behavioural changes

Disease was observed in both natural and cultured conditions with a range of signs and behaviours currently not pathognomonic. These include lethargy, seclusion, anorexia, poor body condition, skin discoloration, severe anaemia, ocular alterations including opacity, bilateral exophthalmia, skin abrasion and congestion, scale protrusion, and abdominal swelling (Eyngor et al., 2014; Jaemwimol et al., 2018; Kembou Tsofack et al., 2017; Surachetpong et al., 2017). Affected animals can show loss of appetite, pale coloration of the body, aggregation near the bottom, sluggish movement, abnormal swimming, and isolation (Dong et al., 2017).

2.3.3	Gross pathology

Gross pathologies often observed include protrusion of scales, exophthalmia, paleness of gill and liver, clear ascitic fluid in abdomen and congestion of brain liver and sometimes spleen. Other lesions included skin erosions and haemorrhages in the leptomeninges(Eyngor et al., 2014; Fergusson et al., 2014; Surachetpong et al., 2017).

2.3.4.	Modes of transmission and life cycle

TiLV is transmitted horizontally between fish via waterborne exposure, physical transfer or ingestion of infected material potentially including shed mucus (Eyengor et al., 2014; Liamnimitr et al., 2018; Pierezan et al., 2019). Vertical transmission of TiLV has been suggested based on the detection of viral RNA in broodstock reproductive tissues and early life stages (Aich et al., 2022; Dong et al., 2020; Yamkasem et al., 2019).

2.3.5.	Environmental factors

Environmental factors and seasonality are drivers of TiLV outbreaks, which peak during the summer months at water temperatures between 22–32°C. Outbreak severity is further exacerbated by high stocking densities, frequent production cycles, and low stocking weights (Kabuusu et al., 2018). In recirculating aquaculture systems (RAS), the water column may act as a viral reservoir; without sufficient UV disinfection, viral particles can accumulate and significantly increase the impact on infected farms (Sresung et al., 2026).

2.3.6.	Geographical distribution

TiLV was first reported in Israel in 2014 from mortality events that were ongoing since 2009 (Eyngor et al., 2014). Infection with TiLV has since been reported from South America (Ferguson et al., 2014; Kembou Tsofack et al., 2017), Africa (Fathi et al., 2017; Mugimba et al., 2018), Asia (Abdulla et al., 2018, Amal et al., 2018; Behera et al., 2018; Chaput et al., 2020; Debnath et al., 2020; Dong et al., 2017; Surachetpong et al., 2017; Tran et al., 2022) and North America (Ahasan et al., 2020).

See WAHIS (https://wahis.woah.org/#/home) for recent information at the country level.

2.4.	Biosecurity and disease control strategies

2.4.1.	Vaccination

There are currently no commercially available vaccines for controlling TiLV.

2.4.2.	Chemotherapy including blocking agents

There are currently no chemotherapeutics for controlling TiLV disease.

2.4.3.	Immunostimulation

There are no available recognised probiotics for TiLV.

2.4.4.	Breeding resistant strains

There are currently no recognised TiLV resistant tilapia commercially available. Heritable variation in resistance to TiLV disease has been demonstrated in various natural and farmed tilapia populations (Adamek et al., 2022; Barria et al., 2021; Ferguson et al., 2014) indicating selective breeding for resistance to TiLV should be possible.

2.4.5.	Inactivation methods

Common disinfectants are likely to be effective for TiLV inactivation. Viral reductions of >4 log10 median tissue culture infective dose (TCID50)/ml were obtained with ≥20 ppm free chlorine and ≥50 ppm available iodine after 30 min contact time (temperature and soiling levels not indicated, Soto et al., 2019). Reductions of >5 log10 TCID50/ml were observed by Jaemwimol et al. (2019).

2.4.6.	Disinfection of eggs and larvae

Disinfection of eggs according to standard procedures is suggested as an important control measure (see chapter 4.4 of the Aquatic Code) and iodophore disinfectants are likely to be effective (Soto et al., 2019).

2.4.7.	General husbandry

Introducing live fish without adequate quarantine increases the risk of outbreaks. There is currently no definitive report on the transmission dynamics between wild and farmed fish, nor on the impact of processing facilities on disease spread. Biosecurity practices can be used to reduce the risk of TiLV infection including adequate quarantine, efficient disinfection, optimal water quality and proper carcass disposal.

In recirculating aquaculture systems (RAS), the continuous reuse of water may allow the virus to accumulate in both the water column and sediment, which intensifies infection pressure and sustains prolonged outbreaks (Sresung et al., 2026). Decreased stocking densities may be beneficial to reduce environmental viral loads.

3.	Specimen selection, sample collection, transportation and handling

This section draws on information in Sections 2.2, 2.3 and 2.4 to identify populations, individuals and samples that are most likely to be infected.

3.1.	Selection of populations and individual specimens

Routine sampling should prioritise the testing of sick or recently dead fish, in accordance with Chapter 2.3.0. General information (diseases of fish).

3.2.	Selection of organs or tissues

TiLV replication and transcription occurs at sites of pathology with a generally broad tissue tropism. Liver, kidney, spleen and gills are suitable organs to target for diagnostic sampling. In clinically acute and symptomatic fish (spiral swimming) the brain can be targeted (Aich et al., 2022; Jansen et al., 2019).

3.3.	Samples or tissues not suitable for pathogen detection

TiLV is not consistently detected in faeces (Liamnimitr et al., 2018), and in asymptomatic fish the brain is frequently not positive, making this unsuitable target for surveillance (Mugimba et al., 2018).

3.4.	Non-lethal sampling

Mucus but not faeces can be taken as a non-lethal sample for detection of TiLV with both viral RNA and viable virus capable of causing cytopathic effect (CPE) in cell culture detected in mucus of experimental and field samples at similar diagnostic sensitivities to liver samples (Liamnimitr et al., 2018).

3.5.	Preservation of samples for submission

For guidance on sample preservation methods for the intended test methods, see Chapter 2.3.0 General information (diseases of fish).

3.5.1.	Samples for pathogen isolation

The results of bioassay depend strongly on the quality of samples (time since collection and time in storage). Fresh specimens should be kept on ice and preferably sent to the laboratory within 24 hours of collection. To avoid degradation of samples, use alternate storage methods only after consultation with the receiving laboratory. For recommendations on transporting samples for virus isolation to the laboratory, see Section B.2.4 of Chapter 2.3.0 General information (diseases of fish).

3.5.2.	Preservation of samples for molecular detection

Tissue samples for PCR testing should be preserved in 80% (v/v) analytical-grade ethanol. The recommended ratio of ethanol to tissue is 10:1 based on studies in terrestrial animal and human health. The use of lower grade (laboratory or industrial grade) ethanol is not recommended. If material cannot be fixed it may be frozen.

Standard sample collection, preservation and processing methods for molecular techniques can be found in Section B.2.5 of Chapter 2.3.0 General information (diseases of fish).

The best preservation of TiLV genomic RNA in tissue samples for PCR testing was observed with RNALater and storage at –20°C (Rawiwan et al., 2021). Ethanol 70% or 95% and Whatman FTA cards were inferior with approximately a 3 log drop in viral copy number after 30 days with much of that occurring within the first 7 days. They do however represent suitable options for high titre clinical samples if expense of proprietary storage reagents and cold chain difficulties are a factor.

The recommended ratio of analytical/reagent-grade (undenatured) ethanol to tissue is 10:1. Samples in RNA stabilisation reagents should be prepared according to the recommendation from the manufacturers and placed in at least five volumes of the reagent. Samples in RNA stabilising reagents can be shipped frozen or on ice or at room temperature if transport time does not exceed 24 hours.

Samples may also be frozen at –80°C and kept frozen until assayed.

3.5.3.	Samples for histopathology, immunohistochemistry or in-situ hybridisation

Standard sample collection, preservation and processing methods for histological techniques can be found in Section B.2.2 of Chapter 2.3.0 General information (diseases of fish).

3.5.4.	Samples for other tests

Viral nucleic acids can be detected in blood samples using molecular methods, while serological testing for antibodies can be used to confirm prior exposure in fish (Tattiyapong et al., 2020).

3.6.	Pooling of samples

Pooling of samples from more than one individual animal for a given purpose is only recommended where robust supporting data on diagnostic sensitivity and diagnostic specificity have been evaluated and found to be suitable. If the effect of pooling on diagnostic sensitivity has not been thoroughly evaluated, larger specimens should be processed and tested individually. Small life stages can be pooled to obtain the minimum amount of material for virus isolation or molecular detection.

4.	Diagnostic methods

The methods currently available for pathogen detection that can be used in i) surveillance of apparently healthy animals, ii) presumptive diagnosis in clinically affected animals and iii) confirmatory diagnostic purposes are listed in Table 4.1. by animal life stage.

Ratings for purposes of use. For each recommended assay a qualitative rating for the purpose of use is provided. The ratings are determined based on multiple performance and operational factors relevant to application of an assay for a defined purpose. These factors include appropriate diagnostic performance characteristics, level of assay validation, availability cost, timeliness, and sample throughput and operability. For a specific purpose of use, assays are rated as:

+++ =	Methods are most suitable with desirable performance and operational characteristics.

++ = 	Methods are suitable with acceptable performance and operational characteristics under most circumstances.

+ = 	Methods are suitable, but performance or operational characteristics may limit application under some circumstances.

Shaded boxes = 	Not appropriate for this purpose.

Validation stage. The validation stage corresponds to the assay development and validation pathway in chapter 1.1.2. The validation stage is specific to each purpose of use. Where available, information on the diagnostic performance of recommended assays is provided in Section 6.3.

WOAH Reference Laboratories welcome feedback on diagnostic performance of recommended assays, in particular PCR methods. Of particular interest are any factors affecting expected assay sensitivity (e.g. tissue components inhibiting amplification) or expected specificity (e.g. failure to detect particular genotypes, detection of homologous sequences within the host genome). These issues should be communicated to the WOAH Reference Laboratories so that advice can be provided to diagnostic laboratories and the standards amended if necessary.

Table 4.1. WOAH recommended diagnostic methods and their level of validation for surveillance of apparently healthy animals and investigation of clinically affected animals

| Method | - Surveillance of apparently healthy animals |  |  |  | - Presumptive diagnosis of clinically affected animals |  |  |  | - Confirmatory diagnosis1 of a suspect result from surveillance or presumptive diagnosis |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Early life stages2 | Juveniles2 | Adults | LV | Early life stages2 | Juveniles2 | Adults | LV | Early life stages2 | Juveniles2 | Adults | LV |
| Wet mounts |  |  |  |  |  |  |  |  |  |  |  |  |
| Histopathology |  |  |  |  |  | + | + | 1 |  |  |  |  |
| Cell culture | + | + | + | 1 | ++ | ++ | ++ | 1 |  |  |  |  |
| Real-time RT-PCR | + | +++ | +++ | 3 | + | +++ | +++ | 3 | + | +++ | +++ | 3 |
| Conventional RT-PCR | + | + | + | 1 | ++ | ++ | ++ | 2 |  |  |  |  |
| Nested conventional RT-PCR | + | + | + | 1 | ++ | ++ | ++ | 2 |  |  |  |  |
| Conventional RT-PCR followed by amplicon sequencing |  |  |  |  |  |  |  |  | +++ | +++ | +++ | 2 |
| In-situ hybridisation |  |  |  |  |  |  |  |  |  | + | + | NA |
| Bioassay |  |  |  |  |  |  |  |  |  |  |  |  |
| LAMP |  |  |  |  |  |  |  |  |  |  |  |  |
| Ab-ELISA |  | + | + | NA |  |  |  |  |  |  |  |  |
| Ag-ELISA |  |  |  |  |  |  |  |  |  |  |  |  |
| Other antigen detection methods: immunohistochemistry |  |  |  |  |  |  |  |  |  | + | + | NA |
| Other methods: transmission electron microscopy |  |  |  |  |  |  |  |  |  | + | + | NA |

LV = level of validation, refers to the stage of validation in the WOAH Pathway (chapter 1.1.2); NA = not available; PCR = polymerase chain reaction; LAMP = loop-mediated isothermal amplification; 
Ab- or Ag-ELISA = antibody or antigen enzyme-linked immunosorbent assay, respectively. 
1For confirmatory diagnoses, methods need to be carried out in combination (see Section 6). 2Susceptibility of early and juvenile life stages is described in Section 2.2.3. 
Shading indicates the test is inappropriate or should not be used for this purpose.

4.1.	Wet mounts

Not applicable

4.2.	Histopathology and cytopathology

The brains of TiLV infected fish reveal multifocal haemorrhages, edema, proliferative glial cells and capillary congestion (Amal et al., 2018; Eyngor et al., 2014; Kembou Tsofack et al., 2017). In the liver of infected fish, syncytial cell formation and massive hepatocellular necrosis with pyknotic and karyolitic nuclei are most commonly observed (Behera et al., 2018; Dong et al., 2017; Ferguson et al., 2014; Jaemwimol et al., 2018; Kembou Tsofack et al., 2017; Senapin et al., 2018). Eosinophilic intracytoplasmic inclusion bodies were present in the liver cells and splenic cells of infected fish. In the kidney, multiple necrotic foci were observed in the anterior kidney with increased melanomacrophage centres (MMCs), and in spleen dispersion of melanin granules were observed (Tattiyapong et al., 2017).

4.3.	Cell culture for isolation

Suitable cell lines For TiLV isolation include the established E-11 (from snakehead fish) and newly developed cell lines OnlL, OnlB, OnH, OmB, TmB, and RHTiB, from liver, brain and heart tissues of Oreochromis niloticus or related hybrids (reviewed in Aich et al., 2022). E-11 is recognised for quick development of observable CPE. Primary tilapia brain cell cultures are also effective but more time consuming and less user-friendly. The optimal temperature range is 25–30°C with 28°C most often cited as optimum using enriched media such as L-15 supplemented with 10% FBS.

Cell lines should be monitored regularly (e.g. every 6 months) to ensure that susceptibility to targeted pathogens has not changed.

4.4.	Nucleic acid amplification

PCR assays should always be run with the controls specified in Section 2.5 Use of molecular techniques for surveillance testing, confirmatory testing and diagnosis of Chapter 2.3.0 General information (diseases of fish). Each sample should be tested in duplicate.

Extraction of nucleic acids

Numerous different kits and procedures can be used for nucleic acid extraction. The quality and concentration of the extracted nucleic acid is important and should be checked using a suitable method as appropriate to the circumstances, for example optical density or running a gel.

A reverse transcriptase PCR (RT-PCR) has been developed (Eyngor et al., 2014), followed by a more sensitive nested RT-PCR suitable for detection of TiLV in clinical cases (Kembou Tsofack et al., 2017), a semi-nested RT-PCR with an improved analytical sensitivity (7.5 viral copies per reaction) (Dong et al., 2017), real-time SYBR assay, with analytical sensitivity of two copies of plasmid (Tattiyapong et al., 2018), and a real-time probe-based assay (Waiyamitra et al., 2018), for which diagnostic sensitivity has not yet been determined.

All the above assays were used in an inter-laboratory panel testing, together with two, at the time unpublished, assays from the laboratories of the WOAH Reference Laboratories for SVCV (WOAH ad hoc Group reports 2018a, b and 2021). The three real-time probe-based PCR assays had the highest sensitivity, repeatability and robustness of all assays evaluated and were the recommended assays for detecting TiLV. The SYBR-based PCR assay (Tattiyapong RT-qPCR) produced acceptable results but would require optimisation of reaction components and conditions and definition of assay interpretation criteria, prior to implementation for routine use. However, this assay still exhibited acceptable sensitivity, repeatability and robustness and would be an appropriate assay for use in laboratories that do not have access to real-time probe-based assays.

The conventional semi-nested assay (RT-nPCR) described (Dong et al., 2017; Eyngor et al., 2014; Kembou Tsofack et al., 2017) was the least sensitive assay, which is not unusual when conventional and real-time assays are compared. The Dong RT-nPCR assay is of sufficient sensitivity for confirmatory testing of samples screened positive by real-time PCR, for the purpose of confirmation of TiLV by sequence analysis, when investigating clinical disease or as follow-up testing of samples screened positive by real-time PCR from surveillance testing of apparently healthy animals.

4.4.1.	Real-time RT-PCR

Virus nucleic acid can be purified from: aliquots of cell culture medium from infected monolayer cells; tissue/organs homogenised in media specified in Section 3.5.1, tissue samples in RNA stabilising reagent, fresh or frozen tissue samples. In the case of culture medium from infected monolayer cells, or in tissue homogenised in MEM, aliquots should be centrifuged at 1000 g for 5 minutes to remove cell debris.

Two real-time RT-PCR assays targeting the putative polymerase acidic (PA) protein gene encoded by segment 3 have been validated to stage 1 and are described herein (assays 3 and 4). The sensitivity of two additional real-time RT-PCR assays targeting the putative RNA dependant RNA polymerase (RdRP/PB1) gene encoded by segment 1 and the putative polymerase acidic (PA) protein gene encoded by segment 3 respectively, (assays 1 and 2) compared favourably and have been validated to stage 2 and in part to stage 3 (repeatability and reproducibility by interlaboratory test) are also described. Finaly a recent sensitive probe-based real-time RT-PCR assay targeting the hypothetical protein gene encoded by segment 10 and validated to stage 2 (stage 3 in part) is described in assay 5 (Megarani et al., 2022). Assays 1, 3 or 5 are recommended based on sensitivity, level of validation and target conservation supporting ability to detect multiple geographical strains.

Positive and negative controls should be included.

Total RNA from infected cells and/or tissues is extracted using a phase-separation method or by use of a commercially available RNA isolation kit used according to the manufacturer’s instructions.

In one-step RT-PCR gene-specific primers are used both to generate a cDNA transcript and for real-time RT-PCR. Both reactions occur in the same tube, which minimises the risk of contamination. Primers are used at a final concentration of 900 nM and the final probe concentration is 250 nM. 2.5 µl of extracted RNA (50 ng–2 ug) is added to each 25 µl RT-PCR reaction.

Alternatively, a two-step assay can be performed

Step 1: Reverse-transcription: extracted RNA is reverse transcribed non-discriminately into cDNA using random primers. The cDNA synthesis reactions and cycling conditions are best performed using manufacturer’s instructions for commercially available kits which have been extensively tested with a variety of RNA templates, including GC- and AU-rich targets and RNAse expressed at low levels.

Step 2: Real-time PCR: the TaqMan real-time PCR assay uses forward primer, reverse primer and probe Primers are used at a final concentration of 400 nM, and the final concentration of the probe is 200 nM. 2.5 µl of cDNA product is added to each 25 µl PCR reaction. Thermal cycling conditions are 50°C for 2 minutes, 95°C for 10 minutes followed by 40 cycles of 95°C for 15 seconds and 60°C for 1 minute (Garver et al., 2011). A sample is negative if no Ct (threshold cycle) is recorded, while samples with a Ct of 1-40 are considered positive for TiLV. Samples with Ct values of >40 are considered inconclusive.

Primers and probes (sequence)

| Pathogen/ target gene | Primer/probe (5–3) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1. Stone et al. (in WOAH 2021 and Soto et al., 2024 Supplement) 73 bp, GenBank Accession No.: MN687695.1 |  |  |  |
| TiLV Segment 1 putative RdRP [PB1] | TiLV CEFAS qFor2: AGA-CAC-ACT-GCT-AAA-AGT-GTG TiLV CEFAS qRev: GCG-CAC-CAT-GTA-AGC-GAG-C TiLV CEFAS qProbe 6FAM AAT-AGG-CAT-GGG-GTC-AAT-YGG-AGT-TAMRA | 900 nM (primers) 250 nM (probe) for 1-step or 400 nM 200 nM (respectively) for 2-step | 48°C/30 min followed by 95°C/10 min, followed by 40 cycles of 95°C/15 sec and 60°C/60 sec |
| Method 2: Liu et al. (in WOAH 2021 and Soto et al., 2024 Supplement), 67 bp, GenBank Accession No.: OQ437056.1 |  |  |  |
| TiLV Segment 3 putative polymerase acidic [PA] protein | TiLV-F1: CGA-ACT-GTT-GCC-TTT-GGA-AAT-T TiLV-R1: TGA-AGA-ATA-AGT-GGA-TTG-CCT-TTG TiLV-P1-6FAM CCG-CGG-CTG-GCC-TTC-CAG-Iowa Black FQ | 900 nM 250 nM or 400 nM 200 nM | 48°C/30 min followed by 95°C/10 min, followed by 40 cycles of 95°C/15 sec and 60°C/60 sec |
| Method 3: Waiyamitra et al. (2018); 93 bp, GenBank Accession No.: MN939374.1 |  |  |  |
| TiLV Segment 3 putative polymerase acidic [PA] protein | TiLV-93F: AGC-CTG-CCA-CAC-AGA-AG TiLV-93R: CTG-CTT-GAG-TTG-TGC-TTC-T TiLV-93Probe: F6AM-CTC-TAC-CAG-CTA-GTG-CCC-CA-Iowa Black FQ | 900 nM 250 nM or 400 nM 200 nM | 48°C/30 min followed by 95°C/10 min, followed by 40 cycles of 95°C/15 sec and 60°C/60 sec |
| Method 4: Tattiyapong et al. (2018); 112 bp, GenBank Accession No.: PP600911.1 |  |  |  |
| TiLV Segment 3 putative polymerase acidic [PA] protein | TiLV-112F: CTG-AGC-TAA-AGA-GGC-AAT-ATG-GAT-T TiLV-112R: CGT-GCG-TAC-TCG-TTC-AGT-ATA-AGT-TCT | 900 nM | 48°C/30 min followed by 95°C/10 min, followed by 40 cycles of 95°C/15 sec and 60°C/60 sec |
| Method 5: Megarani et al. (2022); 91 bp, GenBank Accession No.: MN687724.1 |  |  |  |
| TiLV Segment 10 Hypothetical protein | TiLV-F: GGC-AAG-AAA-GCT-GCT-TCA-AAG-A TiLV-R: CGC-TCT-CGT-CAG-CAC-CAT-AC TiLV -P: 6FAM-CGA-AGT-TGG-AAG-AAT-G-MGB | 900 nM 250 nM | 50°C/5 min followed by 95°C/20 sec, followed by 40 cycles of 95°C/3 sec and 62°C/30 sec (fast protocol) |

(a)A denaturation step prior to cycling has not been included.

4.4.2.	Conventional RT-PCR

Primers (sequence)

| Pathogen/ target gene | Primer (5–3) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1. Dong et al. (2017); product size 415 bp in first round, 250 bp in second round; GenBank Accession No.: MK392374.1 |  |  |  |
| TiLV Segment 3 putative polymerase acidic [PA] protein | TiLV-Nested ext-1: TAT-GCA-GTA-CTT-TCC-CTG-CC TiLV-ME1: GTT-GGG-CAC-AAG-GCA-TCC-TA | 180 nM | 50°C/30 min followed by 94°C/2 min followed by 30–35 cycles* of 94°C/30 sec, 60°C/30 sec, 68°C/30 sec then 68°C/7 min |
| TiLV Segment 3 putative polymerase acidic [PA] protein | TiLV-7450/150R/ME2: TAT-CAC-GTG-CGT-ACT-CGT-TCA-GT TiLV-ME1: GTT-GGG-CAC-AAG-GCA-TCC-TA | 360 nM | 94°C/15 min followed by 30–35 cycles* of 94°C/30 sec, 60°C/30 sec, 68°C/30 sec then 68°C/7 min |
| Method 2: Stone et al. (in WOAH 2021 and Soto et al., 2024 Supplement), 689 bp, GenBank Accession No.: MN687695.1 |  |  |  |
| TiLV Segment 1 putative RdRP [PB1] | TiLV For: AGA-GAC-GCA-CGC-TAG-ATC-TG TiLV Rev: TGT-AAG-TGG-GGT-TGT-TAT-ACC | 100 nM | 50°C/30 min followed by 94°C/2 min followed by 35 cycles of 94°C/30 sec, 60°C/30 sec, 68°C/30 sec then 68°C/7 min |
| TiLV Segment 1 putative RdRP [PB1] | TiLV Fint: GGT-CTC-AGC-AGT-GTA-CAC-CG TiLV Rint: ATC-TGG-AAC-AGA-CGT-TCT-GC | 100 nM | 94°C/15 min followed by 35 cycles of 94°C/30 sec, 60°C/30 sec, 68°C/30 sec then 68°C/7 min |

*Data not shared in the paper – trail in-house 30–35 recommended.

4.4.3.	Other nucleic acid amplification methods

There are many various molecular detection methods that have been developed for TiLV in recent years, some more research orientated. A rapid, one-step reverse transcription, loop-mediated, isothermal amplification (RT-LAMP) method for the detection of TiLV in fish tissues was developed by Phusantisampan et al. (2020). Although the assay was capable of detecting virus from different geographical locations in Thailand, it has not been evaluated using the full range of global isolates. A droplet digital PCR has been developed by Shahi et al. (2023) * consistent with TiLV morphology in infected tissues or cell culture preparations. However, due to limited specificity and sensitivity, TEM should only be used in combination with molecular identification methods and is not recommended as a standalone diagnostic assay.

5.	Test(s) recommended for surveillance to demonstrate freedom in apparently healthy populations

For surveillance to demonstrate freedom from infection with TiLV in apparently healthy populations, real-time RT-PCR is the recommended test due to its high analytical sensitivity, specificity, and suitability for high-throughput screening across susceptible life stages. Surveillance testing should target appropriate tissues and be conducted in accordance with the principles outlined in the Aquatic Code. Positive screening results should be followed by confirmatory testing as described in Section 6 to support official disease status determination.

If real-time PCR apparatus is not available, nested or semi-nested PCR can be used for surveillance acknowledging and accommodating (e.g. by increased sample numbers and appropriate controls) the lower sensitivity and greater risk of amplicon contamination and false positive results associated with these methods.

6.	Corroborative diagnostic criteria

This section only addresses the diagnostic test results for detection of infection in the absence (Section 6.1.) or in the presence (Section 6.2.) of clinical signs but does not evaluate whether the infectious agent is the cause of the clinical event.

The case definitions for a suspect and confirmed case have been developed to support decision making related to trade and confirmation of disease status at the country, zone or compartment level. Case definitions for disease confirmation in endemically affected areas may be less stringent. If a Competent Authority does not have the capability to undertake the necessary diagnostic tests it should seek advice from the appropriate WOAH Reference Laboratory, and if necessary, refer samples to that laboratory for confirmatory testing of samples from the index case in a country, zone or compartment considered free.

When two molecular methods are used for confirmation of a case, it is preferable to use two species-specific methods targeting non-overlapping regions of the pathogen genome.

6.1.	Apparently healthy animals or animals of unknown health status

Apparently healthy populations may fall under suspicion, and therefore be sampled, if there is an epidemiological link(s) to an infected population. Hydrographical proximity to, or movement of animals or animal products or equipment, etc., from a known infected population equate to an epidemiological link. Alternatively, healthy populations are sampled in surveys to demonstrate disease freedom.

6.1.1.	Definition of suspect case in apparently healthy animals

The presence of infection with TiLV shall be suspected in apparently healthy animals if at least one of the following criteria is met:

i)	Positive result by conventional RT-PCR

ii)	Positive result by nested conventional RT-PCR

iii)	Positive result by real-time RT-PCR

iv)	TiLV-typical CPE in cell culture observed in a susceptible fish cell line, without confirmatory identification of the virus

6.1.2.	Definition of confirmed case in apparently healthy animals

The presence of infection with TiLV is considered to be confirmed in apparently healthy animals if at least one of the following criteria is met:

i)	Positive result on tissue preparations by real-time RT-PCR and positive result by conventional RT-PCR followed by sequencing of the amplicon

ii)	TiLV-typical CPE in cell culture followed by virus identification by conventional RT-PCR and sequencing of the amplicon

6.2	Clinically affected animals

Clinical signs are not pathognomonic for a single disease; however they may narrow the range of possible diagnoses, mortality may be the only or most dominant observation.

6.2.1.	Definition of suspect case in clinically affected animals

The presence of infection with TiLV shall be suspected in clinically affected animals if at least one of the following criteria is met:

i)	Gross pathology or clinical signs associated with the disease as described in this chapter

ii)	Histo- or cytopathological changes consistent with the presence of the pathogen or the disease

iii)	Positive result by a real-time RT-PCR

iv)	Positive result by a conventional RT-PCR

v)	Positive result by a recommended antigen or antibody detection test

vi)	TiLV-typical CPE in cell culture

6.2.2.	Definition of confirmed case in clinically affected animals

The presence of infection with TiLV is considered in to be confirmed in clinically affected animals if at least at least one of the following criteria is met:

i)	Positive result on tissue preparations by real-time RT-PCR and positive result by conventional RT-PCR followed by sequencing of the amplicon

ii)	TiLV-typical CPE in cell culture followed by virus identification by conventional RT-PCR and sequencing of the amplicon

6.3.	Diagnostic sensitivity and specificity for diagnostic tests

The diagnostic performance of tests recommended for surveillance or diagnosis of infection with TiLV are provided in Tables 6.3.1. and 6.3.2 (no data are currently available). Data are only presented where tests are validated to at least level 2 of the validation pathway described in Chapter 1.1.2. and the information is available within published diagnostic accuracy studies.

6.3.1.	For presumptive diagnosis of clinically affected animals

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe (n) | DSp (n) | Reference test | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Real-time RT-PCR | Diagnosis | Clinically diseased fish from farms and processing plants | Liver, spleen, kidney, brain, mucus and blood for nonlethal samples | Oreochromis niloticus, hybrid, other Oreochormis and susceptible species | 96.8 (278) | 100 (278) | Conventional RT-PCR and alternative real-time RT-PCR | Megarani et al., 2022 |

DSe = diagnostic sensitivity, DSp = diagnostic specificity, n = number of samples used in the study,
RT-PCR: = reverse-transcriptase polymerase chain reaction.

6.3.2.	For surveillance of apparently healthy animals

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe (n) | DSp (n) | Reference test | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

DSe = diagnostic sensitivity, DSp = diagnostic specificity, n = number of samples used in the study,
PCR: = polymerase chain reaction.

7.	References

Abbadi M., Basso A., Biasini L., Quartesan R., Buratin A., Davidovich N. & Toffan A. (2023). Tilapia lake virus: A structured phylogenetic approach. Front. Genet., 14, 1069300.

Abu Rass R., Kembou-Ringert J.E., Zamostiano R., Eldar A., Ehrlich M. & Bacharach E. (2022b). Mapping of Tilapia Lake Virus entry pathways with inhibitors reveals dependence on dynamin activity and cholesterol but not endosomal acidification. Front. Cell Dev. Biol., 10:1075364. doi: 10.3389/fcell.2022.1075364.

Abu Rass R., Kustin T., Zamostiano R., Smorodinsky N., Ben Meir D., Feder D., Mishra N., Lipkin W.I., Eldar A., Ehrlich M., Stern A. & Bacharach E. (2022a). Inferring Protein Function in an Emerging Virus: Detection of the Nucleoprotein in Tilapia Lake Virus. J. Virol., 96, e0175721.

Acharya V., Chakraborty H.J., Rout A.K., Balabantaray S., Behera B.K. & Das B.K. (2019). Structural Characterization of Open Reading Frame-Encoded Functional Genes from Tilapia Lake Virus (TiLV), Mol Biotechnol, 61, 945–957.

Adamek M., Rebl A., Matras M., Lodder C., El Rahman S., Stachnik M., Rakus K., Bauer J., Falco A., Jung-Schroers V., Piewbang C., Techangamsuwan S., Surachetpong W., Reichert M., Tetens J. & Steinhagen D. (2022). Immunological insights into the resistance of Nile tilapia strains to an infection with tilapia lake virus. Fish Shellfish Immunol., 124, 118–133.

Ahasan M.S., Keleher W., Giray C., Perry B., Surachetpong W., Nicholson P., Al-Hussinee L., Subramaniam K. & Waltzek T.B. (2020). Genomic Characterization of Tilapia Lake Virus Isolates Recovered from Moribund Nile Tilapia (Oreochromis niloticus) on a Farm in the United States. Microbiol. Resour. Announc., 9:e01368-19. doi: 10.1128/MRA.01368-19.

Aich N., Paul A., Choudhury T.G. & Saha H. (2022). Tilapia Lake Virus (TiLV) disease: Current status of understanding. Aquacult. Fisheries, 7, 7–17. https://doi.org/10.1016/j.aaf.2021.04.007

Amal M.N.A., Koh C.B., Nurliyana M., Suhaiba M., Nor-Amalina Z., Santha S., Diyana-Nadhirah K.P., Yusof M.T., Ina-Salwany M.Y. & Zamri-Saad M. (2018). A case of natural co-infection of Tilapia Lake Virus and Aeromonas veronii in a Malaysian red hybrid tilapia (Oreochromis niloticus × O. mossambicus) farm experiencing high mortality. Aquaculture, 485, 12–16.

Arragain B., Pelosse M., Thompson A. & Cusack S. (2023). Structural and functional analysis of the minimal orthomyxovirus-like polymerase of Tilapia Lake Virus from the highly diverged Amnoonviridae family. Nat. Commun., 14, 8145. doi: 10.1038/s41467-023-44044-x.

Bacharach E., Mishra N., Briese T., Zody M.C., Kembou Tsofack J.E., Zamostiano R., Berkowitz A., Ng J., Nitido A., Corvelo A., Toussaint N.C., Abel Nielsen S.C., Hornig M., Del Pozo J., Bloom T., Ferguson H., Eldar A. & Lipkin W.I. (2016). Characterization of a Novel Orthomyxo-like Virus Causing Mass Die-Offs of Tilapia. mBio, 7, e00431-16. doi: 10.1128/mBio.00431-16.

Barria A., Trinh T.Q., Mahmuddin M., Penaloza C., Papadopoulou A., Gervais O., Chadag V.M., Benzie J.A.H. & Houston R.D. (2021). A major quantitative trait locus affecting resistance to Tilapia lake virus in farmed Nile tilapia (Oreochromis niloticus). Heredity, 127, 334–343. https://doi.org/10.1038/s41437-021-00447-4

Behera B.K., Pradhan P.K., Swaminathan T.R., Sood N., Paria P., Das A., Verma D.K., Kumar R., Yadav M.K., Dev A.K., Parida P.K., Das A.B.K., Lal K.K.& Jena J.K. (2018). Emergence of Tilapia Lake Virus associated with mortalities of farmed Nile Tilapia Oreochromis niloticus (Linnaeus 1758) in India. Aquaculture, 484, 168–174.

Chaput D.L., Bass D., Alam M.M., Hasan N.A., Stentiford G.D., Aerle R.V., Moore K., Bignell J.P., Haque M.M. & Tyler C.R. (2020). The Segment Matters: Probable Reassortment of Tilapia Lake Virus (TiLV) Complicates Phylogenetic Analysis and Inference of Geographical Origin of New Isolate from Bangladesh, Viruses, 11, 1152. doi: 10.3390/v11121152.

Chengula A.A., Mutoloki S., Evensen Ø. & Munangandu H.M. (2019). Tilapia Lake Virus Does Not Hemagglutinate Avian and Piscine Erythrocytes and NH(4)Cl Does Not Inhibit Viral Replication In Vitro. Viruses, 11.

Debnath P.P., Delamare-Deboutteville J., Jansen M.D., Phiwsaiya K., Dalia A., Hasan M.A., Senapin S., Mohan C.V., Dong H.T. & Rodkhum C. (2020). Two-year surveillance of tilapia lake virus (TiLV) reveals its wide circulation in tilapia farms and hatcheries from multiple districts of Bangladesh. J. Fish Dis., 43, 1381-1389. doi: 10.1111/jfd.13235.

Dong H.T., Senapin S., Gangnonngiw W., Nguyen V.V., Rodkhum C., Debnath P.P., Delamare-Deboutteville J. & Vishnumurthy Mohan C. (2020). Experimental infection reveals transmission of tilapia lake virus (TiLV) from tilapia broodstock to their reproductive organs and fertilized eggs. Aquaculture, 515, 734541.

Dong H.T., Siriroob S., Meemetta W., Santimanawong W., Gangnonngiw W., Pirarat N., Khunrae P., Rattanarojpong T., Vanichviriyakit R. & Senapin S. (2017). Emergence of tilapia lake virus in Thailand and an alternative semi-nested RT-PCR for detection. Aquaculture, 476, 111–118.

Eyngor M., Zamostiano R., Kembou Tsofack J.E., Berkowitz A., Bercovier H., Tinman S., Lev M., Hurvitz A., Galeotti M., Bacharach E. & Eldar A. (2014). Identification of a novel RNA virus lethal to tilapia. J. Clin. Microbiol., 52, 4137–4146.

Fathi M., Dickson C., Dickson M., Leschen W., Baily J., Muir F., Ulrich K. & Weidmann M. (2017). Identification of Tilapia Lake Virus in Egypt in Nile tilapia affected by summer mortality syndrome. Aquaculture, 473, 430–432.

Ferguson H.W., Kabuusu R., Beltran S., Reyes E., Lince J.A. & del Pozo J. (2014). Syncytial hepatitis of farmed tilapia, Oreochromis niloticus (L.): a case report. J. Fish Dis., 37, 583–589.

Hu H., Zeng W., Wang Y., Wang Q., Bergmann S.M., Yin J., Li Y., Chen X., Gao C., Zhang D., Liu C., Ren Y. & Shi C. (2020). Development and application of a recombinant protein-based indirect ELISA for detection of anti-tilapia lake virus IgM in sera from tilapia. Aquaculture, 520, 734756.

Jaemwimol P., Rawiwan P., Tattiyapong P., Saengnual P., Kamlangdee A. & Surachetpong W. (2018). Susceptibility of important warm water fish species to tilapia lake virus (TiLV) infection. Aquaculture, 497, 462–468.

Jaemwimol P., Sirikanchana K., Tattiyapong P., Mongkolsuk S. & Surachetpong W. (2019). Virucidal effects of common disinfectants against tilapia lake virus. J. Fish Dis., 42, 1383–1389. doi: 10.1111/jfd.13060. Epub 2019 Jul 19.

Jansen M.D., Dong H.T. & Mohan Vishnumurthy C. (2019). Tilapia lake virus: a threat to the global tilapia industry? Rev. Aquacult., 11, 725–739.

Kabuusu R.M., Aire A.T., Stroup D.F., Macpherson C.N.L. & Ferguson H.W. (2018). Production-level risk factors for syncytial hepatitis in farmed tilapia (Oreochromis niloticus L). J. Fish Dis., 41, 61–66.

Kembou Tsofack J.E., Zamostiano R., Watted S., Berkowitz A., Rosenbluth E., Mishra N., Briese T., Lipkin W.I., Kabuusu R.M., Ferguson H., Del Pozo J., Eldar A. & Bacharach E. (2017). Detection of Tilapia Lake Virus in Clinical Samples by Culturing and Nested Reverse Transcription-PCR. J. Clin. Microbiol., 55, 759–767.

Lalruatfela, Bedekar M.K., Godavarikar A., Valsalam A., Gireesh-Babu P. & Valappil Rajendran K. (2024). Molecular cloning and expression of codon-optimized segment 4 hypothetical protein (35 kDa) of tilapia lake virus (TiLV) in pET-28a( +) expression vector and development of indirect ELISA test. Aquacult. Int., 32, 5997–6015. https://doi.org/10.1007/s10499-024-01452-0

Liamnimitr P., Thammatorn W., U-Thoomporn S., Tattiyapong P. & Surachetpong W. (2018). Non-lethal sampling for Tilapia Lake Virus detection by RT-qPCR and cell culture. Aquaculture, 486, 75–80.

Megarani D.V., Al-Hussinee L., Subramaniam K., Sriwanayos P., Imnoi K., Keleher B., Nicholson P., Surachetpong W., Tattiyapong P., Hick P., Gustafson L.L. & Waltzek T.B. (2022). Development of a TaqMan quantitative reverse transcription PCR assay to detect tilapia lake virus. Dis. Aquat. Organ., 152, 147–158.

Megarani D.V., Yang L., Siler H.J., Quijano Cardé E.M., Martyniuk C.J., Hick P.M., Becker J.A., Soto E., Surachetpong W., Yanong R.P.E. & Subramaniam K. (2025). One-Pot RT-LAMP CRISPR/Cas12b Platform for Rapid Detection of Tilapia Lake Virus. J. Fish Dis., e70087.

Mugimba K.K., Chengula A.A., Wamala S., Mwega E.D., Kasanga C.J., Byarugaba D.K., Mdegela R.H., Tal S., Bornstein B., Dishon A., Mutoloki S., David L., Evensen O. & Munangandu H.M. (2018). Detection of tilapia lake virus (TiLV) infection by PCR in farmed and wild Nile tilapia (Oreochromis niloticus) from Lake Victoria. J. Fish Dis., doi: 10.1111/jfd.12790.

Ortiz-Baez A.S., Eden J.S., Moritz C. & E. Holmes C. (2020). A Divergent Articulavirus in an Australian Gecko Identified Using Meta-Transcriptomics and Protein Structure Comparisons. Viruses, 12, 613. doi: 10.3390/v12060613.

Phusantisampan T., Rawiwan P., Kumar Roy S.R., Sriariyanun M. & Surachetpong W. (2020). Reverse Transcription Loop-Mediated Isothermal Amplification (RT-LAMP) Assay for the Specific and Rapid Detection of Tilapia Lake Virus. J. Vis. Exp., 18, 159. doi: 10.3791/61025.

Pierezan F., Yun S., Surachetpong W. & Soto E. (2019). Intragastric and intracoelomic injection challenge models of tilapia lake virus infection in Nile tilapia (Oreochromis niloticus L.) fingerlings. J. Fish Dis., 42, 1301–1307.

Piewbang C., Tattiyapong P., Techangamsuwan S. & Surachetpong W. (2021). Tilapia lake virus immunoglobulin G (TiLV IgG) antibody: Immunohistochemistry application reveals cellular tropism of TiLV infection. Fish Shellfish Immunol, 116, 115–123.

Rawiwan P., Khemthong M., Tattiyapong P., Huchzermeyer D. & Surachetpong W. (2021). Effects of sample preservation and storage times on the detection of tilapia lake virus (TiLV) RNA in tilapia tissues. Aquaculture, 533, 736240.

Roy S.R.K., Yamkasem J., Tattiyapong P. & Surachetpong W. (2021). Weight-dependent susceptibility of tilapia to tilapia lake virus infection. PeerJ., 9, e11738.

Senapin S., Shyam K.U., Meemetta W., Rattanarojpong T. & Dong H.T. (2018). Inapparent infection cases of tilapia lake virus (TiLV) in farmed tilapia. Aquaculture, 487, 51–55.

Shahi N., Prasartset T. & Surachetpong W. (2023). A specific and sensitive droplet digital polymerase chain reaction assay for the detection of tilapia lake virus in fish tissue and environmental samples. J. Fish Dis., 46, 957–966. doi: 10.1111/jfd.13816.

Soto E., LaFrentz B.R., Yun S., Megarani D., Henderson E., Piewbang C., Johnston A.E., Techangamsuwan S., Ng T.F.F., Warg J., Surachetpong W. & Subramaniam K. (2024). Diagnosis, isolation and description of a novel amnoonvirus recovered from diseased fancy guppies, Poecilia reticulata. J. Fish Dis., 47, e13937. doi: 10.1111/jfd.13937.

Soto E., Yun S. & Surachetpong W. (2019). Susceptibility of Tilapia Lake Virus to buffered Povidone-iodine complex and chlorine. Aquaculture, 512, 734342.

Sresung M., Yamkasem J., Theplhar S., Setthawong P., Rattanakul S., Mongkolsuk S., Sirikanchana K., Surachetpong W. & Lertwanakarn T. (2026). Dynamics of Tilapia Lake Virus in Recirculating Aquaculture Systems and the Impact of Vaccination on Outbreak Control. Viruses, 18, 96. doi: 10.3390/v18010096.

Surachetpong W., Janetanakit T., Nonthabenjawan N., Tattiyapong P., Sirikanchana K. & Amonsin A. (2017). Outbreaks of Tilapia Lake Virus Infection, Thailand, 2015–2016. Emerg. Infect. Dis., 23, 1031–1033.

Tattiyapong P., Dachavichitlead W. & Surachetpong W. (2017). Experimental infection of Tilapia Lake Virus (TiLV) in Nile tilapia (Oreochromis niloticus) and red tilapia (Oreochromis spp.). Vet. Microbiol., 207, 170–77.

Tattiyapong P., Dechavichitlead W., Waltzek T.B. & Surachetpong W. (2020). Tilapia develop protective immunity including a humoral response following exposure to tilapia lake virus. Fish Shellfish Immunol., 106, 666–674.

Tattiyapong P., Sirikanchana K. & Surachetpong W. (2018). Development and validation of a reverse transcription quantitative polymerase chain reaction for tilapia lake virus detection in clinical samples and experimentally challenged fish. J Fish Dis, 41, 255–261.

Thammatorn W., Rawiwan P. & Surachetpong W. (2019). Minimal risk of tilapia lake virus transmission via frozen tilapia fillets. J. Fish Dis, 42, 3–9.

Tran T.H., Nguyen V.T.H., Bui H.C.N., Tran Y.B.T., Tran H.T.T., Le T.T.T., Vu H.T.T. & Ngo T.P.H. (2022). Tilapia Lake Virus (TiLV) from Vietnam is genetically distantly related to TiLV strains from other countries. J. Fish Dis., 45, 1389–13401.

Valsalam A., Rajendran K.V., Kezhedath J., Godavarikar A., Sood N. & Bedekar M.K. (2023). Development of an indirect ELISA test for the detection of Tilapia lake virus (TiLV) in fish tissue and mucus samples. J. Virol. Methods, 315, 114707.

Verma D.K., Sood N., Paria A., Swaminathan T.R., Mohan Vishnumurthy C., Rajendran K.V. & Pradhan P.K. (2022). Reassortment and evolutionary dynamics of tilapia lake virus genomic segments, Virus Res., 308, 198625.

Waiyamitra P., Tattiyapong P., Sirikanchana K., Mongkolsuk S., Nicholson P. & W. Surachetpong (2018). A TaqMan RT-qPCR assay for tilapia lake virus (TiLV) detection in tilapia. Aquaculture, 497, 184–188.

World Organisation for Animal Health, Reports from the ad-hoc group for Tilapia Like Virus 2017, 2018 and 2021:
https://www.woah.org/app/uploads/2021/10/a-ahg-tilapia-lake-virus-nov-2017-jan-2018.pdf 
https://www.woah.org/app/uploads/2021/10/a-ahg-tilapia-lake-virus-august-2018.pdf
https://www.woah.org/app/uploads/2021/12/a-ahg-infection-with-tilapia-lake-sept-2019-sept-2021.pdf
Accessed 17 February 2026.

Yamkasem J., Prasartset T., Tattiyapong P., Sirikanchana K., Mongkolsuk S., Soto E. & Surachetpong W. (2022). Persistence of Tilapia tilapinevirus in fish rearing and environmental water and its ability to infect cell line. J. Fish Dis., 45, 679–685.

Yamkasem J., Tattiyapong P., Gardner I.A. & Surachetpong W. (2025). Assessment and Performance of Pooled Serum Samples for Monitoring Farm-Level Immunity in Tilapia Infected with Tilapia Lake Virus. Viruses, 17, 877.

Yamkasem J., Tattiyapong P., Kamlangdee A. & Surachetpong W. (2019). Evidence of potential vertical transmission of tilapia lake virus. J. Fish Dis., 42, 1293–1300. doi: 10.1111/jfd.13050.

*
* *

NB: Currently (2026) there is no WOAH Reference Laboratory for infection with Tilapia lake virus
(please consult the WOAH web site for the list: 
https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3).

NB: First adopted in 20XX.

For example transboundary commodities.