Annex 12. Item 5.1 – Chapter 3.4.12 Lumpy Skin Disease

2	MEETING OF THE WOAH BIOLOGICAL STANDARDS COMMISSION

3	Paris, 4–8 September 2023

4

5	CHAP T E R  3 . 4 . 1 2 .

# 6	L U M PY SK I N D I SEASE

7	SUMMARY

- Description of the disease: Lumpy skin disease (LSD) is a poxvirus disease of cattle characterised by

- fever, nodules on the skin, mucous membranes and internal organs, emaciation, enlarged lymph nodes,

- oedema of the skin, and sometimes death. The disease is of economic importance as it can cause a

- temporary reduction in milk production, temporary or permanent sterility in bulls, damage to hides and,

- occasionally, death. Various strains of capripoxvirus are responsible for the disease. These are antigenically

- indistinguishable from strains causing sheep pox and goat pox yet distinct at the genetic level. LSD has a

- partially different geographical distribution from sheep and goat pox, suggesting that cattle strains of

- capripoxvirus do not infect and transmit between sheep and goats. Transmission of LSD virus (LSDV) is

- thought to be predominantly by arthropods, natural contact transmission in the absence of vectors being

- inefficient. Lumpy skin disease is endemic in most many African and Middle Eastern countries. Between

- 2012 and 2022, LSD spread into south-east Europe, the Balkans, Russia and Asia as part of the Eurasian

- LSD epidemic.

- Pathology: the nodules are firm, and may extend to the underlying subcutis and muscle. Acute histological

- key lesions consist of epidermal vacuolar changes with intracytoplasmic inclusion bodies and dermal

- vasculitis. Chronic key histological lesions consist of fibrosis and necrotic sequestrae.

- Detection of the agent: Laboratory confirmation of LSD is most rapid using a real-time or conventional

- polymerase chain reaction (PCR) method specific for capripoxviruses in combination with a clinical history

- of a generalised nodular skin disease and enlarged superficial lymph nodes in cattle. Ultrastructurally,

- capripoxvirus virions are distinct from those of parapoxvirus, which causes bovine papular stomatitis and

- pseudocowpox, but cannot be distinguished morphologically from orthopoxvirus virions, including cowpox

- and vaccinia viruses, both of which can cause disease in cattle, although neither causes generalised

- infection and both are uncommon in cattle. LSDV will grow in tissue culture of bovine, ovine or caprine origin.

- In cell culture, LSDV causes a characteristic cytopathic effect and intracytoplasmic inclusion bodies that is

- distinct from infection with Bovine herpesvirus 2, which causes pseudo-lumpy skin disease and produces

- syncytia and intranuclear inclusion bodies in cell culture. Capripoxvirus antigens can be demonstrated in

- tissue culture using immunoperoxidase or immunofluorescent staining and the virus can be neutralised using

- specific antisera.

- A variety of conventional and real-time PCR tests as well as isothermal amplification tests using

- capripoxvirus-specific primers have been published for use on a variety of samples.

- Serological tests: The virus neutralisation test (VNT) and enzyme-linked immunosorbent assays (ELISAs)

- are widely used and have been validated. The agar gel immunodiffusion test and indirect immunofluorescent

- antibody test are less specific than the VNT due to cross-reactions with antibody to other poxviruses.

- Western blotting using the reaction between the P32 antigen of LSDV with test sera is both sensitive and

- specific, but is difficult and expensive to carry out.

- Requirements for vaccines: All strains of capripoxvirus examined so far, whether derived from cattle,

- sheep or goats, are antigenically similar. Attenuated cattle strains, and strains derived from sheep and goats

- have been used as live vaccines against LSDV.

## 45	A. INTRODUCTION

- Lumpy skin disease (LSD) was first seen in Zambia in 1929, spreading into Botswana by 1943 (Haig, 1957), and then into

- South Africa the same year, where it affected over eight million cattle causing major economic loss. In 1957 it entered

- Kenya, at the same time as associated with an outbreak of sheep pox (Weiss, 1968). In 1970 LSD spread north into the

- Sudan, by 1974 it had spread west as far as Nigeria, and in 1977 was reported from Mauritania, Mali, Ghana and Liberia.

- Another epizootic of LSD between 1981 and 1986 affected Tanzania, Kenya, Zimbabwe, Somalia and the Cameroon, with

- reported mortality rates in affected cattle of 20%. The occurrence of LSD north of the Sahara desert and outside the African

- continent was confirmed for the first time in Egypt and Israel between 1988 and 1989, and was reported again in 2006

- (Brenner et al., 2006). In the past decade, LSD occurrences have been reported in the Middle Eastern, European and

- Asian regions (for up-to-date information, consult WOAH WAHIS interface 40). Lumpy skin disease outbreaks tend to be

- sporadic, depending upon animal movements, immune status, and wind and rainfall patterns affecting vector populations.

- The principal method of transmission is thought to be mechanical by various arthropod vectors (Tuppurainen et al., 2015).

- Lumpy skin disease virus (LSDV) belongs to the family Poxviridae, subfamily Chordopoxvirinae Chordopoxviridae, and

- genus Capripoxvirus. In common with other poxviruses LSDV replicates in the cytoplasm of an infected cell, forming distinct

- perinuclear viral factories. The LSD virion is large and brick-shaped measuring 293–299nm (length) and 262–273nm

- (width). The LSDV genome structure is also similar to other poxviruses, consisting of double-stranded linear DNA that is

- 25% GC-rich, approximately 150,000 bp in length, and encodes around 156 open reading frames (ORFs). An inverted

- terminal repeat sequence of 2200–2300 bp is found at each end of the linear genome. The linear ends of the genome are

- joined with a hairpin loop. The central region of the LSDV genome contains ORFs predicted to encode proteins required

- for virus replication and morphogenesis and exhibit a high degree of similarity with genomes of other mammalian

- poxviruses. The ORFs in the outer regions of the LSDV genome have lower similarity and likely encode proteins involved

- in viral virulence and host range determinants.

- Phylogenetic analysis shows the majority of LSDV strains group into two monophyletic clusters (cluster 1.1 and 1.2)

- (Biswas et al., 2020; Van Schalkwyk et al., 2021). Cluster 1.1 consists of LSDV Neethling vaccine strains that are based

- on the LSDV/Neethling/LW-1959 vaccine strain (Kara et al., 2003; Van Rooyen et al., 1959; van Schalkwyk et al., 2020)

- and historic wild-type strains from South Africa. Cluster 1.2 consists of wild-type strains from southern Africa, Kenya, the

- northern hemisphere, and the Kenyan KSGP O-240 commercial vaccine. In addition to these two clusters, there have

- recently been recombinant LSDV strains isolated from clinical cases of LSD in the field in Russia and central Asia (Flannery

- et al., 2021; Sprygin et al., 2018; 2020; Wang et al., 2021). These recombinant viruses show unique patterns of accessory

- gene alleles, consisting of sections of both wild-type and “vaccine” LSDV strains.

- The severity of the clinical signs of LSD is highly variable and depends on a number of factors, including the strain of

- capripoxvirus the age of the host, immunological status and breed. Bos taurus is generally more susceptible to clinical disease

- than Bos indicus; the Asian buffalo (Bubalus spp.) has also been reported to be susceptible. Within Bos taurus, the fine-

- skinned Channel Island breeds develop more severe disease, with lactating cows appearing to be the most at risk. However,

- even among groups of cattle of the same breed kept together under the same conditions, there is a large variation in the

- clinical signs presented, ranging from subclinical infection to death (Carn & Kitching, 1995). There may be failure of the virus

- to infect the whole group, probably depending on the virulence of the virus isolate, immunological status of the host, host

- genotype, and vector prevalence. Seroprevalence studies, experimental infections and case reports have provided indications

- that several wildlife species (e.g. springbok, impala, giraffe, camel, banteng) are susceptible to LSDV infection (Dao et al.,

- 2022; Hedger & Hamblin, 1983; Kumar et al., 2023; Porco et al., 2023). The scarcity of documented outbreaks in wildlife and

- the fact that available studies remain limited in number and mostly involve only a few animals, make it difficult to determine

- the role of wildlife in LSDV epidemiology. This topic deserves further study, especially given the current spread of LSDV in

- new geographical areas where large numbers of naïve, potentially susceptible wild bovines and other ruminants are present.

- The incubation period under field conditions has not been reported, but following experimental inoculation is 6–9 days until

- the onset of fever. In the acutely infected animal, there is an initial pyrexia, which may exceed 41°C and persist for 1 week.

- All the superficial lymph nodes become enlarged. In lactating cattle there is a marked reduction in milk yield. Lesions

- develop over the body, particularly on the head, neck, udder, scrotum, vulva and perineum between 7 and 19 days after

- virus inoculation (Coetzer, 2004). The characteristic integumentary lesions are multiple, well circumscribed to coalescing,

- 0.5–5 cm in diameter, firm, flat-topped papules and nodules. The nodules involve the dermis and epidermis, and may

- https://www.woah.org/en/what-we-do/animal-health-and-welfare/disease-data-collection/

- extend to the underlying subcutis and occasionally to the adjacent striated muscle. These nodules have a creamy grey to

- white colour on cut section, which may initially exude serum, but over the ensuing 2 weeks a cone-shaped central core or

- sequestrum of necrotic material/necrotic plug (“sit-fast”) may appear within the nodule. The acute histological lesions

- consist of epidermal vacuolar changes with intracytoplasmic inclusion bodies and dermal vasculitis. The inclusion bodies

- are numerous, intracytoplasmic, eosinophilic, homogenous to occasionally granular and they may occur in endothelial

- cells, fibroblasts, macrophages, pericytes, and keratinocytes. The dermal lesions include vasculitis with fibrinoid necrosis,

- oedema, thrombosis, lymphangitis, dermal-epidermal separation, and mixed inflammatory infiltrate. The chronic lesions

- are characterised by an infarcted tissue with a sequestered necrotic core, often rimmed by granulation tissue gradually

- replaced by mature fibrosis. At the appearance of the nodules, the discharge from the eyes and nose becomes

- mucopurulent, and keratitis may develop. Nodules may also develop in the mucous membranes of the mouth and

- alimentary tract, particularly the abomasum and in the trachea and the lungs, resulting in primary and secondary

- pneumonia. The nodules on the mucous membranes of the eyes, nose, mouth, rectum, udder and genitalia quickly

- ulcerate, and by then all secretions, ocular and nasal discharge and saliva contain LSD virus (LSDV). The limbs may be

- oedematous and the animal is reluctant to move. Pregnant cattle may abort, and there is a report of intrauterine

- transmission (Rouby & Aboulsoudb, 2016). Bulls may become permanently or temporarily infertile and the virus can be

- excreted in the semen for prolonged periods (Irons et al., 2005). Recovery from severe infection is slow; the animal is

- emaciated, may have pneumonia and mastitis, and the necrotic plugs of skin, which may have been subject to fly strike,

- are shed leaving deep holes in the hide (Prozesky & Barnard, 1982).

- The main differential diagnosis is pseudo-LSD caused by bovine herpesvirus 2 (BoHV-2). This is usually a milder clinical

- condition, characterised by superficial nodules, resembling only the early stage of LSD. Intra-nuclear inclusion bodies and

- viral syncytia are histopathological characteristics of BoHV-2 infection not seen in LSD. Other differential diagnoses (for

- integumentary lesions) include: dermatophilosis, dermatophytosis, bovine farcy, photosensitisation, actinomycosis,

- actinobacillosis, urticaria, insect bites, besnoitiosis, nocardiosis, demodicosis, onchocerciasis, pseudo-cowpox, and

- cowpox. Differential diagnoses for mucosal lesions include: foot and mouth disease, bluetongue, mucosal disease,

- malignant catarrhal fever, infectious bovine rhinotracheitis, and bovine papular stomatitis.

- LSDV is not transmissible to humans. However, all laboratory manipulations must be performed at an appropriate

- containment level determined using biorisk analysis (see Chapter 1.1.4 Biosafety and biosecurity: Standard for managing

- biological risk in the veterinary laboratory and animal facilities).

## 122	B. DIAGNOSTIC TECHNIQUES

123	Table 1. Test methods available for the diagnosis of LSD and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post- vaccination |
| Detection of the agent |  |  |  |  |  |  |
| Virus isolation | + | ++ | + | +++ | + | – |
| PCR | ++ | +++ | ++ | +++ | + | – |
| TEM | – | – | – | + | – | – |
| Detection of immune response |  |  |  |  |  |  |
| VNT | ++ | ++ | ++ | ++ | ++ | ++ |
| IFAT | + | + | + | + | + | + |
| ELISA | ++ | ++ | ++ | ++ | ++ | ++ |

124	Key: +++ = recommended for this purpose; ++ recommended but has limitations;

125	+ = suitable in very limited circumstances; – = not appropriate for this purpose.

- PCR = polymerase chain reaction; TEM = Transmission electron microscopy; VNT = virus neutralisation test;

- IFAT = indirect fluorescent antibody test; ELISA = enzyme-linked immunosorbent assay.

#### 1.	Detection of the agent

##### 1.1.	Specimen collection, submission and preparation

- Material for virus isolation and antigen detection should be collected as biopsies or from skin nodules at post-mortem

- examination. Samples for virus isolation should preferably be collected within the first week of the occurrence of

- clinical signs, before the development of neutralising antibodies (Davies, 1991; Davies et al., 1971), however virus

- can be isolated from skin nodules for at least 3–4 weeks thereafter. Samples for genome detection using conventional

- or real-time polymerase chain reaction (PCR) may be collected when neutralising antibody is present. Following the

- first appearance of the skin lesions, the virus can be isolated for up to 35 days and viral nucleic acid can be

- demonstrated via PCR for up to 3 months (Tuppurainen et al., 2005; Weiss, 1968). Buffy coat from blood collected

- into heparin or EDTA (ethylene diamine tetra-acetic acid) during the viraemic stage of LSD (before generalisation of

- lesions or within 4 days of generalisation), can also be used for virus isolation. Samples for histology should include

- the lesion and tissue from the surrounding (non-lesion) area, be a maximum size of 2 cm3, and be placed immediately

- following collection into ten times the sample volume of 10% neutral buffered formal saline.

- Tissues in formalin have no special transportation requirements in regard to biorisks. Blood samples with

- anticoagulant for virus isolation from the buffy coat should be placed immediately on ice after gentle mixing and

- processed as soon as possible. In practice, the samples may be kept at 4°C for up to 2 days prior to processing, but

- should not be frozen or kept at ambient temperatures. Tissues for virus isolation and antigen detection should be kept

- at 4°C, on ice or at –20°C. If it is necessary to transport samples over long distances without refrigeration, the medium

- should contain 10% glycerol; the samples should be of sufficient size (e.g. 1 g in 10 ml) that the transport medium

- does not penetrate the central part of the biopsy, which should be used for virus isolation.

- Samples for histology should include the lesion and tissue from the surrounding (non-lesion) area, be a maximum

- size of 2 cm3, and be placed immediately following collection into ten times the sample volume of 10% neutral buffered

- formaldehyde. Tissues in formalin have no special transportation requirements in regard to biorisks. Material for

- histology should be prepared using standard techniques and stained with haematoxylin and eosin (H&E) (Burdin,

- 1959). Lesion material for virus isolation and antigen detection is minced using a sterile scalpel blade and forceps

- and then macerated in a sterile steel ball-bearing mixer mill, or ground with a pestle in a sterile mortar with sterile

- sand and an equal volume of sterile phosphate buffered saline (PBS) or serum-free modified Eagle’s medium

- containing sodium penicillin (1000 international units [IU]/ml), streptomycin sulphate (1 mg/ml), mycostatin

- (100 IU/ml) or fungizone (amphotericin, 2.5 µg/ml) and neomycin (200 IU/ml). The suspension is freeze–thawed three

- times and then partially clarified using a bench centrifuge at 600 g for 10 minutes. In cases where bacterial

- contamination of the sample is expected (such as when virus is isolated from skin samples), the supernatant can be

- filtered through a 0.45 µm pore size filter after the centrifugation step. Buffy coats may be prepared from unclotted

- blood using centrifugation at 600 g for 15 minutes, and the buffy coat carefully removed into 5 ml of cold double-

- distilled water using a sterile Pasteur pipette. After 30 seconds, 5 ml of cold double-strength growth medium is added

- and mixed. The mixture is centrifuged at 600 g for 15 minutes, the supernatant is discarded and the cell pellet is

- suspended in 5 ml growth medium, such as Glasgow’s modified Eagle’s medium (GMEM). After centrifugation at

- 600 g for a further 15 minutes, the resulting pellet is suspended in 5 ml of fresh GMEM. Alternatively, the buffy coat

- may be separated from a heparinised sample by using a Ficoll gradient.

##### 1.2.	Virus isolation on cell culture

- LSDV will grow in tissue culture of bovine, ovine or caprine origin. MDBK (Madin–Darby bovine kidney) cells are often

- used, as they support good growth of the virus and are well characterised (Fay et al., 2020). Primary cells, such as

- lamb testis (LT) cells also support viral growth, but care needs to be taken to ensure they are not contaminated with

- viruses such as bovine viral diarrhoea virus. One ml of clarified supernatant or buffy coat is inoculated onto a confluent

- monolayer in a 25 cm2 culture flask at 37°C and allowed to adsorb for 1 hour. The culture is then washed with warm

- PBS and covered with 10 ml of a suitable medium, such as GMEM, containing antibiotics and 2% fetal calf serum. If

- available, tissue culture tubes containing appropriate cells and a flying cover-slip, or tissue culture microscope slides,

- are also infected.

- The flasks/tissue culture tubes are examined daily for 7–14 days for evidence of cytopathic effects (CPE). Infected

- cells develop a characteristic CPE consisting of retraction of the cell membrane from surrounding cells, and eventually

- rounding of cells and margination of the nuclear chromatin. At first only small areas of CPE can be seen, sometimes

- as soon as 2 days after infection; over the following 4–6 days these expand to involve the whole cell monolayer sheet.

- If no CPE is apparent by day 14, the culture should be freeze–thawed three times, and clarified supernatant inoculated

- on to a fresh cell monolayer. At the first sign of CPE in the flasks, or earlier if a number of infected cover-slips are

- being used, a cover-slip should be removed, fixed in acetone and stained using H&E. Eosinophilic intracytoplasmic

- inclusion bodies, which are variable in size but up to half the size of the nucleus and surrounded by a clear halo, are

- diagnostic for poxvirus infection. PCR may be used as an alternative to H&E for confirmation of the diagnosis. The

- CPE can be prevented or delayed by adding specific anti-LSDV serum to the medium. In contrast, the herpesvirus

- that causes pseudo-LSD produces a Cowdry type A intranuclear inclusion body. It also forms syncytia.

- An ovine testis cell line (OA3.Ts) has been evaluated for the propagation of capripoxvirus isolates (Babiuk et al.,

- 2007), however this cell line has been found to be contaminated with pestivirus and should be used with caution.

##### 1.3.	Polymerase chain reaction (PCR)

- The conventional gel-based PCR method described below is a simple, fast and sensitive method for the detection of

- capripoxvirus genome in EDTA blood, semen or tissue culture samples (Tuppurainen et al., 2005).

- 1.3.1.	Test procedure

- The extraction method described below can be replaced using commercially available DNA extraction

- kits.

- i)	Freeze and thaw 200 µl of blood in EDTA, semen or tissue culture supernatant and suspend in

- 100 µl of lysis buffer containing 5 M guanidine thiocyanate, 50 mM potassium chloride, 10 mM

- Tris/HCl (pH 8); and 0.5 ml Tween 20.

- ii)	Cut skin and other tissue samples into fine pieces using a sterile scalpel blade and forceps.

- Grind with a pestle in a mortar. Suspend the tissue samples in 800 µl of the above mentioned

- lysis buffer.

- iii)	Add 2 µl of proteinase K (20 mg/ml) to blood samples and 10 µl of proteinase K (20 mg/ml) to

- tissue samples. Incubate at 56°C for 2 hours or overnight, followed by heating at 100°C for

- 10 minutes. Add phenol:chloroform:isoamylalcohol (25:24:1 [v/v]) to the samples in a 1:1 ratio.

- Vortex and incubate at room temperature for 10 minutes. Centrifuge the samples at 16,060 g

- for 15 minutes at 4°C. Carefully collect the upper, aqueous phase (up to 200 µl) and transfer

- into a clean 2.0 ml tube. Add two volumes of ice cold ethanol (100%) and 1/10 volume of 3 M

- sodium acetate (pH 5.3). Place the samples at –20°C for 1 hour. Centrifuge again at 16,060 g

- for 15 minutes at 4°C and discard the supernatant. Wash the pellets with ice cold 70% ethanol

- (100 µl) and centrifuge at 16,060 g for 1 minute at 4°C. Discard the supernatant and dry the

- pellets thoroughly. Suspend the pellets in 30 µl of nuclease-free water and store immediately at

- –20°C (Tuppurainen et al., 2005). Alternatively a column-based extraction kit may be used.

- iv)	The primers for this PCR assay were developed from the gene encoding the viral attachment

- protein. The size of the expected amplicon is 192 bp (Ireland & Binepal, 1998). The primers

- have the following gene sequences:

- Forward primer 5’-TCC-GAG-CTC-TTT-CCT-GAT-TTT-TCT-TAC-TAT-3’

- Reverse primer 5’-TAT-GGT-ACC-TAA-ATT-ATA-TAC-GTA-AAT-AAC-3’.

- v)	DNA amplification is carried out in a final volume of 50 µl containing: 5 µl of 10 × PCR buffer,

- 1.5 µl of MgCl2 (50 mM), 1 µl of dNTP (10 mM), 1 µl of forward primer, 1 µl of reverse primer,

- 1 µl of DNA template (~10 ng), 0.5 µl of Taq DNA polymerase and 39 µl of nuclease-free water.

- The volume of DNA template required may vary and the volume of nuclease-free water must

- be adjusted to the final volume of 50 µl.

- vi)  Run the samples in a thermal cycler as follows: 2 minutes at 95°C; then 45 seconds at 95°C,

- 50 seconds at 50°C and 1 minute at 72°C (34 cycles); 2 minutes at 72°C and hold at 4°C until

- analysis.

- vii) Mix 10 µl of each sample with loading dye and load onto a 1.5% agarose gel in TAE buffer

- (Tris/acetate buffer containing EDTA). Load a parallel lane with a 100 bp DNA-marker ladder.

- Electrophoretically separate the products using approximately 8–10 V/cm for 40–60 minutes

- and visualise with a suitable DNA stain and transilluminator.

- Quantitative real-time PCR methods have been described that are reported to be faster and have

- higher sensitivity than conventional PCRs (Balinsky et al., 2008; Bowden et al., 2008). A real-time

- PCR method that differentiates between LSDV, sheep pox virus and goat pox virus has been

- published (Lamien et al., 2011).

- Quantitative real-time PCR assays have been designed to differentiate between Neethling-based

- LSDV strains, which are often used for vaccination, and wild-type LSDV strains from cluster 1.2

- (Agianniotaki et al., 2017; Pestova et al., 2018; Vidanovic et al., 2016). These “DIVA” assays (DIVA:

- differentiation of infected from vaccinated animals) enable, for example, differentiation of “Neethling

- response” caused by vaccination with a LSDV Neethling vaccine strain from disease caused by

- infection with a cluster 1.2 wild-type virus. However these DIVA PCR assays cannot distinguish

- between a LSDV Neethling vaccine strain and the novel recombinant LSDV strains recently isolated

- from disease outbreaks in Asia (Byadovskaya et al., 2021; Flannery et al., 2021). These DIVA assays

- are also not capable of discriminating between LSDV Neethling vaccine strains and recently

- characterised (historic) wild-type viruses from South Africa belonging within cluster 1.1 (Van

- Schalkwyk et al., 2020; 2021). Consequently, in regions where recombinant strains (currently Asia

- and possibly elsewhere) or wild-type cluster 1.1 strains are circulating (currently South Africa and

- possibly elsewhere), these DIVA assays are not suitable for distinguishing vaccine and wild-type

- virus. Thus, in order to overcome these constraints, whole genome sequencing is recommended.

##### 1.4.	Transmission electron microscopy

- The characteristic poxvirus virion can be visualised using a negative staining preparation technique followed by

- examination with an electron microscope. There are many different negative staining protocols, an example of which

- is given below.

- 1.4.1.	Test procedure

- Before centrifugation, material from the original biopsy suspension is prepared for examination under

- the transmission electron microscope by floating a 400-mesh hexagonal electron microscope grid,

- with pioloform-carbon substrate activated by glow discharge in pentylamine vapour, onto a drop of

- the suspension placed on parafilm or a wax plate. After 1 minute, the grid is transferred to a drop of

- Tris/EDTA buffer, pH 7.8, for 20 seconds and then to a drop of 1% phosphotungstic acid, pH 7.2, for

- 10 seconds. The grid is drained using filter paper, air-dried and placed in the electron microscope.

- The capripox virion is brick shaped, covered in short tubular elements and measures approximately

- 290 × 270 nm. A host-cell-derived membrane may surround some of the virions, and as many as

- possible should be examined to confirm their appearance (Kitching & Smale, 1986).

- The capripox virions of capripoxvirus are indistinguishable from those of orthopoxvirus, but, apart

- from vaccinia virus and cowpox virus, which are both uncommon in cattle and do not cause

- generalised infection, no other orthopoxvirus is known to cause lesions in cattle. However, vaccinia

- virus may cause generalised infection in young immunocompromised calves. In contrast,

- orthopoxviruses are a common cause of skin disease in domestic buffalo (Bubalus bubalis) causing

- buffalo pox, a disease that usually manifests as pock lesions on the teats, but may cause skin lesions

- at other sites, such as the perineum, the medial aspects of the thighs and the head. Orthopoxviruses

- that cause buffalo pox cannot be readily distinguished from capripoxvirus by electron microscopy.

- The virions of parapoxvirus virions that cause bovine papular stomatitis and pseudocowpox are

- smaller, oval in shape and each is covered in a single continuous tubular element that appears as

- striations over the virion. Capripoxvirus virions are also distinct from the herpesvirus that causes

- pseudo-LSD (also known as “Allerton” or bovine herpes mammillitis).

##### 1.5.	Fluorescent antibody tests

- Capripoxvirus antigen can be identified on infected cover-slips or tissue culture slides using fluorescent antibody

- tests. Cover-slips or slides should be washed and air-dried and fixed in cold acetone for 10 minutes. The indirect test

- using immune cattle sera is subject to high background colour and nonspecific reactions. However, a direct conjugate

- can be prepared from sera from convalescent cattle (or from sheep or goats convalescing from capripox) or from

- rabbits hyperimmunised with purified capripoxvirus. Uninfected tissue culture should be included as a negative control

- as cross-reactions can cause problems due to antibodies to cellular components (pre-absorption of these from the

- immune serum helps solve this issue).

##### 1.6.	Immunohistochemistry

- Immunohistochemistry using F80G5 monoclonal antibody specific for capripoxvirus ORF 057 has been described for

- detection of LSDV antigen in the skin of experimentally infected cattle (Babiuk et al., 2008).

##### 1.7.	Isothermal genome amplification

- Molecular tests using loop-mediated isothermal amplification to detect capripoxvirus genomes are reported to provide

- sensitivity and specificity similar to real-time PCR with a simpler method and lower cost (Das et al., 2012; Murray et

- al., 2013). Field validation of the Das et al. method was reported by Omoga et al. (2016).

#### 2.	Serological tests

- All the viruses in the genus Capripoxvirus share a common major antigen for neutralising antibodies and it is thus not

- possible to distinguish strains of capripoxvirus from cattle, sheep or goats using serological techniques.

##### 2.1.	Virus neutralisation

- A test serum can either be titrated against a constant titre of capripoxvirus (100 TCID50 [50% tissue culture infective

- dose]) or a standard virus strain can be titrated against a constant dilution of test serum in order to calculate a

- neutralisation index. Because of the variable sensitivity of tissue culture to capripoxvirus, and the consequent difficulty

- of ensuring the accurate and repeatable seeding of 100 TCID50/well, the neutralisation index is the preferred method

- in most laboratories, although it does require a larger volume of test sera. The test is described using 96-well flat-

- bottomed tissue-culture grade microtitre plates, but it can be performed equally well in tissue culture tubes with the

- appropriate changes to the volumes used, although it is more difficult to read an end-point in tubes.

- 2.1.1.	Test procedure

- i)	Test sera, including a negative and a positive control, are diluted 1/5 in Eagle’s/HEPES (N-2-

- hydroxyethylpiperazine, N-2-ethanesulphonic acid) buffer and inactivated at 56°C for

- 30 minutes.

- ii)	Next, 50 µl of the first inactivated serum is added to columns 1 and 2, rows A to H of the

- microtitre plate. The second serum is placed in columns 3 and 4, the third in columns 5 and 6,

- the positive control serum is placed in columns 7 and 8, the negative control serum is placed in

- columns 9 and 10, and 50 µl of Eagle’s/HEPES buffer (without serum) is placed in columns 11

- and 12, and to all wells in row H.

- iii)	A reference strain of capripoxvirus, usually a vaccine strain known to grow well in tissue culture,

- with a titre of over log10 6 TCID50 per ml is diluted in Eagle’s/HEPES in bijoux bottles to give a

- log dilution series of log10 5.0, 4.0, 3.5, 3.0, 2.5, 2.0, 1.5 TCID50 per ml (equivalent to log10 3.7,

- 2.7, 2.2, 1.7, 1.2, 0.7, 0.2 TCID50 per 50 µl).

- iv)	Starting with row G and the most diluted virus preparation, 50 µl of virus is added to each well

- in that row. This is repeated with each virus dilution, the highest titre virus dilution being placed

- in row A.

- v)	The plates are covered and incubated for 1 hour at 37°C.

- vi)	An appropriate cell suspension (such as MDBK cells) is prepared from pregrown monolayers

- as a suspension of 105 cells/ml in Eagle’s medium containing antibiotics and 2% fetal calf serum.

- Following incubation of the microtitre plates, 100 µl of cell suspension is added to all the wells,

- except wells H11 and H12, which serve as control wells for the medium. The remaining wells of

- row H are cell and serum controls.

- vii)  The microtitre plates are covered and incubated at 37°C for 9 days.

- viii) Using an inverted microscope, the monolayers are examined daily from day 4 for evidence of

- CPE. There should be no CPE in the cells of row H. Using the 0240 KSGP vaccine strain of

- capripoxvirus, by way of example, the final reading is taken on day 9, and the titre of virus in

- each duplicate titration is calculated using the Kärber method. If left longer, there is invariably a

- ‘breakthrough’ of virus in which virus that was at first neutralised appears to disassociate from

- the antibody.

- ix)	Interpretation of the results: The neutralisation index is the log titre difference between the titre

- of the virus in the negative serum and in the test serum. An index of ≥1.5 is positive. The test

- can be made more sensitive if serum from the same animal is examined before and after

- infection. Because the immunity to capripoxviruses is predominantly cell mediated, a negative

- result, particularly following vaccination, after which the antibody response may be low, does

- not imply that the animal from which the serum was taken is not protected.

- x)	Antibodies to capripoxvirus can be detected from 1 to 2 days after the onset of clinical signs.

- These remain detectable for about 7 months.

##### 2.2.	Enzyme-linked immunosorbent assay

- Enzyme-linked immunosorbent assays (ELISAs) for the detection of capripoxviral antibodies are widely used and are

- available in commercial kit form (Milovanovic et al., 2019; Samojlovic et al., 2019).

##### 2.3.	Indirect fluorescent antibody test

- Capripoxvirus-infected tissue culture grown on cover-slips or tissue culture microscope slides can be used for the

- indirect fluorescent antibody test. Uninfected tissue culture control, and positive and negative control sera, should be

- included in the test. The infected and control cultures are fixed in acetone at –20°C for 10 minutes and stored at 4°C.

- Dilutions of test sera are made in PBS, starting at 1/20 or 1/40, and positive samples are identified using an anti-

- bovine gamma-globulin conjugated with fluorescein isothiocyanate. Antibody titres may exceed 1/1000 after infection.

- Sera may be screened at 1/50 and 1/500. Cross-reactions can occur with orf virus (contagious pustular dermatitis

- virus of sheep), bovine papular stomatitis virus and perhaps other poxviruses.

##### 2.4.	Western blot analysis

- Western blotting of test sera against capripoxvirus-infected cell lysate provides a sensitive and specific system for

- the detection of antibody to capripoxvirus structural proteins, although the test is expensive and difficult to carry out.

- Capripoxvirus-infected LT cells should be harvested when 90% CPE is observed, freeze–thawed three times, and

- the cellular debris pelleted using centrifugation. The supernatant should be decanted, and the proteins should be

- separated using SDS/PAGE (sodium dodecyl sulphate/polyacrylamide gel electrophoresis). A vertical discontinuous

- gel system, using a stacking gel made up of acrylamide (5%) in Tris (125 mM), pH 6.8, and SDS (0.1%), and a

- resolving gel made up of acrylamide (10–12.5%) in Tris (560 mM), pH 8.7, and SDS (0.1%), is recommended for use

- with a glycine running buffer containing Tris (250 mM), glycine (2 M), and SDS (0.1%). Samples of supernatant should

- be prepared by boiling for 5 minutes with an appropriate lysis buffer prior to loading. Alternatively, purified virus or

- recombinant antigens may replace tissue-culture-derived antigen.

- Molecular weight markers should be run concurrently with the protein samples. The separated proteins in the

- SDS/PAGE gel should be transferred electrophoretically to a nitrocellulose membrane (NCM). After transfer, the NCM

- is rinsed thoroughly in PBS and blocked in 3% bovine serum albumin (BSA) in PBS, or 5% skimmed milk powder in

- PBS, on a rotating shaker at 4C overnight. The NCM can then be separated into strips by employing a commercial

- apparatus to allow the concurrent testing of multiple serum samples, or may be cut into strips and each strip incubated

- separately thereafter. The NCM is washed thoroughly with five changes of PBS for 5 minutes on a rotating shaker,

- and then incubated at room temperature on the shaker for 1.5 hours, with the appropriate serum at a dilution of 1/50

- in blocking buffer (3% BSA and 0.05% Tween 20 in PBS; or 5% milk powder and 0.05% Tween 20 in PBS). The

- membrane is again thoroughly washed and incubated (in blocking buffer) with anti-species immunoglobulin

- horseradish-peroxidase-conjugated immunoglobulins at a dilution determined using titration. After further incubation

- at room temperature for 1.5 hours, the membrane is washed and a solution of diaminobenzidine tetrahydrochloride

- (10 mg in 50 ml of 50 mM mm Tris/HCl, pH 7.5, and 20 µl of 30% [v/v] hydrogen peroxide) is added. Incubation is

- then undertaken for approximately 3–7 minutes at room temperature on a shaker with constant observation, and the

- reaction is stopped by washing the NCM in PBS before excessive background colour is seen. A positive and negative

- control serum should be used on each occasion.

- Positive test samples and the positive control will produce a pattern consistent with reaction to proteins of molecular

- weights 67, 32, 26, 19 and 17 kDa – the major structural proteins of capripoxvirus – whereas negative serum samples

- will not react with all these proteins. Hyperimmune serum prepared against parapoxvirus (bovine papular stomatitis

- or pseudocowpox virus) will react with some of the capripoxvirus proteins, but not the 32 kDa protein that is specific

- for capripoxvirus.

## 377	C. REQUIREMENTS FOR VACCINES

#### 1.	Background: rationale and intended use of the product

- Live attenuated strains of capripoxvirus have been used as vaccines specifically for the control of LSD (Brenner et al.,

- 2006; Capstick & Coakley, 1961; Carn, 1993). Capripoxviruses are cross-reactive within the genus. Consequently, it is

- possible to protect cattle against LSD using strains of capripoxvirus derived from sheep or goats (Coakley & Capstick,

- 1961). However, it is recommended to carry out controlled trials, using the most susceptible breeds, prior to introducing a

- vaccine strain not usually used in cattle. The duration of protection provided by LSD vaccination is unknown.

- Capripoxvirus vaccine strains can produce a large local reaction at the site of inoculation in Bos taurus breeds (Davies,

- 1991), which some stock owners find unacceptable. This has discouraged the use of vaccine, even though the

- consequences of an outbreak of LSD are invariably more severe. Risk–benefit of vaccination should be assessed following

- stakeholder discussion.

- Vaccines are a key tool to control LSD. Different types of LSD vaccines have been developed and several are commercially

- available (Tuppurainen et al., 2021).

- Live attenuated vaccines (LAV) based on the Neethling LSDV strain (homologous LAV vaccines) have been shown to offer

- high levels of protection against LSD under experimental conditions (Haegeman et al., 2021) and have been used

- successfully to control the disease in the field, through systematic vaccination of the entire country’s cattle population for

- a number of consecutive years (Klement et al., 2020). Homologous vaccines may induce fever, produce a local reaction

- at the site of inoculation, cause a temporary reduction in milk production and on rare occasions induce a ‘Neethling’

- response (Ben-Gera et al., 2015; Davies, 1991; Haegeman et al., 2021). Such adverse effects, however, usually resolve

- within a few days and are largely outweighed by the overall benefits of vaccination with homologous vaccines. The duration

- of immunity induced by good quality live attenuated LSDV vaccines was shown to be at least 18 months (Haegeman et

- al., 2023).

- As capripox viruses provide cross-reactive protection within the genus, heterologous LAVs comprising sheep pox virus or

- goat pox virus strains have also been tested and used to protect cattle against LSD. Sheep pox virus-based heterologous

- vaccines usually contain higher doses of virus than when administered to sheep. Although safe, their effectiveness in

- protecting cattle against LSD is inferior compared to homologous vaccines (Ben-Gera et al., 2015; Zhugunissov et al.,

- 2020). Heterologous vaccines containing goat pox virus strains for use in cattle against LSD have been developed more

- recently. One such vaccine based on the Gorgan strain provided protection under experimental conditions comparable to

- homologous vaccines (Gari et al., 2015). On the other hand, a goat pox vaccine based on an attenuated Uttarkashi goat

- pox virus strain performed suboptimally under field conditions in India (Naveem et al., 2023), indicating that further research

- is warranted before asserting that all goat pox virus-based vaccines induce protection equal to homologous vaccines in

- cattle against LSD.

- In addition, homologous inactivated vaccines against LSD have been developed and tested (Haegeman et al., 2023; Hamdi

- et al., 2020; Wolff et al., 2022). These vaccines are reported to be safe and efficacious. They however require a booster

- vaccination one month after primo-vaccination and then every 6 months thereafter, based on the fact that the duration of

- immunity is shorter than 1 year (Haegeman et al., 2023).

- None of the commercial vaccines currently available has practical DIVA capacity. This problem may be resolved in the

- future by introducing new types of vaccines (e.g. vector-vaccines, subunit vaccines, mRNA vaccines) that are at various

- stages of development and evaluation.

#### 2.	Outline of production of LSD vaccines and minimum requirements for conventional

- vaccines

- General requirements set for the facilities used for the production of vaccines and for the documentation and record keeping

- throughout the whole manufacturing process are described in Chapter 1.1.8 Principles of veterinary vaccine production.

- The documentation should include standard operating procedures (SOP) for the method of manufacture and each step for

- the testing of cells and reagents used in the process, each batch and the final product.

- The production of vaccines, including LSD vaccines, starts within research and development (R&D) facilities where vaccine

- candidates are produced and tested in preclinical studies to demonstrate the quality, safety and efficacy of the product.

- Minimum requirements for different production stages of veterinary vaccines are available in different chapters of the

- Terrestrial Manual. These are intended to be used in combination with country-specific regulatory requirements for vaccine

- production and release. Here we outline the most important requirements for the production of live and inactivated LSD

- vaccines. Full requirements are available in Chapter 1.1.8 Principles of veterinary vaccine production, Chapter 2.3.3

- Minimum requirements for the organisation and management of a vaccine manufacturing facility and Chapter 2.3.4

- Minimum requirements for the production and quality control of vaccine, and other regulatory documentation.

##### 2.1.	Quality assurance

- Facilities for manufacturing LSD vaccines should operate in line with the concepts of good laboratory practice (GLP)

- and good manufacturing practice (GMP) to produce high quality products. Quality risk management and quality

- control with adequate documentation management, as an integral part of the production process, have to be in place.

- In case some activities of the production process are outsourced, those should also be appropriately defined,

- recorded and controlled.

- The vaccine production process (Outline of Production) should be documented in a series of standard operating

- procedures (SOPs), or other documents describing the manufacturing of each batch and the final product (including

- starting materials to be used, manufacturing steps, in-process controls and controls on the final product). Detailed

- requirements for documentation management in the process of vaccine production are available in Chapter 2.3.3.

- A completed Outline of Production is to be enclosed in a vaccine candidate dossier and used for the evaluation of

- the production process and product by regulatory bodies.

##### 2.2.	Process validation

- The dossier with the enclosed Outline of Production for the vaccine candidate has to be submitted for regulatory

- approval, so it can be assessed and authorised by the competent authority to ensure compliance with local regulatory

- requirements. Among others, data on quality, safety, and efficacy will be assessed. The procedures necessary to

- obtain these data are described in the subsequent sections.

- National regulatory authorities might also require official control authority re-testing (check testing) of final products

- and batches in government laboratories or an independent batch quality control by a third party.

- 3.	Requirements for LSD vaccine candidates and batch production

##### 3.1.	Requirements for starting materials

- Live attenuated vaccines (LAV) and inactivated vaccines (IV) for LSD are produced using the system of limited and

- controlled passages of master seed and working seed virus and cell banks with a specified maximum. This approach

- aims to prevent possible and unwanted drift of properties of seed virus and cells that might arise from repeated

- passaging.

- 3.1.1.	Characteristics of the seed virus

- Each seed strain of capripoxvirus used for vaccine production must be accompanied by records

- clearly and accurately describing its origin, isolation and tissue culture or animal passage history.

- Preferably, the species and strain of capripoxvirus are characterised using PCR or DNA sequencing

- techniques.

- A quantity of master seed vaccine virus should be prepared, frozen or desiccated and stored at low

- temperatures such as –80°C and used to produce a consistent working seed for regular vaccine

- production.

- Each master seed strain must be non-transmissible, remain attenuated after further tissue culture

- passage, and provide complete protection against challenge with virulent field strains for a minimum

- of 1 year. It must produce a minimal clinical reaction in cattle when given via the recommended route.

- The necessary safety and potency tests are described in Section C.2.2.4 Final product batch tests.

- 2.1.2.	Quality criteria (sterility, purity, freedom from extraneous agents)

- Each master seed must be tested to ensure its identity and shown to be free from adventitious

- viruses, in particular pestiviruses, such as border disease and bovine viral diarrhoea virus, and free

- from contamination with bacteria, fungi or mycoplasmas.

- The general procedures for sterility or purity tests are described in Chapter 1.1.9 Tests for sterility

- and freedom from contamination of biological materials intended for veterinary use.

- Master seed virus is a quantity of virus of uniform composition derived from an original isolate,

- passaged for a documented number of times and distributed into containers at one time and stored

- adequately to ensure stability (via freezing or lyophilisation). Selection of master seed viruses (MSVs)

- should ideally be based on their ease of growth in cell culture, virus yield, and in accordance with the

- regional epidemiological importance. Also, measures to minimise transmissible spongiform

- encephalopathies (TSE) contamination should be taken into account (see Section C.3.5.1 Purity

- tests).

- For each seed strain selected for LSD vaccine production, the following information should be

- provided:

- -	Historical record: geographical origin, animal species from which the virus was recovered,

- isolation procedure, tissue culture or animal passage history

- -	Identity: species and strain identification using DNA sequencing

- -	Purity: the absence of bacteria, fungi, mycoplasma, and other viruses (see Chapter 1.1.9 Tests

- for sterility and freedom from contamination of biological materials intended for veterinary use)

- -	Safety (overdose, one/repeated dose tests, and reversion to virulence tests) (see Section C.3.3

- Vaccine safety)

- -	Efficacy data, linked to a specified (protective) dose (see Section C.3.4 Vaccine efficacy)

- -	Stability

- Each master seed strain selected for production of live attenuated LSD vaccines must remain

- attenuated after further passage in animals (see Section C.3.3. Vaccine safety), produce minimal

- clinical reaction when given via the recommended route, provide complete protection against

- challenge with virulent field strains, and is ideally not transmissible.

- A quantity of master seed virus should be prepared and stored to be further used for the preparation

- of working seeds and production seeds. Working seed viruses may be expanded in one or more (but,

- limited) cell culture passages from the master seed stock and used to produce vaccine batches. This

- approach and limitation of seed virus passaging will assist in maintaining uniformity and consistency

- in production.

- 3.1.2.	Master cell stocks

- The production process of LSD vaccines ideally employs an established master cell stock (MCS)

- system with defined lowest and highest cell passage to be used to grow the vaccine virus. Primary

- cells derived from normal tissues can be used in the production process, but the use of primary cells

- has an inherently higher risk of introducing extraneous agents compared with the use of established

- (well characterised) cell lines and should be avoided where alternative methods of producing effective

- vaccines exist. For each MCS, manufacturers should demonstrate:

- -	MCS identity

- -	genetic stability by subculturing from the lowest to the highest passage used for production

- -	stable MCS karyotype with a low level of polyploidy

- -	freedom from oncogenicity or tumorigenicity by using in-vivo studies using the highest cell

- passage that may be used for production

- -	purity of MCSs from extraneous bacteria, fungi, mycoplasma, and viruses

- -	implemented measures to lower TSE contamination risk (see Section C.3.5.1 Purity tests).

##### 3.2.	Method of vaccine manufacturing

- The method of manufacture should be documented as the Outline of Production.

- 2.2.1.	Procedure

- 3.2.1.	LSD vaccine batch production

- Vaccine batches are produced on an appropriate cell line such as MDBK. As already mentioned in

- the first paragraphs of Section C, all steps undertaken in the production of vaccine batches should

- be described and documented in the Outline of Production. The production of LAV and IV against

- LSD starts with the inoculation of the required number of working vials of seed virus is reconstituted

- with GMEM or other in appropriate medium and inoculated onto a suitable primary or continuous cell

- line grown in suspension or monolayer. Cells should be harvested after 4–8 days when they exhibit

- 50–70% CPE for maximum in the exponential growth phase. At the time highest viral infectivity, or

- earlier if CPE is extensive and cells appear ready to detach. Techniques such as loads are present,

- sonication or repeated freeze–thawing are is used to release the intracellular virus from the

- cytoplasm. The lysate may then be clarified using centrifugation to remove cellular debris (for

- example by use of centrifugation at 600 g for 20 minutes, with retention of the supernatant). A second

- passage of the virus may be required to produce sufficient virus for a production batch.

- An aliquot of the virus suspension is titrated to check the virus titre. For LAV, the virus-containing

- suspension is diluted to attain the dose at which the vaccine candidate will be evaluated or to at least

- the determined protective dose for approved vaccines and is then mixed with a suitable protectant

- such as an equal volume of sterile, chilled 5% lactalbumin hydrolysate and 10% sucrose (dissolved

- in double-distilled water or appropriate balanced salt solution), and transferred to individually

- numbered labelled bottles or bags for storage at low temperatures such as –80°C, or for freeze–

- drying. A written record of all the procedures followed must be kept for all vaccine batches.

- 2.2.2.	Requirements for substrates and media

- The specification and source of all ingredients used in the manufacturing procedure should be

- documented and the freedom of extraneous agents (bacteria, fungi, mycoplasma and viruses) should

- be tested. The detailed testing procedure is described in Chapter 1.1.9. The use of antibiotics must

- meet the requirements of the licensing authority.

- 2.2.3.	In-process control

- i)	Cells

- ii)	Records of the source of the master cell stocks should be maintained. The highest and lowest

- passage numbers of the cells that can be used for vaccine production must be indicated in the

- Outline of the Production. The use of a continuous cell line (such as MDBK, etc.) is strongly

- recommended, unless the virus strain only grows on primary cells. The key advantage of

- continuous over primary cell lines is that there is less risk of introduction of extraneous agents.

- iii)	Serum

- iv)	Serum used in the growth or maintenance medium must be free from antibodies to capripoxvirus

- and free from contamination with pestivirus or other viruses, extraneous bacteria, mycoplasma

- or fungi.

- v)	Medium

- vi)	Media must be sterile before use.

- vii)  Virus

- viii) Seed virus and final vaccine must be titrated and pass the minimum release titre set by the

- manufacturer. For example, the minimum recommended field dose of the South African

- Neethling strain vaccines (Mathijs et al., 2016) is log10 3.5 TCID50, although the minimum

- protective dose is log10 2.0 TCID50. Capripoxvirus is highly susceptible to inactivation by sunlight

- and allowance should be made for loss of activity in the field.

- ix)	The recommended field dose of the Romanian sheep pox vaccine for cattle is log10 2.5 sheep

- infective doses (SID50), and the recommended dose for cattle of the RM65-adapted strain of

- Romanian sheep pox vaccine is log10 3 TCID50 (Coakley & Capstick, 1961).

- 3.2.2.	Inactivation process for inactivated LSD vaccines

- Unlike LAV, inactivated LSD vaccines contain inactivated antigens in combination with adjuvants to

- strengthen the induced immune response after administration. The vaccine evaluation process

- described below needs to show the amount of antigen necessary to elicit a protective immune

- response. Currently, literature data indicate that an inactivated vaccine originating from an LSDV

- virus stock with titre 104 cell culture infectious dose50 (CCID50)/ml before inactivation can be sufficient

- to induce an efficient immune response to prevent clinical disease, viremia and virus shedding after

- challenge of young cattle (Wolf et al., 2022)

- To monitor the inactivation process and the level of antigen inactivation, samples are taken at regular

- intervals during inactivation and titrated. Inactivation conditions and the length of initial and repeated

- exposure should be documented in detail since one or more factors during the process could

- influence the outcomes. The inactivation kinetics should reach a predefined target e.g. one remaining

- infectious unit per million doses (1 × 10–6 infectious units/dose) as suggested by APHIS (2013). The

- confirmatory testing of inactivation is performed on each vaccine lot and represents an important part

- of the inactivation process monitoring. In addition to all the procedures mentioned above, the

- inactivation procedure and tests demonstrating that antigen inactivation is complete and consistent

- must additionally be documented in the Outline of Production.

##### 3.3.	Vaccine safety

- During the vaccine development process, vaccine safety must be evaluated in the target animal (target animal batch

- safety test –TABST) to demonstrate the safety of the dose intended for registration. The animals used in the safety

- testing should be representative (species, age and category [calves, heifers, bulls, cows.]) for all the animals for which

- the vaccine is intended. Vaccinated and control groups are appropriately acclimatised, housed and managed in line

- with animal welfare standards. Animal suffering has to be eliminated or reduced and euthanasia is recommended in

- moribund animals.

- Essential parameters to be evaluated in safety studies are local and systemic reactions to vaccination, including local

- reactions at the site of administration, fever, effect on milk production, and induction of a ‘Neethling’ response. The

- effect of the vaccine on reproduction needs to be evaluated where applicable.

- A part of the safety evaluation of LAV and IV can be performed during the efficacy trials (see Section C.3.4 Vaccine

- efficacy) by measuring local and systemic responses following vaccination and before challenge.

- Guidelines for safety evaluation are provided by the European Medicine Agency (EMEA) in VICH GL44: TABST for

- LAV and IV (EMEA, 2009). Safety aspects of LAV and IV against LSD to be evaluated are:

- 3.3.1.	Overdose test for LAV

- Local and systemic responses should be measured following an overdose test whereby 10× the

- maximum vaccine titre is administered. If the maximum vaccine titre is not specified, 10× the minimum

- vaccine titre can be applied in multiple injection sites. Ideally, the 10× dose is dissolved in the 1×

- dose volume of the adjuvants or diluent. Generally, eight animals per group should be used (EMEA,

- 2009).

- 3.3.2.	One dose and repeat dose test

- This aims to test the safety of the vaccine dose applied in the vaccination regime intended for

- registration. LAV LSD vaccines require one dose per year, while inactivated LSD vaccines require a

- booster dose in addition to the primary dose. The minimal recommended interval between

- administrations is 14 days.

- Generally, eight animals per group should be used unless otherwise justified (EMEA, 2009). For each

- target species, the most sensitive breed, age and sex proposed on the label should be used.

- Seronegative animals should be used. In cases where seronegative animals are not reasonably

- available, alternatives should be justified.

- 3.3.3.	Reversion to virulence tests

- Live attenuated vaccines inherently carry the risk of vaccine virus reverting to virulence when

- repeated passages in a host species could occur due to shedding and transmission from vaccinated

- animals to contact animals. LAV LSD vaccines should therefore be tested for non-reversion to

- virulence by means of passage studies. Vaccine virus (MSV, not the finished vaccine) is inoculated

- in a group of target animals of susceptible age via the natural route of infection or the route that is

- most likely to result in infection. The vaccine virus is subsequently recovered from tissues or

- excretions and is used directly to inoculate a further group of animals. After not less than four

- passages (see chapter 1.1.8), i.e. use of a total of five groups of animals, the re-isolate must be fully

- characterised, using the same procedures used to characterise the master seed virus.

- 3.3.4.	Environmental consideration

- This includes the evaluation of the ability of LAV LSD vaccines to be shed, to spread and to infect

- contact target and non-target animals, and to persist in the environment.

- 2.2.4.	Final product batch tests

- i)	Sterility/purity

- ii)	Vaccine samples must be tested for sterility/purity. Tests for sterility and freedom from

- contamination of biological materials intended for veterinary use may be found in Chapter 1.1.9.

- iii)	Safety and efficacy

- iv)	The efficacy and safety studies should be demonstrated using statistically valid vaccination–

- challenge studies using seronegative young LSDV susceptible dairy cattle breeds. The group

- numbers recommended here can be varied if statistically justified. Fifteen cattle are placed in a

- high containment level large animal unit and serum samples are collected. Five randomly

- chosen vials of the freeze-dried vaccine are reconstituted in sterile PBS and pooled. Two cattle

- are inoculated with 10 times the recommended field dose of the vaccine, and eight cattle are

- inoculated with the recommended field dose. The remaining five cattle are unvaccinated control

- animals. The animals are clinically examined daily and rectal temperatures are recorded. On

- day 21 after vaccination, the animals are again serum sampled and challenged with a known

- virulent capripoxvirus strain. The challenge virus solution should also be tested free from

- extraneous viruses. The clinical response is recorded during the following 14 days. Animals in

- the unvaccinated control group should develop the typical clinical signs of LSD, whereas there

- should be no local or systemic reaction in the vaccinates other than a raised area in the skin at

- the site of vaccination, which should disappear after 4 days. Serum samples are again collected

- on day 30 after vaccination. The day 21 serum samples are examined for seroconversion to

- selected viral diseases that could have contaminated the vaccine, and the days 0 and

- 30 samples are compared to confirm the absence of antibody to pestivirus. Because of the

- variable response in cattle to LSD challenge, generalised disease may not be seen in all of the

- unvaccinated control animals, although there should be a large local reaction.

- v)	Once the efficacy of the particular strain being used for vaccine production has been determined

- in terms of minimum dose required to provide immunity, it is not necessary to repeat this on the

- final product of each batch, provided the titre of virus present has been ascertained.

- vi)	Batch potency

- vii)  Potency tests in cattle must be undertaken for vaccine strains of capripoxvirus if the minimum

- immunising dose is not known. This is usually carried out by comparing the titre of a virulent

- challenge virus on the flanks of vaccinated and control animals. Following vaccination, the

- flanks of at least three animals and three controls are shaved of hair. Log10 dilutions of the

- challenge virus are prepared in sterile PBS and six dilutions are inoculated intradermally (0.1 ml

- per inoculum) along the length of the flank; four replicates of each dilution are inoculated down

- the flank. An oedematous swelling will develop at possibly all 24 inoculation sites on the control

- animals, although preferably there will be little or no reaction at the four sites of the most dilute

- inocula. The vaccinated animals may develop an initial hypersensitivity reaction at sites of

- inoculation within 24 hours, which should quickly subside. Small areas of necrosis may develop

- at the inoculation site of the most concentrated challenge virus. The titre of the challenge virus

- is calculated for the vaccinated and control animals; a difference in titre >log10 2.5 is taken as

- evidence of protection.

##### 3.4.	Vaccine efficacy

- Data enclosed in the vaccine candidate dossier should support the efficacy of the vaccine in each animal species for

- each vaccination regimen that is described in the product label recommendation. This includes studies regarding the

- onset of protection when claims for onset are made and for the duration of immunity. Efficacy studies should be

- conducted with the vaccine candidate that has been produced at the highest passage level permitted for vaccine

- production as specified in the Outline of Production.

- Efficacy (and safety) should be demonstrated in vaccination–challenge studies using representative (by species, age

- and category) seronegative healthy animals for which the vaccine is intended and which are tested negative for

- standard viral pathogens.

- An example of a vaccination-challenge test set-up is outlined here. The group numbers mentioned can be varied if

- statistically justified. Thirteen animals are placed in a high containment large animal unit and are divided into two

- groups:

- -	single/repeated dose test group (n=8) – animals inoculated with the vaccine dose and route intended for

- registration (in case of an IV against LSD, a booster dose should follow primary vaccination after minimum 14

- days).

- -	control group (n=5) – non-vaccinated animals

- Throughout the in-vivo study, all animals are clinically examined and rectal temperatures recorded. Blood, serum and

- swab samples are regularly collected and subjected to laboratory testing. On day 21 after the vaccination with a LAV

- or after the booster vaccination for an IV, the animals in both groups are challenged with a known virulent LSDV

- strain. The challenge virus solution should be of known titre and tested free from extraneous viruses. Experience

- obtained from previous animal experiments indicates that a dose of challenge virus between 104.0 and 106.5 TCID50

- produces clinical disease in about half of the susceptible experimental cattle (;.Tuppurainen et al., 2021).

- The clinical response following challenge is recorded over a period of 14 days. No clinical signs should occur in the

- vaccinates, other than a local reaction at the site of inoculation. At least 1 animal in the unvaccinated control group

- should develop the typical clinical signs of LSD. Although a generalised disease with skin nodules may not be seen

- in all the unvaccinated control animals based on the knowledge that the outcome of a LSDV infection can range from

- inapparent to severe, at the very least a large local reaction is to be expected.

- Clinical and laboratory results will enable assessment of the safety and efficacy of the LSD vaccine candidate and

- the induced immune responses. Serum samples collected at different time points during the trial can be examined to

- study seroconversion against selected viral diseases that could have contaminated the vaccine.

##### 2.3.	Requirements for regulatory approval

- 2.3.1.	Safety requirements

- i)	Target and non-target animal safety

- ii)	The vaccine must be safe to use in all breeds of cattle for which it is intended, including young

- and pregnant animals. It must also be non-transmissible and remain attenuated after further

- tissue culture passage.

- iii)	Safety tests should be carried out on the final product of each batch as described in Section

701	C.2.2.4.

- iv)	Reversion-to-virulence for attenuated/live vaccines

- v)	The selected final vaccine should not revert to virulence during further passages in target

- animals.

- vi)	Environmental consideration

- vii)  Attenuated vaccine should not be able to perpetuate autonomously in a cattle population.

- Strains of LSDV are not a hazard to human health.

- 2.3.2.	Efficacy requirements

- i)	For animal production

- The efficacy of the vaccine must be demonstrated in statistically valid vaccination challenge

- experiments under laboratory conditions. The group numbers recommended here can be varied if

- statistically justified. Fifteen cattle are placed in a high containment level large animal unit and serum

- samples are collected. Five randomly chosen vials of the freeze-dried vaccine are reconstituted in

- sterile PBS and pooled. Two cattle are inoculated with 10 times the field dose of the vaccine, eight

- cattle are inoculated with the recommended field dose. The remaining five cattle are unvaccinated

- control animals. The animals are clinically examined daily and rectal temperatures are recorded. On

- day 21 after vaccination, the animals are again serum sampled and challenged with a known virulent

- capripoxvirus strain using intravenous and intradermal inoculation (the challenge virus solution

- should also be tested and shown to be free from extraneous viruses). The clinical response is

- recorded during the following 14 days. Animals in the unvaccinated control group should develop the

- typical clinical signs of LSD, whereas there should be no local or systemic reaction in the vaccinates

- other than a raised area in the skin at the site of vaccination which should disappear after 4 days.

- Serum samples are again collected on day 30 after vaccination. The day 21 serum samples are

- examined for seroconversion to selected viral diseases that could have contaminated the vaccine,

- and the days 0 and 30 samples are compared to confirm the absence of antibody to pestivirus.

- Because of the variable response in cattle to challenge with LSDV, generalised disease may not be

- seen in all of the unvaccinated control animals, although there should be a large local reaction.

- Once the potency of the particular strain being used for vaccine production has been determined in

- terms of minimum dose required to provide immunity, it is not necessary to repeat this on the final

- product of each batch, provided the titre of virus present has been ascertained.

- ii)	For control and eradication

- Vaccination is the only effective way to control LSD outbreaks in endemic countries and recent

- experiences of the disease in Eastern Europe and the Balkans suggests this is also true for outbreaks

- in non-endemic countries. Unfortunately, currently no marker vaccines allowing a DIVA strategy are

- available, although to a limited extent PCR can be used for certain vaccines.

- The duration of immunity produced by LSDV vaccine strains is currently unknown.

- 2.3.3.	Stability

- All vaccines are initially given a shelf life of 24 months before expiry. Real-time stability studies are

- then conducted to confirm the appropriateness of the expiry date. Multiple batches of the vaccine

- should be re-titrated periodically throughout the shelf-life period to determine the vaccine stability.

- Properly freeze-dried preparations of LSDV vaccine, particularly those that include a protectant, such

- as sucrose and lactalbumin hydrolysate, are stable for over 25 years when stored at

- –20°C and for 2–4 years when stored at 4°C. There is evidence that they are stable at higher

- temperatures, but no long-term controlled experiments have been reported. No preservatives other

- than a protectant, such as sucrose and lactalbumin hydrolysate, are required for the freeze-dried

- preparation.

##### 3.5.	Batch/serial tests before release for distribution

- Quality tests on MSV and safety and efficacy tests on vaccine candidates are performed during the evaluation process

- for new LSD vaccines. Once vaccines are approved to be used in the field, it remains important to verify the quality

- of each vaccine batch produced. An independent batch quality control assessment may be warranted or requested

- by national or international regulatory authorities.

- 3.5.1.	Purity test

- Purity is defined by the absence of different contaminants (bacteria, fungi, mycoplasma, and other

- viruses; see full details in chapter 1.1.9) in the vaccine and its associated diluent/adjuvants. Virus

- isolation and bacterial culture tests can be used to show freedom from live competent replicating

- microorganisms, but molecular methods are more rapid and sensitive, but positives can be caused

- by genome fragments and incompetent replicating microorganisms.

- Besides the contaminants mentioned above, manufacturers should demonstrate implemented

- measures to minimise the risk of TSE contamination in ingredients of animal origin such as:

- -	all ingredients of animal origin in production facilities are from countries recognised as having the lowest

- possible risk of bovine spongiform encephalopathy

- -	tissues or other substances used are themselves recognised as being of low or nil risk of containing TSE

- agents

- 3.5.2.	Identity tests

- In addition to identity tests performed on the MSV, the identity tests on final batches aim to

- demonstrate the presence of only the selected capripoxvirus species and strain in the vaccine as

- indicated in the Outline of Production and the absence of other strains or members of the genus and

- any other viral contaminant that might arise during the production process. Identity testing could be

- assured by using appropriate tests (e.g. PCRs, sanger sequencing, NGS).

- 3.5.3.	Potency tests

- Standard requirements for potency tests can be found in CFR Title 9 part 113, in the European

- Pharmacopoeia, and in this Terrestrial Manual.

- 3.5.3.1. Live vaccines

- The potency of LAV against LSD can be measured by means of virus titration. The virus titre

- must, as a rule, be sufficiently greater than that shown to be protective in the efficacy test

- for the vaccine candidate. This will ensure that at any time prior to the expiry date, the titre

- will be at least equal to the evaluated protective titre. The titres of currently available

- commercial homologous LSD vaccines range between 103 and 104 infectious units/dose

- (Tuppurainen et al., 2021).

- 3.5.3.2. Inactivated LSD vaccines

- For inactivated LSD vaccines, potency tests are performed using vaccination–challenge

- efficacy studies in animal hosts (see Section C.3.4. Vaccine efficacy).

- 3.5.4.	Safety/efficacy

- Safety and efficacy testing is undertaken during the evaluation process of the vaccine candidate, and

- also needs to be performed on a number of vaccine batches until robust data are generated in line

- with international and national regulations. Afterwards, when using a seed lot system in combination

- with strict implementation of GMP standards and depending on local regulations, TABST could be

- waived as described in VICH50 and VICH55, providing the titer has been ascertained using potency

- testing. Batches or serials are considered satisfactory if local and systemic reactions to vaccination

- are in line with those described in the dossier of the vaccine candidate and product literature.

- 3.5.4.1. Field safety/efficacy tests

- Field testing of two or more batches should be performed on all animal categories for which

- the product is indicated before release of the product for general use (see chapter 1.1.8).

- The aim of these studies is to demonstrate the safety and efficacy of the product under

- normal field conditions of animal care and use in different geographical locations where

- different factors may influence product performance. A protocol for safety/efficacy testing in

- the field has to be developed with defined observation and recording procedures. However,

- it is generally more difficult to obtain statistically significant data to demonstrate efficacy

- under field conditions. Even when properly designed, field efficacy studies may be

- inconclusive due to uncontrollable outside influences.

- 3.5.4.2. Duration of Immunity

- The duration of immunity (DOI) following vaccination should be demonstrated via challenge

- or the use of a validated serology test. Efficacy testing at the end of the claimed period of

- protection should be conducted in each species for which the vaccine is indicated or the

- manufacturer should indicate that the DOI for that species is not known. Likewise, the

- manufacturer should demonstrate the effectiveness of the recommended booster regime in

- line with these guidelines, usually by measuring the magnitude and kinetics of the

- serological response observed.

#### 3.	Vaccines based on biotechnology

- A new generation of capripox vaccines is being developed that uses the LSDV as a vector for the expression and delivery

- of immuno-protective proteins of other ruminant pathogens with the potential for providing dual protection (Boshra et al.,

- 2013; Wallace & Viljoen, 2005), as well as targeting putative immunomodulatory genes for inducing improved immune

- responses (Kara et al., 2018).

- 4.	Post-market studies

##### 4.1.	Stability

- Stability testing shall be carried out as specified in Annex II of Regulation (EU) 2019/6 and in the Ph. Eur. 0062:

- Vaccines for veterinary use, on not fewer than three representative batches providing this mimics the full-scale

- production described in the application. At the end of shelf-life, sterility has to be re-evaluated using sterility testing

- or by showing container closure integrity. Multiple batches of the vaccine should be re-titrated periodically throughout

- the shelf-life period to determine the vaccine stability.

##### 4.2.	Post-marketing surveillance

- After release of a vaccine, its performance under field conditions should continue to be monitored by competent

- authorities and by the manufacturer itself. Not all listed adverse effects may show up in the clinical trials performed

- to assess safety and efficacy of the vaccine candidate due to the limited number of animals used. Post-marketing

- surveillance studies can also provide information on vaccine efficacy when used in normal practice and husbandry

- conditions, on duration of induced immunity, on ecotoxicity, etc.

- First, a reliable reporting system should be in place to collect consumer complaints and notifications of adverse

- reactions. Secondly, post-marketing surveillance should be established to investigate whether the reported

- observations are related to the use of the product and to identify, at the earliest stage, any serious problem that may

- be encountered from its use and that may affect its future uptake. Vaccinovigilance should be an on-going and integral

- part of all regulatory programmes for LSD vaccines, especially for live vaccines.

### REFERENCES

- Agianniotaki E.I., Chaintoutis S.C., Haegeman A., Tasioudi K.E., De Leeuw I., Katsoulos P.D., Sachpatzidis A., De Clercq

- K., ALEXANDROPOULOS T., POLIZOPOULOU Z.S., CHONDROKOUKI E.D. & DOVAS C.I. (2017). Development and validation of a

- TaqMan probe-based real-time PCR method for the differentiation of wild type lumpy skin disease virus from vaccine virus

- strains. J. Virol. Methods, 249, 48–57.

- Babiuk S., Bowden T.R., Parkyn G., Dalman B., Manning L., Neufeld J., Embury-Hyatt C., Copps J. & Boyle D.B. (2008).

- Quantification of lumpy skin disease virus following experimental infection in cattle. Transbound. Emerg. Dis., 55, 299–

- 307.

- BABIUK S., PARKYN G., COPPS J., LARENCE J.E., SABARA M.I., BOWDEN T.R., BOYLE D.B. & KITCHING R.P. (2007). Evaluation

- of an ovine testis cell line (OA3.Ts) for propagation of capripoxvirus isolates and development of an immunostaining

- technique for viral plaque visualization. J. Vet. Diagn.Invest., 19, 486–491.

- BALINSKY C.A, DELHON G, SMOLIGA G, PRARAT M, FRENCH R.A, GEARY S.J, ROCK D.L & RODRIGUEZ L.L. (2008). Rapid

- preclinical detection of sheep pox virus by a real-time PCR assay. J. Clin. Microbiol., 46, 438–442.

- BEN-GERA J., KLEMENT E., KHINICH E, STRAM Y. & SHPIGEL N. (2015). Comparison of the efficacy of Neethling lumpy skin

- disease virus and x10RM65 sheep-pox live attenuated vaccines for the prevention of lumpy skin disease – The results of

- a randomized controlled field study. Vaccine, 33, 4837–4842.

- BISWAS S., NOYCE R.S., BABIUK L.A., LUNG O., BULACH D. M., BOWDEN T.R., BOYLE D. B., BABIUK S. & EVANS D.H. (2020).

- Extended sequencing of vaccine and wild-type capripoxvirus isolates provides insights into genes modulating virulence

- and host range. Transbound. Emerg. Dis., 67, 80–97.

- BOSHRA H., TRUONG T., NFON C., GERDTS V., TIKOO S., BABIUK L.A., KARA P., MATHER A., WALLACE D. & BABIUK S. (2013).

- Capripoxvirus-vectored vaccines against livestock diseases in Africa. Antiviral Res., 98, 217–227.

- BOWDEN, T.R, BABIUK S.L, PARKYN G.R., COPPS J.S. & BOYLE D.B. (2008). Capripoxvirus tissue tropism and shedding: A

- quantitative study in experimentally infected sheep and goats. Virology, 371, 380–393.

- Brenner J., Haimovitz M., Oron E., Stram Y., Fridgut O., Bumbarov V., Kuznetzova L., Oved Z., Waserman A., Garazzi

- S., PERL S., LAHAV D., EDERY N. & YADIN H. (2006). Lumpy skin sease (LSD) in a large dairy herd in Israel. Isr. J. Vet. Med.,

- 61, 73–77.

- BURDIN M.L. (1959). The use of histopathological examination of skin material for the diagnosis of lumpy skin disease in

- Kenya. Bull. Epizoot. Dis. Afr., 7, 27–36.

- Byadovskaya O., Pestova Y., Kononov A., Shumilova I., Kononova S., Nesterov A., Babiuk S. & Sprygin A. (2021).

- Performance of the currently available DIVA real-time PCR assays in classical and recombinant lumpy skin disease

- viruses. Transbound. Emerg. Dis., 68, 3020-3024. doi: 10.1111/tbed.13942. Epub 2021 May 13. PMID: 33253485

- CAPSTICK P.B. & COAKLEY W. (1961). Protection of cattle against lumpy skin disease. Trials with a vaccine against Neethling

- type infection. Res. Vet. Sci., 2, 362–368

- CARN V.M. (1993). Control of capripoxvirus infections. Vaccine, 11, 1275–1279.

- CARN V.M. & KITCHING, R.P. (1995). The clinical response of cattle following infection with lumpy skin disease (Neethling)

- virus. Arch. Virol., 140, 503–513.

- COAKLEY W. & CAPSTICK P.B. (1961). Protection of cattle against lumpy skin disease. Factors affecting small scale

- production of tissue culture propagated virus vaccine. Res. Vet. Sci., 2, 369–371.

- COETZER J.A.W. (2004). Lumpy skin disease. In: Infectious Diseases of Livestock, Second Edition Coetzer J.A.W. & Justin

- R.C., eds. Oxford University Press, Cape Town, South Africa, 1268–1276.

- DAO T.D., TRAN L.H., NGUYEN H.D., HOANG T.T., NGUYEN G.H., TRAN K.V.D., NGUYEN H.X., VAN DONG H., BUI A.N. & BUI V.N.

- (2022). Characterization of Lumpy skin disease virus isolated from a giraffe in Vietnam. Transbound. Emerg. Dis.,

- 69(5):e3268-e3272. doi: 10.1111/tbed.14583. Epub 2022 May 10. PMID: 35502589

- DAS A., BABIUK S. & MCINTOSH M.T. (2012). Development of a loop-mediated isothermal amplification assay for rapid

- detection of capripoxviruses. J. Clin. Microbiol., 50, 1613–1620.

- DAVIES F.G. (1991). Lumpy Skin Disease, a Capripox Virus Infection of Cattle in Africa. FAO, Rome, Italy.

- DAVIES F.G., KRAUSS H., LUND L.J. & TAYLOR M. (1971). The laboratory diagnosis of lumpy skin disease. Res. Vet. Sci., 12,

- 123–127.

- Fay P.C., Cook C.G., Wijesiriwardana N., Tore G., Comtet L., Carpentier A., Shih B., Freimanis G., Haga I.R. & Beard

- P.M. (2020). Madin-Darby bovine kidney (MDBK) cells are a suitable cell line for the propagation and study of the bovine

- poxvirus lumpy skin disease virus. J. Virol. Methods, 285, 113943. doi: 10.1016/j.jviromet.2020.113943.

- FLANNERY J., SHIH B., HAGA I.R., ASHBY M., CORLA A., KING S., FREIMANIS G., POLO N., TSE A.C., BRACKMAN C.J., CHAN J., PUN

- P., FERGUSON A.D., LAW A., LYCETT S., BATTEN C. & BEARd P.M. (2021). A novel strain of lumpy skin disease virus causes

- clinical disease in cattle in Hong Kong. Transbound. Emerg. Dis., doi: 10.1111/tbed.14304

- Gari G., Abie G., Gizaw D., Wubete A., Kidane M., Asgedom H., Bayissa B., Ayelet G., Oura C.A.L., Roger F. &

- TUPPURAINEN E.S.M. (2015). Evaluation of the safety, immunogenicity and efficacy of three capripoxvirus vaccine strains

- against lumpy skin disease virus. Vaccine, 33, 3256–3261. doi: 10.1016/j.vaccine.2015.01.035.

- HAIG D. (1957). Lumpy skin disease. Bull. Epizoot. Dis. Afr., 5, 421–430.

- HEDGER R.S. & HAMBLIN C. (1983). Neutralising antibodies to lumpy skin disease virus in African wildlife. Comp. Immunol.

- Microbiol. Infect. Dis., 6, 209–213. doi: 10.1016/0147-9571(83)90012-7. PMID: 6627909 DOI: 10.1016/0147-

- 9571(83)90012-7

- Haegeman A., De Leeuw I., Mostin L., Van Campe W., Aerts L., Venter E., Tuppurainen E., Saegerman C. & K. De Clercq

- (2021). Comparative Evaluation of Lumpy Skin Disease Virus-Based Live Attenuated Vaccines. Vaccines, 9, 473.

- https://doi.org/10.3390/vaccines9050473

- Haegeman A., De Leeuw I., Mostin L., Van Campe W., Philips W., Elharrak M., De Regge N. & De Clercq K. (2023).

- Duration of immunity induced after vaccination of cattle with a live attenuated or inactivated Lumpy skin disease virus

- vaccine. Microorganisms, 11, 210. https://doi.org/10.3390/microorganisms11010210

- Hamdi J., Boumart Z., Daouam S., El Arkam A., Bamouh Z., Jazouli M., Omari Tadlaoui K., Fassi Fihri O., Gavrilov B. & El

- HARRAK M. (2020). Development and Evaluation of an Inactivated Lumpy Skin Disease Vaccine for Cattle. Vet. Microbiol.,

- 245, 108689. doi: 10.1016/j.vetmic.2020.108689.

- IRELAND D.C. & BINEPAL Y.S. (1998). Improved detection of capripoxvirus in biopsy samples by PCR. J. Virol. Methods, 74,

- 1–7.

- IRONS P.C., TUPPURAINEN E.S.M. & VENTER E.H. (2005). Excretion of lumpy skin disease virus in bull semen.

- Theriogenology, 63, 1290–1297.

- KARA P.D., AFONSO C.L., WALLACE D.B., KUTISH G.F., ABOLNIK C., LU Z., VREEDE F.T., TALJAARD L.C., ZSAK A., VILJOEN G.J. &

- ROCK D.L. (2003). Comparative sequence analysis of the South African vaccine strain and two virulent field isolates of

- Lumpy skin disease virus. Arch. Virol., 148, 1335–1356.

- KARA P.D., MATHER A.S., PRETORIUS A., CHETTY T., BABIUK S. & WALLACE D.B. (2018). Characterisation of putative

- immunomodulatory gene knockouts of lumpy skin disease virus in cattle towards an improved vaccine. Vaccine, 36, 4708-

- 4715. doi: 10.1016/j.vaccine.2018.06.017.

- KITCHING R.P. & SMALE C. (1986). Comparison of the external dimensions of capripoxvirus isolates. Res. Vet. Sci., 41, 425–

- 427.

- Klement E., Broglia A., Antoniou S.-E., Tsiamadis V., E. Plevraki, Petrović T., Polaček V., Debeljak Z., Miteva A.,

- Alexandrov T., Marojevic D., Pite L., Kondratenko V., Atanasov Z., Gubbins S., Stegeman A. & Cortiñas Abrahantes J.

- (2020). Neethling vaccine proved highly effective in controlling lumpy skin disease epidemics in the Balkans. Prev. Vet.

- Med., 181, 104595 https://doi.org/10.1016/j.prevetmed.2018.12.001

- Kumar R., Godara B., Chander Y., Kachhawa J.P., Dedar R.K., Verma A., Riyesh T., Pal Y., Barua S., Tripathi B.N. &

- KUMAR N. (2023). Evidence of lumpy skin disease virus infection in camels. Acta Trop., 242, 106922. doi:

- 10.1016/j.actatropica.2023.106922. Epub 2023 Apr 7. PMID: 37031926

- LAMIEN C.E., LELENTA M., GOGER W., SILBER R., TUPPURAINEN E., MATIJEVIC M., LUCKINS A.G. & DIALLO A. (2011). Real time

- PCR method for simultaneous detection, quantitation and differentiation of capripoxviruses J. Virol. Methods, 171, 134–140.

- Mathijs E., Vandenbussche F., Haegeman A., King A., Nthangeni B., Potgieter C., Maartens L., Van Borm S. &De Clercq

- K. (2016). Complete Genome Sequences of the Neethling-Like Lumpy Skin Disease Virus Strains Obtained Directly from

- Three Commercial Live Attenuated Vaccines. Genome Announc., 4 (6). pii: e01255-16. doi: 10.1128/genomeA.01255-16.

- MILOVANOVIC M., DIETZE K., MILICEVIC V., RADOJICIC S., VALCIC M., MORITZ T. & HOFFMANN B. (2019). Humoral immune

- response to repeated lumpy skin disease virus vaccination and performance of serological tests. BMC Vet. Res., 15, 80.

- doi: 10.1186/s12917-019-1831-y.

- MURRAY L., EDWARDS L., TUPPURAINEN E.S., BACHANEK-BANKOWSKA K., OURA C.A., MIOULET V. & KING D.P. (2013). Detection

- of capripoxvirus DNA using a novel loop-mediated isothermal amplification assay. BMC Vet. Res., 9, 90.

- OMOGA D.C.A., MACHARIA M., MAGIRI E., KINYUA J., KASIITI J. & HOLTON T. (2016). Molecular based detection, validation of a

- LAMP assay and phylogenetic analysis of capripoxvirus in Kenya. J. Adv. Biol. Biotech., 7, 1–12.

- PESTOVA Y., BYADOVSKAYA O., KONONOV A. & SPRYGIN A. (2018). A real time high-resolution melting PCR assay for detection

- and differentiation among sheep pox virus, goat pox virus, field and vaccine strains of lumpy skin disease virus. Mol. Cell.

- Probes, 41, 57–60.

- Porco A., Chea S., Sours S., Nou V., Groenenberg M., Agger C., Tum S., Chhuon V., Sorn S., Hong C., Davis B., Davis

- S., KEN S., OLSON S.H. & FINE A.E. (2023). Case report: Lumpy skin disease in an endangered wild banteng (Bos javanicus)

- and initiation of a vaccination campaign in domestic livestock in Cambodia. Front. Vet. Sci., 10:1228505. doi:

- 10.3389/fvets.2023.1228505

- PROZESKY L. & BARNARD B.J.H. (1982). A study of the pathology of lumpy skin disease in cattle. Onderstepoort J. Vet. Res.,

- 49, 167–175.

- ROUBY S. & ABOULSOUDB E. (2016). Evidence of intrauterine transmission of lumpy skin disease virus. Vet. J., 209, 193–

- 195.

- SAMOJLOVIC M., POLACEK V., GURJANOV V., LUPULOVIC D., LAZIC G., PETROVIĆ T., LAZIC S. (2019). Detection of antibodies

- against lumpy skin disease virus by virus neutralization test and ELISA methods. Acta Vet., 69, 47–60.

- Sprygin A., Babin Y., Pestova Y., Kononova S., Wallace D.B., Van Schalkwyk A., Byadovskaya O., Diev V., Lozovoy D. &

- KONONOV A. (2018). Analysis and insights into recombination signals in lumpy skin disease virus recovered in the field.

- PLoS One, 13, e0207480.

- Sprygin A., Van Schalkwyk A., Shumilova I., Nesterov A., Kononova S., Prutnikov P., Byadovskaya O. & Kononov A.

- (2020). Full-length genome characterization of a novel recombinant vaccine-like lumpy skin disease virus strain detected

- during the climatic winter in Russia, 2019. Arch. Virol., 165, 2675–2677.

- Tuppurainen E., Dietze K., Wolff J., Bergmann H., Beltran-Alcrudo D., Fahrion A., Lamien Euloge C., Busch F., Sauter-

- LOUIS C., CONRATHS F.J., DE CLERCQ K., HOFFMANN B. & SASCHA K. (2021). Review: Vaccines and Vaccination against

- Lumpy Skin Disease. Vaccines (Basel). 9, 1136. doi: 10.3390/vaccines9101136

- TUPPURAINEN E.S.M., VENTER E.H. & COETZER J.A.W. (2005). The detection of lumpy skin disease virus in samples of

- experimentally infected cattle using different diagnostic techniques. Onderstepoort J. Vet. Res., 72, 153–164.

- TUPPURAINEN E.S., VENTER E.H., COETZER J.A. & BELL-SAKYI L. (2015). Lumpy skin disease: attempted propagation in tick

- cell lines and presence of viral DNA in field ticks collected from naturally-infected cattle. Ticks Tick Borne Dis., 6, 134–140.

- VAN ROOYEN P.J., KOMM N.A.L., WEISS K.E. & ALEXANDER R.A. (1959). A preliminary note on the adaptation of a strain of

- lumpy skin disease virus to propagation in embryonated eggs. Bull. Epizoot. Dis. Afr., 7, 79–85.

- VAN SCHALKWYK A., BYADOVSKAYA O., SHUMILOVA I., WALLACE D.B. & SPRYGIN A. (2021). Estimating evolutionary changes

- between highly passaged and original parental lumpy skin disease virus strains. Transbound. Emerg. Dis., doi:

- 10.1111/tbed.14326.

- VAN SCHALKWYK A., KARA P., EBERSOHN K., MATHER A., ANNANDALE C.H., VENTER E.H. & WALLACE D.B. (2020). Potential link

- of single nucleotide polymorphisms to virulence of vaccine-associated field strains of lumpy skin disease virus in South

- Africa. Transbound. Emerg. Dis., 67, 2946–2960.

- VIDANOVIC D., SEKLER M., PETROVIC T., DEBELJAK Z., VASKOVIC N., MATOVIC K. & HOFFMAN B. (2016). Real time PCR assay

- for the specific detection of field Balkan strain of lumpy skin disease virus. Acta Vet. Brno, 66, 444–454.

- WANG Y., ZHAO L., YANG J., SHI M., NIE F., LIU S., WANG Z., HUANG D., WU H., LI D., LIN H. & LI Y. (2021). Analysis of vaccine-

- like lumpy skin disease virus from flies near the western border of China. Transbound. Emerg. Dis., doi:

- 10.1111/tbed.14159

- WALLACE D.B. & VILJOEN G.J. (2005). Immune responses to recombinants of the South African vaccine strain of lumpy skin

- disease virus generated by using thymidine kinase gene insertion. Vaccine, 23, 3061–3067.

- WEISS K.E. (1968). Lumpy skin disease. Virol. Monogr., 3, 111–131.

- WOLFF J., BEER M. & HOFFMANN B. (2022). High Efficiency of Low Dose Preparations of an Inactivated Lumpy Skin Disease

- Virus Vaccine Candidate. Vaccines (Basel), 10, 1029. doi: 10.3390/vaccines10071029.

- Zhugunissov K., Bulatov Y., Orynbayev M., Kutumbetov L., Abduraimov Y., Shayakhmetov Y., Taranov D., Amanova Z.,

- MAMBETALIYEV M., ABSATOVA Z., AZANBEKOVA M., KHAIRULLIN B., ZAKARYA K. & TUPPURAINEN E. (2020). Goatpox virus (G20-

- LKV) vaccine strain elicits a protective response in cattle against lumpy skin disease at challenge with lumpy skin disease

- virulent field strain in a comparative study. Vet Microbiol., 245, 108695. doi: 10.1016/j.vetmic.2020.108695.

981	*

982	* *

- NB: There are WOAH Reference Laboratories for lumpy skin disease (please consult the WOAH Web site:

- https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3).

- Please contact WOAH Reference Laboratories for any further information on

- diagnostic tests, reagents and vaccines for lumpy skin disease

###### NB: First adopted in 1989. Most recent updates adopted in 2021.