  - Annex 13. Item 5.1. – Chapter 3.6.9. Equine rhinopneumonitis (infection with equid herpesvirus-1)

  - MEETING OF THE BIOLOGICAL STANDARDS COMMISSION

  - Paris, 4–8 September 2023

4

5

6	CHAP T E R  3 . 6 . 9 .

# 7	E QU I N E R H IN OP N E U M ON I T IS ( I N FE CT I ON WIT H

8	EQU I D H ERPESVI RU S - 1  AN D - 4 )

9	SUMMARY

- Equine rhinopneumonitis (ER) is a collective term for any one of several contagious, clinical disease entities

- of equids that may occur as a result of infection by either of two closely related herpesviruses, equid

- alphaherpesvirus-1 and -4 (EHV-1 and EHV-4). Infection with EHV-1 is listed by WOAH and is therefore the

- focus of this chapter. EHV-1 is and EHV-4 are endemic in most domestic equine populations worldwide.

- Primary infection by either EHV-1 or EHV-4 is characterised by upper respiratory tract disease of varying

- severity that is related to the age and immunological status of the infected animal. Following viraemia EHV-

- 1 also causes the more serious complications of abortion, perinatal foal death, or paralytic neurological

- disease (equine herpesvirus myeloencephalopathy). EHV-4 has been associated with sporadic cases of

- abortion, but rarely multiple abortions and not the large outbreaks associated with EHV-1. Like other

- herpesviruses, EHV-1 and 4 induces long-lasting latent infections and can be reactivated following stress or

- pregnancy. Furthermore, most horses are likely to be re-infected multiple times during their lifetime, often

- mildly or subclinically. Detection of viral DNA or anti-EHV antibodies should therefore be interpreted with

- care.

- Identification of the agent: The standard method of identification of EHV-1 and EHV-4 from appropriate

- clinical or necropsy material is by polymerase chain reaction (PCR), followed by laboratory isolation of the

- virus in cell culture.

- Positive identification of viral isolates as EHV-1 or EHV-4 can be achieved by type-specific PCR or

- sequencing. Viruses can be isolated in equine cell culture from nasal or nasopharyngeal swab extracts taken

- from horses during the febrile stage of with acute respiratory tract infection, from the placenta, from and liver,

- lung, spleen, adrenal glands or thymus of aborted fetuses and early foal deaths, and from the leukocyte

- fraction of the blood of animals with acute during the febrile stage of EHV-1 infection. Unlike EHV-4, EHV-1

- will also grow in various non-equine cell types such as the RK-13 cell line and this property can be used to

- distinguish between the two viruses.

- A rapid presumptive diagnosis of abortion induced by EHV-1 or (infrequently) EHV-4 can be achieved by

- direct immunofluorescent detection of viral antigen in cryostat sections of placenta and tissues from aborted

- fetuses, using a conjugated polyclonal antiserum.

- Post-mortem demonstration of histopathological lesions of EHV-1 in placenta and tissues from aborted

- fetuses, cases of perinatal foal death or in the central nervous system of neurologically affected animals

- complements other diagnostic techniques the laboratory diagnosis.

- Serological tests: Most horses possess some level of antibody to EHV-1/4, the demonstration of specific

- antibody in the serum collected from a single blood sample is therefore not confirmation of a positive

- diagnosis of recent infection. Paired, acute and convalescent sera from animals suspected of being infected

- with EHV-1 or EHV-4 should be tested for a four-fold or greater rise in virus-specific antibody titre by either

- virus neutralisation (VN) or complement fixation (CF) tests. Neither of these assays is type-specific but both

- have proven useful for diagnostic purposes especially since the CF antibody response to recent infection is

- relatively short-lived. Limited use has also been made of a type-specific enzyme-linked immunosorbent

- assay (Crabb et al., 1995; Hartley et al., 2005).

- Requirements for vaccines: Both live attenuated and inactivated viral vaccines are available for use in

- assisting in the control of EHV-1/4. Vaccination is helpful in reducing the severity of respiratory infection in

- young horses and the incidence of abortion in mares, however current vaccines are not licenced to protect

- against neurological disease. Vaccination should not be considered a substitute for sound management

- practices known to reduce the risk of infection. Revaccination at frequent intervals is recommended in the

- case of each of the products, as the duration of vaccine-induced immunity is relatively short.

- Standards for production and licensing of both attenuated and inactivated EHV-1/4 vaccines are established

- by appropriate veterinary regulatory agencies in the countries of vaccine manufacture and use. A single set

- of internationally recognised standards for EHV vaccines is not available. In each case, however, vaccine

- production is based on the system of a detailed outline of production employing a well characterised cell line

- and a master seed lot of vaccine virus that has been validated with respect to virus identity, safety, virological

- purity, immunogenicity and the absence of extraneous microbial agents.

## 59	A. INTRODUCTION

- Equine rhinopneumonitis (ER) is a historically-derived term that describes a constellation of several disease entities of

- horses that may include respiratory disease, abortion, neonatal foal pneumonitis, or myeloencephalopathy (Allen & Bryans,

- 1986; Allen et al., 1999; Bryans & Allen, 1988; Crabb & Studdert, 1995). The disease has been is recognised for over 60

- years as a threat to the international horse industry, and is caused by either of two members of the Herpesviridae family,

- equid alphaherpesvirus-1 and -4 (EHV-1 and EHV-4). EHV-1 and EHV-4 are closely related alphaherpesviruses of horses

- with nucleotide sequence identity within individual homologous genes ranging from 55% to 84%, and amino acid sequence

- identity from 55% to 96% (Telford et al., 1992; 1998). The two herpesviruses With the exception of EHV-1 in Iceland

- (Thorsteinsdóttir et al., 2021), the two herpesviruses are considered endemic enzootic in all countries in which large

- populations of horses are maintained as part of the cultural tradition or agricultural economy. There is no recorded evidence

- that the two herpesviruses of ER pose any health risks to humans working with the agents. Infection with EHV-1 is listed

- by WOAH and is therefore the focus of this chapter.

- Viral transmission to cohort animals occurs by inhalation of aerosols of virus-laden respiratory secretions. Morbidity tends

- to be highest in young horses sharing the same air space. Aborted tissues and placental fluids from infected mares can

- contain extremely high levels of live virus and represent a major source of infection. Extensive use of vaccines has not

- eliminated EHV-1 infections, and the world-wide annual financial impact from this these equine pathogens is immense

- considerable.

- In horses under 3 years of age, clinical ER usually takes the form of an acute, febrile respiratory illness that spreads rapidly

- through the group of animals. The viruses infects and multiplies multiply in epithelial cells of the respiratory mucosa. Signs

- of infection become apparent 2–8 days after exposure to virus, and are characterised by fever, inappetence, depression,

- and nasal discharge. The severity of respiratory disease varies with the age of the horse and the level of immunity resulting

- from previous vaccination or natural exposure. Bi-phasic fever, viraemia and complications are more likely with EHV-1 than

- EHV-4. Subclinical infections with EHV-1/4 are common, even in young animals. Although mortality from uncomplicated

- ER is rare and complete recovery within 1–2 weeks is the normal outcome, respiratory infection is a frequent and significant

- cause of interrupted schedules among horses assembled for training, racing, or other equestrian events. Fully protective

- immunity resulting from infection is of short duration, and convalescent animals are susceptible to reinfection by EHV-1/4

- after several months. Although reinfections by the two herpesviruses cause less severe or clinically inapparent respiratory

- disease, the risks of subsequent abortion or neurological disease remain. Like other herpesviruses, EHV-1/4 causes long-

- lasting latent infections and latently infected horses represent a potential infection risk for other horses. Virus can be

- reactivated as a result of stress or pregnancy. The greatest clinical threats to individual breeding, racing, or pleasure horse

- operations posed by ER are the potential abortigenic and neurological sequelae of EHV-1 respiratory infection. ER

- abortions occur annually in horse populations worldwide and may be sporadic or multiple. Foals infected in utero may be

- born alive and die within a few days of birth. EHV-1 neurological disease is less common than abortions but has been

- recorded all over the world with associated fatalities. Outbreaks result in movement restrictions and, sometimes,

- cancellation of equestrian events (Couroucé et al., 2023; FEI, 2021).

- Neurological disease, also known as equine herpesvirus myeloencephalopathy, remains an infrequent but serious

- complication of EHV-1 infection. A single mutation in the DNA polymerase gene (ORF30) has been associated with

- increased risk of neurological disease, however strains without this change can also cause paralysis (Goodman et al.,

- 2007; Nugent et al., 2006). Strain typing techniques have been employed to identify viruses carrying the neuropathic

- marker, and it can be helpful to be aware of an increased risk of neurological complications. However, for practical purposes

- strain-typing is not relevant for agent identification, or international trade. Strain typing may be beneficial for implementation

- of biosecurity measures in the management of outbreaks of equine herpesvirus myeloencephalopathy.

- Strain typing has been shown to be not reliable for predicting the clinical outcome of EHV-1 infection but can be useful in

- epidemiological investigations (Garvey et al., 2019; Nugent et al., 2006; Sutton et al., 2019).

## 103	B. DIAGNOSTIC TECHNIQUES

- Both EHV-1 and EHV-4 is transmitted by the respiratory route and has have the potential to be highly contagious viruses

- particularly where large numbers of horses are housed in the same air space. EHV1 and the former can cause explosive

- outbreaks of abortion or neurological disease. Rapid diagnostic methods are therefore essential useful for managing the

- disease. Real-time polymerase chain reaction (PCR) assays are widely routinely used by diagnostic laboratories worldwide

- and are both rapid and sensitive. Real-time PCR assays that allow simultaneous testing for EHV-1 and EHV-4 and

- quantification of viral load have been developed. Virus isolation has been replaced by real-time PCR as the frontline

- diagnostic test in the majority of laboratories but can also be useful, particularly for the detection of viraemia. This is also

- true of for EHV-1 associated abortions and neonatal foal deaths, when the high level of virus in the tissues usually produces

- a cytopathic effect in 1–3 days. Immunohistochemical or immunofluorescent approaches are employed in some

- laboratories can be extremely useful for rapid diagnosis of EHV-induced abortion from fresh or embedded tissue and are

- relatively straightforward. Several other techniques based on enzyme-linked immunosorbent assay (ELISA) or nucleic acid

- hybridisation probes have also been described, however their use is often restricted to specialised laboratories and they

- are not included here. Virus neutralisation (VN) and complement fixation (CF) are the most frequently used serological

- tests, and seroconversion in paired samples is considered indicative of exposure to virus by natural infection or by

- vaccination.

- Table 1. Test methods available for the diagnosis of equine rhinopneumonitis and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies(a) | Confirmation of clinical cases | Prevalence of infection - surveillance | Immune status in individual animals or populations post-vaccination |
| Identification of the agent(b) |  |  |  |  |  |  |
| Virus isolation | – | ++ + | – | +++ | – | – |
| PCR | – | +++ | – | +++ | – | – |
| Direct immunofluorescence | – | – | – | ++ | – | – |
| Detection of immune response |  |  |  |  |  |  |
| VN | ++ | ++ | – + | +++ | +++ | +++ |
| ELISA | + | – + | – + | + + | ++ + | + |
| CFT | – | – ++ | – | +++ | – | – +++ |

- Key: +++ = recommended for this purpose; ++ recommended but has limitations;

121	+ = suitable in very limited circumstances; – = not appropriate for this purpose.

- PCR = polymerase chain reaction; VN = virus neutralisation;

- ELISA = enzyme-linked immunosorbent assay; CFT = complement fixation test.

- (a)No eradication policies exist for equine rhinopneumonitis.

- (b)A combination of agent identification methods applied on the same clinical sample is recommended.

#### 1.	Identification Detection of the agent

##### 1.1.	Collection and preparation of specimens

- Nasal/nasopharyngeal swabs: swab extract can be used for DNA extraction and subsequent virus detection by PCR

- using one of a variety of published techniques or commercially available kits (see below). Virus isolation can also be

- attempted from the swab extracts. To increase the chances of isolating live virus, swabs are best obtained from

- horses during the very early, febrile stages acute stage of the respiratory disease, and are collected via the nares by

- sampling the area with a swab of an appropriate size and length for horses. After collection, the swab should be

- removed and transported immediately to the virology laboratory in 3 ml of cold (not frozen) virus transport medium

- (e.g. phosphate buffered saline [PBS] or serum-free MEM [minimal essential medium] with antibiotics). Virus

- infectivity can be prolonged by the addition of bovine serum albumin, fetal calf serum or gelatine to 0.1% (w/v).

- Tissue samples: total DNA can be extracted using a number of commercially available kits and used in PCR to detect

- viral DNA (described below in Section B.1.2.1). Virus isolation from placenta and fetal tissues from suspect cases of

- EHV-1 abortion is most successful when performed on aseptically collected samples of placenta, liver, lung, thymus,

- adrenal glands and spleen. Virus may be isolated from post-mortem cases of EHV-1 neurological disease by culture

- of samples of brain and spinal cord but such attempts to isolate virus are often unsuccessful; however, they may be

- useful for PCR testing and pathological examination. Tissue samples should be transported to the laboratory and

- held at 4°C until inoculated into tissue culture. Samples that cannot be processed within a few hours should be stored

- at –70°C.

- Blood: for virus detection by PCR or isolation from blood leukocytes, collect a 10–20 ml sample of blood, using an

- aseptic technique in citrate, heparin or EDTA [ethylene diamine tetra-acetic acid] anticoagulant. EDTA is the preferred

- anticoagulant for PCR testing in some laboratories as heparin may inhibit DNA polymerase. The samples should be

- transported without delay to the laboratory on ice, but not frozen.

- Cerebrospinal fluid: the detection of EHV-1 DNA in cerebrospinal fluid has been reported in cases of neurological

- disease.

##### 1.2.	Virus detection by polymerase chain reaction

- PCR has become the primary diagnostic method for the detection of EHV-1 and EHV-4 in clinical specimens, paraffin-

- embedded archival tissue, or inoculated cell cultures (Borchers & Slater, 1993; Lawrence et al., 1994; O’Keefe et al.,

- 1994; Varrasso et al., 2001). A variety of type-specific PCR primers have been designed to distinguish between the

- presence of EHV-1 and EHV-4. The correlation between PCR and virus isolation techniques for diagnosis of EHV-1

- or EHV-4 is high (Varrasso et al., 2001). Diagnosis by PCR is rapid, sensitive, and does not depend on the presence

- of infectious virus in the clinical sample. For diagnosis of active infection by EHV, PCR methods are routinely used

- to detect EHV-1 DNA in nasopharyngeal swabs and tissue samples most reliable with tissue samples from aborted

- fetuses and placental tissue or from nasopharyngeal swabs of foals and yearlings. They are particularly useful in

- explosive outbreaks of abortion, respiratory or neurological disease in which a rapid identification and monitoring of

- the virus spread is critical for guiding management strategies, including movement restrictions. PCR examination of

- spinal cord and brain tissue, as well as peripheral blood mononuclear cells (PBMC), are important in seeking a

- diagnosis on a horse with neurological signs (Pronost et al., 2012).

- Several PCR assays have been published. A nested PCR procedure can be used to distinguish between EHV-1 and

- EHV-4. A sensitive protocol suitable for clinical or pathological specimens (nasal secretions, blood leukocytes, brain

- and spinal cord, fetal tissues, etc.) has been described by Borchers & Slater (1993). However, nested PCR methods

- have a high risk of laboratory cross-contamination, and sensitive rapid one-step PCR tests to detect EHV-1 and EHV-

- 4 (e.g. Lawrence et al., 1994) are preferred. The WOAH Reference Laboratories use quantitative real-time PCR

- assays such as those targeting heterologous sequences of major glycoprotein genes to distinguish between EHV-1

- and EHV-4. A multiplex real-time PCR targeting glycoprotein B gene of EHV-1 and EHV-4 was described by Diallo

- et al. (2007). PCR protocols have been developed that can differentiate between EHV-1 strains carrying the ORF30

- neuropathogenic marker, using both restriction enzyme digestion of PCR products (Fritsche & Borchers, 2011) or by

- quantitative real-time PCR (Allen et al, 2007, Smith et al., 2012). Methods have also been developed to type strains

- for epidemiological purposes, based on the ORF68 gene (Nugent et al., 2006). The WOAH Reference Laboratories

- employ in-house methods for strain typing, however these protocols have not yet been validated between different

- laboratories at an international level.

- Real-time (or quantitative) PCR has become the method of choice for many the majority of diagnostic tests

- laboratories and provides rapid and sensitive detection of viral DNA. Equine post-mortem tissues from newborn and

- adult animals or equine fetal tissue from abortions (tissues containing lung, liver, spleen, thymus, adrenal gland and

- placental tissues) can be used. For respiratory samples, equine nasopharyngeal swabs or deep nasal swabs

- (submitted in a suitable viral transport medium), buffy coat, tracheal wash (TW) or broncho-alveolar lavage (BAL) are

- all suitable. DNA should be extracted using an appropriate kit or robotic system.

- There is no internationally standardised real-time PCR method for EHV-1 but Table 2 summarises the primer and

- probe sequences for some of the most widely used assays. Type-specific PCR primers have been designed to

- distinguish between the presence of EHV-1 and EHV-4. The optimised thermocycler times and temperatures are

- documented in the publications cited.

- Table 2. Primer and probe sequences for EHV1/4 detection by real-time PCR

| Primer | Primer sequence (5’ to 3’) | Target | Reference |
| --- | --- | --- | --- |
| Forward | CAT-GTC-AAC-GCA-CTC-CCA |  |  |
| Reverse | GGG-TCG-GGC-GTT-TCT-GT | EHV‐1 gB Diallo et al., 2006 |  |
| Probe | FAM-CCC-TAC-GCT-GCT-CC-MGB-NFQ |  |  |
| Forward | CAT-ACG-TCC-CTG-TCC-GAC-AGA-T |  |  |
| Reverse | GGTACTCGGCCTTTGACGAA | EHV‐1 gB Hussey et al., 2006 |  |
| Probe | FAM‐TGA-GAC-CGA-AGA-TCT-CCT-CCA-CCG-A‐BHQ1 |  |  |
| Forward | TAT-ACT-CGC-TGA-GGA-TGG-AGA-CTT-T |  |  |
| Reverse | TTG-GGG-CAA-GTT-CTA-GGT-GGT-T | EHV‐1 gB Pusterla et al., 2009 |  |
| Probe | 6FAM-ACA-CCT-GCC-CAC-CGC-CTA-CCG |  |  |
| Forward | GCG-GGC-TCT-GAC-AAC-ACA-A | EHV‐1 gC | ISO 17025 accredited for the detection of EHV-1 at WOAH Reference Laboratory |
| Reverse | TTG-TGG-TTT-CAT-GGG-AGT-GTG-TA |  |  |
| Probe | FAM‐TAA-CGC-AAA-CGG-TAC-AGA-A-BHQ1 |  |  |

- *This multiplex real-time PCR test has been validated to ISO 17025 and is designed for use in a 96-well format. This

- can be readily combined with automatic nucleic acid extraction methods. Discrimination between EHV-1 and EHV-4

- is carried out by the incorporation of type-specific dual labelled probes based on methods published by Hussey et al.

- (2006) and Lawrence et al. (1994). To establish such a real-time PCR assay for diagnostic purposes, validation

- against blinded samples is required. Sensitivity and specificity for the assay should be determined against each target.

- Support for development of assays and appropriate sample panels can be obtained from the WOAH Reference

- Laboratories. Reference material and sample panels for real-time PCR can be obtained from the WOAH Reference

- Laboratories.

- 	Point of care (POC) molecular tests

- Loop-mediated isothermal amplification (LAMP) assays for the detection of EHV-1 have been described

- (Nemoto et al., 2011). An evaluation of a hydrolysis probe-based insulated isothermal PCR (iiPCR) assay

- for the detection of EHV-1 showed it to have a high sensitivity and specificity compared with real-time PCR

- (Balasuriya et al., 2017). However further validation of POC tests in the field is required.

- 	Molecular characterisation

- Allelic discrimination real-time PCR assays identifying a single nucleotide polymorphism that was originally

- suggested to distinguish between neuropathogenic and non-neuro-pathogenic EHV-1 strains have been

- developed (Smith et al., 2012). However, investigations in many countries worldwide demonstrated that

- the nucleotide substitution was not a reliable predictor of enhanced neuropathogenicity. Multilocus typing

- and whole genome sequencing are useful for molecular epidemiological studies (Garvey et al., 2019;

- Nugent et al., 2006; Sutton et al., 2019).

##### 1.3.	Virus isolation

- Virus isolation is no longer a routine test used for EHV-1 detection in the majority of diagnostic laboratories but is

- more often conducted for surveillance and research purposes. A number of cell types may be used for isolation of

- EHV-1 (e.g. rabbit kidney [RK-13 (AATC–CCL37)], baby hamster kidney [BHK-21], Madin–Darby bovine kidney

- [MDBK], pig kidney [PK-15], etc.). RK13 cells are commonly used for this purpose. For efficient primary isolation of

- EHV-4 from horses with respiratory disease, equine-derived cell cultures must be used. Both EHV-1 and EHV-4 may

- be isolated from nasopharyngeal samples using primary equine fetal kidney cells or equine fibroblasts derived from

- dermal (E-Derm) or lung tissue. EHV-1 can be isolated on other cell types, as will be discussed later. The

- nasopharyngeal swab and its accompanying transport medium are transferred into the barrel of a sterile 10 ml

- syringe. Using the syringe plunger, the fluid is squeezed from the swab into a sterile tube. A portion of the expressed

- fluid can be filtered through a sterile, 0.45 µm membrane syringe filter unit into a second sterile tube if heavy bacterial

- contamination is expected, but this may also lower virus titre. Recently prepared cell monolayers in tissue culture

- flasks are inoculated with the filtered, as well as the unfiltered, nasopharyngeal swab extract. Cell monolayers in

- multiwell plates incubated in a 5% CO2 environment may also be used. Virus is allowed to attach by incubating the

- inoculated monolayers at 37°C. Monolayers of uninoculated control cells should be incubated in parallel.

- At Recently prepared cell monolayers in tissue culture flasks or plates are inoculated with nasopharyngeal swab

- extract or homogenised tissue: approximately 10% (w/v) pooled tissue homogenates of liver, lung, thymus, adrenal

- and spleen (from aborted fetuses/neonatal foals) or of brain and spinal cord (from cases of neurological disease).

- Virus is allowed to attach by incubating the end of the attachment period, inoculated monolayers at 37°C for 1 hour

- after which the inocula are removed and the monolayers are rinsed twice with PBS to remove virus-neutralising

- antibody that may or maintenance medium. Monolayers of uninoculated control cells should be present in the

- nasopharyngeal secretions incubated in parallel. After addition of supplemented maintenance medium (MEM

- containing 2% fetal calf serum [FCS] and twice the standard concentrations of antibiotics/antifungals [penicillin,

- streptomycin, gentamicin, and amphotericin B]), the flasks are incubated at 37°C in a 5% CO2 environment.

- The use of a positive control virus samples of relatively low titre may be used to validate the isolation procedure

- carries the risk that this may lead but should be processed separately to eventual avoid contamination of diagnostic

- specimens. This risk can be minimised by using routine precautions and good laboratory technique, including the use

- of biosafety cabinets, inoculating positive controls after the diagnostic specimens, decontaminating the surfaces in

- the hood while the inoculum is adsorbing and using a positive control of relatively low titre. Inoculated flasks should

- be inspected daily by microscopy for the appearance of characteristic herpesvirus cytopathic effect (CPE) (focal

- rounding, increase in refractility, and detachment of cells). Cultures exhibiting no evidence of viral CPE after 1 week

- of incubation should be blind-passaged into freshly prepared monolayers of cells, using small aliquots of both media

- and cells as the inoculum. Further blind passage is usually not productive.

- It can be useful to inoculate samples into both non-equine and equine cells in parallel to distinguish between EHV-1

- and EHV-4, since EHV-4 can cause sporadic cases of abortion. Around 10% (w/v) pooled tissue homogenates of

- liver, lung, thymus, and spleen (from aborted fetuses) or of central nervous system tissue (from cases of neurological

- disease) are used for virus isolation. These are prepared by first mincing small samples of tissue into 1 mm cubes in

- a sterile Petri dish with dissecting scissors, followed by macerating the tissue cubes further in serum-free culture

- medium with antibiotics using a homogeniser or mechanical tissue grinder. After centrifugation at 1200 g for

- 10 minutes, the supernatant is removed and 0.5 ml is inoculated into duplicate cell monolayers in tissue culture flasks.

- Following incubation of the inoculated cells at 37°C for 1.5–2 hours, the inocula are removed and the monolayers are

- rinsed twice with PBS or maintenance medium. After addition of 5 ml of supplemented maintenance medium, the

- flasks are incubated at 37°C for up to 1 week or until viral CPE is observed. Cultures exhibiting no evidence of viral

- CPE after 1 week of incubation should be passaged a second time into freshly prepared monolayers of cells, using

- small aliquots of both media and cells as the inoculum.

- Blood samples: EHV-1 and, infrequently, EHV-4 can be isolated from PBMC. Buffy coats may be prepared from

- unclotted (heparinised) blood by centrifugation at 600 525 g for 15 5 minutes, and. The buffy coat is taken after the

- plasma has been carefully removed. The buffy coat is then layered onto a PBMC separating solution (Ficoll; density

- 1077 g/ml, commercially available) and centrifuged at 400 g for 20 minutes. The PBMC interface (without most

- granulocytes) is and washed twice in PBS (300 g for 10 minutes) and resuspended in 1 ml three times in 3 ml MEM

- containing 2% FCS. As a quicker alternative method, PBMC may be collected by centrifugation directly from plasma.

- (525 g for 5 minutes). Following the third wash, the buffy coat is harvested and resuspended in 2.5 ml MEM containing

- 2% FCS. An aliquot of the rinsed cell suspension is added to each of the duplicate monolayers of equine fibroblast,

- equine fetal or RK-13 cell monolayers in 25 cm2 flasks containing 8–10 ml freshly added maintenance medium. The

- flasks can be used for DNA extraction. For virus isolation, the resuspended cells (1 ml) are co-cultivated with freshly

- prepared primary equine lung or RK-13 cell suspensions (5 ml) in 25 cm2 flasks. Confluent cell monolayers are not

- used. The flasks are incubated at 37°C in a 5% CO2 environment for 3 days or until the cells have reached 90%

- confluence. The monolayers are then rinsed three times with 1 × PBS and supplemented with 5 ml MEM containing

- 2% FCS. They are incubated at 37°C for 7 days; either with or without removal of the inoculum. If PBMCs are not

- removed prior to incubation, CPE may be difficult to detect in the presence of the massive inoculum of leukocytes:

- each flask of cells is freeze–thawed after 7 for a further 4 days of incubation and the contents centrifuged at 300 g

- for 10 minutes. Finally, 0.5 ml of the cell-free, culture medium supernatant is transferred to freshly made cell

- monolayers that are just subconfluent. These are incubated and observed daily for viral CPE for at least 5–6 days.

- Again, samples. Samples exhibiting no evidence of viral CPE after 1 week of incubation should be passaged a second

- time before discarding as negative.

- Virus identity may be confirmed by PCR or by immunofluorescence with specific antisera. Virus isolates from

- positive cultures should be submitted to a WOAH Reference Laboratory for strain characterisation and to maintain

- a geographically diverse archive. Further strain characterisation for surveillance purposes or detection of the

- neurological marker can be provided at some laboratories.

##### 1.4.	Virus detection by direct immunofluorescence

- Direct immunofluorescent detection of EHV-1 antigens in samples of post-mortem tissues collected from aborted

- equine fetuses and the placenta provides a rapid preliminary diagnosis of herpesvirus abortion (Gunn, 1992). The

- diagnostic reliability of this technique approaches that of virus isolation attempts from the same tissues.

- In the United States of America (USA), potent polyclonal antiserum to EHV-1, prepared in swine and conjugated with

- FITC, is available to veterinary diagnostic laboratories for this purpose from the National Veterinary Services

- Laboratories of the United States Department of Agriculture (USDA). The antiserum cross-reacts with EHV-4 and

- hence is not useful for serotyping, however virus typing can be conducted on any virus positive specimens by PCR.

- Freshly dissected samples (5 × 5 mm pieces) of fetal tissue (lung, liver, thymus, and spleen) are frozen, sectioned

- on a cryostat at –20°C, mounted on to microscope slides, and fixed with 100% acetone. After air-drying, the sections

- are incubated at 37°C in a humid atmosphere for 30 minutes with an appropriate dilution of the conjugated swine

- antibody to EHV-1. Unreacted antibody is removed by two washes in PBS, and the tissue sections are then covered

- with aqueous mounting medium and a cover-slip, and examined for fluorescent cells indicating the presence of EHV

- antigen. Each test should include a positive and negative control consisting of sections from known EHV-1 infected

- and uninfected fetal tissue.

##### 1.5.	Virus detection by immunoperoxidase staining

- Immunohistochemical (IH) staining methods, such as immunoperoxidase, have been developed for detecting EHV-1

- antigen in fixed tissues of aborted equine fetuses, placental tissues or neurologically affected horses (Schultheiss et

- al., 1993; Whitwell et al., 1992). Such techniques can be used as an alternative to immunofluorescence described

- above and can also be readily applied to archival frozen or fixed tissue samples. Immunohistochemical staining for

- EHV-1 is particularly useful for the simultaneous evaluation of morphological lesions and the identification of the virus.

- Immunoperoxidase staining for EHV-1/4 may also be carried out on infected cell monolayers (van Maanen et al.,

- 2000). Adequate controls must be included with each immunoperoxidase test run for evaluation of both the method

- specificity and antibody specificity. In one WOAH Reference Laboratory, this method is used routinely for frozen or

- fixed tissue, using If non-specific rabbit polyclonal sera is used raised against EHV-1. This staining method is not

- type-specific and therefore the staining method needs to be combined with virus isolation or PCR to discriminate

- between EHV-1 and EHV-4, however it provides a useful method for rapid diagnosis of EHV-induced abortion.

##### 1.6.	Histopathology

- Histopathological examination of sections of fixed placenta and lung, liver, spleen, adrenal and thymus from aborted

- fetuses and brain and spinal cord from neurologically affected horses should be carried out. In aborted fetuses,

- eosinophilic intranuclear inclusion bodies present within bronchiolar epithelium or in cells at the periphery of areas of

- hepatic necrosis are consistent with a diagnosis of herpesvirus infection. The characteristic microscopic lesion

- associated with EHV-1 neuropathy is a degenerative thrombotic vasculitis of small blood vessels in the brain or spinal

- cord (perivascular cuffing and infiltration by inflammatory cells, endothelial proliferation and necrosis, and thrombus

- formation).

#### 2.	Serological tests

- EHV-1 and EHV-4 are endemic in most parts of the world and seroprevalence is high, however serological testing of paired

- sera can be useful for diagnosis of ER in horses. A positive diagnosis is based on the demonstration of significant increases

- (four-fold or greater) in antibody titres in paired sera taken during the acute and convalescent stages of the disease. The

- results of tests performed on sera from a single collection date are, in most cases, impossible to interpret with any degree

- of confidence. The initial (acute phase) serum sample should be taken as soon as possible after the onset of clinical signs,

- and the second (convalescent phase) serum sample should be taken 2–4 weeks later.

- ‘Acute phase’ sera from mares after abortion or from horses with EHV-1 neurological disease may already contain maximal

- titres of EHV-1 antibody, with no increase in titres detectable in sera collected at later dates. In such cases, serological

- testing of paired serum samples from clinically unaffected cohort members of the herd may prove useful for retrospective

- diagnosis of ER within the herd.

- Finally, the serological detection of antibodies to EHV-1 in heart or umbilical cord blood or other fluids of equine fetuses

- can be of diagnostic value in cases of abortion especially when the fetus is virologically negative. The EHV 1/4 nucleic acid

- may be identified from these tissues by PCR.

- Serum antibody levels to EHV-1/4 may be determined by virus neutralisation (VN) (Thomson et al., 1976), complement

- fixation (CF) tests (Thomson et al., 1976) or enzyme-linked immunosorbent assay (ELISA) (Crabb & Studdert, 1995). There

- are no internationally recognised reagents or standardised techniques for performing any of the serological tests for

- detection of EHV-1/4 antibody; titre determinations on the same serum may differ from one laboratory to another.

- Furthermore, The CF and VN tests detect antibodies that are cross-reactive between EHV-1 and EHV-4. Nonetheless, the

- demonstration of a four-fold or greater rise in antibody titre to EHV-1 or EHV-4 during the course of a clinical illness provides

- serological confirmation of recent infection with one of the viruses. Commercial ELISAs that distinguish EHV-1 and EHV-

- 4 antibodies are available but less widely used than the CF and VN tests. Unlike other alphaherpesviruses, DIVA 41 ELISAs,

- which have been very useful in eradication programmes for bovine rhinotracheitis and pseudorabies (Aujeszky’s disease),

- have not been developed for EHV-1/4 .

- The microneutralisation test is a VN and the CF tests are widely used and sensitive serological assays for detecting EHV-

- 1/4 antibody and will thus be described here.

##### 2.1.	Virus neutralisation test

- This test is most commonly performed in flat-bottom 96-well microtitre plates (tissue culture grade) using a constant

- dose of virus and doubling dilutions of equine test sera. At least two three replicate wells for each serum dilution are

- required. Heat-inactivated maintenance medium with a concentration of 2% FCS (HIMM) Serum-free MEM is used

- throughout as a diluent. Virus stocks of known titre are diluted just before use to contain 100 TCID50 (50% tissue

- culture infective dose) in 25 µl. Monolayers of E-Derm or RK-13 cells are prepared monodispersed with EDTA/trypsin

- and resuspended at a concentration of 5 × 105/ml. Note that RK-13 cells can be used with EHV-1 but do not show

- CPE with EHV-4. Antibody positive and negative control equine sera and controls for cell viability, virus infectivity,

- and test serum cytotoxicity, must be included in each assay. End-point VN titres of antibody are calculated by

- determining the reciprocal of the highest serum dilution that protects ≥75% 100% of the cell monolayer from virus

- destruction in both of the replicate wells.

- Serum toxicity may be encountered in samples from horses repeatedly vaccinated with a commercial vaccine

- prepared from EHV-1 grown up in RK-13 cells. This can give rise to difficulties in interpretation of test reactions at

- lower serum dilutions. The problem can be overcome using E-Derm or other non-rabbit kidney derived cell line.

- 2.1.1.	Test procedure

- A suitable test procedure is as follows:

- i)	Prepare semi-confluent monolayers in tissue culture microtitre plates.

- ii)	Inactivate test and control sera for 30 minutes in a water bath at 56°C.

- iii)	Add 40 25 µl of HIMM serum-free MEM to all wells of the microtitre assay plates.

- iv)	For test sample titration, pipette 25 40 µl of each test serum into duplicate triplicate wells of both

- rows A and B of the plate. The first two rows serve as the dilution of the test serum and the third

- row serves as the serum toxicity control and the second row as the first dilution of the test. Make

- doubling dilutions of each serum starting with row B and proceeding to the bottom of the plate

- by sequential mixing and transfer of 25 40 µl to each subsequent row of wells. Six sera can be

- assayed in each plate. Add 40μl of HIMM to the serum control rows.

- v)	Add 40 25 µl of the appropriately diluted EHV-1 or EHV-4 virus stock to each all wells

- (100 TCID50/well) of the test plate except those of row A, which are the serum controls wells.

- Note that the final serum dilutions, after addition of virus, run from a starting dilution of 1/4 to

- 1/256. A separate control plate should include titration of both a negative and positive (high and

- low) horse serum sera of known titre, cell control (no virus), and a back titration of virus control

- (no serum), and a virus titration using six wells per log dilution (100 TCID50 to 0.01 TCID50/well)

- calculate the actual amount of virus used in the test

- vi)	Incubate the plates for 1 hour at 37°C in 5% CO2 atmosphere. Add 50 µl of the prepared E-

- Derm or RK-13 cell suspension (5 × 105 cells/ml) in MEM/10% FCS to each well.

- vii)  Transfer 50 µl from each well of the test and control plates to the tissue culture microtitre plates.

41	DIVA: detection of infection in vaccinated animals

- viii) Incubate the plates for 2 4–5 days at 37°C in an atmosphere of 5% CO2 in air.

- ix)	Examine the plates microscopically for CPE and record the results on a worksheet. Confirm the

- validity of the test by establishing that the working dilution of stock virus is at 100 TCID50/well,

- that the (high and low) positive control sera are within one well of their pre-determined titre and

- that the negative control serum is negative at a 1/4 dilution. This takes approximately 72 hours.

- If at this stage the antigen is too weak the virus concentration may be increased by extending

- the incubation period up to 5 days. If the antigen is too strong the test must be repeated.

- Wells are scored as positive for neutralisation of virus if ≥ 75% of the cell monolayer remains

- intact. The highest dilution of serum resulting in ≥ 75% neutralisation of virus (<25% CPE) in

- replicate wells is the end-point titre for that serum. Examine the plates microscopically for CPE

- and record the results on a worksheet.

- x)	Alternatively, the cell monolayers can be scored for CPE after fixing and staining as follows:

- after removal of the culture fluid, immerse the plates for 15 minutes in a solution containing 2

- mg/ml crystal violet, 10% formalin, 45% methanol, and 45% water. Then, rinse the plates

- vigorously under a stream of running tap water. Wells containing intact cell monolayers stain

- blue, while monolayers destroyed by virus do not stain. Verify that the cell control, positive

- serum control, and serum cytotoxicity control wells stain blue, that the virus control and negative

- serum control wells are not stained, and that the actual amount of virus added to each well is

- between 101.5 and 102.5 TCID50. Wells are scored as positive for neutralisation of virus if 100%

- of the cell monolayer remains intact. The highest dilution of serum resulting in complete

- neutralisation of virus (no CPE) in both duplicate wells is the end-point titre for that serum.

- xi)	Calculate the neutralisation titre for each test serum, and compare acute and convalescent

- phase serum titres from each animal for a four-fold or greater increase.

##### 2.2.	Complement fixation test

- The CF test can be used for the detection and quantification of antibodies against EHV-1. The test determines whether

- an antigen and an antibody are capable of forming a complex. The presence of an immune complex is revealed by

- the detector system, which consists of guinea-pig complement and sensitised sheep red blood cells (SRBCs) coated

- with rabbit haemolytic serum (haemolysin). In the absence of antibodies against equine herpesvirus, no

- antibody/antigen complex is formed, the complement remains free in the solution and the sensitised SRBCs become

- lysed. In the presence of antibodies against equine herpesvirus, an antibody/antigen complex is formed, the

- complement becomes fixed and is therefore unable to lyse the SRBCs. They subsequently form a button at the bottom

- of the test well.

- Guinea-pig complement, rabbit haemolytic serum, complement fixation diluent (CFD) and bovine serum albumin

- (BSA) can be obtained commercially. The dilution of guinea-pig complement that has activity at 3 HD (haemolytic

- dose) in the presence of sensitised SRBCs should be optimised. The recommended dilution of rabbit haemolytic

- serum (or the working dilution) is sometimes provided by the supplier. However, the optimal dilution of haemolysin

- should be determined with the in use reagents (complement etc.) so that the test can be performed reproducibly. The

- optimum concentration of antigen to be used in the test should be determined using an antigen versus antibody

- chequerboard technique and by testing a panel of known positive sera.

- The test is performed in U bottomed microtitre plates. Paired sera should be assayed on the same plate. An antibody

- positive serum should be included as a control on each plate. All sera are tested on a second plate containing all

- components except virus to check for anti-complementary activity. A back titration of the working dilution (3 HD) of

- complement to 2 HD, 1 HD, 0.5 HD is set up in duplicate wells on the complement control plate (eight wells in total).

- An SRBC control is set up in eight wells.

- 2.2.1.	Preparation of samples

- i)	Samples and controls are prepared by adding 4 volumes (600 µl) of CFD to 1 volume (150 µl)

- of test sera to give a 1/5 dilution.

- ii)	Diluted serum is inactivated for 30 minutes at 60°C to destroy the naturally occurring

- complement.

- 2.2.2.	Test procedure

- i)	Prepare the test plate and anti-complementary plate by adding 25 µl 0.05% BSA/CFD to all

- wells except the first column (H).

- ii)	Add 50 µl of 0.05% BSA/CFD to the eight wells of the complement control (back titration).

- iii)	Add 75 µl of 0.05% BSA/CFD to eight wells of cell control.

- iv)	Add 50 µl of the diluted inactivated test serum and controls to the first well of each row on both

- the test and anti-complementary plates. Serial doubling dilutions are then made by transferring

- 25 µl across the plate and discarding the final 25 ml.

- v)	Place the microtitre plates on ice for addition of antigen and complement.

- vi)	Add 25 µl of antigen (diluted to working strength in 0.05% BSA/CFD) to the test plates.

- vii)  Add 25 µl of 0.05% BSA/CFD to all wells of the anti-complementary plate to compensate for

- lack of antigen.

- viii) Add 25 µl of guinea-pig complement diluted in 0.05% BSA/CFD to 3 HD to all wells except the

- complement control and SRBC control.

- ix)	Back titrate the working dilution of 3 HD complement to 2 HD, 1 HD and 0.5 HD in 200 µl

- volumes. Add 25 µl of each dilution to the appropriate wells.

- x)	Incubate all plates at 4°C overnight.

- 2.2.3.	Preparation and addition of sheep blood

- i)	SRBCs collected into Alsever’s solution are washed twice in 0.05% BSA/PBS solution.

- ii)	Gently resuspend the SRBCs in 5–10 ml 0.05% BSA/CFD solution. Dilute to 2% SRBCS (v/v

- packed cells) in BSA/CFD solution.

- iii)	Mix the 2% SRBCs with an equal volume of BSA/CFD solution containing haemolysin at its

- optimal sensitising concentration to give a 1% SRBC solution. Prepare an appropriate volume

- of this solution by allowing 3 ml per microtitre plate.

- iv)	Incubate at 37°C for 10 minutes. Store the 1% sensitised SRBCs overnight at 4°C.

- v)	The following day, incubate the 1% sensitised SRBCs at 37°C for 30 minutes. During the final

- 20 minutes of this incubation, transfer the test plates from 4°C to 37°C.

- vi)	At the end of the 30-minute incubation, add 25 ml of 1% sensitised SRBCs to all plates. Mix on

- a plate shaker for 30 seconds.

- vii)  Incubate the plates at 37°C for 30 minutes. Shake the plates after 15 minutes and at the end of

- this incubation (a total of three times).

- viii) Incubate the plates at 4°C for 2 hours to allow the cells to settle.

- ix)	Read and record the test results after 2 hours.

- 2.2.4.	Reading results

- i)	Confirm the validity of the test by establishing that the working dilution of complement is at 3 HD:

- 100% lysis at 3 HD and 2 HD, and 50% lysis at 1 HD. Distinct buttons should be visible in the

- eight wells of the SRBC control.

- ii)	There must be 100% lysis observed at the 1/5 dilution for the negative control (<5). The antibody

- titre of the positive control serum must read within one well of its predetermined titre.

- iii)	Confirm that there are no buttons visible on the anti-complementary plates. Buttoning indicates

- either the presence of residual native complement in the sample or that there is a non-specific

- complement fixing effect occurring. Sera that show anti-complementary activity should be

- retested and treated as described below.

- iv)	In the test wells, buttoning indicates the presence of antibodies in the serum. The antibody titre

- is the dilution at which there is 50% buttoning and 50% lysis observed.

- 2.2.5.	Treatment of samples showing anti-complementary activity

- i)	Add 50 µl of guinea-pig complement to 150 µl of the serum showing anti-complementary

- activity.

- ii)	Incubate the sample at 37°C for 30 minutes.

- iii)	Add 550 µl of CFD (1:5 dilution).

- iv)	Heat inactivate at 60°C for 30 minutes.

472

473

1.	Background

## C. REQUIREMENTS FOR VACCINES

- Both live attenuated and inactivated vaccines are available for use in horses as licensed, commercially prepared products

- for use in reducing the impact of disease in horses caused by EHV-1/4 infection. The products contain different

- permutations of EHV-1 and EHV-4 and some also include equine influenza virus.

- Clinical experience has demonstrated that vaccination can be useful for reducing clinical signs of respiratory disease and

- incidence of abortion, however none of the vaccines protects against neurological disease. Multiple doses repeated

- annually, of each of the currently marketed ER vaccines are recommended by their respective manufacturers. Vaccination

- schedules vary with a particular vaccine.

- The indications stated on the product label for use of several available vaccines for ER are either as a preventative of

- herpesvirus-associated respiratory disease, or as an aid in the prevention of abortion, or both. A minority of Only four

- vaccine products have met the regulatory requirements for claiming efficacy in providing protection from herpesvirus

- abortion as a result of successful vaccination and challenge experiments in pregnant mares. None of the vaccine products

- have been demonstrated to prevent the occurrence of neurological disease sometimes associated with EHV-1 infection.

- Guidelines for the production of veterinary vaccines are given in Chapter 1.1.8 Principles of veterinary vaccine production.

- The guidelines given here and in chapter 1.1.8 are intended to be general in nature and may be supplemented by national

- and regional requirements.

#### 2.	Outline of production and minimum requirements for vaccines

##### 2.1.	Characteristics of the seed

- The master seed virus (MSV) for ER vaccines must be prepared from strains of EHV-1 and/or EHV-4 that have been

- positively and unequivocally identified by both serological and genetic tests. Seed virus must be propagated in a cell

- line approved for equine vaccine production by the appropriate regulatory agency. A complete record of original

- source (including isolate number, location, year of isolation), passage history, medium used for propagation, etc.,

- shall be kept for the master seed preparations of both the virus(es) and cell stock(s) intended for use in vaccine

- production.

- 2.1.1.	Biological characteristics of the master seed

- Permanently stored stocks of both MSV and master cell stock (MCS) used for vaccine production

- must be demonstrated to be pure, safe and, in the case of MSV, also immunogenic.

- Generally, the fifth passage from the MSV and the twentieth passage from the MCS are the highest

- allowed for vaccine production. Results of all quality control tests on master seeds must be recorded

- and made a part of the licensee's permanent records.

- 2.1.2.	Quality criteria

- Tests for master seed purity include prescribed procedures that demonstrate the virus and cell seed

- stocks to be free from bacteria, fungi, mycoplasmas, and extraneous viruses. Special tests must be

- performed to confirm the absence of equine arteritis virus, equine infectious anaemia virus, equine

- influenza virus, equine herpesvirus-2, -3, and -5, equine rhinitis A and B viruses, the alphaviruses of

- equine encephalomyelitis, bovine viral diarrhoea virus (BVDV – common contaminant of bovine

- serum), and porcine parvovirus (PPV – potential contaminant of porcine trypsin). The purity check

- should also include the exclusion of the presence of EHV-1 from EHV-4 MSV and vice versa.

- 2.1.3.	Validation as a vaccine strain

- Tests for immunogenicity of the EHV-1/4 MSV stocks should be performed in horses on an

- experimental test vaccine prepared from the highest passage level of the MSV allowed for use in

- vaccine production. The test for MSV immunogenicity consists of vaccination of horses with low

- antibody titres to EHV-1/4, with doses of the test vaccine that will be recommended on the final

- product label. Second serum samples should be obtained and tested for significant increases in

- neutralising antibody titre against the virus, 21 days after the final dose.

- Samples of each lot of MSV to be used for preparation of live attenuated ER vaccines must be tested

- for safety in horses determined to be susceptible to the virulent wild-type virus, including pregnant

- mares in the last 4 months of gestation. Vaccine safety must be demonstrated in a ‘safety field trial’

- in horses of various ages from three different geographical areas. The safety trial should be

- conducted by independent veterinarians using a prelicensing batch of vaccine. EHV-1 vaccines

- making a claim for efficacy in controlling abortion must be tested for safety in a significant number of

- late gestation pregnant mares, using the vaccination schedule that will be recommended by the

- manufacturer for the final vaccine product.

##### 2.2.	Method of manufacture

- 2.2.1.	Procedure

- A detailed protocol of the methods of manufacture to be followed in the preparation of vaccines for

- ER must be compiled, approved, and filed as an Outline of Production with the appropriate licensing

- agency. Specifics of the methods of manufacture for ER vaccines will differ with the type (live or

- inactivated) and composition (EHV-1 only, EHV-1 and EHV-4, EHV-4 and equine influenza viruses,

- etc.) of each individual product, and also with the manufacturer.

- 2.2.2.	Requirements for ingredients

- Cells, virus, culture medium, and medium supplements of animal origin that are used for the

- preparation of production lots of vaccine must be derived from bulk stocks that have passed the

- prescribed tests for bacterial, fungal, and mycoplasma sterility; nontumorgenicity; and absence of

- extraneous viral agents.

- 2.2.3.	Final product batch tests

- i)  Sterility

- Samples taken from each batch of completed vaccine are tested for bacteria, fungi, and mycoplasma

- contamination. Procedures to establish that the vaccine is free from extraneous viruses are also

- required; such tests should include inoculation of cell cultures that allow detection of the common

- equine viruses, as well as techniques for the detection of BVDV and PPV in ingredients of animal

- origin used in the production of the batch of vaccine.

- ii) Identity

- Identity tests shall demonstrate that no other vaccine strain is present when several strains are

- propagated in a laboratory used in the production of multivalent vaccines.

- iii) Safety

- Safety tests shall consist of detecting any abnormal local or systemic adverse reactions to the vaccine

- in the host species by all vaccination route(s). Tests to assure safety of each production batch of ER

- vaccine must demonstrate complete inactivation of virus (for inactivated vaccines) as well as a level

- of residual virus-killing agent that does not exceed the maximal allowable limit (e.g. 0.2% for

- formaldehyde).

- iv) Batch potency

- Batch potency is examined on the final formulated product. Batch control of antigenic potency for

- EHV-1 vaccines only may be tested by measuring the ability of dilutions of the vaccine to protect

- hamsters from challenge with a lethal dose of hamster-adapted EHV-1 virus. Although potency

- testing on production batches of ER vaccine may also be performed by vaccination of susceptible

- horses followed by assay for seroconversion, the recent availability of virus type-specific MAbs has

- permitted development of less costly and more rapid in-vitro immunoassays exist for antigenic

- potency. The basis for such in-vitro assays for ER vaccine potency is the determination, by use of

- the specific MAb, of the presence of at least the minimal amount of viral antigen within each batch of

- vaccine that correlates with the required level of protection (or seroconversion rate) in a standard

- animal test for potency.

##### 2.3.	Requirements for authorisation/registration/licencing

- 2.3.1.	Manufacturing process

- For registration of vaccine, all relevant details concerning manufacture of the vaccine and quality

- control testing (see Sections C.2.1 and C.2.2) should be submitted to the authorities. This information

- shall be provided from three consecutive vaccine batches with a volume not less than 1/3 of the

- typical industrial batch volume.

- 2.3.2	Safety requirements

- Vaccine safety should be evaluated in vaccinated animals using different assays (see Section

- 2.2.3.iii).

- 2.3.3	Efficacy requirements

- Vaccine efficacy (protection) is estimated in vaccinated animals directly by evaluating their resistance

- to live pathogen challenge.

- 2.3.4	Duration of immunity

- As part of the licensing or marketing authorisation procedure, the manufacturer may be required to

- demonstrate the duration of immunity (DOI) of a given vaccine by either challenge or alternative test

- at the end of the claimed period of protection.

- Tests to establish the duration of immunity to EHV-1/4 or EHV1/4 achieved by immunisation with

- each batch of vaccine are not required. The results of many reported observations indicate that

- immunity induced by vaccination-against EHV-1 or EHV induced immunity to EHV-1/4 is not more

- than a few months in duration; these observations are reflected in the frequency of revaccination

- recommended on ER vaccine product labels.

- 2.3.5	Stability

- As part of the licensing or marketing authorisation procedure, the manufacturer will be required to

- demonstrate the stability of all the vaccine’s properties at the end of the claimed shelf-life period.

- Storage temperature shall be indicated and warnings should be given if product is damaged by

- freezing or ambient temperature.

- At least three production batches of vaccine should be tested for shelf life before reaching a

- conclusion on the vaccine’s stability. When stored at 4°C, inactivated vaccine products generally

- maintain their original antigenic potency for at least 1 year. Lyophilised preparations of the live virus

- vaccine are also stable during storage for 1 year at 4°C. Following reconstitution, live virus vaccine

- is unstable and cannot be stored without loss of potency.

- Note: current vaccines are authorised for prevention of respiratory disease or as an aid in the prevention of abortion.

- Unless the vaccine’s ability to prevent neurological disease is under investigation, the virus used in the challenge

- experiments should not be a strain with a history of inducing neurological disease.

### REFERENCES

- ALLEN G.P. (2007). Development of a real-time polymerase chain reaction assay for rapid diagnosis of neuropathogenic

- strains of equine herpesvirus-1. J Vet. Diagn. Invest., 19, 69–72.

- ALLEN G.P. & BRYANS J.T. (1986). Molecular epidemiology, pathogenesis and prophylaxis of equine herpesvirus-1

- infections. In: Progress in Veterinary Microbiology and Immunology, Vol. 2, Pandey R., ed. Karger, Basel, Switzerland &

- New York, USA, 78–144.

- ALLEN G.P., KYDD J.H., SLATER J.D. & SMITH K.C. (1999). Recent advances in understanding the pathogenesis,

- epidemiology, and immunological control of equid herpesvirus-1 (EHV-1) abortion. Equine Infect. Dis., 8, 129–146.

- Allkofer A., Garvey M., Ryan E., Lyons R., Ryan M., Lukaseviciute G., Walsh C., Venner M. & Cullinane A. (2021).

- Primary vaccination in foals: a comparison of the serological response to equine influenza and equine herpesvirus vaccines

- administered concurrently or 2 weeks apart. Arch. Virol., 166, 571–579.

- ATASEVEN V.S., DAĞALP S.B., GÜZEL M., BAŞARAN Z., TAN M.T. & GERAGHTY B. (2009). Prevalence of equine herpesvirus-1

- and equine herpesvirus-4 infections in equidae species in Turkey as determined by ELISA and multiplex nested PCR. Res.

- Vet. Sci., 86, 339–344.

- BALASURIYA U.B.R., LEE P.-Y.A., TSAI Y.-L., TSAI C.-F., SHEN Y.-H., CHANG H.-F. G., SKILLMAN A., WANG H.-T.T., PRONOST S.

- & ZHANG Y. (2017). Translation of a laboratory-validated equine herpesvirus-1 specific real-time PCR assay into an

- insulated isothermal polymerase chain reaction (iiPCR) assay for point-of-need diagnosis using POCKIT™ nucleic acid

- analyzer. J. Virol. Methods, 241, 58–63.

- BANNAI H., MAE N., ODE H., NEMOTO M., TSUJIMURA K., YAMANAKA T., KONDO T. & MATSUMURA T. (2014). Successful control

- of winter pyrexias caused by equine herpesvirus type 1 in Japanese training centers by achieving high vaccination

- coverage. Clin. Vaccine Immunol., 21, 1070–1076.

- BANNAI H., TSUJIMURA K., NEMOTO M., OHTA M., YAMANAKA T., KOKADO H. & MATSUMURA T. (2019). Epizootiological

- investigation of equine herpesvirus type 1 infection among Japanese racehorses before and after the replacement of an

- inactivated vaccine with a modified live vaccine. BMC Vet. Res., 15, 280.

- BARBIC L., LOJKIC I., STEVANOVIC V., BEDEKOVIC T., STARESINA V., LEMO N., LOJKIC M. & MADIC J. (2012). Two outbreaks of

- neuropathogenic equine herpesvirus type 1 with breed-dependent clinical signs. Vet. Rec., 170, 227.

- BRESGEN C., LÄMMER M., WAGNER B., OSTERRIEDER N. & DAMIANI A.M. (2012). Serological responses and clinical outcome

- after vaccination of mares and foals with equine herpesvirus type 1 and 4 (EHV-1 and EHV-4) vaccines. Vet. Microbiol.,

- 160, 9–16.

- Couroucé A., Normand C., Tessier C., Pomares R., Thévenot J., Marcillaud-Pitel C., Legrand L., Pitel P.H., Pronost

- S. & LUPO C. (2023). Equine Herpesvirus-1 Outbreak During a Show-Jumping Competition: A Clinical and Epidemiological

- Study. J. Equine Vet. Sci., 128, 104869.

- BORCHERS K. & SLATER J. (1993). A nested PCR for the detection and differentiation of EHV-1 and EHV-4. J. Virol. Methods,

- 45, 331–336.

- BRYANS J.T. & ALLEN G.P. (1988). Herpesviral diseases of the horse. In: Herpesvirus Diseases of Animals, Wittman G., ed.

- Kluwer, Boston, USA, 176–229.

- CRABB B.S., MACPHERSON C.M., REUBEL G.H., BROWNING G.F., STUDDERT M.J. & DRUMMER H.E. (1995). A type-specific

- serological test to distinguish antibodies to equine herpesviruses 4 and 1. Arch. Virol., 140, 245–258.

- CRABB B.S. & STUDDERT M.J. (1995). Equine herpesviruses 4 (equine rhinopneumonitis virus) and 1 (equine abortion virus).

- Adv. Virus Res., 45, 153–190.

- DIALLO I.S., HEWITSON G., WRIGHT L., RODWELL B.J. & CORNEY B.G. (2006). Detection of equine herpesvirus type 1 using a

- real-time polymerase chain reaction. J. Virol. Methods, 131, 92–98.

- DIALLO I.S., HEWITSON G., WRIGHT L.L., KELLY M.A., RODWELL B.J. & CORNEY B.G. (2007). Multiplex real-time PCR for

- detection and differentiation of equid herpesvirus 1 (EHV-1) and equid herpesvirus 4 (EHV-4). Vet. Microbiol., 123, 93–

- 103.

- EL BRINI Z., FASSI FIHRI O. & PAILLOT R. (2021). Seroprevalence of Equine Herpesvirus 1 (EHV-1) and Equine Herpesvirus

- 4 (EHV-4) in the Northern Moroccan Horse Populations. Animals (Basel), 11, 2851.

- FÉDÉRATION EQUESTRE INTERNATIONALE (FEI) (2021), Management of an EHV-1 outbreak at FEI events and its international

- impact. Vet. Rec., 189, e905. https://doi.org/10.1002/vetr.905

- FOOTE C.E., GILKERSON J.R., WHALLEY J.M. & LOVE D.N. (2003). Seroprevalence of equine herpesvirus 1 in mares and foals

- on a large Hunter Valley stud farm in years pre- and postvaccination. Aust. Vet. J., 81, 283–288.

- GARVEY M., LYONS R. & HECTOR R.D. (2019). Molecular Characterisation of Equine Herpesvirus 1 Isolates from Cases of

- Abortion, Respiratory and Neurological Disease in Ireland between 1990 and 2017. Pathogens, 8, 7.

- GILDEA S., SANCHEZ HIGGINS M.J., JOHNSON G., WALSH C. & CULLINANE A. (2016). Concurrent vaccination against equine

- influenza and equine herpesvirus – a practical approach. Influenza Other Respir. Viruses, 10, 433–437.

- GILKERSON J. R., WHALLEY J. M., DRUMMER H. E., STUDDERT M.J. & LOVE D.N. (1999). Epidemiology of EHV-1 and EHV-4 in

- the mare and foal populations on a Hunter Valley stud farm: are mares the source of EHV-1 for unweaned foals. Vet.

- Microbiol., 68, 27–34.

- GRYSPEERDT A., VANDERKERCKHOVE A., VAN DOORSSELAERE J., VAN DE WALLE G., & NAUWYNCK H. (2011). Description of an

- unusually large outbreak of nervous system disorders caused by equine herpesvirus 1 (EHV1) in 2009 in Belgium. Vlaams

- Diergeneeskundig Tijdschrif, 80, 147–153.

- FRITSCHE A.K. & BORCHERS K. (2011). Detection of neuropathogenic strains of equid herpesvirus 1 (EHV-1) associated with

- abortions in Germany. Vet. Microbiol., 147, 176-180.

- GUNN H.M. (1992). A direct fluorescent antibody technique to diagnose abortion caused by equine herpesvirus. Irish Vet.

- J., 44, 37–40.

- Heldens J.G., Hannant D., Cullinane A.A., Prendergast M.J., Mumford J.A., Nelly M., Kydd J.H., Weststrate M.W. &

- VAN DEN HOVEN R.( 2001). Clinical and virological evaluation of the efficacy of an inactivated EHV1 and EHV4 whole virus

- vaccine (Duvaxyn EHV1,4). Vaccination/challenge experiments in foals and pregnant mares. Vaccine, 19, 4307–4317.

- HENNINGER R.W., REED S.M., SAVILLE W.J., ALLEN G.P., HASS G.F., KOHN C.W. & SOFALY C. (2007). Outbreak of neurologic

- disease caused by equine herpesvirus-1 at a university equestrian center. J. Vet. Intern. Med., 21, 157–165.

- Goodman L.B., Loregian A., Perkins G.A., Nugent J., Buckles E.L., Mercorelli B., Kydd J.H., Palù G., Smith K.C.,

- OSTERRIEDER N. & DAVIS-POYNTER N. (2007). A point mutation in a herpesvirus polymerase determines neuropathogenicity.

- PLoS Pathog., 3 (11), e160.

- HARTLEY C.A., WILKS C.R., STUDDERT M.J. & GILKERSON J.R. (2005). Comparison of antibody detection assays for the

- diagnosis of equine herpesvirus 1 and 4 infections in horses. Am. J. Vet. Res., 66, 921–928.

- HUSSEY S.B., CLARK R., LUNN K.F., BREATHNACH C., SOBOLL G., WHALLEY J.M. & LUNN D.P. (2006). Detection and

- quantification of equine herpesvirus-1 viremia and nasal shedding by real-time polymerase chain reaction. J. Vet. Diagn.

- Invest., 18, 335–342.

- KYDD J. H., WATTRANG E. & HANNANT D. (2003). Pre-infection frequencies of equine herpesvirus-1 specific, cytotoxic T

- lymphocytes correlate with protection against abortion following experimental infection of pregnant mares. Vet. Immunol.

- Immunopathol., 96, 207–217.

- LAWRENCE G.L., GILKERSON J., LOVE D.N., SABINE M. & WHALLEY J.M. (1994). Rapid, single-step differentiation of equid

- herpesvirus 1 and 4 from clinical material using the polymerase chain reaction and virus-specific primers. J. Virol. Methods,

- 47, 59–72.

- MCCARTAN C.G., RUSSELL M.M., WOOD J.L. & MUMFORD J.A. (1995). Clinical, serological and virological characteristics of

- an outbreak of paresis and neonatal foal disease due to equine herpesvirus-1 on a stud farm. Vet. Rec., 136, 7–12.

- MOORE, S.E., Strang, C.L., Marr, C.M., Newton, R. and Cameron, I.J. (2019), Management of an outbreak of multiple

- equine herpesvirus type 1 abortions among vaccinated mares on a large UK Thoroughbred stud farm. Vet Rec Case Rep,

- 7: e000799.

- NEMOTO M., OHTA M., TSUJIMURA K., BANNAI H., YAMANAKA T., KONDO T. & MATSUMURA T. (2011). Direct detection of equine

- herpesvirus type 1 DNA in nasal swabs by loop-mediated isothermal amplification (LAMP). J. Vet. Med. Sci., 73, 1225–

- 1227.

- Nugent J., Birch-Machin I., Smith K.C., Mumford J.A., Swann Z., Newton J.R., Bowden R.J., Allen G.P. & Davis-Poynter

- N. (2006). Analysis of equid herpesvirus 1 strain variation reveals a point mutation of the DNA polymerase strongly

- associated with neuropathogenic versus nonneuropathogenic disease outbreaks. J. Virol., 80, 4047–4060.

- PRONOST S., LEGRAND L., PITEL P.H., WEGGE B., LISSENS J., FREYMUTH F., RICHARD E. & FORTIER G. (2012). Outbreak of

- equine herpesvirus myeloencephalopathy in France: a clinical and molecular investigation. Transbound. Emerg. Dis., 59,

- 256–263.

- PUSTERLA N., KALSCHEUR M., PETERS D., BIDWELL L., HOLTZ S., BARNUM S. & LAWTON K. (2023). Investigation of the Frequency

- of Detection of Common Respiratory Pathogens in Nasal Secretions and Environment of Healthy Sport Horses Attending

- a Multi-Week Show Event during the Summer Months. Viruses, 15, 1225.

- Pusterla N., Sandler-Burtness E., Barnum S., Hill L.A., Mendonsa E., Khan R., Portener D., Ridland H. & Schumacher

- S. (2022). Frequency of Detection of Respiratory Pathogens in Nasal Secretions From Healthy Sport Horses Attending a

- Spring Show in California. J. Equine Vet. Sci, 117, 104089.

- PUSTERLA N., WILSON W.D., MAPES S., FINNO C., ISBELL D., ARTHUR R.M. & FERRARO G.L. (2009). Characterization of viral

- loads, strain and state of equine herpesvirus-1 using real-time PCR in horses following natural exposure at a racetrack in

- California. Vet. J., 179, 230–239.

- O’KEEFE J.S., JULIAN A., MORIARTY K., MURRAY A. & WILKS C.R. (1994). A comparison of the polymerase chain reaction with

- standard laboratory methods for the detection of EHV-1 and EHV-4 in archival tissue samples. N.Z. Vet. J., 42, 93–96.

- SCHULTHEISS P.C., COLLINS J.K. & CARMAN J. (1993). Use of an immunoperoxidase technique to detect equine herpesvirus-

- 1 antigen in formalin-fixed paraffin-embedded equine fetal tissues. J. Vet. Diagn. Invest., 5, 12–15.

- Singh B.K., Ahuja S. & Gulati B.R. (2004). Development of a neutralizing monoclonal antibody-based blocking ELISA for

- detection of equine herpesvirus 1 antibodies. Vet. Res .Commun., 28, 437–446.

- SMITH F.L., WATSON J.L., SPIER S.J., KILCOYNE I., MAPES S., SONDER C. & PUSTERLA N. (2018). Frequency of shedding of

- respiratory pathogens in horses recently imported to the United States. J. Vet. Intern. Med., 32, 1436–1441.

- Smith K.L., Li Y., Breheny P., Cook R.F., Henney P.J., Sells S., Pronost S., Lu Z., Crossley B.M., Timoney P.J. &

- BALASURIYA U.B. (2012). Development and validation of a new and improved allelic discrimination real-time PCR assay for

- the detection of equine herpesvirus-1 (EHV-1) and differentiation of A2254 from G2254 strains in clinical specimens. J.

- Clin. Microbiol., 50, 1981–1988.

- STRANG C. & NEWTON R. (2017). Control and disease clearance after neurological EHV-1 in the UK. Vet. Rec., 181, 678–

- 679.

- Sutton G., Garvey M., Cullinane A., Jourdan M., Fortier C., Moreau P., Foursin M., Gryspeerdt A., Maisonnier V.,

- MARCILLAUD-PITEL C., LEGRAND L., PAILLOT R. & PRONOST S. (2019). Molecular Surveillance of EHV-1 Strains Circulating in

- France during and after the Major 2009 Outbreak in Normandy Involving Respiratory Infection, Neurological Disorder, and

- Abortion. Viruses, 11, 916.

- TELFORD E.A.R., WATSON M.S., MCBRIDE K. & DAVISON A.J. (1992). The DNA sequence of equine herpesvirus-1. Virology,

- 189, 304–316.

- TELFORD E.A.R., WATSON M.S., PERRY J., CULLINANE A.A. & DAVISON A.J. (1998). The DNA sequence of equine herpesvirus

- 4. J. Gen. Virol., 79, 1197–1203.

- THOMSON G.R., MUMFORD J.A., CAMPBELL J., GRIFFITHS L. & CLAPHAM P. (1976). Serological detection of equid herpesvirus

- 1 infections of the respiratory tract. Equine Vet. J., 8, 58–65.

- THORSTEINSDÓTTIR L., GUÐMUNDSSON G., JENSSON H., TORSTEINSDÓTTIR S. & SVANSSON V. (2021). Isolation of equid

- alphaherpesvirus 3 from a horse in Iceland with equine coital exanthema. Acta Vet. Scand., 63, 6.

- VAN MAANEN C., VREESWIJK J., MOONEN P., BRINKHOF J. DE BOER-LUIJTZE E. & TERPSTRA C. (2000). Differentiation and

- genomic and antigenic variation among fetal, respiratory, and neurological isolates from EHV1 and EHV4 infections in The

- Netherlands. Vet. Q., 22, 88–93.

- VAN MAANEN C., WILLINK D.L., SMEENK L.A., BRINKHOF J. & TERPSTRA C. (2000). An equine herpesvirus 1 (EHV1) abortion

- storm at a riding school. Vet. Q., 22, 83–87.

- VARRASSO A., DYNON K., FICORILLI N., HARTLEY C.A., STUDDERT M.J. & DRUMMER H.E. (2001). Identification of equine

- herpesviruses 1 and 4 by polymerase chain reaction. Aust. Vet. J., 79, 563–569.

- WHITWELL K.E., GOWER S.M. & SMITH K.C. (1992). An immunoperosidase method applied to the diagnosis of equine

- herpesvirus abortion, using conventional and rapid microwave techniques. Equine Vet. J., 24, 10–12.

- YASUNAGA S., MAEDA K., MATSUMURA T., KONDO T. & KAI K. (2000). Application of a type-specific enzyme-linked

- immunosorbent assay for equine herpesvirus types 1 and 4 (EHV-1 and -4) to horse populations inoculated with inactivated

- EHV-1 vaccine. J. Vet. Med. Sci., 62, 687–691.

744	*

745	* *

- NB: There are WOAH Reference Laboratories for equine rhinopneumonitis (please consult the WOAH Web site:

- https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3).

- Please contact the WOAH Reference Laboratories for any further information on

- diagnostic tests, reagents and vaccines for equine rhinopneumonitis

- and to submit strains for further characterisation.

- NB: First adopted in 1990. Most recent updates adopted in 2017.