Annex 15. Item 5.1. – Chapter 3.8.12. Sheep pox and goat pox

2	MEETING OF THE BIOLOGICAL STANDARDS COMMISSION

3	Paris, 4–8 September 2023

4

5	CHAP T E R  3 . 8 . 1 2 .

# 6	S H E EP P OX A N D GOA T POX

7	SUMMARY

- Sheep pox and goat pox are contagious, viral diseases of sheep and goats characterised by fever,

- generalised papules or nodules, vesicles (rarely), internal lesions (particularly in the lungs), and death. Both

- diseases are caused by strains of capripoxvirus, all of which can infect sheep and goats. Although most of

- the strains examined cause more severe clinical disease in either sheep or goats, some strains have been

- isolated that are equally pathogenic in both species.

- Sheeppox virus (SPPV) and goatpox virus (GTPV) are the causative agents of sheep pox and goat pox, and

- with lumpy skin disease virus (LSDV) make up the genus Capripoxvirus in the family Poxviridae. Sheep pox

- and goat pox are endemic in Africa north of the Equator, the Middle East and Asia, while some parts of

- Europe have experienced outbreaks recently. See WAHIS (https://wahis.woah.org/#/home) for recent

- information on distribution at the country level. Countries that reported outbreaks of the disease between

- 2010 and 2015 include Bulgaria, Chinese Taipei, Israel, Kazakhstan, Kyrgyzstan, Mongolia, Morocco,

- Greece and Russia, with Greece, Israel and Russia having experienced recurring incidences.

- Identification of the agent: Laboratory confirmation of capripoxvirus is most rapid using the polymerase

- chain reaction (PCR) method in combination with a clinical history consistent with generalised capripoxvirus

- infection. Isolation of the virus is possible as capripoxviruses will grow on tissue culture of ovine, caprine or

- bovine origin, although field isolates may require up to 14 days to grow or require one or more additional

- tissue culture passage(s). The virus causes intracytoplasmic inclusions that can be clearly seen using

- haematoxylin and eosin staining. The antigen can also be detected in tissue culture using specific sera and

- immunoperoxidase or immunofluorescence techniques. Capripoxvirus antigen and inclusion bodies may be

- seen in stained cryostat or paraffin sections of biopsy or post-mortem lesion material.

- An antigen-detection enzyme-linked immunosorbent assay (ELISA) using a polyclonal detection serum

- raised against a recombinant immunodominant antigen of capripoxvirus has been developed.

- Serological tests: The virus neutralisation test is the most specific serological test. The indirect

- immunofluorescence test is less specific due to cross-reactions with antibody to other poxviruses. Western

- blotting using the reaction between the P32 antigen of capripoxvirus with test sera is both sensitive and

- specific, but is expensive and difficult to carry out. An enzyme-linked immunosorbent assay (ELISA) has

- been developed and validated to detect antibodies to capripoxviruses, however it cannot differentiate

- between SPPV, GTPV and LSDV.

- The use of this antigen, or other appropriate antigens expressed by a suitable vector, in an ELISA offers the

- prospect of an acceptable and standardised serological test in the future.

- Requirements for vaccines: Live and inactivated vaccines have been used for the control of

- capripoxviruses. All strains of capripoxvirus so far examined share a major neutralisation site and some will

- cross protect. Inactivated vaccines give, at best, only short-term immunity.

## 41	A. INTRODUCTION

- The Capripoxvirus genus, in the family Poxviridae, consists of three species – lumpy skin disease virus (LSDV), which

- causes disease in cattle only (see Chapter 3.4.12), and sheeppox virus (SPPV) and goatpox virus (GTPPV), which cause

- sheep pox and goat pox, respectively. Sheep pox and goat pox are characterised by disseminated cutaneous nodules and

- up to 100% mortality in fully susceptible breeds of sheep and goats. In indigenous animals, generalised disease and

- mortality are less common, although they are seen where disease has been absent from an area or village for a period of

- time, when intensive husbandry methods are introduced, or in association with other disease agents, such as peste des

- petits ruminants virus or foot and mouth disease virus. Sheep pox and goat pox are major constraints to the introduction

- of exotic breeds of sheep and goats to endemic areas, and to the development of intensive livestock production.

- Strains of SPPV and GTPV can pass between sheep and goats, although most cause more severe clinical disease in only

- one their homologous host species. SPPV and GTPV are transboundary diseases that regularly spread into adjacent, non-

- endemic areas. Sheep pox and goat pox are endemic in Africa north of the Equator and parts of the Middle East and Asia

- (see WAHIS for most up-to-date information on distribution: https://wahis.woah.org/#/home). Outbreaks have been

- reported in non-endemic countries of Asia, Europe and the Middle East.

- The incubation period of sheep pox and goat pox is between 8 and 13 days following contact between infected and

- susceptible animals. It may be as short as 4 days following experimental infection by intradermal inoculation or mechanical

- transmission by insects. Some breeds of European sheep, such as Soay, may die of acute infection before the

- development of skin lesions. In other breeds there is an initial rise in rectal temperature to above 40°C, followed in 2–5

- days by the development of, at first, macules – small circumscribed areas of hyperaemia, which are most obvious on

- unpigmented skin – and then of papules – hard swellings of between 0.5 and 1 cm in diameter – which may cover the body

- or be restricted to the groin, axilla and perineum. Papules may be covered by fluid-filled vesicles, but this is rare. Some

- researchers have distinguished between a vesicular and nodular form of sheep pox and goat pox (Zro et al., 2014b).

- Within 24 hours of the appearance of generalised papules, affected animals develop rhinitis, conjunctivitis and enlargement

- of all the superficial lymph nodes, in particular the prescapular lymph nodes. Papules on the eyelids cause blepharitis of

- varying severity. As the papules on the mucous membranes of the eyes and nose ulcerate, so the discharge becomes

- mucopurulent, and the mucosae of the mouth, anus, and prepuce or vagina become necrotic. Breathing may become

- laboured and noisy due to pressure on the upper respiratory tract from the swollen retropharyngeal lymph nodes, due to

- the developing lung lesions.

- If the affected animal does not die in this acute phase of the disease, the papules start to become necrotic from ischaemic

- necrosis  following  thrombi  formation  in  the  blood  vessels  at  the  base  of  the  papule.  In  the  following

- 5–10 days the papules form scabs, which persist for up to 6 weeks, leaving small scars. The skin lesions are susceptible

- to fly strike, and secondary pneumonia is common. Anorexia is not usual unless the mouth lesions physically interfere with

- feeding. Abortion is rare.

- On post-mortem examination of the acutely infected animal, the skin lesions are often less obvious than on the live animal.

- The mucous membranes appear necrotic and all the body lymph nodes are enlarged and oedematous. Papules, which

- may be ulcerated, can usually be found on the abomasal mucosa, and sometimes on the wall of the rumen and large

- intestine, on the tongue, hard and soft palate, trachea and oesophagus. Pale areas of approximately 2 cm in diameter may

- occasionally be seen on the surface of the kidney and liver, and have been reported to be present in the testicles. Numerous

- hard lesions of up to 5 cm in diameter are commonly observed throughout the lungs, but particularly in the diaphragmatic

- lobes.

- The clinical signs and post-mortem lesions vary considerably with breed of host and strain of capripoxvirus. Indigenous

- breeds are less susceptible and frequently show only a few lesions, which could be confused with insect bites or contagious

- pustular dermatitis. However, lambs that have lost their maternally derived immunity, animals that have been kept isolated

- and animals brought into endemic areas from isolated villages, particularly if they have been subjected to the stress of

- moving long distances and mixing with other sheep and goats, and their pathogens, can often be seen with generalised

- and sometimes fatal capripoxvirus infections. Invariably there is high mortality in unprotected imported breeds of sheep

- and goats following capripoxvirus infection. Capripoxvirus is not infectious to humans.

## 88	B. DIAGNOSTIC TECHNIQUES

- Table 1. Test methods available for diagnosis of sheep pox and goat pox and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post- vaccination |
| Identification of the agent(a) |  |  |  |  |  |  |
| Virus isolation | + | ++ | + | +++ | + | – |
| Antigen detection | ++ | ++ | ++ | ++ | ++ | – |
| IFAT | + | + | + | ++ | + | – |
| IHC | + | + | + | ++ | + | – |
| PCR | ++ | +++ | ++ | +++ | ++ | – |
| Detection of immune response |  |  |  |  |  |  |
| VNT | ++ | ++ | ++ | ++ | ++ | ++ |
| IFAT | + | + | + | + | + | + |
| ELISA | ++ | ++ | ++ | ++ | ++ | ++ |

- Key: +++ = recommended for this purpose; ++ recommended but has limitations;

91	+ = suitable in very limited circumstances; – = not appropriate for this purpose.

- IFAT = indirect fluorescent antibody test; IHC = ; immunohistochemistry; PCR = polymerase chain reaction;

- VNT = virus neutralisation; ELISA = enzyme-linked immunosorbent assay.

- (a)A combination of agent identification methods applied on the same clinical sample is recommended.

#### 1.	Identification of the agent

##### 1.1.	Specimen collection and submission

- Material for virus isolation and antigen detection should be collected by biopsy or at post-mortem from skin papules,

- lung lesions or lymph nodes. Samples for virus isolation and antigen-detection enzyme-linked immunosorbent assay

- (ELISA) should be collected within the first week of the occurrence of clinical signs, before the development of

- neutralising antibodies. Samples for genome detection by polymerase chain reaction (PCR) may be collected before

- or after the development of neutralising antibody responses. Buffy coat from blood collected into EDTA (ethylene

- diamine tetra-acetic acid) during the viraemic stage of capripoxvirus infection (before generalisation of lesions or

- within 4 days of generalisation), can also be used for virus isolation.

- Samples for histology should include tissue from the surrounding area and should be placed immediately following

- collection into ten times the sample volume of 10% formalin or neutral buffered 10% formal saline. Tissues in formalin

- have no special transportation requirements.

- Blood samples, for virus isolation from the buffy coat, should be collected in tubes containing anticoagulant, placed

- immediately on ice and processed as soon as possible. In practice, the blood samples may be kept at 4°C for up to

- 2 days prior to processing, but should not be frozen or kept at ambient temperatures. Tissues and dry scabs for virus

- isolation, antigen detection and genome detection should preferably be kept at 4°C, on ice or at –20°C. If it is

- necessary to transport samples over long distances without refrigeration, the medium should contain 10% glycerol;

- the samples should be of sufficient size that the transport medium does not penetrate the central part of the biopsy,

- which should be used for virus isolation/detection.

##### 1.2.	Virus isolation

- Lesion material for virus isolation and antigen detection is homogenised. The following is an example of one technique

- for homogenisation: The tissue is minced using sterile scissors and forceps, and then macerated in a steel ball bearing

- mixer mill or ground with a sterile pestle in a mortar with sterile sand and an equal volume of sterile phosphate

- buffered saline (PBS) or serum-free Modified Eagle’s Medium (MEM) containing sodium penicillin (1000 international

- units [IU]/ml), streptomycin sulphate (1 mg/ml), mycostatin (100 IU/ml) or fungizone (2.5 µg/ml) and neomycin

- (200 IU/ml). The homogenised suspension is freeze–thawed three times and then partially clarified by centrifugation

- using a bench centrifuge at 600 g for 10 minutes. In cases where bacterial contamination of the sample is expected

- (such as when virus is isolated from skin samples), the supernatant can be filtered through a 0.45 µm pore size filter

- after the centrifugation step, however, the amount of virus in the supernatant might be reduced. Buffy coats may be

- prepared from 5–8 ml unclotted blood by centrifugation at 600 g for 15 minutes; the buffy coat is carefully removed

- into 5 ml of cold double-distilled water using a sterile Pasteur pipette. After 30 seconds, 5 ml of cold double-strength

- growth medium is added and mixed. The mixture is centrifuged at 600 g for 15 minutes, the supernatant is discarded

- and the cell pellet is suspended in 5 ml of growth medium, such as Glasgow’s modified Eagle’s medium (GMEM).

- After centrifugation at 600 g for a further 15 minutes, the resulting pellet is suspended in 5 ml of fresh GMEM.

- Alternatively, the buffy coat may be separated from a heparinised sample using a density gradient.

- Capripoxvirus will grow in tissue culture of bovine, ovine or caprine origin, although primary or secondary cultures of

- lamb testis (LT) or lamb kidney (LK) cells are considered to be the most susceptible. Care needs to be taken to ensure

- they are not contaminated with viruses such as bovine viral diarrhoea virus, particularly those derived from a wool

- sheep breed (see chapter 1.1.9). Madin–Darby bovine kidney (MDBK) cells have been shown to be suitable for

- capripoxvirus isolation (Fay et al., 2020). The following is an example of an isolation technique: either 1 ml of buffy

- coat cell suspension or 1 ml of clarified biopsy preparation supernatant is inoculated on to a 25 cm2 tissue culture

- flask of appropriate cells at 90% confluent LT or LK cells confluence, and the supernatant is allowed to adsorb for 1

- hour at 37°C. The culture is then washed with warm PBS and covered with 10 ml of a suitable medium, such as

- GMEM, containing antibiotics and 2% fetal calf serum. If available, tissue culture tubes containing LT or LK cells and

- a, flying cover-slips, or tissue culture microscope slides, are can also infected.

- The flasks should be examined daily for 7–14 days for evidence of cytopathic effect (CPE). Contaminated flasks

- should be discarded. Infected cells develop a characteristic CPE consisting of retraction of the cell membrane from

- surrounding cells, and eventually rounding of cells and margination of the nuclear chromatin. At first only small areas

- of CPE can be seen, sometimes as soon as 4 days after infection; over the following 4–6 days these expand to

- involve the whole cell sheet. If no CPE is apparent by day 7, the culture should be freeze–thawed three times, and

- clarified supernatant inoculated on to fresh LT or LK cell cultures. At the first sign of CPE in the flasks, or earlier if a

- number of infected cover-slips are being used, a cover-slip should be removed, fixed in acetone and stained using

- H&E. Eosinophilic intracytoplasmic inclusion bodies, which are variable in size but up to half the size of the nucleus

- and surrounded by a clear halo, are indicative of poxvirus infection. Syncytia formation is not a feature of capripoxvirus

- infection. If the CPE is due to capripoxvirus infection of the cell culture, it can be prevented or delayed by inclusion of

- specific anti-capripoxvirus serum in the medium; this provides a presumptive identification of the agent. Some strains

- of capripoxvirus have been adapted to grow on African green monkey kidney (Vero) cells, but these cells are not

- recommended for primary isolation.

##### 1.3.	Electron microscopy

- The characteristic poxvirus virion can be visualised using a negative-staining preparation technique followed by

- examination with an electron microscope. There are many different negative-staining protocols, an example is given

- below:

- Material from the original tissue suspension is prepared for transmission electron microscope examination, prior to

- centrifugation, by floating a 400-mesh hexagon electron microscope grid, with piloform-carbon substrate activated by

- glow discharge in pentylamine vapour, on to a drop of the suspension placed on parafilm or a wax plate. After 1

- minute, the grid is transferred to a drop of Tris/EDTA buffer, pH 7.8, for 20 seconds and then to a drop of 1%

- phosphotungstic acid, pH 7.2, for 10 seconds. The grid is drained using filter paper, air-dried and placed in the

- electron microscope. The capripoxvirus virion is brick shaped, covered in short tubular elements and measures

- approximately 290 × 270 nm. A host-cell-derived membrane may surround some of the virions, and as many as

- possible should be examined to confirm their appearance (Kitching & Smale, 1986).

- The virions of capripoxvirus are indistinguishable from those of orthopoxvirus, but, apart from Vaccinia virus, no

- orthopoxvirus causes lesions in sheep and goats. However, capripoxvirus is distinguishable from the virions of

- parapoxvirus, that cause contagious pustular dermatitis, as they are smaller, oval in shape, and each is covered in a

- single continuous tubular element, which appears as striations over the virion.

##### 1.4.	Histopathology

- Material for histopathology should be prepared by standard techniques. Following preparation, staining with

- haematoxylin and eosin (H&E), and mounting of the formalin-fixed biopsy material, a number of sections should be

- examined by light microscopy. On histological examination, the most striking aspects of acute-stage skin lesions are

- a massive cellular infiltrate, vasculitis and oedema. Early lesions are characterised by marked perivascular cuffing.

- Initially infiltration is by macrophages, neutrophils and occasionally eosinophils, and as the lesion progresses, by

- more macrophages, lymphocytes and plasma cells. A characteristic feature of all capripoxvirus infections is the

- presence of variable numbers of ‘sheep pox cells’ in the dermis. These sheep pox cells can also occur in other organs

- where microscopic lesions of sheep and goat pox are present. These cells are large, stellate cells with eosinophilic,

- poorly defined intracytoplasmic inclusions and vacuolated nuclei. Vasculitis is accompanied by thrombosis and

- infarction, causing oedema and necrosis. Epidermal changes consist of acanthosis, parakeratosis and

- hyperkeratosis. Changes in other organs are similar, with a predominant cellular infiltration and vasculitis. Lesions in

- the upper respiratory tract are characterised by ulceration.

##### 1.5.	Immunological methods

- 1.5.1.	Fluorescent antibody tests

- Capripoxvirus antigen can also be identified on infected cover-slips or tissue culture slides using fluorescent

- antibody tests. Cover-slips or slides should be washed and air-dried and fixed in cold acetone for 10 minutes.

- The indirect test using immune sheep or goat sera is subject to high background colour and nonspecific

- reactions. However, a direct conjugate can be prepared from sera from convalescent sheep or goats or from

- rabbits hyperimmunised with purified Capripoxvirus. Uninfected tissue culture should be included as a

- negative control because cross-reactions, due to antibodies to cell culture antigens, can cause problems. The

- fluorescent antibody tissue section technique has also been used on cryostat-prepared slides.

##### 1.6.	Nucleic acid recognition methods

- Amplification methods for detection of the viral DNA genome are specific to the genus Capripoxvirus DNA are and

- both specific and sensitive for detection throughout the course of disease, including before and after the emergence

- of antibody responses. These methods include conventional PCR, real-time PCR, and most recently loop-mediated

- isothermal amplification (LAMP). Nucleic acid recognition methods can be used to detect the Capripoxvirus genome

- in biopsy, swab or tissue culture samples.

- 1.6.1.	Conventional PCR methods

- Several conventional PCR methods have been reported with varying specificity for capripoxviruses

- in general, SPPV, or GTPV (Heine et al., 1999; Ireland & Binepal, 1998; Zro et al., 2014a). A

- conventional PCR assay that differentiates GTPV and LSDV from SPPV has been described (Lamien

- et al., 2011a). Conventional PCR methods are particularly useful for obtaining sufficient genetic

- material necessary for species identification by subsequent sequence and phylogenetic analysis (Le

- Goff et al., 2009).

- The conventional gel-based PCR method described below is a simple, fast and sensitive method for

- the detection of capripoxvirus genome in EDTA blood, semen or tissue culture samples (Tuppurainen

- et al., 2005).

- Test procedure

- The extraction method described below can be replaced using commercially available DNA extraction

- kits.

- i)	Freeze and thaw 200 µl of blood in EDTA, semen or tissue culture supernatant and suspend in

- 100 µl of lysis buffer containing 5 M guanidine thiocyanate, 50 mM potassium chloride, 10 mM

- Tris/HCl (pH 8); and 0.5 ml Tween 20.

- ii)	Cut skin and other tissue samples into fine pieces using a sterile scalpel blade and forceps.

- Grind with a pestle in a mortar. Suspend the tissue samples in 800 µl of the above mentioned

- lysis buffer.

- iii)	Add 2 µl of proteinase K (20 mg/ml) to blood samples and 10 µl of proteinase K (20 mg/ml) to

- tissue samples. Incubate at 56°C for 2 hours or overnight, followed by heating at 100°C for

- 10 minutes. Add phenol:chloroform:isoamylalcohol (25:24:1 [v/v]) to the samples in a 1:1 ratio.

- Vortex and incubate at room temperature for 10 minutes. Centrifuge the samples at 16,060 g

- for 15 minutes at 4°C. Carefully collect the upper, aqueous phase (up to 200 µl) and transfer

- into a clean 2.0 ml tube. Add two volumes of ice cold ethanol (100%) and 1/10 volume of 3 M

- sodium acetate (pH 5.3). Place the samples at –20°C for 1 hour. Centrifuge again at 16,060 g

- for 15 minutes at 4°C and discard the supernatant. Wash the pellets with ice cold 70% ethanol

- (100 µl) and centrifuge at 16,060 g for 1 minute at 4°C. Discard the supernatant and dry the

- pellets thoroughly. Suspend the pellets in 30 µl of nuclease-free water and store immediately at

- –20°C (Tuppurainen et al., 2005). Alternatively a column-based extraction kit may be used.

- iv)	The primers for this PCR assay were developed from the gene encoding the viral attachment

- protein. The size of the expected amplicon is 192 bp (Ireland & Binepal, 1998). The primers

- have the following gene sequences:

- Forward primer 5’-TCC-GAG-CTC-TTT-CCT-GAT-TTT-TCT-TAC-TAT-3’

- Reverse primer 5’-TAT-GGT-ACC-TAA-ATT-ATA-TAC-GTA-AAT-AAC-3’.

- v) DNA amplification is carried out in a final volume of 50 µl containing: 5 µl of 10 × PCR buffer,

- 1.5 µl of MgCl2 (50 mM), 1 µl of dNTP (10 mM), 1 µl of forward primer, 1 µl of reverse primer,

- 1 µl of DNA template (~10 ng), 0.5 µl of Taq DNA polymerase and 39 µl of nuclease-free water.

- The volume of DNA template required may vary and the volume of nuclease-free water must

- be adjusted to the final volume of 50 µl.

- vi) Run the samples in a thermal cycler as follows: 2 minutes at 95°C; then 45 seconds at 95°C,

- 50 seconds at 50°C and 1 minute at 72°C (34 cycles); 2 minutes at 72°C and hold at 4°C until

- analysis.

- vii) Mix 10 µl of each sample with loading dye and load onto a 1.5% agarose gel in TAE buffer

- (Tris/acetate buffer containing EDTA). Load a parallel lane with a 100 bp DNA-marker ladder.

- Electrophoretically separate the products using approximately 8–10 V/cm for 40–60 minutes

- and visualise with a suitable DNA stain and transilluminator.

- 1.6.2.	Real-time PCR methods

- Several highly sensitive and specific fluorescent detection-based real-time PCR methods have been

- developed and validated (Balinsky et al., 2008; Bowden et al., 2008; Das et al., 2012; Stubbs et al.,

- 2012). Each test detects a small conserved genetic locus within the capripoxvirus genome, but these

- methods do not discriminate between SPPV, GTPV or LSDV. Real-time PCR methods for direct

- capripoxvirus genotyping species differentiation without the need for gene sequencing have been

- described (Gelaye et al., 2013; Lamien et al., 2011b; Wolff et al., 2021).

- The real-time PCR method described below is a rapid, sensitive and specific method for the detection

- of DNA from SPPV, GTPV or LSDV. This assay will not differentiate between capripoxvirus species.

- DNA extraction from blood and tissue

- A number of DNA extraction kits are commercially available for the isolation of template DNA for real-

- time PCR. Manufacturer’s instructions should always be consulted for guidance on the appropriate

- method for the sample type being extracted. WOAH Reference Laboratories can be contacted for

- advice on suitable commercial kits.

- Real-time PCR

- i)	The real-time PCR method outlined below uses the primers and probe described by Bowden et

- al. (2008). and further validated by Stubbs et al. (2012). Cycling conditions and reagent

- concentrations can be altered to ensure optimal performance in individual laboratories.

- ii)	Forward and reverse primers should be prepared at concentrations of 20 µM. A minor grove

- binder (MGB) TaqMan probe should be prepared at a concentration of 10 µM.

- iii)	Forward primer: 5’-AAA-ACG-GTA-TAT-GGA-ATA-GAG-TTG-GAA-3’

- iv)	Reverse primer: 5’-AAA-TGA-AAC-CAA-TGG-ATG-GGA-TA-3’

- v)	Probe: 5’-FAM-TGG-CTC-ATA-GAT-TTC-CT-MGB-3’

- vi)	Mastermix is prepared by combining 10 µl of 2 × real-time PCR mastermix with 0.4 µl of forward

- primer, 0.4 µl of reverse primer, 0.5 µl of probe and 6.7 µl of RNase free water per reaction.

- vii)  Add 2 µl of extracted DNA to 18 µl of mastermix in a 96-well PCR plate or PCR strip and perform

- real-time PCR according to the example given below or similar method:

- viii) 95°C for 10 minutes followed by 45 cycles of 95°C for 15 seconds, 60°C for 60 seconds.

- Fluorescence detection should be performed at the end of each cycle.

- ix)	Following completion of the real-time PCR, a cycle threshold (CT) should be set. Samples with

- CT values less than 35 are considered positive. Samples with a CT value greater than 35 but

- less than 45 are considered inconclusive and require further investigation. Samples which do

- not yield a CT value, i.e. the amplification curve does not cross the threshold, are considered

- negative.

- 1.6.3.	Isothermal genome amplification

- Molecular tests using loop-mediated isothermal amplification (LAMP) to detect capripoxvirus

- genomes are reported to provide sensitivity and specificity similar to real-time PCR with a simpler

- method and at lower cost (Das et al., 2012; Murray et al., 2013). Field validation of the Das et al.

- (2012) LAMP method has been further reported by (Omoga et al., 2016) and a combination of this

- universal capripoxvirus test with two additional LAMP assays was reported to show utility in

- discriminating between GTPV and SPPV (Zhao et al., 2014).

#### 2.	Serological tests

##### 2.1.	Virus neutralisation

- A test serum can either be titrated against a constant titre of capripoxvirus (100 TCID50 [50% tissue culture infective

- dose]) or a standard capripoxvirus strain can be titrated against a constant dilution of test serum in order to calculate

- a neutralisation index. Because of the variable sensitivity of tissue culture to capripoxvirus, and the consequent

- difficulty of ensuring the use of 100 TCID50, the neutralisation index is the preferred method, although it does require

- a larger volume of test sera. The test is described using 96-well flat-bottomed tissue culture grade microtitre plates,

- but it can be performed equally well in tissue culture tubes with the appropriate changes to the volumes used, although

- it is more difficult to read an end-point in tubes. The use of Vero cells in the virus neutralisation test has been reported

- to give more consistent results (Kitching & Taylor, 1985).

- 2.1.1.	Test procedure

- i)	Test sera including a negative and a positive control are diluted 1/5 in Eagle’s/HEPES (N-2-

- hydroxyethylpiperazine, N-2-ethanesulphonic acid) and inactivated at 56°C for 30 minutes.

- ii)	Next, 50 µl of the first inactivated serum is added to columns 1 and 2, rows A to H of the

- microtitre plate. The second serum is placed in columns 3 and 4, the third in columns 5 and 6,

- the positive control serum is placed in columns 7 and 8, the negative control serum is placed in

- columns 9 and 10, and 50 µl of Eagle’s/HEPES without serum is placed in columns 11 and 12

- and to all wells of row H.

- iii)	A reference strain of capripoxvirus, usually a vaccine strain known to grow well in tissue culture,

- with a titre of over log10 6 TCID50 per ml is diluted in Eagle’s/HEPES in bijoux bottles to give a

- log dilution series of log10 5.0; 4.0; 3.5; 3.0; 2.5; 2.0; 1.5 TCID50 per ml (equivalent to log10 3.7;

- 2.7; 2.2; 1.7; 1.2; 0.7; 0.2 TCID50 per 50 µl).

- iv)	Starting with row G and the most diluted virus preparation, 50 µl of virus is added to each well

- in that row. This is repeated with each virus dilution, the highest titre virus dilution being placed

- in row A.

- v)	The plates are covered and incubated for 1 hour at 37°C.

- vi)	LT cells are An appropriate cell suspension (such as MDBK cells) is prepared from pregrown

- monolayers as a suspension of 105 cells/ml in Eagle’s medium containing antibiotics and 2%

- fetal calf serum. Following incubation of the microtitre plates, 100 µl of cell suspension is added

- to all the wells, except wells H11 and H12, which serve as control wells for the medium. The

- remaining wells of row H are cell and serum toxicity controls.

- vii)  The microtitre plates are covered and incubated at 37°C for 9 days.

- viii) Using an inverted microscope, the monolayers are examined daily starting at day 4 for evidence

- of CPE. There should be no CPE in the cells of row H. Using the 0240 KSGP vaccine strain of

- capripoxvirus, the final reading is taken on day 9, and the titre of virus in each duplicate titration

- is calculated according to the Kärber method. If left longer, there is invariably a ‘breakthrough’

- of virus in which virus that was at first neutralised appears to disassociate from the antibody.

- ix)	Interpretation of the results: The neutralisation index is the log titre difference between the titre

- of the virus in the negative serum and in the test serum. An index of ≥1.5 is positive. The test

- can be made more sensitive if serum from the same animal is examined before and after

- infection. Because immunity to capripoxvirus is predominantly cell mediated, a negative result,

- particularly following vaccination in which the response is necessarily mild, does not imply that

- the animal from which the serum was taken is not protected.

- A constant-virus/varying-serum method has been described using serum dilutions in the range

- 1/5 to 1/500 and fetal calf muscle cells. Because these cells have a lower sensitivity to

- capripoxvirus than LT cells, the problem of virus ‘breakthrough’ is overcome.

##### 2.2.	Indirect fluorescent antibody test

- Capripoxvirus-infected tissue culture grown on flying cover-slips or tissue culture microscope slides can be used for

- the indirect fluorescent antibody test. Uninfected tissue culture control, and positive and negative control sera, should

- be included in the test. The infected and control cultures are fixed in acetone at –20°C for 10 minutes and stored at

- 4°C. Dilutions of test sera are made in PBS, starting at 1/5, and positives are identified using an anti-sheep gamma-

- globulin conjugated with fluorescein isothiocyanate (Davies & Otema, 1978). Cross-reactions can occur with orf,

- bovine papular stomatitis virus and perhaps other poxviruses.

##### 2.3.	Western blot analysis

- Western blotting of test sera against capripoxvirus-infected cell lysate provides a sensitive and specific system for

- the detection of antibody to capripoxvirus structural proteins, although the test is expensive and difficult to carry out

- (Chand et al., 1994).

##### 2.4.	Enzyme-linked immunosorbent assay

- No validated ELISA is available for the serological diagnosis of SPP or GTP.

- Both in-house and commercial enzyme-linked immunosorbent assay (ELISAs) are available, but these tests cannot

- discriminate between antibodies to different capripoxviruses (LSD or SPP/GTP).

## 346	C. REQUIREMENTS FOR VACCINES

347	[THIS SECTION IS UNDER REVIEW IN THE 2024/2025 REVIEW CYCLE]

#### 1.	Background

##### 1.1.	Rationale and intended use of the product

- A variety of attenuated live and inactivated capripoxvirus vaccines has been used to provide protection against

- sheeppox and goatpox. All strains of capripoxvirus of ovine, caprine or bovine origin examined so far share a major

- neutralising site, so that animals recovered from infection with one strain are resistant to infection with any other strain

- (Capstick, 1961). Consequently, it is possible to use a single strain of capripoxvirus to protect both sheep and goats

- against all field strains of virus, regardless of whether their origin was in Asia or Africa (Kitching et al., 1986; Kitching

- & Taylor, 1985). However, field evidence suggests some strains are quite host-specific and are used only in sheep

- against SPPV and only in goat against GTPV.

- A number of strains of capripoxvirus have had widespread use as live vaccines (Davies & Mbugwa, 1985), for

- example the Romanian and RM-65 strains used mainly in sheep and the Mysore and Gorgan strains used in goats.

- The real identity of the commonly used Kenyan sheep and goat pox vaccine virus (KSGP) 0240 was recently shown

- to be actually LSDV (Tuppurainen et al., 2014). Virus strain identity and attenuation properties must be ascertained

- and taken into consideration when selecting vaccine strains for use in cattle, sheep and goats. The protective dose

- depends on the vaccine strain used. Immunity in sheep and goats against capripoxvirus following vaccination with

- the 0240 strain lasts over a year and the Romanian strain gave protection for at least 30 months.

- Killed vaccines produced from tissue culture contain only the intracellular mature virion form of the virus, and lack the

- less robust but biologically crucial extracellular enveloped virion form. As a result, the vaccine does not stimulate

- immunity against the extracellular enveloped virion, resulting in poor protection. Killed capripoxvirus vaccines provide,

- at best, only temporary protection.

#### 2.	Outline of production and minimum requirements for conventional vaccines

- General requirements set for the facilities used for the production of vaccines and for the documentation and record keeping

- throughout the whole manufacturing process are described in Chapter 1.1.8 Principles of veterinary vaccine production.

- The documentation should include the standard operating procedures (SOP) for the method of manufacture and each step

- for the testing of cells and reagents used in the process, each batches and the final product.

##### 2.1.	Characteristics of the seed

- 2.1.1.	Biological characteristics

- A strain of capripoxvirus used for vaccine production must be accompanied by a history describing

- its origin and tissue culture or animal passage. It must be safe to use in all breeds of sheep and goats

- for which it is intended, including pregnant and young animals. It must be non-transmissible, remain

- attenuated after further tissue culture passage, and provide complete protection against challenge

- with virulent field strains for a minimum of 1 year. A quantity of master seed vaccine virus should be

- prepared and stored in order to provide a consistent working seed for regular vaccine production.

- 2.1.2.	Quality criteria (sterility, purity, freedom from extraneous agents)

- Each master seed must be tested to ensure its identity and shown to be free from adventitious

- viruses, in particular pestiviruses, such as border disease and bovine viral diarrhoea virus, and free

- from contamination with bacteria, fungi and/or mycoplasmas. The general procedures for sterility or

- purity tests are described in chapter 1.1.9. The master seed must also be safe and produce no clinical

- reaction in all breeds of sheep or goats when given by the recommended route and stimulate

- complete immunity to capripoxvirus in all breeds of sheep and goats for at least 1 year. The necessary

- safety and potency tests are described in Section C.2.2.4 Final product batch tests.

##### 2.2.	Method of manufacture

- The method of manufacture should be documented as the Outline of Production.

- 2.2.1.	Procedure

- Vaccine seed should be lyophilised and stored in 2 ml vials at –20°C. It may be stored wet at –20°C,

- but when wet, is more stable at –70°C or lower. The virus should be cultured in primary or secondary

- LT or LK cells of wool sheep origin for maximum yield. Vero cells may also be used with suitably

- adapted strains.

- Vaccine batches are produced on fresh monolayers of secondary LT or primary LK cells. A vial of

- seed virus is reconstituted with GMEM or another appropriate medium and inoculated on to an LT or

- LK monolayer that has been previously washed with warm PBS, and allowed to adsorb for 15 minutes

- at 37°C before being overlaid with additional GMEM. After 4–6 days, there will be extensive (80–

- 90%) CPE. The culture should be examined for any evidence of nonspecific CPE, medium cloudiness

- or change in medium pH. The culture is freeze–thawed three times, the suspension removed and

- centrifuged at 600 g for 20 minutes. A second passage may be required to produce sufficient virus

- for a production batch. Live vaccine may be produced on roller bottles.

- The procedure is repeated and the harvests from individually numbered flasks are each mixed

- separately with an equal volume of sterile and chilled 5% lactalbumin hydrolysate and 10% sucrose,

- and transferred to individually numbered bottles for storage at –20°C. Prior to storage, 0.2 ml is

- removed from each bottle for sterility control. An additional 0.2 ml is removed for virus titration; 2 ml

- pools composed of 0.2 ml samples taken from ten bottles are used. A written record of all the

- procedures must be kept for all vaccine batches.

- Inactivated vaccines are produced, usually from unattenuated field strains of capripoxvirus, grown in

- tissue culture as described above, inactivated with 0.03% formaldehyde, and mixed with an equal

- volume of alhydrogel as adjuvant. Formaldehyde is no longer considered to be a suitable inactivant

- for certain viral vaccines because its mode of action cannot be guaranteed to be totally effective in

- inactivating all the live virus. This has not been fully investigated for capripoxvirus.

- 2.2.2.	Requirements for substrate and media

- The specification and source of all ingredients used in the manufacturing procedure should be

- documented and the freedom from extraneous agents: bacteria, fungi, mycoplasma and any other

- viruses should be tested. The detailed testing procedure is described in the chapter 1.1.9. The use

- of antibiotics must meet the requirements of the licensing authority.

- 2.2.3.	In-process controls

- i)  Cells

- Cells should be obtained from the testis or kidney of a healthy young lamb from a scrapie-free flock

- of a wool sheep breed. During cultivation, cells must be observed for any evidence of CPE, and for

- normal morphology (predominantly fibroblastic). They can usually be passaged successfully up to

- ten times. When used for vaccine production, uninfected control cultures should be grown in parallel

- and maintained for at least three additional passages for further observation. They should be checked

- for the presence of noncytopathic strains of bovine virus diarrhoea or border disease viruses by

- immunofluorescence or immunoperoxidase techniques. If possible, cells should be prepared and

- screened prior to vaccine production and stocked in 1–2 ml aliquots containing 2 × 107 cells/ml in

- sterile 10% DMSO (dimethyl sulphoxide) and 90% FBS (fetal bovine serum) solution stored in liquid

- nitrogen.

- ii) Serum

- Bovine serum used in the growth or maintenance medium must be free from transmissible spongiform

- encephalopathies (TSEs) and antibody to capripoxvirus, and tested for contamination with pestivirus

- or any other viruses, extraneous bacteria, mycoplasma or fungi.

- iii) Medium

- Medium must be tested free from contamination with pestivirus or any other viruses, extraneous

- bacteria, mycoplasma or fungi.

- iv) Virus

- Seed virus and final vaccine must be titrated in tissue culture tubes or microtitre plates. Vaccine

- samples must be examined for the presence of adventitious viruses including cytopathic and

- noncytopathic strains of pestivirus, and should be mixed with a high-titre capripoxvirus-immune

- serum that has tested negative for antibody to pestivirus to prevent the vaccine virus itself interfering

- with the test. The vaccine bulk can be held at –20°C or below until all sterility tests and titrations have

- been completed, at which time it should be freeze-dried in 1 ml aliquots in vials sufficient for 100

- doses. The vaccine harvest diluted with lactalbumin hydrolysate and sucrose should have a minimum

- titre log10 4.5 TCID50 per ml after freeze-drying, equivalent to a field dose of log10 2.5 TCID50. A further

- titration is carried out on five randomly chosen vials of the freeze-dried preparation to confirm the

- titre.

- 2.2.4.	Final product batch tests

- i)  Sterility/purity

- Tests for sterility and freedom from contamination of biological materials intended for veterinary use

- may be found in chapter 1.1.9.

- ii) Safety

- The safety studies should be demonstrated by statistically valid vaccination studies using

- seronegative young sheep and goats of known susceptibility to capripox virus. The procedure

- described is suitable for vaccine strains such as 0240 that are equally immunogenic in both sheep

- and goats. The choice of target animal should be adapted for strains with a more restricted host

- preference.

- iii) Potency

- Potency tests must be undertaken if the minimum immunising dose of the virus strain is not known.

- This is usually carried out by comparing the titre of a virulent challenge virus on the flanks of

- vaccinated and control animals. Following vaccination, the flanks of at least three animals and three

- controls are shaved of wool or hair. Log10 dilutions of the challenge virus are prepared in sterile PBS

- and six dilutions are inoculated intradermally (0.1 ml per inoculum) along the length of the flank; four

- replicates of each dilution are inoculated down the flank. An oedematous swelling will develop at

- possibly all 24 inoculation sites on the control animals, although preferably there will be little or no

- reaction at the four sites of the most dilute inocula. The vaccinated animals should develop an initial

- hypersensitivity reaction at sites of inoculation within 24 hours, which should quickly subside. Small

- areas of necrosis may develop at the inoculation site of the most concentrated challenge virus. The

- macule/papule is measured at between 8 and 10 days post-challenge. The titre of the challenge virus

- is calculated for the vaccinated and control animals; a difference of log10 titre > 2.5 is taken as

- evidence of protection.

##### 2.3.	Requirements for authorisation

- 2.3.1.	Safety requirements

- i)  Target and non-target animal safety

- The vaccine must be safe to use in all breeds of sheep and goats for which it is intended, including

- young and pregnant animals. It must also be non-transmissible, remain attenuated after further tissue

- culture passage.

- Safety tests should be carried out on the final product of each batch as described in Section C.2.2.4.

- The safety of the vaccine in non-target animals must have been demonstrated using mice and

- guinea-pigs as described in Section C.2.2.4. There should be no evidence of pathology caused by

- the vaccine.

- ii) Reversion-to-virulence for attenuated/live vaccines

- The selected final vaccine should not revert to virulence during a further passages in target animals.

- iii) Environmental consideration

- Attenuated vaccine should not be able to perpetuate autonomously in cattle, sheep or goat

- populations. Vaccines using the 0240 strain should not be used in Bos taurus breeds. Strains of

- capripoxvirus are not a hazard to human health. There are no precautions other than those described

- above for sterility and freedom from adventitious agents.

- 2.3.2.	Efficacy requirements

- i)  For animal production

- The efficacy of the vaccine must be demonstrated in vaccination challenge experiment under

- laboratory conditions. As described in Section C.2.2.4.

- Once the potency of the particular strain being used for vaccine production has been determined in

- terms of minimum dose required to provide immunity, it is not necessary to repeat this on the final

- product of each batch, provided the titre of virus present has been ascertained.

- ii) For control and eradication

- Vaccination is the only effective way to control the sheep pox and goat pox outbreaks in endemic

- countries. Unfortunately, currently no marker vaccines allowing the differentiation of infected from

- vaccinated animals are available.

- Immunity to virulent field virus following vaccination of sheep or goats with the 0240 strain lasts over

- 1 year, and protection against generalised infection following intradermal challenge lasts at least

- 3 years and is effective lifelong. The duration of immunity produced by other vaccine strains should

- be ascertained in both sheep and goats by undertaking controlled trials in an environment in which

- there is no possibility of field strains of capripoxvirus confusing the results. The inactivated vaccines

- provide immunity for less than 1 year, and for the reasons given at the beginning of this section, may

- not give immunity to the form of capripoxvirus usually associated with natural transmission.

- 2.3.3.	Stability

- All vaccines are initially given a shelf-life of 24 months before expiry. Real-time stability studies are

- then conducted to confirm the appropriateness of the expiry date. Multiple batches of the vaccine

- should be re-titrated periodically throughout the shelf-life to determine the vaccine variability.

- Properly freeze-dried preparations of capripox vaccine, particularly those that include a protectant,

- such as sucrose and lactalbumin hydrolysate, are stable for over 25 years when stored at –20°C and

- for 2–4 years when stored at 4°C. There is evidence that they are stable at higher temperatures, but

- no long-term controlled experiments have been reported. The inactivated vaccines must be stored at

- 4°C, and their shelf- life is usually given as 1 year.

- No preservatives other than a protectant, such as sucrose and lactalbumin hydrolysate, are required

- for the freeze-dried preparation.

#### 3.	Vaccines based on biotechnology

##### 3.1.	Vaccines available and their advantages

- Currently, no recombinant vaccines for capripoxviruses are commercially available. However, a new generation of

- capripox vaccines is being developed that uses the capripoxvirus genome as a vector for the genes of other ruminant

- pathogens such as peste des petits ruminants (PPR) virus (Berhe et al., 2003; Tuppurainen et al., 2014).

##### 3.2.	Special requirements for biotechological vaccines, if any

- Not applicable.

### REFERENCES

- BALINSKY C.A, DELHON G, SMOLIGA G, PRARAT M, FRENCH R.A, GEARY S.J, ROCK D.L & RODRIGUEZ L.L. (2008). Rapid

- preclinical detection of sheep pox virus by a real-time PCR assay. J. Clin. Microbiol., 46, 438–442.

- Berhe G., Minet C., Le Goff C., Barrett T., Ngangnou A., Grillet C., Libeau G., Fleming M., Black D.N. & Diallo A.

- (2003). Development of a dual recombinant vaccine to protect small ruminants against peste-des-petits-ruminants virus

- and capripoxvirus infections. J. Virol., 77, 1571–1577.

- BOWDEN T.R, BABIUK S.L, PARKYN G.R., COPPS J.S. & BOYLE D.B. (2008). Capripox virus tissue tropism and shedding: A

- quantitative study in experimentally infected sheep and goats. Virology , 371, 380–393.

- CAPSTICK P.B. (1961). Annual Report. Kenya Veterinary Department, Kenya, 45–47.

- CHAND P., KITCHING R.P. & BLACK D.N. (1994). Western blot analysis of virus-specific antibody responses to capripoxvirus

- and contagious pustular dermatitis infections in sheep. Epidemiol. Infect., 113, 377–385.

- DAS A., BABIUK S. & MCINTOSH M.T. (2012). Development of a loop-mediated isothermal amplification assay for rapid

- detection of capripoxviruses. J. Clin. Microbiol., 50, 1613–1620.

- DAVIES F.G. & MBUGWA G. (1985). The alterations in pathogenicity and immunogenicity of a Kenya sheep and goat pox

- virus on serial passage in bovine foetal muscle cell cultures. J. Comp. Pathol., 95, 565–576.

- DAVIES F.G. & OTEMA C. (1978). The antibody response in sheep infected with a Kenyan sheep and goat pox virus. J.

- Comp. Pathol., 88, 205–210.

- Fay P.C., Cook C.G., Wijesiriwardana N., Tore G., Comtet L., Carpentier A., Shih B., Freimanis G., Haga I.R. & Beard

- P.M. (2020). Madin–Darby bovine kidney (MDBK) cells are a suitable cell line for the propagation and study of the bovine

- poxvirus lumpy skin disease virus. J. Virol. Methods, 285, 113943. doi: 10.1016/j.jviromet.2020.113943.

- GELAYE E., LAMIEN C.E., SILBER R., TUPPURAINEN E.S., GRABHERR R. & DIALLO A.(2013). Development of a cost-effective

- method for capripoxvirus genotyping using snapback primer and dsDNA intercalating dye. PLoS One, 8 (10): e75971.

- HEINE H.G., STEVENS M.P., FOORD A.J. & BOYLE D.B. (1999). A capripoxvirus detection PCR and antibody ELISA based on

- the major antigen P32, the homolog of the vaccinia virus H3L gene. J. Immunol. Methods, 227, 187–196.

- IRELAND D.C. & BINEPAL Y.S. (1998). Improved detection of capripoxvirus in biopsy samples by PCR. J. Virol. Methods, 74,

- 1–7.

- KITCHING R.P., HAMMOND J.M. & TAYLOR W.P. (1986). A single vaccine for the control of capripox infection in sheep and

- goats. Res. Vet. Sci., 42, 53–60.

- KITCHING R.P. & SMALE C. (1986). Comparison of the external dimensions of capripoxvirus isolates. Res. Vet. Sci., 41, 425–

- 427.

- KITCHING R.P. & TAYLOR W.P. (1985). Clinical and antigenic relationship between isolates of sheep and goat pox viruses.

- Trop. Anim. Health Prod., 17, 64–74.

- Lamien C.E., Goff C.L., Silber R., Wallace D.B., Gulyaz V., Tuppurainen E., Madani H., Caufour P., Adam T., El Harrak

- M., LUCKINS A.G., ALBINA E. & DIALLO A. (2011a). Use of the Capripoxvirus homologue of Vaccinia virus 30kDa RNA

- polymerase subunit (RPO30) gene as a novel diagnostic and genotyping target: development of a classical PCR method

- to differentiate Goat poxvirus from Sheep poxvirus. Vet. Microbiol., 149, 30–39. doi: 10.1016/j.vetmic.2010.09.038.

- LAMIEN C.E., LELENTA M., GOGER W., SILBER R., TUPPURAINEN E., MATIJEVIC M., LUCKINS A.G. & DIALLO A. (2011b). Real time

- PCR method for simultaneous detection, quantitation and differentiation of capripoxviruses. J. Virol. Methods, 171, 134–

- 140.

- Le Goff C., Lamien C.E., Fakhfafh E., Chadeyras A., Abu-Adulugbad E., Libeau G., Tuppurainen E., Wallace D., Adam T.,

- SILBER R., GULYAZ V., MADANI H., CAUFOUR P., HAMAMMI S., DIALLO A. & ALBINA E. (2009). Capripoxvirus G-protein-coupled

- chemokine receptor, a host-range gene suitable for virus-animal origin discrimination. J. Gen. Virol., 90, 67–77.

- MURRAY L., EDWARDS L., TUPPURAINEN E.S., BACHANEK-BANKOWSKA K., OURA C.A., MIOULET V. & KING D.P. (2013). Detection

- of capripoxvirus DNA using a novel loop-mediated isothermal amplification assay. BMC Vet. Res., 9, 90.

- OMOGA D.C.A., MACHARIA M., MAGIRI E., KINYUA J., KASIITI J. & HOLTON T. (2016) Molecular based detection, validation of a

- LAMP assay and phylogenetic analysis of capripoxvirus in Kenya. J. Adv. Biol. Biotech., 7, 1–12.

- STUBBS S., OURA C.A., HENSTOCK M., BOWDEN T.R., KING D.P. & TUPPURAINEN E.S. (2012). Validation of a high-throughput

- real-time polymerase chain reaction assay for the detection of capripoxviral DNA. J. Virol. Methods, 179, 419–422.

- Tuppurainen E.S.M., Pearson C.R., Bachanek-Bankowska K., Knowles N.J., Amareen S., Frost L., Henstock M.R.,

- LAMIEN C.E., DIALLO A. & MERTENS P.P.C. (2014). Characterization of sheep pox virus vaccine for cattle against lumpy skin

- disease virus. Antiviral Res., 109, 1–6.

- TUPPURAINEN E.S.M., VENTER E.H. & COETZER J.A.W. (2005). The detection of lumpy skin disease virus in samples of

- experimentally infected cattle using different diagnostic techniques. Onderstepoort J. Vet. Res., 72, 153–164.

- WOLFF J.,& BEER M. & Hoffmann B. (2021). Probe-Based Real-Time qPCR Assays for a Reliable Differentiation of Capripox

- Virus Species. Microorganisms, 9, 765. https://doi.org/10.3390/microorganisms9040765

- ZHAO Z., FAN B., WU G., YAN X., LI Y., ZHOU X., YUE H., DAI X., ZHU H., TIAN B., LI J. & ZHANG Q. (2014) Development of loop-

- mediated isothermal amplification assay for specific and rapid detection of differential goat Pox virus and Sheep Pox virus.

- BMC Microbiol., 14, 1–10.

- ZRO K., AZELMAT S., BENDOURO Y., KUHN J.H., EL FAHIME E. & ENNAJI M.M. (2014a). PCR-based assay to detect sheeppox

- virus in ocular, nasal, and rectal swabs from infected Moroccan sheep. J. Virol. Methods, 204, 38–43.

- ZRO K., ZAKHAM F., MELLOUL M., EL FAHIME E. & MUSTAPHA M. (2014b). A sheeppox outbreak in Morocco: isolation and

- identification of virus responsible for the new clinical form of disease. BMC Vet Res., 10, 31.

589	*

590	*  *

- NB: There are WOAH Reference Laboratories for sheep pox and goat pox (please consult the WOAH Web site:

- https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3).

- Please contact the WOAH Reference Laboratories for any further information on

- diagnostic tests, reagents and vaccines for sheep pox and goat pox

- NB: First adopted in 1989. Most recent updates adopted in 2017.