Annex 17. Item 5.1. – Chapter 3.10.4. Infection with Campylobacter jejuni and C. coli

2	MEETING OF THE BIOLOGICAL STANDARDS COMMISSION

3	Paris, 4–8 September 2023

4

5	CHAP T E R  3 . 1 0 . 4 .

# 6	INF E CT ION WIT H

7	CAMPYLOBACTER JEJUNI A N D C. COLI

8	SUMMARY

- Description of the disease: Campylobacter jejuni (C. jejuni) and Campylobacter coli (C. coli) can colonise

- the intestinal tract of most mammals and birds and are the most frequently isolated Campylobacter species

- in humans with gastroenteritis. Although poultry is the main reservoir of Campylobacter, transmission to

- humans is only partly through handling and consumption of poultry meat; other transmission routes are also

- considered to be important. This chapter focuses on C. jejuni and C. coli in primary livestock production with

- regard to food safety.

- Campylobacter jejuni and C. coli do not normally cause clinical disease in adult animals except for sporadic

- cases of abortion in ruminants and very rare cases of hepatitis in ostriches. The faecal contamination of

- meat (especially poultry meat) during processing is considered to be an important source of human food-

- borne disease. In humans, extraintestinal infections, including bacteraemia, can occur and some sequelae

- of infection, such as polyneuropathies, though rare, can be serious.

- Identification of the agent: In mammals and birds, detection of intestinal colonisation is based on the

- isolation of the organism from faeces, rectal swabs or caecal contents, or the use of polymerase chain

- reaction (PCR). Campylobacter jejuni and C. coli are thermophilic, Gram-negative, highly motile bacteria

- that, for optimal growth, require microaerobic environment and incubation temperatures of 37–42°C. Agar

- media containing selective antibiotics are required to isolate these bacteria from faecal/intestinal samples.

- Alternatively, their high motility can be exploited using filtration techniques for isolation. Enrichment

- techniques to detect intestinal colonisation are not routinely used. Preliminary confirmation of isolates can

- be made by examining the morphology and motility using a light microscope. The organisms in the log growth

- phase are short and S-shaped in appearance, while coccoid forms predominate in older cultures. Under

- phase-contrast microscopy the organisms have a characteristic rapid corkscrew-like motility. Phenotypic

- identification is based on reactions under different growth conditions. Biochemical and molecular tests,

- including PCR and MALDI-TOF (matrix assisted laser desorption ionisation–time of flight) mass

- spectrometry can be used to identify Campylobacter strains at species level. PCR assays can also be used

- for the direct detection of C. jejuni and C. coli.

- Serological tests: serological assays are not routinely in use for the detection of colonisation by C. jejuni

- and C. coli.

- Requirements for vaccines: There are no effective vaccines available for the prevention of enteric

- Campylobacter infections in birds or mammals.

38

- 1.	Disease

## A. INTRODUCTION

- Campylobacter jejuni and C. coli are generally considered commensals of livestock, domestic pet animals and birds. Large

- High numbers of Campylobacter have been isolated from young livestock with enteritis, including piglets, lambs and calves,

- but the organisms are also found in healthy animals. One specific C. jejuni clone has been associated with abortion in

- sheep (Tang et al., 2017). Outbreaks of avian hepatitis have been reported, but although C. jejuni is associated with the

- disease, it is not the causative agent (Jennings et al., 2011). Recently, a new Campylobacter was isolated as the causative

- agent of spotty liver disease in layers (Crawshaw et al., 2015). Campylobacter jejuni and C. coli are of interest mainly from

- the point of view food safety. Campylobacter is the main cause of human bacterial intestinal disease identified in many

- industrialised countries (Havelaar et al., 2013; Scallan et al., 2011 CDC, 2022; EFSA, 2021), and C. jejuni and C. coli

- together account for more than 90% of all human campylobacteriosis cases. Over 80% of cases are caused by C. jejuni

- and about 10% of cases are caused by C. coli. In humans, C. jejuni/C. coli infection is associated with acute enteritis and

- abdominal pain lasting for 7 days or more. Although such infections are generally self-limiting, complications can arise and

- may include bacteraemia, Guillain–Barré syndrome, reactive arthritis, and abortion (WHO, 2013). Attribution Studies have

- shown that the majority of campylobacteriosis cases in humans can be attributed to poultry and a smaller fraction to cattle

- (Mughini-Gras et al., 2012) is the main reservoir of Campylobacter and responsible for between 50 and 80% of the human

- infections. In the European Union (EU), an estimated 30 20–40% of the human infections are associated with handling and

- consumption of poultry meat while up to 80% of the strains infecting humans have their origin in the poultry reservoir

- (EFSA, 2010). ; but A considerable proportion of the poultry-derived strains has a non-poultry meat transmission route,

- e.g. via environmental contamination surface water (EFSA, 2010b, Mulder et al., 2020). Contact with pets and livestock,

- the consumption of contaminated water or raw milk and travelling in high prevalence areas are also considered risks factors

- in human disease (Domingues et al., 2012; Mughini-Gras et al., 2021). The control of Campylobacter in the food chain has

- now become a major target of agencies responsible for food safety world-wide.

- Laboratory manipulations should be performed with appropriate biosafety and containment procedures as determined by

- biorisk analysis (see Chapter 1.1.4 Biosafety and biosecurity: standard for managing biological risk in the veterinary

- diagnostic laboratory and animal facilities).

#### 2.	Taxonomy

- There are currently 34 43 Campylobacter species recognised (July 2023), but with the improved diagnostic techniques and

- genomic analysis, this number is expected to increase over time (cf List of prokaryotic names with standing in

- nomenclature: (https://lpsn.dsmz.de/genus/campylobacter http://www.bacterio.net/index.html). Members of the genus

- Campylobacter are typically Gram-negative, non-spore-forming, S-shaped or spiral shaped bacteria (0.2–0.8 0.5 µm wide

- and 0.5–5 8 µm long), with single polar flagella at one or both ends, conferring a characteristic corkscrew-like motility.

- These bacteria Campylobacter requires microaerobic conditions, but some strains also grow aerobically or anaerobically.

- They neither ferment nor oxidise carbohydrates. Some species, particularly C. jejuni, C. coli and C. lari, are thermophilic,

- growing optimally at 42°C. They can colonise mucosal surfaces, usually the intestinal tract, of most mammalian and avian

- species tested. The species C. jejuni includes two subspecies (C. jejuni subsp. jejuni and C. jejuni subsp. doylei) that can

- be discriminated on the basis of several phenotypic tests, but this subspeciation has no added value for epidemiological

- or intervention purposes (nitrate reduction, selenite reduction, sodium fluoride, and safranine) and growth at 42°C (subsp.

- doylei does not grow at 42°C) (Garrity, 2005). Subspecies jejuni is much more frequently isolated then subspecies doylei.

## 77	B. DIAGNOSTIC TECHNIQUES

- Table 1. Test methods available for the diagnosis of Campylobacter jejuni and C. coli and their purpose

| Method | Purpose(a) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post- vaccination |
| Agent identification(b) |  |  |  |  |  |  |
| Isolation | +++ | – | – +++ | +++ | +++ | – |
| MALDI-TOF | +++ | – | +++ | +++ | +++ | – |

| Method | Purpose(a) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post- vaccination |
| Antigen detection | ++ | – | – ++ | – | +++ | – |
| 16S rRNA sequencing | ++ | – | ++ | ++ | ++ | – |
| Real-time PCR | +++ | – | – ++ | ++ | +++ | – |
| Detection of immune response: n/a for Campylobacter jejuni and C. coli |  |  |  |  |  |  |

- Key: +++ = recommended for this purpose; ++ recommended but has limitations;

80	+ = suitable in very limited circumstances; – = not appropriate for this purpose.

- MALDI-TOF = matrix assisted laser desorption ionisation–time of flight; PCR = polymerase chain reaction.

- (a)Regarding the control of the agent: Campylobacter jejuni and C. coli are endemic globally and very rarely cause disease. These

- species are of interest from the point of view of food safety. There is no eradication programme. For broiler flocks there are worldwide

- efforts to try to prevent colonisation with C. jejuni and C. coli to prevent contamination of the carcasses during slaughter. Therefore, only

- the columns ‘population freedom’ (= broiler flock) and prevalence of infection surveillance are filled in where “infection” should be read

- as “colonisation”.

- (b)A combination of agent identification methods applied on the same clinical sample is recommended.

#### 1.	Isolation and identification of the agent

- Two ISO (International Organization for Standardization) procedures for detection of Campylobacter exist. ISO 10272

- describes a horizontal method for detection and enumeration of thermotolerant Campylobacter spp. (ISO 10272) in food

- and animal feeding stuffs with 2 parts: (part 1 detection method (ISO 10272-1:2017) and part 2 colony count technique

- (ISO 10272-2:2017). Both parts of the ISO are under revision and will be published in 2017. The revised standard will

- include methods for the isolation of Campylobacter from live animals, and a procedure for ISO 17995 concerns water

- quality, with detection and enumeration of thermotolerant Campylobacter spp. from water (ISO, 2005 – last reviewed in

- 2014).

##### 1.1.	Collection of specimens

- 1.1.1.	Poultry at the farm

- Poultry is frequently colonised with C. jejuni (65–95%), less often with C. coli and rarely with other

- Campylobacter species (Newell & Wagenaar, 2000 Wagenaar et al., 2023). Colonisation rates in

- broiler chickens are age-related. Most flocks are negative until 2 weeks of age. Once Campylobacter

- colonisation occurs in a broiler flock, transmission, via exposure to faecal contamination, is extremely

- rapid and up to 100% of birds within a flock can become colonised within a few days. Samples from

- live birds, destined for the food chain, should therefore be taken as close to slaughter as possible

- (Newell & Wagenaar, 2000 Wagenaar et al., 2023). The majority of birds shed large numbers of

- organisms (>106 colony-forming units/g faeces). Campylobacters can be isolated from fresh

- faeces/caecal droppings or cloacal swabs. For reliable detection of Campylobacter by culture, freshly

- voided faeces (preferably without traces of urine) should be collected. Such samples must be

- prevented from drying out before culturing. When swabs are used, a transport medium such as

- Cary Blair, Amies, or Stuart must be used. Sampling strategy in primary poultry has been reviewed

- (Vidal et al., 2013) and is normally based on boot-swab samples, faecal/caecal droppings or cloacal

- swabs.

- 1.1.2.	Cattle, sheep and pigs at the farm

- Campylobacters are frequent colonisers of the intestine of livestock such as cattle, sheep and pigs;

- data have been reviewed by Newell et al., (in press 2017). Cattle and sheep are found to be colonised

- mainly with C. jejuni, C. coli, C. hyointestinalis, and C. fetus, whereas pigs are predominantly

- colonised by C. coli. In young animals, the numbers are higher than in older animals. In older animals,

- the organisms can be intermittently detected in faeces, probably due to low numbers or due to

- intermittent shedding. Fresh samples have to be taken (rectal samples if possible) and they should

- be prevented from drying out. When swabs are used, a transport medium (like Cary Blair, Amies,

- or Stuart) must be used.

- 1.1.3.	At slaughter

- In poultry, the caecal contents are usually used for the detection of Campylobacter. They Caeca can

- be cut with sterile scissors from the remaining part of the intestines and submitted intact to the

- laboratory in a suitable container.

- Samples from cattle, sheep and pigs are collected from the intestines by aseptically opening the gut

- wall or by taking guarded rectal swabs.

- At all stages from collecting the samples until they are processed in the laboratory, utmost attention

- should be given to make sure that campylobacters do not die. Follow the instructions for

- transportation and shipment carefully.

##### 1.2.	Transportation and treatment of specimens

- 1.2.1.	Transport

- Campylobacters are sensitive to environmental conditions, including dehydration, atmospheric

- oxygen, sunlight and elevated temperature. Transport to the laboratory and subsequent processing

- should therefore be as rapid as possible preferably the same day. , but It is recommended to process

- the samples within 72 hours, but if not possible, storage of samples is accepted up to 96 hours (Tast-

- Lahti et al., 2022) within at least 3 days. The samples must be protected from light, extreme

- temperatures and desiccation.

- No recommendation on the ideal temperature for transportation can be made, but it is clear that

- freezing or high temperatures can reduce viability. If possible, samples should be maintained at a

- temperature of 4°C (±2°C). High temperatures (>20°C), low temperatures (<0°C) and fluctuations in

- temperature must be avoided. When the time between sampling and processing is longer than 48

- hours, storage at 4°C (±2°C) is advised.

- 1.2.2.	Transport media

- Swabs: When samples are collected on boot-swabs or rectal swabs, the use of commercially

- available transport tubes, containing a medium, such as Cary Blair or Amies, is recommended. This

- medium may be plain agar or charcoal-based. The function of the medium is not for growth of

- Campylobacter spp., but to protect the swab contents from drying and the toxic effects of oxygen.

- When only small amounts of faecal/caecal samples can be collected and transport tubes are not

- available, shipment of the specimen in transport medium is recommended. Several transport media

- have been described: Amies, Cary-Blair, modified Cary-Blair, modified Stuart medium, Campy-

- thioglycolate medium, alkaline peptone water and semisolid motility test medium. Good recovery

- results have been reported using Cary-Blair (Luechtefeld et al., 1981; Sjogren et al., 1987).

- 1.2.3.	Maintenance of samples

- On arrival at the laboratory, samples should be processed as soon as possible, preferably on the day

- of arrival. It is recommended to process the samples within 72 hours, but if not possible, storage of

- samples is accepted up to 96 hours, whereby C. coli is more sensitive for long storage times than C.

- jejuni but no longer than 3 days after collecting the samples (Tast-Lahti et al., 2022). To avoid

- temperature variation, samples should only be refrigerated when they cannot be processed on the

- same day, otherwise they should be kept at room temperature when processed the same day. When

- samples are submitted or kept in the laboratory at 4°C, they should be allowed to equilibrate to room

- temperature before processing to avoid temperature shock.

- 1.3.	Isolation of Campylobacter

- For the isolation of Campylobacter from faecal/caecal or intestinal samples, no pre-treatment is needed;

- samples can be plated on selective medium or the filtration method on non-selective agar can be used. In the

- case of caecal samples, caeca are aseptically opened by cutting the end with a sterile scissors and squeezing

- out the material to be processed. Enrichment is recommended can be considered to enhance the culture

- sensitivity of potentially environmentally stressed organisms or in the case of low levels of organisms in faeces

- (ISO, 2017), for example from cattle, sheep or pigs. However, enrichment of faecal samples is usually subject

- to overgrowth by competing bacteria and is not carried out routinely. There is no need to use enrichment

- media to isolate Campylobacter from poultry caeca.

- 1.3.1.	Selective media for isolation

- Many media can be used in the recovery of Campylobacter spp. The selective medium modified

- charcoal, cefoperazone, desoxycholate agar (mCCDA), is the most commonly recommended

- medium and is prescribed in the ISO standard, although alternative media may be used (ISO, 2017).

- A detailed description on Campylobacter detection by culture and the variety of existing media is

- given by Corry et al. (1995; 2003). The selective media can be divided into two main groups: blood-

- based media and charcoal-based media. Blood components and charcoal serve to remove toxic

- oxygen derivatives. Most media are commercially available. The selectivity of the media is

- determined by the antibiotics used. Cefalosporins (generally cefoperazone) are used, sometimes in

- combination with other antibiotics (e.g. vancomycin, trimethoprim). Cycloheximide (actidione) and

- more recently Amphotericin B or cycloheximide are used to inhibit yeasts and molds (Martin et al.,

- 2002). The main difference between the media is the degree of inhibition of contaminating flora. All

- the selective agents allow the growth of both C. jejuni and C. coli. There is no medium available that

- allows growth of C. jejuni and inhibits C. coli or vice versa. To some extent, other Campylobacter

- species (e.g. C. lari, C. upsaliensis, C. helveticus, C. fetus and C. hyointestinalis) will grow on most

- media, especially at the less selective temperature of 37°C.

- Examples of selective blood-containing solid media:

- i)  Preston agar

- ii) Skirrow agar

- iii) Butzler agar

- iv) Campy-cefex

- Examples of charcoal-based solid media:

- i)  mCCDA (modified charcoal cefoperazone deoxycholate agar), slightly modified version of the

- originally described CCDA) (Bolton et al., 1984; 1988)

- ii) Karmali agar or CSM (charcoal-selective medium) (Karmali et al., 1986)

- iii) CAT agar (cefoperazone, amphotericin and teicoplanin), facilitating growth of C. upsaliensis

- (Aspinall et al., 1993).

- 1.3.2	Enrichment

- The ISO standard describes the isolation of Campylobacter from samples with low numbers of

- Campylobacter and high numbers of background flora by using Preston enrichment medium (ISO,

- 2017). This can be considered for samples from pigs, cattle and sheep. Samples are added to

- Preston broth with a 1 in 10 dilution (e.g. 10 g faecal sample with 90 ml broth) and incubated under

- microaerobic conditions for 24 hours at 41.5°C.

- After enrichment, campylobacters can be isolated on selective media as described before with plating

- one loop (10 µl) to solid media.

- 1.3.3.	Passive filtration

- Passive filtration, a method developed by Steele & McDermott (1984) obviates the need for selective

- media; thus it is very useful for the isolation of antimicrobial-sensitive Campylobacter species. As the

- method does not use expensive selective media, it may be used in laboratories with fewer resources.

- For passive filtration, faeces are mixed with PBS (approximately 1/10 dilution) to produce a

- suspension. Approximately 10–15 drops 100 µl of this suspension are then carefully layered on to a

- 0.45 or 0.65 µm sterile cellulose acetate filter, which has been previously placed on top of a non-

- selective blood agar plate. Care must be taken not to allow the inoculum to spill over the edge of the

- filter. The bacteria are allowed to migrate through the filter for 30–45 minutes at 37°C or room

- temperature (microaerobic conditions are not required) and the filter is then removed. The plate is

- incubated microaerobically at 37°C or 42°C.

- 1.3.4.	Incubation

- i)  Atmosphere

- Microaerobic atmospheres of 5–10% oxygen, 5–10% carbon dioxide are required for optimal growth

- (Corry et al., 2003; Vandamme, 2000). Appropriate atmospheric conditions may be produced by a

- variety of methods. In some laboratories, (repeated) gas jar evacuations followed by atmosphere

- replacement with bottled gasses are used. Gas generator kits are available from commercial sources.

- Variable atmosphere incubators are more suitable if large numbers of cultures are undertaken.

- ii) Temperature

- Media may be incubated at 37°C or 42°C, but it is common practice to incubate at 42°C to minimise

- growth of contaminants and to select for optimal growth of C. jejuni and C. coli. The fungistatic agents

- cycloheximide or amphothericin B or cycloheximide are added in order to prevent growth of yeasts

- and mould at 37°C (Bolton et al., 1988). In some laboratories, incubation takes place at 41.5°C to

- harmonise with Salmonella and Escherichia coli O157 isolation protocols (ISO, 2006).

- iii) Time

- Campylobacter jejuni and C. coli usually show growth on solid media within 24–48 hours at 37–42°C.

- As the additional number of positive samples obtained by prolonged incubation is very low, 48 hours

- of incubation is recommended for routine diagnosis (Bolton et al., 1988).

##### 1.4.	Confirmation

- A pure culture is required for confirmatory tests, but a preliminary confirmation can be obtained by direct microscopic

- examination of suspect colony material.

- 1.4.1.	Identification on solid medium

- On Skirrow or other blood-containing agars, characteristic Campylobacter colonies are slightly pink,

- round, convex, smooth and shiny, with a regular edge. On charcoal-based media such as mCCDA,

- the characteristic colonies are greyish, flat and moistened, with a tendency to spread, and may have

- a metal sheen.

- 1.4.2.	Microscopic examination of morphology and motility

- Material from a suspect colony is suspended in saline and evaluated, preferably by a phase-contrast

- microscope, for characteristic, spiral or curved slender rods with a corkscrew-like motility. Older

- cultures show less motile coccoïd forms.

- 1.4.3.	Detection of oxidase

- Take material from a suspect colony and place it on to a filter paper moistened with oxidase reagent.

- The appearance of a violet or deep blue colour within 10 seconds is a positive reaction. If a

- commercially available oxidase test kit is used, follow the manufacturer’s instructions.

- 1.4.4.	Aerobic growth at 25°C

- Inoculate the pure culture on to a non-selective blood agar plate and incubate at 25C in an aerobic

- atmosphere for 48 hours.

- 1.4.5.	Latex agglutination tests

- Latex agglutination tests for confirmation of pure cultures of C. jejuni and C. coli (often also including

- C. lari) are commercially available.

- 1.5. Biochemical identification of Campylobacter to the species level

- Among the Campylobacter spp. growing at 42°C, the most frequently encountered species from samples of animal

- origin are C. jejuni and C. coli. However, low frequencies of other species, including Helicobacter species, have been

- described. Generally, C. jejuni can be differentiated from other Campylobacter species on the basis of the hydrolysis

- of hippurate as this is the only hippurate-positive species isolated from veterinary or food samples. The presence of

- hippurate-negative C. jejuni strains has been reported (Steinhauserova et al., 2001). Table 2 gives some basic

- classical phenotypic characteristics of the most important thermophilic Campylobacter species (ISO, 2006 2017).

- More extensive speciation schemes have been described in the literature (On, 1996; Vandamme, 2000). Speciation

- results should be confirmed using defined positive and negative controls.

- Biochemical speciation may be supplemented or replaced with MALDI-TOF mass spectrometry. MALDI-TOF can be

- used to identify Campylobacter isolates rapidly and efficiently at the genus and species level (Bessede et al., 2011).

- Table 2. Basic phenotypic characteristics of selected thermophilic Campylobacter species

| Characteristics | C. jejuni | C. coli | C. lari |
| --- | --- | --- | --- |
| Hydrolysis of hippurate | +* | – | – |
| Hydrolysis of indoxyl acetate | + | + | – |
| Key: + = positive; – = negative; *not all strains. |  |  |  |

- The confirmatory tests for the presence of thermophilic campylobacters and the interpretation (ISO, 2006 2017) are

- given in Table 3. Confirm results of confirmation tests using positive and negative controls.

- Table 3. Confirmatory tests for thermophilic Campylobacter

| Confirmatory test | Result for thermophilic Campylobacter |
| --- | --- |
| Morphology | Small curved bacilli |
| Motility | Characteristic (highly motile and cork-screw like) |
| Oxidase | + |
| Aerobic growth at 25°C | – |

- 1.5.1.	Detection of hippurate hydrolysis

- Suspend a loopful of growth from a suspect colony in 400 µl of a 1% sodium hippurate solution (care

- should be taken not to incorporate agar). Incubate aerobically at 37°C for 2 hours, then slowly add

- 200 µl 3.5% ninhydrin solution to the side of the tube to form an overlay. Re-incubate at 37°C for 10

- 15–30 minutes, and read the reaction. Positive reaction: dark purple/blue. Negative reaction: clear or

- grey. If commercially available hippurate hydrolysis test disks are used, follow the manufacturer’s

- instructions. The hippurate hydrolysis test is not very robust and the test is often replaced by

- molecular tests (see below).

- 1.5.2.	Detection of indoxyl acetate hydrolysis

- Place a suspect colony on an indoxyl acetate disk and add a drop of sterile distilled water. If indoxyl

- acetate is hydrolysed a colour change to dark blue occurs within 5–10 minutes. No colour change

- indicates hydrolysis has not taken place. If commercially available indoxyl acetate hydrolysis test

- disks are used, follow the manufacturer’s instructions.

- Biochemical speciation may be supplemented or replaced with molecular methods or MALDI-TOF mass

- spectrometry. MALDI-TOF can be used to identify Campylobacter isolates rapidly and efficiently at the genus and

- species level (Bessede et al., 2011). A variety of DNA probes and polymerase chain reaction (PCR)-based

- identification assays has been described for the identification of Campylobacter species (On, 1996; Vandamme,

- 2000). On & Jordan (2003) evaluated the specificity of 11 PCR-based assays for C. jejuni and C. coli identification.

- A fast method to differentiate C. jejuni and C. coli strains is a duplex real-time PCR, targeting gene mapA for C. jejuni

- identification and gene CeuE for C. coli identification (Best et al., 2003). Another real-time PCR method commonly

- used to identify and differentiate between C. jejuni, coli and lari is described by Mayr et al. (2010). A gel-based method

- that is commonly used differentiates between C. jejuni, C. coli, C. lari and C. upsaliensis (Wang et al., 2002).

- Campylobacter isolates can also be molecular identified at species level with 16S rRNA sequencing (Gorkiewicz et

- al., 2003).

- 1.6.	Molecular detection and identification of Campylobacter

- Multiple PCR-based methods for the detection of Campylobacter in animal faecal samples and enriched meat

- samples have been extensively described in the literature (Bang et al., 2001 Lund et al., 2003; Olsen et al., 1995).

- Lund et al. describe a real-time PCR method to detect Campylobacter spp. in chicken faecal samples using magnetic

- bead DNA isolation followed by a real-time PCR targeting the 16S rRNA gene (Lund et al., 2003; 2004). For food

- samples, a combined method is described of Bolton broth enrichment and multiplex real-time PCR targeting gene

- mapA for C. jejuni, gene ceuE for C. coli and a ATP-binding protein for both C. jejuni and C. coli (Lanzl et al., 2022).

- Many molecular tests are available to identify Campylobacter species, but there is not a specific recommended one.

- Campylobacter isolates can be identified at species level with 16S rRNA sequencing (Gorkiewicz et al., 2003).

- Inclusion of positive and negative reference strains and process controls to detect inhibition of the PCR reaction by

- the sample matrix are required for all molecular Campylobacter detection methods.

- A variety of DNA probes and PCR-based identification assays has been described for the identification of

- Campylobacter species (Ferrari et al., 2023; Jribi et al., 2017). On & Jordan (2003) evaluated the specificity of

- 11 PCR-based assays for C. jejuni and C. coli identification. A fast method to differentiate C. jejuni and C. coli strains

- is a duplex real-time PCR, targeting gene mapA for C. jejuni identification and gene ceuE for C. coli identification

- (Best et al., 2003). Another real-time PCR method commonly used to identify and differentiate between C. jejuni, C.

- coli and C. lari is described by Mayr et al. (2010). Campylobacter isolates can also be identified at species level with

- 16S rRNA sequencing (Gorkiewicz et al., 2003).

##### 1.7.	Antigen-capture-based tests

- Enzyme immunoassays are available for the detection of Campylobacter in human and animal stool samples (Ricke

- et al., 2019). Some are of the lateral flow format. While antigen tests are convenient to use, in an evaluation study

- where human stool samples were tested with four commercial Campylobacter antigen tests, it was shown that no

- stool antigen test offered the necessary combination of high sensitivity, high specificity, and moderate to high positive

- predictive value needed in a standalone diagnostic test (Fitzgerald et al., 2016). By using antigen-capture-based

- tests, the sensitivity and specificity should be critically evaluated through an in-house validation.

#### 2.	Serological tests

- There are no serological assays in routine use for the detection of colonisation of C. jejuni or /C. coli in livestock.

## 322	C. REQUIREMENTS FOR VACCINES AND DIAGNOSTIC BIOLOGICALS

- There are no vaccines specifically developed for C. jejuni or C. coli in animals or birds.

### REFERENCES

- ASPINALL S.T., WAREING D.R.A., HAYWARD P.G. & HUTCHINSON D.N. (1993). Selective medium for thermophilic

- campylobacters including Campylobacter upsaliensis. J. Clin. Pathol., 46, 829–831.

- BANG D.D., PEDERSEN K. & MADSEN M. (2001). Development of a PCR assay suitable for Campylobacter spp. mass

- screening programs in broiler production. J. Rapid Methods Autom. Microbiol., 9, 97–113.

- BESSEDE E., SOLECKI O., SIFRE E., LABADI L. & MEGRAUD F. (2011). Identification of Campylobacter species and related

- organisms by matrix assisted laser desorption ionization–time of flight (MALDI-TOF) mass spectrometry. Clin. Microbiol.

- Infect., 17, 1735–1739.

- BEST E.L., POWEL E.J., SWIFT C., KATHLEEN A.G. & FROST J.A. (2003). Applicability of a rapid duplex real-time PCR assay

- for speciation of Campylobacter jejuni and Campylobacter coli directly from culture plates. FEMS Microbiol., 229, 237–241.

- BOLTON F.J., HUTCHINSON D.N. & COATES D. (1984). Blood-free selective medium for isolation of Campylobacter jejuni from

- faeces. J. Clin. Microbiol., 19, 169–171.

- BOLTON F.J., HUTCHINSON D.N. & PARKER G. (1988). Reassessment of selective agars and filtration techniques for isolation

- of Campylobacter species from faeces. Eur. J. Clin. Microbiol. Infect. Dis., 7, 155–160.

- CDC (CENTRES  FOR  DISEASE  CONTROL  AND  PROVENTION  [OF  THE  USA])  (2022)  FoodNet  Homepage,  CDC.

- https://www.cdc.gov/foodnet/index.html. Accessed 4 July 2023

- CORRY J.E.L., ATABAY H.I., FORSYTHE S.J. & MANSFIELD L.P. (2003). Culture media for the isolation of campylobacters,

- helicobacter and arcobacters. In: Handbook of Culture Media for Food Microbiology, Second Edition, Corry J.E.L., Curtis

- G.D.W. & Baird R.M. eds. Elsevier, Amsterdam, The Netherlands, 271–315.

- CORRY J.E.L., POST D.E., COLIN P. & LAISNEY M.J. (1995). Culture media for the isolation of campylobacters. Int. J. Food

- Microbiol., 26, 43–76.

- Crawshaw T.R., Chanter J.I., Young S.C., Cawthraw S., Whatmore A.M., Koylass M.S., Vidal A.B., Salguero F.J. &

- IRVINE R.M. (2015). Isolation of a novel thermophilic Campylobacter from cases of spotty liver disease in laying hens and

- experimental reproduction of infection and microscopic pathology. Vet. Microbiol., 179, 315–321.

- DOMINGUES A.R., PIRES S.M., HALASA T. & HALD T. (2012). Source attribution of human campylobacteriosis using a meta-

- analysis of case-control studies of sporadic infections. Epidemiol. Infect., 140, 970–981.

- EFSA (EUROPEAN FOOD SAFETY AUTHORITY) (2010). Scientific Opinion on Quantification of the risk posed by broiler meat to

- human campylobacteriosis in the EU. EFSA Panel on Biological Hazards (BIOHAZ). EFSA J., 8, 1437. [89 pp.].

- EFSA (EUROPEAN FOOD SAFETY AUTHORITY) (2021). The European Union one health 2020 Zoonoses report. EFSA J., 19.

- https://doi.org/10.2903/J.EFSA.2021.6971

- FERRARI S., ÁSTVALDSSON A., JERNBERG T., STINGL K., MESSELHÄUßER U. & SKARIN H. (2023). Validation of PCR methods for

- confirmation and species identification of thermotolerant Campylobacter as part of EN ISO 10272 – Microbiology of the

- food chain – Horizontal method for detection and enumeration of Campylobacter spp. Int. J. Food Microbiol., 388, 110064.

- doi: 10.1016/j.ijfoodmicro.2022.110064.

- Fitzgerald C., Patrick M., Gonzalez A., Akin J., Polage C.R., Wymore K., Gillim-Ross L., Xavier K., Sadlowski J.,

- Monahan J., Hurd S., Dahlberg S., Jerris R., Watson R., Santovenia M., Mitchell D., Harrison C., Tobin-D’Angelo M.,

- DeMartino M., Pentella M., Razeq J., Leonard C., Jung C., Achong-Bowe R., Evans Y., Jain D., Juni B., Leano F.,

- ROBINSON T., SMITH K., GITTELMAN R.M., GARRIGAN C. & NACHAMKIN I. (2016). Multicenter Evaluation of Clinical Diagnostic

- Methods for Detection and Isolation of Campylobacter spp. from Stool. J. Clin. Microbiol., 54, 1209–1215. doi:

- 10.1128/JCM.01925-15.

- GARRITY G.M. (Editor-in-Chief) (2005). Bergey’s Manual of Systematic Bacteriology, Second Edition. Springer-Verlag, New

- York, USA.

- GORKIEWICZ G., FEIERL G., SCHOBER C., DIEBER F., KÖFER J., ZECHNER R. & ZECHNER E.L. (2003). Species-specific

- identification of Campylobacters by partial 16S rRNA gene sequencing. J. Clin. Microbiol., 41, 2537–2546.

- HAVELAAR A.H., IVARSSON S., LÖFDAHL M. & NAUTA M.J. (2013). Estimating the true incidence of campylobacteriosis and

- salmonellosis in the European Union, 2009. Epidemiol. Infect., 141, 293–302.

- INTERNATIONAL ORGANIZATION FOR STANDARDIZATION (ISO) (2005). ISO 17995:2005. Water quality – Detection and

- enumeration of thermophilic Campylobacter species. International Organisation for Standardisation (ISO), ISO Central

- Secretariat, 1 rue de Varembé, Case Postale 56, CH - 1211, Geneva 20, Switzerland.

- INTERNATIONAL ORGANIZATION FOR STANDARDIZATION (ISO) (2017 2006). ISO 10272-1: 2017 2006 AND ISO/TS 10272-2: 2017

- 2006. Microbiology of food and animal feeding stuffs – Horizontal method for the detection and enumeration of

- Campylobacter spp. Part 1: Detection method; Part 2: Colony count technique. International Organisation for

- Standardisation (ISO), ISO Central Secretariat, 1 rue de Varembé, Case Postale 56, CH - 1211, Geneva 20, Switzerland.

- JENNINGS J.L., SAIT L.C., PERRETT C.A., FOSTER C., WILLIAMS L.K., HUMPHREY T.J. & COGAN T.A. (2011). Campylobacter jejuni

- is associated with, but not sufficient to cause vibrionic hepatitis in chickens. Vet. Microbiol., 149, 193–199.

- Jribi H., Sellami H., Mariam S., Smaoui S., Ghorbel A., Hachicha S., Benejat L., Messadi-Akrout F., Mégraud F. & Gdoura

- R. (2017). Isolation and Identification of Campylobacter spp. from Poultry and Poultry By-Products in Tunisia by

- Conventional Culture Method and Multiplex Real-Time PCR. J. Food Prot., 80, 1623–1627.

- KARMALI M.A., SIMOR A.E., ROSCOE M., FLEMING P.C., SMITH S.S. & LANE J. (1986). Evalutaion of a blood-free, charcoal-

- based, selective medium for the isolation of Campylobacter organisms from feces. J. Clin. Microbiol., 23, 456–459.

- LANZL M.I., ZWIETERING M.H., ABEE A. & DEN BESTEN H.M.W. (2022). Combining enrichment with multiplex real-time PCR

- leads to faster detection and identification of Campylobacter spp. in food compared to ISO 10272–1:2017. Food Microbiol.,

- 108, 104117.

- LUECHTEFELD N.W., WANG W.L., BLASER M.J. & RELLER L.B. (1981). Evaluation of transport and storage techniques for

- isolation of Campylobacter fetus subsp. jejuni from turkey cecal specimens. J. Clin. Microbiol., 13, 438–443.

- LUND M., NORDENTOFT S., PEDERSEN K. & MADSEN M. (2004). Detection of Campylobacter spp. in chicken fecal samples by

- real-time PCR. J. Clin. Microbiol., 42, 5125–5132.

- LUND M., WEDDERKOPP A., WAINO M., NORDENTOFT S., BANG D.D., PEDERSEN K. & MADSEN M. (2003). Evaluation of PCR for

- detection of Campylobacter in a national broiler surveillance programme in Denmark. J. Appl. Microbiol., 94, 929–935.

- MARTIN K.W., MATTICK K.L., HARRISON M. & HUMPHREY T.J. (2002). Evaluation of selective media for Campylobacter isolation

- when cycloheximide is replaced with amphotericin B. Lett. Appl. Microbiol., 34, 124–129.

- MAYR A.M., LICK S., BAUER J., THARIGEN D., BUSCH U. & HUBER I (2010). Rapid detection and differentiation of Campylobacter

- jejuni, Campylobacter coli and Campylobacter lari in food, using multiplex real-time PCR. J. Food Prot., 73, 241–250.

- Mughini-Gras L., Pijnacker R., Coipan C., Mulder A.C., Veludo A.F., de Rijk S., van Hoek A.H.A.M., Buij R., Muskens G.,

- Koene M., Veldman K., Duim B., van der Graaf-van Bloois L., van der Weijden C., Kuiling S., Verbruggen A., van der

- Giessen J., Opsteegh M., van der Voort M., Castelijn G.A.A., Schets F.M., Blaak H., Wagenaar J.A., Zomer A.L. & E.

- FRANZ (2021). Sources and transmission routes of campylobacteriosis: A combined analysis of genome and exposure data.

- J. Infect., 82, 216–226. https://doi.org/10.1016/J.JINF.2020.09.039

- Mughini-Gras L., Smid J.H., Wagenaar J.A., de Boer A.G., Havelaar A.H., Friesema I.H., French N.P., Busani L. & van

- PELT W. (2012). Risk factors for campylobacteriosis of chicken, ruminant, and environmental origin: a combined case-

- control and source attribution analysis. PLoS One, 7(8):e42599. doi: 10.1371/journal.pone.0042599.

- Mulder A.C., Franz E., de Rijk S., Versluis M.A.J., Coipan C., Buij R., Müskens G., Koene M., Pijnacker R., Duim B., van

- der Graaf-van Bloois L., Veldman K., Wagenaar J.A., Zomer A.L., Schets F.M., Blaak H. & Mughini-Gras L. (2020).

- Tracing the animal sources of surface water contamination with Campylobacter jejuni and Campylobacter coli. Water Res.,

- 187, 116421. doi: 10.1016/j.watres.2020.116421.

- NEWELL D.G., MUGHINI-GRAS L., KALUPAHANA R.S. & WAGENAAR J.A. (2017). Campylobacter epidemiology – sources and

- routes of transmission for human infection. Campylobacter: Features, Detection, and Prevention of Foodborne Disease,

- 85-110. Elsevier, Amsterdam, Netherlands.

- NEWELL D.G. & WAGENAAR J.A. (2000). Poultry infections and their control at the farm level. In: Campylobacter, Second

- Edition, Nachamkin I. & M.J. Blaser, eds. ASM Press, Washington DC, USA, 497–509.

- OLSEN J.E., ABO S., HILL W., NOTERMANS S., WERNARS K., GRANUM P.E., POPVIC T., RASMUSSEN H.N. & OLSVIK O. (1995).

- Probes and polymerase chain reaction for the detection of food-borne bacterial pathogens. Int. J. Food Microbiol. 28, 1–

- 78.

- ON S.L.W. (1996). Identification methods for Campylobacters, Helicobacters, and Related organisms. Clin. Microbiol. Rev.,

- 9, 405–422.

- ON S.L.W. & JORDAN P.J. (2003). Evaluation of 11 PCR assays for species-level identification of Campylobacter jejuni and

- Campylobacter coli. J. Clin. Microbiol., 41, 330–336.

- RICKE S.C., FEYE K.M., CHANEY W.E., SHI Z., PAVLIDIS H. & YANG Y. (2019). Developments in Rapid Detection Methods for

- the Detection of Foodborne Campylobacter in the United States. Front Microbiol., 9, 3280. doi: 10.3389/fmicb.2018.03280.

- SCALLAN E., HOEKSTRA R.M., ANGULO F.J., TAUXE R.V., WIDDOWSON M.A., ROY S.L., JONES J.L., GRIFFIN P.M. (2011).

- Foodborne illness acquired in the United States – major pathogens. Emerg. Infect. Dis., 17, 7–15.

- SJOGREN E., LINDBLOM G.B. & KAIJSER B. (1987). Comparison of different procedures, transport media, and enrichment

- media for isolation of Campylobacter species from healthy laying hens and humans with diarrhea. J. Clin. Microbiol., 25,

- 1966–1968.

- STEELE T.W. & MCDERMOTT S.N. (1984). The use of membrane filters applied directly to the surface of agar plates for the

- isolation of Campylobacter jejuni from feces. Pathology, 16, 263–265.

- STEINHAUSEROVA I., CESKOVA J., FOJTIKOVA K. & OBROVSKA I. (2001). Identification of thermophilic Campylobacter spp. by

- phenotypic and molecular methods. J. Appl. Microbiol., 90, 470–475.

- Tang Y., Meinersmann R.J., Sahin O., Wu Z., Dai L., Carlson J., Plumblee Lawrence J., Genzlinger L., LeJeune J.T. &

- ZHANG Q. (2017). Wide but Variable Distribution of a Hypervirulent Campylobacter jejuni Clone in Beef and Dairy Cattle in

- the United States. Appl. Environ. Microbiol., 83. https://doi.org/10.1128/AEM.01425-17

- TAST-LAHTI E., ROSENDAL T., JERNBERG T. & SKARIN H. (2022). Optimal detection of Campylobacter spp. in swine caecal

- contents – the impact of selective media, time between sampling and start of analysis and the number of colonies

- confirmed. Abstract book FoodMicro2022, 27th International ICFMH (International Committee on Food Microbiology and

- Hygiene) Conference, Athens, Greece.

- VANDAMME P. (2000). Taxonomy of the family Campylobacteraceae. In: Campylobacter, Second Edition, Nachamkin I. &

- M.J. Blaser, eds. ASM Press, Washington DC, USA, 3–26.

- VIDAL A.B., RODGERS J., ARNOLD M. & CLIFTON-HADLEY F. (2013). Comparison of different sampling strategies and laboratory

- methods for the detection of C. jejuni and C. coli from broiler flocks at primary production. Zoonoses Public Health, 60,

- 412–425.

- WAGENAAR J.A., NEWELL D.G., KALUPAHANA R.S. & MUGHINI-GRAS L. (2023). Campylobacter: Animal Reservoirs, Human

- Infections, and Options for Control. In: Zoonoses: Infections Affecting Humans and Animals, Sing A., eds. Springer, Cham.

- https://doi.org/10.1007/978-3-030-85877-3_6-1

- WANG G., CLARK C.G., TAYLOR T.M., PUCKNELL C., BARTON C., PRICE L., WOODWARD D.L. & RODGERS F.G. (2002). Colony

- multiplex PCR assay for identification and differentiation of Campylobacter jejuni, C. coli, C. lari, C. upsaliensis, and C.

- fetus subsp. fetus. J. Clin. Microbiol., 40, 4744–4747.

- WORLD HEALTH ORGANIZATION (WHO) (2013). The global view of campylobacteriosis: report of an expert consultation,

- Utrecht, Netherlands, 9–11 July 2012, WHO, Food and Agriculture Organization of the United Nations, World Organisation

- for Animal Health, eds. WHO, Geneva, Switzerland.

- http://www.who.int/iris/handle/10665/80751

454	*

455	* *

456	NB: There is a WOAH Reference Laboratory for campylobacteriosis

457	(please consult the WOAH Web site for the most up-to-date list:

458	https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3).

459	Please contact the WOAH Reference Laboratories for any further information on

460	diagnostic tests and reagents for campylobacteriosis

461	NB: First adopted in 2004. Most recent updates adopted in 2017.