Annex 18. Item 5.1. – Chapter 3.10.8. Toxoplasmosis

2	MEETING OF THE BIOLOGICAL STANDARDS COMMISSION

3	Paris, 4–8 September 2023

4

5	CHAP T E R  3 . 1 0 . 8 .

# 6	T OXOPL A SMOSI S

7	SUMMARY

- Toxoplasmosis is a zoonotic infection of animals caused by the protozoan parasite Toxoplasma gondii. This

- parasite has the potential to infect all warm-blooded animals. Although infection does not result in clinical

- illness in the majority of animal species, in some it causes acute life-threatening disease. In some animals,

- particularly small ruminants, Toxoplasma infection may manifest itself as a disease of pregnancy by

- multiplying in the placenta and fetus. In these animals it can result in abortion or the birth of weak offspring.

- Human infections are generally asymptomatic, but they can cause abortion in pregnant women, ocular

- disease, hydrocephalus or intracranial calcifications in congenitally infected children, ocular toxoplasmosis

- in immunocompetent individuals, and serious symptoms and even death in severely immunocompromised

- patients.

- Toxoplasma gondii is an obligate intracellular parasite that has a sexual cycle in Felidae and a two-stage

- asexual cycle in all warm-blooded animals. Globally the T. gondii population structure is diverse and the

- various genotypes are associated with the extent of virulence in particular hosts. In the acute phase of

- infection, tachyzoites multiply in host cells to cause varying degrees of tissue destruction. With the onset of

- an immune response, tachyzoites transform into bradyzoites that multiply slowly in cells to produce tissue

- cysts.

- Detection of the agent: In aborted fetuses and placenta, T. gondii is often difficult to find histologically, but

- is more likely to be seen in tissue sections of brain and placenta. Parasitic stages can be identified by

- immunohistochemistry, while nucleic acid-based assays might be used to confirm presence of parasite DNA

- in tissues and may allow genotyping of the parasite in biological specimens. In-vitro isolation of T. gondii

- from host samples is expensive, time consuming and rarely used.

- The sexual part of the life-cycle of T. gondii takes place exclusively in epithelial cells of the feline intestine

- and can result in the excretion of large numbers of oocysts in the faeces. Oocysts may remain viable in the

- environment for many months. Oocysts of T. gondii morphologically resemble those from Hammondia

- hammondi, a related but non-virulent parasite that also uses cats as definitive hosts. Nucleic acid-based

- molecular tests are available to distinguish between these related parasites.

- Serological tests: Among the easy-to-perform serological tests, the indirect fluorescent antibody test (IFAT)

- and the direct agglutination test (DAT) allow the titration of sera and the establishment of appropriate cut-

- offs to ensure diagnostic sensitivity and specificity. The IFAT can be used to differentiate IgM and IgG

- antibodies. The DAT is fast and requires no complex laboratory facilities. Enzyme-linked immunosorbent

- assays (ELISA) require more sophisticated laboratory equipment but can process large numbers of samples

- and are easier to standardise.

- Requirements for vaccines: A vaccine composed of live T. gondii tachyzoites is available commercially for

- use in sheep in certain countries. The vaccine is supplied as a concentrated suspension of tachyzoites with

- an approved diluent and delivery system. The vaccine must be handled strictly according to the

- manufacturer’s instructions as it can be hazardous to the user and has a very short shelf life.

## 43	A. INTRODUCTION

- Toxoplasma gondii is a zoonotic, obligate intracellular protozoan parasite with the capacity to infect all warm-blooded

- animals, including birds. Although clinical toxoplasmosis seldom occurs in the majority of animal species, acute life-

- threatening disease has been reported in some animals. In small ruminants, in particular, it manifests itself as a disease

- of pregnancy by multiplying in the placenta and fetus. Acute, potentially fatal, infections have been recorded from a range

- of wild or zoo animals (Dubey, 2022). Infected humans often show no symptoms, but congenital toxoplasmosis, postnatally

- acquired ocular toxoplasmosis in immunocompetent individuals, or toxoplasmosis in severely immunocompromised

- patients represent serious threats (EFSA, 2018).

- Toxoplasma gondii has a two-stage asexual cycle in warm-blooded animals and a sexual cycle in Felidae. A systematic

- review and meta-analysis have reported a global seroprevalence of 38% in domestic cats and 64% wild felids (Hatam-

- Nahavandi et al., 2021). The genetic diversity of T. gondii is complicated; three archetypal clonal lineages (I, II, and III)

- prevail in Europe and North America; in South America, Asia, and Africa, much greater genetic diversity is apparent and,

- furthermore, fewer clonal and non-clonal lineages have been genotyped (Lorenzi et al., 2016). Transport between

- continents via animal migration, including birds, and human activity such as trade may have contributed to the genetic

- population structures of T. gondii in different geographical regions (Shwab et al., 2018).

- In the asexual part of the lifecycle, the two developmental stages are the rapidly multiplying tachyzoite and the slowly

- multiplying bradyzoite. In acute infection, tachyzoites actively penetrate host cells where they multiply, causing the cell to

- rupture and release organisms locally and into the circulation. As the host develops immunity, the parasite retains its overall

- size and shape, but transforms into the bradyzoite stage and multiplies more slowly within tissue cysts to establish a

- persistent infection. These microscopic tissue cysts occur most frequently in brain and skeletal muscle and represent the

- quiescent stage of the parasite within the host. Viable tissue cysts within muscle (meat) are a significant source of human

- infection, and ingestion of bradyzoites in prey is probably the main route of infection to predators, including the felid

- definitive host. In animals that succumb to acute infection, tachyzoites may be demonstrated in ascitic fluid or in lung

- impression smears, as well as in tissue sections of the liver and other affected organs.

- Abortions in sheep and goats due to T. gondii are of particular veterinary importance. Toxoplasmosis in small ruminants

- must be differentiated from diseases caused by other infectious agents, including infections with Chlamydophila abortus

- (see Chapter 3.8.5 Enzootic abortion of ewes), Coxiella burnetii (see Chapter 3.1.17 Q fever), Brucella melitensis (see

- Chapter 3.1.4 Brucellosis [Brucella abortus, B. melitensis and B. suis]), Campylobacter foetus (see Chapter 3.4.4 Bovine

- genital campylobacteriosis), Salmonella spp. (see Chapter 3.10.7 Salmonellosis), and the viruses that cause border

- disease (see Chapter 3.8.1 Border disease), bluetongue (see Chapter 3.1.3), Wesselsbron’s disease, and Akabane

- disease (see Chapter 3.10.1). In pigs, Brucella suis (see Chapter 3.1.4) may also cause fetal death, mummification, and

- abortion.

- The sexual part of the lifecycle occurs in enteroepithelial cells of the feline definitive host, and results in the production of

- T. gondii oocysts. Following primary infection of a cat, oocysts may be shed in the faeces for several days, with large

- numbers contaminating the environment; up to one billion oocysts from domestic cats, and probably similar numbers from

- wild felids (Shapiro et al., 2019). The oocysts sporulate in the environment over the next 1–5 days (depending on aeration,

- humidity, and temperature), at which time they become infective. The structure of T. gondii oocysts results in extreme

- resistance to environmental conditions, with the polymeric structure of the walls giving providing strength against

- mechanical forces and protection against chemical agents (Shapiro et al., 2019). This results in prolonged survival, up to

- 18 months in water at 4°C and, once sporulated, can persist in damp soil for as long, at temperatures ranging from −20°C

- to 35°C. Sporulated oocysts are 11 × 13 µm in diameter and each contains eight sporozoites, four in each of two sporocysts

- (Dubey, 2022). When a susceptible animal ingests sporulated oocysts, the sporozoites are released to penetrate the

- intestinal lining, become tachyzoites, and establish an infection.

#### 1.	Human health risks

- Toxoplasma gondii is a zoonotic parasite and readily infects people. While human infection, as determined by seropositivity,

- is moderately common globally (local prevalence ranges from under 10% to over 90% [Pappas et al., 2009]), clinical illness

- is relatively uncommon. The immunosuppressed are particularly at risk of developing clinical illness. In patients being

- treated with immunosuppressive drugs, toxoplasmosis may occur due to new infection or activation of chronic infection. In

- addition, the parasite can pose a serious threat to an unborn child if the mother becomes infected for the first time while

- pregnant. The T. gondii genotype is also relevant, and outbreaks of clinical infection with some non-archetypal exotic

- strains have occurred in people with no apparent immune deficiency. Toxoplasmosis usually manifests as general malaise,

- fever, and lymphadenopathy. However, more severe symptoms may occur, including ocular problems, such as

- retinochoroiditis, potentially resulting in loss of vision, pneumonitis, and also toxoplasmic encephalitis. The main burden of

- human disease, based on disability-adjusted life years (DALYs), ranks as having a high contribution to disease burden

- globally (Torgerson et al., 2015).

- As with animal infections, people may be infected by ingestion of bradyzoites in raw or lightly cooked meat containing live

- T. gondii tissue cysts or by ingestion of sporulated oocysts. These may be as contaminants of water or of raw or lightly

- cooked fresh produce; less commonly, people can be infected by ingestion of tachyzoites in non-heat-treated milk. In

- addition, transmission via blood transfusion or organ transplantation is also possible. Outbreaks of both waterborne and

- foodborne toxoplasmosis have been described (EFSA, 2018; Shapiro et al., 2019). The largest outbreak to date occurred

- in Santa Maria, Brazil in 2018, and is considered to be due to contamination of the water supply with oocysts of a virulent

- strain of T. gondii; at least 930 confirmed cases occurred, among which 8% required hospitalisation, with three fetal deaths,

- 10 abortions, and 29 cases of congenital transmission, with 19 infants with ocular lesions (Dubey, 2021).

- Clearly, T. gondii represents a human health risk and all laboratory manipulations with live organisms should be handled

- with appropriate measures determined by risk analysis as described in Chapter 1.1.4 Biosafety and biosecurity: Standard

- for managing biological risk in the veterinary laboratory and animal facilities.

## 109	B. DIAGNOSTIC TECHNIQUES

110	Table 1. Test methods available for the diagnosis of toxoplasmosis and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post- vaccination |
| Detection and identification of the agent |  |  |  |  |  |  |
| PCR (including nested and real- time PCR) | – | – | – | ++ | + | – |
| LAMP | – | – | – | ++ | + | – |
| Histopathology | – | – | – | + | – | – |
| Immmuno- histochemistry | – | – | – | + | – | – |
| Detection of immune response |  |  |  |  |  |  |
| IFAT(a) | + | + | + | ++ | ++ | + |
| ELISA(a) | + | + | + | +++(a) | +++ | ++ |
| DAT/MAT | + | + | + | + | ++ | + |

111	Key: +++ = recommended for this purpose; ++ recommended but has limitations;

112	+ = suitable in very limited circumstances; – = not appropriate for this purpose.

- PCR = polymerase chain reaction; LAMP = loop mediated isothermal amplification; IFAT = indirect fluorescent antibody test;

- ELISA = enzyme-linked immunosorbent assay; DAT = direct agglutination test; MAT = modified agglutination test.

- (a)In IFAT and ELISA, detection of Toxoplasma-specific IgG and IgM antibodies may permit some discrimination between acute and

- chronic cases of infection. In ELISA, assays assessing the avidity of an IgG response to T. gondii may provide information regarding

- how recently the tested animals have experienced a primary T. gondii infection.

#### 1.	Detection of the agent

##### 1.1.	Histopathology

- In animals that die with acute toxoplasmosis, focal mononuclear inflammation, with or without focal necrosis, may be

- seen in a number of tissues, including the liver, heart, and lungs. The latter may be oedematous. Lymph nodes may

- have undergone expansion and there may or may not be focal necrosis with or without haemorrhage. Typically, T.

- gondii tachyzoites may be demonstrable in association with necrosis and inflammation. In fatal cases, tachyzoites

- may be demonstrated in ascitic fluid or in lung impression smears.

- In cases of abortion and stillbirth in small ruminants, affected placental cotyledons typically contain large foci of

- coagulative necrosis that may have become mineralised with time. Any associated inflammation is characteristically

- slight and nonsuppurative. Well-preserved samples of placental cotyledons may show moderate oedema of the

- mesenchyme of the foetal villi, with a diffuse hypercellularity due to the presence of large mononuclear cells. Small

- numbers of intracellular and extracellular stages are sometimes visible, usually on the periphery of a necrotic area or

- in a villus that is in the early stages of infection. The T. gondii tachyzoites appear ovoid, 2–6 µm long, with nuclei that

- are moderately basophilic and located centrally or towards the posterior end.

- In the fetal brain, primary and secondary lesions may develop. Microglial foci, typically with a necrotic and sometimes

- mineralised centre, and often associated with a mild focal lymphoid meningitis, represent a fetal immune response

- following direct damage by local parasite multiplication. Toxoplasma gondii tissue cysts are only rarely found, usually

- at the periphery of these lesions. Focal leukomalacia is also common and is considered to be due to fetal anoxia in

- late gestation caused by advanced lesions in the placentome preventing sufficient oxygen transfer from mother to

- fetus. Such foci most commonly occur in the cerebral white matter cores, but sometimes also in the cerebellar white

- matter. Focal leukomalacia on its own suggests placental disease or acute insufficiency, but the two types of

- neuropathological change seen together are characteristic of T. gondii infection.

##### 1.2.	Immunohistochemistry

- Confirmation of the identity of T. gondii-like structures in tissue sections from such cases, as well as from instances

- of acute toxoplasmosis, may be achieved by immunohistochemistry that labels intact T. gondii or antigenic debris

- using polyclonal or monoclonal T. gondii specific antibodies (Dubey, 2022). The antigen-antibody reaction can be

- visualized by avidin-biotin-complex (ABC) or indirect immune-peroxidase and the peroxidase–antiperoxidase (PAP)

- technique. The method is both convenient and sensitive and is used with fixed tissues (including archived tissues)

- that may also exhibit a degree of decomposition, where isolation would not be appropriate or possible. However,

- cross-reactions with related parasites like Neospora caninum are possible.

##### 1.3.	Detection of oocysts

- Toxoplasma gondii oocysts can be detected in stools of felids, as well as contaminating different environmental

- matrices, such as soil and water, or food, such as molluscs and fresh produce. The low quantity or sparse distribution

- of oocysts in the contaminated matrix, as for water and fresh produce, means that an initial procedure to concentrate

- the oocysts from a large volume of sample is needed. Chemical flocculation (e.g. using ferric or aluminium sulphate

- or calcium carbonate), filtration by cellulose acetate or polycarbonate membranes or cartridge filters and flotation with

- sucrose or caesium chloride gradient have been widely used for water samples. Washing with appropriate buffer(s)

- and pelleting by centrifugation is often used for fresh produce (Shapiro et al., 2019; Slana et al., 2021).

- Although the autofluorescence of T. gondii oocysts, pale blue under UV light, facilitates detection by microscopy, this

- property is shared with oocysts and sporocysts of other related coccidian parasites (e.g. Hammondia hammondi)

- (Lindquist et al., 2003). As a commercially available antibody specific for T. gondii oocysts for microscopy detection

- is currently lacking, molecular assays are usually used to confirm T. gondii identification in field samples. Molecular

- methods are needed to assess or confirm the identity of oocysts observed.

##### 1.4.	Molecular methods – detection of nucleic acids

- The presence of T. gondii (tachyzoites, tissue cysts, oocysts) can be assessed by detecting the parasite genomic

- DNA using several molecular techniques, including conventional polymerase chain reaction (PCR), nested PCR and

- loop-mediated isothermal amplification (LAMP) (Table 1). No standard methods are available and many of the

- published protocols are not yet sufficiently validated (for details refer to Chapter 1.1.6. Principles and methods of

- validation of diagnostic assays for infectious disease and Chapter 2.2.3. Development and optimisation of nucleic

- acid detection assays).

- Appropriate protocols may allow detection of T. gondii DNA from circulating tachyzoites (acute infection) or

- bradyzoites in tissue cysts (latent infection) and in different biological samples, including animal and human

- tissues (e.g. heart and skeletal muscle, placenta, brain) and body fluids (e.g. blood, urine, aqueous humour,

- cerebrospinal fluid, amniotic fluid, milk). In addition, DNA from oocysts in stool (only felids), food and

- environmental samples (fresh produce, water, soil) can be detected (Slana et al., 2021). No standard method

- for extracting T. gondii DNA exists, but suitable DNA extraction protocols, based on both in-house protocols and

- commercial kits have been developed (Dzib Paredes et al., 2016). Sample preparation and DNA extraction

- procedures are likely to have a considerable impact on the sensitivity of the test. Sensitivity is generally higher

- in DNA-poor matrices than DNA-rich ones (e.g. tap water vs meat samples). Moreover, inhibitors of DNA

- amplification differ and are related to sample type. Inhibition of DNA amplification can be avoided by DNA

- extraction optimised for sample type or by using appropriate additives (e.g. bovine serum albumin) during DNA

- amplification. A specific concentration of the parasite stage (e.g. oocysts) or its DNA (e.g. by magnetic capture)

- from the matrix might be required prior to DNA extraction as reported for oocysts from water, fresh produce, or

- faeces (Slana et al., 2021). A validated protocol for DNA extraction from meat and meat products using a

- commercial kit is available at the website of the European Union Reference Laboratory for Parasites (EURLP) 48.

- An example of in-house method for DNA extraction from pig tissue (Jauregui et al., 2001) is reported below.

- 1.4.1.	DNA extraction from animal tissue

- Procedure

- i)	Homogenate sample (e.g. 50 g of brain or tongue, or 1 g of muscle) in a blender with 5 volumes

- of sterile saline solution (phosphate-buffered saline [PBS]: 300 mM NaCl, 2.7 mM KCl, 10 mM

- Na2HPO4, 1.7 mM NaH2PO4).

- ii)	Digest sample with an equal volume of warm (37°C) pepsin-HCl (1.4 mg of pepsin and 10 mg

- of NaCl per ml in 0.1 N HCl) for 1 hour at 37°C in a shaking water bath.

- iii)	Neutralise mixture by two washes with 0.1 M Tris buffer (pH 8.0).

- iv)	Centrifuge mixture aliquots for 10 minutes at 1180 g.

- v)	For each aliquot, digest the post centrifugation pellet overnight at 55°C with DNA digestion

- buffer (0.5% sodium dodecyl sulphate [SDS], 25 mM ethylene diamine tetra-acetic acid [EDTA],

- 100 mM NaCl, 20 mM Tris-HCl [pH 8.0], and proteinase K [0.1 mg/ml final concentration]).

- vi)	Extract with one volume of phenol-chloroform-isoamyl alcohol (25:24:1).

- vii)  Precipitate DNA in 0.3 M sodium acetate (final concentration) with 2.5 volumes of 100% ethanol.

- viii) Resuspend DNA pellets in TE buffer (10 mM Tris-HCl, 1 mM EDTA). Store DNA at –20°C until

- use.

- PCR-based assays are commonly applied for the molecular detection of T. gondii genomic DNA (Dzib

- Paredes et al., 2016; Robert et al., 2021; Slana et al., 2021).

- 1.4.2.	DNA extraction from oocysts

- Although DNA detection is considered highly specific, cross reactivity has been observed between

- T. gondii and H. hammondi, a non-zoonotic coccidian that also uses felids as definitive hosts and

- cannot be differentiated based on oocyst morphology. A real-time PCR targeting a repetitive element

- of H. hammondi (HhamREP-529) has been demonstrated to be highly sensitive and efficient in

- distinguishing between the two parasites (Schares et al., 2021).

- Detection of DNA from T. gondii oocysts may present additional challenges because of inhibitors in

- faecal matter, vegetable or water sediment, and difficulty of extracting DNA from the oocysts. Options

- for an efficient breaking of oocysts walls include bead-beating, freeze–thaw cycles, heating or

- chemical/enzymatic treatments (Slana et al., 2021). An in-house method is detailed below for

- preparation of oocysts and extraction of DNA. An example of a validated method using a commercial

- kit and a bead-beating-based DNA extraction is available (Lalle et al., 2018).

- Procedure

- i)	Wash oocysts four times in 15 ml PBS (300 mM NaCl, 2.7 mM KCl, 10 mM Na2HPO4, 1.7 mM

- NaH2PO4) in a 15 ml centrifugation tube, with centrifugation between washes (1100 g for

- 7 minutes without braking).

- https://www.iss.it/documents/5430402/5722370/MI_12_rev._1.pdf/a82a4078-f511-affe-8f90-cabc397bc8ce?t=1620381672663

- ii)	Incubate pellet (up to 0.5 ml) in 2 ml 5.75 % sodium hypochlorite (sodium hypochlorite, aqueous

- solution, ≥ 4% as active chlorine) for 30 minutes at 37°C.

- iii)	Add double-distilled H2O up to 15 ml.

- iv)	Centrifuge supernatant (1100 g for 7 minutes without use of brake) and mix the pellet with PBS.

- Wash the pellet three times with PBS (1100 g for 7 minutes without brake).

- v)	After final centrifugation, re-suspend pellet in 1 ml PBS, transfer into a 1.5 ml reaction tube and

- spin down (1100 g for 7 minutes without brake).

- vi)	Remove as much supernatant as possible and apply three freeze–thaw cycles (10 minutes at

- –20°C followed by 2 minutes at room temperature) to the pellet.

- vii)  Re-suspend pellet in 100 µl OOC lysis buffer (600 mM EDTA, 1.3% [v/v] N-lauroylsarcosine, 2

- mg/ml proteinase K, pH 9.5) for 45 minutes, at 65°C.

- viii) Add 400 µl OOC-CTAB buffer (2% [v/v] cetyl-trimethyl ammonium bromide, 1.4 M NaCl, 0.2 %

- [v/v] mercaptoethanol, 20 mM EDTA, 100 mM tris[hydroxymethyl]aminomethane) for 60

- minutes at 60°C.

- ix)	Mix with 500 µl phenol/chloroform/isoamyl alcohol (25/24/1) by inverting 50 times. Centrifuge

- for 7 minutes at 13,000 g.

- x)	Transfer supernatant to fresh tube and mix with 500 µl phenol/chloroform/isoamyl alcohol

- (25/24/1) by inverting 50 times. Centrifuge for 7 minutes at 13,000 g.

- xi)	Transfer supernatant to a fresh tube and add 0.04 volumes of 4 M NaCl and 2–3 volumes of –

- 20°C cold 96% (v/v) ethanol to precipitate DNA (keep at least 20–30 minutes at –20°C).

- xii)  Centrifuge for 15 minutes at 13,000 g. Decant the supernatant.

- xiii) Wash the pellet using 70% (v/v) ethanol and centrifuge for 15 minutes at 13,000 g.

- xiv) Discard the ethanol solution and air dry the pellet.

- xv)  Solve DNA in double-distilled water for at least 12 hours at 4°C.

- xvi) Use 2.5–10 µl aliquots for PCR (see Section B.1.2 above).

- The same PCR-based and LAMP assays detailed in Section B.1.2 have been also used for oocyst

- detection, with B1 gene and the 529RE being targets of choice (Slana et al., 2021).

- Another important issue is the possibility of combining detection with information on oocyst viability.

- Bioassays, currently the only definitive way to detect viable oocysts, are expensive and relatively few

- laboratories have the necessary facilities. Reverse transcription (RT) real-time PCR (real-time RT-

- PCR) or propidium monoazide-based real-time PCR have shown some promise for assessing oocyst

- viability in complex sample matrices (Kim et al., 2021; Rousseau et al., 2018).

- 1.4.3.	Nucleic acid detection methods

- Although single copy genes (e.g. SAG1, SAG2, SAG3, GRA6, and GRA7) have been used, multi-

- copy genes or genetic elements (e.g. 18S rDNA, B1, ITS1, 529RE) are preferred as they provide a

- higher sensitivity (Dzib Paredes et al., 2016; Slana et al., 2021). For instance, 35 copies of the B1

- gene and 200–300 copies of the 529 bp repetitive element (529RE) are present in the T. gondii

- genome, and 10 to 100-fold higher sensitivity is generally observed in amplification targeting the

- 529RE compared with B1, although this also reflects the type of assay and sample being analysed

- (Belaz et al., 2015). In addition, some strains may have partially lost, or have a mutated, 529RE, and

- this could compromise diagnostic sensitivity (Wahab et al., 2010).

- Conventional PCR targeting B1 was the first to be used in clinical diagnostics in people (Burg et al.,

- 1989). To obtain details on T. gondii genotype (e.g. for outbreak investigation, infection source

- tracing) the methods of choice are multi-locus PCR combined with restriction fragment length

- polymorphism (PCR-RFLP) or sequencing and multi-locus microsatellite typing (Ajzenberg et al.,

- 2010; Su et al., 2006).

- To increase sensitivity, several nested PCR assays have been implemented (Dzib Paredes et al.,

- 2016). The reaction consists of two successive rounds of amplification. The product of the first

- amplification serves as template for the second amplification, using one or two internal primers. The

- risk of cross- and carry-over contamination and false positives is increased with nested PCR, and

- precautions should be taken to mitigate the risk (Dzib Paredes et al., 2016).

- There are several real-time PCR protocols and real-time PCR in combination with a hydrolysis probe

- is the most frequently applied (Slana et al., 2021). This has largely improved both sensitivity and

- specificity of detection of T. gondii DNA, with the advantage of avoiding post-amplification

- manipulations and thus limiting the risk of carry-over contamination. Although sensitivity can be

- satisfactory with both conventional and real-time PCR using pure genomic T. gondii DNA, assay

- specificity might be affected when testing field samples. Conventional PCR can result in non-specific

- amplification, whereas this is not detected by real-time PCR due to the probe detection, despite the

- amplified target being the same. Furthermore, real-time PCR can be multiplexed and simultaneous

- amplification of an internal amplification control (a heterologous DNA fragment) can be used to

- monitor for the presence of inhibitors. In addition, amplifying two T. gondii-specific targets at once

- may increase sensitivity. Another advantage of real-time PCR is the possibility of quantification of T.

- gondii DNA.

- A selective enrichment of target DNA combined with real-time PCR (i.e., magnetic capture PCR) has

- been reported to increase T. gondii detectability in animal samples (Gisbert Algaba et al., 2017). The

- principle relies on separating and concentrating T. gondii DNA from sample DNA by specific DNA

- probes, complementary to the targeted parasite 529RE genomic region, which are conjugated to

- magnetic beads and followed by real-time PCR (Gisbert Algaba et al., 2017). However, this method

- is expensive, time consuming, and requires further expertise, so might be not suitable for routine

- analysis or large surveys.

- As an alternative to PCR, LAMP has been considered for T. gondii DNA detection, and diagnostic

- purposes, in environmental, veterinary, and human samples. LAMP takes advantage of a DNA

- polymerase (originally Bst) having both high strand displacement and replication activities. Nucleic

- acid amplification is performed under isothermal conditions (60–65°C), without the need of a DNA

- denaturation step. Both, B1 and 529RE have been widely used as targets in different LAMP assays,

- and LAMP is reported as comparable to real-time PCR for the detection of T. gondii in blood and

- animal tissues (Robert et al., 2021). Although LAMP provides an opportunity for development of point-

- of-care testing or implementation of molecular tests in settings with limited facilities, there are several

- drawbacks including design of appropriate primers and the high risk of carry-over contamination.

- Commercial assays for both real-time PCR and LAMP are available for clinical diagnosis of

- toxoplasmosis.

- Overall, the reported sensitivity of published molecular methods can be as low as one (or even less)

- genome equivalent per reaction. However, this largely depends on sample type, DNA extraction,

- copies of the targeted gene or sequence, amplification and detection reagents, procedures and

- platforms. The lack of accepted standard methods prevents robust comparison of sensitivity and

- specificity of the currently applied molecular tests.

#### 2.	Serological tests

- There are several serological tests available for the detection of T. gondii antibodies (Table 1). All serological tests have

- limitations in diagnostic sensitivity and specificity and need proper validation to ensure confidence in results (refer to

- Chapter 1.1.6. Principles and methods of validation of diagnostic assays for infectious disease and Chapter 2.2.1.

- Development and optimisation of antibody detection assays).

- The Sabin-Feldman dye test (DT) is a reference serological test for T. gondii antibody in humans (Dubey, 2022). Although

- the DT appears both specific and sensitive in humans, it is not extensively validated in other species. In addition, it is

- potentially hazardous as live parasite is used, is expensive, and requires a high degree of technical expertise.

##### 2.1.	Preparation of antisera and antigens

- Antisera to T. gondii and conjugated antisera for use in IFAT and ELISA, to allow screening of a variety of animal

- species, may be obtained commercially. International standards for animal sera are not available.

- Below are protocols for the preparation of tachyzoite antigen for use in the IFAT and ELISA. Tachyzoites may be

- grown in tissue culture and retained as whole parasites for the IFAT, or prepared as soluble antigen for the ELISA.

##### 2.2.	Preparation of frozen stabilates of T. gondii tachyzoites

- 2.2.1.	Test procedure

- i)	Produce tachyzoites in tissue cell culture as described. Suitable T. gondii strains, able to multiply

- in cell culture, like the RH strain are available in a number of repositories; e.g. at the American

- Tissue Cell Culture Collection (ATCC 49).

- ii)	Centrifuge three times at 500 g for 5 minutes and resuspend tachyzoites in Iscove’s modified

- Dulbecco’s medium (IMDM) or any other cell culture medium suitable to cultivate T. gondii. Final

- concentration of the tachyzoite suspension should be approximately 1.5 × 108 tachyzoites/ml.

- iii)	Combine dimethyl sulphoxide (DMSO), normal horse serum (free from antibody to T. gondii)

- and the tachyzoite suspension to give these final concentrations: 10% DMSO, 20% normal

- horse serum, 70% tachyzoite suspension; this gives a final concentration of approximately 1 ×

- 108 tachyzoites/ml.

- iv)	Allow the preparation to stand on the bench for 1 hour (4-10°C; optimally on ice).

- v)	Dispense into 1-ml aliquots using screw-topped tubes appropriate for liquid nitrogen storage.

- vi)	Put the tubes into a small container, wrap in thick insulating material (e.g. paper towels) and

- place in –70°C freezer to allow the tachyzoites to freeze gradually.

- vii)  The next day transfer to liquid nitrogen, keeping well insulated while transferring.

- viii) These stabilates may then be used for tissue culture growth of the parasite. When removing

- from storage, thaw the sample rapidly in a water bath (37°C).

- ix)	Centrifuge three times at 500 g for 5 minutes and resuspend tachyzoites in Iscove’s modified

- Dulbecco’s medium (IMDM) or any other cell culture medium suitable to cultivate T. gondii and

- add suspension to cell culture.

##### 2.3.	Production of Toxoplasma tachyzoites in cell culture

- 2.3.1.	Test procedure

- i)	Toxoplasma gondii can be grown and maintained in tissue culture by twice-weekly passage in

- African green monkey kidney (Vero) cells. Other cell lines (e.g. MARC145 cells) are also

- suitable. Cell lines are available from repositories (e.g. ATCC).

- ii)	Cells and parasite are grown in IMDM supplemented with 50 IU/ml penicillin, 50 µg/ml

- streptomycin, and 2% fetal bovine serum; there are other cell culture media suitable as well.

- iii)	Tachyzoites are harvested from tissue culture flasks by scraping the cell monolayer using a

- sterile cell scraper.

- iv)	Using 25 cm2 vented tissue culture flasks that have each been seeded with 1 × 105 Vero cells,

- add tachyzoites at the rate of two tachyzoites per monolayer cell and incubate at 37°C in a 5%

- CO2 humidified chamber. Harvest, when 2/3 of the cell layer was destroyed by tachyzoite

- multiplication, usually after 3–4 days.

##### 2.4.	Preparation of whole tachyzoites for IFAT and agglutination

- 2.4.1.	Test procedure

- i)	Produce 4 × 107/ml suspension of T. gondii tachyzoites in PBS.

- ii)	Add formaldehyde (40%) to give a final concentration of 0.2% (v/v).

- iii)	Incubate at 4°C overnight and divide into aliquots in suitable tubes and store frozen until

- required (–20°C).

358

- American Type Culture Collection, P.O. Box 1549, Manassas, Virginia 20108, United States of America.

##### 2.5.	Production of soluble antigen for ELISA

- 2.5.1.	Test procedure

- i)	Produce a suspension of T. gondii tachyzoites in PBS.

- ii)	Centrifuge at 2000 g for 15 minutes, retain the pellet and resuspend it in nine times its volume

- of distilled water.

- iii)	Lyse the tachyzoites by freezing and thawing three times.

- iv)	Sonicate the antigen preparation for 20 seconds at 4°C at an amplitude of 20 microns.

- v)	Remove any cellular debris by centrifugation at 10,000 g for 30 minutes at 4°C.

- vi)	Retain the supernatant and store at –20°C until required; protein estimation should be between

- 2 and 4 µg/ml.

##### 2.6.	Indirect fluorescent antibody test

- The indirect fluorescent antibody test (IFAT) (Dubey, 2022) is a simple and widely used method. Whole, killed

- Toxoplasma tachyzoites are incubated with diluted test serum, the appropriate fluorescent labelled secondary

- antibody is added, and the result is then viewed with a fluorescence microscope. Fluorescent-labelled species-

- specific secondary antibodies are available commercially, the method is relatively inexpensive, and kits are

- commercially available. However, the results are read by eye, so subjective variation may occur. It may be difficult to

- find some species-specific conjugates and there is a risk of possible cross-reactivity with rheumatoid factor and anti-

- nuclear antibodies. The following is a protocol for carrying out an IFAT for anti-Toxoplasma IgG antibodies in sheep

- serum. It only requires minor modifications for testing different species or for measuring IgM antibody.

- 2.6.1.	Test procedure

- i)	Clean the required number of multi-well immunofluorescence assay slides (e.g. 10–21 well-

- slides with wells of 4–6 mm in diameter are suitable) and allow to dry.

- ii)	Apply 5 µl of a whole tachyzoite preparation (Section B.2.4.1 above) on to each well and allow

- to air dry.

- iii)	Fix in methanol for 10 minutes.

- iv)	Wash twice (10 minutes for each wash) in 0.3 M PBS, pH 7.4.

- v)	Prepare serial dilutions of the test sera in PBS (e.g. 1/16, 1/32, etc. up to 1/1024).

- vi)	Add 5 µl of the given test sheep serum (diluted in PBS) to each well. Ensure that positive and

- negative control sera are included in each test as well as a ‘PBS-only’ sample. Incubate for

- 30 minutes at room temperature.

- vii)  Wash twice (10 minutes each time) in PBS.

- viii) Add 5 µl of an appropriate dilution of rabbit-anti-sheep IgG conjugated to fluorescein

- isothiocyanate, diluted in 0.2% filtered Evans blue dye in PBS (filtered through a 0.45 µm sterile

- filter), to each well and incubate for 30 minutes at room temperature.

- ix)	Wash three times for 10 minutes each time in PBS.

- x)	Mount the slides under cover-slips with buffered glycerol (nine parts PBS, one part glycerol).

- xi)	Examine using a fluorescence microscope, fitted with ×20 and ×40 objective lenses.

- With a negative test serum result, the whole parasites will appear red due to the autofluorescence of

- the Evans blue dye. They may also present with a green fluorescent cap at the parasite pole

- (nonspecific polar fluorescence). With a positive test serum, the parasites will fluoresce red and at

- least 80% of them within a given well will be surrounded by an unbroken band of green fluorescence.

- In an adult sheep/goat a positive titre could be defined as ≥1/64 and a negative titre as ≤1/32. For

- lamb/kid and fetal sera, respective titres could be defined as ≥1/32 and ≤1/16. These cut off values

- should be validated locally as results may vary between laboratories, depending on, e.g., the

- fluorescence microscope and the operator. Optimally, each slide should include positive control and

- negative controls.

##### 2.7.	Modified agglutination test

- The modified agglutination test (MAT) (Dubey, 2022) is both sensitive and specific. Formalinised Toxoplasma

- tachyzoites are added to U-shaped well microtiter plates and dilutions of test sera are then applied. Positive samples

- will produce agglutination that can be graded, whereas negative samples will produce a ‘button’ of precipitated

- tachyzoites at the bottom of the well. The test is simple and easy to perform although relatively large amounts of

- antigen are required. Kits are commercially available. It is important to treat sera with 0.2 2-mercaptoethanol to avoid

- false positives due to non-specific IgM. The MAT has been used extensively for detection of T. gondii antibodies in

- sera of many animal species and the procedure is detailed below. A commercially available latex agglutination test

- is also available, but this test is regarded relatively insensitive compared with MAT or IFAT.

- 2.7.1.	Serum-diluting buffer

- i)	Dissolve 42.5 g NaCl, 1.54 g NaH2PO4, and 5.4 g Na2HPO4 in 900 ml deionised water.

- ii)	Adjust the pH to 7.2. Bring the volume to 1 litre with deionised water.

- iii)	Store in a refrigerator. This is the 5× stock solution.

- iv)	Dilute this stock solution 1/5 to give 0.01 M PBS (working serum-diluting buffer: 1 part stock and

- 4 parts deionised water). PBS should be filtered through a 0.22 µM filter immediately prior to

- use.

- 2.7.2.	Antigen-diluting buffer

- i)	Prepare a stock of borate buffer: dissolve 7.01 g sodium chloride, 3.09 g boric acid, 2.0 g sodium

- azide in 900 ml deionised water.

- ii)	Add 24 ml 1 N NaOH and adjust the pH to 8.9.

- iii)	Bring the volume to 1 litre. This is the stock solution and can be stored at room temperature.

- iv)	For the working antigen-diluting buffer, dissolve 0.4 g bovine serum albumin in 100 ml borate

- buffer. Store at 4°C.

- 2.7.3.	Serum dilutions

- i)	Dilute serum samples with working serum-diluting buffer (Section B.2.7.1 above) in small test

- tubes (1.2 ml in strips of 8 or 12) with a multichannel pipette, starting at 1/25.

- Note: Microtiter plates may also be used for making serum dilutions.

- 2.7.4.	Preparation of antigen mixture

- i)	For each plate, mix 2.5 ml working antigen-diluting buffer (see Sections B.2.4.1 and B.2.7.2

- above), 35 µl 2-mercaptoethanol, 50 µl Evans blue dye solution (2 mg/ml water) and 0.15 ml

- antigen (formalin-fixed whole parasites).

- 2.7.5.	Agglutination procedure

- Agglutination is done in U-bottom 96-well microtiter plates.

- i)	Pipette 25 µl antigen mixture to each well immediately after mixing.

- ii)	Pipette 25 µl serum dilutions into the wells and mix gently with the antigen by repeated pipetting

- action.

- iii)	A positive control should be included in each plate. The control should have a titre of 1/200, and

- two-fold dilutions from 1/25 to 1/3200 should be used.

- iv)	Cover the plates with sealing tape and incubate overnight at 37°C.

- v)	Read results using a magnifying mirror. A blue button at the bottom of the well means negative.

- A clear bottom means positive.

##### 2.8.	Enzyme-linked immunosorbent assay

- One of the first T. gondii enzyme-linked immunosorbent assay (ELISA) (Voller et al., 1976) used a soluble antigen

- preparation made from T. gondii RH strain tachyzoites (as described below) and layered into wells in an ELISA

- microtiter plate. Test sera are added, followed by a species-specific secondary antibody conjugated with a reactive

- enzyme, such as horseradish peroxidase. Protein A/G conjugates were used to replace species-specific antibody

- conjugates, making ELISAs applicable to more than one animal species. Any conjugated enzyme causes a colour

- change in the substrate that is directly related to the amount of bound antibody, and which can be read with a

- spectrophotometer at the absorbance wavelength specific to the substrate used. The assay is simple, can readily test

- a large number of samples, and is easy to perform with the chosen anti-species conjugate. Defined anti-species

- conjugates, substrates, and whole kits are commercially available. The ELISA is well suited for analysing large

- numbers of samples. A large number of species-specific or multi-species ELISAs are commercially available to detect

- T. gondii antibodies.

- To improve the specificity of the conventional ELISA, native purified T. gondii-specific antigens have been used

- (Basso et al., 2013). In addition, severam recombinant antigens have been established, and these seem suitable for

- replacing native antigens for serological diagnostic tests. For many of these recombinant antigen ELISAs, thorough

- validation is lacking.

- Clinically, there is a need to distinguish between recent (acute) and long-standing (chronic) infections. With the

- conventional ELISA, detection of Toxoplasma-specific IgG and IgM antibodies, along with IgA, may permit some

- discrimination between acute and chronic T. gondii infection. Assays assessing the avidity of an IgG response to

- T. gondii have been applied in sheep and pigs. However, such avidity tests were used for research purpose only.

## 466	C. REQUIREMENTS FOR VACCINES

- Currently there is only one commercially available live vaccine, which is licensed for use in breeding sheep in some regions

- (Europe and New Zealand) to reduce the effects of T. gondii infection (e.g. early embryonic death, abortion). It consists of

- ≥ 105 tachyzoites of the S48 strain of T. gondii that has been attenuated by multiple passages in mice. The vaccine

- stimulates effective protective immunity for at least 18 months following a single intramuscular injection given at least 4

- weeks prior to mating and only for use in healthy, non-pregnant female sheep. Despite the acknowledged importance of

- human toxoplasmosis, human vaccines are currently unavailable, and the vaccine for sheep has disadvantages, such as

- a short shelf-life (10 days), strict storage conditions, and, as a live vaccine, potential risk to operators. Information on the

- production details of this vaccine and QC requirements are not available.

- Although the importance of a killed or non-live vaccine is acknowledged – for vulnerable humans (e.g. women before they

- are pregnant), for reducing abortions in sheep, for reducing tissue cysts in meat animals (pigs, cattle, chickens, etc.), and

- for limiting oocyst shedding from kittens – to date this remains elusive (Innes et al., 2019). However, with recent scientific

- advances, including availability of genetic, transcriptomic, and metabolomic data, the potential for developing knockout

- variants, and other new technologies suggest new possibilities for development of such a vaccine (Mevelec et al., 2020;

- Zhang et al., 2022).

### REFERENCES

- AJZENBERG D., COLLINET F., MERCIER A., VIGNOLES P. & DARDE M.L. (2010). Genotyping of Toxoplasma gondii isolates with

- 15 microsatellite markers in a single multiplex PCR assay. J. Clin. Microbiol., 48, 4641–4645.

- Basso W., Hartnack S., Pardini L., Maksimov P., Koudela B., Venturini M.C., Schares G., Sidler X., Lewis F.I. & Deplazes

- P. (2013). Assessment of diagnostic accuracy of a commercial ELISA for the detection of Toxoplasma gondii infection in

- pigs compared with IFAT, TgSAG1-ELISA and Western blot, using a Bayesian latent class approach. Int. J. Parasitol., 43,

- 565–570.

- BELAZ S., GANGNEUX J.P., DUPRETZ P., GUIGUEN C. & ROBERT-GANGNEUX F. (2015). A 10-year retrospective comparison of

- two target sequences, REP-529 and B1, for Toxoplasma gondii detection by quantitative PCR. J. Clin. Microbiol., 53, 1294–

- 1300.

- DUBEY J.P. (2021). Outbreaks of clinical toxoplasmosis in humans: five decades of personal experience, perspectives and

- lessons learned. Parasit. Vectors, 14, 263.

- DUBEY J.P. (2022). Toxoplasmosis of Animals and Humans, Third Edition. CRC Press, Boca Raton, USA.

- Dzib Paredes G.F., Ortega-Pacheco A., Rosado-Aguilar J.A., Acosta-Viana K.Y., Guzmán-Marín E. & Jiménez-Coello M.

- (2016). Toxoplasma gondii in meat for human consumption – A brief review of the most described strategies for its detection

- and quantification, significance, prevention and control of food related diseases. IntechOpen, London, UK.

- European Food Safety Authority (EFSA) Panel on Biological Hazards (BIOHAZ), Koutsoumanis K., Allende A.,

- Alvarez-Ordóñez A., Bolton D., Bover-Cid S., Chemaly M., Davies R., De Cesare A., Herman L., Hilbert F., Lindqvist R.,

- Nauta M., Peixe L., Ru G., Simmons M., Skandamis P., Suffredini E., Cacciò S., Chalmers R., Deplazes P.,

- DEVLEESSCHAUWER B., INNES E., ROMIG T., VAN DER GIESSEN J., HEMPEN M., VAN DER STEDE Y. & ROBERTSON L. (2018). Public

- health risks associated with food-borne parasites. EFSA Journal, 16, e05495.

- Gisbert Algaba I., Geerts M., Jennes M., Coucke W., Opsteegh M., Cox E., Dorny P., Dierick K. & De Craeye S. (2017).

- A more sensitive, efficient and ISO 17025 validated Magnetic Capture real time PCR method for the detection of archetypal

- Toxoplasma gondii strains in meat. Int. J. Parasitol., 47, 875–884.

- Hatam-Nahavandi K., Calero-Bernal R., Rahimi M.T., Pagheh A.S., Zarean M., Dezhkam A. & Ahmadpour E. (2021).

- Toxoplasma gondii infection in domestic and wild felids as public health concerns: a systematic review and meta-analysis.

- Sci. Rep., 11, 9509.

- INNES E.A., HAMILTON C., GARCIA J.L., CHRYSSAFIDIS A. & SMITH D. (2019). A One Health approach to vaccines against

- Toxoplasma gondii. Food Waterborne Parasitol., 15, e00053.

- JAUREGUI L.H., HIGGINS J., ZARLENGA D., DUBEY J.P. & LUNNEY J.K. (2001). Development of a real-time PCR assay for

- detection of Toxoplasma gondii in pig and mouse tissues. J. Clin. Microbiol., 39, 2065–2071.

- KIM M., SHAPIRO K., RAJAL V.B., PACKHAM A., AGUILAR B., RUEDA L. & WUERTZ S. (2021). Quantification of viable protozoan

- parasites on leafy greens using molecular methods. Food Microbiol., 99, 103816.

- LALLE M., POSSENTI A., DUBEY J.P. & POZIO E. (2018). Loop-Mediated Isothermal Amplification-Lateral-Flow Dipstick (LAMP-

- LFD) to detect Toxoplasma gondii oocyst in ready-to-eat salad. Food Microbiol.,70, 137-142.

- LINDQUIST H.D., BENNETT J.W., HESTER J.D., WARE M.W., DUBEY J.P. & EVERSON W.V. (2003). Autofluorescence of

- Toxoplasma gondii and related coccidian oocysts. J. Parasitol., 89, 865–867.

- Lorenzi H., Khan A., Behnke M.S., Namasivayam S., Swapna L.S., Hadjithomas M., Karamycheva S., Pinney D., Brunk B.P.,

- Ajioka J.W., Ajzenberg D., Boothroyd J.C., Boyle J.P., Darde M.L., Diaz-Miranda M.A., Dubey J.P., Fritz H.M., Gennari

- S.M., GREGORY B.D., KIM K., SAEIJ J.P., SU C., WHITE M.W., ZHU X.Q., HOWE D.K., ROSENTHAL B.M., GRIGG M.E., PARKINSON

- J., LIU L., KISSINGER J.C., ROOS D.S. & SIBLEY L.D. (2016). Local admixture of amplified and diversified secreted

- pathogenesis determinants shapes mosaic Toxoplasma gondii genomes. Nat. Commun., 7, 10147.

- MEVELEC M.-N., LAKHRIF Z. & DIMIER-POISSON I. (2020). Key Limitations and New Insights Into the Toxoplasma gondii

- Parasite Stage Switching for Future Vaccine Development in Human, Livestock, and Cats. Front. Cell. Infect. Microbiol.,

- 10 (697) doi: 10.3389/fcimb.2020.607198.

- PAPPAS G., ROUSSOS N. & FALAGAS M.E. (2009). Toxoplasmosis snapshots: global status of Toxoplasma gondii

- seroprevalence and implications for pregnancy and congenital toxoplasmosis. Int. J. Parasitol., 39, 1385–1394.

- ROBERT M.G., BRENIER-PINCHART M.-P., GARNAUD C., FRICKER-HIDALGO H. & PELLOUX H. (2021). Molecular diagnosis of

- toxoplasmosis: recent advances and a look to the future. Expert Rev. Anti-Infe., 19, 1529–1542.

- Rousseau A., La Carbona S., Dumetre A., Robertson L.J., Gargala G., Escotte-Binet S., Favennec L., Villena I., Gerard

- C. & AUBERT D. (2018). Assessing viability and infectivity of foodborne and waterborne stages (cysts/oocysts) of Giardia

- duodenalis, Cryptosporidium spp., and Toxoplasma gondii: a review of methods. Parasite, 25, 14.

- Schares G., Globokar Vrhovec M., Tuschy M., Joeres M., Barwald A., Koudela B., Dubey J.P., Maksimov P. & Conraths

- F.J. (2021). A real-time quantitative polymerase chain reaction for the specific detection of Hammondia hammondi and its

- differentiation from Toxoplasma gondii. Parasit. Vectors, 14, 78.

- SHAPIRO K., BAHIA-OLIVEIRA L., DIXON B., DUMÈTRE A., DE WIT L.A., VANWORMER E. & VILLENA I. (2019). Environmental

- transmission of Toxoplasma gondii: Oocysts in water, soil and food. Food Waterborne Parasitol., 15, e00049-e00049.

- Shwab E.K., Saraf P., Zhu X.Q., Zhou D.H., McFerrin B.M., Ajzenberg D., Schares G., Hammond-Aryee K., van Helden

- P., HIGGINS S.A., GERHOLD R.W., ROSENTHAL B.M., ZHAO X., DUBEY J.P. & SU C. (2018). Human impact on the diversity and

- virulence of the ubiquitous zoonotic parasite Toxoplasma gondii. Proc. Natl Acad. Sci. USA, 115, E6956-E6963.

- SLANA I., BIER N., BARTOSOVA B., MARUCCI G., POSSENTI A., MAYER-SCHOLL A., JOKELAINEN P. & LALLE M. (2021). Molecular

- methods for the detection of Toxoplasma gondii oocysts in fresh produce: An extensive review. Microorganisms, 9 doi:

- 10.3390/microorganisms9010167.

- SU C., ZHANG X. & DUBEY J.P. (2006). Genotyping of Toxoplasma gondii by multilocus PCR-RFLP markers: a high resolution

- and simple method for identification of parasites. Int. J. Parasitol., 36, 841–848.

- Torgerson P.R., Devleesschauwer B., Praet N., Speybroeck N., Willingham A.L., Kasuga F., Rokni M.B., Zhou X.N.,

- Fevre E.M., Sripa B., Gargouri N., Furst T., Budke C.M., Carabin H., Kirk M.D., Angulo F.J., Havelaar A. & de Silva N.

- (2015). World Health Organization Estimates of the Global and Regional Disease Burden of 11 Foodborne Parasitic

- Diseases, 2010: A Data Synthesis. PLoS Med, 12 (12), e1001920.

- VOLLER A., BARTLETT A. & BIDWELL D.E. (1976). Enzyme immunoassays for parasitic diseases. Trans. Royal Soc. Trop.

- Med. Hyg., 70, 98–106.

- WAHAB T., EDVINSSON B., PALM D. & LINDH J. (2010). Comparison of the AF146527 and B1 repeated elements, two real-time

- PCR targets used for detection of Toxoplasma gondii. J. Clin. Microbiol., 48, 591–592.

- ZHANG Y., LI D., LU S. & ZHENG B. (2022). Toxoplasmosis vaccines: what we have and where to go? NPJ Vaccines, 7, 131.

555	*

556	* *

557	NB: At the time of publication (2024) there were no WOAH Reference Laboratories

558	for toxoplasmosis (please consult the WOAH Web site:

559	https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3).

560	NB: First adopted in 2004. Most recent updates adopted in 2017.