Annex 22. Item 8.3.1. – Chapter 2.4.2. ‘Infection with Bonamia exitiosa’

Chapter 2.4.2.

infection with Bonamia exitiosa

1.	Scope

Infection with Bonamia exitiosa means infection with the pathogenic agent Bonamia exitiosa of the Family Haplosporiidae.

2.	Disease information

2.1.	Agent factors

2.1.1.	Aetiological agent

Bonamia exitiosa is a Haplosporidian protozoan parasite (Arzul & Carnegie, 2015; Carnegie & Cochennec-Laureau, 2004) infecting haemocytes of several oyster species, causing disease and mortality (Cranfield et al., 2005; Dinamani et al., 1987). Since the original description of the parasite in New Zealand in the mid-1980s, B. exitiosa and B. exitiosa-like microcells have been described in various locations globally. Species assignment was based primarily on the sequence of the ITS rDNA locus of the ribosomal DNA gene complex, as the available data on histology, ultrastructure and molecular sequences was insufficient to discriminate unequivocally between species (Hill et al. 2010b).

2.1.2.	Survival and stability in processed or stored samples

No data available

2.1.3.	Survival and stability outside the host

No data available.

2.2.	Host factors

2.2.1.	Susceptible host species

Species that fulfil the criteria for listing as susceptible to infection with Bonamia exitiosa according to chapter 1.5. of the Aquatic Animal Health Code (Aquatic Code) are:

| Family | Scientific name | Common name |
| --- | --- | --- |
| Ostreidae | Crassostrea virginica | eastern oyster |
|  | Magallana (syn. Crassostrea) ariakensis | Ariake cupped oyster |
|  | Ostrea angasi | Australian mud oyster |
|  | Ostrea chilensis | Chilean flat oyster |
|  | Ostrea edulis | European flat oyster |
|  | Ostrea equestris | crested oyster |
|  | Ostrea lurida | Olympia oyster |
|  | Ostrea puelchana | Argentinean flat oyster |

2.2.2.	Species with incomplete evidence for susceptibility

Species for which there is incomplete evidence to fulfil the criteria for listing as susceptible to infection with B. exitiosa according to Chapter 1.5 of the Aquatic Code are: dwarf oyster (Ostrea stentina).

| Family | Scientific name | Common name |
| --- | --- | --- |
| Ostreidae | Ostrea stentina | dwarf oyster |

In addition, pathogen-specific positive polymerase chain reaction (PCR) results have been reported in the following species, but no active infection has been demonstrated:

| Family | Scientific name | Common name |
| --- | --- | --- |
| Ostreidae | Magallana (syn. Crassostrea) gigas | Pacific cupped oyster |
|  | Saccostrea glomerata | Sydney rock oyster |

2.2.3.	Likelihood of infection by species, host life stage, population or sub-populations

Juveniles and adults are susceptible to infection however, prevalence and infection intensity are generally higher in individuals of 2 years of age. In O. edulis, B. exitiosa DNA has also been detected in larvae (Arzul et al., 2010; Helmer et al., 2020). Bonamia exitiosa is particularly pathogenic in young M. ariakensis, <50 mm in shell height (Bishop et al., 2006).

2.2.4.	Distribution of the pathogen in the host

Bonamia exitiosa is an intrahaemocytic protozoan, but it can be observed extracellularly (Dinamani et al., 1987). Infection is systemic with the protozoan found in several organs and especially in the connective tissues of gills and mantle (Hine, 1991a). In O. angasi, the parasite has been observed in the gills, mantle and gonad and particularly in the connective tissue of the digestive gland (Buss et al., 2020a). In O. edulis, the parasite is associated with heavy haemocytic infiltration and appears in the connective tissue of various organs mostly within haemocytes, but sometimes outside host cells (Abollo et al., 2008). In O. stentina, haemocytosis was not observed in animals found to be infected with the parasite (Hill et al., 2010).

2.2.5.	Aquatic animal reservoirs of infection

Susceptible species (see Section 2.2.1) should be considered potential reservoirs.

None known.

2.3.	Disease pattern

2.3.1.	Mortality, morbidity and prevalence

Mortality in O. chilensis occurs concurrently with the highest infection intensity, particularly in association with high intensity apicomplexan infections (Hine, 2002; Hine & Wesney, 1994). The disease seems to kill more than 80% of the oysters as the wave of infection passes through an oyster bed over a period of 2–3 years (Cranfield et al., 2005). In O. angasi, >85% mortality was observed in oysters after 40 days of exposure with infected oysters (Buss et al., 2020a).

Prevalence is variable in O. chilensis (from 0% to nearly 80%) (Cranfield et al., 2005). In the Southern Hemisphere, infection with B. exitiosa shows the highest prevalence from January to April, with the parasite barely detectable in September and October (Hine, 1991a). Stressors such as exposure to extreme temperatures (below 7°C or above 26°C), high salinity (40 ppt), starvation (prolonged holding in filtered sea water), handling (vigorous stirring four times per day), or heavy infection with an apicomplexan (Hine, 2002), can affect the disease dynamics of B. exitiosa in O. chilensis (Hine et al., 2002).

Prevalence is variable in O. edulis in which co-infection with B. ostreae was reported (Abollo et al., 2008). In Galicia (Spain), the maximum reported prevalence of B. exitiosa in O. edulis was 34% in one batch collected in October (Abollo et al., 2008). Despite some prevalence differences observed between sampling dates, it is not presently possible to determine the annual infection pattern of flat oysters with B. exitiosa in Europe.

In Ostrea angasi, no clear seasonal pattern was described and prevalence increased over time from 8 to 40% after 3 months to 57 to 88% after 1 year, depending on farming site (Buss et al., 2020c).

2.3.2.	Clinical signs, including behavioural changes

Clinical signs include dead or gaping oysters.

2.3.3	Gross pathology

Most live infected oysters appear normal, but sometimes the gills can appear to be eroded (Dinamani et al., 1987).

2.3.4.	Modes of transmission and life cycle

Transmission by infective stages carried passively on water currents between oyster beds is suspected (Cranfield et al., 2005; Hine, 1996). Studies with O. chilensis have shown that transmission of the parasite directly from host to host is possible; Hine (1991a; 1991b) has shown that released infective particles are ingested by oysters and enter the haemolymph from the gut. Infective particles are phagocytosed by agranular haemocytes, and are able to resist lysis within the haemocyte (Hine & Wesney, 1994).

Parasite DNA has been detected in larvae incubated in the palleal cavity of adult oysters suggesting possible transmission between these two age groups. Thus, larvae may contribute to the spread of the parasite during their planktonic life stage (Helmer et al., 2020).

2.3.5.	Environmental factors

Experimental studies using variations in temperature and salinity as stressors (Hine et al., 2002) showed that prevalence was higher in oysters kept for a short period (14 days) in warm water (25–26°C for 1 hour daily) or in hypersaline (39–40 ppt) water compared with cold water (7°C for 1 hour daily) and to hyposaline water (15 ppt).

In O. chilensis, prevalence shows an annual pattern with two peaks reported in April (early autumn) and August (winter) (Hine, 1991a). The evolution of B. exitiosa in O. edulis or O. stentina according to the season has not been studied.

Increased water temperature increases the risk of death of O. angasi due to B. exitiosa infection particularly when it is combined with other stressors – both starvation and increased motion (Bradley et al., 2020).

2.3.6.	Geographical distribution

Infection with B. exitiosa has been reported from in O. chilensis in Oceania (Dinamani et al., 1987; Doonan et al., 1994); in O. angasi in Oceania (Corbeil et al., 2006b; Hine, 1996; Hine & Jones, 1994); in O. edulis in Europe (Abollo et al., 2008; Narcisi et al., 2010); and in O. stentina in Africa (Hill et al., 2010).

See WAHIS (https://wahis.woah.org/#/home) for recent information on distribution at the country level.

2.4.	Biosecurity and disease control strategies

2.4.1.	Vaccination

None.

2.4.2.	Chemotherapy including blocking agents

None.

2.4.3.	Immunostimulation

None.

2.4.4.	Breeding resistant strains

None.

2.4.5.	Inactivation methods

40,000 ppm chlorine for 10 minutes and 2000 ppm iodine for 1 minute inactivate 100% of B. exitiosa isolated from infected oysters (Buss et al., 2020b).

2.4.6.	Disinfection of eggs and larvae

No data available.

2.4.7.	General husbandry

Development of lighter dredges and less damaging fishing strategies should reduce the chance of disease outbreaks by lowering disturbance (Cranfield et al., 2005). Avoiding stressors such as exposure to extreme temperatures (below 7 or above 26°C) and high salinity (40 ppt), starvation, handling, or heavy infection with other parasites, as well as decreasing stocking density, should mitigate the impact of the disease (Cranfield et al., 2005; Hine et al., 2002).

3.	Specimen selection, sample collection, transportation and handling

This section draws on information in Sections 2.2, 2.3 and 2.4 to identify populations, individuals and samples that are most likely to be infected.

3.1.	Selection of populations and individual specimens

Gaping or freshly dead individuals (2 or more years old) should be sampled as a priority, to increase the chances of detecting infected oysters. For histology, only live (including moribund) oysters should be sampled.

Sampling should be carried out when prevalence is known to be at a maximum, or during periods of higher water temperature e.g.  between January and April in the Southern Hemisphere (Hine, 1991a).

3.2.	Selection of organs or tissues

A 3–5 µm thick section of tissue that includes a sample of gills, mantle, gonad, and digestive gland, is used for histological examination. Gills or heart are preferred for some tests such as imprints. For PCR in O. edulis it is recommended to include gills and gonad.

3.3.	Samples or tissues not suitable for pathogen detection

Tissues other than gills, heart, gonads and mantle are less suitable.

3.4.	Non-lethal sampling

None.

3.5.	Preservation of samples for submission

For guidance on sample preservation methods for the intended test methods, see Chapter 2.4.0 General information (diseases of molluscs).

3.5.1.	Samples for pathogen isolation

Not applicable.

3.5.2.	Preservation of samples for molecular detection

Tissue samples for PCR testing should be preserved in 80% (v/v) analytical-grade ethanol.

Standard sample collection, preservation and processing methods for molecular techniques can be found in Section B.5.5 of Chapter 2.4.0 General information (diseases of molluscs).

3.5.3.	Samples for histopathology, immunohistochemistry or in-situ hybridisation

Standard sample collection, preservation and processing methods for histological techniques can be found in Section B.5.3 of Chapter 2.4.0 General information (diseases of molluscs).

3.5.4.	Samples for other tests

None.

3.6.	Pooling of samples

Pooling of samples from more than one individual animal for a given purpose is only recommended where robust supporting data on diagnostic sensitivity and diagnostic specificity have been evaluated and found to be suitable. The effect of pooling on diagnostic sensitivity has not been thoroughly evaluated, therefore larger specimens should be processed and tested individually. Small life stages such as spat can be pooled to obtain the minimum amount of material for molecular detection.

4.	Diagnostic methods

The methods currently available for pathogen detection that can be used in i) surveillance of apparently healthy animals, ii) presumptive diagnosis in clinically affected animals and iii) confirmatory diagnostic purposes are listed in Table 4.1. by animal life stage.

Ratings for purposes of use. For each recommended assay a qualitative rating for the purpose of use is provided. The ratings are determined based on multiple performance and operational factors relevant to application of an assay for a defined purpose. These factors include appropriate diagnostic performance characteristics, level of assay validation, availability cost, timeliness, and sample throughput and operability. For a specific purpose of use, assays are rated as:

+++ =	Methods are most suitable with desirable performance and operational characteristics.

++ = 	Methods are suitable with acceptable performance and operational characteristics under most circumstances.

+ = 	Methods are suitable, but performance or operational characteristics may limit application under some circumstances.

Shaded boxes = 	Not appropriate for this purpose.

Validation stage. The validation stage corresponds to the assay development and validation pathway in chapter 1.1.2. The validation stage is specific to each purpose of use. Where available, information on the diagnostic performance of recommended assays is provided in Section 6.3.

WOAH Reference Laboratories welcome feedback on diagnostic performance of recommended assays, in particular PCR methods. Of particular interest are any factors affecting expected assay sensitivity (e.g. tissue components inhibiting amplification) or expected specificity (e.g. failure to detect particular genotypes, detection of homologous sequences within the host genome). These issues should be communicated to the WOAH Reference Laboratories so that advice can be provided to diagnostic laboratories and the standards amended if necessary.

Table 4.1. WOAH recommended diagnostic methods and their level of validation for surveillance of apparently healthy animals and investigation of clinically affected animals

| Method | - Surveillance of apparently healthy animals |  |  |  | - Presumptive diagnosis of clinically affected animals |  |  |  | - Confirmatory diagnosis1 of a suspect result from surveillance or presumptive diagnosis |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Early life stages2 | Juveniles2 | Adults | LV | Early life stages2 | Juveniles2 | Adults | LV | Early life stages2 | Juveniles2 | Adults | LV |
| Imprints |  | ++ | ++ | 2 |  | +++ | +++ | NA |  |  |  |  |
| Histopathology |  | ++ | ++ | 2 |  | +++ | +++ | 2 |  |  |  |  |
| Transmission electron microscopy |  |  |  |  |  |  |  |  | + | + | + | NA |
| Real-time PCR | +++ | +++ | +++ | 3 | +++ | +++ | +++ | 2 | +++ | +++ | +++ | NA |
| Conventional PCR | ++ | ++ | ++ | 2 | +++ | +++ | +++ | NA |  |  |  |  |
| Conventional PCR followed by amplicon sequencing |  |  |  |  |  |  |  |  | +++ | +++ | +++ | NA |
| In-situ hybridisation |  |  |  |  | + | + | + | 1 |  |  |  |  |
| Bioassay |  |  |  |  |  |  |  |  |  |  |  |  |
| LAMP |  |  |  |  |  |  |  |  |  |  |  |  |
| Ab-ELISA |  |  |  |  |  |  |  |  |  |  |  |  |
| Ag-ELISA |  |  |  |  |  |  |  |  |  |  |  |  |
| Other antigen detection methods |  |  |  |  |  |  |  |  |  |  |  |  |

LV = level of validation, refers to the stage of validation in the WOAH Pathway (chapter 1.1.2), Figures brackets mean that partial data are available; NA = not available; PCR = polymerase chain reaction; LAMP = loop-mediated isothermal amplification; Ab- or Ag-ELISA = antibody or antigen enzyme-linked immunosorbent assay, respectively; 1For confirmatory diagnoses, methods need to be carried out in combination (see Section 6). 2Susceptibility of early and juvenile life stages is described in Section 2.2.3. 
Shading indicates the test is inappropriate or should not be used for this purpose.

4.1.	Imprints

Samples to be taken consist of heart (preferably the ventricle) or gills from fresh, gaping or freshly dead bivalves if they are sufficiently large. If bivalves are too small (such as spat), imprints should be done using the entire individual.

After drying tissues on absorbent paper, several imprints are made on a glass slide. Slides are air-dried, fixed (in methanol or absolute ethanol) and stained using a commercially available blood-staining kit, in accordance with the manufacturer’s instructions. After rinsing in tap water and drying, the slides are mounted with a cover-slip using an appropriate synthetic resin. Slides are observed first at ×200 magnification and then under oil immersion at ×1000 magnification.

Infection with Bonamia exitiosa is indicated by the presence of small spherical or ovoid organisms (2–5 µm wide) within the haemocytes. However, the parasite might also occur extracellularly. These organisms show a basophilic cytoplasm often containing a lipid vacuole and an eosinophilic nucleus which is rather central unlike the B. ostreae nucleus which is rather eccentric (colours of cytoplasm and nucleus may vary with the stain used). Parasitic cells can appear larger on imprints than on histological examination. Multinucleated cells can be observed (Abollo et al., 2008; Hine et al., 2001). The technique is not parasite species specific.

A positive result is indicative of infection with a Bonamia species.

4.2.	Histopathology

Samples to be taken consist of fresh, gaping or freshly dead bivalves.

Sections of tissue that include gills, digestive gland, mantle, and gonad should be fixed for 24 hours minimum in a recommended fixative followed by standard processing for histology as described in section 5.3 of Chapter 2.4.0 General information (diseases of molluscs). Observations are made at increasing magnifications up to ×1000.

Infection with B. exitiosa is indicated by the presence of parasites as small cells (2–5 µm in diameter) within the haemocytes or free in the connective tissue or sinuses of the gills, gonads, digestive gland, gut and mantle. The parasite causes different lesions according to it host. It is often associated with an intense disseminated haemocyte infiltration in O. chilensis but intense focal haemocyte infiltration in O. angasi in which it is epitheliotrophic (Engelsma & Hine, 2009). In O. edulis, it is associated with haemocyte infiltration of the connective tissues surrounding the digestive gland and the mantle (Longshaw et al., 2013). To avoid any doubt, the parasite has to be observed inside the haemocyte for a positive diagnosis.

B. exitiosa is generally larger than B. ostreae and often has a central or subcentral nucleus. Plasmodia stages characterised by irregular shape were noted in the haemocyte cytoplasm but, unlike B. perspora, no spore has been described in B. exitiosa. The technique is not species-specific.

Positive result is indicative of infection with a Bonamia species.

4.3.	Transmission electron microscopy

Samples to be taken consist of live, gaping or freshly dead bivalves.

A small sized piece of tissue (1–2 mm) should be fixed in an appropriate fixative for at least 1 hour and then processed as described in section 5.4 of Chapter 2.4.0 General information (diseases of molluscs).

Infection with Bonamia exitiosa is indicated by the presence of parasites within the haemocytes. Different stages, including uninucleated, binucleated and plasmodial stages have been reported; moreover, B. exitiosa has a large amoeboid trophic stage, apparently not present in B. ostreae. Intracellular structures include mitochondria, haplosporosomes, Golgi apparatus and persistent intranuclear microtubules. In O. chilensis, four parasite developmental stages have been described in infected oysters corresponding to dense forms, intermediate forms, plasmodial forms and vacuolated forms (Hill et al., 2010; Hine, 1991b; Hine et al., 2001).

Uninucleated stages of B. exitiosa are slightly larger in size in comparison with B. ostreae and have more haplosporosomes, mitochondrial profiles and lipoid bodies per ultrastructure section, as well as smaller tubulo-vesicular mitochondria. However, this stage is smaller in comparison with B. perspora which has also smaller haplosporosomes (Hine et al., 2001; 2014).

4.4.	Nucleic acid amplification

PCR assays should always be run with the controls specified in Section B.5.5 Molecular methods Chapter 2.4.0 General information (diseases of molluscs). Molluscs are known to potentially contain substances that can inhibit PCR reactions. It is recommended to check for the presence of PCR inhibitors in DNA extracts to avoid false negative results. In case PCR inhibitors are present, DNA samples can be diluted prior to PCR analyses (a 1/10 dilution usually resolves most cases of PCR inhibition). Each sample should be tested in duplicate.

Extraction of nucleic acids

Different kits and procedures can be used for nucleic acid extraction. The quality and concentration of the extracted nucleic acid is important and can be checked using a suitable method as appropriate to the circumstances.

4.4.1.	Real-time PCR

Three TaqMan PCR assays are available for the detection of Bonamia spp.: one targeting the ITS1 (internal transcribed spacer) (Corbeil et al., 2006a) and two targeting the 18S (small subunit rDNA) (Canier et al., 2020; Marty et al., 2006). The PCR assay developed by Canier et al. (2020) targets the 18S (small subunit rDNA) and allows the concomitant detection of Bonamia sp. and Marteilia refringens parasites.

Two other real-time PCR protocols have been developed to specifically detect B. exitiosa: one SYBR green PCR assay targeting the 18S-ITS1 region (Ramilo et al., 2013), and a Taqman PCR protocol targeting the actin gene (https://www.eurl-mollusc.eu/SOPs). These two PCR assays allow the concomitant detection of B. ostreae and B. exitiosa parasites.

PCR assays are generally more sensitive than histology and/or cytology for the diagnosis of B. exitiosa (see Sections 6.1. and 6.2) although Buss et al. (2019) found that histology was more sensitive than real-time PCR in farmed populations of Ostrea angasi. Real-time PCR assays usually have higher sensitivity than conventional PCR assays (see Sections 6.1. and 6.2).

Primers and probes (sequence)

| Pathogen/ target gene | Primer/probe (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Corbeil et al., 2006a; GenBank Accession No.: DQ312295 |  |  |  |
| Taqman® PCR Bonamia spp./ITS-1 | ITS-For: CCC-TGC-CCT-TTG-TAC-ACA-C ITS-Rev: TCA-CAA-AGC-TTC-TAA-GAA-CGC-G Probe BonITS: TTA-GGT-GGA-TAA-GAG-CCG-C (FAM MGB-NFQ) | 900 nM 900 nM 250 nM | 35 cycles of: 95°C/15 sec and 63.6°C/60 sec |
| Method 2: Marty et al., 2006; GenBank Accession No.: DQ312295 |  |  |  |
| Taqman® PCR Bonamia spp./18S | Fwd: CCC-GGC-TTC-TTA-GAG-GGA-CTA Rev: ACC-TGT-TAT-TGC-CCC-AAT-CTT-C Probe: CTG-TGT-CTC-CAG-CAG-A (FAM MGB-NFQ) | 800 nM 800 nM 250 nM | 40 cycles of: 95°C/15 sec and 60°C/60 sec |
| Method 3: Canier et al., 2020; GenBank Accession No.: EU016528 |  |  |  |
| Taqman® PCR Bonamia spp./18S | Bosp2-18S-F: CAG-GAT-GCC-CTT-AGA-TGC-TC Bosp2-18S-R: GTA-CAA-AGG-GCA-GGG-ACG-TA Probe Bosp-18S-IN: TTG-ACC-CGG-CTT-GAC-AAG-GC (HEX-BHQ1) | 300 nM 500 nM 300 nM | 40 cycles of: 95°C/15 sec and 60°C/60 sec |
| Method 4: Ramilo et al., 2013; GenBank Accession No: DQ312295 |  |  |  |
| SYBR Green PCR B. exitiosa/18S-ITS | BEXIT-F: GCG-CGT-TCT-TAG-AAG-CTT-TG BEXIT-R: AAG-ATT-GAT-GTC-GGC-ATG-TCT | 300 nM 300 nM | 35 cycles of: 95°C/30 sec and 58°C/45 sec, 72°C/60 sec Melt curve from 58°C to 95°C with 0.5°C increment/sec |
| Method 5: EURL for mollusc diseases (2023) |  |  |  |
| Taqman® PCR B. exitiosa/ actin | BEa_F: GAC-TTT-GAC-CAT-CGG-AAA-CG BEa_R: ATC-GAG-TCG-TAC-GCG-AGT-CT BEa_probe GGC-AGC-GAA-TCG-ATG-GGA-AT (FAM-BHQ-1) | 300 nM 300 nM 200 nM | 40 cycles of: 95°C/15 sec and 60°C/20 sec |

(a)A denaturation step prior to cycling has not been included.

4.4.2.	Conventional PCR

Two conventional PCR protocols targeting the 18S (small subunit rDNA) have been developed for the detection of Bonamia sp. (Carnegie et al., 2000; Cochennec et al., 2000). Conventional PCRs are generally more sensitive than histology or cytology (see Sections 6.1. and 6.2). Under certain circumstances, the Cochennec et al. (2000) primers generate a 295 bp non-specific product of approximately the same size as the expected product of 300 bp (Engelsma et al., 2014).

Primer sequences

| Pathogen/ target gene | Primer (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Carnegie et al., 2000 modified in Carnegie et al., 2008; amplicon size [760 bp] |  |  |  |
| Bonamia spp./18S amplifies most of the identified Bonamia sp. including B. ostreae and B. exitiosa | CF: CGG-GGG-CAT-AAT-TCA-GGA-AC CR: CCA-TCT-GCT-GGA-GAC-ACA-G | 250 nM 250 nM | 35 cycles of: 95°C/1 min and 59°C/1 min and 72°/1 min |
| Method 2: Cochennec et al., 2000; amplicon size [304 bp] |  |  |  |
| Bonamia spp./18S amplifies all identified Bonamia spp. and several members of Haplosporidia | BO: CAT-TTA-ATT-GGT-CGG-GCC-GC BOAS: CTG-ATC-GTC-TTC-GAT-CCC-CC | 1 µM 1 µM | 30 cycles of: 95°C/60 sec, 55°C/60 sec, 72°C/60 sec |

(a)A denaturation step at 94–95°C prior to cycling and a final elongation step at 72°C 
(between 5 and 10 minutes) must be included.

4.4.3.	Other nucleic acid amplification methods

None available.

4.5.	Amplicon sequencing

The size of the PCR amplicon is verified by agarose gel electrophoresis and purified by excision from this gel. Obtained sequences are analysed and compared with published sequences.

Targeted regions are 18S, ITS1 and actin. Although the sequences are available in the public gene banks, it is recommended to refer such cases to the appropriate WOAH Reference Laboratory.

4.6.	In-situ hybridisation

Samples to be taken consist of live or freshly dead oysters.

Several in-situ hybridisation protocols have been developed, two targeting the 18S and one the ITS1.

The first one (Cochennec et al., 2000) allows detection at the Bonamia genus level and uses a 300 bp labelled probe produced by PCR.

Two ISH protocols were designed to specifically detect B. exitiosa (Hill et al., 2010; Ramilo et al., 2014) but should also detect closely related parasites (belonging to the “clade B. exitiosa”). These assays rely on digoxigenin-labelled oligonucleotide probes.

| Reference | Pathogen/target | ISH probe type | ISH probe |
| --- | --- | --- | --- |
| Method 1 Cochennec et al., 2000 | Bonamia spp. and several members of Haplosporidia 18S | Labelled BO–BOAS amplicons | BO–BOAS PCR product (300bp) |
| Method 2: Hill et al., 2010 | Bonamia exitiosa and closely related Bonamia sp. 18S | Three labelled oligonucletotides | CaBon166: CGA-GCA-GGG-TTT-GTC-ACG-TAT CaBon461: TTC-CGA-ATA-GGC-AAC-CGA-AG CaBon1704: CAA-AGC-TTC-TAA-GAA-CGC-GCC |
| Method 3: Ramilo et al., 2014 | Bonamia exitiosa and closely related Bonamia sp. ITS1 | Labelled oligonucletotides | BEX_ITS: CAA-AGA-TTG-ATG-TCG-GCA-TG |

Technical procedure

The first steps in the technical procedure follow the recommendations described in chapter 2.4.0.

Subsequent steps concerning Method 1 (Cochennec et al., 2000) are that the probe is produced by PCR using the previously described primer pair Bo–Boas (Section 4.4.2) with digoxigenin incorporation and the PCR is performed as described in the section on PCR except that DIG dUTP 25 mM is added to the reaction mixture. The detection steps are performed according to the manufacturer’s instructions. In other protocols, probes consist in digoxigenin-labelled nucleotides.

Slides are dehydrated by immersion in an ethanol series and air dried. The slides are then covered with hybridisation buffer (4 × SSC [standard saline citrate; 60 mM NaCl, 600 mM NaCl, pH 7], 50% formamide, 1 × Denhardt’s solution, 250 µg ml–1 yeast tRNA, 10% dextran sulphate) containing approx. 20 ng of the digoxigenin-labelled probe (1–2 µl of the probe produced by PCR, or 1 µl at 100 µm of labelled nucleotides). Sections are covered with in-situ plastic cover-slips and placed for 5 minutes at 95°C. Slides are then cooled on ice for 1– 5 minutes before overnight hybridisation at 42°C in a humid chamber Sections are washed twice for 5 minutes in 2 × SSC at room temperature, and once for 10 minutes in 0.4 × SSC at 42°C. The detection steps are performed according to the manufacturer’s instructions. The slides are then rinsed with appropriate buffer. The sections are counter-stained with an appropriate staining, rinsed in tap water, immersed in 95% and 100% ethanol for 30 seconds for each, rinsed for 10–30 seconds in xylene and cover-slips are applied using an appropriate mounting medium.

Interpretation of results:

A positive result corresponds to labelled parasites inside the haemocytes, with all negative controls (including non-infected sample and no probe ISH reaction control) negative and all positive controls (including infected sample) positive. In addition, non-specific probe such as SSUrDNA can be used to verify the integrity of DNA in paraffin blocks.

4.7.	Immunohistochemistry

Not available.

4.8.	Bioassay

Not available.

4.9.	Antibody- or antigen-based detection methods (ELISA, etc.)

Not available.

4.10.	Other methods

Not available.

5.	Test(s) recommended for surveillance to demonstrate freedom in apparently healthy populations

Real-time PCR is recommended for targeted surveillance to declare freedom from infection with B. exitiosa. Histology, tissue imprint and conventional PCR can also be used (see Table 4.1).

6.	Corroborative diagnostic criteria

This section only addresses the diagnostic test results for detection of infection in the absence (Section 6.1.) or in the presence of clinical signs (Section 6.2.) but does not evaluate whether the infectious agent is the cause of the clinical event.

The case definitions for a suspect and confirmed case have been developed to support decision-making related to trade and confirmation of disease status at the country, zone or compartment level. Case definitions for disease confirmation in endemically affected areas may be less stringent. If a Competent Authority does not have the capability to undertake the necessary diagnostic tests it should seek advice from the appropriate WOAH Reference Laboratory, and if necessary, refer samples to that laboratory for confirmatory testing of samples from the index case in a country, zone or compartment considered free.

6.1.	Apparently healthy animals or animals of unknown health status

Apparently healthy populations may fall under suspicion, and therefore be sampled, if there is an epidemiological link(s) to an infected population. Hydrographical proximity to, or movement of animals or animal products or equipment, etc., from a known infected population equate to an epidemiological link. Alternatively, healthy populations are sampled in surveys to demonstrate disease freedom.

6.1.1.	Definition of suspect case in apparently healthy animals

The presence of infection with Bonamia exitiosa shall be suspected if at least one of the following criteria is met:

i)	Observation of parasite cells in tissue imprints

ii)	Observation of parasite cells in tissue sections with or without histopathology characteristic of the pathogen

iii)	Positive result by conventional PCR

iv)	Positive result by real-time PCR

6.1.2.	Definition of confirmed case in apparently healthy animals

The presence of infection with Bonamia exitiosa is considered to be confirmed if the following criterion is met:

i)	Positive result by tissue imprints or histology followed by real-time PCR or by conventional PCR and sequencing

6.2	Clinically affected animals

Clinical signs are not pathognomonic for a single disease; however they may narrow the range of possible diagnoses.

6.2.1.	Definition of suspect case in clinically affected animals

The presence of infection with Bonamia exitiosa shall be suspected if at least one of the following criteria is met:

i)	Gross pathology or clinical signs associated with the disease as described in this chapter

ii)	Observation of parasite cells in tissue imprints

iii)	Observation of parasite cells in tissue sections with or without histopathology characteristic of the pathogen

iv)	Positive result by real-time PCR

v)	Positive result by conventional PCR

vi)	Positive result by in-situ hybridisation

6.2.2.	Definition of confirmed case in clinically affected animals

The presence of infection with Bonamia exitiosa is considered to be confirmed if the following criterion is met:

i)	Positive result by real-time PCR or by conventional PCR and sequencing

6.3.	Diagnostic sensitivity and specificity for diagnostic tests

The diagnostic performance of tests recommended for surveillance or diagnosis of infection with B. exitiosa are provided in Tables 6.3.1. and 6.3.2. This information can be used for the design of surveys for infection with B. exitiosa, however, it should be noted that diagnostic performance is specific to the circumstances of each diagnostic accuracy study (including the test purpose, source population, tissue sample types and host species) and diagnostic performance may vary under different conditions. Data are only presented where tests are validated to at least level 2 of the validation pathway described in Chapter 1.1.2. and the information is available within published diagnostic accuracy studies.

Data on analytical performances (stage 1 validation) are often missing for diagnostic tests described in this chapter: the limit of detection is rarely available, and the inclusivity of molecular assays is not always fully evaluated (missing information on the detection of Bonamia sp. lineages/ species other than B. ostreae and B. exitiosa).

Diagnostic sensitivity (DSe) and specificity (DSp) (stage 2 validation) are available for most diagnostic tests. However, these values depend on the studied mollusc population (host species, prevalence, intensity of infection, etc.), the protocol (tissue analysed, DNA extraction, use of cut-off value for PCR assays, etc.) and test purpose. Additionally, as no gold standard exists for the detection of B. exitiosa, several approaches can be used for DSe and DSp estimation, such as the use of a combination of tests to establish reference results or latent class analysis (maximum likelihood or Bayesian method). If Bayesian Latent class is used, the analysis can incorporate prior knowledge about the performance of compared diagnostic tests. The choice of the overall approach used will have an impact on DSe & DSp estimates. It is therefore complex to compare DSe/DSp estimates from different studies.

Real-time PCR is generally considered as the most sensitive method except in some particular cases as for example for the diagnostic of Bonamia sp. in a population of farmed O. angasi in Australia, where histology was found to be more sensitive (Buss et al., 2019). This population was characterised by a high Bonamia prevalence but low intensity of infection with focal lesions. The fact that PCR diagnosis is performed in a small part of tissue could explain this result.

Two real-time PCR (Canier at al., 2020 and EURL, 2023) were evaluated for their reproducibility (stage 3 validation) in the context of interlaboratory comparison tests.

6.3.1.	For presumptive diagnosis of clinically affected animals

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe (n) | DSp (n) | Reference test | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Taqman PCR Bonamia sp. (Corbeil et al., 2006a) (with epidemiological Ct cut-off) | Diagnosis | Two farms in B. exitiosa endemic areas in Australia: a coastal lease with B. exitiosa associated mortalities, a land-based hatchery with no B. exitiosa associated mortalities (prevalences ~30 and 60%) | Gills | Ostrea angasi | 93.5% (232) | 92.2% (232) | Histology Bayesian latent class analysis | Bradley et al., 2020 |
| Histology | Diagnosis |  | Tissue slide |  | 50.8% (232) | 98.2% (232) | Taqman PCR Bayesian latent class analysis |  |

DSe = diagnostic sensitivity, DSp = diagnostic specificity, n = number of animals used in the validation study,
PCR: = polymerase chain reaction.

6.3.2.	For surveillance of apparently healthy animals

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe (n) | DSp (n) | Reference test | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Histology | Surveillance | 28 flat oysters from one site in New Zealand (high prevalence 60–96%) | Tissue section | O. chilensis | 44.4% (28) | 100% (28) | Combination conventional PCR and ISH (DSe & DSp: 100%) | Diggles et al., 2003 |
|  | Surveillance | Flat oysters from three farms in western Canada (spats sourced from Washington, USA, where B. ostreae is endemic). Low prevalence populations | Tissue section | Ostrea edulis (1–2.5 years) | 56% (607) | 100% (607) | Combination histology and real-time PCR (DSe: 88%, DSp: 99%) | Marty et al., 2006 |
|  | Surveillance | Flat oysters produced in hatchery derived from five origins, deployed in the field, in a B. ostreae & B. exitiosa endemic area (Galicia, Spain). High prevalence populations | Tissue section | Ostrea edulis (2–3 years) | 54% (137) | 96% (137) | Real-time PCR (DSe: 100%, DSp: 77%) and conventional PCR. Maximum likelihood latent class analysis (TAGS) | Ramilo et al., 2013 |
|  | Surveillance | 30 flat oysters from an area affected by Bonamia ostreae and B. exitiosa in Galicia, Spain. High prevalence populations | Tissue section | Ostrea edulis | 63% (30) | 88% (30) | ISH (DSe: 82%, DSp:88%), PCR-RFLP (DSe 91%, DSp 100%), real-time PCR (DSe 100%, DSp 75%). Maximum likelihood latent class analysis (TAGS) | Ramilo et al., 2014 |
|  | Surveillance | Flat oysters from three farms in South Australia (high prevalence populations 60–90%, but low intensity of infection) | Tissue section | Ostrea angasi | 76% (400) | 93% (400) | Real-time PCR (DSe: 69%, DSp:93%) and heart imprint (DSe: 61%, DSp: 60%). Bayesian latent class analysis | Buss et al., 2019 |
| Cytology | Surveillance | Flat oysters from three farms in South Australia (high prevalence populations 60–90%, but low intensity of infection) | Heart imprints | Ostrea angasi | 61% (400) | 60% (400) | Histology (DSe: 76%, DSp: 93%) and real-time PCR (DSe: 69%, DSp:93%) Bayesian latent class analysis | Buss et al., 2019 |
|  | Surveillance | 28 flat oysters from one site in New Zealand (high prevalence 60–96%) | Heart imprints | O. chilensis | 59.3% (28) | 100% (28) | Combination conventional PCR and ISH (DSe & DSp: 100%) | Diggles et al., 2003 |
| In situ hybridisation (Cochennec et al., 2000) | Surveillance | 28 flat oysters from one site in New Zealand (high prevalence 60–96%) | Tissue section | O. chilensis | 100% (28) | 27.3% (28) | Combination heart imprint and histology (DSe & DSp: 100%) | Diggles et al., 2003 |
| Conventional PCR Bonamia sp. (Cochennec et al., 2000) | Surveillance | 28 flat oysters from one site in New Zealand (high prevalence 60–96%) | Gonad and digestive gland | O. chilensis | 88.2% (28) | 36.4% (28) | Combination heart imprint and histology (DSe & DSp: 100%) | Diggles et al., 2003 |
|  | Surveillance | Eight batches of 30 flat oysters, Spain (tested by two laboratories) (total prevalence 10–30%) | NA | Ostrea edulis | 93% (240) | 85-90% (240) | Combination histology and gill imprints (DSe: 64-69%, DSp: 97.5%) | Balseiro et al., 2006 |
|  | Surveillance | 30 flat oysters from an area affected by Bonamia ostreae and B. exitiosa in Galicia, Spain | Gills | Ostrea edulis | 91% (30) | 100% (30) | ISH (DSe: 82%, DSp:88%), Histology (Des 63%, DSp 88%), and real-time PCR (DSe 100%, DSp 75%) Maximum likelihood latent class analysis (TAGS) | Ramilo et al., 2014 |
|  | Surveillance | Flat oysters from the three main production sites in France representative of three different levels of B. ostreae prevalence (very low, low, high) | Gills and digestive gland tissues | Ostrea edulis (1–3 years) | 82.8% (349) | 98.7% (349) | Real-time PCR (DSe: 77.5%, DSp: 98.4%) Bayesian latent class analysis | Canier et al., 2020 |
| Taqman real-time PCR Bonamia sp. | Surveillance | Flat oysters from three farms in western Canada (spats sourced from Washington, USA, where B. ostreae is endemic). Low prevalence populations | Heart | Ostrea edulis (1–2.5 years) | 88% (607) | 99% (607) | Combination histology and real-time PCR; histology (DSe: 56%, DSp: 100%) | Marty et al., 2006 |
| Taqman real-time PCR Bonamia sp. (Corbeil et al., 2006a), | Surveillance | Flat oysters from three farms in South Australia (high prevalence populations 60–90%, but low intensity of infection) | Mantle, gill, heart (DNA tested pure and 1/10 diluted) | Ostrea angasi | 69% (400) | 93% (400) | Histology (DSe: 76%, DSp: 93%) and heart imprint (DSe: 61%, DSp: 60%) Bayesian latent class analysis | Buss et al., 2019 |
| Taqman real-time PCR Bonamia sp. | Surveillance | Flat oysters from the three main production sites in France representative of three different levels of B. ostreae prevalence (very low, low, high) | Gills and digestive gland tissues | Ostrea edulis (1–3 years) | 77.5% (349) | 98.4% (349) | Conventional PCR (DSe : 82.8%, DSp : 98.7%) Bayesian latent class analysis | Canier et al., 2020 |
| SYBR Green real-time PCR B. exitiosa (Ramilo et al., 2013) | Surveillance | Flat oysters produced in hatchery derived from 5 origins, deployed in the field, in a B. ostreae & B. exitiosa endemic area (Galicia, Spain). High prevalence populations | Gills | Ostrea edulis (2–3 years) | 100% (137) | 77% (137) | Histology (DSe: 54%, DSp: 96%) and conventional PCR. Maximum likelihood latent class analysis (TAGS) | Ramilo et al., 2013 |
|  | Surveillance | 30 flat oysters from an area affected by Bonamia ostreae and B. exitiosa in Galicia, Spain | Gills | Ostrea edulis | 100% (30) | 75% (30) | ISH (DSe: 82%, DSp:88%), histology (DSe 63%, DSp 88%), and PCR-RFLP (DSe 91%, DSp 100%). Maximum likelihood latent class analysis, (TAGS) | Ramilo et al., 2014 |

DSe = diagnostic sensitivity, DSp = diagnostic specificity, n = number of animals used in the validation study,
PCR: = polymerase chain reaction.

7.	References

Abollo E., Ramilo A., Casas S.M., Comesaña P., Cao A., Carballal M.J. & Villalba A. (2008). First detection of the protozoan parasite Bonamia exitiosa (Haplosporidia) infecting flat oyster Ostrea edulis grown in European waters. Aquaculture, 274, 201–207.

Arzul I. & Carnegie R.B. (2015) New perspective on the haplosporidian parasites of molluscs. J. Invertebr. Pathol., 131, 32–42. doi: 10.1016/j.jip.2015.07.014.

Arzul I., Langlade A., Chollet B., Robert M., Ferrand S., Omnes E., Lerond S., Couraleau Y., Joly J.-P., François C. & Garcia C. (2010). Can the protozoan parasite Bonamia ostreae infect larvae of flat oysters Ostrea edulis? Vet. Parasitol., doi:10.1016/j.vetpar.2011.01.060

Balseiro P., Conchas R.F., Montes J., Gómez-León J., Novoa B. & Figueras A. (2006). Comparison of diagnosis techniques for the protozoan parasite Bonamia ostreae in flat oyster Ostrea edulis. Aquaculture, 261, 1135–1143.

Bishop M., Carnegie R., Stokes N., Peterson C. & Burreson E., (2006). Complications of a non-native oyster introduction: facilitation of a local parasite. Mar. Ecol., Prog. Ser., 325, 145–152.

Bradley T.L., Mercer J.A., Humphrey J.D., Moody N.J.G. & Hunnam J.C. (2020). Bonamia exitiosa in farmed native oysters Ostrea angasi in Australia: optimal epidemiological qPCR cut-point and clinical disease risk factors. Dis. Aquat. Organ., 140, 151–165.

Buss J.J., Harris J.O., Tanner J.E., Wiltshire K.H. & Deveney M.R. (2020a). Rapid transmission of Bonamia exitiosa by cohabitation causes mortality in Ostrea angasi. J. Fish Dis., 43, 227–237. doi: 10.1111/jfd.13116.

Buss J., Wiltshire K.H., Harris J.O. & Deveney M.R. (2020b). Decontamination of Bonamia exitiosa. Aquaculture,523, 735210, https://doi.org/10.1016/j.aquaculture.2020.735210.

Buss J.J., Wiltshire K.H., Harris J.O., Tanner J.E.  & Deveney M.R. (2020c). Infection dynamics of Bonamia exitiosa on intertidal Ostrea angasi farms. J. Fish Dis., 43, 359–369. doi: 10.1111/jfd.13134.

Buss J.J., Wiltshire K.H., Prowse T.A.A., Harris J.O., Deveney M.R. (2019). Bonamia in Ostrea angasi: diagnostic performance, field prevalence and intensity. J. Fish Dis., 42, 63–74. doi: 10.1111/jfd.12906

Canier L., Dubreuil C., Noyer M., Serpin D., Chollet B., Garcia C. & Arzul I. (2020). A new multiplex real-time PCR assay to improve the diagnosis of shellfish regulated parasites of the genus Marteilia and Bonamia. Prev. Vet. Med., 183, 105126.

Carnegie R., Barber B.J., Culloty S.C., Figueras A.J. & Distel D.L. (2000). Development of a PCR assay for detection of the oyster pathogen Bonamia ostreae and support for its inclusion in the Haplosporidia. Dis. Aquat. Organ., 42, 199–206.

Carnegie R.B. & Cochennec-Laureau N. (2004). Microcell parasites of oysters: Recent insights and future trends. Aquat. Living Res., 17, 519–528.

Carnegie R.B., Stokes N.A., Audemard C., Bishop M.J., Wilbur A.E., Alphin T. D. & Burreson E.M. (2008). Strong seasonality of Bonamia sp. infection and induced Crassostrea ariakensis mortality in Bogue and Masonboro Sounds, North Carolina, USA. J. Invertebr. Pathol., 98, 335–343.

Cochennec N., Le Roux F., Berthe F. & Gérard A. (2000). Detection of Bonamia ostreae based on small subunit ribosomal probe. J. Invertebr. Pathol., 76, 26–32.

Corbeil S., Arzul I., Diggles B., Heasman M., Chollet B., Berthe F.C. & Crane M.S. (2006a). Development of a TaqMan PCR assay for the detection of Bonamia species. Dis. Aquat. Organ., 71, 75–80.

Corbeil S., Arzul I., Robert M., Berthe F.C.J., Besnard-Cochennec N. & Crane M.S.J. (2006b). Molecular characterization of an Australian isolate of Bonamia exitiosa. Dis. Aquat. Organ., 71, 81-85.

Cranfield H.J., Dunn A., Doonan I.J. & Michael K.P. (2005). Bonamia exitiosa epizootic in Ostrea chilensis from Foveaux Strait, southern New Zealand between 1986 and 1992. Ices J. Mar. Sci., 62, 3–13.

Diggles B.K., Cochennec Laureau N. & Hine P.M. (2003). Comparison of diagnostic techniques for Bonamia exitiosus from flat oysters Ostrea chilensis in New Zealand. Aquaculture, 220, 145–156.

Dinamani P., Hine P.M. & Jones J.B. (1987). Occurrence and characteristics of the haemocyte parasite Bonamia sp. in the New Zealand dredge oyster Tiostrea lutaria. Dis. Aquat. Org., 3, 37–44.

Doonan I.J., Cranfield H.J. & Michael K.P. (1994). Catastrophic reduction of the oyster, Tiostrea chilensis (Bivalvia: Ostreidae), in Foveaux strait, New Zealand, due to infestation by the protistan Bonamia sp. NZ J. Mar. Freshwater Res., 28, 335–344.

Engelsma M. & M. Hine. (2009). Infection with Bonamia exitiosa: disease detection, pathogen identification and typing. In: Epidemiology of different agents causing disease in aquatic animals: scientific review and database development, Hill B., Reese A., Dixon P., Oidtmann B., Paley R., Peeler E., Stentiford G., Stone D., Way K., Hine M., Calistri P., Ippoliti C., Di Lorenzo A., Savini L., Haenen O., Engelsma M., eds. European Food Safety Authority (EFSA), Parma, Italy, Annex B, pp. 40–41.

Engelsma M.Y., Culloty S.C., Lynch S.A., Arzul I. & Carnegie R.B. (2014). Bonamia parasites: a rapidly changing perspective on a genus of important mollusc pathogens. Dis. Aquat. Organ., 110, 5–23.

EURL for mollusc diseases (2023). SOP Bonamia ostreae and Bonamia exitiosa detection by Real-time Polymerase Chain Reaction (PCR), https://www.eurl-mollusc.eu/SOPs

Helmer L., Hauton C., Bean T., Bass D., Hendy I., Harris-Scott E. & Preston J. (2020). Ephemeral detection of Bonamia exitiosa (Haplosporida) in adult and larval European flat oysters Ostrea edulis in the Solent, United Kingdom. J. Invertebr. Pathol., 174, 107421. doi: 10.1016/j.jip.2020.107421.

Hill K.M., Carnegie R.B., Aloui-Bejaoui N., El Gharsalli R., White D.M., Stokes N.A. & Burreson G.M. (2010). Observation of a Bonamia sp. infecting the oyster Ostrea stentina in Tunisia, and a consideration of its phylogenetic affinities. J. Invertebr. Pathol., 103, 179–185.

Hine P.M. (1991a). The annual pattern of infection by Bonamia sp. in New Zealand flat oysters, Tiostrea chilensis. Aquaculture, 93, 241–251.

Hine P.M. (1991b). Ultrastructural observations on the annual infection pattern of Bonamia sp. in flat oysters Tiostrea chilensis. Dis. Aquat. Organ., 11, 163–171.

Hine P. M. (1996). The ecology of Bonamia and decline of bivalve molluscs. NZ J. Ecol., 20, 109–116.

Hine P.M. (2002). Severe apicomplexan infection in the oyster Ostrea chilensis: a predisposing factor in bonamiosis. Dis. Aquat. Organ., 51, 49–60.

Hine P.M., Carnegie R.B., Kroeck M.A., Villalba A., Engelsma M.Y. & Burreson E.M. (2014). Ultrastructural comparison of Bonamia spp. (Haplosporidia) infecting ostreid oysters. Dis. Aquat. Organ., 110, 55–63. https://doi.org/10.3354/dao02747

Hine P.M., Cochennec-Laureau N. & Berthe F.C.J. (2001). Bonamia exitiosus n. sp. (Haplosporidia) infecting flat oysters Ostrea chilensis (Philippi) in New Zealand. Dis. Aquat. Organ., 47, 63–72.

Hine P.M., Diggles B.K., Parsons M.J.D., Pringle A. & Bull B. (2002). The effects of stressors on the dynamics of Bonamia exitiosus Hine, Cochennec-Laureau and Berthe, infections in flat oysters Ostrea chilensis (Philippi). J. Fish Dis., 25, 545–554.

Hine P.M. & Jones J.B. (1994). Bonamia and other aquatic parasites of importance to New Zealand. NZ J. Zool., 21, 49–56.

Hine P.M. & Wesney B. (1994). Interaction of phagocytosed Bonamia sp. (Haplosporidia) with haemocytes of oysters Tiostrea chilensis. Dis. Aquat. Organ., 20, 219–229.

Longshaw M., Stone D.M., Wood G., Green M.J. & White P. (2013). Detection of Bonamia exitiosa (Haplosporidia) in European flat oysters Ostrea edulis cultivated in mainland Britain. Dis. Aquat. Organ., 106, 173–179. doi: 10.3354/dao02643. PMID: 24113250.

Marty G., Bower S., Clarke K., Meyer G., Lowe G., Osborn A., Chow E., Hannah H., Byrne S., Sojonky K. & Robinson J. (2006). Histopathology and a real-time PCR assay for detection of Bonamia ostreae in Ostrea edulis cultured in western Canada. Aquaculture, 261, 33–42.

Mialhe E., Boulo V., Elston R., Hill B., Hine M., Montes J., Van Banning P. & Grizel H. (1988). Serological analysis Bonamia in Ostrea edulis and Tiostrea lutaria using polyclonal and monoclonal antibodies. Aquat. Living Res., 1, 67–69.

Narcisi V., Arzul I., Cargini D., Mosca F., Calzetta A., Traversa D., Robert M., Joly J.P., Chollet B., Renault T. & Tiscar P.G. (2010). Detection of Bonamia ostreae and Bonamia exitiosa (Haplosporidia) in Ostrea edulis from the Adriatic Sea (Italy). Dis. Aquat. Org., 89, 79–85.

Ramilo A., Navas J.I., Villalba A. & Abollo E. (2013). Species-specific diagnostic assays for Bonamia ostreae and B. exitiosa in European flat oyster Ostrea edulis: conventional, real-time and multiplex PCR. Dis Aquat Organ., 104, 149–161. doi: 10.3354/dao02597.

Ramilo A., Villalba A. & Abollo E. (2014). Species-specific oligonucleotide probe for detection of Bonamia exitiosa (Haplosporidia) using in situ hybridisation assay. Dis. Aquat. Organ., 110, 81–91.

*
*   *

NB: There is a WOAH Reference Laboratory for infection with Bonamia exitiosa
(please consult the WOAH web site: 
https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3). 
Please contact WOAH Reference Laboratories for any further information on infection with Bonamia exitiosa

NB: First adopted in 1995 as bonamiosis. Most recent updates adopted in 2022 (Sections 2.2.1 and 2.2.2).

For example transboundary commodities.