Annex 26. Item 10.1.5. – Chapter 2.2.7. Infection with Taura syndrome virus

CHAPTER 2.2.7.

infection with taura syndrome virus

1.	Scope

Infection with Taura syndrome virus means infection with the pathogenic agent Taura syndrome virus (TSV), Genus Aparavirus, Family Dicistroviridae, Order Picornavirales.

2.	Disease information

2.1.	Agent factors

2.1.1.	Aetiological agent

TSV was described as the cause of the disease commonly known as Taura syndrome by Hasson et al. (1995), Bonami et al. (1997) and Mari et al. (1998; 2002). At least four genotypes (strains) of TSV have been documented based on the gene sequence encoding VP1 the largest and presumably dominant of the three major structural proteins of the virus. Based on VP1 sequence variations, these genotypic groups are: 1) the Americas group; 2) the South-East Asian group; 3) the Belize group; and 4) the Venezuelan group (Nielsen et al., 2005; Tang & Lightner, 2005; Wertheim et al., 2009).

At least two distinct antigenic variants of TSV have been identified by their differential reactivity to monoclonal antibody MAb 1A1, produced using a reference isolate from the Americas (TSV USA-HI94 – GenBank AF277675) (Poulos et al., 1999) as the immunogen: Type A represents those that react with MAb 1A1 (in the enzyme-linked immunosorbent assay [ELISA], Western blots and immunohistochemistry (IHC) with infected tissues) and those that do not were subdivided into Type B (TSV 98 Sinaloa, Mexico) and Type C (TSV 02 Belize), based on host species and virulence. All TSV isolates of the Americas and most, if not all, South-East Asian genotypes react with MAb 1A1. In marked contrast, none of the Belize genotype group reacts with MAb 1A1 (Robles-Sikisaka et al., 2002), nor does a TSV isolate from the 2005 epizootic in Venezuelan shrimp farms.

TSV particles are 32 nm in diameter, non-enveloped icosahedrons and have a buoyant density of 
1.338 g ml–1 in CsCl. The genome of TSV consists of a linear, positive-sense single-stranded RNA 10,205 nucleotides in length, excluding the 3’ poly-A tail, and it contains two large open reading frames (ORFs). ORF 1 contains the sequence motifs for non-structural proteins, such as helicase, protease and RNA-dependent RNA polymerase. ORF 2 contains the sequences for TSV structural proteins, including the three major capsid proteins VP1, VP2 and VP3 (55, 40, and 24 kDa, respectively). The virus replicates in the cytoplasm of host cells (Bonami et al., 1997; Mari et al., 1998; 2002; Robles-Sikisaka et al., 2001).

Other reported causes of Taura syndrome: TS in Ecuador was initially linked to fungicide contamination of shrimp farms, a contention that was supported by litigation for ~16 years after the disease was scientifically shown to have a viral aetiology (Brock et al., 1995; Hasson et al., 1995). Hence, several papers in the literature propose a toxic aetiology for TS (Intriago et al., 1997; Jimenez, 1992; Jimenez et al., 2000).

2.1.2.	Survival and stability in processed or stored samples

No information available.

2.1.3.	Survival and stability outside the host

No information available.

2.2.	Host factors

2.2.1.	Susceptible host species

Species that fulfil the criteria for listing as susceptible to infection with TSV according to Chapter 1.5 of Aquatic Animal Health Code (Aquatic Code) are: blue shrimp (Penaeus stylirostris), giant tiger prawn (Penaeus monodon), greasyback shrimp (Metapenaeus ensis), northern brown shrimp (Penaeus aztecus), northern white shrimp (Penaeus setiferus), and whiteleg shrimp (Penaeus vannamei).

2.2.2.	Species with incomplete evidence for susceptibility

Species for which there is incomplete evidence to fulfil the criteria for listing as susceptible to infection with TSV according to Chapter 1.5 of the Aquatic Code are: fleshy prawn (Penaeus chinensis), giant river prawn (Macrobrachium rosenbergii), the copepod Ergasilus manicatus, and the barnacles Chelonibia patula and Octolasmis muelleri. Evidence is lacking for these species to either confirm that the identity of the pathogenic agent is TSV, transmission mimics natural pathways of infection, or presence of the pathogenic agent constitutes an infection.

In addition, pathogen-specific positive polymerase chain reaction (PCR) results have been reported in the following species, but no active infection has been demonstrated: blue crab (Callinectes sapidus), the crabs Uca vocans and Sesarma mederi, gulf killifish (Fundulus grandis), Indo-Pacific swamp crab (Scylla serrata), kuruma prawn (Penaeus japonicus), northern pink shrimp (Penaeus duorarum) and southern white shrimp (P. schmitti).

2.2.3.	Likelihood of infection by species, host life stage, population or sub-populations

Infection with TSV has been documented in all life stages (i.e. post-larvae [PL], juveniles and adults) of P. vannamei except eggs, zygotes and larvae (Lightner, 1996a).

2.2.4.	Distribution of the pathogen in the host

Using injection and per os challenge experiments, Nunan et al. (2004) demonstrated TSV could be detected in different body parts including gills, head, whole tail, tail muscle, pleopod and tail fan (Nunan et al., 2004). While there was no significant difference in the viral copy number contained in different body parts when TSV was administered via injection, there was a statistically significant difference between tail/gills, tail/head, tail/tail fan, whole tail/tail fan and pleopods/tail fan when the viral inoculum was administered per os. The tail samples had the lower viral copy numbers, as did the whole tail and pleopods when compared to the tail fan (Nunan et al., 2004).

2.2.5.	Aquatic animal reservoirs of infection

Not demonstrated unequivocally

2.2.6.	Vectors

Sea birds: TSV has been demonstrated to remain infectious for up to 48 hours (after ingestion of TSV-infected shrimp carcasses) in the faeces passed by wild or captive sea gulls (Larus atricilla) and chickens (Gallus gallus, used as a laboratory surrogate for all shrimp-eating birds) thus suggesting that the virus can retain infectivity when passed through the gastro-intestinal system of any bird species. These findings implicate birds as being an important mechanical vector for the transmission of the virus within affected farms or farming regions (Garza et al., 1997; Vanpatten et al., 2004).

Aquatic insects: the water boatman (Trichocorixa reticulata [Corixidae], an aquatic insect that feeds on shrimp carcasses in shrimp farm ponds) have been demonstrated to transport TSV within their intestinal contents,  but are not directly infected by the virus (Brock, 1997; Lightner, 1996a; 1996b; reviewed in Dhar et al., 2004).

2.3.	Disease pattern

Infection with TSV is best known as a disease of nursery- or grow-out-phase P. vannamei that occurs within ~14–40 days of stocking PLs into grow-out ponds or tanks, hence, shrimp with TSV infection are typically small (~0.05 g to <5 g) juveniles. Larger shrimp may also be affected, especially if they are not exposed to the virus until they are larger juveniles or adults (Brock, 1997; Brock et al., 1995; Lightner, 1996a, 1996b; Lotz, 1997).

2.3.1.	Mortality, morbidity and prevalence

At the farm level, outbreaks of infection with TSV involving stocks of P. vannamei (the principal host species for infection with TSV) not selected for resistance, typical cumulative mortalities range from 40 to >90% in cultured populations of PL, juvenile, and subadult life stages. TSV-resistant lines of P. vannamei are available which show survival rates of up to 100% in laboratory challenge with all four TSV genotypes (Lightner et al., 2009).

In regions where the virus is enzootic in farmed stocks, the prevalence of infection with TSV has been found in various surveys to range from 0 to 100% (Brock, 1997; Jimenez et al., 2000).

2.3.2.	Clinical signs, including behavioural changes

Only acute-phase clinical infection with TSV can be presumptively diagnosed from clinical signs. See Section 4.2 for a description of gross clinical signs presented by shrimp with acute-phase clinical infection with TSV.

Only shrimp with acute-phase clinical infection with TSV present behavioural changes. Typically, severely affected shrimp apparently become hypoxic and move to the pond edges or pond surface where dissolved oxygen levels are higher. Such shrimp may attract seabirds in large numbers. In many disease outbreaks, it is the large numbers of seabirds attracted to the moribund shrimp that first indicates the presence of a serious disease outbreak (which is often either infection with TSV or white spot syndrome virus) to the farm manager.

2.3.3.	Gross pathology

Infection with TSV has three distinct phases, acute, transition, and chronic, which are grossly distinguishable (Hasson et al., 1999a; 1999b; Lightner, 1996a; 1996b; Lightner et al., 1995). Gross signs presented by juvenile, subadult and adult shrimp in the transition phase of infection with TSV are unique and provide a suspicion of infection.

Acute phase: gross signs displayed by moribund P. vannamei with acute-phase infection with TSV include expansion of the red chromatophores giving the affected shrimp a general, overall pale reddish colouration and making the tail fan and pleopods distinctly red; hence ‘red tail’ disease was one of the names given by farmers when the disease first appeared in Ecuador (Lightner et al., 1995). In such shrimp, close inspection of the cuticular epithelium in thin appendages (such as the edges of the uropods or pleopods) with a ×10 hand lens reveals signs of focal epithelial necrosis. Shrimp showing these gross signs of acute infection with TSV typically have soft shells, an empty gut and are often in the late D stages of the moult cycle. Acutely affected shrimp usually die during ecdysis.

Transition (recovery) phase: although only present for a few days during outbreaks of infection with TSV, the gross signs presented by shrimp in the transition phase can provide a suspicion of infection with TSV. During the transition phase (which may be occurring while many shrimp in the affected populations are still in the acute phase and daily mortalities are high), fair to moderate numbers of shrimp in affected ponds show random, multifocal, irregularly shaped melanised cuticular lesions. These melanised spots are haemocyte accumulations indicating the sites of resolving TSV lesions in the cuticular epithelium. Such shrimp may or may not have soft cuticles and red-chromatophore expansion, and may be behaving and feeding normally (Brock, 1997; Hasson et al., 1999b; Lightner, 1996a).

Chronic phase: after successfully moulting, shrimp in the transition phase move into the chronic phase of infection with TSV in which persistently infected shrimp show no obvious signs of disease (Brock, 1997; Hasson et al., 1999b; Lightner, 1996a; 1996b; Lightner et al., 1995). However, P. vannamei that are chronically infected with TSV may be less resistant to normal environmental stressors (i.e. sudden salinity reductions) than uninfected shrimp.

2.3.4.	Modes of transmission and life cycle

Not applicable.

2.3.5.	Environmental factors

Outbreaks of infection with TSV are more frequent when salinities are below 30 ppt (Jimenez et al., 2000).

2.3.6.	Geographical distribution

TSV is now widely distributed in the shrimp-farming regions of the Americas, South-East Asia and the Middle East (Brock, 1997; Hasson et al., 1999a; Lightner, 1996a, 1996b; Lightner et al., 2012; Lotz et al., 2005; Nielsen et al., 2005; Tang & Lightner, 2005; Tu et al., 1999; Wertheim et al., 2009; Vergel et al., 2019; Yu & Song, 2000).

See WAHIS (https://wahis.woah.org/#/home) for recent information on distribution at the country level.

2.4.	Biosecurity and disease control strategies

2.4.1.	Vaccination

No effective vaccines for TSV are available.

2.4.2.	Chemotherapy including blocking agents

No scientifically confirmed reports of effective chemotherapy treatments.

2.4.3.	Immunostimulation

No scientifically confirmed reports of effective immunostimulation treatments.

2.4.4.	Breeding resistant strains

After TSV emerged in Ecuador in 1992–1994, P. stylirostris were found that possessed resistance to infection with TSV (genotype 1, MAb 1A1 Type A). Following on from this discovery and due to the disease occurrence in Mexico in 1994 where it caused crop failures of P. vannamei, selected lines of TSV-resistant P. stylirostris became the dominant shrimp farmed in western Mexico from 1995. However, in 1998–1999, a new ‘strain’ of TSV (Type B; Fegan & Clifford, 2001; Lightner, 1999; 2005; Zarain-Herzberg & Ascencio, 2001) emerged and caused massive epizootics in P. stylirostris. The emergence of this new ‘strain’ of TSV was soon followed in late 1999 by the introduction of white spot syndrome virus (WSSV) into shrimp farms in western Mexico, to which P. stylirostris had no resistance, effectively ending any interest in the culture of P. stylirostris in Mexico.

TSV-resistant domesticated stocks of P. vannamei and P. stylirostris have been developed. Some domesticated lines of TSV-resistant P. vannamei (that are also TSV-free) are in widespread use by the shrimp-farming industries of the Americas and South-East Asia (Clifford, 1998; White et al., 2002). After the appearance of infection with TSV in Central America, improved TSV resistance was reported in wild caught P. vannamei PLs used to stock shrimp farms in the region. Currently all genetic lines of P. vannamei shrimp that are being cultured in Asia and the Americas contain varying levels of tolerance/resistance to TSV.

2.4.5.	Inactivation methods

No information available.

2.4.6.	Disinfection of eggs and larvae

It is possible that TSV might be transmitted vertically (transovarian transmission), despite the lack of published reports documenting this route of transmission. Disinfection of eggs and larvae (Chen et al., 1992) is good management practice and it is recommended for its potential to reduce TSV contamination of spawned eggs and larvae produced from them.

2.4.7.	General husbandry

Some husbandry and disease control and management practices have been used successfully to reduce the risks of infection with TSV occurring during farm grow-out. These include the application of PCR assays for pre-screening of wild or pond-reared broodstock or their spawned eggs/nauplii and discarding those that test positive for the virus (Fegan & Clifford, 2001), fallowing and restocking of entire culture regions with TSV-free stocks (Dixon & Dorado, 1997), and the development of specific pathogen-free (SPF) shrimp stocks of P. vannamei and P. stylirostris (Lightner, 1996b; 2005; Wyban 1992). The adoption of the latter technology (SPF stocks) has proven to be among the most successful husbandry practice for the prevention and control of infection with TSV.

3.	Specimen selection, sample collection, transportation and handling

This section draws on information in Sections 2.2, 2.3 and 2.4 to identify populations, individuals and samples that are most likely to be infected.

3.1.	Selection of populations and individual specimens

Suitable specimens for testing for infection with TSV include PL, juveniles and adults. While TSV may infect all life stages, infection severity, and hence virus load, may be below detection limits in spawned eggs and in the larval stages, so these life stages may not be suitable samples for TSV detection or certification of freedom from infection with TSV.

3.2.	Selection of organs or tissues

TSV infects tissues of ectodermal and mesodermal origin. The principal target tissue in the acute phase of infection with TSV is the cuticular epithelium. In chronic infections the lymphoid organ (LO) is the principal target tissue.

Haemolymph or excised pleopods may be collected and used when non-lethal testing of valuable broodstock is necessary.

3.3.	Samples or tissues not suitable for pathogen detection

TSV is a systemic virus, and it does not replicate in enteric tissues (e.g. the hepatopancreas, the midgut, or its caeca). Hence, enteric tissues are inappropriate samples for detection of infection with TSV.

3.4.	Non-lethal sampling

Haemolymph or pleopods can be collected without killing the animals and used as non-lethal sampling of genetically valuable broodstock.

If non-lethal tissue sample types differ from recommended tissues (see Section 3.2.), or from the tissue samples used in validation studies, the effect on diagnostic performance should be considered.

3.5.	Preservation of samples for submission

For guidance on sample preservation methods for the intended test methods, see Chapter 2.2.0. General information (diseases of crustaceans).

3.5.1.	Samples for pathogen isolation bioassay

The success of pathogen isolation bioassay depends strongly on the quality of samples (which is influenced by time since collection and time in storage). Fresh specimens should be kept on ice and preferably sent to the laboratory within 24 hours of collection. To avoid degradation of samples, use alternative storage methods only after consultation with the receiving laboratory.

3.5.2.	Preservation of samples for molecular detection

Tissue samples for PCR testing should be preserved in 90% (v/v) analytical/reagent-grade (undenatured) ethanol. The recommended ratio of ethanol to tissue is 10:1 based on studies in terrestrial animal and human health. The use of lower grade (laboratory or industrial grade) ethanol is not recommended. If material cannot be preserved in ethanol it may be frozen.

Standard sample collection, preservation and processing methods for molecular techniques can be found in Section B.5.5. of Chapter 2.2.0 General information (diseases of crustaceans).

3.5.3.	Samples for histopathology, immunohistochemistry or in-situ hybridisation

Standard sample collection, preservation and processing methods for histological techniques can be found in Chapter 2.2.0. General information (diseases of crustaceans).

3.5.4.	Samples for other tests

Haemolymph could be used for PCR-based detection of TSV.

3.6.	Pooling of samples

Pooling of samples from more than one individual animal for a given purpose should only be recommended where robust supporting data on diagnostic sensitivity and diagnostic specificity have been evaluated and found to be suitable. If the effect of pooling on diagnostic sensitivity has not been thoroughly evaluated, larger animals should be processed and tested individually.

4.	Diagnostic methods

The methods currently available for pathogen detection that can be used in i) surveillance of apparently healthy animals, ii) presumptive diagnosis in clinically affected animals and iii) confirmatory diagnostic purposes are listed in Table 4.1. by animal life stage.

Ratings for purposes of use. For each recommended assay a qualitative rating for the purpose of use is provided. The ratings are determined based on multiple performance and operational factors relevant to application of an assay for a defined purpose. These factors include appropriate diagnostic performance characteristics, level of assay validation, availability, cost, timeliness, sample throughput and operability. For a specific purpose of use, assays are rated as:

+++ =	Methods are most suitable with desirable performance and operational characteristics.

++ = 	Methods are suitable with acceptable performance and operational characteristics under most circumstances.

+ = 	Methods are suitable, but performance or operational characteristics may limit application under some circumstances.

Shaded boxes = 	Not appropriate for this purpose.

Validation stage. The validation stage corresponds to the assay development and validation pathway in chapter 1.1.2. The validation stage is specific to each purpose of use. Where available, information on the diagnostic performance of recommended assays is provided in Section 6.3.

WOAH Reference Laboratories welcome feedback on diagnostic performance of recommended assays, in particular PCR methods. Of particular interest are any factors affecting expected assay sensitivity (e.g. tissue components inhibiting amplification) or expected specificity (e.g. failure to detect particular genotypes, detection of homologous sequences within the host genome). These issues should be communicated to WOAH Reference Laboratories so that advice can be provided to diagnostic laboratories and the standards amended if necessary.

Table 4.1. WOAH recommended diagnostic methods and their level of validation for surveillance of apparently healthy animals and investigation of clinically affected animals

| Method | - Surveillance of apparently healthy animals |  |  |  | - Presumptive diagnosis of clinically affected animals |  |  |  | - Confirmatory diagnosis1 of a suspect result from surveillance or presumptive diagnosis |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Early life stages2 | Juveniles2 | Adults | LV | Early life stages2 | Juveniles2 | Adults | LV | Early life stages2 | Juveniles2 | Adults | LV |
| Wet mounts |  |  |  |  |  | + | + | NA |  |  |  |  |
| Histopathology |  | + | + | NA | + | + | + | NA |  |  |  |  |
| Cell culture |  |  |  |  |  |  |  |  |  |  |  |  |
| Real-time RT-PCR | +++ | +++ | +++ | 1 | +++ | +++ | +++ | 1 | +++ | +++ | +++ | 1 |
| Conventional RT-PCR | ++ | ++ | ++ | 1 | ++ | ++ | ++ | 1 |  |  |  |  |
| Conventional RT-PCR followed by amplicon sequencing |  |  |  |  |  |  |  |  | +++ | +++ | +++ | 1 |
| In-situ hybridisation |  |  |  |  | + | + | + | 1 | + | + | + | 1 |
| Bioassay |  |  |  |  | + | + | + | 1 |  |  |  |  |
| LAMP |  |  |  |  |  |  |  |  |  |  |  |  |
| IFAT |  |  |  |  |  |  |  |  |  |  |  |  |
| ELISA |  |  |  |  |  |  |  |  |  |  |  |  |
| Other antigen detection methods |  |  |  |  |  |  |  |  |  |  |  |  |
| Other method |  |  |  |  |  |  |  |  |  |  |  |  |

LV = level of validation, refers to the stage of validation in the WOAH Pathway (chapter 1.1.2); NA = not available; PCR = polymerase chain reaction; LAMP = loop-mediated isothermal amplification; 
IFAT = indirect fluorescent antibody test; ELISA = enzyme-linked immunosorbent assay, respectively. 
1For confirmatory diagnoses, methods need to be carried out in combination (see Section 6). 
2Susceptibility of early and juvenile life stages is described in Section 2.2.3. 
Shading indicates the test is inappropriate or should not be used for this purpose.

4.1.	Wet mounts

Direct microscopy of simple unstained wet mounts from excised pieces of the gills, appendage tips, etc., examined by phase- or reduced-light microscopy may be used to demonstrate (and make a tentative diagnosis of acute-phase infection with TSV) focal lesions of acute-phase infection with TSV in cuticular epithelial cells. Preparations presenting acute-phase infection with TSV will contain numerous spherical structures (see the histopathological methods in Section 4.2.3 above), which are pyknotic and karyorrhectic nuclei and cytoplasmic remnants of necrotic cells.

4.2.	Histopathology and cytopathology

Histopathology is a useful method to detect infection with TSV in the acute and chronic phases of infection (Hasson et al., 1999b; Lightner, 1996a). In chronic infections with TSV, the only lesion typically presented by infected shrimp is the presence of an enlarged LO with multiple LO spheroids (LOS) (Hasson et al., 1999b), which cannot be distinguished from LOS induced by chronic infections of other RNA viruses (Lightner, 1996a). When histological lesions are observed and infection with TSV is suspected, a molecular test (ISH with TSV-specific probes, or reverse-transcription [RT] PCR) must be used for confirmation of infection with TSV (see Section 6).

4.2.1.	Acute phase of Taura syndrome

The acute phase of the disease is characterised by multifocal areas of necrosis in the cuticular epithelium of the general body surface, appendages, gills, hindgut, and foregut (the oesophagus, anterior and posterior chambers of the stomach). Cells of the subcuticular connective tissues and adjacent striated muscle fibres basal to affected cuticular epithelium are occasionally affected. In some severe cases of acute-phase infection with TSV, the antennal gland tubule epithelium is also destroyed. Prominent in the multifocal cuticular lesions are conspicuous foci of affected cells that display an increased eosinophilia of the cytoplasm and pyknotic or karyorrhectic nuclei. Cytoplasmic remnants of necrotic cells are often extremely abundant in these infections with TSV acute-phase lesions and these are generally presented as spherical bodies (1–20 µm in diameter) that range in staining from eosinophilic to pale basophilic. These structures, along with pyknotic and karyorrhectic nuclei, give acute-phase TS lesions a characteristic ‘peppered’ or ‘buckshot-riddled’ appearance, which is considered to be pathognomonic for the infection when there is no concurrent necrosis of the parenchymal cells of the LO tubules. The absence of necrosis of the LO in acute-phase infection with TSV distinguishes it from acute-phase infection with yellowhead virus genotype 1 in which similar patterns of necrosis to those induced by infection with TSV may occur in the cuticular epithelium and gills (Lightner, 1996a).

In TSV-infected tissues, pyknotic or karyorrhectic nuclei give a positive (for DNA) Feulgen reaction, which distinguishes them from the less basophilic to eosinophilic cytoplasmic inclusions that do not contain DNA. The absence of haemocytic infiltration or other signs of a significant host-inflammatory response distinguishes the acute phase of infection with TSV from the transitional phase of the disease (Brock, 1997; Brock et al., 1995; Hasson et al., 1995; 1999a; 1999b; Lightner, 1996a; Lightner et al., 1995).

4.2.2.	Transition (recovery) phase of infection with Taura syndrome virus

In the transitional phase of infection with TSV, typical acute-phase cuticular lesions decline in abundance and severity and are replaced by conspicuous infiltration and accumulation of haemocytes at the sites of necrosis. The masses of haemocytes may become melanised giving rise to the irregular black spots that characterise the transition phase of the disease. In H&E sections, such lesions may show erosion of the cuticle, surface colonisation and invasion of the affected cuticle and exposed surface haemocytes by Vibrio spp. (Hasson et al., 1999b; Lightner, 1996a). Sections of the LO during the transition phase of infection with TSV may appear normal with H&E staining. However, when sections of the LO are assayed for TSV by ISH with a specific cDNA probe (or by ISH with MAb 1A1 for TSV type A, genotype 1), large quantities of TSV are shown accumulating in the more peripheral parenchymal cells of the LO tubules (Hasson et al., 1999b; Srisuvan et al., 2005).

4.2.3.	Chronic phase of infection with Taura syndrome virus

Shrimp in the chronic phase of infection with TSV display no gross signs of infection, and histologically the only sign of infection is the presence of numerous prominent LOS, which may remain associated with the main body of the paired LO, or which may detach and become ectopic LOS bodies that lodge in constricted areas of the haemocoel (i.e. the heart, gills, in the subcuticular connective tissues, etc.). Such LOS are spherical accumulations of LO cells and haemocytes and may be distinguished from normal LO tissues by their spherical nature and the lack of the central vessel that is typical of normal LO tubules. When assayed by ISH with a cDNA probe for TSV (or with MAb 1A1 using ISH) some cells in the LOS give positive reactions to the virus, while no other target tissues react (Hasson et al., 1999b; Lightner, 1996a; 1996b).

4.3.	Cell culture for virus isolation

TSV has not been grown in vitro, as no crustacean cell lines exist (Lightner, 1996a; Pantoja et al., 2004). Although one publication incorrectly reported that TSV infected human and monkey cell lines (Audelo del Valle et al., 2003), two other laboratories that repeated the study both found that TSV does not infect or replicate in primate or human cell lines that are known to have susceptibility to human picornaviruses (Luo et al., 2004; Pantoja et al., 2004).

4.4.	Nucleic acid amplification

PCR assays should always be run with the controls specified in Section 5.5 Use of molecular and antibody-based techniques for confirmatory testing and diagnosis of Chapter 2.2.0 General information (diseases of crustaceans). Each sample should be tested in duplicate, i.e. by testing two aliquots.

Extraction of nucleic acids

Numerous Different kits and procedures can be used for nucleic acid extraction. The quality and concentration of the extracted nucleic acid is important and should can be checked using a suitable method as appropriate to the circumstances using optical density or running a gel.

4.4.1.	Real-time reverse-transcription (RT)-PCR

Real-time RT-PCR methods have been developed for the detection of TSV. These methods have the advantage of speed, specificity and sensitivity. The sensitivity of real time RT-PCR is approximately equal to 100 copies of the target sequence from the TSV genome (Dhar et al., 2002; Tang et al., 2004).

The real-time RT-PCR method described below for TSV follows the method used in Tang et al., 2004.

Primer and probe sequences, real time RT-PCR

| Pathogen / target gene | Primer/probe (5’–3’) | Concentration | Cycling parameters |
| --- | --- | --- | --- |
| Method 1 (Tang et al.,2004); GenBank Accession No.: AFAF277675 |  |  |  |
| TSV/ORF-1 Nt 1024 to 1051 | Fwd: TSV1004: TTG-GGC-ACC-AAA-CGA-CAT-T- Rev: TSV1075 GGG-AGC-TTA-AAC-TGG-ACA-CAC-TGT Probe: TSV-P1 FAM-CAG-CAC-TGA-CGC-ACA-ATA-TTC-GAG-CAT-C-TAMRA, | 300 nM of each primer 100 nM of probe | Reverse transcription at 50°C/30 min 40 cycles of 95°C/3 sec and 60°C/30 sec |

4.4.2.	Conventional RT-PCR

Tissue samples (haemolymph, pleopods, whole small shrimp etc) may be assayed for TSV using RT-PCR. The RT-PCR method outlined below for TSV follows the method used in Nunan et al. (1998).

Primer and probe sequences, conventional RT-PCR

| Pathogen / target gene | Primer /probe (5’–3’) | Concentration | Cycling parameters |
| --- | --- | --- | --- |
| Method 1 (Nunan et al., 1998); product amplicon size: 231 bp |  |  |  |
| TSV/ORF 2 | Fwd: 9992: AAG-TAG-ACA-GCC-GCG-CTT Rev:9195R: TCA-ATG-AGA-GCT-TGG-TCC | Primers/620 nM each | Reverse transcription 60°C/30 min 40 cycles: 94°C/45 sec, 60°C/45 sec |

4.4.3.	Other nucleic acid amplification methods

None currently available.

4.5.	Amplicon sequencing

The size of the PCR amplicon is should be verified, for example by agarose gel electrophoresis, and purified by excision from this gel. Both DNA strands of the PCR product must be sequenced and analysed and compared in comparison with published reference sequences.

4.6.	In-situ hybridisation (ISH)

4.6.1.	DNA probes for ISH applications with non-radioactive cDNA probes

Non-radioactive, DIG-labelled cDNA probes for detection of TSV may be produced in the laboratory. The ISH method provides greater diagnostic sensitivity than do more traditional methods for TSV detection and diagnosis that employ classic histological methods (Hasson et al., 1999a; Lightner, 1996a; 1999; Lightner & Redman 1998; Mari et al., 1998). The ISH assay of routine histological sections of acute- and transition-phase lesions in the cuticular epithelium, other tissues, and of LOS in transition and chronic phase with a specific DIG-labelled cDNA probe to TSV, provides a definitive diagnosis of infection with TSV (Hasson et al., 1999a; 1999b; Lightner, 1996a; 1996b). Pathognomonic TSV-positive lesions display prominent blue to blue-black areas in the cytoplasm of affected cells when reacted with the cDNA probes. Not reacting to the probe are the prominent karyorrhectic nuclear fragments and pyknotic nuclei that contribute to the pathognomonic ‘buckshot riddled’ appearance of TS lesions (Lightner, 1996a; Mari et al., 1998). (See Chapter 2.2.4 Infection with infectious hypodermal and haematopoietic necrosis virus for details of the ISH method, and Chapter 2.2.0 Section B.5.3.ii for detailed information on the use of Davidson’s AFA fixative.)

False-negative ISH results may occur with Davidson’s fixed tissues if tissues are left in fixative for more than 24–48 hours. The low pH of Davidson’s fixative causes acid hydrolysis of the TSV single-stranded RNA genome, resulting in false-negative probe results. This hydrolysis can be prevented by avoiding fixation times over 24 hours (Hasson et al., 1997; Lightner, 1996a; Lightner & Redman 1998).

4.7.	Immunohistochemistry

Not suitable.

4.8.	Bioassay

Confirmation of infection with TSV may be accomplished by bioassay of TSV-suspect animals with SPF juvenile P. vannamei serving as the indicator of the virus (Garza et al., 1997; Hasson et al., 1999b; 1995; Lightner, 1996a; Lotz, 1997; Overstreet et al., 1997). Oral or injection protocols may be used. The oral method is relatively simple to perform and is accomplished by feeding chopped carcasses of suspect shrimp to SPF juvenile P. vannamei in small tanks (White et al., 2002). The use of a negative control tank of indicator shrimp, which receive only SPF (TSV-free) tissue and normal shrimp feed is required. When the carcass feeding (per os) protocol is used to bioassay for TSV, TSV-positive indicator shrimp (by gross signs and histopathology) are typically apparent within 3–4 days of initial exposure, and significant mortalities occur by 3–8 days after initial exposure. The negative control shrimp must remain negative (for at least 10–15 days) for gross or histological signs of disease and unusual mortalities (Hasson et al., 1999b; Lightner, 1996a; White et al., 2002).

With the injection bioassay protocol, a variety of sample types may be tested for TSV. Whole shrimp are used if they were collected during an outbreak of infection with TSV. Heads only should be used if shrimp display gross transition-phase lesions (multifocal melanised spots on the cuticle) or no clinical signs of infection (chronic phase) as the virus, if present, will be concentrated in the LO (Hasson et al., 1999b; Lightner, 1996a). For non-lethal testing of broodstock, haemolymph samples may be taken and used to expose the indicator shrimp by IM injection (Lightner, 1996a).

4.9.	Antibody- or antigen-based detection methods

Not recommended.

4.10.	Other methods

4.10.1.	Dot-blot immunoassay method

i)	For the dot-blot immunoassay method, 1 µl of test antigen (purified virus, infected shrimp haemolymph or SPF shrimp haemolymph) is dotted on to the surface of MA-HA-N45 assay plates (Millipore)9F9F.

ii)	After air drying, the wells are blocked for 1 hour at room temperature with 200 µl of a buffer containing phosphate-buffered saline and 0.05% Tween 20 (PBST) mixed with 10% normal goat serum (Life Technologies) and 2% Hammersten casein (Amersham Life Sciences).

iii)	The wells are washed three times with PBST and then reacted with 100 µl primary antibody (MAb or mouse polyclonal antibodies) for 30 minutes at room temperature.

iv)	Alkaline-phosphatase-labelled goat anti-mouse IgG, g chain specific, secondary antibody (Zymed) diluted 1/1000 in PBST plus 10% normal goat serum is used for detection (30 minutes at room temperature).

v)	After washing three times with PBST, once with PBS and once with distilled water, the reactions are visualised by development for 15 minutes at room temperature with nitroblue tetrazolium and bromo-chloro-indoyl phosphate (Roche Diagnostics in 100 mM Tris-HCl, 100 mM NaCl buffer containing 50 mM MgCl2, pH 9.5.

vi)	Reactions are stopped with distilled water.

vii)	The reactions are graded using a scale from 0 to +4, with the highest intensity reaction being equivalent to the reaction generated using the MAb against the reference control consisting of semi-purified TSV. A negative reaction is one in which no coloured spot is visible in the well.

5.	Test(s) recommended for surveillance to demonstrate disease freedom in apparently healthy populations

Real-time RT-PCR is the recommended test for surveillance to demonstrate freedom of infection with TSV in apparently healthy populations as described in Section 4.1.1.

6.	Corroborative diagnostic criteria

This section only addresses the diagnostic test results for detection of infection in the absence (6.1) or presence of clinical signs (6.2) but does not evaluate whether the infectious agent is the cause of the clinical event.

The case definitions for suspect and confirmed cases have been developed to support decision-making related to trade and confirmation of disease status at the country, zone or compartment level. Case definitions for disease confirmation in endemically affected areas may be less stringent. It is recommended that all samples that yield suspect positive test results in an otherwise pathogen-free country or zone or compartment should be referred immediately to the WOAH Reference Laboratory for confirmation, whether or not clinical signs are associated with the case. If a laboratory Competent Authority does not have the capacity capability to undertake the necessary diagnostic tests it should seek advice from the appropriate WOAH Reference Laboratory, and if necessary, refer samples to that laboratory for confirmatory testing of samples from the index case in a country, zone or compartment considered free.

6.1.	Apparently healthy animals or animals of unknown health status3F3F3F10F10F

Apparently healthy populations may fall under suspicion, and therefore be sampled, if there is an epidemiological link(s) to an infected population. Hydrographical proximity to, or movement of animals or animal products or equipment, etc., from a known infected population equate to an epidemiological link. In addition, apparently Alternatively, healthy populations are sampled, when in surveys are carried out to demonstrate disease freedom.

6.1.1.	Definition of suspect case in apparently healthy animals

The presence of infection with TSV shall be suspected if at least one of the following criteria is met:

- Histopathological changes consistent with the presence of the pathogen or the disease

i)	A positive result by real-time RT-PCR

ii)	A positive result by conventional RT-PCR

6.1.2.	Definition of confirmed case in apparently healthy animals

The presence of infection with TSV is considered to be confirmed if at least one of the following criterion criteria is met:

i)	A positive result by real-time RT-PCR and a positive result by conventional RT-PCR followed by sequencing of the amplicon

ii)	A positive result by in-situ hybridisation and a positive result by real-time RT-PCR

iii)	A positive result by in-situ hybridisation and a positive result by conventional RT-PCR followed by amplicon sequencing

6.2.	Clinically affected animals

No clinical signs are pathognomonic for a single disease; however, they may narrow the range of possible diagnoses.

6.2.1.	Definition of suspect case in clinically affected animals

The presence of infection with TSV shall be suspected if at least one of the following criteria is met:

i)	Gross pathology or clinical signs associated with the disease as described in this chapter, with or without elevated mortality

ii)	Histopathological changes consistent with TSV infection

iii)	Positive result by real-time RT-PCR

iv)	Positive result by conventional RT-PCR

v)	Positive result of a bioassay

6.2.2.	Definition of confirmed case in clinically affected animals

The presence of infection with TSV is considered to be confirmed if at least at least one of the following criteria is met:

i)	A positive result by real-time RT-PCR and a positive result by conventional RT-PCR followed by sequencing of the amplicon

ii)	A positive result by in-situ hybridisation and a positive result by real-time RT-PCR

iii)	A positive result by in-situ hybridisation and a positive result by conventional RT-PCR followed by amplicon sequencing

6.3.	Diagnostic sensitivity and specificity for diagnostic tests

The diagnostic performance of tests recommended for surveillance or diagnosis of infection with TSV are provided in Tables 6.3.1 and 6.3.2. (none no data are currently available for either). This information can be used for the design of surveys for infection with TSV, however, it should be noted that diagnostic performance is specific to the circumstances of each diagnostic accuracy study (including the test purpose, source population, tissue sample types and host species) and diagnostic performance may vary under different conditions. Data are only presented where tests are validated to at least level 2 of the validation pathway described in Chapter 1.1.2. and the information is available within published diagnostic accuracy studies.

6.3.1.	For surveillance of clinically affected animals

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe (n) | DSp (n) | Reference test | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

DSe: = diagnostic sensitivity, DSp = diagnostic specificity.

6.3.2.	For surveillance of apparently healthy animals

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe (n) | DSp (n) | Reference test | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

DSe: = diagnostic sensitivity, DSp = diagnostic specificity.

7.	References

Audelo del Valle J., Clement-Mellado O., Magana-Hernandez A., Flisser A., Montiel-Aguirre F. & Briseno-Garcia B. (2003). Infection of cultured human and monkey cell lines with extract of penaeid shrimp infected with Taura syndrome virus. Emerg. Infect. Dis., 9, 265–266.

Bonami J.R., Hasson K.W., Mari J., Poulos B.T. & Lightner D.V. (1997). Taura syndrome of marine penaeid shrimp: characterization of the viral agent. J. Gen. Virol., 78, 313–319.

Brock J.A. (1997). Special topic review: Taura syndrome, a disease important to shrimp farms in the Americas. World J. Microbiol Biotechnol., 13, 415–418.

Brock J.A., Gose R., Lightner D.V. & Hasson K.W. (1995). An overview on Taura syndrome, an important disease of farmed Penaeus vannamei. In: Swimming through Troubled Water, Proceedings of the Special Session on Shrimp Farming, Aquaculture ’95, Browdy C.L. & Hopkins J.S., eds. San Diego, California, 1–4 February 1995. World Aquaculture Society, Baton Rouge, Louisiana, USA, 84–94.

Chen S.N., Chang P.S. & Kou G.H. (1992). Infection route and eradication of Penaeus monodon baculovirus (MBV) in larval giant tiger prawns, Penaeus monodon. In: Diseases of Cultured Penaeid Shrimp in Asia and the United States, Fulks W. & Main K.L., eds. Oceanic Institute, Honolulu, Hawaii, USA, 177–184.

Clifford H.C. (1998). Management of ponds stocked with blue shrimp Litopenaeus stylirostris. In: Proceedings of the First Latin American Shrimp Farming Congress, D.E. Jory, ed. Panama City, Panama, 1–11.

Dhar A.K., Cowley J.A., Hasson K.W. & Walker P.J. (2004). Taura syndrome virus and yellow head virus of penaeid shrimp. Adv. Virus Res., 64, 353–421.

Dixon H. & Dorado J. (1997). Managing Taura syndrome in Belize: a case study. Aquaculture Magazine, May/June, 30–42.

Fegan D.F. & Clifford H.C. III. (2001). Health management for viral diseases in shrimp farms. In: The New Wave, Proceedings of the Special Session on Sustainable Shrimp Culture. Aquaculture 2001, Browdy C.L. & Jory D.E., eds. The World Aquaculture Society, Baton Rouge, Louisiana, USA, 168–198.

Garza J.R., Hasson K.W., Poulos B.T., Redman R.M., White B.L. & Lightner D.V. (1997). Demonstration of infectious taura syndrome virus in the feces of sea gulls collected during an epizootic in Texas. J. Aquat. Anim. Health, 9, 156–159.

Hasson K.W., Hasson J., Aubert H., Redman R.M. & Lightner D.V. (1997). A new RNA-friendly fixative for the preservation of penaeid shrimp samples for virological detection using cDNA genomic probes. J. Virol. Methods, 66, 227–236.

Hasson K.W., Lightner D.V., Mari J. & Bonami J.R., Poulos B.T., Mohney L.L., Redman R.M. & Brock J.R. (1999a). The geographic distribution of Taura Syndrome Virus (TSV) in the Americas: determination by histology and in situ hybridization using TSV-specific cDNA probes. Aquaculture, 171, 13–26.

Hasson K.W., Lightner D.V., Mohney L.L., Redman R.M., Poulos B.T. & White B.M. (1999b). Taura syndrome virus (TSV) lesion development and the disease cycle in the Pacific white shrimp Penaeus vannamei. Dis. Aquat. Org., 36, 81–93.

Hasson K.W., Lightner D.V., Poulos B.T., Redman R.M., White B.L., Brock J.A. & Bonami J.R. (1995). Taura syndrome in Penaeus vannamei: demonstration of a viral etiology. Dis. Aquat. Org., 23, 115–126.

Intriago P., Jimenez R., Machuca M., Barniol R., Krauss E. & Salvador X. (1997). Experiments on toxicosis as the cause of Taura Syndrome in Penaeus vannamei (Crustacea: Decapoda) in Ecuador. In: Diseases in Asian Aquaculture III, Flegel T.W. & MacRae I.H., eds. Fish Health Section, Asian Fisheries Society, Manila, the Philippines, 365–379.

Jimenez R. (1992). Sindrome de Taura (Resumen). In: Acuacultura del Ecuador. Camara Nacional de Acuacultura, Guayaquil, Ecuador, 1–16.

Jimenez R., Barniol R., De Barniol L. & Machuca M. (2000). Periodic occurrence of epithelial viral necrosis outbreaks in Penaeus vannamei in Ecuador. Dis. Aquat. Org., 42, 91–99.

Lightner D.V. (ed.) (1996a). A Handbook of Shrimp Pathology and Diagnostic Procedures for Diseases of Cultured Penaeid Shrimp. World Aquaculture Society, Baton Rouge, Louisiana, USA, 304 pp.

Lightner D.V. (1996b). Epizootiology, distribution and the impact on international trade of two penaeid shrimp viruses in the Americas. Rev. sci. tech. Office int. Epiz., 15, 579–601.

Lightner D.V. (1999). The penaeid shrimp viruses TSV, IHHNV, WSSV, and YHV: current status in the Americas, available diagnostic methods and management strategies. J. Appl. Aquac., 9, 27–52.

Lightner D.V. (2005). Biosecurity in shrimp farming: pathogen exclusion through use of SPF stock and routine surveillance. J. World Aquac. Soc., 36, 229–248.

Lightner D.V. & Redman R.M. (1998). Shrimp diseases and current diagnostic methods. Aquaculture, 164, 201–220.

Lightner D.V., Redman R.M., Arce S. & Moss S.M. (2009). Specific pathogen-free shrimp stocks in shrimp farming facilities as a novel method for disease control in crustaceans. In: Shellfish Safety and Quality, Shumway S. & Rodrick G., eds. Woodhead Publishers, London, UK. pp. 384-424.

Lightner D.V., Redman R.M., Hasson K.W. & Pantoja C.R. (1995). Taura syndrome in Penaeus vannamei (Crustacea: Decapoda): gross signs, histopathology and ultrastructure. Dis. Aquat. Org., 21, 53–59.

Lightner D.V., Redman R.M., Pantoja C.R., Tang K.F.J., Noble B.L., Schofield P., Mohney L.L., Nunan L.M. & Navarro S.A. (2012). Historic emergence, impact and current status of shrimp pathogens in the Americas. J. Invertebr. Pathol., 110, 174–183.

Lotz J.M. (1997). Effect of host size on virulence of Taura virus to the marine shrimp Penaeus vannamei (Crustacea: Penaeidae). Dis. Aquat. Org., 30, 45–51.

Lotz J.M., Anton, L.S. & Soto M.A. (2005). Effect of chronic Taura syndrome virus infection on salinity tolerance of Litopenaeus vannamei. Dis. Aquat. Org., 65, 75–78.

Luo P., Hu C.Q., Ren C.H. & Sun Z.F. (2004). Taura syndrome virus and mammalian cell lines. Emerg. Infect. Dis., 10, 2260–2261.

Mari J., Bonami J.R. & Lightner D.V. (1998). Taura syndrome of penaeid shrimp: cloning of viral genome fragments and development of specific gene probes. Dis. Aquat. Org., 33, 11–17.

Navarro S.A., Tang K.F.J & Lightner D.V. (2009). An improved Taura syndrome virus (TSV) RT-PCR using newly designed primers. Aquaculture, 293, 290–292.

Nielsen L., Sang-oum W., Cheevadhanarak S. & Flegel T.W. (2005). Taura syndrome virus (TSV) in Thailand and its relationship to TSV in China and the Americas. Dis Aquat. Org, 63, 101–106.

Nunan L.M., Poulos B.T. & Lightner D.V. (1998). Reverse transcription polymerase chain reaction (RT-PCR) used for the detection of Taura Syndrome Virus (TSV) in experimentally infected shrimp. Dis. Aquat. Org., 34, 87–91.

Nunan L.M., Tang-Nelson K. & Lightner D.V. (2004). Real-time RT-PCR determination of viral copy number in Penaeus vannamei experimentally infected with Taura syndrome virus. Aquaculture, 229, 1–10.

Overstreet R.M., Lightner D.V., Hasson K.W., McIlwain S. & Lotz J. (1997). Susceptibility to TSV of some penaeid shrimp native to the Gulf of Mexico and southeast Atlantic Ocean. J. Invertebr. Pathol., 69, 165–176.

Pantoja C.R., Navarro S.A., Naranjo J., Lightner D.V. & Gerba C.P. (2004). Nonsusceptibility of primate cells to Taura syndrome virus. Emerg. Infect. Dis., 10, 2106–2112.

Poulos B.T., Kibler R., Bradley-Dunlop D., Mohney L.L. & Lightner D.V. (1999). Production and use of antibodies for the detection of Taura syndrome virus in penaeid shrimp. Dis. Aquat. Org., 37, 99–106.

Robles-Sikisaka R., Hasson K.W., Garcia D.K., Brovont K., Cleveland K., Klimpel K.R. & Dhar A.K. (2002). Genetic variation and immunohistochemical differences among geographical isolates of Taura syndrome virus of penaeid shrimp. J. Gen. Virol., 83, 3123–3130.

Robles-Sikisaka R., Garcia D.K., Klimpel K.R. & Dhar A.K. (2001). Nucleotide sequence of 3’-end of the genome of Taura syndrome virus of shrimp suggests that it is related to insect picornaviruses. Arch. Virol., 146, 941–952.

Srisuvan T., Tang K.F.J. & Lightner D.V. (2005). Experimental infection of Penaeus monodon with Taura syndrome virus (TSV). Dis. Aquat. Org., 67, 1–8.

Tang K.F.J. & Lightner D.V. (2005). Phylogenetic analysis of Taura syndrome virus isolates collected between 1993 and 2004 and virulence comparison between two isolates representing different genetic variants. Virus Res., 112, 69–76.

Tang K.F.J., Wang J. & Lightner D.V. (2004). Quantitation of Taura syndrome virus by real-time RT-PCR with a TaqMan assay. J. Virol. Methods, 115, 109–114.

Tu C., Huang H.T., Chuang S.H., Hsu J.P., Kuo S.T., Li N.J., Hus T.L., Li M.C. & Lin S.Y. (1999). Taura syndrome in Pacific white shrimp Penaeus vannamei cultured in Taiwan. Dis. Aquat. Org., 38, 159–161.

Vanpatten K.A., Nunan L.M. & Lightner D.V. (2004). Seabirds as potential vectors of penaeid shrimp viruses and the development of a surrogate laboratory model utilizing domestic chickens. Aquaculture, 241, 31–46.

Vergel J.C.V., Cabawatan L.D.P., Madrona V.A.C., Rosario A.F.T., Sta. Ana J.B.M., Tare M.V.R. & Maningas M.B.B. (2019). Detection of Taura Syndrome Virus (TSV) in Litopenaeus vannamei in the Philippines. Philipp. J. Fish., 26, 8–14.

Wertheim J.O., Tang K.F.J., Navarro S.A. & Lightner D.V. (2009). A quick fuse and the emergence of Taura syndrome virus. Virology, 390, 324–329.

White B.L., Schofield P.J., Poulos B.T. & Lightner D.V. (2002). A laboratory challenge method for estimating Taura Syndrome virus resistance in selected lines of Pacific White Shrimp Penaeus vannamei. J. World Aquac. Soc., 33, 341–348.

Wyban J.A. (1992). Selective breeding of specific pathogen-free (SPF) shrimp for high health and increased growth. In: Diseases of Cultured Penaeid Shrimp in Asia and the United States, Fulks W. & Main K.L., eds. The Oceanic Institute, Honolulu, Hawaii, USA, 257–268.

Yu C.I. & Song Y.L. (2000). Outbreaks of Taura syndrome in Pacific white shrimp Penaeus vannamei cultured in Taiwan. Fish Pathol., 5, 21–24.

Zarain-Herzberg M. & Ascencio F. (2001). Taura syndrome in Mexico: follow-up study in shrimp farms of Sinaloa. Aquaculture, 193, 1–9.

*
*   *

NB: There is a WOAH Reference Laboratory for infection with Taura syndrome virus
(please consult the WOAH Web site for the most up-to-date list: 
https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3). 
Please contact WOAH Reference Laboratories for any further information on 
infection with Taura syndrome virus

NB: First adopted in 2006. Most recent updates adopted in 2017.

Reference to specific commercial products as examples does not imply their endorsement by WOAH. This applies to all commercial products referred to in this Aquatic Manual.

For example transboundary commodities.