Annex 9. Item 5.1. – Chapter 3.3.6. Avian tuberculosis

2	MEETING OF THE WOAH BIOLOGICAL STANDARDS COMMISSION

3	Paris, 4–8 September 2023

4

5	CHAP T E R  3 . 3 . 6 .

# 6	A V I A N T U B ER C U L OS I S

7	SUMMARY

- Description of the disease: Avian tuberculosis, or avian mycobacteriosis, is an important a significant

- disease that affects companion, captive exotic, wild, and domestic birds and mammals. The disease is most

- often caused by Mycobacterium avium subsp. avium (M. a. avium), a member of the M. avium complex.

- However, more than ten other mycobacterial species have been reported to infect birds. The most significant

- cause of poultry disease is M. a. avium.

- Clinical signs of the disease vary depending on the organs involved. The classical presentation is

- characterised by chronic and progressive wasting and weakness. Diarrhoea is common and joint swelling

- are standard features in infected flocks. Some birds may show respiratory signs, and occasionally, sudden

- death occurs. Some birds may develop granulomatous ocular lesions.

- Mycobacterium tuberculosis, the agent that most commonly causes human tuberculosis (gene IS61101) is

- less commonly rarely the cause of infection in birds, and it is often as a the result of transmission from pet

- bird owners.

- Members of M. avium complex: M. a. avium (serotypes 1–3; containing gene segments IS901 and IS1245),

- M. avium subsp. hominissuis (serotypes 4–6, 8–11, and 21; lacking gene segment IS901 and containing

- segment IS1245) and M. intracellulare (serotypes 7, 12–20, and 22–28; lacking both IS901 and IS1245) can

- also infect an extensive range of mammals such as swine, cattle, deer, sheep, goats, horses, cats, dogs,

- and exotic species. In humans, all members of the M. avium complex and M. genavense are capable of

- inducing can induce a progressive disease that is refractory to treatment, mostly mainly  in

- immunocompromised patients.

- All manipulations involving Due to the contagious nature of this group of organisms, handling of open live

- cultures or of material from infected birds must only be carried out with after an appropriate biorisk

- management risk assessment and the implementation of biosafety measures designed to avoid infection.

- Diagnosis of avian tuberculosis in birds depends on the demonstration of the above-mentioned a

- mycobacterial species in live or dead birds or the detection of an immune response, cellular or humoral,

- culture examination, or gene segments IS6110, IS901 and IS1245 by polymerase chain reaction (PCR) in

- the excretions or secretions of live birds.

- Detection of the agent: Where clinical signs of avian tuberculosis are seen in the flock, or typical

- tuberculous lesions are present in birds at necropsy, the demonstration of acid-fast bacilli in smears or

- sections made from affected organs is sufficient for a quick positive diagnosis. If acid-fast bacilli are not

- found but typical tuberculous signs or lesions are present in the birds, a culture of the organism or PCR must

- be attempted. PCR could also be carried out directly on tissue samples. Any acid-fast organism isolated

- should be identified by nucleic-acid-based tests or chromatographical (e.g. high-performance liquid

- chromatography [HPLC]) criteria; serotyping of isolates of M. avium complex members or PCR for 16S rRNA

- gene followed by sequencing, or the presence of an amplicon for the insertion sequences IS6110, IS901,

- and IS1245 could also be performed.

- Tuberculin test and serological tests: These tests are normally typically used to determine the disease

- prevalence of disease in a flock or to detect infected birds. When used to detect the presence of avian

- tuberculosis in a flock, they should be supported by the necropsy of any birds that give positive reactions.

- In domestic fowl, the tuberculin test in the wattle is the test of choice. This test is less useful in other species

- of bird. A better test, especially in waterfowl, is The whole blood stained-antigen agglutination test is better,

- especially in waterfowl. It is more reliable and has the advantage that it will can give a result within a few

- minutes while the bird is still being held.

- Requirements for vaccines and diagnostic biologicals: No vaccines are available for use in birds. Avian

- tuberculin purified protein derivative (PPD) is the standard preparation for use in the tuberculin test of

- domestic poultry. Avian PPD is also used as a component in the comparative intradermal tuberculin test in

- cattle (see Chapter 3.1.13 Mammalian tuberculosis [infection with Mycobacterium tuberculosis complex]).

## 54	A. INTRODUCTION

- Several mycobacterial species can be involved in the aetiology of avian tuberculosis and, also known as avian

- mycobacteriosis. Avian tuberculosis is most commonly produced caused by infection with Mycobacterium avium subsp.

- avium (serotypes 1, 2, and 3: containing specific gene segment IS901 and nonspecific segment IS1245) and less frequently

- by M. genavense (Guerrero et al., 1995; Pavlik et al., 2000; Salamatian et al., 2020; Sattar et al., 2021; Tell et al., 2001).

- Avian mycobacteriosis is also caused by other two members of the M. avium complex: M. avium subsp. hominissuis

- (serotypes 4–6, 8–11, and 21: lacking gene segment IS901 and containing segment IS1245 and mainly infecting humans

- and pigs) and M. intracellulare (serotypes 7, 12–20, and 22–28: lacking both gene segments IS901 and IS1245) and by

- M. intracellulare, M. scrofulaceum, M. fortuitum, and other potentially pathogenic mycobacterial species including

- M. scrofulaceum and M. fortuitum. Under some circumstances, an extensive range of mammalian species, such as swine,

- cattle, deer, sheep, goats, horses, cats, dogs, and exotic animals, can be infected by these mycobacterium species

- (Dvorska et al., 2004; Kunze et al., 1992; Mijs et al., 2002; Shitaye et al., 2009; Tell et al., 2001; Thorel et al., 1997; 2001).

- Mycobacterium tuberculosis and M. bovis are less common as causal rarely the causative agents of tuberculosis in birds

- (Hoop, 2002; Lanteri et al., 2011; Peters et al., 2007; Schmidt et al., 2022; Tell et al., 2001).

- Mycobacterium avium species with standing in nomenclature as of 202335 (Arahal et al., 2023) consists of four three

- subspecies: M. avium subsp. avium, M. avium subsp. hominissuis, M. avium subsp. silvaticum, and M. avium subsp.

- paratuberculosis (Mijs et al., 2002; Thorel et al., 1990). The latter is the causal agent of Johne’s disease, or

- paratuberculosis, in ruminants and other mammalian species (see Chapter 3.1.16 Paratuberculosis [Johne’s disease]).

- Mycobacterium a. silvaticum, which like M. avium subsp. paratuberculosis grows in-vitro only on media with Mycobactin,

- which can cause avian tuberculosis in wood pigeons (Thorel et al., 1990). With the widespread use of whole genome

- sequencing (WGS) and bioinformatics, some studies have investigated the classification of species belonging to the genus

- Mycobacterium and have proposed that M. avium be three subspecies M. avium subsp. avium, M. avium subsp.

- paratuberculosis, and M. avium subsp. lepraemurium. Further subdividing M. avium subsp. avium into three variants M.

- avium subsp. avium var. avium, M. avium subsp. avium var. silvaticum, and M. avium subsp. avium var. hominissuis (Riojas

- et al., 2021; Tortoli et al., 2019).

- All M. a avium isolates from birds and mammals, including humans, have a multiple repetitive sequence IS901 in their

- genome and produce a characteristic three-band pattern in IS1245 restriction fragment length polymorphism (RFLP) as

- described and standardised previously (Dvorska et al., 2003; Ritacco et al., 1998). This repetitive sequence is also present

- in M. a. silvaticum and RFLP analysis can help with identification. IS901 has only been detected in M. avium strains with

- serotypes 1, 2 and 3 (Pavlik et al., 2000; Ritacco et al., 1998) that are apparently more pathogenic to birds than other

- serotypes (Tell et al., 2001). On the basis of genetic and phenotypic differences it has recently been proposed to

- differentiate M. a. avium into two subspecies based on the target organism: M. a. hominissuis for human and porcine

- isolates and M. a. avium for bird-type isolates (Mijs et al., 2002). Mycobacterium a. hominissuis has polymorphic multiband

- IS1245 RFLP patterns and is able to grow between 24 and 45°C (Mijs et al., 2002; Van Soolingen et al., 1998). It is worth

- noting that the typical features of bird-isolates, the three-band pattern in IS1245 RFLP and presence of IS901, have also

- been found in cervine and bovine isolates of M. a. avium.

- Avian tuberculosis in birds is most prevalent in gallinaceous poultry and in wild birds raised in captivity. Turkeys are quite

- susceptible, but ducks, geese, and other water birds are comparatively resistant. The practices of allowing poultry to roam

- at large on the farm (free range) and of keeping the breeders for several years are conducive to the spread of the causal

- agent of avian tuberculosis among them. Infected individuals and contaminated environments (water and soil) are the main

- primary sources of infection. The above-mentioned mycobacterial species causing avian tuberculosis can survive for

- several months in the environment (Dvorska et al., 2007; Kazda et al., 2009; Shitaye et al., 2008; Tell et al., 2001).

- https://lpsn.dsmz.de/species/mycobacterium-avium

- In most cases, Infected birds usually show no clinical signs but they may eventually become lethargic and emaciated.

- Many affected birds show diarrhoea and swollen joints, and comb and wattles may regress and become pale. Affected

- birds, especially gallinaceous poultry, are usually older than 1 year. Some show respiratory signs and, including sudden

- death may occur, dyspnoea is less common, and granulomatous ocular lesions (Pocknell et al., 1996) as well as and skin

- lesions have been reported. Under intensive husbandry conditions, sudden death may occur, often associated with severe

- lesions in the liver; such lesions are easily observed at post-mortem examination (Salamatian et al., 2020; Tell et al., 2001).

- The primary lesions of avian tuberculosis in birds poultry (chickens and turkeys) are nearly always in the intestinal tract.

- Such lesions take the form of deep ulcers filled with caseous material containing many mycobacterial cells, and these are

- discharged into the lumen and appear in the faeces. Before the intestinal tract is opened, the ulcerated areas appear as

- tumour-like masses attached to the gut wall, but. Still, when the intestine is opened, the true nature of the mass becomes

- evident. Typical caseous lesions are nearly always found in the liver and spleen, and; these organs are usually are greatly

- enlarged because of the formation of new tuberculous tissue. The lungs and other tissues are ordinarily free from lesions

- even in advanced cases (Salamatian et al., 2020; Tell et al., 2001; Thorel et al., 1997).

- Among domestic animals (mammals), domestic pigs (Sus scrofa f. domesticus) are the most susceptible to avian

- tuberculosis. Usually, no clinical manifestations are observed in such animals. Avian tuberculosis is suspected when

- tuberculous lesions are found in the head and mesenteric lymph nodes on meat inspection after slaughter. Findings of

- tuberculous lesions that involve other organs (liver, spleen, lungs, etc.) are rare, usually occurring at the advanced stage

- of the disease. Mycobacterium a. avium accounted for up to 35% of the Mycobacteria isolated from such tuberculous

- lesions (Dvorska et al., 1999; Pavlik et al., 2003, 2005; Shitaye et al., 2006). Unlike the other species mentioned previously,

- cattle are highly resistant to the causative agent of avian tuberculosis, and tuberculous lesions are detected in head lymph

- nodes, or occasionally in liver lymph nodes, only on meat inspection. Mycobacterium a. avium can be successfully isolated

- from tuberculous lesions in mesenteric lymph nodes from juvenile cattle: the isolation rate from cattle under 2 years of age

- was 34.4% in contrast to 13.0% from cattle over 2 years of age (Dvorska et al., 2004).

- Pet and wild birds with avian mycobacteriosis have clinical presentations often exacerbated by age and viral and fungal

- co-infections (Schmidt et al., 2022; Schmitz et al., 2018b). The presence of nonspecific clinical signs and the absence of

- gross finds during necropsy in psittacine and passeriform birds may confound diagnosis. Furthermore, differences in body

- condition and gross pathology are observed, where psittacines have more severe lesions than passeriform birds. These

- differences could also be attributed to the fact that they are often more likely infected with M. genavense than M. avium

- (Schmitz et al., 2018a). The advent of more affordable WGS has allowed the study of M. avium and M. genavense and

- their epidemiology in a large captive population of birds belonging to multiple taxa for over 22 years. In this large bird

- population, 68% of all birds at necropsy had isolates that were infected with M. avium or M. genavense. The WGS study

- of these mycobacterium isolates demonstrated strong evidence of disease clustering among those birds infected with M.

- avium but not among those harbouring M. genavense (Witte et al., 2021). This works sheds light on the epidemiology of

- mycobacterium among captive birds, and future studies are necessary to understand these pathogens’ epidemiology better

- and to help identify its reservoirs.

- It is essential to bear in mind that all members of M. avium complex and M. genavense are capable of giving rise to a

- progressive disease in humans that is refractory to treatment, especially in immunocompromised individuals (Narsana et

- al., 2023; Pavlik et al., 2000; Tell et al., 2001). Members of Mycobacterium avium complex are classed in Risk Group 2 for

- human infection and should be handled with appropriate measures All Mycobacterium species can cause infection in

- people (Cowman et al., 2019). Caution should be exercised by those working with birds in environments infected with

- Mycobacterium, especially those immunosuppressed. All laboratory manipulations with live cultures or potentially

- infected/contaminated material must be performed at an appropriate biosafety and containment level determined by

- conducting a thorough risk assessment as described in Chapter 1.1.4 Biosafety and biosecurity: Standard for managing

- biological risk in the veterinary laboratory and animal facilities. Biocontainment measures should be determined by risk

- analysis as described in Chapter 1.1.4. The CDC’s online Manual for Biosafety in Microbiological and Biomedical

- Laboratories is also a good reference 36.

- https://www.cdc.gov/labs/pdf/SF 19_308133-A_BMBL6_00-BOOK-WEB-final-3.pdf

## 142	B. DIAGNOSTIC TECHNIQUES

143	Table 1. Test methods available for the diagnosis of avian tuberculosis and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post- vaccination |
| Detection and identification of the agent(a) |  |  |  |  |  |  |
| Ziehl–Neelsen staining | – | – | – | ++ | – | – |
| Culture | – | – | – | ++ | – | – |
| Haemagglutination (stained antigen) | + | +++ | + | – | ++ | – |
| PCR | +++ | – + | ++ – | +++ | + – | – |
| Detection of immune response |  |  |  |  |  |  |
| Haemagglutination (stained antigen) | + | +++ | + | – | ++ | – |
| Tuberculin test | ++ | +++ | + | – | ++ | – |

144	Key: +++ = recommended for this purpose; ++ recommended but has limitations;

145	+ = suitable in very limited circumstances; – = not appropriate for this purpose.

- PCR = polymerase chain reaction.

- (a)A combination of agent identification methods applied to the same clinical sample is recommended.

#### 1.	Identification of the agent

- If there is a characteristic history of avian tuberculosis in a flock and typical lesions are found in birds at post-mortem, the

- detection of acid-fast bacilli (AFB) in smears or sections from affected organs, stained by the Ziehl–Neelsen method usually

- is normally sufficient to establish a diagnosis. Confirmation of M. avium subspecies should be carried out by PCR or other

- molecular techniques (Kaevska et al., 2010; Slana et al., 2010). Occasionally a case will occur, presumably as a result of

- due to large infecting doses giving rise to acute overwhelming disease, in which affected organs, most obviously the liver,

- have a ‘morocco leather’ appearance with fine greyish or yellowish mottling. In such cases AFB may not be found in such

- cases, but careful inspection will reveal parallel bundles of brownish refractile bacilli. Prolongation of the hot carbol-fuchsin

- stage of Ziehl–Neelsen staining to 10 minutes will usually reveal that these are indeed AFB, with unusually high resistance

- to penetration of the stain. Recently, DNA probes and, polymerase chain reaction (PCR), and WGS techniques have been

- used to identify the agent at the species and subspecies level specifically. Traditionally, M. a. avium is separated from

- common nonchromogenic slow-growing organisms by their ability to grow at 42°C (M. a. avium). Mycobacterium

- genavense is particularly fastidious and has special unique requirements for growth and identification (Shitaye et al., 2010).

##### 1.1.	Culture

- If there is a characteristic flock history and suggestive lesions are found at necropsy, but no AFB are seen in smears

- or sections, an attempt must be made to isolate the causative organism from the necropsy material. The liver or

- spleen is usually the best organ to use, but if the carcass is decomposed, bone marrow may prove more satisfactory

- as it could be less contaminated. As with the culture of M. bovis, non-sterile specimens need to be processed with

- detergent, alkali, or acid to eliminate rapidly growing microorganisms before culture (see Chapter 3.1.13 Mammalian

- tuberculosis [infection with Mycobacterium tuberculosis complex]). Mycobacterium a. avium grows best on media

- such as Lowenstein–Jensen, Herrold’s medium, Middlebrook 7H10 and, 7H11, or Coletsos, with 1% sodium pyruvate

- added. It may occasionally be is necessary to incorporate mycobactin J, as it is used for the isolation of to isolate

- M. a. paratuberculosis genavense and M. a. silvaticum. Growth may be confined to the edge of the condensation

- water. Cultures should be incubated for at least 8 12 weeks, less if using liquid media. Typically, M. a. avium produces

- ‘smooth’ colonies within 2–4 weeks; rough variants do occur. Shorter incubation times can be achieved using the

- liquid culture BACTEC system or the automated fluorescent MGIT 960 culture system. Mycobacterium a. avium can

- also be detected in massively infected tissue by a conventional PCR, which also allows acceleration of the accelerates

- pathogen detection and identification (Moravkova et al., 2008). Currently, Direct detection and quantification of

- M. a. avium using IS901 quantitative real-time PCR can be considered as the best fast and inexpensive method

- (despite its rather high cost per test) (Kaevska et al., 2010; Slana et al., 2010).

- For M. genavense, the optimal medium is liquid media supplemented with Mycobactin J (an iron chelator) and then

- plated onto a solid medium is such as Middlebrook 7H11 medium acidified to pH 6 and supplemented with blood and

- charcoal (Realini et al., 1999). The incubation period at 37°C with 5–7% CO2 should be extended for at least 6 months

- 42 days. If samples are directly plated onto solid media, plates should be held for at least 12 weeks. Bacterial growth

- should be prepared in a smear and stained using an acid-fast stain. All acid-fast organisms should be identified using

- MALDI-TOF (matrix assisted laser desorption ionisation–time of flight [mass spectrometry]) or PCR (Buckwalter et

- al., 2016; Hall et al., 2003; Shitaye et al., 2010).

- Typing of mycobacteria to the species and subspecies level requires a specialised laboratory. Conventional

- biochemical tests for species identification are lengthy and fail to distinguish between M. avium and M. intracellulare.

- Thus, a miscellaneous group of mycobacteria that includes both species is usually classified under the denomination

- of M. avium complex denomination. Seroagglutination, which is based on the sugar residue specificity of surface

- glycopeptidolipids, allows classification the parsing of M. avium complex organisms into 28 serovars (Wolinsky &

- Schaefer, 1973). More sophisticated typing methods directed at cell-wall-specific targets are currently available, such

- as enzyme-linked immunosorbent assays with monoclonal antibodies to major serovars, and high-performance liquid

- chromatography (HPLC), and WGS. Based on DNA–rRNA hybridisation serovars 1 to 6, 8 to 11, and 21 are currently

- have been ascribed to M. a. avium and M. a. hominissuis, and serovars 7, 12 to 20, and 25 to M. intracellulare.

- However, no consensus was achieved on other serovars, and some isolates cannot be serotyped (Inderlied et al.,

- 1993). For final species and subspecies identification, the current methods are WGS and bioinformatic analysis of

- isolates obtained from sick birds. Avian tuberculosis in birds is commonly caused by M. a. avium types 1, 2, or 3. If

- the isolate is not one of these three serotypes, further molecular identification tests (IS901 PCR) must be carried out

- conducted in a specialised laboratory. However, it should be borne in mind noted that superficial tuberculous lesions

- in caged pet birds, especially psittacines, may be caused by M. tuberculosis, and IS6110 PCR should be used for

- precise identification should always be attempted (Hoop, 2002; Lanteri et al., 2011; Peters et al., 2007; Schmidt et

- al., 2008; Tell et al., 2001).

##### 1.2.	Nucleic acid recognition methods

- Specific and reliable genetic tests for speciation are currently have been available (Saito et al., 1990). , including

- commercial nucleic acid hybridisation probes have become a ‘gold standard’ reference method for distinction between

- distinguishing M. avium, and M. intracellulare cultures. and M. genavense can also be distinguished with these tests.

- A further probe that covers the whole M. avium complex was also developed, as genuine M. avium complex strains

- have been described that fail to react with specific M. avium and M. intracellular probes (Soini et al., 1996).

- Nevertheless, identification errors were reported due to the cross-reactivity, which may have serious consequences

- (van Ingen et al., 2009). Various in-house molecular methods have been reported for the identification of to identify

- mycobacterial cultures, including MAC. members of the Mycobacterium avium complex. The following gene segments

- could be used to identify Mycobacterium isolates as M. avium in one multiplex PCR reaction: IS900, IS901, IS1245.

- The isolates of M. a. avium/M. a. silvaticum are IS900−, IS901+, IS1245+, the isolates of M. a. hominissuis are

- IS900−, IS901−, IS1245+, and the isolates of M. a. paratuberculosis are IS900+, IS901−, IS1245− (Kaevska et al.,

- 2010; Moravkova et al., 2008). A multiplex 16S rRNA PCR and sequencing method for differentiating M. avium from

- M. intracellulare and M. tuberculosis complex has some advantages (Cousins et al., 1996). 16S rRNA is currently

- commercially available. Similarly, many veterinary diagnostic laboratories commonly perform in-house PCR and

- sequencing (Kirschner et al., 1993) may also be used. Culture-independent in-house molecular tests have been

- developed for the detection to detect and identification of identify species belonging to the M. avium complex directly

- from samples (Hall et al., 2003; Kaevska et al., 2010). WGS of isolates has recently become the go-to molecular

- method to identify mycobacterium isolates from birds with great accuracy. It enables, with the use of bioinformatic

- tools, not only an accurate identification of species and subspecies, but also helps to determine the organism

- relatedness within a flock or environment (Witte et al., 2021). In recent years, veterinary diagnostic laboratories have

- extensively adopted real-time PCR methods to detect M. a. avium directly from different specimens (faeces, tissues,

- formalin-fixed tissues, and environmental samples). The technique rapidly detects fastidious and slow-growing

- microorganisms, such as M. a. avium (Tell et al., 2003a; 2003b).

- Several commercial diagnostic PCR tests for detecting M. a. avium are available. Still, users should consider the skill

- set and equipment necessary to perform such tests. Furthermore, it is important to determine the fitness for the

- purpose of these tests before implementation. The interpretation of the results of these molecular tests also requires

- veterinary expertise.

- Mycobacterium a. avium, the causative agent of avian tuberculosis (Thorel et al., 1990), previously designated as

- M. avium species only, is assigned to serotypes 1 to 3 within the M. avium complex of 28 serotypes (Wolinsky &

- Schaefer, 1973). As revealed by molecular biological studies, the detected insertion sequence IS901 (Kunze et al.,

- 1992) is possessed not only by the isolates of the above-named serotypes, but also by isolates, virulent for birds, that

- could not be typed because agglutination occurred (Pavlik et al., 2000). In epidemiological studies, a standardised

- IS901 RFLP methods replaced serotyping (Dvorska et al., 2003).

#### 2.	Immunological methods

- Tests used for export depend on the importing requirement of individual countries. In the main, the tuberculin test or the

- haemagglutination (stained antigen) test are most frequently used for export testing of poultry.

##### 2.1.	Tuberculin test

- The tuberculin test is the most widely used test in for domestic fowl and the only test for which an international

- standard for the reagent exists. Tuberculin is the standard avian purified protein derivative (PPD). Birds are tested by

- intradermal inoculation in the wattle with 0.05 ml or 0.1 ml of tuberculin (containing approximately 2000 International

- Units [IU]), using a very fine needle of approximately 26 gauge, 10 mm long × 0.5 mm. The test is read after 48 hours

- and. A positive reaction is any swelling at the site, from a small firm nodule approximately 5 mm in diameter to gross

- oedema extending into the other wattle and down the neck. With practice, Even very small wattles on immature birds

- can be inoculated successfully. However, in immature birds the comb may be used in immature birds, although the

- results are not so as reliable. Tuberculin testing of the wattle in turkeys is much less reliable consistent than in the

- domestic fowl chickens. Inoculation in the wing web has been recommended as being more efficient, but this is still

- not as good as for domestic fowl in chickens. Other birds may also be tested in the wing web, but results are not

- generally satisfactory. The bare ornamental skin areas on Muscovy ducks and some species of pheasant species

- can be used, but reliability dependability is doubtful, and interpretation is difficult. Testing in the foot web of waterfowl

- has also been described; the test is not very sensitive and is often complicated by infections of the inoculation site.

- In the common pheasant, the tuberculin test can be performed in either of two ways. In the first, 0.05 ml or 0.1 ml of

- tuberculin is injected into the skin of the lower eyelid. A positive result is indicated by marked swelling at the injection

- site after 48 hours. Alternatively, 0.25 ml of tuberculin is injected into the thoracic muscles, and the birds are observed

- for 6–10 hours. Infected birds will show signs of depression and keep aside from the flock, and there may be cases

- of sudden death. No clinical signs will be provoked in uninfected birds.

##### 2.2.	Stained antigen test

- The stained-antigen agglutination test has been used with good results, especially in domestic and ornamental

- waterfowl. A drop (0.05–0.1 ml) of the antigen is mixed with the same volume of fresh whole blood, obtained by

- venipuncture, on a white porcelain or enamel tile. The mixture is rocked for 2 minutes and examined for agglutination.

- The agglutination may be coarse, in which case it is obvious, or quite fine, in which case it may be most clearly seen

- as an accumulation of the malachite-green-stained antigen around the edge of the drop, leaving the centre a normal

- blood-red colour. This test is especially useful for screening large flocks for immediate culling and therefore has

- advantages over the tuberculin test for controlling the disease, even in domestic fowl. It has also been claimed that it

- is more reliable in domestic poultry than the tuberculin test.

- 2.2.1.	Preparation of the antigen

- An antigen stained with 1% malachite green is used for the rapid whole blood plate agglutination test

- (Rozanska, 1965). The strain used to prepare the stained antigen must be smooth and not auto-

- agglutinate in saline suspension. It must conform to the characteristics of M. a. avium, preferably

- obtained from a culture collection, to guarantee its authenticity.

- A strain that will detect infection with any serotype is recommended instead of the specific serotype

- most likely to be encountered (in Europe, serotype 2 for domestic fowl, serotype 1 for waterfowl, and

- birds and swine in the USA). Using a highly specific strain for the serotype is recommended. The

- specificity of strains can be determined only by testing them as antigens, although, in general, a

- serotype 2 antigen will always detect serotype 3 infection and vice versa. Serotype 1 strains detect a

- wide  spectrum  of  infections  and  frequently  detect  infections  with  mycobactin-dependent

- mycobacteria or M. a. silvaticum. There is no reason not to use a culture containing more than one

- strain of M. a. avium if it shows the desired properties of sensitivity and specificity. Consistency of

- results between batches will be easier using pure cultures.

- The organism should be grown in a suitable liquid medium, such as Middlebrook 7H9 containing 1%

- sodium pyruvate. Good growth should be obtained in approximately 7 days. The liquid culture is used

- as a seed for bulk antigen preparation.

- Antigen for agglutination tests is best obtained on a solid medium, such as Löwenstein–Jensen or

- 7H11, containing 1% sodium pyruvate instead of glycerol, using Roux flasks or large bottles. Using

- a solid medium maximizes the chance of detecting contamination, and antigens grown in some liquid

- media are not agglutinated by specific antibodies. Liquid seed culture should be diluted (based on

- experience) to give discrete colonies on the solid medium. This will usually give the best yield

- increasing the chance of detecting contamination. About 10 ml of inoculum will usually allow it to

- wash over the whole surface and provide sufficient moisture to keep the air in the bottle near 100%

- humidity.

- The bottles are incubated at 37°C, and good growth should be obtained in 14–21 days with most

- strains. The antigen is harvested by adding sterile glass beads and twice the volume of sterile normal

- saline (containing 0.3% formalin) as was used to inoculate the bottle. The bottle is then shaken gently

- to wash off all the growth, and the washing is collected into a sterile bottle and re-incubated at 37°C

- for 7 days. The killed bacilli are washed twice in sterile normal saline with 0.2% formalin by

- centrifugation and re-suspension. This sequence is safer than the original method in which the

- washing was carried out before the incubation that kills the organisms. Finally, bacilli are again

- centrifuged and re-suspended in sterile normal saline containing 0.2% formalin and 0.4% sodium

- citrate to a concentration of about 1010 bacteria per ml. This corresponds to a concentration ten times

- that which matches tube No. 4 on McFarland’s scale.

- Cultures for antigen should be inspected for contamination daily for the first 5 days of incubation. The

- suspension made from the culture washings is also re-examined microscopically (for likely

- contaminants such as yeasts) and rechecked by culture to ensure that the formalin has killed the

- mycobacteria.

- 2.2.2.	Validation of the antigen

- Cultures should be checked by Gram staining for contamination by organisms other than

- mycobacteria.

- One or more batches for agglutinating antigen must be tested for efficacy in using serum from

- naturally or artificially infected tuberculous birds by comparison with a standard preparation of known

- potency. When using animals for research or reagent testing, approval of the procedures and the use

- of animals by the institution’s ethics committee should be sought before any testing occurs. The

- potency relative to that of the standard preparation must not differ significantly from that declared on

- the label. Each bottle of antigen must be tested with normal chicken serum (to detect

- autoagglutination) and M. a. avium positive chicken serum of low and high antibody content. This

- should be done, where possible, alongside a previous batch of stained antigens. Those bottles that

- give satisfactory agglutination reactions with the antisera can now be pooled and the antigen stained.

- This is done by adding 3 ml of 1% malachite green solution per 100 ml of suspension. The stained

- antigen should be checked using whole blood, just as the unstained antigen was tested with serum.

- The agglutinating antigen should stay in the refrigerator for at least 6 months at 4°C and much longer

- if frozen at –20°C or below. If a batch has not been used for several weeks, it should be rechecked,

- especially for autoagglutination.

- It is critical to perform a safety test of the unwashed antigen by culture and incubation to ensure that

- all the bacilli are dead.

#### Note on limitation of use

- Neither the tuberculin test with avian tuberculin nor the stained-antigen agglutination test is likely to be of any value in

- cases of M. tuberculosis infection in caged pet birds.

## 328	C. REQUIREMENTS FOR DIAGNOSTIC BIOLOGICALS

#### 1.	Background

- No vaccines are available.

- Avian tuberculin is a preparation of purified protein derivatives (PPD-A) made from the heat-treated products of growth of

- M. a. avium. It is used by intradermal injection to reveal delayed hypersensitivity as a means of identifying to identify birds

- infected with or sensitised to the same species of tubercle bacillus Mycobacterium. Importantly it is also used as an to aid

- to differential diagnosis in the comparative intradermal tuberculin test for bovine tuberculosis (see Chapter 3.1.13). An

- international standard preparation of PPD-A is being developed by WOAH to replace the former WHO Standard 37.

- The general principles as given in Chapter 1.1.8 Principles of veterinary vaccine production, should be followed for

- injectable diagnostic biologicals such as tuberculin. The standards set out here and in chapter 1.1.8 are intended to be

- general in nature and may be supplemented by national and regional requirements.

#### 2.	Outline of production and minimum requirements for tuberculin production

##### 2.1.	Characteristics of the seed

- 2.1.1.	Biological characteristics of the master seed

- Strains of M. a. avium used to prepare seed cultures should be purchased from a culture collection

- and identified as to species by appropriate tests. Several strains are recommended by for this

- purpose in different countries. For example, in the European Union (EU), for example, are, D4ER

- and TB56. Reference may also be made to are recommended. The relevant national

- recommendations should be followed. Globally there are commercial sources for PPD-A.

- 2.1.2.	Quality criteria (sterility, purity, freedom from extraneous agents)

- Seed cultures should be shown to be free from contaminating organisms and to be capable of

- producing tuberculin with of sufficient potency. The necessary tests are described below.

##### 2.2.	Method of manufacture

- 2.2.1.	Procedure

- The seed material is kept as a stock of freeze-dried cultures. If the cultures have been grown on solid

- media, it will be necessary to adapt the organism to grow as a floating culture. This is most easily

- accomplished by incorporating a piece of potato in the flasks of liquid medium (e.g. Watson Reid’s

- medium). When the culture has been adapted to a liquid medium, it can be maintained by a passage

- at 2–4-week intervals (Angus, 1978; Haagsma & Angus, 1995).

- The organism is cultivated in modified Dorset-Henley’s synthetic medium, then killed by heating in

- flowing steam and filtered to remove cells. The protein in the filtrate is precipitated chemically

- (ammonium sulphate or trichloroacetic acid [TCA] are used), washed, and resuspended. An

- antimicrobial preservative that does not give rise to false-positive reactions, such as phenol (not more

- than 0.5% [w/v]), may be added. Mercurial derivatives should not be used. Glycerol (not more than

- 10% [w/v]) or glucose (2.2% [w/v]) may be added as a stabiliser. The product is dispensed aseptically

- into sterile neutral glass containers, which are then sealed to prevent contamination. The product

- may be freeze-dried.

- 2.2.2.	Requirements for ingredients

- The production culture substrate must be shown to be capable of producing produce a product that

- conforms to the standards of the European Pharmacopoeia (2000 2024 38 ) standards or other

- international standards such the WHO (WHO, 1987). It must be free from ingredients known to cause

- toxic or allergic reactions.

- 2.2.3.	In-process controls

- The production flasks, inoculated from suitable seed cultures, are incubated for the appropriate time

- period. Any flasks showing contamination or grossly abnormal growth should be discarded after

- autoclaving. As incubation proceeds, the surface growth of many cultures becomes moist and may

- sink into the medium or to the bottom of the flask. In PPD-A tuberculin, the pH of the dissolved

- precipitate (the so-called concentrated tuberculin) should be pH 6.6–6.7. The Kjeldahl method

- determines the protein level (total organic nitrogen) of the PPD-A concentrate is determined by the

- Kjeldahl method. Total nitrogen and trichloroacetic acid precipitable nitrogen are usually compared.

- 2.2.4.	Final product batch tests

- PPD of M. avium tuberculin, WHO (1955) Technical Report Series, no.96, 11.

- https://www.edqm.eu/en/d/234640?p_l_back_url=%2Fen%2Fsearch%3Fq%3Dpurified%2Bprotein%2Bderivative

- i)	Sterility

- Sterility testing is generally performed according to the European Pharmacopoeia (2000 2024) or

- other guidelines (see also Chapter 1.1.9 Tests for sterility and freedom from contamination of

- biological materials intended for veterinary use).

- ii)	Identity

- One or more batches of tuberculin may be tested for specificity together with a standard preparation

- of bovine tuberculin by comparing the reactions produced in guinea-pigs sensitised with M. bovis

- using a procedure similar to that described in Section C.2.2.4.iv. In guinea-pigs sensitised with

- M. bovis, The potency of the preparation of avian tuberculin must be shown to be not more than 10%

- of the potency of the standard preparation of bovine tuberculin used in the potency test. The use of

- animals for this purpose should be reviewed and approved by your institution's ethical committee.

- iii)	Safety

- Tuberculin PPD-A can be examined for freedom from living mycobacteria using the culture method

- described previously. This culture method, which does not require the use of animals, is used in many

- laboratories, and its use is encouraged over the use of animals for this purpose. The following is the

- previously described method, using experimental animals to evaluate the safety of PPD. The use of

- animals for this purpose should be reviewed and approved by the institution’s ethics committee. Two

- guinea-pigs, each weighing not less than 250 g and that have not been treated previously treated

- with any material that will interfere with the test, are injected subcutaneously with 0.5 ml of the

- tuberculin under test. No abnormal effects should occur within 7 days.

- Tests on tuberculin for living mycobacteria may be performed either on the tuberculin immediately

- before it is dispensed into final containers or on samples taken from the final containers themselves.

- A sample of at least 10 ml must be taken and this must be injected intraperitoneally or subcutaneously

- into at least two guinea-pigs, dividing the volume to be tested equally between the guinea-pigs. It is

- desirable to take a larger sample, 50 ml, and to concentrate any residual mycobacteria by

- centrifugation or membrane filtration. The guinea-pigs are observed for at least 42 days and are

- examined macroscopically at post-mortem. Any lesions found are examined microscopically and by

- culture. Each filled container must be inspected before it is labelled, and any showing abnormalities

- must be discarded.

- A test for the absence of toxic or irritant properties must be carried out conducted according to the

- specifications of the European Pharmacopoeia (2000 2024) specifications or the equivalent

- regulatory documents for each country or region.

- To test for lack of sensitising effect, three guinea-pigs that have not previously been treated with any

- material that could interfere with the test are each injected intradermally on each of three occasions

- with the equivalent of 500 IU International units – one IU is equal to the biological activity 0.02 µg of

- PPD – of the preparation under test in a 0.1 ml volume. In the USA and Canada, the potency of the

- tuberculin is expressed as tuberculin unit (TU) rather than IU. One TU is also defined as 0.02 µgs of

- PPD. Each guinea-pig, together with each of the three control guinea-pigs that have not been injected

- previously, is injected intradermally 15–21 days after the third injection with the same dose of the

- same tuberculin. The reactions of the two groups of guinea-pigs should not be significantly different

- when measured 24–28 hours later.

- iv)	Batch potency

- The potency of avian tuberculin is determined in guinea-pigs sensitised with M. a. avium, by

- comparison compared with a standard preparation calibrated in IU or TU.

- Use no fewer than nine albino guinea-pigs, each weighing 400–600 g. Sensitise the guinea-pigs by

- administering to each, by deep intramuscular injection, a suitable dose of inactivated or live

- M. a. avium to each by deep intramuscular injection. The test is performed between 4 and 6 weeks

- later as follows: Shave. Briefly, have the guinea-pigs’ flanks so as to provide space for three-to-four

- injections on each side. Prepare at least three dilutions of the tuberculin under test and at least three

- dilutions of the standard preparation in an isotonic buffer solution containing 0.0005% (w/v)

- polysorbate 80 (Tween 80). Choose the dilutions so that the reactions produced have diameters of

- not less than 8 mm and not more than 25 mm. Allocate the dilutions to the injection sites randomly

- according to using a Latin square design. The dilutions correspond to 0.001, 0.0002, and 0.00004

- mg of protein in a final dose of 0.2 ml, injected intradermally.

- At 24 hours, the reactions’ diameters of the reactions are measured, and the results are calculated

- using standard statistical methods, taking the diameters to be directly proportional to the logarithms

- of the concentrations of the tuberculins. The estimated potency must be not less than 75% and not

- more than 133% of the potency stated on the label. The test is not valid unless the fiducial limits of

- error (p = 0.95) are not less than 50% and not more than 200% of the estimated potency. If the batch

- fails a potency test, the test may be repeated one or more times, provided that the final estimate of

- potency and of fiducial limits is based on the combined results of all the tests.

- It is recommended that avian tuberculin should contain the equivalent of at least 25,000 IU/ml or

- approximately 0.5 mg protein per ml, giving a dose for practical use of 2500 IU/0.1 ml.

#### 3.	Requirements for authorisation/registration/licensing

##### 3.1.	Manufacturing process

- The manufacturing process should follow the requirements of European Pharmacopoeia (2000 2024) or other

- international standards.

##### 3.2.	Safety requirements

- 3.2.1.	Target and non-target animal safety

- Antimicrobial preservatives or other substances that may be added to a tuberculin must have been shown not

- to impair the safety and effectiveness of the product. The maximum permitted concentrations for phenol is

- 0.5% (w/v), and for glycerol, it is 10% (v/v). The pH should be between 6.5 and 7.5.

- 3.2.2.	Precautions (hazards)

- Experience both in humans and animals led to the observation that appropriately diluted tuberculin injected

- intradermally results in a localised reaction at the injection site without generalised manifestations. Even in

- very sensitive persons, severe, generalised reactions are extremely rare and limited.

##### 3.3.	Stability

- During storage, liquid avian tuberculin should be protected from the light and held at a temperature of 5°C (±3°C).

- Freeze-dried preparations may be stored at higher temperatures (but not exceeding 25°C) and protected from the

- light. During use, periods of exposure to higher temperatures or to direct sunlight should be kept at a minimum.

- Provided the tuberculins are Following accepted practice, tuberculin should be stored at a temperature of between

- 2°C and 8°C and protected from light; they may be used up to the end of the following periods subsequent to after

- the last satisfactory potency test: Liquid PPD tuberculins: 2 years; lyophilised PPD-A tuberculins: 8 years; HCSM

- (heat-concentrated synthetic-medium) tuberculins diluted: 2 years. Recent research on the temperature stability of

- human, bovine, and avian tuberculin solutions has shown that they are stable for a year at 37°C. This should be

- further explored as these products are used in the field in remote areas of the world where maintaining temperature

- control is very difficult (Maes et al., 2011).

### REFERENCES

- ANGUS R.D. (1978). Production of Reference PPD tuberculins for Veterinary use in the United States. J. Biol. Stand., 6,

- 221.

- Arahal D.R., Bull C.T., Busse H.J., Christensen H., Chuvochina M., Dedysh S.N., Fournier P.E., Konstantinidis K.T.,

- PARKER C.T., ROSSELLO-MORA R., VENTOSA A. & GOKER M. (2023). Guidelines for interpreting the International Code of

- Nomenclature of Prokaryotes and for preparing a Request for an Opinion. Int. J. Syst. Evol. Microbiol., 73.

- Buckwalter S.P., Olson S.L., Connelly B.J., Lucas B.C., Rodning A.A., Walchak R.C., Deml S.M., Wohlfiel S.L. &

- WENGENACK N.L. (2016). Evaluation of Matrix-Assisted Laser Desorption Ionization-Time of Flight Mass Spectrometry for

- Identification of Mycobacterium species, Nocardia species, and Other Aerobic Actinomycetes. J. Clin. Microbiol., 54, 376–

- 384.

- COUSINS D., FRANCIS B. & DAWSON D. (1996). Multiplex PCR provides a low-cost alternative to DNA probe methods for rapid

- identification of Mycobacterium avium and Mycobacterium intracellulare. J. Clin. Microbiol., 34, 2331–2333.

- COWMAN S., VAN INGEN J., GRIFFITH D.E. & LOEBINGER M.R. (2019). Non-tuberculous mycobacterial pulmonary disease. Eur

- .Respir. J., 54(1).

- Dvorska L., Bull T.J., Bartos M., Matlova L., Svastova P., Weston R.T., Kintr J., Parmova I., Van Soolingen D. & Pavlik

- I. (2003). A standardised restriction fragment length polymorphism (RFLP) method for typing Mycobacterium avium isolates

- links IS901 with virulence for birds. J. Microbiol. Methods, 55, 11–27.

- Dvorska L., Matlova L., Ayele W. Y., Fischer O. A., Amemori T., Weston R. T., Alvarez J., Beran V., Moravkova M. &

- PAVLIK I. (2007). Avian tuberculosis in naturally infected captive water birds of the Ardeidae and Threskiornithidae families

- studied by serotyping, IS901 RFLP typing and virulence for poultry. Vet. Microbiol., 119, 366–374.

- DVORSKA L., MATLOVA L., BARTOS M., PARMOVA I., BARTL J., SVASTOVA P., BULL T. J. & PAVLIK I. (2004). Study of

- Mycobacterium avium complex strains isolated from cattle in the Czech Republic between 1996 and 2000. Vet. Microbiol.,

- 99, 239–250.

- DVORSKA L., PARMOVA I., LAVICKOVA M., BARTL J., VRBAS V. & PAVLIK I. (1999). Isolation of Rhodococcus equi and atypical

- mycobacteria from lymph nodes of pigs and cattle in herds with the occurrence of tuberculoid gross changes in the Czech

- Republic over the period of 1996-1998. Veterinarni Medicina, 44, 321–330.

- EUROPEAN PHARMACOPOEIA (2000 2024). Purified protein derivative (avian). In: European Pharmacopoeia, Eleventh Edition.

- Editions	of	the	Council	of	Europe,	Strasbourg,	France,

- https://www.edqm.eu/en/d/234640?p_l_back_url=%2Fen%2Fsearch%3Fq%3Dpurified%2Bprotein%2Bderivative

- GUERRERO C., BERNASCONI C., BURKI D., BODMER T. & TELENTI A. (1995). A novel insertion element from Mycobacterium

- avium, IS1245, is a specific target for analysis of strain relatedness. J. Clin. Microbiol., 33, 304–307.

- HAAGSMA J. & ANGUS R.D. (1995). Tuberculin production. In: Mycobacterium bovis Infections in Humans and Animals,

- Steele J.H. & Thoen C.O., eds. Iowa State University Press, Ames, USA, 73–84.

- HALL L., DOERR K.A., WOHLFIEL S.L. & ROBERTS G.D. (2003). Evaluation of the MicroSeq system for identification of

- mycobacteria by 16S ribosomal DNA sequencing and its integration into a routine clinical mycobacteriology laboratory. J.

- Clin. Microbiol., 41, 1447–1453.

- HOOP R. (2002). Mycobacterium tuberculosis infection in a canary (Serinus canaria L.) and a blue-fronted Amazon parrot

- (Amazona amazona aestiva). Avian Dis., 46, 502–504.

- INDERLIED C.B., KEMPER C.A. & BERMUDEZ L.E.M. (1993). The Mycobacterium avium complex. Clin. Microbiol. Rev., 6, 266–

- 310.

- KAEVSKA M., SLANA I., KRALIK P. & PAVLIK I. (2010). Examination of Mycobacterium avium subsp. avium distribution in

- naturally infected hens by culture and triplex quantitative real time PCR. Veterinarni Medicina, 55, 325–330.

- KAZDA J., PAVLIK I., FALKINHAM J. & HRUSKA K. (2009). The Ecology of Mycobacteria: Impact on Animal’s and Human’s

- Health, First Edition, Springer Science+Business Media BV, 520 pp. ISBN 978-1-4020-9412-5.

- KUNZE Z.M., PORTAELS F. & MCFADDEN J.J. (1992). Biologically distinct subtypes of Mycobacterium avium differ in

- possession of insertion sequence IS901. J. Clin. Microbiol., 30, 2366–2372.

- KIRSCHNER P., MEIER P.A. & BOTTGER E.C. (1993). Genotypic identification and detection of mycobacteria. In: Diagnostic

- Molecular Microbiology, Persing D.H., Smith T.F., Tenover F.C. & White T.C., eds. American Society for Microbiology,

- Washington DC, USA, 173–190.

- LANTERI G., MARINO F., REALE S., VITALE F., MACRI F. & MAZZULLO G. (2011). Mycobacterium tuberculosis in a red-crowned

- parakeet (Cyanoramphus novaezelandiae). J. Avian Med. Surg., 25, 40–43.

- MAES M., GIMÉNEZ J.F., D’ALESSANDRO A. & DE WAARD J.H. (2011). The stability of human, bovine and avian tuberculin

- purified protein derivative (PPD). J. Infect. Dev. Ctries, 5, 781–785.

- MIJS W., DE HAAS P., ROSSAU R., VAN DER LAAN T., RIGOUTS L., PORTAELS F. & VAN SOOLINGEN D. (2002). Molecular evidence

- to support a proposal to reserve the designation Mycobacterium avium subsp. avium to bird-type isolates and M. avium

- subsp. hominissuis for the human/porcine type of M. avium. Int. J. Syst. Evol. Microbiol., 52, 1505–1518.

- MORAVKOVA M., HLOZEK P., BERAN V., PAVLIK I., PREZIUSO S., CUTERI V. & BARTOS M. (2008). Strategy for the detection and

- differentiation of Mycobacterium avium species in isolates and heavily infected tissues. Res. Vet. Sci., 85, 257–264.

- NARSANA N., ALEJANDRA PEREZ M. & SUBRAMANIAN A. (2023). Mycobacteria in Organ Transplant Recipients. Infect. Dis. Clin.

- North Am., S0891-5520(23)00040-5. doi: 10.1016/j.idc.2023.04.004.

- PAVLIK I., MATLOVA L., DVORSKA L., BARTL J., OKTABCOVA L., DOCEKAL J. & PARMOVA I. (2003). Tuberculous lesions in pigs in the

- Czech Republic during 1990-1999: occurrence, causal factors and economic loses. Veterinarni Medicina, 48, 113–125.

- PAVLIK I., MATLOVA L., DVORSKA L., SHITAYE J. E. & PARMOVA I. (2005). Mycobacterial infections in cattle and pigs caused by

- Mycobacterium avium complex members and atypical mycobacteria in the Czech Republic during 2000–2004. Veterinarni

- Medicina, 50, 281–290.

- PAVLIK I., SVASTOVA P., BARTL J., DVORSKA L. & RYCHLIK I. (2000). Relationship between IS901 in the Mycobacterium avium

- complex strains isolated from birds, animals, humans, and the environment and virulence for poultry. Clin. Diagn. Lab.

- Immunol., 7, 212–217.

- PETERS M., PRODINGER W.M., GUMMER H., HOTZEL H., MOBIUS P. & MOSER I. (2007). Mycobacterium tuberculosis infection in

- a blue-fronted amazon parrot (Amazona aestiva aestiva). Vet. Microbiol., 122, 381–383.

- POCKNELL A.M., MILLER B.J., NEUFELD J.L. & GRAHN B.H. (1996). Conjunctival mycobacteriosis in two emus (Dromaius

- novaehollandiae). Vet. Pathol., 33, 346–348.

- REALINI L., DE RIDDER K., HIRSCHEL B. & PORTAELS F. (1999). Blood and charcoal added to acidified agar media promote the

- growth of Mycobacterium genavense. Diagn. Microbiol. Infect. Dis., 34, 45–50.

- RIOJAS M.A., FRANK A.M., GREENFIELD S.R., KING S.P., MEEHAN C.J., STRONG M., WATTAM A.R. & HAZBÓN M.H. (2021).

- Identification and Characterization of Mycobacterial Species Using Whole-Genome Sequences. Methods Mol. Biol., 2314,

- 399–457.

- RITACCO V., KREMER K., VAN DER LAAN T., PIJNENBURG J.E.M., DE HAAS P.E.W. & VAN SOOLINGEN D. (1998). Use of IS901

- and IS1245 in RFLP typing of Mycobacterium avium complex: relatedness among serovar reference strains, human and

- animal isolates. Int. J. Tuberculosis Lung Dis., 2, 242–251.

- ROZANSKA M. (1965). Preparation of antigen for whole blood rapid agglutination test and its specificity for diagnosis of avian

- tuberculosis. Bull. Vet. Inst. Pulawy, 9, 20–25.

- SAITO H., TOMIOKA H., SATO K., TASAKA H. & DAWSON D.J. (1990). Identification of various serovar strains of Mycobacterium

- avium complex by using DNA probes specific for Mycobacterium avium and Mycobacterium intracellulare. J. Clin.

- Microbiol., 28, 1694–1697.

- SALAMATIAN I., GHANIEI A., MOSAVARI N., NOURANI H., KESHAVARZ R. & ESLAMPANAH M. (2020). Outbreak of avian

- mycobacteriosis in a commercial turkey breeder flock. Avian Pathol., 49, 296–304.

- SATTAR A., ZAKARIA Z., ABU J., AZIZ S.A. & ROJAS-PONCE G. (2021). Isolation of Mycobacterium avium and other

- nontuberculous mycobacteria in chickens and captive birds in peninsular Malaysia. BMC Vet. Res., 17, 13.

- SCHMIDT V., KOHLER H., HEENEMANN K. & MOBIUS P. (2022). Mycobacteriosis in Various Pet and Wild Birds from Germany:

- Pathological Findings, Coinfections, and Characterization of Causative Mycobacteria. Microbiol. Spectr., 10(4): e0045222.

- SCHMIDT V., SCHNEIDER S., SCHLOMER J., KRAUTWALD-JUNGHANNS M.E. & RICHTER E. (2008). Transmission of tuberculosis

- between men and pet birds: a case report. Avian Pathol., 37, 589–592.

- SCHMITZ A., KORBEL R., THIEL S., WORLE B., GOHL C. & RINDER M. (2018a). High prevalence of Mycobacterium genavense

- within flocks of pet birds. Vet. Microbiol., 218, 40–44.

- SCHMITZ A., RINDER M., THIEL S., PESCHEL A., MOSER K., REESE S. & KORBEL R. (2018b). Retrospective Evaluation of Clinical

- Signs and Gross Pathologic Findings in Birds Infected With Mycobacterium genavense. J. Avian Med. Surg., 32, 194–204.

- Shitaye J.E., Grymova V., Grym M., Halouzka R., Horvathova A., Moravkova M., Beran V., Svobodova J., Dvorska-

- BARTOSOVA L. & PAVLIK I. (2009). Mycobacterium avium subsp. hominissuis infection in a pet parrot. Emerg. Inf. Dis., 15,

- 617–619.

- Shitaye J.E., Halouzka R., Svobodova J., Grymova V., Grym M., Skoric M., Fictum P., Beran V., Slany M. & Pavlik I.

- (2010). First isolation of Mycobacterium genavense in blue headed parrot (Pionus menstruus) imported from Surinam

- (South America) to the Czech Republic: a case report. Veterinarni Medicina, 55, 339–347.

- Shitaye J.E., Matlova L., Horvathova A., Moravkova M., Dvorska-Bartosova L., Treml F., Lamka J. & Pavlik I. (2008).

- Mycobacterium avium subsp. avium distribution studied in a naturally infected hen flock and in the environment by culture,

- serotyping and IS901 RFLP methods. Vet. Microbiol., 127, 155–164.

- SHITAYE J.E., PARMOVA I., MATLOVA L., DVORSKA L., HORVATHOVA A., VRBAS V. & PAVLIK, I. (2006). Mycobacterial and

- Rhodococcus equi infections in pigs in the Czech Republic between the years 1996 and 2004: the causal factors and

- distribution of infections in the tissues. Veterinarni Medicina, 51, 497–511.http://www.vri.cz/docs/vetmed/51-11-497.pdf

- SLANA I., KAEVSKA M., KRALIK P., HORVATHOVA A. & PAVLIK, I. (2010). Distribution of Mycobacterium avium subsp. avium and

- M. a. hominissuis in artificially infected pigs studied by culture and IS901 and IS1245 quantitative real time PCR. Vet.

- Microbiol., 144, 437–443.

- SOINI H., EEROLA E. & VILJANEN M.K. (1996). Genetic diversity among Mycobacterium avium complex Accu-Probe-positive

- isolates. J. Clin. Microbiol., 34, 55–57.

- TELL L.A., FOLEY J., NEEDHAM M.L. & WALKER R.L. (2003a). Comparison of four rapid DNA extraction techniques for

- conventional polymerase chain reaction testing of three Mycobacterium spp. that affect birds. Avian Dis., 47, 1486–1490.

- TELL L.A., LEUTENEGGER C.M., LARSEN R.S., AGNEW D.W., KEENER L., NEEDHAM M.L. & RIDEOUT B.A. (2003b). Real-time

- polymerase chain reaction testing for the detection of Mycobacterium genavense and Mycobacterium avium complex

- species in avian samples. Avian. Dis., 47, 1406–1415.

- TELL L.A., WOODS L. & CROMIE R.L. (2001). Mycobacteriosis in birds. Rev. Sci. Tech., 20, 180–203.

- THOREL M.F., HUCHZERMEYER H. & MICHEL A.L. (2001). Mycobacterium avium and M. intracellulare infection in mammals.

- Rev. sci. tech. Off. int. Epiz., 20, 204–218.

- THOREL M.F., HUCHZERMEYER H., WEISS R. & FONTAINE J.J. (1997). Mycobacterium avium infections in animals. Literature

- review. Vet. Res., 28, 439–447.

- THOREL M.F., KRICHEVSKY M. & LEVY-FREBAULT V.V. (1990). Numerical taxonomy of mycobactin-dependent mycobacteria,

- emended description of Mycobacterium avium, and description of Mycobacterium avium subsp. avium subsp. nov.,

- Mycobacterium avium subsp. paratuberculosis subsp. nov., and Mycobacterium avium subsp. silvaticum subsp. nov. Int.

- J. Syst. Bacteriol., 40, 254–260.

- Tortoli E., Meehan C.J., Grottola A., Fregni Serpini G., Fabio A., Trovato A., Pecorari M. & Cirillo D.M. (2019).

- Genome-based taxonomic revision detects a number of synonymous taxa in the genus Mycobacterium. Infect. Genet.

- Evol., 75, 103983.

- van Ingen J,, Al Hajoj SAM., Boere M., Al Rabiah F., Enaimi M., de Zwaan R., Tortoli E., Dekhuijzen R. & van Soolingen

- D. (2009). Mycobacterium riyadhense sp. nov.; a non-tuberculous species identified as Mycobacterium tuberculosis by a

- commercial line-probe assay. Int. J. Syst. Evol. Microbiol., 59, 1049–1053.

- Van Soolingen D., Bauer J., Ritacco V., Cardoso Leao S., Pavli I., Vincent V., Rastogi N., Gori A., Bodmer T., Garzelli

- C. & GARCIA M.J. (1998). IS1245 restriction fragment length polymorphism typing of Mycobacterium avium isolates:

- proposal for standardization. J. Clin. Microbiol., 36, 3051–3054.

- WITTE C., FOWLER J.H., PFEIFFER W., HUNGERFORD L.L., BRAUN J., BURCHELL J., PAPENDICK R. & RIDEOUT B.A. (2021). Social

- network analysis and whole-genome sequencing to evaluate disease transmission in a large, dynamic population: A study

- of avian mycobacteriosis in zoo birds. PLoS One, 16(6): e0252152.

- WOLINSKY E. & SCHAEFER W.B. (1973). Proposed numbering scheme for mycobacterial serotypes by agglutination. Int. J.

- Syst. Bacteriol., 23, 182–183.

- WORLD HEALTH ORGANIZATION (WHO) (1987). Requirements for Biological Substances No. 16, Annex 1: Requirement for

- Tuberculins. Technical Report Series No. 745, WHO, Geneva, Switzerland, 31–59.

610	*

611	*  *

612	NB: There is currently (2024) no WOAH Reference Laboratory for avian tuberculosis

613	(please consult the WOAH Web site for the current list:

614	https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3http://www.oie.int/).

615	NB: First adopted in 1989 as Tuberculosis in birds. Most recent updates adopted in 2014.