Table 1. Test methods available for the diagnosis of FMD and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post-vaccination |
| Detection and identification of the agent(a) |  |  |  |  |  |  |
| Virus isolation | ☐☐☐ | ☑☐☐ | ☑☑☑ | ☑☑☑ | ☐☐☐ | ☐☐☐ |
| Antigen detection ELISA | ☐☐☐ | ☐☐☐ | ☑☑☑ | ☑☑☑ | ☐☐☐ | ☐☐☐ |
| LFD | ☐☐☐ | ☐☐☐ | ☑☑☑ | ☑☑☑ | ☐☐☐ | ☐☐☐ |
| Real-time RT-PCR | ☑☐☐ | ☑☐☐ | ☑☑☑ | ☑☑☑ | ☑☐☐ | ☐☐☐ |
| Conventional RT-PCR | ☑☐☐ | ☑☐☐ | ☑☑☑ | ☑☑☑ | ☑☐☐ | ☐☐☐ |
| Detection of immune response |  |  |  |  |  |  |
| NSP Ab ELISA | ☑☑☑ | ☑☑☐ | ☑☑☑ | ☑☑☑ | ☑☑☑ | ☐☐☐ |
| SP Ab ELISA(b) | ☑☑☐ | ☑☑☐ | ☑☑☑ | ☑☑☑ | ☑☑☐ | ☑☑☑ |
| VNT(b) | ☑☑☐ | ☑☑☐ | ☑☑☑ | ☑☑☑ | ☑☑☐ | ☑☑☑ |

Key: ☑☑☑ = recommended for this purpose; ☑☑☐ recommended but has limitations; 
☑☐☐ = suitable in very limited circumstances; ☐☐☐ = not appropriate for this purpose.
ELISA = enzyme linked immunosorbent assay; LFD: lateral flow device; RT-PCR = reverse-transcriptase polymerase chain reaction; NSP Ab ELISA = ELISA for antibodies against nonstructural proteins; SP Ab ELISA = ELISA for antibodies against structural proteins; VNT = Virus neutralisation test.
(a)It is essential to confirm the presence of FMDV following virus isolation by an antigen or nucleic acid detection test.
(b)The tests do not distinguish infected from vaccinated animals.

Appendix 1
Foot and mouth disease
Intended purpose of test: population freedom from infection

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Real-time RT-PCR ☑☐☐ | [1] Testing often focuses on oral swabs and probang samples to identify sub-clinical cases and carrier ruminants (other sample types such as lymph nodes collected at abattoirs and bulk milk are also used for this purpose) | [1] High (approaching 100%), where there are animals that have been recently infected, but lower where infection has occurred historically | [1] Test purpose validated using samples from experimental studies | [1] See references and Appendix 4: Confirmation of clinical cases | [1] Real-time RT-PCR can be automated allowing large number of samples to be tested [2] Oral swabs and milk are simple to collect, time efficient, require less restraint and are relatively non-invasive | [1] Ability to recognise FMDV-infected animals is dependent on when samples are taken as well as technique used [2] Collection of probang samples requires specific training and is semi-invasive [3] More expensive than ELISA methods | Jamal et al. (2012) Stenfeldt et al. (2013) |
| RT-PCR ☑☐☐ | [1] Testing often focuses on oral swabs and probang samples to identify sub-clinical cases and carrier ruminants | [1] Usually lower sensitivity compared with real-time RT-PCR | [1] See above descriptions for real-time RT-PCR as there is limited information on the use of RT-PCR for this purpose | [1] See reference and Appendix 4: Confirmation of clinical cases | [1] Oral swabs are simple to take, time efficient, require less restraint and are relatively non-invasive | [1] Screening large numbers of samples need to carefully consider the scope for cross-contamination (false positives) [2] Collection of probang samples requires specific training and is semi-invasive | Parida et al. (2005) |
| NSP Ab ELISA ☑☑☑ | [1] Sera | [1] DSe between 95% and 100% [2] DSp between 98% and 100% [3] various NSP ELISA kits exist and these will have different DSe and DSp | [1] Samples from FMDV susceptible species collected as part of FMDV control programmes [2] This purpose is also supported by sera collected from experimentally vaccinated and/or infected animals | [1] See references | [1] High diagnostic sensitivity in non-vaccinated populations [2] A single test covers all FMDV serotypes [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation [5] Simple-to-use commercial kits are available [6] Ideal for surveillance, control, and eradication | [1] This test is ideal to screen populations, but specificity is <100% therefore, confirmatory testing is often required [2] Lower test sensitivity should be expected if animals have been previously vaccinated | Bergmann et al. (2003) Brocchi et al. (2006) Browning et al. (2020) Bruderer et al. (2004) Campos et al. (2008) Lu et al. (2007) Malirat et al. (1998) Paton et al. (2006) Sharma et al. (2014) Sorensen et al. (2005) |
| SP Ab ELISA ☑☑☐ | [1] Sera | [1] DSe between 93% and 100% | [1] Samples from FMDV susceptible species collected as part of FMDV control programmes [2] This purpose is also supported by testing of sera collected from experimentally infected animals | [1] See references and Appendix 3: Contribute to eradication policies | [1] Simple-to-use commercial kits are available [2] SP-abs appear early after infection or vaccination so SP-ELISAs have higher diagnostic sensitivity compared with NSP ELISAs [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation | [1] Cannot differentiate between antibodies generated after vaccination or infection. Therefore, SP Ab ELISAs cannot be used if vaccines are used [2] Tests have high sensitivity for FMDV-specific antibodies but often have poor inter-serotype specificity. Therefore, serotype confirmation using another method may be required | Hamblin et al. (1986) Hamblin et al. (1987) Ludi et al. (2022) Mackay et al. (2001) Paiba et al. (2004) |
| VNT ☑☑☐ | [1] Sera | [1] DSp≈100% [2] DSe≈100% [3] Test performance is influenced by the specific antigen used [4] Test conditions (cells and condition of cell culture) influence test performance | [1] Samples from FMDV susceptible species collected as part of FMDV control programmes [2] This purpose is also supported by sera collected from experimentally infected animals | [1] See references and Appendix 3: Contribute to eradication policies | [1] Test that is often used for confirmatory purposes with high sensitivity and specificity | [1] Test requires 1–3 days for execution [2] Maintenance and use of live virus and tissue culture cells, thus biocontainment restriction procedures are required | Willems et al. (2020) Hamblin et al. (1986) |

Appendix 2
Foot and mouth disease
Intended purpose of test: individual animal freedom from infection prior to movement

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Virus Isolation ☑☐☐ | [1] Testing of samples from FMDV antibody-negative animals (blood and swabs) to rule out pre-clinical/sub-clinical infection [2] Testing of probang samples can be used to confirm FMDV-antibody results | [1] Considered to be the gold standard method [2] Test performance is dependent upon the cell line and culture conditions that are used [3] For appropriate samples collected from acutely infected animals, DSe and DSp can approach 100% using highly sensitive cell lines (example LFBKαVβ6) | [1] This test purpose is supported by data generated from experimental studies in cattle and other species | [1] See references and Appendix 4: Confirmation of clinical cases | [1] Potentially useful for subsequent studies for virus characterisation including vaccine selection | [1] Needs confirmatory testing to confirm the agent causing CPE is FMDV (e.g. Ag-ELISA or sequencing) [2] Material submitted for testing must be in good condition requiring that a cold chain is maintained from sample collection to the laboratory [3] Testing can be impacted by gross bacterial/fungal contamination, despite the use of antibiotics in the cell culture media [4] Time-consuming and specialist facilities are needed (with appropriate biocontainment) | Ferris et al. (2006) Fukai et al. (2015) Gray et al. (2020) LaRocco et al. (2015) |
| Real-time RT-PCR ☑☐☐ | [1] Testing of samples from FMDV antibody-negative animals (blood and swabs) to rule out pre-clinical/sub-clinical infection [2] Testing of probang samples can be used to confirm FMDV-antibody results | [1] WOAH Terrestrial Manual describes two methods 3D and 5’UTR and these have different sensitivity and specificity [2] DSp ~100% DSe ~100% | [1] This test purpose is supported by data generated from experimental studies in cattle and other species [2] Further validation data including the use of RT-PCR to detect pre-clinically infected animals arises from FMD outbreaks | [1] See references and Appendix 4: Confirmation of clinical cases | [1] Rapid [2] High analytical and diagnostic sensitivity and specificity [3] Test can be used for all sample types [4] Can adapt testing to high throughput | [1] Test performance dependent upon primers selected [2] requires specific equipment [3] Cross-contamination during sample preparation can lead to false positive results [4] Sequence variability can generate false negative results (particularly for the 5’UTR test [5] Panserotypic real time RT-PCRs in the WOAH Terrestrial Manual do not give details of serotype | Callahan et al. (2002) King et al. (2006) Moniwa et al. (2007) Shaw et al. (2004) Shaw et al. (2007) |
| RT-PCR ☑☐☐ | [1] Testing of samples from FMDV antibody-negative animals (blood and swabs) to rule out pre-clinical/sub-clinical infection [2] Testing of probang samples can be used to confirm FMDV-antibody results | [1] DSe 97% [2] DSp ~100% [3] Analytical sensitivity reported to be less than 1 pfu | Limited validation data is available for this purpose | [1] See references and Appendix 4: Confirmation of clinical cases | [1] Alternative method when there is no real time RT PCR equipment available | [1] Test performance dependent upon primers selected [2] Running a gel increases the risk of cross-contamination | Reid et al. (2000) Reid et al. (2003) Vangrysperre & De Clercq (1996) |
| NSP Ab ELISA ☑☑☐ | [1] Sera collected to rule out historical exposure to FMDV | [1] DSe between 95% and 100% [2] DSp between 98% and 100% [3] Various NSP ELISA kits exist and these will have different DSe and DSp | [1] Test validated for cattle, sheep, goats and pigs [2] Samples from vaccinated and/or infected animals | [1] See references and Appendix 1: Population freedom from infection | [1] High diagnostic sensitivity in non-vaccinated populations [2] A single test covers all FMDV serotypes [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation [5] Simple-to-use commercial kits are available [6] Ideal for surveillance, control, and eradication | [1] Specificity is < 100% therefore, confirmatory testing may be required [2] Lower specificity is expected when animals have previously been vaccinated [3] Test will only generate a positive result for historical exposure to FMDV >7–10 days after infection. If more recent infection cannot be ruled out, other (molecular or culture) test methods may be required. | Bergmann et al. (2003) Brocchi et al. (2006) Browning et al. (2020) Bruderer et al. (2004) Campos et al. (2008) Lu et al. (2007) Malirat et al. (1998) Paton et al. (2006) Sharma et al. (2014) Sorensen et al. (2005) |
| SP Ab ELISA ☑☑☐ | [1] Sera collected to rule out historical exposure to FMDV | [1] DSe between 93% and 100% | [1] Test validated for cattle, sheep, goats and pigs | [1] See references and Appendix 3: Contribute to eradication policies | [1] Simple-to-use commercial kits are available [2] SP-abs appear early after infection or vaccination so SP-ELISAs have higher diagnostic sensitivity compared with NSP ELISAs [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation | [1] SP Ab ELISAs cannot be used if vaccines are used as the test cannot differentiate between antibodies generated after vaccination or infection [2] Test will only generate a positive result for historical exposure to FMDV >7–10 days after infection. If more recent infection cannot be ruled out, other (molecular or culture) test methods may be required. [3] Often cross-reactivity across serotype | Hamblin et al. (1986) Hamblin et al. (1987) Ludi et al. (2022) Mackay et al. (2001) Paiba et al. (2004) |
| VNT ☑☑☐ | Sera collected to rule out historical exposure to FMDV | [1] DSp≈100% [2] DSe≈100% [3] Test performance is influenced by the specific antigen used [4] Test conditions (cells and condition of cell culture) influence test performance | [1] Test validated for cattle, sheep, goats and pigs | [1] See references and Appendix 3: Contribute to eradication policies | [1] High sensitivity and specificity | [1] VNT test cannot be used if vaccines are used as the test cannot differentiate between antibodies generated after vaccination or infection [2] Test will only generate a positive result for historical exposure to FMDV >7–10 days after infection. If more recent infection cannot be ruled out, other (molecular or culture) test methods may be required. [3] It requires 1–3 days for execution [4] Maintenance and use of live virus and tissue culture cells, thus biocontainment restriction procedures are required | Willems et al. (2020) Hamblin et al. (1986) |

NOTE: If a suspect non-negative antibody ELISA is received, probang with PCR testing could be used a complementary test to demonstrate freedom.

Appendix 3
Foot and mouth disease
Intended purpose of test: contribute to eradication policies

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Virus isolation ☑☑☑ | [1] Vesicular liquid, epithelia, swabs, milk, probangs, sera*, blood* *FMD viraemia is transient (~7 days), therefore use of blood sampling should consider the likely pathogenic cycle of infection | [1] Considered to be the gold standard method [2] Test performance is dependent upon the cell line and culture conditions that are used [3] For appropriate samples collected from acutely infected animals, DSe and DSp can approach 100% using highly sensitive cell lines (example LFBKαVβ6) | [1] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references | [1] Generates isolates that are useful for subsequent studies for virus characterisation including vaccine selection | [1] Needs a confirmatory testing to confirm the agent causing CPE is FMDV (e.g., Ag-ELISA or sequencing) [2] Material submitted for testing must be in good condition requiring that a cold chain is maintained from sample collection to the laboratory [3] Testing can be impacted by gross bacterial/fungal contamination, despite the use of antibiotics in the cell culture media [4] Time-consuming and specialist facilities are needed (with appropriate biocontainment) | Ferris et al. (2006) Fukai et al. (2015) Gray et al. (2020) LaRocco et al. (2015) |
| Antigen detection ELISA ☑☑☑ | [1] Field samples can be directly tested without VI if suitable (i.e. epithelia, vesicular fluid) [2] Other sample types may require virus isolation first | [1] DSe 83% virus-positive epithelia where viral loads are high in samples collected from acute cases, but lower where sampling focusses on convalescent animals [2] ELISA formats can differ, using polyclonal, monoclonal and/or recombinant integrin. The selection of these reagents impacts on the DSe and DSp of the test | [1] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references | [1] Possibility of virus typing when the laboratory lacks equipment for PCR and sequencing [2] Can be used to serotype isolates generated by culture methods [3] Commercial kit version of this test are available | [1] Lower analytical sensitivity in relation to other methods available (e.g. RT-PCR) [2] DSe is impacted by the ability of the selected antibody reagents to detect diverse FMDV lineages [3] Direct testing of clinical samples is only applicable to epithelial suspensions and fluids | Ferris et al. 2011 Grazioli et al. 2020 Roeder & Le Blanc Smith (1987) |
| LFD ☑☑☑ | [1] Saliva, tissue, vesicular fluid and cultivated virus [2] Other sample types such as blood and serum may also be appropriate | [1] DSe 87–99% [2] DSp 99–100% | [1] Most validation data focusses on samples from cattle or pigs | [1] See references [2] Further validation studies are currently underway | [1] Rapid and simple to perform [2] No need for laboratory equipment [3] FMDV positive LFDs can be submitted for molecular analyses | [1] As per antigen detection ELISA | Ferris et al. (2009) Ferris et al. (2012) Oem et al. (2009) |
| Real-time RT-PCR ☑☑☑ | [1] All samples collected from acutely infected animals (vesicular liquid, epithelia, sera, blood, milk) [2] Environmental samples (including air) [3] Probang samples from convalescent animals | [1] WOAH Terrestrial Manual describes two methods 3D and 5’UTR and these have different sensitivity and specificity [2] DSp ~100% DSe ~100% | [1] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references | [1] Rapid [2] High analytical and diagnostic sensitivity and specificity [3] Test can be used for all sample types [4] Can adapt testing to automated platforms to achieve high throughput | [1] Test performance dependent upon primers selected [2] Requires specific equipment [3] Cross-contamination during sample preparation can lead to false positive results [4] Sequence variability can generate false negative results (particularly for the 5’UTR test [5] Panserotypic real time RT-PCRs in the WOAH Terrestrial Manual do not give details of serotype | Callahan et al. (2002) King et al. (2006) Moniwa et al. (2007) Reid et al. (2009) Shaw et al. (2004) Shaw et al. (2007) |
| RT-PCR ☑☑☑ | [1] All samples collected from acutely infected animals (vesicular liquid, epithelia, sera, blood, milk) | [1] DSe 97% [2] DSp ~100% [3] Analytical sensitivity reported to be less than 1 pfu | [1] Samples collected from suspected/confirmed cases and after experimental infection |  | [1] Alternative when there is no real time RT PCR equipment available | [1] Test performance dependent upon primers selected [2] Running a gel increases the risk of cross-contamination | Reid et al. (2000) Reid et al. (2003) Vangrysperre & De Clercq (1996) |
| NSP Ab ELISA ☑☑☑ | [1] Sera | [1] DSe between 95% and 100% [2] DSp between 98% and 100% [3] various NSP ELISA kits exist and these will have different DSe and DSp | [1] Test validated for cattle, sheep, goats and pigs [2] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references | [1] High diagnostic sensitivity in non-vaccinated populations [2] A single test covers all FMDV serotypes [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation [5] Simple-to-use commercial kits are available [6] Ideal for surveillance, control, and eradication | [1] Specificity is < 100% therefore, confirmatory testing often required [2] Lower sensitivity should be expected if animals have been previously vaccinated | Bergmann et al. (2003) Brocchi et al. (2006) Bruderer et al. (2004) Campos et al. (2008) Lu et al. (2007) Malirat et al. (1998) Paton et al. (2006) Sharma et al. (2014) Sorensen et al. (2005) |
| SP Ab ELISA ☑☑☑ | [1] Sera | [1] DSe between 93% and 100% [2] DSp between 98% and 100% [2] A range of different test formats are available including in-house and commercial assays. The performance of these tests vary. | [1] Test validated for cattle, sheep, goats and pigs [2] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references | [1] Simple-to-use commercial kits are available [2] SP-abs appear early after infection or vaccination so SP-ELISAs have higher diagnostic sensitivity compared with NSP ELISAs [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation | [1] Cannot differentiate between antibodies generated after vaccination or infection [2] Often cross-reactivity across serotype | Browning et al. (2020) Hamblin et al. (1986) Hamblin et al. (1987) Ludi et al. (2022) Mackay et al. (2001) Paiba et al. (2004) |
| VNT ☑☑☑ | Sera | [1] DSp≈100% [2] DSe≈100% [3] Test performance is influenced by the specific antigen used [4] Test conditions (cells and condition of cell culture) influence test performance | [1] Test validated for cattle, sheep, goats and pigs [2] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references | [1] High sensitivity and specificity | [1] It requires 1–3 days for execution [2] Maintenance and use of live virus and tissue culture cells, thus biocontainment restriction procedures are required | Willems et al. (2020) Hamblin et al. (1986) |

| United States | Comment Category: Deletion Proposed amended text: Appendix 3—Virus isolation--Disadvantages [1] Needs a confirmatory testing to confirm the agent causing CPE is FMDV (e.g., Ag-ELISA or sequencing) Rationale: Revised to match the same statement in Appendix 2--Virus Isolation—Disadvantages Supporting evidence: n/a |
| --- | --- |

Appendix 4
Foot and mouth disease
Intended purpose of test: confirmation of clinical cases

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Virus isolation ☑☑☑ | [1] Vesicular liquid, epithelia, swabs, probangs, sera*, blood* *FMD viraemia is transient (~7 days), therefore use of blood sampling should consider the likely pathogenic cycle of infection | [1] Considered to be the gold standard method [2] Test performance is dependent upon the cell line and culture conditions that are used [3] For appropriate samples collected from acutely infected animals, DSe and DSp can approach 100% using highly sensitive cell lines (example LFBKαVβ6) | [1] Samples collected from suspected/confirmed cases and after experimental infection | [2] See references. | [1] Generates isolates that are useful for subsequent studies for virus characterisation including vaccine selection | [1] Needs a confirmatory testing to confirm the agent causing CPE is FMDV (e.g. Ag-ELISA or sequencing) [2] Material submitted for testing must be in good condition requiring that a cold chain is maintained from sample collection to the laboratory [3] Testing can be impacted by gross bacterial/fungal contamination, despite the use of antibiotics in the cell culture media [4] Time-consuming and specialist facilities are needed (with appropriate biocontainment) | Ferris et al. (2006) Fukai et al. (2015) Gray et al. (2020) LaRocco et al. (2015) |
| Antigen detection ELISA ☑☑☑ | [1] Field samples can be directly tested without VI if suitable (i.e. epithelia, vesicular fluid) [2] Other sample types may require virus isolation first | [1] DSe 83% virus-positive epithelia where viral loads are high in samples collected from acute cases, but lower were sampling focuses on convalescent animals [2] ELISA formats can differ, using polyclonal, monoclonal and recombinant integrin. The selection of these reagents impacts on the DSe and DSp of the test | [1] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references and/or kit inserts | [1] Possibility of virus typing when the laboratory lacks equipment for PCR and sequencing [2] Can be used to serotype isolates generated by culture methods [3] Commercial kit version of this test are available | [1] Lower analytical sensitivity in relation to other methods available (e.g., RT-PCR) [2} DSe is impacted by the ability of the selected antibody reagents to detect diverse FMDV lineages [3] Direct testing of clinical samples is only applicable to epithelial suspensions and fluids | Ferris et al. 2011 Grazioli et al. 2020 Roeder & Le Blanc Smith (1987) |
| LFD ☑☑☑ | [1] Saliva, tissue homogenates, vesicular fluid and cultivated virus [2] Other sample 3types such as blood and serum may also be appropriate | [1] Similar test performance to Ag-ELISA [2] DSe 87–99% [] DSp 99–100% | [1] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references [2] Further validation studies are currently underway | [1] Rapid and simple to perform [2] No need for laboratory equipment [3] FMDV positive LFDs can be submitted for molecular analyses | As per antigen detection ELISA | Ferris et al. (2009) Ferris et al. (2012) Oem et al. (2009) |
| Real-time RT-PCR ☑☑☑ | [1] All samples collected from acutely infected animals (vesicular liquid, epithelia, sera, blood, milk) [2] Environmental samples (including air) [3] Probang samples from convalescent animals | [1] WOAH Terrestrial Manual describes two methods 3D and 5’UTR and these have different sensitivity and specificity [2] DSp ~100% DSe ~100% | [1] Samples collected from suspected/confirmed cases and after experimental infection | [1] See references | [1] Rapid [2] High analytical and diagnostic sensitivity and specificity [3] Test can be used for all sample types [4] Can adapt testing to automated platforms to achieve high throughput | [1] Test performance dependent upon primers selected [2] Requires specific equipment [3] Cross-contamination during sample preparation can lead to false positive results [4] Sequence variability can generate false negative results (particularly for the 5’UTR test [5] Panserotypic real time RT-PCRs in the WOAH Terrestrial Manual do not give details of serotype | Callahan et al. (2002) King et al. (2006) Moniwa et al. (2007) Shaw et al. (2004) Shaw et al. (2007) |
| RT-PCR ☑☑☑ | [1] All samples collected from acutely infected animals (vesicular liquid, epithelia, sera, blood, milk) | [1] DSe 97% [2] DSp ~100% [3] Analytical sensitivity reported to be less than 1 pfu | [1] Samples collected from suspected/confirmed cases and after experimental infection |  | [1] Alternative when there is no real time RT PCR equipment available | [1] Test performance dependent upon primers selected [2] Running a gel increases the risk of cross-contamination | Reid et al. (2000) Reid et al. (2003) Vangrysperre & De Clercq (1996) |
| NSP Ab ELISA ☑☑☑ | [1] Sera | [1] DSe between 95% and 100% [2] DSp between 98% and 100% [3] various NSP ELISA kits exist and these will have different DSe and DSp | [1] Samples from all susceptible species that have been exposed to FMDV (field and experimental studies) [2] Validation of this purpose includes sera collected from vaccinated and/or infected animals | [1] See references | [1] High diagnostic sensitivity in non-vaccinated populations [2] A single test covers all FMDV serotypes [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation [5] Simple-to-use commercial kits are available | [1] FMDV-specific antibodies arise after infection. Therefore, these tests are only appropriate if infection >7–10 days is suspected. [2] Specificity is < 100% therefore, confirmatory testing is required [3] Lower sensitivity should be expected if animals have been previously vaccinated | Bergmann et al. (2003) Brocchi et al. (2006) Bruderer et al. (2004) Campos et al. (2008) Lu et al. (2007) Malirat et al. (1998) Paton et al. (2006) Sharma et al. (2014) Sorensen et al. (2005) |
| SP Ab ELISA ☑☑☑ | [1] Sera | [1] DSe between 93% and 100% [2] DSp between 98% and 100% [2] A range of different test formats are available including in-house and commercial assays. The performance of these tests vary | [1] Samples from all susceptible species that have been exposed to FMDV (field and experimental studies) | [1] See references | [1] Simple-to-use commercial kits are available [2] SP-abs appear early after infection or vaccination so SP-ELISAs have higher diagnostic sensitivity compared with NSP ELISAs [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation | [1] FMDV-specific antibodies arise after infection. Therefore, these tests are only appropriate if infection >7–10 days is suspected. [2] Cannot differentiate between antibodies generated after vaccination or infection [3] Test exhibit cross-reactivity across FMDV serotypes requiring that further sampling (such as with a probang) may be required to verify the serotype present | Browning et al. (2020) Hamblin et al. (1986) Hamblin et al. (1987) Ludi et al. (2022) Mackay et al. (2001) Paiba et al. (2004) |
| VNT ☑☑☑ | Sera | [1] DSp≈100% [2] DSe≈100% [3] Test performance is influenced by the specific antigen used [4] Test conditions (cells and condition of cell culture) influence test performance | [1] Samples from all susceptible species that have been exposed to FMDV (field and experimental studies) | [1] See references | [1] High sensitivity and specificity | [1] FMDV-specific antibodies arise after infection. Therefore, these tests are only appropriate if infection >7–10 days is suspected. [2] Test requires 1–3 days for execution and maintenance and use of live virus and tissue culture cells, thus biocontainment restriction procedures are required | Willems et al. (2020) Hamblin et al. (1986) |

| United States | Comment Category: Change Proposed amended text: Appendix 4—Antigen detection ELISA--Accuracy [1] DSe 83% virus-positive epithelia where viral loads are high in samples collected from acute cases, but lower where sampling focuses on convalescent animals Rationale: Spelling error based on similar wording from Appendix 3--Antigen detection ELISA--Accuracy Supporting evidence: n/a |
| --- | --- |
|  | Comment Category: Deletion Proposed amended text: Appendix 3—LFD--Sample type and target analytes Rationale: Typo based on same sentence from Appendix 3—LFD--Sample type and target analytes [2] Other sample 3types such as blood and serum may also be appropriate Supporting evidence: n/a |

Appendix 5
Foot and mouth disease
Intended purpose of test: prevalence of infection – surveillance

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Real-time RT-PCR ☑☐☐ | [1] All samples collected from acutely infected animals (vesicular liquid, epithelia, sera, blood, milk) [2] Environmental samples (including air) [3] Probang samples from convalescent animals | [1] WOAH Terrestrial Manual describes two methods 3D and 5’UTR and these have different sensitivity and specificity [2] DSp ~100% DSe ~100% | [1] Suspected infected animals | [1] See references and Appendix 4: Confirmation of clinical cases | [1] Rapid [2] High analytical and diagnostic sensitivity and specificity [3] Test can be used for all sample types [4] Can adapt testing to high throughput | [1] Test performance dependent upon primers selected [2] Requires specific equipment [3] Cross-contamination during sample preparation can lead to false positive results [4] Sequence variability can generate false negative results (particularly for the 5’UTR test [5] Panserotypic real time RT-PCRs in the WOAH Terrestrial Manual do not give details of serotype | Armson et al. (2020) Callahan et al. (2002) King et al. (2006) Moniwa et al. (2007) Shaw et al. (2004) Shaw et al. (2007) |
| RT-PCR ☑☐☐ | [1] All samples collected from acutely infected animals (vesicular liquid, epithelia, sera, blood, milk) | [1] DSe 97% [2] DSp ~100% [3] Analytical sensitivity reported to be less than 1 pfu | [1] Samples from epithelia collection of different serotypes [2] 5 negative samples | [1] See Appendix 4: Confirmation of clinical cases | [1] Alternative when there is no real time RT PCR equipment availability | [1] Test performance dependent upon primers selected [2] Running a gel increases the risk of cross-contamination | Reid et al. (2000) Reid et al. (2003) Vangrysperre & De Clercq (1996) |
| NSP Ab ELISA ☑☑☑ | [1] Sera | [1] DSe between 95% and 100% [2] DSp between 98% and 100% [3] various NSP ELISA kits exist and these will have different DSe and DSp | [1] Cattle, sheep, goats and pigs [2] samples collected as part of sero-surveillance studies [3] Samples from vaccinated and/or infected animals | [1] See references [2] Available from WOAH Ref. Lab. | [1] High diagnostic sensitivity in non-vaccinated populations [2] A single test covers all FMDV serotypes [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation [5] Simple-to-use commercial kits are available [6] Ideal for surveillance, control, and eradication | [1] Specificity is < 100% therefore, confirmatory testing is required [2] Lower specificity should be expected if animals have been previously vaccinated | Bergmann et al. (2003) Brocchi et al. (2006) Browning et al. (2020) Bruderer et al. (2004) Campos et al. (2008) Lu et al. (2007) Malirat et al. (1998) Paton et al. (2006) Sharma et al. (2014) Sorensen et al. (2005) |
| SP Ab ELISA ☑☑☐ | [1] Sera | [1] DSe between 93% and 100% | [1] See reference | [1] See Appendix 3: Contribute to eradication policies [2] Available from WOAH Ref. Lab. | [1] Simple-to-use commercial kits are available [2] SP-abs appear early after infection or vaccination so SP-ELISAs have higher diagnostic sensitivity compared with NSP ELISAs [3] Tests are usually appropriate for all susceptible species [4] Easy to perform, suitable for large-scale application or automation | [1] SP Ab ELISAs cannot be used if vaccines are used. Cannot differentiate between antibodies generated after vaccination or infection [2] Less sensitive than RT-PCR [3] Tests often suffer from cross-reactivity across serotype which limits their use for serotype-specific surveillance in countries/regions where multiple serotypes co-circulate [4] SP Ab ELISAs cannot be used if vaccines are used as the test cannot differentiate between antibodies generated after vaccination or infection | Hamblin et al. (1986) Hamblin et al. (1987) Ludi et al. (2022) Mackay et al. (2001) Paiba et al. (2004) |
| VNT ☑☑☐ | Sera | [1] DSp≈100% [2] DSe≈100% [3] Test performance is influenced by the specific antigen used [4] Test conditions (cells and condition of cell culture) influence test performance | [1] Susceptible animals | [1] See Appendix 3: Contribute to eradication policies [2] Recognised as the gold standard method and consequently initial test validation was not performed | [1] High sensitivity and specificity | [1] It requires 1–3 days for execution [2] Maintenance and use of live virus and tissue culture cells, thus biocontainment restriction procedures are required [3] VNT cannot be used if vaccines are used as the test cannot differentiate between antibodies generated after vaccination or infection | Willems et al. (2020) Hamblin et al. (1986) |

| United States | Comment Category: Deletion Proposed amended text: Appendix 5—SP Ab ELISA--Disadvantages [4] SP Ab ELISAs cannot be used if vaccines are used as the test cannot differentiate between antibodies generated after vaccination or infection Rationale: This is a repeat of point [1] listed in the same box Supporting evidence: n/a |
| --- | --- |

Appendix 6
Foot and mouth disease
Intended purpose of test: Immune status in individual animals or populations post-vaccination

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SP Ab ELISA ☑☑☑ | [1] Sera from vaccinated animals [2] Sera collected for the purposes of vaccine control | [1] DSe ~100% DSp ~87% | [1] Validation data mostly available from cattle in controlled infection or vaccination studies | [1] See references and Appendix 3: Contribute to eradication policies | [1] Tests are simple-to use [2] Where extensive validation has been undertaken (such as in South America), SP-ELISA testing of vaccinated animals correlates with PGP results avoiding the requirement for challenge tests to assess FMD vaccine quality | [1] Tests suffer from poor inter-serotype specificity which can limit their use when multivalent FMD vaccines are used. [2] Estimating protective responses using SP-ELISA serology is not as precise as VNT | Barnett et al. (2003) Goris et al. (2008) Gubbins et al. (2022) Maradei et al. (2008) Periolo et al. (1993) |
| VNT TEST ☑☑☑ | [1] Sera from vaccinated animals | [1] DSp≈100% [2] DSe≈100% [3] Test performance is influenced by the specific viral antigen used [4] Test conditions (cells and condition of cell culture) influence test performance | [1] Samples from vaccinated animals (including potency tests) | [1] See references | [1] High sensitivity and specificity compared with SP-ELISA [2] Test measures neutralising antibodies which are important correlates of protection | [1] Test requires 1–3 days for execution [2] Maintenance and use of live virus and tissue culture cells, thus biocontainment restriction procedures are required | Gubbins et al., (2022 Hamblin et al. (1986) Willems et al. (2020) |

| United States | Comment Category: Deletion Proposed amended text: Appendix 6—Test with score and species VNT TEST Rationale: Unnecessary as the 'T' in VNT stands for “test.” Acronym is defined on page one. Supporting evidence: n/a |
| --- | --- |

REFERENCES

Armson B., Gubbins S., Mioulet V., Qasim I.A., King D.P. & Lyons N.A. (2020). Foot-and-Mouth Disease Surveillance Using Pooled Milk on a Large-Scale Dairy Farm in an Endemic Setting. Front. Vet. Sci., 27, 264. doi: 10.3389/fvets.2020.00264.

Barnett P.V., Statham R.J., Vosloo W, & Haydon D.T. (2003). Foot-and-mouth disease vaccine potency testing: determination and statistical validation of a model using a serological approach. Vaccine, 21, 3240–3248. doi: 10.1016/s0264-410x(03)00219-6.

Bergmann I.E., Neitzert E., Malirat V., Ortiz S., Colling A., Sanchez C. & Correa Melo E. (2003). Rapid serological profiling by enzyme-linked immunosorbent assay and its use as an epidemiological indicator of foot-and-mouth disease viral activity. Arch. Virol., 148, 891–901.

Brocchi E., Bergmann I.E., Dekker A., Paton D.J., Sammin D.J., Greiner M., Grazioli S., De Simone F., Yadin H., Haas B., Bulut N., Malirat V., Neitzert E., Goris N., Parida S., Sorensen K. & De Clercq K. (2006). Comparative evaluation of six ELISAs for the detection of antibodies to the non-structural proteins of foot-and-mouth disease virus. Vaccine, 24, 6966–6979.

Browning C.F.J., Di Nardo A., Henry L., Pollard T., Hendry L., Romey A., Relmy A., Eble P., Brocchi E., Grazioli S., King D.P. & Ludi A.B. (2020). Inter-laboratory comparison of 2 ELISA kits used for foot-and-mouth disease virus nonstructural protein serology. J. Vet. Diagn. Invest., 32, 933–937. doi: 10.1177/1040638720962070.

Bruderer U., Swam H., Haas B., Visser N., Brocchi E., Grazioli S., Esterhuysen J.J., Vosloo W., Forsyth M., Aggarwal N., Cox S., Armstrong R. & Anderson J. (2004). Differentiating infection from vaccination in foot-and-mouth-disease: evaluation of an ELISA based on recombinant 3ABC. Vet. Microbiol., 101, 187–197. doi: 10.1016/j.vetmic.2004.01.021.

Callahan J.D., Brown F., Csorio F.A., Sur J.H., Kramer E., Long G.W., Lubroth J., Ellis S.J., Shoulars K.S., Gaffney K.L., Rock D.L. & Nelson W.M. (2002). Use of a portable real-time reverse transcriptase-polymerase chain reaction assay for rapid detection of foot-and-mouth disease virus. J. Am. Vet. Med. Assoc., 220, 1636–1642.

Campos R.M., Malirat V., Neitzert E., Grazioli S., Brocchi E., Sanchez C., Falczuk A.J., Ortiz S., Rebello M.A. & Bergmann I.E. (2008). Development and characterization of a bovine serum evaluation panel as a standard for immunoassays based on detection of antibodies against foot-and-mouth disease viral non-capsid proteins. J. Virol. Methods, 151, 15–23.

Ferris N.P., Clavijo A., Yang M., Velazquez-Salinas L., Nordengrahn A., Hutchings G.H., Kristersson T. & Merza M. (2012). Development and laboratory evaluation of two lateral flow devices for the detection of vesicular stomatitis virus in clinical samples. J. Virol. Methods, 180, 96–100. doi: 10.1016/j.jviromet.2011.12.010.

Ferris N.P., Grazioli S., Hutchings G.H. & Brocchi E. (2011). Validation of a recombinant integrin alphavbeta6/monoclonal antibody-based antigen ELISA for the diagnosis of foot-and-mouth disease. J. Virol. Methods. 175, 253–260. doi: 10.1016/j.jviromet.2011.05.026.

Ferris N.P., King D.P., Reid S.M., Hutchings G.H., Shaw A.E., Paton D.J., Goris N., Haas B., Hoffmann B., Brocchi E., Bugnetti M., Dekker A. & De Clercq K. (2006). Foot-and-mouth disease virus: a first inter-laboratory comparison trial to evaluate virus isolation and RT-PCR detection methods. Vet. Microbiol., 117, 130–140. doi: 10.1016/j.vetmic.2006.06.001.

Ferris N.P., Nordengrahn A., Hutchings G.H., Reid S.M., King D.P., Ebert K., Paton D.J., Kristersson T., Brocchi E., Grazioli S. & Merza M. (2009). Development and laboratory validation of a lateral flow device for the detection of foot-and-mouth disease virus in clinical samples. J. Virol. Methods, 155, 10–17. doi: 10.1016/j.jviromet.2008.09.009.

Fukai K., Morioka K., Yamada M., Nishi T., Yoshida K., Kitano R., Yamazoe R. & Kanno T. (2015). Comparative performance of fetal goat tongue cell line ZZ-R 127 and fetal porcine kidney cell line LFBK-αvβ6 for Foot-and-mouth disease virus isolation. J. Vet. Diagn. Invest., 27, 516–521. doi: 10.1177/1040638715584156.

Goris N., Willems T., Diev V.I., Merkelbach-Peters P., Vanbinst T., Van der Stede Y., Kraft H.P., Zakharov V.M., Borisov V.V., Nauwynck H.J., Haas B. & De Clercq K. (2008). Indirect foot-and-mouth disease vaccine potency testing based on a serological alternative. Vaccine, 26, 3870–3879. doi: 10.1016/j.vaccine.2008.05.013.

Gray A.R., Wood B.A., Henry E., Azhar M., King D.P. & Mioulet V. (2020). Evaluation of Cell Lines for the Isolation of Foot-and-Mouth Disease Virus and Other Viruses Causing Vesicular Disease. Front. Vet. Sci., 7, 426. doi: 10.3389/fvets.2020.00426

Grazioli S., Ferris N.P., Dho G., Pezzoni G., Morris A.S., Mioulet V. & Brocchi E. (2020). Development and validation of a simplified serotyping ELISA based on monoclonal antibodies for the diagnosis of foot-and-mouth disease virus serotypes O, A, C and Asia 1. Transbound. Emerg. Dis., 67, 3005–3015. doi: 10.1111/tbed.13677.

Gubbins S., Paton D.J., Dekker A., Ludi A.B., Wilsden G., Browning C.F.J., Eschbaumer M., Barnabei J., Duque H., Pauszek L.L. & King D.P. (2022). Predicting cross-protection against foot-and-mouth disease virus strains by serology after vaccination. Front. Vet. Sci., 9, 1027006. doi: 10.3389/fvets.2022.1027006.

Hamblin C., Barnett I.T.R. & Hedger R.S. (1986). A new enzyme-linked immunosorbent assay (ELISA) for the detection of antibodies against foot-and-mouth disease virus. I. Development and method of ELISA. J. Immunol. Methods, 93, 115–121.

Hamblin C., Kitching R.P., Donaldson A.I., Crowther J.R. & Barnett I.T.R. (1987). Enzyme-linked immunosorbent assay (ELISA) for the detection of antibodies against foot-and-mouth disease virus. 3. Evaluation of antibodies after infection and vaccination. Epidemiol. Infect., 99, 733–744.

Jamal S.M., Ferrari G., Hussain M., Nawroz A.H., Aslami A.A., Khan E., Murvatulloev S., Ahmed S. & Belsham G.J. (2012). Detection and genetic characterization of foot-and-mouth disease in samples from clinically health animals in endemic settings. Transbound. Emerg. Dis., 59, 429–440. doi: 10.1111/j.1865-1682.2011.01295.x

King D.P., Ferris N.P., Shaw A.E., Reid S.M., Hutchings G.H., Giuffre A.C., Robida J.M., Callahan J.D., Nelson W.M. & Beckham T.R. (2006). Detection of foot-and-mouth disease virus: comparative diagnostic sensitivity of two independent real-time reverse transcription-polymerase chain reaction assays. J. Vet. Diagn. Invest., 18, 93–97. doi: 10.1177/104063870601800114.

LaRocco M., Krug P.W., Kramer E., Ahmed Z., Pacheco J.M., Duque H., Baxt B. & Rodriguez L.L. (2015). Correction for LaRocco et al., A Continuous Bovine Kidney Cell Line Constitutively Expressing Bovine αVβ6 Integrin Has Increased Susceptibility to Foot-and-Mouth Disease Virus. J. Clin. Microbiol., 53, 755. doi: 10.1128/JCM.03220-14.

Lu Z., Cao Y., Guo J., Qi S., Li D., Zhang Q., Ma J., Chang H., Liu Z., Liu X. & Xie Q. (2007). Development and validation of a 3ABC indirect ELISA for differentiation of foot-and-mouth disease virus infected from vaccinated animals. Vet. Microbiol., 125, 157–169. doi: 10.1016/j.vetmic.2007.05.017.

Ludi A.B., Morris A., Gubbins S., Asfor A., Afzal M., Browning C.F., Grazioli S., Foglia E.A., Wilsden G., Burman A., Brocchi E., Paton D.J. & King D.P. (2022). Cross-Serotype Reactivity of ELISAs Used to Detect Antibodies to the Structural Proteins of Foot-and-Mouth Disease Virus. Viruses, 14, 1495. doi.org/10.3390/v14071495

Mackay D.K., Bulut A.N., Rendle T., Davidson F. & Ferris N.P. (2001). A solid-phase competition ELISA for measuring antibody to foot-and-mouth disease virus. J. Virol. Methods, 97, 33–48.

Malirat V., Neitzert E., Bergmann I.E., Maradei E. & Beck E. (1998). Detection of cattle exposed to foot-and-mouth disease virus by means of an indirect ELISA test using bioengineered nonstructural polyprotein 3ABC. Vet. Q., 20 Suppl. 2, S24–26. doi: 10.1080/01652176.1998.9694958.

Maradei E., La Torre J., Robiolo B., Esteves J., Seki C., Pedemonte A., Iglesias M, D’Aloia R. & Mattion N. (2008). Updating of the correlation between lpELISA titers and protection from virus challenge for the assessment of the potency of polyvalent aphtovirus vaccines in Argentina. Vaccine, 26, 6577–6586.

Moniwa M., Clavijo A., Li M., Collignon B. & Kitching P.R. (2007). Performance of a foot-and-mouth disease virus reverse transcription-polymerase chain reaction with amplification controls between three real-time instruments. J. Vet. Diagn. Invest., 19, 9–20. doi: 10.1177/104063870701900103.

Oem J.K., Ferris N.P., Lee K.N., Joo Y.S., Hyun B.H. & Park J.H. (2009). Simple and rapid lateral-flow assay for the detection of foot-and-mouth disease virus. Clin. Vaccine Immunol., 16, 1660–1664. doi: 10.1128/CVI.00213-09

Paiba G.A., Anderson J., Paton D.J., Soldan A.W., Alexandersen S., Corteyn M., Wilsden G., Hamblin P., MacKay D.K. & Donaldson A.I. (2004). Validation of a foot-and-mouth disease antibody screening solid-phase competition ELISA (SPCE). J. Virol. Methods, 115, 145–158.

Parida S., Cox S.J., Reid S.M., Hamblin P., Barnett P.V., Inoue T., Anderson J. & Paton D.J. (2005). The application of new techniques to the improved detection of persistently infected cattle after vaccination and contact exposure to foot-and-mouth disease. Vaccine, 23, 5186–5195. doi: 10.1016/j.vaccine.2005.06.012.

Paton D.J., de Clercq K., Greiner M., Dekker A., Brocchi E., Bergmann I., Sammin D.J., Gubbins S. & Parida S. (2006). Application of non-structural protein antibody tests in substantiating freedom from foot-and-mouth disease virus infection after emergency vaccination of cattle. Vaccine, 24, 6503–6512. doi: 10.1016/j.vaccine.2006.06.032.

Periolo O., Seki C., Grigera P., Robiolo B., Fernandez G., Maradei E., D’Aloia R. & La Torre J.L. (1993). Large-scale use of liquid-phase blocking sandwich ELISA for the evaluation of protective immunity against aphtovirus in cattle vaccinated with oil adjuvanted vaccines in Argentina. Vaccine, 11, 754–776.

Reid S.M., Ferris N.P., Hutchings G.H., Samuel A.R & Knowles N.J. (2000). Primary diagnosis of foot-and-mouth disease by reverse transcription polymerase chain reaction. J. Virol. Methods, 89, 167–176.

Reid S.M., Grierson S.S., Ferris N.P., Hutchings G H. & Alexandersen S. (2003). Evaluation of automated RT-PCR to accelerate the laboratory diagnosis of foot-and-mouth disease virus. J. Virol. Methods, 107, 129–139.

Reid S.M., Ebert K., Bachanek-Bankowska K., Batten C., Sanders A., Wright C., Shaw A.E., Ryan E.D., Hutchings G.H., Ferris N.P., Paton D.J. & King D.P. (2009). Performance of real-time reverse transcription polymerase chain reaction for the detection of foot-and-mouth disease virus during field outbreaks in the United Kingdom in 2007. J. Vet. Diagn. Invest., 21, 321–330. doi: 10.1177/104063870902100303.

Roeder P.L. & Le Blanc Smith P.M. (1987). The detection and typing of foot-and-mouth disease virus by enzyme-linked immunosorbent assay: a sensitive, rapid and reliable technique for primary diagnosis. Res. Vet. Sci., 43, 225–232.

Sharma G.K., Mohapatra J.K., Mahajan S., Matura R., Subramaniam S. & Pattnaik B. (2014). Comparative evaluation of non-structural protein-antibody detecting ELISAs for foot-and-mouth disease sero-surveillance under intensive vaccination. J. Virol. Methods, 207, 22–28. doi: 10.1016/j.jviromet.2014.06.022.

Shaw A.E., Reid S.M., King D.P., Hutchings G.H. & Ferris N.P. (2004). Enhanced laboratory diagnosis of foot and mouth disease by real-time polymerase chain reaction. Rev. Sci. Tech., 23, 1003–1009. doi: 10.20506/rst.23.3.1544.

Shaw A.E., Reid S.M., Ebert K., Hutchings G.H., Ferris N.P. & King, D.P. (2007). Protocol: Implementation of a one-step real-time RT-PCR protocol for diagnosis of foot-and-mouth disease. J. Virol. Methods, 143, 81–85.

Stenfeldt C., Lohse L. & Belsham G.J. (2013). The comparative utility of oral swabs and probang samples for detection of foot-and-mouth disease virus infection in cattle and pigs. Vet. Microbiol., 162, 330–337. doi: 10.1016/j.vetmic.2012.09.008.

Sorensen K.J., de Stricker K., Dyrting K.C., Grazioli S. & Haas B. (2005). Differentiation of foot-and-mouth disease virus infected animals from vaccinated animals using a blocking ELISA based on baculovirus expressed FMDV 3ABC antigen and a 3ABC monoclonal antibody. Arch. Virol., 150, 805–814. doi: 10.1007/s00705-004-0455-z.

Vangrysperre W. & De Clercq K. (1996). Rapid and sensitive polymerase chain reaction based detection and typing of foot-and-mouth disease virus in clinical samples and cell culture isolates, combined with a simultaneous differentiation with other genomically and/or symptomatically related viruses. Arch. Virol., 141, 331–344. doi: 10.1007/BF01718403.

Willems T., De Vleeschauwer A., Perez-Filgueira M., Li Y., Ludi A., Lefebvre D., Wilsden G., Statham B., Haas B., Mattion N., Robiolo B., Beascoechea Perez C., Maradei E., Smitsaart E., La Torre J. & De Clercq K. (2020). FMD vaccine matching: Inter laboratory study for improved understanding of r1-values. J. Virol. Methods, 276, 113786. doi: 10.1016/j.jviromet.2019.113786.