Chapter 3.1.11.

leishmaniosis

SUMMARY

Description and importance of the disease: Leishmaniosis is not a single entity but comprises a variety of syndromes caused primarily by at least 20 Leishmania species affecting humans, transmitted by phlebotomine sand flies belonging to the genera Phlebotomus and Lutzomyia. Leishmaniosis is associated with and limited by the geographic distribution of its sand fly vectors. Fifteen nosogeographical entities have been classified worldwide, of which 13 have an established or putative zoonotic nature. In recent years, the number of regions becoming Leishmania-endemic has grown significantly, accompanied by an increased number of animal and human cases.

In humans, the clinical spectrum ranges from asymptomatic infections to those with high mortality, with three distinct forms being classically described: visceral (VL), cutaneous (CL) and mucocutaneous (MCL). Dogs are commonly affected by L. infantum and L. chagasi (now regarded as synonyms), which causes a chronic viscero-cutaneous disease in this host (canine leishmaniosis, CanL). Asymptomatic Subclinical infection in dogs is widespread and contributes to maintaining the long-term presence of the parasite in endemic regions. The clinical appearance and evolution of leishmaniosis is a consequence of complex interactions between the parasite and host immune response. The outcome of infection depends on the ability of host macrophages to effectively destroy the parasite.

Detection of the agent: When clinical signs and characteristic lesions are present in affected humans and animals, the demonstration of the parasites in stained smears of splenic, bone marrow and lymph node aspirates, of skin scrapings, and in tissue biopsies, gives a positive diagnosis. If the infection is low grade, detection of parasites is possible only by attempting in-vitro isolation or by polymerase chain reaction (PCR). As there are very few morphological differences among various species, the identification of any isolated Leishmania organism relies on biochemical and/or molecular methods. Several centres throughout the world are presently using isoenzyme and DNA characterisation to identify the agent.

Serological tests: Serology is the preferred method for diagnosis of VL and CanL, even during the early stages of the disease. In subclinical forms, seropositive cases are confirmed by parasitological diagnosis or PCR. Serology is of less value for CL and MCL. Of the several serological techniques available, the indirect fluorescent antibody test and the enzyme-linked immunosorbent assay are the most suitable. Crude antigens for serodiagnostic tests can be prepared in the laboratory from cultured parasites. Tests based on recombinant antigens may also be used and have a high specificity although can be less sensitive.

The rapid immunochromatographic assay is easy to carry out and can be performed in veterinary clinics, but has lower diagnostic efficiency than the indirect fluorescent antibody test (IFAT) and enzyme-linked immunosorbent assay (ELISA).

Requirements for vaccines: There is no effective vaccine available worldwide at present for use in dogs or humans. A number of vaccines for use in animals are under evaluation, and four have been authorised for use in dogs (two in Brazil and two in Europe). Beyond other issues to be evaluated, the use of these vaccines is posing present and future challenges to the fields of diagnosis, epidemiology and surveillance of the parasite, especially in countries where the parasite does not occur. Leishmanin skin test antigen is no longer available worldwide and lacks standardisation.

A.  introduction

Description and impact of the disease: Leishmaniosis comprises a variety of syndromes caused by members of the protozoan parasite Leishmania (Kinetoplastida: Trypanosomatidae), which are transmitted to mammal hosts by the bite of infected phlebotomine sand flies belonging to the genera Phlebotomus (Old World) and Lutzomyia (New World). The disease results from the multiplication of amastigote forms in macrophages of the reticuloendothelial system. The epidemiology and clinical manifestations of the diseases are largely diverse, being usually grouped into two main entities: zoonotic leishmanioses, where domestic or wild animal reservoirs are involved in the transmission cycle and humans play a role as an accidental host, and anthroponotic leishmanioses, where humans are the sole reservoir and source of the vector’s infection (Esch & Petersen, 2013). T lymphocytes and cytokines, play a crucial role in determining whether infection evolves toward a protective immune status or a progressive and manifest disease. In inbred mouse models, two different T helper (Th) cell subsets are involved, termed Th1 and Th2, which differ in their profile of secreted cytokines by a polarised activation; the Th1 response confers protection, whereas the Th2 response renders the host susceptible to infection. However, in human patients and dogs with clinically apparent infections, Th1 and Th2 type responses are not characteristically polarised, as both activating (e.g. interferon gamma, interleukin 12) and suppressive cytokines (e.g. interleukin 10, interleukin 13, interleukin 4, TGF beta) are detected (Murray et al., 2005).

Various forms of clinical manifestations of human leishmaniosis have been described and divided into three major clinical entities: visceral leishmaniosis (VL (synonyms: leishmaniasis, kala azar), cutaneous leishmaniosis (localised, diffuse or disseminated CL, [visceral form], oriental sore, uta, pian bois, chiclero’s ulcer) and mucocutaneous leishmaniosis (MCL, [cutaneous form], espundia) (World Health Organization [WHO], 2010). The diseases are mainly zoonoses with two exceptions, that of CL due to L. tropica in urban areas of the Middle East, and that of VL due to L. donovani in the Indian sub-continent (northern India, Nepal and Bangladesh) and in some parts of Eastern Africa (e.g. Ethiopia and Sudan). Canine leishmaniosis (CanL) [mucocutaneous form]) is a chronic viscero-cutaneous disease caused by L. infantum, for which the dog acts as the source reservoir. Resistant asymptomatic dogs may exceed >50% of the infected canine population. Typical external signs recorded in susceptible dogs that evolve towards full-blown disease are lymph node enlargement vector-borne parasitic disease caused by protozoa of the genus Leishmania. Transmission occurs through the bite of infected female phlebotomine sand flies, primarily of the genera Phlebotomus (Africa and Eurasia) and Lutzomyia (Americas). The parasite multiplies as intracellular amastigotes within host macrophages, leading to clinical syndromes of variable severity depending on the host immune response and Leishmania species involved. Dogs, which serve as the main domestic reservoir for zoonotic L. infantum, frequently develop overt disease. Clinical signs include generalised lymphadenopathy, weight loss, exfoliative dermatitis, ulcerative or alopecic skin lesions, ocular abnormalities, and onychogryphosis, alopecia, ulcers and ocular alterations. Feline leishmaniosis (FeL) caused by L. infantum appears to be an emerging feline disease; in the past two decades it has been more and more frequently (Solano-Gallego et al., 2009). Gross pathological findings may include splenomegaly, hepatomegaly, and lymphadenomegaly. Although less common, FeL is increasingly reported in endemic areas and sporadically also seen in non-endemic areas in re-homed cats (typically presents with cutaneous or mucocutaneous lesions (Pennisi et al., 2015; Richter et al., 2014; Rüfenacht et al., 2005). Sporadic tegumentary cases have been reported in A variety of wild and domestic species, such as wild canids, equids and cattle (Gramiccia et al., 2011). Likewise, wild canid (wolf, fox and jackal) populations and lagomorphs, can show similar infection rates act as in dogs, but the prevalence of progressive clinical signs in these species is substantially lower and thus they may not be as infectious as dog populations to supporting a primary transmission cycle. In an outbreak of visceral leishmaniosis in Spain, reservoirs or incidental hosts. Leishmania infantum has been detected in hares (Lepus granatensis) and rabbits (Oryctolagus cuniculus) were described as a reservoir (Jimenez et al., 2014; during human outbreaks in Spain (Molina et al., 2012).

Causal pathogen: Approximately 20 In humans, three clinical forms are recognised Leishmania species are agents of human leishmanioses. In the New World, tegumentary forms are caused by L. : visceral leishmaniosis (VL), cutaneous leishmaniosis (CL), and mucocutaneous leishmaniosis (MCL). VL is fatal if untreated; CL causes ulcerative skin lesions that may self-resolve; and MCL leads to disfiguring mucosal damage (WHO, 2010). The disease occurs in tropical, subtropical, and some temperate areas, with seasonal transmission in cooler climates and continuous transmission in warmer regions. panamenisis, L. shawi, L. naϊffi, L. lainsoni, L. lindenbergi,peruviana, L. mexicana, L. venezuelensis and L. amazonensis; visceral and, more rarely, cutaneous forms, are caused by L. infantum. In the Old World, cutaneous forms are caused by L. tropica, L. major and L. aethiopica; visceral and, more rarely, cutaneous forms, are caused by L.  donovani. Leishmania infantum and L. chagasi have been found to be identical by genotyping and should be regarded as synonyms (Kuhls et al., 2011). In addition, the taxonomic position of other Leishmania agents of tegumentary forms (L. killicki in the Old World; L. pifanoi, L. garnhami and L. colombiensis in the New World) is still under discussion. Other Leishmania species not pathogenic to humans include New and Old World rodent parasites and an agent of cutaneous leishmaniosis in Australian macropods (Dougall et al., 2009). Dogs are mainly affected by L. infantum, but, other Leishmania species are found in dogs in the New World (Leishmania amazonensis, L. braziliensis, L. mexicana, L. venezuelensis) (Pennisi et al., 2015; Solano-Gallego et al., 2009). Leishmania tropica and L .major are rarely reported in dogs and are found mainly associated with skin or mucocutaneous lesions (Baneth et al., 2017).

Nature and classification of the pathogen: Leishmania spp. are protozoan parasites in the order Kinetoplastida, family Trypanosomatidae. Around 20 species are pathogenic to humans. In Africa and Eurasia, important species include L. infantum, L. donovani, L. tropica, L. major, and L. aethiopica; in the Americas, L. braziliensis, L. guyanensis, L. mexicana, and L. amazonensis are prominent. L. infantum and L. chagasi are genetically indistinguishable and considered synonymous (Kuhls et al., 2011). The parasite alternates between two main stages: the extracellular promastigote in the vector and the intracellular amastigote in the vertebrate host. Infection occurs when the promastigotes are injected into the host’s skin during the sand fly’s blood meal. The clinical outcome is strongly influenced by the host’s immune response.

Zoonotic risk potential and biosafety and biosecurity requirements: Leishmaniosis is a major zoonosis. Most human cases are zoonotic, with domestic dogs as the principal reservoir of L. infantum. However, anthroponotic forms also occur, notably with L. donovani-related VL in South Asia and L. tropica-related CL in urban settings. As transmission is vector-dependent and the parasite lacks environmentally Direct contact with infected hosts or handling of biological samples and parasite cultures from these hosts is of low risk, because of the sand fly-borne nature of the infections and the lack of resistant forms in the environment. All, direct zoonotic transmission is minimal. Nonetheless, biosafety is important during laboratory work. Laboratory manipulations with Leishmania spp. should be performed at an with appropriate biosafety and containment level procedures as determined by biorisk biological risk analysis as described in (see Chapter 1.1.4 Biosafety and biosecurity: Standard for managing biological risk in the veterinary laboratory and animal facilities). Prophylactic vaccination of laboratory personnel is not required.

Differential diagnosis: In dogs, the most common leishmaniosis clinical signs may be confounded with resemble other vector-borne diseases such as ehrlichiosis, babesiosis, or dirofilariosis, as well as systemic fungal infections and vector-borne or intestinal helminthiases autoimmune dermatoses.

Role of the vector: The phlebotomine vectors of leishmaniosis are, in some cases, only permissive to the complete development of the species of Leishmania that they transmit in nature, while in other instances they can transmit more than one species of Leishmania (Bates, 2007). There are emerging species of Leishmania infecting humans and animals for which the vector has not been identified There are some 500 known phlebotomine species, but only about 30 have been found to transmit leishmaniosis. Only the female sand fly transmits the parasites (WHO, 2010). In temperate areas the transmission of Leishmania occurs only during warm months, coinciding with the activity period of adult sand flies, but due to the variable and lengthy pre-patent period, seasonal variation in the disease incidence in dogs and humans cats, leishmaniosis may not be apparent. By contrast, in warmer regions such as much of endemic Brazil, sand fly activity and human and canine transmission of zoonotic VL is year round. Temperature affects the development time and overwintering of sand flies and the extrinsic incubation period, which is likely to be reflected in their duration of infectiousness mimic neoplastic, infectious, or immune-mediated skin disorders (Pennisi et al., 2015). In humans, differential diagnoses include tuberculosis and leprosy, especially in cutaneous or mucosal presentations.

B.  DIAGNOSTIC TECHNIQUES

Canine leishmaniosis (CanL) diagnosis must be based on an integrated approach that takes into account signalling, medical history, physical findings, clinical and pathological changes, and results of diagnostic tests. The diagnostic methods currently available are described below.

The list and fitness of each test for different purposes are given in Table 1.

Table 1. Test methods available for diagnosis of canine leishmaniosis and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection(a) | Individual animal freedom from infection prior to movement(b) | Contribute to eradication policies(c) | Confirmation of clinical cases(d) | Prevalence of infection – surveillance(e) | Immune status in individual animals or populations post-vaccination |
| Detection of the agent(a f) |  |  |  |  |  |  |
| Cytological examination | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☑☑ ☑☑☐ | ☐☐☐ | ☐☐☐ |
| Histological examination | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☑☐ | ☐☐☐ |  |
| Isolation in culture | ☐☐☐ | ☑☐☐ | ☐☐☐ | ☑☑☐ | ☐☐☐ |  |
| Molecular methods | ☑☑☐ | ☑☑☑ | ☑☐☐ ☐☐☐ | ☑☑☑ ☑☑☐ | ☑☑☐ |  |
| Detection of immune response |  |  |  |  |  |  |
| IFAT | ☑☑☑ | ☑☑☐ | ☑☑☑ ☐☐☐ | ☑☑☐ | ☑☑☑ | ☑☐☐ ☐☐☐ |
| ELISA | ☑☑☑ | ☑☑☐ | ☑☑☑ ☐☐☐ | ☑☑☐ | ☑☑☑ | ☑☐☐ ☐☐☐ |
| Direct agglutination test | ☑☐☐ ☑☑☐ | ☑☐☐ ☑☑☐ | ☐☐☐ | ☑☑☐ | ☑☑☐ | ☐☐☐ |
| Rapid immuno-chromatographic assay | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☑☐ | ☐☐☐ ☑☐☐ | ☐☐☐ |

Key: ☑☑☑ = recommended for this purpose; ☑☑☐ = recommended but has limitations; 
☑☐☐ = suitable in very limited circumstances; ☐☐☐ = not appropriate for this purpose.
PCR = polymerase chain reaction; IFAT = Indirect fluorescent antibody test; ELISA = enzyme-linked immunosorbent assay.
(a)See Appendix 1 of this chapter for justification table for the scores given to the tests for this purpose.
(b)See Appendix 2 of this chapter for justification table for the scores given to the tests for this purpose.
(c)See Appendix 3 of this chapter for justification table for the scores given to the tests for this purpose.
(d)See Appendix 4 of this chapter for justification table for the scores given to the tests for this purpose.
(e)See Appendix 5 of this chapter for justification table for the scores given to the tests for this purpose.
(a f)A combination of agent identification methods applied on the same clinical sample is recommended.

Although diseases caused by Leishmania spp. are well-documented in dogs and humans, their occurrence in cats has historically received less attention. Felines were once thought to be more resistant to Leishmania infections; however, numerous studies over recent decades have established that cats are indeed susceptible and capable of transmitting the parasite to sand fly vectors. Despite a growing number of case reports, there is still a notable absence of comprehensive field studies addressing clinical treatment and management. These developments underscore the significance of feline leishmaniosis (FeL) in veterinary medicine and its relevance to the One Health perspective on leishmaniosis. FeL generally follows a chronic and progressive course. Common clinical signs include skin and mucocutaneous lesions – especially ulcers and nodules on the head and limbs – as well as lymph node enlargement. Uveitis is a frequently observed eye lesion, while oral nodules may appear on the tongue or gums. Recently, unusual cases involving respiratory disease, chronic nasal discharge, and obstructive masses have been described. Other rare manifestations include chronic diarrhoea, mastitis, and panniculitis, all confirmed to involve L. infantum.

1.	Diagnostic objectives for feline leishmaniosis (FeL)

The primary goal of diagnosis is to confirm whether Leishmania infantum is the cause of illness in cats showing clinical signs or laboratory abnormalities consistent with FeL. Quantitative serological tests can support diagnosis when high antibody levels – significantly above the established cut-off – are present in cats with relevant exposure risk and compatible clinical signs. Nonetheless, serology alone is insufficient, and further confirmation through cytological examination is essential. Cytology of affected tissues (e.g. skin, mucosa, lymph nodes, spleen, or lesions found through imaging or endoscopy) can reveal characteristic changes such as lymphoid hyperplasia or inflammatory patterns (neutrophilic, macrophagic, or lymphoplasmacytic). The direct observation of Leishmania amastigotes is considered definitive for infection. Cytology also helps identify potential coexisting conditions. Depending on the case, histopathology and immunohistochemical staining for Leishmania may be necessary. In cats that test negative or weakly positive for antibodies and do not show tissue lesions, polymerase chain reaction (PCR) or cytological evaluation of bone marrow, lymph nodes, or spleen can help detect the parasite. Importantly, any concurrent diseases must be considered to determine whether L. infantum is the actual cause of clinical signs or merely an incidental infection. Currently, there are no validated rapid diagnostic (point-of-care) tests for detecting anti-Leishmania antibodies in cats.

FeL diagnosis must be based on an integrated approach that takes into account signalling, medical history, physical findings, clinical and pathological changes, and results of diagnostic tests. The diagnostic methods currently available are described below.

The list and fitness of each test for different purposes are given in Table 2.

Table 2. Test methods available for diagnosis of feline leishmaniosis and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies(a) | Confirmation of clinical cases(a) | Prevalence of infection – surveillance(a) | Immune status in individual animals or populations post-vaccination(a) |
| Detection of the agent(b) |  |  |  |  |  |  |
| Cytological examination | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☑☐ | ☐☐☐ | ☐☐☐ |
| Histological examination | ☐☐☐ | ☐☐☐ |  | ☑☑☐ | ☐☐☐ |  |
| Isolation in culture | ☐☐☐ | ☐☐☐ |  | ☑☐☐ | ☐☐☐ |  |
| Molecular methods | ☐☐☐ | ☐☐☐ |  | ☑☑☑ | ☑☑☐ |  |
| IFAT | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☑☐ | ☑☑☐ | ☑☐☐ |
| ELISA | ☐☐☐ | ☐☐☐ |  | ☑☑☐ | ☑☑☐ | ☑☐☐ |

Key: ☑☑☑ = recommended for this purpose; ☑☑☐ = recommended but has limitations; 
☑☐☐ = suitable in very limited circumstances; ☐☐☐ = not appropriate for this purpose.
PCR = polymerase chain reaction; IFAT = Indirect fluorescent antibody test; ELISA = enzyme-linked immunosorbent assay.
(a)See Appendix 1 of this chapter for justification table for the scores given to the tests for this purpose.
 a)A combination of agent identification methods applied on the same clinical sample is recommended.

1.	Detection of the agent

1.1.	Cytological examination

Cytological examination allows the presence of amastigotes in macrophages or extracellular fluid to be highlighted after appropriate staining (May Grunwald–Giemsa staining). Amastigote are small intracellular rounded or oval body, 1.5–3 × 2.5–6.5 μm in size, found in vacuoles within the cytoplasm of the macrophages. There is no free flagellum. The organism has a relatively large nucleus and a kinetoplast consisting of a rod-like body and a dot-like basal body.

The cytological investigation should therefore be performed on the following samples:

i)	Papular, nodular and ulcerative skin lesions: sampling by fine needle aspiration or impression smear; ischemic ulcerative lesions may, however, be negative;

ii)	Bone marrow and lymph nodes in the presence of clinical signs or clinical pathological changes referable to the involvement of parasites (anaemia, lymphadenomegaly, etc.);

iii)	Other locations: biological fluids taken from sites with lesions (e.g. synovial fluid in the case of arthritis/polyarthritis, cerebrospinal fluid in the case of neurological signs, etc.). In the absence of sampling lesions, the organs or tissues in which parasites are most likely to be found are represented, in decreasing order of diagnostic sensitivity, by spleen, bone marrow, lymph node and blood (Mylonakis et al., 2005; Saridomichelakis et al., 2005).

1.1.1.	Precautions

Splenic aspiration is not recommended due to the high risk of life-threatening bleeding and should be replaced by bone marrow aspiration, which is safer and diagnostically acceptable.

1.1.2.	Interpretation

A cytological diagnosis should be considered positive when amastigotes are clearly visualised within macrophages under high magnification fields; however, confirmation by molecular methods is recommended in equivocal cases.

In the case of a negative cytological result, the material used for cytology can be stored and sent to the laboratory for testing by polymerase chain reaction (PCR) (see Section B.1.4 Molecular methods – detection of nucleic acids). Cytological examination is supported by extensive field use and empirical performance data; however, it has not been formally validated in accordance with chapter 1.1.6. The specificity of microscopy for the diagnosis of visceral leishmaniosis is high, but its sensitivity varies according to the sampled tissues: 93–99% for the spleen, 52–85% for bone marrow, and 52–58% for lymph node aspirates. However, splenic aspiration is not recommended, given the very high risk of life-threatening bleeding. Bone marrow aspiration is less sensitive but safer and is currently considered the best method for obtaining a sample of tissue to analyse.

1.2.	Histological examination

The parasite can be highlighted in sections of lesions stained with haematoxylin-eosin. In association with the parasite, the CanL-compatible alterations can also be highlighted, represented by granulomatous inflammation and/or vasculitis affecting different organs, ischaemic dermatopathies, lymphoplasmacytic dermatitis of the dermo-epithelial junction, lymphoid hyperplasia of the spleen and lymph nodes. The use of histological examination is always advisable when, despite a negative cytological examination, the strong suspicion of CanL persists, especially in the presence of dermatitis and in cutaneous forms characterised by focal lesions.

1.2.1.	Interpretation

Histological evidence of Leishmania amastigotes or compatible inflammatory changes should be considered supportive but not confirmatory in the absence of direct parasite detection. In such cases, confirmation using specific immunohistochemical labelling or molecular techniques is necessary.

If histological alterations such as those described above are detected in haematoxylin & eosin-stained sections, but without detectable parasites it is advisable to proceed with immunohistochemical staining for Leishmania antigens. If this approach is also negative, the biopsy sample can be used for genetic analyses (PCR, sequencing, loop-mediated isothermal amplification) (see Section B.1.4 Molecular methods – detection of nucleic acids) (Muller et al., 2003; Roura et al., 1999a).

1.2.2.	Validation status

Histological examination is widely used and internationally recognised in diagnostic practice; however, its sensitivity is variable, and confirmatory testing is recommended to support diagnosis in ambiguous cases.

1.3.	Isolation in culture

Isolation in culture is the most specific test because the development in culture of vital promastigotes is solely attributable to the genus Leishmania in the case of samples taken in endemic areas of the Old World Africa and Eurasia. The parasitological investigation should be performed on the following samples: lymph node aspirate, bone marrow aspirate, skin scrapings and biopsies. In VL, blood can also be used (by taking the buffy coat), with reduced sensitivity. However, isolation in culture has the disadvantage of requiring long execution times and is performed only in specialised laboratories. The choice of the isolation and culture methods will depend on the immediate circumstances and on the technical capability and experience of the laboratory staff (WHO, 2010). Unfortunately, there is still no ‘universal’ culture medium in which all the different leishmanias will grow easily, and it is almost impossible to predict which medium will be best suited to the growth of a particular isolate of Leishmania. Individual laboratories have to find the most suitable medium among biphasic blood agar media and tissue culture media supplemented with fetal calf serum (Evans, 1987). When attempting primary isolation of unknown organisms, a blood agar-based medium should be used – preferably NNN medium (Novy, McNeil and Nicolle), otherwise brain–heart infusion (BHI) agar medium or EMTM (Evans’ modified Tobie’s medium) should be used. For bulk cultivation of established isolates, suitable media are reported in Section B.1.3 below (see Evans, 1987 for media composition). The organisms from patients with chronic CL and MCL can be very difficult to cultivate. The parasites sometimes die when subcultured, even when the initial isolation is successful. This seems especially common when the initial isolation has been into a rich medium. Often this can be overcome if subcultures are made into less nutritionally rich media, such as NNN, or one of the semisolid media such as ‘sloppy Evans’ or semisolid Locke blood agar. There are many references available offering new alternative culture media to be used for cultivation of the parasite (Castelli et al., 2014; Santarém et al., 2014). Recent comparative studies (e.g. Castelli et al., 2014) have evaluated the growth performance of Leishmania spp. in conventional versus modified culture media (e.g. RPMI-PY), providing useful evidence for media selection and culture optimisation under different laboratory conditions.

Validation status: Isolation in culture is recognised as a reference method for specificity, supported by extensive use and comparative performance data. Although it has not undergone formal validation in accordance with chapter 1.1.6, available experimental evidence – such as that provided by Castelli et al. (2023) – supports its reliability when performed under standardised conditions. Sensitivity remains variable and depends on sample quality, parasite load, and laboratory expertise.

1.4.	Molecular methods – detection of nucleic acids

Molecular methods for the detection of Leishmania nucleic acids include PCR and real-time PCR. These methods are widely adopted for both diagnosis and species identification, given their high analytical sensitivity and specificity. Molecular assays are particularly useful when conventional parasitological methods such as cytology, histology, or culture are negative or not feasible. PCR methods are available for diagnosis and/or identification of Leishmania from different types of human and animal samples. The molecular investigation should be performed on the following samples in decreasing order of sensitivity: bone marrow/lymph node, skin, conjunctiva, buffy coat, peripheral blood, conjunctiva. In resistant dogs, Leishmania inoculation may not be followed by parasite dissemination therefore, in endemic areas, a positive PCR result on a skin sample in the absence of skin lesions does not necessarily mean that the dog is infected and will develop infection (Gradoni, 2002). Similarly bone marrow PCR positives may subsequently test negative (Oliva et al., 2006). It is always better to use fresh or frozen material or material fixed in 95% ethyl alcohol. Formalin-fixed or paraffin-fixed samples can be used but give lower diagnostic yields.

Essentially, techniques developed either to identify established isolates of Leishmania or to detect organisms from several samples, include: (a) digestion of material with proteinase K and DNA extraction. These steps can be either performed using in-house protocols and reagents, or by commercial kits that are widely available; (b) standard PCR amplification using oligonucleotide sequences (primers) selected from the small-subunit rRNA gene (Mathis & Deplazes, 1995), kinetoplast DNA minicircles (Maarten et al., 1992), or other highly repetitive genomic DNA sequences (Bulle et al., 2002; Piarroux et al., 1993); (c) analysis of amplification products by 1–2% agarose gel. PCR is a very sensitive method, especially if the PCR targets are “multi-copy” genomic sequences, those present in high numbers in every single parasite, such as the kinetoplast minicircles DNA (Cortes et al., 2004). Precaution: In resistant dogs, Leishmania DNA may be detected in the skin in the absence of disseminated infection; therefore, positive PCR results in skin without lesions should be interpreted with caution (Gradoni, 2002).

The three most used techniques are:

i)	Conventional or traditional PCR: Leishmania DNA is amplified using a pair of primers (complementary base sequences to the target sequence contained in Leishmania DNA); (Lachaud et al., 2002; Muller et al., 2003);

ii)	Nested PCR: a modification of traditional PCR, more sensitive but less specific, as increasing the number of steps tends to increase the risk of contamination by foreign DNA and, therefore, of false positive results (Fisa et al., 2001; Roura et al., 1999b);

iii)	Real-time PCR (quantitative): the use of fluorescent molecules or probes makes it possible to quantify the number of DNA copies present in a biological sample. Real-time PCR has a sensitivity similar to the nested PCR, but if performed with ‘closed’ systems, it is more specific because the sample undergoes a smaller number of manipulations and is therefore less prone to contamination. Real-time PCR can also provide information useful in the monitoring phase, e.g. number of parasites (Manna et al., 2008).

Studies have also demonstrated the potential of loop-mediated isothermal amplification (LAMP) as a point of care diagnostic technique for CanL particularly in resource limited endemic areas (Nzelu et al., 2019).

1.4.1.	Extraction of nucleic acids

DNA should be extracted using validated procedures, either through in-house protocols (e.g. proteinase K digestion followed by phenol-chloroform or silica-based purification) or through commercial kits. The quality and quantity of extracted DNA should be assessed (e.g. spectrophotometrically) to ensure suitability for amplification. Where necessary, internal amplification controls should be included to detect PCR inhibition.

1.4.2.	Real-time PCR (quantitative PCR)

Several assays for diagnosing leishmaniasis provide only qualitative results (positive/negative), leveraging real-time PCR to reduce analysis time and contamination risk, and are often used for genotyping. Other assays aim to quantify parasite load through absolute or relative quantification, typically using high-copy targets like 18S rRNA or kDNA minicircle sequences. The accuracy of these assays depends on knowing the copy number of the target per cell and its consistency across species or strains. While kDNA copy number can vary among species or isolates, it remains stable within a strain or during patient monitoring, making real-time PCR based on this target reliable for tracking parasitaemia and relapses. The use of real-time PCR in leishmaniasis diagnosis has led to highly sensitive and specific methods that support timely and appropriate treatment (Galluzzi et al., 2018). Compared with conventional techniques, real-time PCR offers advantages such as automation, rapid processing, and high throughput. However, a universally standardised assay that combines parasite quantification with species genotyping in specific regions is still missing. This is due to the lack of agreement on procedures such as sample collection, DNA extraction, target selection, and normalisation strategies. Given the variability among existing assays, which each have their own strengths and weaknesses, no single method is ideal. A combined strategy using multiple real-time PCR assays may improve both sensitivity and specificity. For initial screening, high-copy targets like kDNA minicircles are preferred due to their low detection limits, though their performance can vary depending on species or subgenus. Sequential or parallel assays may be necessary to detect different taxa and estimate parasite load, followed by more specific real-time PCR assays for species identification. While cost-saving methods like SYBR Green with melting or HRM analysis can be used, they limit multiplexing. In low-parasite samples, a nested PCR step may improve target detection and result reliability. Despite advances, the high cost of real-time PCR platforms and reagents continues to limit its routine use in endemic, low-resource settings, although increasing miniaturisation and affordability, may help expand its adoption.

| Pathogen/ target gene | Primer/probe (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Castelli et al., 2021. GenBank Accession No.: AJ131633 [116 bp] |  |  |  |
| Leishmania donovani complex /kDNA | Fwd: TGC-GTC-CTG-CGT-ATG-GCA-CC Rev: GGC-TGG-CAT-GCC-CGA-ATA-GCA Probe: TTT-TTC-GCG-AAT-GGG-GGA-TGT-GG | 400 nM 300 nM | 50 cycles of: 95°C/15 sec and 58°C/60 sec |
| Method 2: Marfurt et al., 2003; GenBank Accession No.: Z35271 [120 bp] |  |  |  |
| Leishmania spp./kDNA | Fwd: CTT-TTC-TGG-TCC-CGC-GGG-TAG-G Rev: CCA-CCT-GGC-CTA-TTT-TAC-ACC-A Probe: TTT-TCG-CAG-AAC-GCC-CCT-ACC-CGC | 400 nM 200 nM | 50 cycles of: 95°C/15 sec, 58°C/60 sec |
| Method 3: Wortmann et al., 2001; GenBank Accession No.: AF291436 [150 bp] |  |  |  |
| Leishmania spp./18S rRNA | Fwd: AAG-TGC-TTT-CCC-ATC-GCA-ACT Rev: CGC-CGA-AGT-TGA-GGC-AAT-AA Probe: CGT-GTC-GCC-CTG-GAT-GTC-GG | 400 nM 200 nM | 50 cycles of: 95°C/15 sec, 58°C/60 sec |

1.4.3.	Conventional PCR

Conventional PCR is a fundamental amplification technique widely used for the detection of Leishmania DNA in clinical or entomological samples. It relies on three key cyclic steps: denaturation of the DNA template (typically at 94–95°C) to separate the strands, annealing of sequence-specific primers to their complementary targets (usually between 50–65°C), and extension mediated by a thermostable DNA polymerase (commonly at 72°C). The reaction is typically carried out for 30–40 cycles and may include an initial denaturation step and a final extension phase. Amplified products are subsequently visualised by agarose gel electrophoresis. In the context of leishmaniasis diagnostics, the most commonly used molecular targets in conventional PCR include:

i)	Method 1-kDNA: a minicircle region of kinetoplast mitochondrial DNA, present in high copy number, enabling highly sensitive detection (amplicon ~120 bp);

ii)	Method 2-ITS-1: the internal transcribed spacer 1 of the ribosomal DNA cluster, used for both detection and species discrimination through restriction fragment length polymorphism (RFLP) analysis (amplicon ~320 bp);

iii)	Method 3-18S rRNA: a highly conserved ribosomal gene, suitable for genus-level detection of Leishmania (amplicon ~150 bp).

| Pathogen/ target gene | Primer (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Schönian et al., 2003; GenBank: AF308682; ~320 bp |  |  |  |
| Leishmania spp./ITS-1 | Fwd: CTG-GAT-CAT-TTT-CCG-ATG Rev: TGA-TAC-CAC-TTA-TCG-CAC-TT | 400 nM | 35 cycles of: 94°C/30 sec, 55°C/30 sec, 72°C/1 min |
| Method 2: Marfurt et al., 2003; GenBank: Z35271; 120 bp |  |  |  |
| Leishmania spp./kDNA | Fwd: CTT-TTC-TGG-TCC-CGC-GGG-TAG-G Rev: CCA-CCT-GGC-CTA-TTT-TAC-ACC-A | 400 nM | 40 cycles of: 94°C/30 sec, 60°C/30 sec, 72°C/30 sec |
| Method 3: Wortmann et al., 2001; GenBank: AF291436; 150 bp |  |  |  |
| Leishmania spp./18S rRNA | Fwd: AAG-TGC-TTT-CCC-ATC-GCA-ACT Rev: CGC-CGA-AGT-TGA-GGC-AAT-AA | 400 nM | 40 cycles of: 95°C/15 sec, 58°C/60 sec |

1.5.	Molecular characterisation [formerly Sections B.3 and B.3.2]

Morphological identification enables identification of Leishmania at the genus level, but not at the species or subspecies level. Several techniques may be used to identify the different Leishmania species, subspecies or strains. Fifteen recognised Leishmania Identification Centres were listed by WHO in 2010.

Different molecular techniques have been developed that allow Leishmania characterisation at the species or strain level such as (a) PCR-RFLP analysis, in which the PCR products are digested by appropriate restrictions enzymes and the resulting restriction fragment patterns are analysed (Marfurt et al., 2003); (b) multi-locus microsatellite typing (MLMT) (Kuhls et al., 2011) and (c) multi-locus sequence typing (MLST) (Mauricio et al., 2006). In these cases, repeated and polymorphic DNA sequences are targeted, such as ribosomal internal transcribed spacer 1 (ITS1), cysteine protease B, kinetoplast DNA minicircles, surface glycoprotein 63, heat-shock protein 70, mini-exons and microsatellites.

1.6.	Isoenzyme characterisation [formerly Section B.3.1.]

Also known as multi-locus enzyme electrophoresis (MLEE), isoenzyme characterisation is the reference method for species identification (WHO, 2010), although this technique requires cultivation of a large number of parasites (5 × 109–1 × 1010). The principles of enzyme electrophoresis are as follows: soluble enzymes are extracted from the organisms grown in media for bulk cultivation (BHI medium, MEM/FCS/EBLB [minimal essential medium/fetal calf serum/Evans’ blood lysate broth] medium, Schneider’s Drosophila medium). A small amount of the extract is then placed in an inert supporting substance, the matrix, containing a buffer at a fixed pH. The matrix is usually starch gel, but it could equally well be absorbent cellulose acetate, acrylamide or agarose. The pH of the buffer in the matrix is usually chosen so that the isoenzymes are negatively charged. A direct current is passed through the matrix carried by the ions in the buffer. When electrophoresis is completed, most proteins will have moved in the matrix towards the anode, depending on the amount of negative charge. If stained at this stage with a general protein stain, many bands will be seen. However, the high substrate and cofactor specificity of enzymes make it possible to stain only these proteins. Hence, the electrophoretic mobility of one particular enzyme can be compared among several organisms. The stained matrix with its collection of stained isoenzyme bands is known as a zymogram. Normally one or more extracts from reference organisms, in which the enzyme banding patterns are well documented, are included in the gel to aid the interpretation of results. Most enzymes used for characterisation purposes are stained by methods incorporating a dehydrogenase reaction. At least 12 enzymes should be examined; organisms showing identical zymograms are classified into zymodemes of a given species.

2.	Serological tests

Seroconversion occurs within a few months of infection: on average 5 months (range 1–22) for natural infections and 3 months (range 1–6) for experimental infections (Moreno & Alvar, 2002). The diagnostic techniques available vary. Some, such as Western blotting, while showing excellent diagnostic performance, are not used on a large scale because of time constraints and cost. The most widely available are indirect fluorescent antibody test (IFAT), enzyme-linked immunosorbent assay (ELISA), direct agglutination tests (DAT), and the rapid immunochromatographic assay (dipstick or strip-test).

2.1.	Indirect fluorescent antibody test

The IFAT is widely used because it is easy to perform. The test is genus specific, although significant cross-reactions have been reported in individuals infected with Trypanosoma cruzi. For these subjects, serological tests based on specific recombinant Leishmania antigens would be more appropriate (see Sections B.2.2.2 and B.2.2.4 below). In Chagas’ disease-free areas, the IFAT for the diagnosis of clinical VL or CanL has a sensitivity of 96% and specificity of 98%, which is similar to the ELISA. Although amastigotes from frozen sections or smears of infected organs can be used as antigen, cultured promastigotes represent the commonest antigen source.

2.1.1.	Antigen preparation

i)	Harvest 3–4 ml of the liquid media of a 3-day-old culture showing flourishing promastigote growth (see Section B.1 for culture media).

ii)	Wash the organisms three times with phosphate-buffered saline (PBS), 0.16 M, pH 7.2–7.4, by centrifugation at 350 g for 15 minutes at room temperature.

iii)	Resuspend the final cell pellet in PBS and adjust the promastigote concentration to approximately 4 × 106/ml with the aid of a haemocytometer.

iv)	Distribute 30 µl of the promastigote suspension on to each circle of a multi-spot slide and allow to dry at room temperature.

v)	Fix the promastigotes in cold acetone for 10 minutes, then put the slides into a plastic box and keep in a deep freezer (–35°C) for no longer than 2–3 months.

2.1.2.	Test procedure

i)	Wash the frozen antigen-coated slides in PBS and allow to dry at room temperature.

ii)	Inactivate the sera for 30 minutes in a water bath at 56°C.

iii)	Make doubling dilutions of test sera from 1/80 to 1/10,240 for human VL, and from 1/40 to 1/5120 for CanL. Positive and negative control sera, at dilutions of 1/80 and 1/160 for human VL, and of 1/40 and 1/80 for CanL, are also included in the test. No standard sera are available, but internal standards should be prepared and titrated.

iv)	Distribute 30 µl of diluted serum samples on to each slide circle and incubate for 30 minutes at 37°C.

v)	Remove the serum samples by vigorous washing in PBS, followed by immersion of the slides in PBS for 10 minutes. Allow the slides to dry.

vi)	Distribute 30 µl of diluted fluorescein isothiocyanate (FITC)-conjugated anti-immunoglobulin on to each slide circle and incubate for 30 minutes at 37°C. FITC-conjugated anti-human and anti-dog immunoglobulins are commercially available. Follow the instructions for the appropriate dilution.

vii)	Repeat step v and mount with a cover-slip in a few drops of PBS/glycerol (50% [v/v] of each).

viii)	Read the slides under a fluorescent microscope. The highest dilution showing fluorescent promastigotes is taken to be the antibody titre.

2.1.3.	Interpretation of the results

In acute human VL, the threshold titre usually ranges from 1/80 to 1/160. Asymptomatic or subclinical human disease usually results in titres below 1/80. In CanL the threshold titre ranges from 1/40 (indicative of exposure but not necessarily of established infection) to 1/160 (indicative of established infection), whereas a titre of 1/320 or above can be indicative of the disease in clinically suspected dogs (Paltrinieri et al., 2010). As regards other domestic mammals (e.g. cats) no standardised IFA threshold limits are available. As IFAT performance may vary in different laboratories, it is better for each laboratory to define its own threshold titre using defined positive and negative reference sera. In FeL, interpretation of IFAT results is more challenging due to the absence of standardised cut-off values. However, a titre of 1/40 may be considered suspicious for exposure, while titres ≥1/80 are generally regarded as positive and consistent with infection. It is important to note that antibody titres alone are insufficient for a definitive diagnosis in cats. Cats develop predominantly a Th1-type immune response mediated by IFN‑γ; however, in the presence of comorbidities (e.g. FIV, FeLV), a cytokine switch toward a Th2 profile may occur, resulting in disease progression. Positive IFAT findings should therefore be interpreted in light of clinical presentation and confirmed by PCR on appropriate samples. In seronegative or low-titre cats without evident clinical lesions, parasite detection may still be possible through cytological examination or PCR analysis of bone marrow, lymph node, or splenic samples.

2.2.	Enzyme-linked immunosorbent assay

The ELISA can be carried out on serum or on a measured volume of blood. The blood is collected by needle-prick on to suitable absorbent paper strips and allowed to dry. The sample is eluted and tested at a single dilution previously determined to give an acceptable sensitivity and specificity. This test can be used for seroepidemiological surveys under field conditions.

In the classical method, the antigen is prepared as follows: promastigotes harvested from cultures are washed four times with PBS, 0.16 M, pH 7.2, at 1000 g for 15 minutes. The packed promastigotes are resuspended in twice their volume of distilled water, and then sonicated at medium amplitude in an ice bath. The suspension is left at 4°C overnight to allow the proteins to come into solution. After a final centrifugation at 4000 g for 10 minutes to eliminate the cellular debris, the overlay, representing the concentrated soluble antigen, is dispensed into vials and stored at –20°C until required. For use in the test, it is reconstituted with PBS to the predetermined optimal protein concentration (around 20 µg/ml) as measured by Lowry’s method. Enzyme (usually horseradish peroxidase)-conjugated reagents consist of anti-dog goat immunoglobulins or Protein A (Hamarsheh et al., 2012).

The ELISA is useful for the diagnosis of Old and New World leishmaniosis. Cross-reaction with Babesia canis and Trypanosma spp. has been reported (Gottstein et al, 1988). According to the Leishmania strain used, sensitivity of the ELISA can range from 86% to 99%.

A detergent-soluble promastigote antigen has been used in ELISA instead of the crude lysate, for the diagnosis of CanL. The detergent was Triton X-100 and the proteic extract was protected with protease inhibitors. Using this method, ELISA sensitivity increased to 99.5%, while its specificity was comparable with that of the IFA test (97%) (Mancianti et al., 1995).

The ELISA methods described above are based on crude antigenic preparations. A recombinant antigen from a cloned protein of L. infantum, called rK39, has been reported to be highly reactive to sera from human and canine visceral leishmaniosis cases when run in an ELISA format. Using 25–50 ng of the antigen, 99% specificity and sensitivity was consistently found for dogs with parasitologically proven disease (Scalone et al., 2002). In HIV-positive patients, K39-ELISA showed higher sensitivity (82%) than the IFA test (54%) (Houghton et al., 1998). The K39 antigen, which shows remarkable stability and reproducibility, is commercially available. More recently, a K9-K39-K26 recombinant chimeric antigen has been evaluated as a single ELISA protocol for serological diagnosis of both human and canine Leishmania infections (Daprà et al., 2008). In dogs, test specificity and sensitivity were reported to be 99.5% and 98.5%, respectively, with high concordance (K value: 0.98) with standard IFA test.

2.3.	Direct agglutination test

The DAT has been described for the diagnosis of VL and CanL. After test improvement, DAT has been validated as a specific and sensitive assay for field investigations (Boelaert et al., 1999; Cardoso et al., 2004; Ozbel et al., 2000). The antigen consists of promastigotes harvested from cultures, washed in PBS, pH 7.2, treated with 0.4% trypsin (for 45 minutes at 37°C and then washed again), and stained with 0.02% Coomassie brilliant blue. Twofold serial dilutions of serum in PBS are made in V-bottomed microtitre-plate wells; 50 µl of antigen preparation is added to each well, and the plate is then carefully shaken by hand and left for 18 hours at room temperature. The test is read visually against a white background. Positive reactions are indicated by typical light-blue aggregates, while negative samples give a clear sharp-edged blue spot.

A modified DAT for detection of specific anti-leishmanial antibodies in canine reservoir hosts is considered to be highly suitable for wide-scale epidemiological and ecological field work and diagnosis of CanL, having 100% sensitivity and 98.9% specificity (Harith et al., 1988; 1989). The reliability of the test was improved by treating the test sera with 0.2 M 2-mercaptoethanol and incubating them at 37°C.

2.4.	Rapid immunochromatographic assay (dipstick or strip-test)

The rapid immunochromatographic assay is easy to carry out and can be performed in veterinary clinics, but has lower diagnostic sensitivity than the ELISA and IFAT: specificity is medium-high but sensitivity is low (30–70%) (Gradoni, 2002; Mettler et al., 2005; Reithinger et al., 2002) and therefore it can give false negative results. When there is a strong suspicion of a false negative result using a rapid immuno-chromatographic assay, one of the other serology tests must be used. The value of a positive result is limited because the test does not allow antibody titre to be evaluated, however positive results can be useful for identifying individuals with parasite dissemination and for monitoring therapeutic response.

A rapid immunochromatographic assay using rK39 as antigen (K39 dipstick or strip-test, commercially available) has been evaluated in different endemic settings of VL. The nitrocellulose membrane of the test kit holds an absorbent pad at one end, a band of immobilised anti-protein A antibody (used to detect IgG) at the other (control region), and a band of rK39 antigen in the middle (test region). A protein-A-colloidal gold conjugate is used as the immunochromatographic detection reagent. One small drop (20 µl) of the serum to be examined is placed on the absorbent pad before two large drops (100 µl) of test buffer are added to the pad, and the mixture is allowed to migrate up the strip by capillary action. After 2–10 minutes, the result is positive if two distinct red lines appear (one in the test region and another in the control region), it is negative when no red line appears in the test region, and it is invalid if the control line fails to appear.

In clinical cases of human VL, two commercial brands of K39 dipstick showed 99–100% sensitivity and 95–100% specificity in India (Sundar et al., 2006), 90% sensitivity and 100% specificity in Brazil (Carvalho et al., 2003), and 100% sensitivity and specificity in the Mediterranean basin (Brandonisio et al., 2002). In dogs with both asymptomatic and symptomatic cases of CanL, the sensitivity and the specificity of the K39 dipstick were 97% and 100%, respectively (Otranto et al., 2005).

3.	Leishmania species, subspecies or strains identification

Morphological identification enables identification of Leishmania at the genus level, but not at the species or subspecies level. Several techniques may be used to identify the different Leishmania species, subspecies or strains. Fifteen recognised Leishmania Identification Centres were listed by WHO in 2010.

3.1.	Isoenzyme characterisation

Also known as multi-locus enzyme electrophoresis (MLEE), isoenzyme characterisation is the reference method for species identification (Rioux et al., 1990; WHO, 2010), although this technique requires cultivation of a large number of parasites (5 × 109–1 × 1010). The principles of enzyme electrophoresis are as follows: soluble enzymes are extracted from the organisms grown in media for bulk cultivation (BHI medium, MEM/FCS/EBLB [minimal essential medium/fetal calf serum/Evans’ blood lysate broth] medium, Schneider’s Drosophila medium). A small amount of the extract is then placed in an inert supporting substance, the matrix, containing a buffer at a fixed pH. The matrix is usually starch gel, but it could equally well be absorbent cellulose acetate, acrylamide or agarose. The pH of the buffer in the matrix is usually chosen so that the isoenzymes are negatively charged. A direct current is passed through the matrix carried by the ions in the buffer. When electrophoresis is completed, most proteins will have moved in the matrix towards the anode, depending on the amount of negative charge. If stained at this stage with a general protein stain, many bands will be seen. However, the high substrate and cofactor specificity of enzymes make it possible to stain only these proteins. Hence, the electrophoretic mobility of one particular enzyme can be compared among several organisms. The stained matrix with its collection of stained isoenzyme bands is known as a zymogram. Normally one or more extracts from reference organisms, in which the enzyme banding patterns are well documented, are included in the gel to aid the interpretation of results. Most enzymes used for characterisation purposes are stained by methods incorporating a dehydrogenase reaction. At least 12 enzymes should be examined; organisms showing identical zymograms are classified into zymodemes of a given species.

3.2.	Molecular characterisation

Different molecular techniques have been developed that allow Leishmania characterisation at the species or strain level such as (a) PCR-restriction fragment length polymorphism (RFLP) analysis, in which the PCR products are digested by appropriate restrictions enzymes and the resulting restriction fragment patterns are analysed (Marfurt et al., 2003; Minodier et al., 1997; Montalvo et al., 2012; Volpini et al., 2004); (b) multi-locus microsatellite typing (MLMT) (Kuhls et al., 2011) and (c) multi-locus sequence typing (MLST) (Mauricio et al., 2006). In these cases, repeated and polymorphic DNA sequences are targeted, such as ribosomal internal transcribed spacer 1 (ITS1), cysteine protease B, kinetoplast DNA minicircles, surface glycoprotein 63, heat-shock protein 70, mini-exons and microsatellites (Reithinger & Dujardin, 2007; Schönian et al., 2008).

c.  REQUIREMENTS FOR VACCINES AND DIAGNOSTIC BIOLOGICALS

1.	Vaccines Background

There are three approved patent-protected vaccines against CanL, and two vaccines initially marketed are no longer available. The first, launched in Brazil, was based on a fucose-mannose ligand enriched with glycoprotein 63 and formulated with a saponin adjuvant. The second, the first to be introduced in Europe, consisted of purified excreted/secreted antigens of L. infantum combined with a saponin-like adjuvant. The first patented vaccine Leish-Tec® (Ceva Santé Animale) currently on the market was developed in Brazil. Production guidelines and requirements were approved by the Brazilian Ministry of Agriculture, Livestock and Food. The vaccine contains the recombinant A2 antigen of L. donovani in combination with a saponin adjuvant. The second vaccine is licensed in Europe. The only currently available vaccine in Europe Letifend® (Leti Pharma laboratories), contains the active ingredient “protein Q”, a recombinant protein composed of five different antigens from L. infantum, and does not require an additional adjuvant. The initial vaccination consists of a single injection, followed by annual booster doses. This vaccine can only be administered to healthy, seronegative dogs aged 6 months or older, confirmed through a quantitative serological test. In 2023, a new DNA vaccine was approved by the European Medicines Agency, Neoleish® (CZ Vaccines S.A.U.). It is based on the non-replicative, antibiotic resistance marker-free plasmid vector pPAL, which encodes the L. infantum activated protein kinase C receptor analogue (LACK). This vaccine is administered intranasally and is indicated for healthy dogs aged six months or older. None of these vaccines prevent infection; however, they can modify the course of the disease and reduce the likelihood of progression to clinically overt leishmaniasis. Beyond these licensed vaccines, several experimental formulations, including peptide-based vaccines, viral vectors and nucleic acid platforms, have been investigated in preclinical studies, with promising but as yet non-conclusive results. More recently, mRNA-based vaccines have entered early-stage research, although none has reached clinical application in dogs.

1.2.	Outline of production and minimum requirements for vaccines

Leish-Tec® (Hertape Calier Saúde Animal, later Ceva, Brazil) is a recombinant vaccine composed of the L. donovani amastigote A2 protein and saponin as an adjuvant. It was licensed in Brazil in 2007 and remains the only approved vaccine for canine leishmaniasis (CanL) in the country. The vaccination protocol includes three subcutaneous doses at 21-day intervals for dogs aged ≥4 months, followed by annual boosters (Ghosh et al., 2001). Preclinical studies in BALB/c mice demonstrated significant protection following immunisation, evidenced by reduced hepatic parasite burdens (Ghosh et al.,2001). The vaccine elicited a strong antigen-specific humoral response and a mixed Th1/Th2 cellular profile. Splenocytes from vaccinated animals showed significantly elevated IFN-γ production in response to A2 stimulation, with no significant differences in IL-4 levels compared to controls (Ghosh et al.,2001). In the first large-scale field trial (n>500), dogs were randomly allocated to vaccine and control groups. Infection was monitored by serology (crude antigen ELISA, IFAT), parasitological confirmation, and xenodiagnosis (subsample, n=154). Vaccine efficacy (VE) varied by endpoint: VE=71.4% (parasitological diagnosis), VE=58.1% (parasitology + xenodiagnosis), and VE=80.8% (A2 seroconversion). However, xenodiagnosis did not confirm reduced infectiousness to sand flies (Regina-Silva et al., 2016).

LetiFend® (Laboratorios LETI, Spain) is a recombinant vaccine licensed in Europe in February 2016 (Cotrina et al., 2018). It contains a chimeric antigen known as protein Q, composed of five fragments derived from four L. infantum proteins (LiP2a, LiP2b, LiP0, and histone H2A), formulated without an adjuvant. The vaccination protocol consists of a single dose followed by annual boosters and is indicated for dogs aged 6 months or older. Preclinical studies in mice demonstrated the immunogenic potential of protein Q (Molano et al., 2003). When combined with live BCG and administered intraperitoneally in a three-dose schedule, it conferred protection against L. infantum infection in both mice and dogs (Molano et al., 2003). However, due to known adverse effects associated with BCG in dogs, including local inflammation and hypersensitivity, its use as an adjuvant is discouraged (Poot et al., 2009). Subsequent experiments evaluating protein Q with six alternative adjuvants failed to demonstrate protective efficacy in dogs, suggesting that BCG may have accounted for the observed protection in earlier studies (Poot et al., 2009). In contrast, protein Q administered without adjuvants – corresponding to the commercial LetiFend® formulation – was shown to confer protective effects in dogs. A phase III field trial preceding vaccine licensure included 549 privately owned dogs from 19 kennels in endemic regions of France and Spain (Cotrina et al., 2018). Over 2 years, dogs (275 vaccinated, 274 controls) were monitored for clinical signs, antibody response to protein Q and SLA, and parasite presence in lymphoid tissues. CanL diagnosis was based on clinical signs, positive serology, and parasite detection in bone marrow or lymph nodes. By study end, 4.7% of vaccinated dogs (n=8) and 10.2% of controls (n=19) developed confirmed CanL (p=0.048), with a calculated vaccine efficacy (VE) of 72% for preventing clinical disease. The vaccine reduced the risk of developing clinical CanL by 5-fold and confirmed CanL by 9.8-fold (Cotrina et al., 2018). No adverse reactions were reported in laboratory or field evaluations (Cotrina et al., 2018) and LetiFend® did not induce false-positive results in routine L. infantum serological tests.

Neoleish® (CZ Vaccines S.A.U.) is a DNA vaccine based on the non-replicative antibiotic resistance marker-free plasmid vector pPAL, which contains an encoding gene for the L. infantum activated protein kinase C receptor analogue (LACK) formulated without an adjuvant, has been approved by the European Medicines Agency in 2023. This vaccine can only be administered via intranasal, to healthy dogs of 6 months of age or older. The efficacy of the vaccine was demonstrated in a field study where dogs were naturally exposed to L. infantum in zones with high infection pressure over a 2-year period. In laboratory studies including experimental challenge with Leishmania, the vaccine reduced the severity of the disease, including clinical signs and parasites burden in bone marrow, spleen and lymph nodes. No adverse reactions were reported in laboratory or field evaluations, and in addition, the vaccine did not induce false-positive results in routine serologic tests on L. infantum, although efficacy data are still under study

From an immunological perspective, protective efficacy against CanL is associated with a predominantly Th1-type response characterised by IFN-γ, IL-2 and TNF-α production, which activate macrophages to control intracellular parasites. Antibody responses are useful as markers of exposure but do not reliably correlate with protection, which may explain the variability observed with some vaccines, such as Leish-Tec®, that induce mixed Th1/Th2 profiles.

The introduction of vaccination also has important implications for epidemiological surveillance. While serological monitoring may be affected by vaccine-induced antibodies, LetiFend® has the advantage of not inducing false positive results in routine tests. Although none of the available vaccines are sterilising, their widespread use can lower infection pressure in canine populations, with potential indirect benefits for human health under a One Health perspective. Longitudinal studies are still required to better define their population-level impact on transmission dynamics.

All licensed vaccines have shown a good safety profile, with adverse reactions generally mild and transient. Nonetheless, continued pharmacovigilance is essential, particularly for novel DNA-based vaccines such as Neoleish®, where field experience is still limited. Looking ahead, next-generation vaccines are being designed not only to reduce clinical disease but also to decrease infectiousness to sand flies, thereby interrupting transmission cycles. Research is also expanding towards feline leishmaniosis, as cats are increasingly recognised as potential hosts, and towards the integration of vaccination with complementary measures such as the use of repellents, vector control and management of stray dog populations.

Currently there are no available laboratory-made antigens for Leishmania vaccine production. There are four licensed inactivated vaccines against CanL, which are patent-protected. The first vaccine was developed in Brazil. Outlines and requirements for production were approved by the Brazilian Ministry of Agriculture, Livestock and Food Supply. The vaccine consists of the glycoprotein-enriched fraction of L. donovani known as ‘fucose-mannose ligand’ (FML). Field studies showed about 80% clinical protection conferred by the antigen administered with QuilA saponin as adjuvant, and also good immunotherapeutic efficacy when used in sick dogs (Palatnik-de-Sousa et al., 2008). A second vaccine was also developed in Brazil, which uses the recombinant A2 antigen of L. donovani in association with a saponin adjuvant. It demonstrated 43% protection against a culture positive state in an artificial challenge model. The third vaccine is licensed in Europe. Outlines and requirements for production have been approved by the European Medicines Agency. Purified excreted-secreted proteins of L. infantum and with QA-21 saponin significantly reduces the risk of progressing to active infection or overt disease, with a clinical efficacy of 68%. In vaccinated dogs that developed disease and that were exposed to the bites of reared P. perniciosus vectors, the reduction in parasite transmission was significant when compared with matched controls. However, vaccine does not enable differentiation of vaccinated from infected animals. In addition, some safety concerns have been reported dogs vaccinated with purified excreted-secreted proteins (Oliva et al., 2014). The fourth vaccine, available in the EU, contains the active substance protein Q, which is made of different fragments of proteins from L. infantum. A dog vaccinated with recombinant protein Q from L. infantum MON-1 has five times less risk of developing clinical disease than a non-vaccinated dog. There is a lack of information concerning the interruption of Leishmania transmission by dogs vaccinated with recombinant protein Q from L. infantum MON-1 is lacking (Cotrina et al., 2018). Surveillance programmes, especially those based solely on serology in dogs should be revised to take into account the impact of vaccination and to ensure epidemiological data is interpreted appropriately.

At present, a number of promising anti-leishmanial vaccines are under experimental evaluation (Coler & Reed, 2005; Das & Ali, 2012). A chimeric antigen generated from three recombinant Leishmania antigens screened for their ability to elicit cellular immune responses (known as Leish-111f, patent-protected) and adjuvanted with monophosphoryl lipid A – stable emulsion (MPL-SE), represents the first defined vaccine for leishmaniosis in humans, having completed phase 1 and 2 safety and immunogenicity testing in healthy subjects (Coler et al., 2007). The same polyproteinic antigen and adjuvant failed to protect dogs from L. infantum infection in a phase 3 trial (Gradoni et al., 2005), while conferred some protection from disease when used as an immunotherapeutic agent in dogs with mild CanL (Trigo et al., 2010). Recently, a novel chimeric antigen generated from four recombinant antigens (KSAC, patent-protected) has been found promising for vaccine protection in both human VL and CanL (Goto et al., 2011).

2.	Diagnostic biologicals (antigens for skin tests)

As the skin test is not used for diagnosis of animal infections, and the leishmanin antigen has not been internationally standardised, no recommendations can be made by WOAH.

REFERENCES

Babakhan L., Mohebali M., Akhoundi B., Edrissian G.H. & Keshavarz H. (2009). Rapid detection of Leishmania infantum infection in dogs: a comparative study using fast agglutination screening test (FAST) and direct agglutination test (DAT) in Iran. Parasitol. Res., 105, 717–720.

Baneth G., Koutinas A.F., Solano-Gallego L., Bourdeau P. & Ferrer L. (2008). Canine leishmaniosis – new concepts and insights on an expanding zoonosis: part one. Trends Parasitol., 24, 324–330.

Baneth G., Yasur-Landau D., Gilad M. & Nachum-Biala Y. (2017). Canine leishmaniosis caused by Leishmania major and Leishmania tropica: comparative findings and serology. Parasit. Vectors, 10, 113.

Bates P.A. (2007). Transmission of Leishmania metacyclic promastigotes by phlebotomine sand flies. Int. J. Parasitol., 37, 1097–1106.

Boelaert M., El Safi S., Jacquet D., De Muynck A., Van Der Stuyft P. & Le Ray D. (1999). Operational validation of the direct agglutination test for diagnosis of visceral leishmaniasis. Am. J. Trop. Med. Hyg., 60, 129–134.

Brandonisio O., Fumarola L., Maggi P., Cavaliere R., Spinelli R. & Pastore G. (2002). Evaluation of a rapid immunochromatographic test for serodiagnosis of visceral leishmaniasis. Eur. J. Clin. Microbiol. Infect. Dis., 21, 461–464.

Brianti C., Giannetto S., Annoscia G., Maurelli M.P., Tamisier L., Weingart C. & Otranto D. (2020). Feline leishmaniosis: an emerging clinical entity. Vet. Parasitol., 283, 109161.

Bulle B., Millon L., Bart J.M., Gallego M., Gambarelli F., Portus M., Schnur L., Jaffe C.L., Fernandez-Barredo S., Alunda J.M. & Piarroux R. (2002). Practical approach for typing strains of Leishmania infantum by microsatellite analysis. J. Clin. Microbiol., 40, 3391–3397.

Castelli G., Galante A., Lo Verde V., Migliazzo A., Reale S., Lupo T., Piazza M., Vitale F. & Bruno F. (2014). Evaluation of two modified culture media for Leishmania infantum cultivation versus different culture media. J. Parasitol., 100, 228–230.

Castelli G., Bruno F., Reale S., Catanzaro S., Valenza V. & Vitale F. (2021). Molecular Diagnosis of Leishmaniasis: Quantification of Parasite Load by a Real-Time PCR Assay with High Sensitivity. Pathogens., 10, 865.

Castelli G., Oliveri E., Valenza V., Giardina S., Facciponte F., La Russa F., Vitale F. & Bruno F. (2023). Cultivation of Protozoa Parasites In Vitro: Growth Potential in Conventional Culture Media versus RPMI-PY Medium. Vet. Sci., 10, 252.

Cardoso L., Schallig H.D., Neto F., Kroon N. & Rodrigues M. (2004). Serological survey of Leishmania infection in dogs from the municipality of Peso da Regua (Alto Douro, Portugal) using the direct agglutination test (DAT) and fast agglutination screening test (FAST). Acta Trop., 91, 95–100.

Carvalho S.F., Lemos E.M., Corey R. & Dietze R. (2003). Performance of recombinant K39 antigen in the diagnosis of Brazilian visceral leishmaniasis. Am. J. Trop. Med. Hyg., 68, 321–324.

Coler R.N. & Reed S.G. (2005). Second-generation vaccines against leishmaniasis. Trends Parasitol., 21, 244–249.

Coler R.N., Goto Y., Bogatzki L., Raman V. & Reed S.G. (2007). Leish-111f, a recombinant polyprotein vaccine that protects against visceral Leishmaniasis by elicitation of CD4+ T cells. Infect. Immun., 75, 4648–4654.

Cortes S., Rolao N., Ramada J. & Campino L. (2004). PCR as a rapid and sensitive tool in the diagnosis of human and canine leishmaniasis using Leishmania donovani s.l.-specific kinetoplastid primers. Trans. R. Soc. Trop. Med. Hyg., 98, 12–17.

Cotrina J.F., Iniesta V., Monroy I., Baz V., Hugnet C., Marañon F., Fabra M., Gómez-Nieto L.C. & Alonso C. (2018). A large-scale field randomized trial demonstrates safety and efficacy of the vaccine LetiFend® against canine leishmaniosis. Vaccine, 36, 1972–1982.

Daprà F., Scalone A., Mignone W., Ferroglio E., Mannelli A., Biglino A., Zanatta R., Gradoni L. & Rosati S. (2008). Validation of a recombinant based antibody ELISA for diagnosis of human and canine leishmaniasis. J. Immunoassay Immunochem., 29, 244–256.

Das A. & Ali N. (2012). Vaccine development against Leishmania donovani. Front. Immunol., 3, 99.

Dougall A., Shilton C., Low Choy J., Alexander B. & Walton S. (2009). New reports of Australian cutaneous leishmaniasis in Northern Australian macropods. Epidemiol. Infect., 137, 1516–1520.

Esch K.J. & Petersen C.A. (2013). Transmission and epidemiology of zoonotic protozoal diseases of companion animals. Clin. Microbiol. Rev., 26, 58–85.

Evans D.A. (1987). Leishmania. In: In-Vitro Methods for Parasite Cultivation, Taylor A.E. & Baker J.R., eds. Academic Press, London, UK, 52–75.

Fisa R., Riera C., Gállego M., Manubens J. & Portús M. (2001). Nested PCR for diagnosis of canine leishmaniosis in peripheral blood, lymph node and bone marrow aspirates. Vet. Parasitol., 99, 105–111.

Galluzzi L., Ceccarelli M., Diotallevi A., Menotta M. & Magnani M. (2018). Real-time PCR applications for diagnosis of leishmaniasis. Parasit. Vectors.,11, 273.

Ghosh A., Zhang W.W. & Matlashewski G. (2001). Immunization with A2 protein results in a mixed Th1/Th2 and a humoral response which protects mice against Leishmania donovani infections. Vaccine, 20, 59–66.

Goto Y., Bhatia A., Raman V.S., Liang H., Mohamath R., Picone A.F., Vidal S.E., Vedvick T.S., Howard R.F. & Reed S.G. (2011). KSAC, the first defined polyprotein vaccine candidate for visceral leishmaniasis. Clin. Vaccine. Immunol., 18, 1118–1124.

Gottstein B., Deplazes P., Arnold P., Mehlitz D., Reiter I. & Eckert J. (1988). Immundiagnose der Leishmaniose des Hundes mit ELISA und Mini-Western-Blot. Schweiz. Arch. Tierheilk., 130, 249–262. (in German).

Gradoni L. (2002). The diagnosis of canine leishmaniasis. In: Canine Leishmaniasis: Moving Towards a Solution, Killick-Kendrick R., ed. Intervet International, Boxmeer, Netherlands.

Gradoni L., Foglia Manzillo V., Pagano A., Piantedosi D., De Luna R., Gramiccia M., Scalone A., Di Muccio T. & Oliva G. (2005). Failure of a multi-subunit recombinant leishmanial vaccine (MML) to protect dogs from Leishmania infantum infection and to prevent disease progression in infected animals. Vaccine, 23, 5245–5251.

Gramiccia M. (2011). Recent advances in leishmaniosis in pet animals: Epidemiology, diagnostics and anti-vectorial prophylaxis. Vet. Parasitol., 181, 23–30.

Hamarsheh O., Nasereddin A., Damaj S., Sawalha S., Al-Jawabreh H., Azmi K., Amro A., Arekat S., Abdeen Z. & Al-Jawabreh A. (2012). Serological and molecular survey of Leishmania parasites in apparently healthy dogs in the West Bank, Palestine. Parasit. Vectors, 5, 183.

Harith A.E., Kolk A.H.J., Leeuwenburgh J., Muigai R., Huigen E., Jelsma T. & Kager P.A. (1988). Improvement of a direct agglutination test for field studies of visceral leishmaniasis. J. Clin. Microbiol., 26, 1321–1325.

Harith A.E., Slappendel R.J., Reiter I., Van Knapen F., Korte P.D., Huigen E. & Kolk A.H.J. (1989). Application of a direct agglutination test for detection of specific anti-Leshmania antibodies in the canine reservoir. J. Clin. Microbiol., 27, 2252–2257.

Houghton R.L., Petrescu M., Benson D.R., Skeiky Y.A.W., Scalone A., Badaro R., Reed S.G. & Gradoni L. (1998). A cloned antigen (recombinant K39) of Leishmania chagasi diagnostic for visceral leishmaniasis in human immunodeficiency virus type 1 patients and a prognostic indicator for monitoring patients undergoing drug therapy. J. Infect. Dis., 177, 1339–1344.

Jiménez M., González E., Martín-Martín I., Hernández S. & Molina R. (2014). Could wild rabbits (Oryctolagus cuniculus) be reservoirs for Leishmania infantum in the focus of Madrid, Spain? Vet. Parasitol., 202, 296–300. doi: 10.1016/j.vetpar.2014.03.027. Epub 2014 Apr 4.

Kuhls K., Alam M.Z., Cupolillo E., Ferreira G.E., Mauricio I.L., Oddone R., Feliciangeli M.D., Wirth T., Miles M.A. & Schönian G. (2011). Comparative microsatellite typing of new world Leishmania infantum reveals low heterogeneity among populations and its recent Old World origin. PLoS Negl. Trop. Dis., 5, e1155.

Lachaud L., Marchergui-Hammami S., Chabbert E., Dereure J., Dedet J.P. & Bastien P. (2002). Comparison of six PCR methods using peripheral blood for detection of canine visceral leishmaniasis. J. Clin. Microbiol., 40, 210–215.

Maarten H.L., De Brujin M.H.L. & Barker D.C. (1992). Diagnosis of New World leishmaniasis: specific detection of species of the Leishmania braziliensis complex by amplification of kinetoplast DNA. Acta Trop., 52, 45–58.

Maia C. & Campino L. (2008). Methods for diagnosis of canine leishmaniasis and immune response to infection. Vet. Parasitol., 158, 274–287.

Maia C. & Campino L. (2011). Can domestic cats be considered reservoir hosts of Leishmania infantum? Trends Parasitol., 27, 341–344. doi: 10.1016/j.pt.2011.03.008.

Maia C., Ramos C., Carvalho L., Pennisi M.G., Pereira A., Schalling H.D., Baneth G. & Campino L. (2015). Feline leishmaniosis: current status and future perspectives. Vet. Parasitol., 212, 1–10.

Mancianti F., Falcone M.L., Giannelli C. & Poli A. (1995). Comparison between and enzyme-linked immunosorbent assay using a detergent-soluble Leishmania infantum antigen and indirect immunofluorescence for the diagnosis of canine leishmaniosis. Vet. Parasitol., 59, 13–21.

Manna L., Reale S., Vitale F., Picillo E., Pavone L.M. & Gravino A.E. (2008). Real-time PCR assay in Leishmania-infected dogs treated with meglumine antimoniate and allopurinol. Vet. J., 177, 279–282.

Marfurt J., Nasereddin A., Niederwieser I., Jaffe C.L., Beck H.P. & Felger I. (2003). Identification and differentiation of Leishmania species in clinical samples by PCR amplification of the miniexon sequence and subsequent restriction fragment length polymorphism analysis. J. Clin. Microbiol., 41, 3147–3153.

Mathis A. & Deplazes P. (1995). PCR and in vitro cultivation for detection of Leishmania spp. in diagnostic samples from humans and dogs. J. Clin. Microbiol., 33, 1145–1149.

Mauricio I.L., Yeo M., Baghaei M., Doto D., Pratlong F., Zemanova E., Dedet J.P., Lukes J. & Miles M.A. (2006). Towards multilocus sequence typing of the Leishmania donovani complex: resolving genotypes and haplotypes for five polymorphic metabolic enzymes (ASAT, GPI, NH1, NH2, PGD). Int. J. Parasitol., 36, 757–769.

Mettler M., Grimm F., Capelli G., Camp H. & Deplazes P. (2005). Evaluation of enzyme-linked immunosorbent assays, an immunofluorescent-antibody test, and two rapid tests (immunochromatographic-dipstick and gel tests) for serological diagnosis of symptomatic and asymptomatic Leishmania infections in dogs. J. Clin. Microbiol., 43, 5515–5519.

Miró G., Pennisi M.G., Oliva G., Baneth G., Bourdeau P., Cardoso L., Foggia L., Koutinas A.F. & Solano-Gallego L. (2021). Feline leishmaniosis: update on epidemiology, clinical presentation, and diagnostics. Vet. Parasitol., 294, 109427.

Minodier P., Piarroux R., Gambarelli F., Joblet C. & Dumon H. (1997). Rapid identification of causative species in patients with Old World leishmaniasis. J. Clin. Microbiol., 35, 2551–2555.

Molano I., García Alonso M., Mirón C., Redondo E., Requena J.M., Soto M., Gómez Nieto C. & Alonso C. (2003). A Leishmania infantum multi-component antigenic protein mixed with live BCG confers protection to dogs experimentally infected with L. infantum. Vet. Immunol. Immunopathol., 92, 1–13.

Molina R., Jiménez M.I., Cruz I., Iriso A., Martín-Martín I., Sevillano O., Melero S. & Bernal J. (2012). The hare (Lepus granatensis) as potential sylvatic reservoir of Leishmania infantum in Spain. Vet. Parasitol., 190, 268–271. doi: 10.1016/j.vetpar.2012.05.006. Epub 2012 May 23.

Montalvo A.M., Fraga J., Maes L., Dujardin J-C. & Van der Auwera G. (2012). Three new sensitive and specific heat-shock protein 70 PCRs for global Leishmania species identification. Eur. J. Clin. Microbiol. Infect. Dis., 31, 1453–1461.

Moreno J. & Alvar J. (2002). Canine leishmaniasis: epidemiological risk and the experimental model. Trends Parasitol., 18, 399–405.

Muller N., Zimmermann V., Forster U., Bienz M., Gottstein B. & Welle M. (2003). PCR-based detection of canine Leishmania infections in formalin-fixed and paraffin embedded skin biopsies: elaboration of a protocol for quality assessment of the diagnostic amplification reaction. Vet. Parasitol., 114, 223–229.

Murray H.W., Berman J.D., Martin V., Davies C.R. & Saravia N.G. (2005). Advances in leishmaniasis. Lancet, 366, 1561-1577.

Mylonakis M.E, Papaioannou N, Saridomichelakis M.N., Koutinas A.F., Charalambos B. & Vassilios I.K. (2005) Cytologic patterns of lymphadenopathy in dogs infected with Leishmania infantum. Vet. Clin. Pathol., 34, 243–247.

Nzelu C.O., Kato H. & Peters N.C. (2019). Loop-mediated isothermal amplification (LAMP): An advanced molecular point-of-care technique for the detection of Leishmania infection. PLOS Negl. Trop. Dis., 13, e0007698.

Regina-Silva S., Feres A.M., França-Silva J.C., Dias E.S., Michalsky É.M., de Andrade H.M., Coelho E.A., Ribeiro G.M., Fernandes A.P. & Machado-Coelho G.L. (2016). Field randomized trial to evaluate the efficacy of the Leish-Tec® vaccine against canine visceral leishmaniasis in an endemic area of Brazil. Vaccine, 34, 2233–2239.

Oliva G., Nieto J., Foglia Manzillo V., Cappiello S., Fiorentino E., Di Muccio T., Scalone A., Moreno J., Chicharro C., Carrillo E., Butaud T., Guegand L., Martin V., Cuisinier A.M., McGahie D., Gueguen S., Cañavate C. & Gradoni L. (2014). A randomised, double-blind, controlled efficacy trial of the LiESP/QA-21 vaccine in naïve dogs exposed to two Leishmania infantum transmission seasons. PLoS Negl. Trop. Dis., 8(10):e3213

Oliva G., Scalone A., Foglia Manzillo V., Gramiccia M., Pagano A., Di Muccio T. & GradoniI L. (2006). Incidence and time course of Leishmania infantum infections examined by parasitological, serologic, and Nested-PCR techniques in a cohort of naïve dogs exposed to three consecutive transmission seasons. J. Clin. Microbiol., 44, 1318–1322.

Otranto D., Paradies P., Sasanelli M., Leone N, de Caprariis D., Chirico J., Spinelli R., Capelli G. & Brandonisio O. (2005). Recombinant K39 dipstick immunochromatographic test: a new tool for the serodiagnosis of canine leishmaniasis. J. Vet. Diagn. Invest., 17, 32–37.

Ozbel Y., Oskam L., Ozensoy S., Turgay N., Alkan M.Z., Jaffe C.L. & Ozcel M.A. (2000). A survey on canine leishmaniasis in western Turkey by parasite, DNA and antibody detection assays. Acta Trop., 74, 1–6.

Palatnik-de-Sousa C.B., Barbosa Ade F., Oliveira S.M., Nico D., Bernardo R.R., Santos W.R., Rodrigues M.M., Soares I. & Borja-Cabrera G.P. (2008). FML vaccine against canine visceral leishmaniasis: from second-generation to synthetic vaccine. Expert Rev. Vaccines, 7, 833–851.

Paltrinieri S., Solano-Gallego L., Fondati A., Lubas G., Gradoni L., Castagnaro M., Crotti A., Maroli M., Oliva G., Roura X., Zatelli A. & Zini E. (2010). Canine Leishmaniasis Working Group, Italian Society of Veterinarians of Companion Animals. Guidelines for diagnosis and clinical classification of leishmaniasis in dogs. J. Am. Vet. Med. Assoc., 236, 1184–1191.

Pennisi M.G., Cardoso L., Baneth G., Bourdeau P., Koutinas A., Miró G., Oliva G. & Solano-Gallego L. (2015). LeishVet update and recommendations on feline leishmaniosis. Parasit. Vectors, 8, 302.

Piarroux R., Azaiez R., Lossi A.M., Reynier P., Muscatelli F., Gambarelli F., Fontes M., Dumon H. & Quilici M. (1993). Isolation and characterization of a repetitive DNA sequence for Leishmania infantum: development of a visceral leishmaniosis polymerase chain reaction. Am. J. Trop. Med. Hyg., 49, 364–369.

Poot J., Janssen L.H.M., van Kasteren-Westerneng T.J., van der Heijden-Liefkens K.H.A., Schijns V.E.J.C. & Heckeroth A.V. (2009). Vaccination of dogs with six different candidate leishmaniasis vaccines composed of a chimerical recombinant protein containing ribosomal and histone protein epitopes in combination with different adjuvants. Vaccine, 27, 4439–4446.

Reithinger R. & Dujardin J-C. (2007). Molecular diagnosis of leishmaniasis: current status and future applications. J. Clin. Microbiol., 45, 21–25.

Reithinger R., Quinnell R.J., Alexander B. & Davies C.R. (2002). Rapid detection of Leishmania infantum infection in dogs: comparative study using an immunochromatographic dipstick test, enzyme-linked immunosorbent assay, and PCR. J. Clin. Microbiol., 40, 2352–2356.

Richter M., Schaarschmidt-Kiener D., Krudewig C. (2014). Ocular signs, diagnosis and long-term treatment with allopurinol in a cat with leishmaniasis. Schweiz. Arch. Tierheilkd., 156, 289-294.

Rioux J.A., Lanotte G., Serres E., Pratlong F., Bastien P. & Perieres J. (1990). Taxonomy of Leishmania, use of isoenzymes. Suggestions for a new classification. Ann. Parasitol. Hum. Comp. 65, 111–125.

Roura X., Fondevila D., Sanchez A. & Ferrer L. (1999a). Detection of Leishmania infection in paraffin-embedded skin biopsies of dogs using polymerase chain reaction. J. Vet. Diagn. Invest.,11, 385–387.

Roura X., Sanchez A. & Ferrer L. (1999b). Diagnosis of canine leishmaniasis by a polymerase chain reaction technique. Vet. Rec., 144, 262–264.

Rüfenacht S., Sager H., Müller N., Schaerer V., Heier A., Welle M.M. & Roosje P.J. (2005). Two cases of feline leishmaniosis in Switzerland. Vet. Rec., 156, 542–545.

Santarém N., Cunha J., Silvestre R., Silva C., Moreira D., Ouellette M. & Cordeiro-DA-Silva A. (2014). The impact of distinct culture media in Leishmania infantum biology and infectivity. Parasitology, 141, 192–205.

Saridomichelakis M.N., Mylonakis M.E., Leontides L.S., Koutinas A.F., Billinis C. & Kontos V.I. (2005). Evaluation of lymph node and bone marrow cytology in the diagnosis of canine leishmaniasis (Leishmania infantum) in symptomatic and asymptomatic dogs. Am. J. Trop. Med. Hyg., 73, 82–86.

Scalone A., De Luna R., Oliva G., Baldi L., Satta G., Vesco G., Mignone W., Turilli C., Mondesire R.R., Simpson D., Donoghue A.R., Frank G.R. & Gradoni L. (2002). Evaluation of the Leishmania recombinant K39 antigen as a diagnostic marker for canine leishmaniasis and validation of a standardized enzyme-linked immunosorbent assay. Vet. Parasitol., 104, 275–285.

Schönian G., Nasereddin A., Dinse N., Schweynoch C., Schallig H.D., Presber W. & Jaffe C.L. (2003). PCR diagnosis and characterization of Leishmania in local and imported clinical samples. Diagn. Microbiol. Infect. Dis., 47, 349–358

Schönian G., Mauricio I., Gramiccia M., Cañavate C., Boelaert M. & Dujardin J-C. (2008). Leishmaniases in the Mediterranean in the era of molecular epidemiology. Trends Parasitol. 24, 135–142.

Solano-Gallego L., Koutinas A., Miró G., Cardoso L., Pennisi M.G., Ferrer L., Bourdeau P., Oliva G. & Baneth G. (2009). Directions for the diagnosis, clinical staging, treatment and prevention of canine leishmaniosis. Vet. Parasitol., 165, 1–18,

Solano-Gallego L., Koutinas A.F., Miró G., Cardoso L., Pennisi M.G., Ferrer L., Bourdeau P., Oliva G. & Baneth G. (2017). LeishVet guidelines for the practical management of canine leishmaniosis. Parasit. Vectors, 10, 86.

Sundar S., Maurya R., Singh R.K., Bharti K., Chakravarty J., Parekh A., Rai M., Kumar K. & Murray H.W. (2006). Rapid, noninvasive diagnosis of visceral leishmaniasis in India: comparison of two immunochromatographic strip tests for detection of anti-K39 antibody. J. Clin. Microbiol., 44, 251–253.

Trigo J., Abbehusen M., Netto E.M., Nakatani M., Pedral-Sampaio G., de Jesus R.S., Goto Y., Guderian J., Howard R.F. & Reed S.G. (2010). Treatment of canine visceral leishmaniasis by the vaccine Leish-111f+MPL-SE. Vaccine, 28, 3333–3340.

Volpini A.C., Passos V.M., Oliveira G.C. & Romanha A.J. (2004). PCR-RFLP to identify Leishmania (Viannia) braziliensis and L. (Leishmania) amazonensis causing American cutaneous leishmaniasis. Acta Trop., 90, 31–37.

World Health Organization (WHO) (2010). Control of the leishmaniases, WHO Technical Report Series 949, WHO, Geneva, Switzerland, 1–186.

Wortmann G., Sweeney C., Houng H.S., Aronson N., Stiteler J., Jackson J. & Ockenhouse C. (2001). Rapid diagnosis of leishmaniasis by fluorogenic polymerase chain reaction. Am. J. Trop. Med. Hyg., 65, 583–587. doi: 10.4269/ajtmh.2001.65.583.

*
*   *

NB: There is a WOAH Reference Laboratory for Leishmaniosis
(please consult the WOAH Web site: 
https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3)
Please contact the WOAH Reference Laboratory for any further information on 
diagnostic tests, reagents and vaccines for leishmaniosis

NB: First adopted in 1991 as leishmaniasis. Most recent updates adopted in 2021.

Appendix 1

Canine leishmaniosis 
Intended purpose of test: population freedom from infection

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cytological examination ☐☐☐ Dog | Aspirates (lymph node, bone marrow, spleen); target: Leishmania amastigotes | Low overall sensitivity in asymptomatic or early infections; not appropriate for large-scale testing; BLCM not applicable | Typically, clinical suspects only; not representative of general population or healthy animals | Diagnostic utility confirmed for clinical cases only; no validation data for surveillance or certification purposes | Useful in clinical settings; allows direct observation of parasite | Invasive, low throughput, poor sensitivity in asymptomatic carriers; not feasible for population-level application | Solano-Gallego et al. (2009) |
| Histological examination ☐☐☐ Dog | Tissue biopsies (skin, lymph node, spleen); target: Leishmania amastigotes in macrophages | Moderate sensitivity, especially in early or asymptomatic infections; specificity high when interpreted by experienced pathologists; no BLCM used | Primarily symptomatic dogs with visible lesions; not suitable for screening general population | Diagnostic value confirmed for clinical cases; not validated for population-level surveillance | Provides histopathological context; may detect parasite in inflamed tissues | Invasive, low throughput, requires biopsy and pathology services; not feasible or sensitive for detecting freedom from infection in populations | Solano-Gallego et al. (2009) |
| Isolation in culture ☐☐☐ Dog | Aspirates from spleen, bone marrow, or lymph nodes; target: viable Leishmania parasites cultured in NNN, Schneider’s, or EMTM media | High specificity (~100%) but variable sensitivity (60–90%) depending on sample site and parasite burden; no BLCM used | Validated primarily in symptomatic dogs; no evidence of suitability for detecting subclinical infections in healthy populations | Documented in clinical research; not validated for surveillance or population-level certification | Confirms presence of viable parasite; allows downstream molecular or drug resistance testing | Requires invasive sampling, specific culture conditions, and weeks for growth; not suitable for large-scale or asymptomatic screening | Solano-Gallego et al. (2009); Gradoni (2002) |
| Molecular methods – PCR ☑☑☐ Dog | Blood, bone marrow, lymph node aspirates; target: Leishmania DNA (kDNA, SSU rRNA, ITS1, etc.) | Sensitivity: 85–100%; Specificity: >95%; validated against culture and serology; BLCM rarely used | Dogs from endemic and non-endemic areas; includes subclinical infections, though intermittent parasitaemia may affect results | Described in peer-reviewed studies (e.g. Maia & Campino, 2008); not all protocols WOAH-validated | High specificity; can detect asymptomatic infections; suitable for confirmation | Costly and technically demanding; sensitivity may be affected by sampling time and type; false negatives possible in chronic low-parasitaemia infections | Maia & Campino (2008); Solano-Gallego et al. (2017) |
| IFAT ☑☑☑ Dog | Serum; target: anti-Leishmania infantum IgG antibodies | Sensitivity: 80–95%; Specificity: 85–98%; depends on titre cut-off and antigen quality; BLCM used in some multicentre validations | Dogs from endemic and non-endemic areas, including subclinical cases; representative of general population | Validated and widely used in reference labs; included in WOAH Manual; Solano-Gallego et al., 2009 | Standardised, accepted for certification purposes; suitable for screening and surveillance | Requires trained personnel and fluorescence microscopy; possible cross-reactivity; lower sensitivity in early infection | Solano-Gallego et al. (2009); Moreno & Alvar (2002) |
| ELISA ☑☑☑ Dog | Serum or plasma; target: anti-Leishmania infantum antibodies (IgG) against crude or recombinant antigens | Sensitivity: 85–98%; Specificity: 90–99%; validated against IFAT and PCR; some kits evaluated using ROC analysis and BLCM | Dogs from various epidemiological contexts; suitable for detecting both clinical and subclinical infections | Extensively evaluated in scientific literature; several commercial kits in use; partial WOAH validation | High-throughput, standardised protocols; suitable for mass screening and certification programmes | Performance depends on antigen source; false negatives in very early infection; inter-lab variability if not standardised | Solano-Gallego et al. (2009); Reithinger & Dujardin (2007) |
| DAT ☑☐☐ Dog | Serum; target: anti-Leishmania infantum IgG antibodies using fixed promastigote antigen | Sensitivity: 80–95%; Specificity: 85–98%; depends on antigen quality and titre cut-off; some studies use ROC analysis; BLCM rarely applied | Mostly symptomatic or subclinical dogs; limited data on healthy or pre-movement certified populations | Validated for human VL; adapted for CanL in epidemiological studies; no formal WOAH validation for population freedom | Technically simple; cost-effective; useful in field surveys and low-resource settings | Requires overnight incubation; subjective interpretation; not sufficiently standardised across labs for certification use; limited validation in asymptomatic populations | Solano-Gallego et al. (2009); Babakhan et al. (2009) |
| Rapid immune-chromatographic assay ☐☐☐ Dog | Whole blood, serum, or plasma; target: anti-Leishmania infantum antibodies (typically rK39 recombinant antigen) | Sensitivity: 70–90%; Specificity: 85–98%, depending on the brand; limited comparative studies for low-prevalence populations; BLCM not used | Evaluated mainly in clinical and field settings; limited validation in healthy, asymptomatic animals or in low-prevalence areas | Used in veterinary clinics for individual diagnosis; not validated for mass screening or freedom-from-disease certification | Rapid, user-friendly, minimal equipment; suitable for preliminary diagnosis in field settings | Not quantitative; may miss early or low-titre infections; high inter-kit variability; not suitable for demonstrating absence of infection in populations | Palatnik-de-Sousa et al. (2008); Solano-Gallego et al. (2009); |

Appendix 2

Canine leishmaniosis 
Intended purpose of test: individual animal freedom from infection prior to movement

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cytological examination ☐☐☐ Dog | Aspirates (lymph node, spleen, bone marrow); target: Leishmania amastigotes | Low sensitivity in asymptomatic stages; no data for healthy animals in certification programmes; no BLCM used | Symptomatic dogs; not representative of healthy or subclinically infected animals | No validation for certification use; clinical diagnostic tool only | Direct parasite visualisation in high-load cases | Invasive, insensitive in early infections; not suitable for pre-movement certification | Solano-Gallego et al. (2009); Baneth et al. (2008) |
| Histological examination ☐☐☐ Dog | Tissue biopsies (skin, lymph node, spleen); target: Leishmania amastigotes in macrophages | Moderate sensitivity in symptomatic cases; unsuitable for detecting low-level infections; no BLCM | Symptomatic dogs; not designed for asymptomatic screening | Diagnostic value limited to confirmed clinical cases | Contextual tissue analysis; confirms presence of parasite in lesions | Invasive, low throughput, not validated for certification or screening healthy animals | Solano-Gallego et al. (2009) |
| Isolation in culture ☑☐☐ Dog | Aspirates (bone marrow, spleen); target: viable Leishmania parasites (NNN, Schneider’s, EMTM) | High specificity (~100%); variable sensitivity depending on parasite burden; no BLCM | Clinical cases; limited data on asymptomatic dogs | Validated in clinical settings; not standardised for movement certification | Confirms viable parasite; useful for drug sensitivity and strain typing | Long culture time; low yield in low-parasitaemia cases; invasive and impractical for routine certification | Solano-Gallego et al. (2009); Gradoni (2002) |
| Molecular methods – PCR ☑☑☑ Dog | Blood, bone marrow, lymph node aspirates; target: Leishmania DNA (kDNA, SSU rRNA, ITS1) | Sensitivity: 85–100%; Specificity: >95%; high accuracy in detecting low-level infections; no BLCM | Validated in both clinical and subclinical dogs; suitable for healthy animals | Extensively evaluated in peer-reviewed studies (Maia & Campino, 2008); not fully WOAH-validated | High sensitivity and specificity; effective in asymptomatic animals; suitable for certification | Requires well-equipped lab; risk of false negatives in chronic or latent infections; costly | Solano-Gallego et al. (2009); Moreno & Alvar (2002) |
| IFAT ☑☑☐ Dog | Serum; anti-Leishmania infantum IgG | Sensitivity: 80–95%; Specificity: 85–98%; depends on antigen, cut-off, and technique | Validated in clinical and subclinical dogs; used for screening and certification | Widely used in reference labs; included in WOAH Manual | Standardised method; accepted in trade/export protocols; suitable for large-scale screening | Requires fluorescence microscope and trained personnel; possible cross-reactions | Solano-Gallego et al. (2009); Moreno & Alvar (2002) |
| ELISA ☑☑☐ Dog | Serum/plasma; anti-Leishmania IgG antibodies (crude or recombinant antigen) | Sensitivity: 85–98%; Specificity: 90–99%; validated against IFAT and PCR | Includes asymptomatic and clinical dogs; suitable for certification screening | Extensively validated in literature; some kits partially WOAH-listed | High throughput; automated versions available; consistent performance with recombinant antigens | May miss early infection; inter-lab variability if not standardised | Solano-Gallego et al. (2009); Reithinger & Dujardin (2007) |
| DAT ☑☐☐ Dog | Serum; target: anti-Leishmania infantum IgG antibodies using fixed whole promastigotes | Sensitivity: 80–95%; Specificity: 85–98%; results vary by batch and technique; limited ROC data; BLCM not commonly applied | Mostly symptomatic and subclinical dogs; limited evidence for healthy pre-movement populations | Adapted from human VL applications; used in field studies; not officially validated for canine movement certification | Technically simple; does not require sophisticated equipment; useful in resource-limited contexts | Time-consuming (overnight incubation); subjective reading; limited standardisation and external quality control; not widely accepted for international certification | Babakhan et al. (2009); Solano-Gallego et al. (2009) |
| Rapid immune-chromatographic assay ☐☐☐ Dog | Whole blood, serum, or plasma; target: anti-Leishmania infantum antibodies (commonly rK39 antigen) | Sensitivity: 70–90%; Specificity: 85–98%; performance varies significantly between commercial brands; limited ROC/validation data; no BLCM | Validated primarily in symptomatic dogs in clinical settings; lacks data for asymptomatic or healthy populations being moved | Not validated for pre-movement certification or international trade; clinical-use only | Rapid and user-friendly; can be used in field conditions without specialised equipment | Limited sensitivity in early/subclinical infections; qualitative only; not accepted for certification purposes; significant inter-batch and inter-kit variability | Palatnik-de-Sousa et al. (2008); Solano-Gallego et al. (2009); |

Appendix 3

Canine leishmaniosis 
Intended purpose of test: contribute to eradication policies

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cytological examination ☐☐☐ Dog | Aspirates from spleen, bone marrow, or lymph nodes; target: Leishmania amastigotes | Sensitivity: variable (30–70%), specificity >90% in clinical cases; poor detection in subclinical or early infections; no BLCM applied | Used primarily in symptomatic dogs; not designed for screening or monitoring populations under eradication programmes | Only validated for confirmation in individual clinical cases; no support for use in large-scale or longitudinal surveillance | Inexpensive, rapid, and useful in clinical diagnosis | Low throughput, invasive, requires expertise in microscopy; low sensitivity in asymptomatic dogs; not scalable for eradication strategies | Solano-Gallego et al. (2009); Baneth et al. (2008) |
| Histological examination ☐☐☐ Dog | Tissue biopsies (e.g. skin, lymph node, spleen); target: Leishmania amastigotes within host cells | Moderate sensitivity in symptomatic animals (~50–80%); high specificity when interpreted by trained pathologists; not validated for subclinical infections; no BLCM | Clinical cases only; not suitable for detecting or monitoring infection in apparently healthy animals or populations | Used as a confirmatory tool in individual diagnostics; not validated for population-level eradication programmes | Provides detailed histopathological context; may detect parasite in lesion sites | Requires biopsy and histological processing; low throughput; invasive and costly; not scalable or sensitive enough for eradication efforts | Solano-Gallego et al. (2009); Baneth et al. (2008) |
| Isolation in culture ☐☐☐ Dog | Aspirates from spleen, bone marrow, or lymph nodes; target: viable Leishmania parasites cultured in NNN, Schneider’s, or EMTM media | Sensitivity: 60–90% depending on sample quality; specificity: ~100%; performance declines in asymptomatic or chronic cases; no BLCM used | Validated in symptomatic dogs; not suited for detecting low-level infections common in reservoir animals or early infection | Validated in clinical settings; not designed for large-scale application in eradication program | Confirms presence of viable parasite; useful for research and parasite characterisation | Invasive, laborious, requires weeks for culture, low yield in subclinical infections; impractical for large-scale or repeated sampling in eradication programmes | Solano-Gallego et al. (2009); Gradoni (2002) |
| Molecular methods – PCR ☑☐☐ Dog | Blood, lymph node aspirates, bone marrow, skin; target: Leishmania DNA (e.g. kinetoplast DNA, ITS1, SSU rRNA) | Sensitivity: 85–100%; Specificity: >95%; however, intermittent parasitaemia and sample quality affect reliability for eradication targets; BLCM not routinely used | Dogs from both clinical and subclinical contexts; suitable for detection but not practical for repeated population-wide testing | Extensively used in research and diagnostics; partially standardised; not fully WOAH-validated for eradication program use | High analytical sensitivity and specificity; allows early detection of infection; useful in targeted surveillance or reservoir host studies | Requires well-equipped lab and skilled personnel; costly and labour-intensive for wide-scale use; sensitivity varies by sample and stage of infection | Maia & Campino (2008); Solano-Gallego et al. (2017) |
| IFAT ☑☑☑ Dog | Serum; target: anti-Leishmania infantum IgG antibodies | Sensitivity: 80–95%; Specificity: 85–98%, depending on antigen, cut-off titre, and lab conditions; ROC and BLCM used in some comparative studies | Broadly validated in endemic and non-endemic areas; includes both symptomatic and asymptomatic animals; suitable for eradication monitoring | Recognised by WOAH; widely used in reference laboratories; performance supported by large-scale seroprevalence studies | Reliable, standardised, suitable for mass screening and monitoring programmes; acceptable for international trade and certification | Requires fluorescence microscopy and trained personnel; cross-reactivity possible with other trypanosomatids; needs standardisation of cut-off values | Solano-Gallego et al. (2009); Moreno & Alvar (2002) |
| ELISA ☑☑☑ Dog | Serum or plasma; target: anti-Leishmania infantum IgG antibodies (crude or recombinant antigens) | Sensitivity: 85–98%; Specificity: 90–99%; performance confirmed via ROC analyses and in large-scale screening; some BLCM applications in multi-centre studies | Validated on both symptomatic and asymptomatic dogs; large epidemiological datasets confirm its use for control and eradication strategies | Commonly used in national surveillance and eradication campaigns; some commercial kits partially WOAH-validated | High-throughput, cost-effective, automatable; consistent performance; reliable for monitoring trends and identifying reservoirs | Cut-off interpretation may vary by kit; recombinant antigens improve specificity but may miss some field strains; limited in early infection | Solano-Gallego et al. (2009); Reithinger & Dujardin (2007); Chapter 3.1.20 Rift Valley fever? |
| DAT ☐☐☐ Dog | Serum; target: anti-Leishmania infantum IgG antibodies using fixed promastigote antigen | Sensitivity: 80–95%; Specificity: 85–98%; results vary by antigen batch; limited inter-laboratory standardisation; ROC used in some studies | Applied mainly in clinical or field screening; not validated for continuous monitoring in structured eradication programmes | Used in epidemiological studies and human VL diagnosis; not widely accepted or validated for veterinary eradication campaigns | Inexpensive, field applicable, technically simple | Long incubation time (overnight), subjective interpretation, batch-to-batch variability, and low reproducibility across labs limit its utility in standardised eradication programmes | Babakhan et al. (2009); Solano-Gallego et al. (2009); Chapter 3.1.20 Rift Valley fever? |
| Rapid immunochromatographic assay ☐☐☐ Dog | Whole blood, serum, or plasma; target: anti-Leishmania infantum antibodies (typically rK39 antigen) | Sensitivity: 70–90%; Specificity: 85–98%; considerable variability between commercial kits; lacks robust validation for surveillance or eradication use | Evaluated primarily in symptomatic or field-diagnosed dogs; not suited for identifying asymptomatic carriers or for longitudinal monitoring | Not validated for structured eradication campaigns; lacks standardisation and regulatory acceptance for this purpose | Easy to use; rapid results; minimal equipment needed | Poor sensitivity in subclinical or early infections; qualitative only; high variability between kits and lots; not adequate for supporting official control programmes | Palatnik-de-Sousa et al. (2008); Solano-Gallego et al. (2009); |

Appendix 4

Canine leishmaniosis 
Intended purpose of test: confirmation of clinical cases

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cytological examination ☑☑☑ Dog | Aspirates from lymph node, spleen, or bone marrow; target: Leishmania amastigotes | Sensitivity: 30–70%, depending on sample site and parasitic load; Specificity: >90% when compared to PCR or culture; BLCM not applied | Symptomatic dogs with clinical signs and compatible lesions; routinely applied in veterinary diagnostics | Well-established in veterinary parasitology and internal medicine; standard procedure in endemic regions | Simple, fast, and cost-effective; allows direct visual identification of the parasite; highly specific | Sensitivity depends on operator skill, sample site and parasite burden; may yield false negatives in early or low-grade infections | Solano-Gallego et al. (2009); Baneth et al. (2008); Chapter 3.1.20 Rift Valley fever? |
| Histological examination ☑☑☐ Dog | Tissue biopsies (e.g. skin, lymph node, spleen); target: Leishmania amastigotes in macrophages within inflammatory lesions | Sensitivity: ~50–80% in symptomatic dogs; Specificity: >90% with expert interpretation; limited ROC studies; BLCM not used | Symptomatic dogs with compatible clinical lesions; not applicable to asymptomatic or screening contexts | Described in veterinary pathology literature; standard procedure in diagnostic histopathology; not WOAH-validated | Confirms presence of parasite in tissue context; supports differential diagnosis and pathogenesis study | Invasive; requires histopathological facilities and skilled personnel; less sensitive than PCR in low-parasite-load tissues | Solano-Gallego et al. (2009); Baneth et al. (2008) |
| Isolation in culture ☑☑☐ Dog | Aspirates from spleen, bone marrow, or lymph nodes; target: viable Leishmania parasites cultured in NNN, Schneider’s, or EMTM media | Sensitivity: 60–90%, depending on sample site, stage, and parasite load; Specificity: ~100%; no BLCM used | Symptomatic dogs with high parasite burden; particularly effective in advanced clinical cases | Validated and used in clinical and research settings; standard method for definitive diagnosis and parasite characterisation | Confirms presence of live parasite; enables further typing, drug susceptibility testing, and molecular epidemiology | Requires invasive sampling and sterile technique; time-consuming (may take 1–4 weeks); low sensitivity in low-parasite-load or treated animals | Solano-Gallego et al. (2009); Gradoni (2002) |
| Molecular methods – PCR ☑☑☑ Dog | Blood, lymph node aspirates, bone marrow, skin biopsies; target: Leishmania DNA (e.g. kDNA minicircle, SSU rRNA, ITS1) | Sensitivity: 85–100%; Specificity: >95%; validated in comparison to parasitology and serology; BLCM used in some studies | Symptomatic and subclinical dogs; highly representative of clinical spectrum; suitable for both high and low parasite burdens | Extensively validated in research and clinical diagnostics; many protocols standardised in reference laboratories | High sensitivity and specificity; detects parasite DNA in early or atypical infections; non-invasive sampling possible; allows species identification | Requires molecular lab and technical expertise; risk of contamination; false negatives possible in chronic low-parasitaemia cases | Maia & Campino (2008); Solano-Gallego et al. (2017); Chapter 3.1.20 Rift Valley fever? |
| IFAT ☑☑☐ Dog | Serum; target: anti-Leishmania infantum IgG antibodies | Sensitivity: 80–95%; Specificity: 85–98%; commonly compared with ELISA and PCR; ROC and BLCM used in some validations | Validated in both symptomatic and subclinical dogs; widely accepted as a reference test for CanL | Standardised in reference laboratories and included in WOAH Terrestrial Manual | Reliable, standardised method for diagnosis; quantitative titres allow disease staging and follow-up | Requires fluorescence microscope and trained personnel; cross-reactivity possible with other trypanosomatids; not fully reliable in early infection | Solano-Gallego et al. (2009); Moreno & Alvar (2002) |
| ELISA ☑☑☐ Dog | Serum or plasma; target: anti-Leishmania infantum IgG antibodies (using crude or recombinant antigen) | Sensitivity: 85–98%; Specificity: 90–99%; validated against parasitological and molecular tests; ROC analyses commonly used; some use of BLCM | Symptomatic and subclinical dogs; used extensively in both clinical and epidemiological studies | Several commercial ELISA kits validated; some included in official programmes or recommended by reference laboratories | High-throughput, quantitative, automatable; good diagnostic accuracy; titres can support clinical staging and follow-up | May not distinguish active from past infection; performance varies with antigen type and manufacturer; interpretation can require confirmation with PCR or parasitology | Solano-Gallego et al. (2009); Reithinger & Dujardin (2007); Chapter 3.1.20 Rift Valley fever? |
| DAT ☑☑☐ Dog | Serum; target: anti-Leishmania infantum IgG antibodies using fixed promastigote antigen | Sensitivity: 80–95%; Specificity: 85–98%; some studies with ROC analysis; limited use of BLCM | Symptomatic and subclinically infected dogs; used in field settings and epidemiological investigations | Originally validated in human VL; adapted to canine use in several studies; not WOAH-listed for CanL | Technically simple; no sophisticated equipment needed; useful for screening in resource-limited settings | Requires long incubation (overnight); subjectivity in interpreting agglutination; lower standardisation than ELISA/IFAT | Babakhan et al. (2009); Solano-Gallego et al. (2009); Chapter 3.1.20 Rift Valley fever? |
| Rapid Immuno-chromatographic assay ☑☑☐ Dog | Whole blood, serum, or plasma; target: anti-Leishmania infantum antibodies (commonly rK39 antigen) | Sensitivity: 70–90%; Specificity: 85–98%; varies by manufacturer and antigen used; limited use of BLCM | Dogs with clinical signs; used in clinics and field settings; performance lower in subclinical cases | Commercially available kits; evaluated in clinical diagnosis, but not standardised across labs | Fast (results in 10–15 minutes); simple to use; can be performed in field conditions or general practice | Limited sensitivity in low-titre or early infections; qualitative only; significant variability across kits; confirmation with other tests often required | Palatnik-de-Sousa et al. (2008); Solano-Gallego et al. (2009) |

Appendix 5

Canine leishmaniosis 
Intended purpose of test: prevalence of infection –- surveillance

| Test with score and species |  | Sample type and target analytes |  | Accuracy | Test population |  | Validation report |  | Advantages | Disadvantages | References |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cytological examination ☐☐☐ Dog | Aspirates from spleen, lymph node, or bone marrow; target: Leishmania amastigotes |  | Sensitivity: 30–70% depending on parasite burden and sampling site; Specificity: >90%; not suitable for detecting low-level infections in asymptomatic animals |  | Primarily symptomatic animals; not representative of general dog populations or carriers in endemic areas | Validated as a confirmatory clinical tool; not suitable for population-based studies or large-scale application |  | Rapid and specific in high-parasite-load samples; useful in individual diagnosis |  | Invasive; requires skilled operators; poor sensitivity in asymptomatic infections; unsuitable for epidemiological surveys | Solano-Gallego et al. (2009); Baneth et al. (2008) |
| Histological examination ☐☐☐ Dog | Tissue biopsies (e.g. skin, lymph node, spleen); target: Leishmania amastigotes in inflammatory lesions |  | Sensitivity: ~50–80% in symptomatic dogs; Specificity: >90%; very low sensitivity in asymptomatic cases; BLCM not used |  | Designed for dogs with clinical lesions; unsuitable for healthy populations in surveillance studies | Standard diagnostic method in pathology; not validated or practical for epidemiological prevalence surveys |  | Valuable for individual case diagnosis; confirms parasite within tissue context |  | Invasive; low-throughput; requires histopathology lab; poor sensitivity in asymptomatic infections; not feasible for large-scale or repeated sampling | Solano-Gallego et al. (2009); Baneth et al. (2008) |
| Isolation in culture ☐☐☐ Dog | Aspirates from spleen, bone marrow, or lymph nodes; target: viable Leishmania promastigotes grown in NNN, Schneider’s, or EMTM media |  | Sensitivity: 60–90% in clinical cases; much lower in asymptomatic or low-parasitaemia animals; Specificity: ~100%; no BLCM applied |  | Primarily symptomatic dogs; not representative of general or subclinical populations required for surveillance | Validated as a definitive diagnostic method; not suitable for screening large populations |  | Confirms active infection with viable parasite; enables further molecular or phenotypic studies |  | Laborious, time-consuming (1–4 weeks), invasive sampling required, low sensitivity in asymptomatic carriers, impractical for large-scale surveys | Solano-Gallego et al. (2009); Gradoni (2002) |
| Molecular methods – PCR ☑☑☐ Dog | Blood, bone marrow, lymph node aspirates, skin biopsies; target: Leishmania DNA (e.g. kDNA minicircle, SSU rRNA, ITS1) |  | Sensitivity: 85–100% in symptomatic dogs, lower in asymptomatic carriers due to intermittent parasitaemia; Specificity: >95%; validated with parasitology/serology; BLCM rarely used |  | Symptomatic and asymptomatic dogs; appropriate for targeted surveillance in endemic areas, but limited scalability | Widely studied; used in focused epidemiological research; not broadly validated for population-level surveillance |  | High specificity and sensitivity; detects active infection even in absence of antibody response; useful in sentinel surveillance or targeted risk areas |  | Costly, requires advanced lab infrastructure and skilled personnel; sensitivity affected by sampling site and infection stage; not ideal for large-scale field surveys | Maia & Campino (2008); Solano-Gallego et al. (2017) |
| IFAT ☑☑☑ Dog | Serum; target: anti-Leishmania infantum IgG antibodies |  | Sensitivity: 80–95%; Specificity: 85–98%; used as reference serological test in many validation studies; BLCM applied in some population-level comparisons |  | Symptomatic and asymptomatic dogs in endemic and non-endemic regions; validated for cross-sectional surveys | Standardised and recommended by WOAH; broadly used in national and international surveillance programmes |  | Highly reliable; quantifiable; suitable for large-scale screening and longitudinal seroprevalence studies |  | Requires trained personnel and fluorescence microscopy; inter-laboratory variability if cut-offs are not harmonised; possible cross-reactivity | Solano-Gallego et al. (2009); Moreno & Alvar (2002) |
| ELISA ☑☑☑ Dog | Serum or plasma; target: anti-Leishmania infantum IgG antibodies (using crude or recombinant antigens) |  | Sensitivity: 85–98%; Specificity: 90–99%; validated with parasitological and molecular tests; ROC commonly used; some BLCM applications |  | Symptomatic and asymptomatic dogs from both endemic and non-endemic areas; widely validated in population studies | Commercially available kits evaluated in multicentric surveillance programmes; some with WOAH recognition |  | High-throughput; cost-effective; suitable for cross-sectional and longitudinal surveys; allows automation and large-scale use |  | Requires quality control and standardisation of cut-offs; false positives possible due to exposure without active infection; some inter-kit variability | Solano-Gallego et al. (2009) |
| DAT ☑☑☐ Dog | Serum; target: anti-Leishmania infantum IgG antibodies using fixed promastigote antigen |  | Sensitivity: 80–95%; Specificity: 85–98%; validated against IFAT and ELISA in several field studies; some ROC analyses |  | Dogs in endemic and non-endemic areas; used in field epidemiology and seroprevalence studies, including asymptomatic animals | Extensively used in human VL surveillance; adapted for CanL; not standardised across all veterinary laboratories |  | Simple, low-cost, and effective for use in field or resource-limited settings; minimal equipment required |  | Requires overnight incubation and careful visual interpretation; limited availability in some regions; batch variability can affect reproducibility | Babakhan et al. (2009); Solano-Gallego et al. (2009) |
| Rapid immuno-chromatographic assay ☐☐☐ Dog | Whole blood, serum, or plasma; target: anti-Leishmania infantum antibodies (typically rK39 antigen) |  | Sensitivity: 70–90%; Specificity: 85–98%; significant variability across commercial kits; poor performance in early/subclinical infections |  | Mainly symptomatic dogs in clinical or field diagnosis; underperforms in detecting infection in asymptomatic carriers | Not validated for population-level surveillance; lacks standardisation and reproducibility across different epidemiological settings |  | Fast and easy to use in the field or in clinics; requires no equipment |  | Qualitative only; poor sensitivity in early/asymptomatic infection; inconsistent results across brands; not suitable for accurate prevalence estimates | Palatnik-de-Sousa et al. (2008); Solano-Gallego et al. (2009); |

Appendix 6

Feline leishmaniosis 
Intended purpose of test: contribute to eradication policies; confirmation of clinical cases; prevalence of infection – surveillance; immune status in individual animals or populations post-vaccination

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cytological examination ☑☑☐ for confirmation of clinical cases Cat | Fine needle aspirates (FNA) of lymph nodes, skin nodules, spleen, bone marrow; target: Leishmania amastigotes | Sensitivity: moderate (~40–70%) depending on tissue and parasitemia; Specificity: high when amastigotes are observed; no BLCM used in cats | Symptomatic cats with nodular, ulcerative, or mucocutaneous lesions; confirmed mostly in Mediterranean and endemic regions | No formal WOAH validation; widely used in documented clinical cases in veterinary literature | Quick and specific when positive; minimally invasive; useful in cutaneous and nodular forms | Low sensitivity in early/systemic or non-cutaneous disease; parasite may be sparse; highly operator-dependent | Pennisi et al. (2015); Solano-Gallego et al. (2009); Brianti et al. (2020) |
| Histological examination ☑☑☐ for confirmation of clinical cases Cat | Tissue biopsies (skin, mucosa, lymph nodes, spleen); target: Leishmania amastigotes in inflammatory lesions | Sensitivity: moderate (~50–75%) depending on tissue and parasite load; Specificity: high with experienced histopathologist; no BLCM used | Symptomatic cats with dermal, mucocutaneous, or systemic lesions; mostly from endemic regions | Not formally validated by WOAH; described in several clinical and pathological case series | Confirms parasite within tissue architecture; supports differential diagnosis; may detect concurrent pathology | Invasive; requires biopsy and histopathological processing; less sensitive in non-lesional tissue; operator-dependent | Pennisi et al. (2015); Solano-Gallego et al. (2009); Brianti et al. (2020) |
| Isolation in culture ☑☐☐ for confirmation of clinical cases Cat | Bone marrow, lymph node, spleen aspirates or skin biopsies; target: viable Leishmania promastigotes cultured in EMTM, NNN, or Schneider’s media | Sensitivity: low to moderate (~40–70%) in symptomatic animals with high parasite burden; Specificity: ~100%; no BLCM used in cats | Symptomatic cats in endemic regions; used primarily in research or when parasite typing is needed | Not WOAH-validated; described in selected case reports and laboratory studies | Confirms presence of viable parasites; allows further molecular or phenotypic analysis (e.g., drug susceptibility, species typing) | Time-consuming (1–4 weeks), requires invasive sampling and sterile technique; low sensitivity in subclinical or chronic infections | Pennisi et al. (2015); Maia et al. (2015); Brianti et al. (2020); Solano-Gallego et al. (2009) |
| PCR ☐☐☐ for contribute to eradication policies, ☑☑☑ for confirmation of clinical cases, ☑☑☐ for prevalence of infection – surveillance Cat | Whole blood, lymph node, bone marrow aspirates, skin biopsies; target: Leishmania DNA (kDNA minicircle, SSU rRNA, ITS1 regions) | Sensitivity: high (~85–100%) in symptomatic cats; lower in asymptomatic cats due to intermittent parasitemia; Specificity: >95%; validated against parasitology and serology in some studies | Symptomatic and asymptomatic cats from endemic and non-endemic areas; especially useful in research and targeted screening | Not WOAH-validated for FeL; widely used in clinical and epidemiological studies; standardised in reference labs for canine leishmaniosis | High sensitivity and specificity; detects infection in early or atypical forms; useful in identifying silent carriers; can be used for species identification and genetic typing | Requires specialised lab infrastructure and trained personnel; false negatives possible in chronic or low-parasitaemia cases; cost and sample quality can limit field application | Pennisi et al. (2015); Maia & Campino (2011); Brianti et al. (2020); Solano-Gallego et al. (2009) |
| IFAT ☐☐☐ for contribute to eradication policies ☑☑☐ for confirmation of clinical cases, and for prevalence of infection – surveillance, ☑☐☐ for immune status in individual animals or populations post-vaccination Cat | Serum; target: anti-Leishmania infantum IgG antibodies | Sensitivity: variable (~60–85%) depending on clinical status; Specificity: ~85–98%; no standardised feline cut-off; some ROC analyses in experimental studies | Symptomatic and asymptomatic cats; endemic and non-endemic areas; tested mainly in research and small-scale surveys | Not WOAH-validated in cats; widely used in clinical studies; reference test for serology in canine leishmaniosis | Relatively accessible; semi-quantitative; helpful in detecting exposure; useful in combination with PCR | Lack of standardised cut-off for cats; does not distinguish between vaccination and infection; inter-laboratory variability; possible false negatives in immunosuppressed cats | Pennisi et al. (2015); Solano-Gallego et al. (2009); Brianti et al. (2020); Miró et al. (2021) |
| ELISA ☐☐☐ for eradication policies ☑☑☐ for confirmation of clinical cases, and for prevalence of infection – surveillance, ☑☐☐ for immune status in individual animals or populations post-vaccination Cat | Serum or plasma; target: anti-Leishmania infantum IgG antibodies (against crude or recombinant antigen) | Sensitivity: ~70–90% depending on disease stage and antigen used; Specificity: ~85–98%; cut-off values in cats are not standardised; some ROC analyses in experimental settings | Symptomatic and asymptomatic cats in endemic areas; used in epidemiological studies and some vaccine response investigations | Not WOAH-validated for cats; evaluated in experimental studies and small-scale field surveys; some commercial kits used off-label | High-throughput, cost-effective for surveillance; adaptable to screening programmes; may detect early or subclinical infections | No standard cut-off for cats; antibodies may not indicate active infection; cross-reactivity possible; limited availability of feline-specific kits | Pennisi et al. (2015); Maia & Campino (2011); Solano-Gallego et al. (2009); Brianti et al. (2020) |

In this chapter, the term ‘New World’ refers to the Americas, and the term ‘Old World’ refers to Africa, Asia and Europe (WHO, 2010).