# Chapter 3.1.17.

paratuberculosis 
(JOHNE’S DISEASE)

# SUMMARY

Description of the disease: Paratuberculosis (Johne’s disease) is a chronic enteritis of ruminants caused by Mycobacterium avium subsp. paratuberculosis (MAP).

Control of paratuberculosis is difficult because of the prolonged course of infection, the predominantly subclinical nature of the disease and lack of tests for accurate detection of subclinically infected animals.

The diagnosis of paratuberculosis is aimed at two main principal tasks: the diagnosis of clinical disease and the detection of subclinical infection. The latter is essential for control of the disease at the farm, national or international level.

Diagnosis of advanced stage paratuberculosis is made on clinical grounds confirmed by the demonstration observation of MAP in the faeces by microscopy, or demonstration of MAP by culture, or by the use of DNA probes and the polymerase chain reaction (PCR). Diagnosis is made at necropsy by the finding of the pathognomonic lesions of the disease in the intestines, either grossly with the demonstration of typical acid-fast organisms in impression smears of the lesions or histologically, and by isolation of MAP in culture.

The detection of subclinical infection relies on the detection of specific antibodies by serology, culture of MAP from faeces or tissues collected at necropsy, PCR, or the demonstration of cell-mediated responses. The choice of test depends on the circumstances and the degree of sensitivity and specificity required at individual animal or herd level.

Detection of the agent: The diagnosis of paratuberculosis is divided into two parts: the diagnosis of clinical disease and the detection of subclinical infection. The latter is essential for control of the disease at the farm, national or international level.

The detection of subclinical infection depends on the detection of specific antibodies by serology, culture of MAP from faeces or tissues collected at necropsy, PCR, or the demonstration of cell-mediated responses. The choice of test depends on the circumstances and the degree of sensitivity and specificity required at individual animal or herd level.

Cultures of MAP may be obtained from faeces or tissues, after treatment to eliminate contaminants, by inoculation into artificial media with and without the specific growth factor – mycobactin – that is essential for the growth of MAP.

End-point or real-time PCR approaches have been developed and validated for the direct detection of MAP DNA in faeces and other matrices, with a trend towards an increased sensitivity compared with cultural assays.

Serological tests: Control of paratuberculosis is difficult because of the prolonged course of infection, the predominantly subclinical nature of the disease and lack of tests for accurate detection of subclinically infected animals.

The serological test commonly used for paratuberculosis in cattle is absorbed enzyme-linked immunosorbent assay (ELISA). Agar gel immunodiffusion remains a valuable test for the detection of paratuberculosis in sheep and wild ruminants. Sensitivity and specificity are often determined by reference to results of faecal culture, which itself has unknown sensitivity in subclinically infected cattle. When used to confirm diagnosis of paratuberculosis in cows with typical clinical signs, ELISA performs very well.

Tests for cell-mediated immunity: Interferon-gamma release assay and delayed type hypersensitivity methods (skin test) have been used, but interpretation in both cases is difficult.

Requirements for vaccines and diagnostic biologicals: Vaccines for paratuberculosis may be live attenuated or killed bacteria either incorporated with an adjuvant or lyophilised and adjuvanted on reconstitution. Bacterial counting is difficult and bacterial content of vaccines may be based on weight, while vaccine potency may be judged by batch tests for sensitising ability in guinea pigs.

Vaccine safety or abnormal toxicity may also be tested in guinea pigs.

For diagnostic skin tests, Johnin and avian tuberculin are purified protein derivatives (PPD) of a heat-treated culture of MAP or M. avium, respectively. Johnin is standardised for content of PPD by chemical assay and its biological activity is identified in guinea pigs sensitised with MAP. Avian tuberculin activity is determined in guinea pigs sensitised with M. avium by comparison with a reference preparation calibrated in international units.

A.  introduction

1.	Nature and classification of the pathogen

Mycobacterium avium subspecies paratuberculosis (MAP) is an organism first observed by Johne & Frothingham in 1895. MAP causes paratuberculosis or Johne’s disease, an intestinal granulomatous infection (Thorel et al., 1990). MAP is an extremely slow ‘in-vitro’ growing mycobacterium and shares high genome homology with the other subspecies belonging to M. avium. Paratuberculosis is was found most often among domestic ruminants (cattle, sheep, goats, camelids and buffaloes) as well as wild ruminants (cervids) and has a global distribution. The disease has also been reported in horses, donkeys, pigs, rabbits, stoats, foxes and weasels (Greig et al., 1999). Under natural conditions, the disease in cattle spreads by ingestion of MAP from the contaminated environment. The disease persists after the introduction of infected animals. Infection can be spread vertically to the fetus (Larson & Kopecky, 1970) and semen can be infected with the organism (Larson & Kopecky, 1970 Sweeney et al., 1995). The primary source of infection in calves is faeces from infected cows or milk that is contaminated with the faeces of diseased cattle. Isolates from sheep have different characteristics from those in cattle, but the laboratory detection and diagnostic methods are the same.

The identification of MAP is was based on its mycobactin requirement and on its association with clinical signs and defined laboratory findings, such as culture and polymerase chain reaction (PCR) results. Mycobactin dependence has long been used as a taxonomic characteristic for MAP because most mycobacteria are able to make mycobactin for themselves. MAP, M. silvaticum and some primary isolates of M. avium lack this capacity, however, and require mycobactin to grow in the laboratory. Thus, the mycobactin requirement is not confined to MAP; this characteristic exists to various degrees within the M. avium group species.

2.	Description and impact of the disease

Clinical signs of paratuberculosis are a slowly progressive wasting and diarrhoea, which is intermittent at first, becoming progressively more severe until it is constantly present in bovines. It is also reported as a significant clinical sign in farmed deer. Diarrhoea is less common in small ruminants.

Early lesions occur in the walls of the small intestine and the draining mesenteric lymph nodes, and infection is confined to these sites at this stage. As the disease progresses, gross lesions occur in the ileum, jejunum, terminal small intestine, caecum and colon, and in the mesenteric lymph nodes. MAP is present in the lesions and, terminally, throughout the body. The intestinal lesions are responsible for a protein leak and a protein malabsorption syndrome, which lead to muscle wasting. Clinical signs usually first appear in young adulthood, but the disease can occur in animals at any age over 1–2 years and in dairy cattle is most frequently reported in the 3- to 5-year old age group.

Within a few weeks of infection, a phase of multiplication of MAP begins in the walls of the small intestine. Depending on the natural resistance of the individual, this infection is eliminated, or the animal remains infected as a healthy carrier. The proportion of animals in these categories is unknown. A later phase of multiplication of the organisms in a proportion of carriers leads to the extension of lesions, interference with gut metabolism and clinical signs of disease. Subclinical carriers excrete variable numbers of MAP in the faeces. In most cases larger numbers of organisms are excreted as clinical disease develops.

3.	Epidemiology and susceptible species

The disease is worldwide diffused and endemic in many countries (Bastida and Juste, 2011; Nielsen and Toft, 2008). Paratuberculosis is found most often among domestic ruminants (cattle, sheep, goats, camelids and buffaloes) as well as wild ruminants (cervids) and has a global distribution. The disease has also been reported in horses, donkeys, pigs, rabbits, stoats, foxes and weasels (Greig et al., 1999). Under natural conditions, the disease in cattle spreads by ingestion of MAP from the contaminated environment. The disease persists after the introduction of infected animals. Infection can be spread vertically to the fetus and semen can be infected with the organism (Larson & Kopecky, 1970 Sweeney et al., 1995). The primary source of infection in calves is faeces from infected cows or milk that is contaminated with the faeces of diseased cattle. Isolates from sheep have different characteristics from those in cattle, but the laboratory detection and diagnostic methods are the same.

4.	Zoonotic potential and biosafety and biosecurity requirements

MAP organisms and potentially infected specimens should be handled at an appropriate biosafety and containment level determined by biorisk analysis as described in Chapter 1.1.4 Biosafety and biosecurity: Standard for managing biological risk in the veterinary laboratory and animal facilities.

5.	Differential diagnosis

Cell-mediated immune responses (CMI) are detectable early in the infection and remain present in a proportion of the subclinically infected carriers, but as the disease progresses, CMI wanes and may be absent in clinical cases. Serum antibodies are detectable later than CMI. They may also be present in animals that have recovered from infection. Serum antibodies are present more constantly and are of higher titre as lesions become more extensive, reflecting the amount of antigen present. In sheep, there may be a serological response that is more likely to be detected in multibacillary than in the paucibacillary form of the disease.

Other mycobacterial diseases and infections, including mammalian and avian tuberculosis, stimulate CMI and the presence of serum antibodies. It follows therefore that these diseases need to be differentiated from paratuberculosis, both clinically and by the use of specific diagnostic tests. Exposure to environmental saprophytic mycobacteria may also sensitise livestock, resulting in nonspecific CMI reactions.

Animals vaccinated against paratuberculosis with whole cell vaccines develop both CMI and serum antibodies. Vaccination is an aid to the prevention of clinical disease, but does not necessarily prevent infection. It also interferes with programmes for the diagnosis and control of bovine tuberculosis. Thus, if it is necessary to attempt a diagnosis of infection in vaccinates, it is advisable to use tests detecting the antigen MAP in samples of faeces or tissues.

In individual animals, especially from a farm in which the disease has not previously been diagnosed, a tentative clinical diagnosis must be confirmed by laboratory tests. However, a definitive presumptive diagnosis may be warranted on clinical grounds alone if the clinical signs are typical and the disease is known to be present in the herd. Confirmation of paratuberculosis depends on the finding of either gross lesions with the demonstration of typical acid-fast organisms in impression smears or microscopic pathognomonic lesions and the isolation in culture of MAP.

MAP organisms and potentially infected specimens should be handled at an appropriate biosafety and containment level determined by biorisk analysis as described in Chapter 1.1.4 Biosafety and biosecurity: Standard for managing biological risk in the veterinary laboratory and animal facilities.

# B.  DIAGNOSTIC TECHNIQUES

Table 1. Test methods available for diagnosis of paratuberculosis and their purpose

| Method | Purpose |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection(a) | Individual animal freedom from infection prior to movement(b) | Contribute to eradication policies(c) | Confirmation of clinical cases(d) | Prevalence of infection – surveillance(e) | Immune status in individual animals or populations post-vaccination(f) |  |
| Detection of the agent(g) |  |  |  |  |  |  |  |
| Histopathology* | þ¨¨ ¨¨¨ | ¨¨¨ | þ¨¨ | þþþ | ¨¨¨þ¨¨ |  | ¨¨¨ |
| Faecal ZN staining | ¨¨¨ | ¨¨¨ | ¨¨¨ | þ¨¨ | ¨¨¨þ¨¨ |  | ¨¨¨ |
| Culture | ¨¨¨ þ¨¨ | þ¨¨ | þ¨¨ | þþþ | þ¨¨ þþ¨ |  | ¨¨¨ |
| PCR | þþþ þþ¨ | þþþ þþ¨ | þ¨¨ þþþ | þþ¨ þþþ | þ¨¨ þþþ |  | ¨¨¨ |
| Detection of immune response(h) |  |  |  |  |  |  |  |
| AGID** | þþ¨ | þ¨¨ | þ¨¨ | þþ¨ | þþþ þþ¨ |  | þþþ ¨ |
| Serum ELISA | þþþ þþ¨ | þþþ þþ¨ | þþþ | þ¨¨ þþþ | þþþ |  | þþþ ¨ |
| Milk tank ELISA | þþ¨ | ¨¨¨ | þþþ | ¨¨¨ | þþþ |  | ¨¨¨ |
| IFN-γ release assay | ¨¨¨ þ¨¨ | ¨¨¨ þ¨¨ | þ¨¨ | ¨¨¨ | ¨¨¨ |  | þþþ ¨ |
| DTH | ¨¨¨ | ¨¨¨ þ¨¨ | þ¨¨ | ¨¨¨ | ¨¨¨ |  |  ¨ |

Key: þþþ= recommended for this purpose; þþ¨recommended but has limitations; 
þ¨¨ = suitable in very limited circumstances; ¨¨¨ = not appropriate for this purpose; 
* = post-mortem use only; ** = appropriate for the use in sheep, goats and wild animals.
ZN = Ziehl–Neelsen; PCR = polymerase chain reaction; AGID = agar gel immunodiffusion; ELISA = enzyme-linked immunosorbent assay; IFN-γ = gamma interferon; DTH = delayed-type hypersensitivity.
(a)See Appendix 1 of this chapter for the justification table of the scores given to the tests for this purpose.
(b)See Appendix 2 of this chapter for the justification table of the scores given to the tests for this purpose.
(c)See Appendix 3 of this chapter for the justification table of the scores given to the tests for this purpose.
(d)See Appendix 4 of this chapter for the justification table of the scores given to the tests for this purpose.
(e)See Appendix 5 of this chapter for the justification table of the scores given to the tests for this purpose. 
(f)See Appendix 6 of this chapter for the justification table of the scores given to the tests for this purpose. 
As it is expected that vaccinated animals will show a positive, albeit variable, response to serological techniques, individual serological results cannot reliably determine whether a positive result in an animal is due to infection or prior vaccination. Consequently, test results at the individual level are of limited value in distinguishing between infection and vaccination. 
At the herd level, however, aggregating results increases reliability and, under specific circumstances, allows more confident inferences to be made about whether a herd has been vaccinated
(g)A combination of agent identification methods applied on the same clinical sample is recommended.
(h)A combination of the listed serological tests is recommended.

To diagnose the presence of paratuberculosis in an individual clinically suspect animal, a number of laboratory tests can be used including: faecal smears, faecal and tissue culture, DNA probes amplification approaches (PCR) using faeces or tissues, serology, necropsy and histology (Table 1).

Herd tests to detect subclinical infection are carried out to determine the prevalence of the infection, usually so that control measures can be instituted. In general, paratuberculosis assays used to detect infected animals showed poor sensitivity and high specificity, with sensitivity varying depending on the stage of the disease. As no test is 100% sensitive or specific, control of the disease by the disposal of positive reactors depends on repeated tests at 6-month or yearly intervals over a number of years and the elimination of reactors to serological tests or faecal shedders; the removal of offspring from female reactors is also considered to be prudent. Even these procedures are not always successful without changes in hygiene and livestock management to reduce the transmission of infection within a herd. Similar test strategies with repeated tests at the herd level can also be applied within control programmes to estimate herd-level probabilities of freedom from infection, and thus to identify low risk herds for safer trade.

1.	Detection of the agent

1.1.	Necropsy

Paratuberculosis cannot be diagnosed on superficial examination of the intestines for signs of thickening. The intestines should be opened from the duodenum to the rectum to expose the mucosa. There is not always a close correlation between the severity of clinical signs and the extent of intestinal lesions. The mucosa, especially of the terminal ileum, is inspected for pathognomonic thickening and corrugation. Early lesions are seen by holding the intestine up to the light, when discrete plaques can be visualised. Mucosal hyperaemia, erosions and petechiation have been observed in deer with paratuberculosis. The earliest lesions are thickening and cording of lymphatics. The mesenteric lymph nodes are usually enlarged and oedematous. Caseous and/or calcified lesions in mesenteric lymph nodes are often seen in goats and to a lesser extent in sheep (Fodstad & Gunnarsson, 1979). Smears from the affected mucosa and cut surfaces of lymph nodes can be stained by Ziehl–Neelsen’s method and examined microscopically for acid-fast organisms that have the morphological characteristics of MAP. However, acid-fast organisms are not present in all cases. Diagnosis is therefore best confirmed by the collection of multiple intestinal wall and mesenteric lymph node samples into fixative (10% formol saline) for subsequent histology. Both haematoxylin-and-eosin-stained sections and Ziehl–Neelsen-stained sections should be examined. The typical lesions of paratuberculosis consist of infiltration of the intestinal mucosa, submucosa, Peyer’s patches and the cortex of the mesenteric lymph nodes with large macrophages, also known as epithelioid cells, and multinucleate giant cells, in both of which clumps or singly disposed acid-fast bacilli are usually, but not invariably, found.

1.2.	Bacteriology (microscopy)

Ziehl–Neelsen-stained smears of faeces or intestinal mucosa are examined microscopically. A presumptive diagnosis of paratuberculosis can be made if clumps (three or more organisms) of small (0.5–1.5 µm), strongly acid-fast bacilli are found. The presence of single acid-fast bacilli in the absence of clumps indicates an inconclusive result. The disadvantages of this test are that it does not differentiate among other mycobacterial species and only a small proportion of cases can be confirmed on microscopic examination of a single faecal sample.

1.3.	Bacteriology (culture)

The isolation of MAP from an animal provides the definitive diagnosis of infection with the organism. Although culture is technically difficult and time-consuming to carry out, it is the only test that does not produce false-positive results, if coupled with other method to confirm the identification of MAP (100% specificity). However, due to the potential pass-through phenomenon, it is theoretically possible that faecal culture testing of non-infected animals on contaminated premises can lead to false-positive reactions (Nielsen & Toft, 2008).

The Faecal culture is has been widely considered to be the gold standard for the diagnosis of paratuberculosis in live animals (affected animals) for decades, but currently this assumption has been called into question based on the results obtained by PCR approaches worldwide. Actually, the Faecal culture can detect most animals in the advanced stages of the disease but identifies only a few animals in the early stages of infection (Nielsen & Toft, 2008). According to conditions, the sensitivity of faecal culture is 70% for affected cattle, 74% for infectious cattle and 23–29% for infected cattle.

There are several culture methods, which vary with respect to media and sample processing protocols. The cultivation of MAP is always performed using special media supplemented with mycobactin J, which is available commercially.

MAP organisms are vastly outnumbered by other bacteria or fungi in faecal and intestinal tissue specimens. The successful isolation of MAP from such samples depends on efficient inactivation of these undesirable organisms. The optimal method of decontamination must have the least inhibitory effect on growth of MAP. Routine decontamination protocols were shown to decrease the number of MAP organisms isolated per sample by about 2.7 log10 and 3.1 log10 for faeces and tissues, respectively (Reddacliff et al., 2003).

There are two basic methods of sample decontamination: the method using oxalic acid and NaOH for decontamination and Löwenstein–Jensen (LJ) medium for growth, and the method using hexadecylpyridinium chloride (HPC) for decontamination in combination with solid media such as Herrolds’s egg yolk medium (HEYM) or Middlebrook 7H10 and liquid media such as Middlebrook 7H9 or commercial equivalents for growth. Although it has been published that HEYM supports growth of bovine isolates of MAP significantly better than LJ, recent studies have shown that certain strains grow better on LJ or Middlebrook media. The advantage of 7H10 medium is that it better supports the growth of ovine strains compared with HEYM. Liquid media have been reported to be more sensitive than solid media for both ovine and bovine strains.

Automated monitoring systems have been developed for the cultivation of MAP in liquid culture, offering the advantage of avoiding the lecture phase, which is continually monitored in order to evaluate O2 consumption or gas pressure. Drawbacks of these systems are the high cost of reagents needed to perform the test as well as the need for standardisation of the procedures. Notably, the output of these systems requires confirmatory testing to avoid false positive results.

Primary colonies of MAP on solid media may be expected to appear any time from 5 weeks to 6 months after inoculation. Sheep strains, including the uncommon, bright yellow pigmented types, grow less well than cattle strains on commonly used media such as HEYM or LJ, and primary cultures should not be discarded as negative without prolonged incubation. The solid medium Middlebrook 7H10 supplemented with egg yolk and mycobactin is excellent for the cultivation of ovine strains of MAP (Whittington et al., 1999).

Primary colonies of the cattle strain of MAP on HEYM are very small, convex (hemispherical), soft, non-mucoid and initially colourless and translucent. Colony size is initially pinpoint. It may remain at 0.25–1 mm and tend to remain small when colonies are numerous on a slope. Colony margins are round and even, and their surfaces are smooth and glistening. The colonies become bigger more raised, opaque, off-white cream to buff or beige coloured as incubation continues. Older isolated colonies may reach 2 mm. The colonial morphology changes with age from smooth to rough, and from hemispherical to mammilate.

On modified 7H10 medium, colonies of the cattle strain are less convex than those on HEYM, especially in aged cultures. They are pinpoint to approximately 1 mm in diameter and, being buff coloured, are only slightly lighter than the media. Compared with colonies of cattle strains on HEYM, those on 7H10 are more difficult to detect. Colonies of the sheep strain of MAP on modified 7H10 are convex, soft, moist, glistening, off-white to buff, and very similar to the colour of the media. Colonies are typically between pinpoint and 0.5 mm, but can reach 1 mm, and rarely 1.5 mm if few colonies occur on a slope.

Saprophytic mycobacteria may have a similar appearance on either medium but are often evident after 5–7 days.

For identification of MAP, small inoculum of suspect colonies should be subcultured on the same medium with and without mycobactin, to demonstrate mycobactin dependency. Mycobactin is present in the cell wall of the organism, and heavy inoculum may contain enough mycobactin to support the growth of MAP on medium that contains no mycobactin. In addition, to finalise the correct diagnosis, PCR confirmation (targeting IS900 or F57) should be used to confirm the identification of MAP isolates.

1.3.1.	Media

Examples of suitable media are:

i)	Herrold’s egg yolk medium with mycobactin and pyruvate

For 1 litre of medium: 9 g peptone; 4.5 g sodium chloride; 2.7 g beef extract; 27 ml glycerol; 4.1 g sodium pyruvate; 15.3 g agar; 2 mg mycobactin; 870 ml distilled water; six egg yolks (120 ml); and 5.1 ml of a 2% aqueous solution of malachite green. Measure the first six ingredients and dissolve by heating in distilled water. Adjust the pH of the liquid medium to 6.9–7.0 using 4% NaOH, and test to ensure the pH of the solid phase is 7.2–7.3. Add the mycobactin dissolved in 4 ml ethyl alcohol. Autoclave at 121°C for 25 minutes. Cool to 56°C and aseptically add six sterile egg yolks and, sterile malachite green solution and mycobactin dissolved in 4 ml ethyl alcohol. Blend gently and dispense into sterile tubes. Note that the batch coming out of the autoclave is divided to add mycobactin to one part and not to the other. In this way, two identical batches of medium remain, with and without mycobactin. This helps to compare the growths.

It is permissible to add 50 mg chloramphenicol, 100,000 U penicillin and 50 mg amphotericin B.

ii)	Modified Dubos’s medium

For 1 litre of medium: 2.5 g casamino acids; 0.3 g asparagine; 2.5 g anhydrous disodium hydrogen phosphate; 1 g potassium dihydrogen phosphate; 1.5 g sodium citrate; 0.6 g crystalline magnesium sulphate; 25 ml glycerol; 50 ml of a 1% solution of Tween 80; and 15 g agar. Dissolve each salt in distilled water with minimum heat and make up to 800 ml. Add mycobactin in alcoholic solution at 0.05% (2 mg dissolved in 4 ml ethyl alcohol), heat the medium to 100°C by free-steaming, and then sterilise by autoclaving at 115°C for 15 minutes. Cool to 56°C in a water bath, add antibiotics (100,000 U penicillin; 50 mg chloramphenicol; and 50 mg amphotericin B) and serum (200 ml of bovine serum sterilised by filtering through a Seitz ‘EX’ pad and inactivated by heat at 56°C for 1 hour). The medium is kept thoroughly mixed and then dispensed into sterile tubes. An advantage of this medium is that it is transparent, which facilitates the early detection of colonies.

iii)	Modified Middlebrook 7H10 and 7H9

Middlebrook media with added Mycobactin and various commercially available supplements can be used. Further advice on formulation can be obtained from the WOAH Reference Laboratories.

iv)	Löwenstein–Jensen medium with or without mycobactin

1.3.2.	Sample preparation

i)	Processing tissue specimens

Chemical preservatives should not be used. The tissues can be frozen at –70°C.

To avoid contamination, the faeces should be rinsed from portions of intestinal tract before shipment to the laboratory.

a)	Digestion/sedimentation method for decontamination of tissues

Approximately 4 g of mucosa from the ileocaecal valve or 4 g of mesenteric node are placed in a sterile blender jar containing 50 ml of trypsin (2.5%). The mixture is adjusted to neutrality using 4% NaOH and pH paper and stirred for 30 minutes at room temperature on a magnetic mixer. The digested mixture is filtered through gauze. The filtrate is centrifuged at approximately 2000–3000 g for 30 minutes. The supernatant fluid is poured off and discarded. The sediment is resuspended in 20 ml of 0.75% HPC and allowed to stand undisturbed for 18 hours at room temperature. The particles that settle to the bottom of the tube are to be used as the inoculum and are removed by pipette without disturbing the supernatant fluid. Alternatively, other methods of decontamination can be used, such as treatment with 5% oxalic acid.

b)	Double incubation method for decontamination of tissues

About 2 g of tissue sample (trimmed of fat) is finely chopped using a sterile scalpel blade or scissors and homogenised in a stomacher for 1 minute in 25 ml 0.75% HPC. Allow the sample to stand so that foam dissipates and larger pieces of tissue settle. Pour tissue homogenate into a centrifuge tube taking care to avoid carry over of fat or large tissue pieces. Allow to settle for 30 minutes then take 10 ml of the suspension from just above the sediment to a 30 ml tube and incubate for 3 hours at 37°C. Centrifuge for 30 minutes at 900 g, discard supernatant fluid and resuspend pellet in 1 ml antibiotic cocktail containing 100 µg of each of vancomycin, amphotericin and nalidixic acid (VAN). Incubate overnight at 37°C. Use the suspension to inoculate media as described below.

c)	Inoculation of culture media and incubation

Approximately 0.1 ml of inoculum is transferred to each of three slants of Herrold’s medium containing mycobactin and to one slant of Herrold’s medium without mycobactin. The inoculum is distributed evenly over the surface of the slants. The tubes are allowed to remain in a slanted position at 37°C for approximately 1 week with screw caps loose. The tubes are returned to a vertical position when the free moisture has evaporated from the slants. The lids are tightened, and the tubes are placed in baskets in an incubator at 37°C.

The egg in Herrold’s medium contributes sufficient phospholipids to neutralise the bactericidal activity of residual HPC in the inoculum. The other media (Modified Dubos and Middlebrook) do not have this property. Other treatments can be used for sample decontamination, for example oxalic acid at 5%.

HPC is relatively ineffective in controlling the growth of contaminating fungi. Amphotericin B (fungizone) was found to control effectively fungal overgrowth of inoculated media. Fungizone may be incorporated in the Herrold’s medium at a final concentration of 50 µg per ml of medium. Due to loss of antifungal activity, storage of Herrold’s medium containing fungizone should be limited to 1 month at 4°C.

The slants are incubated for at least 4 months and observed weekly from the sixth week onwards.

ii)	Processing faecal specimens

No chemical preservative is used. The faecal specimens can be frozen at –70°C.

a)	Suspension and decontamination of faeces

1 5–10 g of faeces is transferred to a 50 ml tube containing 20 ml of sterile distilled water. The mixture is shaken for 30 minutes at room temperature. The larger particles are allowed to settle for 30 minutes. The uppermost 5 ml of faeces suspension is transferred to a 50 ml tube containing 20 ml of 0.95% HPC. The tube is inverted several times to assure uniform distribution and allowed to stand undisturbed for 18 hours at room temperature.

b)	Inoculation of culture media

0.1 ml of the undisturbed sediment is transferred to each of four slants of Herrold’s medium, three with mycobactin and one without mycobactin. A smear may be made from the sediment and stained by the Ziehl–Neelsen method.

c)	Incubation and observation of slants

The same as for tissue specimens.

Variations in the above methods have been described (Collins et al., 1990; Merkal et al., 1968 reviewed in Dane et al., 2023). The sensitivity of culture may be enhanced using liquid media and with centrifugation rather than sedimentation techniques. The double incubation method described by Whitlock et al. (1991) assists with decontamination of the inoculum and offers higher sensitivity than the sedimentation or filtration protocols (Eamens et al., 2000). The double incubation method involves mixing 2 g faeces with 15 35 ml saline or water followed by sedimentation for 30 minutes and transferring (avoiding fibrous matter) the top 5 ml of the suspension to 25 ml of 0.9% HPC in half-strength brain–heart infusion. After incubating at 37°C for 16–24 hours, the mixture is centrifuged at 900 g for 30 minutes (room temperature), the supernatant is discarded, and the pellet is resuspended in 1 ml VAN. The mixture is incubated for 24–72 hours at 37°C and used to inoculate media as described above.

1.4.	Molecular mothods – detection of nucleic acids DNA probes and polymerase chain reaction

PCR assays for the detection of MAP DNA have two stages: DNA extraction from different matrices (faeces, milk, tissue or others) followed by DNA amplification. DNA extraction methods can be broadly divided into manual methods, using spin columns or other capture DNA reagents, and semi-automated methods, most of which use magnetic devices capable of capturing magnetic beads with high affinity for DNA. Of key importance is that the DNA extraction method to be employed includes a mechanical lysis step as well as the chemical lysis. If possible, introducing an internal amplification control for each sample can be pivotal to differentiate between inhibited and true negative samples.

Extraction of nucleic acids

Different kits and homemade procedures can be used for nucleic acid extraction. The quality and concentration of the extracted nucleic acid is important and can be checked using a suitable method as appropriate to the circumstances.

Real-time PCR

DNA probes are being developed that offer a means of detecting MAP in diagnostic samples and of rapidly identifying bacterial isolates (Ellingson et al., 1998). They have been used to distinguish between MAP and other mycobacteria.

McFadden et al. have identified a sequence (McFadden et al., 1987), termed IS900, which is An insertion sequence specific for MAP, termed IS900, has been described (Vary et al., 1990), which is the DNA target currently used in most of the PCR assays aimed at detecting MAP DNA. The sequence is present in a variable number of copies in the MAP genome. However, it has been reported that a small number of isolates other than MAP have produced amplified products the same size as expected from MAP. A restriction enzyme digest or sequencing may be applied to positive IS900 products to confirm that their sequence is consistent with MAP.

The identifications of new DNA sequences considered to be unique to MAP (ISMav2, f57, and ISMap02 sequences), offer additional tools for rapid identification of this organism using the PCR technology (Stabel & Bannantine, 2005; Strommenger et al., 2001; Vansnick et al., 2004). The restriction enzyme analysis of IS1311, an insertion sequence common to M. avium subsp. avium and MAP can be used to distinguish between these species and for typing of ovine, bovine and bison strains of MAP (Sevilla et al., 2005; Whittington et al., 1998).

In recent years, real-time PCR methods have been extensively developed to detect MAP from different specimens (blood, milk, faeces, tissues and environmental samples). The technique is rapid and offers hope for detection of fastidious and slow growing microorganisms, such as MAP. However, this molecular tool is greatly inﬂuenced by the quality of nucleic acid samples. Therefore, a DNA extraction method that provides a DNA sample of sufficient quality and maximum bacterial DNA recovery, coupled with internal amplification controls during the amplification reaction, is a critical step in the use of real-rime PCR (Parka et al., 2014).

PCR assays have improved to the point where they play an important role in the diagnosis of disease (Leite et al., 2013). A recent systematic review and meta-analysis (Liu et al., 2025) estimated the accuracy of real-time PCR assays for detecting paratuberculosis relative to culture methods. The pooled sensitivity was 0.92 (95% CI 0.85–0.96) and the specificity 0.85 (95% CI 0.77–0.91). One assay (Russo et al., 2022, see table below) targeting IS900 has also been validated according to the Chapter 1.1.6. Principles and methods of validation of diagnostic assays for infectious diseases of terrestrial animals. The estimated diagnostic sensitivity and specificity, evaluated by the latent class approach varied according to the real-time PCR cut-off values chosen as well as the prevalence scenarios considered. Commercial diagnostic PCR tests for the detection of MAP in milk and faecal samples are available, but users should consider the interpretation of acquired data and fitness for purpose before adopting such methods.

Primers and probes (sequences) of a validated real-time PCR method

| Pathogen/ target gene | Primer/probe (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Russo et al. (2022) |  |  |  |
| MAP/IS900 | IS900 Fwd real-time PCR: CCG-GTA-AGG-CCG-ACC-ATT-A IS900 Rev real-time PCR: ACC-CGC-TGC-GAG-AGC-A IS900 Probe real-time PCR: CAT-GGT-TAT-TAA-CGA-CGA-CGC-GCA-GC | 300 nM 300 nM 150 nM | 40 cycles of: 95°C/15 sec and 60°C/60 sec |

(a)A denaturation step prior to cycling has not been included. The denaturation step occurs usually at 95°C for 1–5 minutes or even more if using a hot start DNA polymerase

2.	Serological tests

The serological test commonly used for paratuberculosis in cattle is enzyme-linked immunosorbent assay (ELISA). The complement fixation test (CFT) and agar gel immunodiffusion (AGID) shows poorer sensitivity and specificity and are no longer recommended in cattle. However, AGID remains a valuable test for the detection of paratuberculosis in sheep animals in which no specific ELISAs have been developed. There is no international reference serum.

2.1.	Enzyme-linked immunosorbent assay

The ELISA is, at present, the most sensitive and specific test for serum antibodies to MAP in cattle. Its sensitivity is comparable with that of the CFT in clinical cases, but is greater than that of the CFT in subclinically infected carriers. The specificity of the ELISA is increased by M. phlei absorption of sera. The absorbed ELISA, designed by Yokomizo et al. (1983; 1985) and modified by Milner et al. (1988), was developed into a commercial kit by Cox et al. (1991).

The ELISA detects about 30–40% cattle identified as infected by culture of faeces on solid media (Whitlock et al., 2000). Similarly to the culture methods, the sensitivity of the ELISA depends on the level of MAP shedding in faeces and the age of animals. A large study performed in Australia showed that the actual sensitivity of the ELISA in 2-, 3- and 4-year-old cows was 1.2%, 8.9% and 11.6%, respectively, but remained between 20 and 30% in older age-groups (Jubb et al., 2004). The overall actual sensitivity for all age-groups was calculated to be about 15% (Jubb et al., 2004; Whitlock et al., 2000). In cattle, the sensitivities of ELISA are in the range 7–94%, and the specificities of ELISA are in the range 40–100% (Nielsen & Toft, 2008).

In small ruminants the commercially available ELISA had a specificity of 98.2–99.5% (95% confidence intervals [CI]) and detected 35–54% (95% CI) of animals with histological evidence of infection (Hope et al., 2000). In another study, the estimated specificity of an in-house ELISA was 99% and its sensitivity measured against histological results was 21.9% (Sergeant et al., 2003). In small ruminants, the sensitivities of ELISA are in the range 16–100%, and the specificities of ELISA are in the range 79–100% (Nielsen & Toft, 2008).

The absorbed ELISA combines the sensitivity of ELISA with the added specificity of an absorption step. Sera to be tested are diluted with buffer containing soluble M. phlei antigen prior to testing in an indirect ELISA. This procedure eliminates nonspecific cross-reacting antibodies. In early versions, sera were absorbed with whole M. phlei, which were removed by centrifugation prior to testing.

A microtitre plate format has been developed in which MAP antigen is coated on to 96-well plates. Samples are diluted in sample diluent containing M. phlei to remove cross-reacting antibodies. On incubation of the diluted sample in the coated well, antibody specific to MAP forms a complex with the coated antigens. After washing away unbound materials from the wells, horseradish peroxidase (HRPO)-labelled anti-bovine immunoglobulin is added. This reacts with immunoglobulins bound to the solid-phase antigen. The rate of conversion of substrate is proportional to the amount of bound immunoglobulin. Subsequent colour, measured spectrophotometrically (at the wavelength appropriate to the chromogen used), is proportional to the amount of antibody present in the test sample. Several absorbed ELISA kits are commercially available. The method and test materials needed, the interpretation of the results and calculations are fully described in the instructions accompanying the commercial kit. It has been reported that several commercially available ELISAs have similar sensitivities and specificities. Some commercial kits offer an option of testing milk samples. The ELISA on bovine and caprine milk has been found to have specificity similar to that of the serum ELISA, but less sensitive than the blood test (Hendrick et al., 2005; Salgado et al., 2005). In cattle, the sensitivities of milk ELISA are in the range 21–61%, and the specificities of milk ELISA are in the range 83–100% (Nielsen & Toft, 2008).

The ELISA detects about 30–40% of cattle identified as infected by culture of faeces on solid media (Whitlock et al., 2000). Similarly to the culture methods, the sensitivity of the ELISA depends on the level of MAP shedding in faeces and the age of the animals. A large study performed in Australia showed that the actual sensitivity of the ELISA in 2-, 3- and 4-year-old cows was 1.2%, 8.9% and 11.6%, respectively, but remained between 20 and 30% in older age-groups (Jubb et al., 2004). The overall actual sensitivity for all age-groups was calculated to be about 15% (Jubb et al., 2004; Whitlock et al., 2000). In cattle, the sensitivities of ELISA varies in the range 7–94%, depending on the stage of infection and the specificities of ELISA are in the range 40–100% (Nielsen & Toft, 2008). At the herd level, milk and serum ELISA characteristics (sensitivity and specificity) varied according to the test protocol used (Field et al., 2022). Cross reactions after the intradermal comparative cervical tuberculin test has been reported (Kennedy et al., 2014). The impact of such cross reactions should be evaluated for each programme, for example, in the UK, the impact on paratuberculosis control programmes at the national level in the cattle population seems to be negligible (Caldow et al., 2023).

In small ruminants, the sensitivities of ELISA are in the range 16–100%, and the specificities of ELISA are in the range 79–100% (Nielsen & Toft, 2008).

2.2.	Complement fixation test

The CFT has been the standard test used for cattle for many years. The CFT works well on clinically suspect animals, but does not have sufficient specificity to enable its use in the general population for control purposes. Thus, the CFT is not recommended for control purposes nor for individual animal testing prior to international movement. A variety of CFT procedures are used internationally. There are no international pattern sera with standardised complement fixation units for use as a reference. An example of a microtitre method for performing the CFT is given.

2.1.1.	Test procedure

i)	The antigen is an aqueous extract of bacteria from which lipid has been removed (strain M. paratuberculosis 316F). Mycobacterium avium D9 may also be used.

ii)	All sera are inactivated in the water bath at 60°C for 30 minutes and diluted at 1/4, 1/8 and 1/16. A positive control serum and a negative control serum should be included on each plate. The following controls are also prepared: antigen control, complement control and haemolytic system control.

iii)	Reconstituted, freeze-dried complement is diluted to contain six times H50 (50% haemolysing dose) as calculated by titration against the antigen.

iv)	Sheep erythrocytes, 2.5%, are sensitised with 2 units of H100 haemolysin.

v)	All dilutions and reagents are prepared in calcium/magnesium veronal buffer; 25 µl volumes of each reagent are used in 96-well round-bottom microtitration plates.

vi)	Primary incubation is at 4°C overnight and secondary incubation is at 37°C for 30 minutes.

vii)	Reading and interpreting the results: Plates may be left to settle or centrifuged and read as follows: 4+ = 100% fixation, 3+ = 75% fixation, 2+ = 50% fixation, 1+ = 25% fixation and 0 = complete haemolysis. The titre of test sera is given as the reciprocal of the highest dilution of serum giving 50% fixation. A reaction of 2+ at 1/8 is regarded as positive. Results should be interpreted in relation to clinical signs and other laboratory findings.

2.23.	Agar gel immunodiffusion test

The AGID test is useful for the confirmation of the disease in clinically suspect cattle, sheep, and goats and wild animals. It has been reported that in small ruminants in New Zealand and Australia the AGID offers slightly higher sensitivity and specificity than that obtained by the ELISAs (Gwozdz et al., 2000; Hope et al., 2000; Sergeant et al., 2003). The reported specificity and sensitivity of the AGID measured against histological histopathology or culture results from the terminal ileum and associated lymph nodes was results were 99–100% (95%CI) for both goats and sheep and the sensitivity was 38–56 14–40% (95% CI), respectively (Hope et al., 2000 Gumber et al., 2006).

The antigen employed is a crude protoplasmic extract of laboratory strain M. avium 18 (formally M. paratuberculosis 18) prepared by disruption of cells in a hydraulic press cell fractionator. Disrupted cells are centrifuged at 40,000 g for 2 hours to remove cell wall debris, and the supernatant fraction is retained and lyophilised. This antigen is resuspended in water at a concentration of 10 mg/ml.

Agarose is dissolved in barbital buffer, pH 8.6, containing sodium azide, to give a final agarose concentration of 0.75%. Agarose may be poured into Petri dishes or on to glass slides. Wells are cut in a hexagonal pattern. Wells are 4 mm in diameter, 4 mm apart, and the agar should be 3–4 mm deep. Antigen is added to centre wells. Test, positive and negative control sera are added to alternate peripheral wells.

Plates are incubated in a humid chamber at room temperature. Gels are examined for precipitation lines after 24 and 48 hours’ incubation. The appearance of one or more clearly definable precipitation line(s), showing identity with that of a control positive serum, before or at 48 hours, constitutes a positive test result. Absence of any precipitation lines is recorded as a negative test result. Nonspecific lines may occur.

Several variations of the method are in use.

3.	Tests for cell-mediated immunity

The detection of a systemic cell-mediated response precedes detectable antibody production. Animals that are minimally infected frequently fail to react on serological testing but may react positively to tests that measure CMI. In infected populations, a much higher number of animals is expected to react in tests for CMI compared with antibody tests, as CMI is indicative of exposure while antibodies indicate progress of infection.

3.1.	Interferon-gamma release assay

The assay is based on the release of gamma interferon (IFN-γ) from sensitised lymphocytes during an 18–36-hour incubation period with specific antigen (avian purified protein derivative [PPD] tuberculin, bovine PPD tuberculin or johnin). The quantitative detection of bovine IFN-γ is carried out with a sandwich ELISA that uses two monoclonal antibodies to bovine IFN-γ. A commercial diagnostic test based on the detection of IFN-γ has been developed for the diagnosis of bovine tuberculosis. The method and test materials needed are fully described in the instructions accompanying the commercial kit. This test has not been validated by the manufacturer for the diagnosis of paratuberculosis. As such, results derived from this assay are frequently difficult to interpret because there is no agreement with respect to the interpretation criteria and types and amounts of antigens used to stimulate blood lymphocytes. In cattle the reported specificity of the test varied from 94% to 67% and the sensitivity varied from 13% to 85%, depending on the interpretation criteria (Kalis et al., 2003; Nielsen & Toft, 2008). A longitudinal study evaluated the accuracy of IFN-γ in bovines (Corneli et al., 2021). The sensitivity and specificity proved to vary according to the cut-off values selected. This publication offers some suggestions on the appropriateness of this method for the diagnosis of paratuberculosis.

Several ELISA kits are commercially available for quantitative detection of IFN-γ on bovine, ovine and caprine plasmas.

3.2.	Delayed-type hypersensitivity

The skin test for delayed-type hypersensitivity (DTH) is a measure of cell-mediated immunity, but has limited value. The test is carried out by the intradermal inoculation of 0.1 ml of antigen into a clipped or shaven site, usually on the side of the middle third of the neck. In the past, avian PPD tuberculin or johnin was used for this purpose as it was believed that avian tuberculin and johnin are of comparable sensitivity and specificity. The skin thickness is measured with calipers before and 72 hours after inoculation. Increases in skin thickness of over 2 mm should be regarded as indicating the presence of DTH. It should be noted that positive reactions in deer may take the form of diffuse plaques rather than discrete circumscribed swellings, thus making reading of the test more difficult. The presence of any swelling should be regarded as positive in this species. However, sensitisation to the M. avium complex is widespread in animals, and neither avian tuberculin nor johnin are highly specific. Furthermore, the interpretation of the skin test results is complicated by the lack of agreement with respect to interpretation criteria. In a study in which johnin was used to test cattle, the skin test specificity was 88.8% at the cut-off value of ≥2 mm, 91.3% at the cut-off value of ≥3 mm and 93.5% at the cut-off value of ≥4 mm (Kalis et al., 2003). The effect of these cut-off values on the sensitivity has not been determined. The performance of this test may also be significantly affected by minor antigenic differences that occur in different batches of antigen (Kalis et al., 2003). Further research is required to increase the value of the skin test.

# C.  REQUIREMENTS FOR VACCINES AND DIAGNOSTIC BIOLOGICALS

C1. 	Vaccines

1.	Background

Vaccination may interfere with eradication programmes based on immunological testing and elimination of animals identified as infected and can interfere with the interpretation of DTH skin tests for bovine tuberculosis. Despite many efforts to develop new vaccines based on multi- or single epitopes, as well as those derived from attenuated mutants, all the few commercial vaccines now available are exclusively inactivated (killed) whole-cell-based vaccines. Moreover, to date, effective DIVA (differentiating infected from vaccinated animals) strategies are not available. Vaccination of can curtail the clinical incidence of paratuberculosis, defer the onset of the disease, and diminish faecal shedding of MAP, thereby mitigating economic losses and transmission of the disease (Bastida & Juste, 2011). Nevertheless, the practice of vaccinating cattle or small ruminants is not allowed in many some countries mainly due to the fear of giving rise or permitted solely under specified circumstances. This is primarily attributable to false positive results in interference with the skin test for bovine tuberculosis.

Guidelines for the production of veterinary vaccines are given in Chapter 1.1.8 Principles of veterinary vaccine production. The guidelines given here and in Chapter 1.1.8 are intended to be general in nature and may be supplemented by national and regional requirements.

2.	Outline of production and minimum requirements for vaccines

2.1.	Characteristics of the seed

2.1.1.	Quality criteria

Purity tests should be carried out on seed cultures and final harvest by stained smears.

2.1.2.	Validation as a vaccine strain

Seed strains should be of a prevalent type, which may be checked by biotyping or genetic analysis. They should have been demonstrated to be innocuous when administered by the recommended route of vaccination to intended target species.

2.2.	Method of manufacture

2.2.1.	Procedure

For vaccine batches, the organisms may be grown on a liquid synthetic medium, such as Reid’s synthetic medium. The organisms grow as a pellicle on the liquid surface. To ensure a good surface area, it is convenient to use vessels such as conical flasks containing one-third of their nominal volume of liquid medium. These flasks may be seeded directly from potato slant cultures, but with some strains, one or more passages on liquid medium may be necessary to ensure adequate pellicle growth for the final, vaccine batch passage. Such passaging should usually take place at 2-week intervals as longer periods may result in over-maturation and sinking of the pellicle. Incubation is at 37°C.

To prepare the vaccine, the pellicle growth from 2-week-old cultures of each strain to be included may be separated from the liquid medium by decantation, filtration and pressing between filter paper pads. The moist MAP culture is blended with an adjuvant, such as liquid paraffin, olive oil and pumice.

2.2.2.	In-process controls

Adequate growth of culture and cultural purity need to be checked. Presence of contaminating organisms may be detected by conventional sterility tests on harvests. Tests for pathogenic mycobacteria are carried out by injection of moist culture, taken prior to blending with adjuvant and diluted tenfold in saline, into two guinea-pigs, each receiving 1 ml. These are observed for 8 weeks, killed humanely, and examined for any abnormal lesions.

2.2.3.	Final product batch test

i)	Sterility

Tests for sterility and freedom from contamination of biological materials intended for veterinary use may be found in Chapter 1.1.9. The vaccine organism will not normally grow to a detectable level in conventional sterility tests.

ii)	Identity

Identity of culture is performed by Ziehl–Neelsen staining and PCR (see Section B.1.4).

iii)	Safety

These tests are normally performed in laboratory animals, although multidose tests in target animals would also be satisfactory. A typical laboratory animal test would be as follows. Each of two guinea-pigs is inoculated, subcutaneously, with an acceptable batch of vaccine at a fraction of the cattle dose previously determined to give a nodule but no overt necrosis at the injection site. Animals are observed for 8 weeks, killed humanely and examined for any abnormal lesions.

iv)	Batch potency

As protection tests appear to be impractical, a test of sensitising ability may be used. This may then be related to bacterial content based on weight. A typical test would be as follows: guinea-pigs are sensitised by intramuscular injection of 0.5 ml of a 100-fold dilution in liquid paraffin of the vaccine under test. Skin tests are performed 6 weeks after sensitisation using intradermal inoculations of 0.2 ml of at least three serial dilutions of an MAP antigen, such as johnin PPD, the dilutions being chosen to give expected skin reactions of from 8 mm to 25 mm diameter. Each guinea-pig receives several dilutions per flank, their distribution being chosen by a Latin square design. After 24–48 hours, skin reactions are measured. A reference preparation for tests of this type has not yet been fully established. Avian tuberculin PPD of known international unitage may be used as a skin test antigen in tests of this type to ensure that the vaccine is capable of producing adequate sensitisation (corresponding to the vaccination).

2.3.	Requirements for regulatory approval

2.3.1.	Manufacturing process

A preservative is normally included for vaccine in multidose containers.

2.3.2.	Safety requirements

i)	Target and non-target animal safety

See Section C1.2.2.3.

ii)	Reversion-to-virulence for attenuated/live vaccines and environmental considerations

Live vaccines are not available. See Chapter 1.1.8.

iii)	Precautions (hazards)

The vaccine causes some side-effects, nodule formation and sensitisation of animals to the tuberculin test (Gwozdz et al., 2000). In humans, accidental injection of vaccine has resulted in chronic inflammatory reactions requiring surgical treatment.

2.3.3.	Efficacy requirements

The vaccine should be used as part of a control programme and will not on its own provide complete protection against disease caused by MAP.

2.3.4.	Vaccines permitting a DIVA strategy (detection of infection in vaccinated animals)

No DIVA vaccine yet available

2.3.5.	Duration of immunity

After vaccination at the age of 14–30 days, the vaccination effect is expressed as the reduction in the rate of excretors among vaccinated animals as compared with nonvaccinated bovines.

C2.	Johnin

1. 	Background

Johnin PPD is a preparation of the heat-treated products of growth and lysis of MAP. Avian tuberculin PPD is a preparation of heat-treated products of growth and lysis of M. avium subsp. avium D4ER or TB 56. Details of avian tuberculin PPD have been incorporated into Chapter 3.1.13 Mammalian tuberculosis (infection with Mycobacterium tuberculosis complex). These two preparations are used, by intradermal injection, to reveal DTH as a means of identifying animals infected or sensitised with MAP.

Guidelines for the production of veterinary biologicals are given in Chapter 1.1.8 Principles of veterinary vaccine production. The guidelines given here and in Chapter 1.1.8 are intended to be general in nature and may be supplemented by national and regional requirements.

2.	Outline of production and minimum requirements for Johnin

2.1.	Characteristics of the seed

2.1.1.	Quality criteria

Cultures should be checked by staining smears for the presence of contaminating organisms.

To test for lack of sensitising effect, three guinea-pigs that have not previously been treated with any material that could interfere with the test, are each injected intradermally on each of three occasions at 5-day intervals, with 0.01 mg of the preparation under test in a volume of 0.1 ml. Each guinea-pig, together with each of three control guinea-pigs that have not been injected previously, is injected intradermally 15–21 days after the third injection with the same dose of the same johnin. The reactions of the two groups of guinea-pigs should not be significantly different when measured 24–48 hours later.

2.1.2.	Validation as a strain

Strains of MAP used to prepare seed cultures should be identified by biotyping or genetic tests. They should be shown to be free from contaminating organisms.

2.2.	Method of manufacture

2.2.1.	Procedure

Johnin for skin test diagnosis is a PPD prepared from one or more strains of MAP. It may be prepared by the following method.

MAP strains are grown as a pellicle on liquid Reid’s medium. Production cultures are usually inoculated from liquid seeding cultures rather than directly from seed on solid medium (Reid’s synthetic medium). Production cultures are incubated at 37°C for 10 weeks.

At the end of the incubation period, the culture medium has a pH of about 5 and little or no johnin will be obtained unless the pH is raised, using sodium hydroxide, to about 7.3 before steaming. After thorough mixing, the cultures are free steamed for 3 hours. The bulk of the killed organisms is removed by coarse filtration and the filtrate is clarified by further filtration. Protein in the filtrate is precipitated chemically with 40% trichloroacetic acid, washed and redissolved (alkaline solvent). The product is sterilised by filtration. An antimicrobial preservative that does not give rise to false-positive reactions, such as phenol (not more than 0.5% [w/v]), may be added. Glycerol (not more than 10% [w/v]) may be added as a stabiliser. The product is dispensed aseptically into sterile glass containers, which are then sealed.

2.2.2.	In-process controls

After final filtration the sterility of each filtrate of the PPD solution is checked.

Sterile filtrates are tested for protein content by a Kjeldahl method (British Pharmacopoeia [Veterinary], 1985). The protein content is adjusted to give between 0.475 and 0.525 mg/ml of protein in the final product. The pH is adjusted to the range 6.5–7.5.

2.2.3.	Final product batch test

i)	Sterility

Tests for sterility and freedom from contamination of biological materials intended for veterinary use may be found in Chapter 1.1.9. The organism will not normally grow to a detectable level in conventional sterility tests.

ii)	Identity

Identity of culture is performed by Ziehl–Neelsen staining and PCR (see Section B.1.4).

iii)	Safety

Two guinea-pigs should each be injected subcutaneously with 0.5 ml of the johnin under test. No significant local or systemic lesions should be seen within 7 days (British Pharmacopoeia [Veterinary], 1985).

Tests on johnin for living mycobacteria may be performed either on the material immediately before it is dispensed into final containers or on samples taken from final containers themselves. A sample of at least 10 ml should be taken, and this should be injected intraperitoneally or subcutaneously into at least two guinea-pigs, dividing the volume to be tested equally between the guinea-pigs. It is desirable to take a larger sample, say 50 ml, and to concentrate any residual mycobacteria by centrifugation or membrane filtration. The guinea-pigs are observed for at least 42 days and post-mortem examinations are carried out. Any macroscopic lesions are examined microscopically and culturally.

iv)	Batch potency

The potency of johnin is currently determined by chemical assay for protein using a Kjeldahl method. A PPD content of 0.5 ± 0.025 mg/ml of final product is recommended (British Pharmacopoeia [Veterinary], 1985).

2.3.	Requirements for regulatory approval

For johnin, the phenol used is no more than 0.5% (w/v). The concentration of the preservative in the final product and its persistence through shelf life should be checked.

# REFERENCES

# Bastida F. & Juste R.A. (2011). Paratuberculosis control: a review with a focus on vaccination. J. Immune Based. Ther. Vaccines, 9, 8.

British Pharmacopoeia (Veterinary) (1985). Johnin purified protein derivative. British Pharmacopoeia (Veterinary), 184–185.

Collins M.T., Kenefick K.B., Sockett D.C., Lambrecht R.S., McDonald J. & Jorgensen J.B. (1990). Enhanced radiometric detection of Mycobacterium paratuberculosis by using filter-concentrated bovine fecal specimens. J. Clin. Microbiol., 28, 2514–2519.

Cox J.C., Drane D.P., Jones S.L., Ridge R. & Milner A.R. (1991). Development and evaluation of a rapid absorbed enzyme immunoassay test for the diagnosis of Johne’s disease in cattle. Aust. Vet. J., 68, 157–160.

# Caldow G.L., Douglas L., Thacker J., Mackay E. & Berezowski J. (2023). Estimation of the specificity of an antibody ELISA for paratuberculosis generated from a sector of the UK cattle population using results from a paratuberculosis control programme. Prev. Vet. Med., 215, 105910.

# Cheng Z., Liu M., Wang P., Liu P., Chen M., Zhang J., Liu S. & Wang F. (2020). Characteristics and Epidemiological Investigation of Paratuberculosis in Dairy Cattle in Tai’an, China. Biomed. Res. Int., 2020, 3896754.

# Corbiere F., Guellouz D., Tasca C., Foures L., Dubaux E.& Foucras G. (2023). Effects of Silirum®-Based Vaccination Programs on Map Fecal Shedding and Serological Response in Seven French Dairy Herds. Animals (Basel), 13, 1569. doi: 10.3390/ani13091569.

# Corneli S., Di Paolo A., Vitale N., Torricelli M., Petrucci L., Sebastiani C., Ciullo M., Curcio L., Biagetti M., Papa P., Costarelli S., Cagiola M., Dondo A. & Mazzone P. (2021). Early Detection of Mycobacterium avium subsp. paratuberculosis Infected Cattle: Use of Experimental Johnin’s and Innovative Interferon-Gamma Test Interpretative Criteria. Front. Vet. Sci., 8, 638890.

# Dane H., Stewart L.D. & Grant I.R. (2023). Culture of Mycobacterium avium subsp. paratuberculosis: challenges, limitations and future prospects. J. Appl. Microbiol., 134(1):lxac017. doi: 10.1093/jambio/lxac017.

# Dimareli-Malli Z., Samarineanu M., Sarca M., Zintzaras E., Sarris K. & Tsitsamis S. (2004). Statistical evaluation of ELISA methods for testing caprine paratuberculosis. Int. J. Appl. Res. Vet. Med., 2, 10–16.

Eamens G.J., Whittington R.J., Marsh I.B., Turner M.J., Saunders V., Kemsley P.D. & Rayward D. (2000). Comparative sensitivity of various faecal culture methods and ELISA in dairy cattle herds with endemic Johne’s disease. Vet. Microbiol., 77, 357–367.

Ellingson J.L.E., Bolin C.A. & Stabel J.R. (1998). Identification of a gene unique to Mycobacterium avium subspecies paratuberculosis and application to diagnosis of paratuberculosis. Mol. Cell. Probes, 12, 133–142.

# Field N.L., Mee J.F. & Mcaloon C.G. (2022). Characteristics (sensitivity and specificity) of herd-level diagnostic tests for Mycobacterium avium subspecies paratuberculosis in cattle – A systematic review. Vet. J., 279, 105786.

Fodstad F.H. & Gunnarsson E. (1979). Post-mortem examination in the diagnosis of Johne's disease in goats. Acta Vet. Scand., 20, 157–167.

Garrido J.M., Vazquez P., Molina E., Plazaola J.M., Sevilla I.A., Geijo M.V., Alonso-Hearn M. & Juste R.A. (2013). Paratuberculosis vaccination causes only limited cross-reactivity in the skin test for diagnosis of bovine tuberculosis. PLoS One, 8(11):e80985. doi: 10.1371/journal.pone.0080985. eCollection 2013.

Greig A., Stevenson K., Henderson D., Perez V., Hugues V., Pavlik I., Hines M.E. 2nd, McKendrick I. & Sharp J.M. (1999). Epidemiological study of paratuberculosis in wild rabbits in Scotland. J. Clin. Microbiol., 37, 1746–1751.

# Gumber S., Eamens G. & Whittington R.J. (2006). Evaluation of a Pourquier ELISA kit in relation to agar gel immunodiffusion (AGID) test for assessment of the humoral immune response in sheep and goats with and without Mycobacterium paratuberculosis infection. Vet. Microbiol., 115, 91–101.

Gwozdz J.M., Thompson K.G., Murray A., Reichel M.P., Manktelow B.W. & West D.M. (2000). Comparison of three serological tests and an interferon-gamma assay for the diagnosis of paratuberculosis in experimentally infected sheep. Aust. Vet. J., 78, 779–783.

Hendrick S., Duffield T., Leslie K., Lissemore K., Archambault M. & Kelton D. (2005) The prevalence of milk and serum antibodies to Mycobacterium avium subspecies paratuberculosis in dairy herds in Ontario. Can. Vet. J., 46, 1126–1129.

# Hlokwe M.T., Masina N.S., Letsoko B., Davey S.C. & Michel A.L. (2025). Are there benefits of culture-based detection of Mycobacterium avium spp. paratuberculosis over histopathology? Onderstepoort J. Vet. Res., 92(1):e1-e9.

Hope A.F., Kluver P.F., Jones S.L. & Condron R.J. (2000). Sensitivity and specificity of two serological tests for the detection of ovine paratuberculosis. Aust. Vet. J., 78, 850–856.

Jubb T.F., Sergeant E.S., Callinan A.P. & Galvin J. (2004). Estimate of the sensitivity of an ELISA used to detect Johne’s disease in Victorian dairy cattle herds. Aust. Vet. J., 82, 569–573.

Kalis C.H., Collins M.T., Hesselink J.W. & Barkema HW. (2003). Specificity of two tests for the early diagnosis of bovine paratuberculosis based on cell-mediated immunity: the Johnin skin test and the gamma interferon assay. Vet. Microbiol., 97, 73–86.

# Kennedy A.E., Da Silva A.T., Byrne N., Govender R., Macsharry J., O’Mahony J. & Sayers R.G. (2014). The Single Intradermal Cervical Comparative Test Interferes with Johne’s Disease ELISA Diagnostics. Front. Immunol., 5, 564.

Larson A.B. & Kopecky K.E. (1970). Mycobacterium paratuberculosis in reproductive organs and semen of bulls. Am. J. Vet. Res., 31, 255–258.

Leite F.L., Stokes K.D., Robbe-Austerman S. & Stabel J.R. (2013). Comparison of fecal DNA extraction kits for the detection of Mycobacterium avium subsp. paratuberculosis by polymerase chain reaction. J. Vet. Diagn. Invest., 25, 27–34.

# Liu T., Lin H., Zhu L., Yang D.A., Yao H. & Pan Z. (2025). Accuracy of real-time PCR for the detection of paratuberculosis in actual samples: A systematic review and meta-analysis. Prev. Vet. Med., 237, 106436.

# Luttikholt S., Lievaart-Peterson K., Gonggrijp M., Aalberts M., van Schaik G. & Vellema P. (2019). Mycobacterium avium subsp. paratuberculosis ELISA Responses in Milk Samples from Vaccinated and Nonvaccinated Dairy Goat Herds in The Netherlands. Vet. Sci., 6, 58. doi: 10.3390/vetsci6020058.

McFadden J.J., Butcher P.D., Chiodini R. & Hermon-Taylor J. (1987). Crohn’s disease – isolated mycobacteria are identical to Mycobacterium paratuberculosis, as determined by DNA probes that distinguish between mycobacterial species. J. Clin. Microbiol., 25, 796–801.

Merkal R.S., Larsen A.B., Kopecky K.E. & Ness R.D. (1968). Comparison of examination and test methods for early detection of paratuberculosis in cattle. Am. J. Vet. Res., 29, 1533–1538.

Milner A.R., Mack W.N., Coates K., Wood P.R., Sheldrick P., Hill J. & Gill I. (1988). The absorbed ELISA for the diagnosis of Johne’s disease in cattle. In: Johne’s Disease, Milner A. & Wood P., eds. CSIRO Publications, Melbourne, Australia, 158–163.

Nielsen S.S. & Toft N. (2008). Ante mortem diagnosis of paratuberculosis: a review of accuracies of ELISA, interferon-gamma assay and faecal culture techniques. Vet. Microbiol., 129, 217–235.

Parka K.T., Allenb A.J. & Davisa W.C. (2014). Development of a novel DNA extraction method for identification and quantification of Mycobacterium avium subsp. paratuberculosis from tissue samples by real-time PCR. J. Microbiol. Methods, 99, 58–65.

# Reddacliff L.A., Vadali A. & Whittington R.J. (2003). The effect of decontamination protocols on the numbers of sheep strain Mycobacterium avium subsp. paratuberculosis isolated from tissues and faeces. Vet. Microbiol., 95, 271–282.

# Russo S., Galletti G., Leo S., Arrigoni N., Garbarino C. & Ricchi M. (2022). Validation of IS900-qPCR assay to assess the presence of Mycobacterium avium subs. paratuberculosis in faecal samples according to the OIE procedure. Prev. Vet. Med., 208, 105732.

Salgado M., Manning E.J. & Collins M.T. (2005). Performance of a Johne’s disease enzyme-linked immunosorbent assay adapted for milk samples from goats. J. Vet. Diagn. Invest., 17, 350–354.

Sergeant E.S., Marshall D.J., Eamens G.J., Kearns C. & Whittington R.J. (2003). Evaluation of an absorbed ELISA and an agar-gel immuno-diffusion test for ovine paratuberculosis in sheep in Australia. Prev. Vet. Med., 61, 235–248.

Sevilla I., Singh S.V., Garrido J.M., Aduriz G., Rodriguez S., Geijo M.V., Whittington R.J., Saunders V., Whitlock R.H. & Juste R.A. (2005). Molecular typing of Mycobacterium avium subspecies paratuberculosis strains from different hosts and regions. Rev. sci. tech. Off. int. Epiz., 24, 1061–1066.

Stabel J.R. & Bannantine J.P. (2005). Development of a nested PCR method targeting a unique multicopy element, ISMap02, for detection of Mycobacterium avium subsp. paratuberculosis in fecal samples. J. Clin. Microbiol., 43, 4744–4750.

Strommenger B., Stevenson K. & Gerlach G.F. (2001). Isolation and diagnostic potential of ISMav2, a novel insertion sequence-like element from Mycobacterium avium subspecies paratuberculosis. FEMS Microbiol. Lett., 196, 31–37.

Sweeney R.W., Whitlock R.H., Buckley C.L & Spencer P.A. (1995). Evaluation of a commercial enzyme-linked immunosorbent assay for the diagnosis of paratuberculosis in dairy cattle. J. Vet. Diagn. Invest., 7, 488–493.

Thorel M.F, Krichevsky M. & Vincent Levy-Frebault V. (1990). Numerical taxonomy of mycobactin-dependent mycobacteria, emended description of Mycobacterium avium subsp. avium subsp. nov., Mycobacterium avium subsp. paratuberculosis subsp. nov., and Mycobacterium avium subsp. silvaticum subsp. nov. Int. J. Syst. Bacteriol., 40, 254–260.

Vansnick E., De Rijk P., Vercammen F., Geysen D., Rigouts L. & Portaels F. (2004). Newly developed primers for the detection of Mycobacterium avium subspecies paratuberculosis. Vet. Microbiol., 100, 197–204.

Vary P.H., Andersen P.R., Green E., Hermon-Taylor J. & McFadden J.J. (1990). Use of highly specific DNA probes and the polymerase chain reaction to detect Mycobacterium paratuberculosis in Johne's disease. J. Clin. Microbiol., 28, 933–937.

Whitlock R.H., Rosenberger A.E., Sweeney R.W., Hutchinson L.J. (1991). Culture techniques and media constituents for the isolation of Mycobacterium paratuberculosis from bovine fecal samples. Proceedings of the Third International Colloquium on Paratuberculosis. International Association for Paratuberculosis, Providence, USA, 94–111.

Whitlock R.H., Wells S.J., Sweeney R.W. & Tiem J. Van (2000). ELISA and fecal culture for paratuberculosis (Johne’s disease): sensitivity and specificity of each method. Vet. Microbiol., 77, 387–398.

Whittington R, Marsh I, Choy E, Cousins D. (1998). Polymorphisms in IS1311, an insertion sequence common to Mycobacterium avium and M. avium subsp. paratuberculosis, can be used to distinguish between and within these species. Mol. Cell Probes., 12, 349–358.

Whittington R.J., Marsh I., McAllister S., Turner M.J., Marshall D.J. & Fraser C.A. (1999). Evaluation of modified BACTEC 12B radiometric medium and solid media for culture of Mycobacterium avium subsp. paratuberculosis from sheep. J. Clin. Microbiol., 37, 1077–1083.

Yokomizo Y., Merkal R.S. & Lyle P.A.S. (1983). Enzyme-linked immunosorbent assay for detection of bovine immunoglobulin G antibody to a protoplasmic antigen of Mycobacterium paratuberculosis. Am. J. Vet. Res., 44, 2205–2207.

Yokomizo Y., Yugi H. & Merkal R.S. (1985). A method for avoiding false-positive reactions in an enzyme-linked immunosorbent assay (ELISA) for the diagnosis of bovine paratuberculosis. Jpn J. Vet. Sci., 47, 111–119.

*
*   *

NB: There are WOAH Reference Laboratories for paratuberculosis 
(please consult the WOAH Web site at: 
https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3). 
Please contact the WOAH Reference Laboratories for any further information on 
diagnostic tests, reagents and vaccines for paratuberculosis

NB: First adopted in 1991. Most recent updates adopted in 2021.

Appendix 1

Paratuberculosis: 
Intended purpose of test: population freedom from infection

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PCR þþ¨ Bovine, sheep, goats, alpacas, llamas | Faces and tissues IS900, F57 and HspX | Systematic review and meta-analysis using cultures as gold standard Pooled sensitivity 0.92 (95% CI 0.85–0.96) Pooled specificity 0.85 (95% CI 0.77–0.91) | Mixed populations. 43 studied from 24 scientific articles were considered in this meta-analysis | See reference | Rapidity, good sensitivity and specificity compared with cultural methods | More expansive than ELISA Necessity for specific equipment and well-trained personnel It could have poor sensitivity when applied to a population with unknow paratuberculosis status | Liu et al. (2025) |
| Culture þ¨¨ Bovine, sheep, goats, | Faces | Review reporting sensitivity and specificity variable according to the status (affected, infectious, infected) of the animals Sensitivity is lower than specificity | Mixed populations. Six evaluations for the bovine population, one for goats and sheep, respectively | See reference | No false positives if coupled with other confirmatory test. Semiquantitative outputs. | Presence of fastidious field isolates unable to growth The decontamination process reduces the analytical sensitivity, but the contaminant flora can impact as well A long time is required for the first isolation | Nielsen & Toft (2008) |
| AGID þþ¨ Different species | serum | Se: 13.8% for sheep and 39.5% for goats Sp: 100% |  | See reference | Possibility of working with non-mammalian animals or zoo animals. Speed Economically accessible. possibility of doing it in poorly equipped laboratories | Lower sensitivity than ELISAs | Gumber et al. (2006) |
| ELISA þþ¨ Cattle | Serum and milk | Se: between 54 and 100% Sp: between 47 and 94% Depending on, among other things, the kit used, the type of sampling, the individual prevalence, the test used as a reference, the type of analysis, the status of the animals (infected, sick), and the size of the herd | Targeted sampling, random sampling, prevalence stratification, repeated sampling, etc. | See reference | Speed, relatively good sensitivity and specificity compared with cultural methods. Economically accessible based on the sampling performed. Ease of sample collection | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations | Field et al. (2022) |
| ELISA þþ¨ Dairy cattle | Bulk milk tank | Se: Between 10 and 97% Sp: Between 95 and 100% Depending on, among other things, the kit used, the type of sampling, the individual prevalence, the test used as a reference, the type of analysis, the status of the animals (infected, sick), and the size of the herd | Targeted sampling, random sampling, prevalence stratification, repeated sampling, etc. | See reference | Speed, relatively good sensitivity and specificity compared with cultural methods Economically accessible based on the sampling performed Ease of sample collection | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations | Field et al. (2022) |
| ELISA þþ¨ | Goats, sheep, deer | Goat: Se: between 82 and 100% (affected animals) 63 and 84% (infected animals) Sp: 92–100% Sheep: 36–85% (affected animals) 16–44% (infected animals) Sp: 95–99% Deer: Se: 83% (affected animals) Sp: 98–100% |  | See reference | Speed, relatively good sensitivity and specificity compared with cultural methods Economically accessible based on the sampling performed Ease of sample collection | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations Few systematic studies carried out | Nielsen & Toft (2008) |
| IFN-γ release assay þ¨¨ bovine | Blood of individual animal | 1 Reference) Longitudinal study evaluating the accuracy. The sensitivity and specificity varied according to the cut-off values selected. See reference for more details 2 Reference) Review reporting sensitivity and specificity for infectious, animals. Sensitivity is very variable but lower than specificity | For the first reference, 235 animals divided in three groups: 235 animals divided in three groups: • 87 dairy cattle from three bovine tuberculosis officially free herds, where clinical cases of PTB had been reported • 61 beef cattle from a bovine tuberculosis Officially Free herd without PTB cases; the herd had tested negative for serological tests in the last 4 years • 87 beef cattle from a bovine Tuberculosis positive herd with an ongoing outbreak when the study was performed | See references | Early detection of infected animals. The first reference offers also some suggestions on the appropriateness of this method in the contest of paratuberculosis | Poor diagnostic specificity. Necessity for well-trained personnel Technically demanding | Corneli et al. (2021) Nielsen & Toft (2008) |

Appendix 2

Paratuberculosis: 
Intended purpose of test: individual animal freedom from infection prior to movement

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages |  | Disadvantages |  | References |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PCR þþ¨ Bovine, sheep, goats, alpacas, llamas | Faces and tissues IS900, F57 and HspX | Systematic review and meta-analysis using cultures as gold standard Pooled sensitivity 0.92 (95% CI 0.85–0.96) Pooled specificity 0.85 (95% CI 0.77–0.91) | Mixed populations. Forty-three studied from 24 scientific articles were considered in this meta-analysis | See reference |  | Rapidity, good sensitivity and specificity compared with cultural methods |  | Cost more elevated than ELISA Necessity for specific equipment and well-trained personnel It could have poor sensitivity when applied to a population with unknow paratuberculosis status |  | Liu et al. (2025) |
| Culture þ¨¨ Bovine, sheep, goats | Faces | Review reporting sensitivity and specificity variable according to the status (affected, infectious, infected) of the animals. Sensitivity is lower than specificity | Mixed populations. Six evaluations for bovine population, one for goats and one for sheep, respectively | See reference |  | No false positive if coupled with other confirmatory test Semiquantitative outputs. |  | Presence of fastidious field isolates unable to growth The decontamination process reduces the analytical sensitivity, but the contaminant flora can impact as well A long time is required for the first isolation |  | Nielsen & Toft (2008) |
| AGID þ¨¨ Different species | Blood of individual animal | Not recommended due to its low sensitivity in infected but not affected animals |  | See reference |  | Possibility of working with non-mammalian animals or zoo animals Speed Economically accessible Possibility of doing it in poorly equipped laboratories |  | Not recommended due to its low sensitivity |  | Gumber et al. (2006) |
| ELISA þþ¨ Different species | Serum and milk | Se: between 54 and 100% Sp: between 47 and 94% Depending on, among other things, the kit used, the type of sampling, the individual prevalence, the test used as a reference, the type of analysis, the status of the animals (infected, sick), and the size of the herd |  | See reference |  | Speed, relatively good sensitivity and specificity compared with cultural methods Economically accessible based on the sampling performed Ease of sample collection |  | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations. Few systematic studies carried out |  | Field et al. (2022) |
| IFN-γ release assay þ¨¨ bovine | Blood of individual animal | 1 Reference) Longitudinal study evaluating the accuracy. The sensitivity and specificity varied according to the cut-off values selected. See reference for more details 2 Reference) Review reporting sensitivity and specificity for infectious, animals. Sensitivity is very variable but lower than specificity | For the first reference, 235 animals divided in three groups: 235 animals divided in three groups: • 87 dairy cattle from three bovine tuberculosis Officially Free herds, where clinical cases of PTB had been reported • 61 beef cattle from a bovine tuberculosis Officially Free herd without PTB cases; the herd had tested negative for serological tests in the last 4 years • 87 beef cattle from a bovine tuberculosis positive herd with an ongoing outbreak when the study was performed | See reference |  | Early detection of infected animals. The first reference offers also some suggestions on the appropriateness of this method in the contest of paratuberculosis |  | Poor diagnostic specificity Necessity for well-trained personnel Technically demanding |  | Corneli et al. (2021) Nielsen & Toft (2008) |

Appendix 3

Paratuberculosis
Intended purpose of test: contribute to eradication policies

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PCR þþþ Bovine, sheep, goats, alpacas, llamas | Faces and tissues IS900, F57 and HspX | Systematic review and meta-analysis using cultures as gold standard Pooled sensitivity 0.92 (95% CI 0.85-0.96) Pooled specificity 0.85 (95% CI 0.77-0.91) | Mixed populations. Forty-three studied from 24 scientific articles were considered in this meta-analysis | See reference | Rapidity, good sensitivity and specificity compared with cultural methods | Cost more elevated than ELISA Necessity of specific equipment and well-trained personnel It could have poor sensitivity when applied to a population with unknow paratuberculosis status | Liu et al. (2025) |
| Culture þ¨¨ Bovine, sheep, goats | Faces | Review reporting sensitivity and specificity variable according to the status (affected, infectious, infected) of the animals. Sensitivity is lower than specificity | Mixed populations. six evaluations for bovine population, one for goats and one for sheep, respectively | See reference | No false positive if coupled with other confirmatory test Semiquantitative outputs. | Presence of fastidious field isolates unable to growth The decontamination process reduces the analytical sensitivity, but the contaminant flora can impact as well A long time is required for the first isolation | Nielsen & Toft (2008) |
| Histopathology þ¨¨ sheep | Tissues | Study comparing histopathology with liquid culture in TrekÔ system. Histopathology detected 80.9% of positive animals | 104 sheep from flocks with a known history of MAP infection. | Not validated | Relatively inexpensive and not technically demanding | It requires very well-trained personnel for evaluation Accuracy unknown as the method was not employed in extensive studies and very often is used as ancillary test to confirm clinical cases Only post-mortem test | Hlokwe et al. (2025) |
| AGID þ¨¨ Different species | Blood of individual animal | Not recommended due to its low sensitivity |  |  | Possibility of working with non-mammalian animals or zoo animals Speed Economically accessible. possibility of doing it in poorly equipped laboratories |  | Gumber et al., (2006) |
| ELISA þþþ Different species | Serum | Se: approx. between 54 and 100% Sp: between 47 and 94% Depending on, among other things, the kit used, the type of sampling, the individual prevalence, the test used as a reference, the type of analysis, the status of the animals (infected, sick), and the size of the herd | Targeted sampling, random sampling, prevalence stratification, repeated sampling, etc. | See reference | Speed, relatively good sensitivity and specificity compared with cultural methods Economically accessible based on the sampling performed Ease of sample collection | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations. | Field et al. (2022) |
| IFN-γ release assay þ¨¨ bovine | Blood of individual animal | 1 Reference) Longitudinal study evaluating the accuracy. The sensitivity and specificity varied according to the cut-off values selected. See reference for more details 2 Reference) Review reporting sensitivity and specificity for infectious, animals. Sensitivity is very variable but lower than specificity | For the first reference, 235 animals divided in three groups: • 87 dairy cattle from three bovine tuberculosis Officially Free herds, where clinical cases of PTB had been reported • 61 beef cattle from a bovine tuberculosis Officially Free herd without PTB cases; the herd had tested negative for serological tests in the last 4 years • 87 beef cattle from a bovine Tuberculosis positive herd with an ongoing outbreak when the study was performed | See references | Early detection of infected animals The first reference offers also some suggestions on the appropriateness of this method in the contest of paratuberculosis | Poor diagnostic specificity Necessity of well-trained personnel Technically demanding | Corneli et al. (2021) Nielsen & Toft (2008) |
| DTH þ¨¨ bovine | Blood of individual animal | Study comparing the specificity of DTH vs IFN-g release assay | 20 young stock (age 6–24 months) and 20 adult animals (>24 months) from 35 certified free herds 537 young stock from 10, low prevalence (<5%) infected herds | See the reference, but note that the study only focused on assay specificity | Specificity variable but high (93.5%) if a cut-off level >4 mm is chosen | Laborious to perform in the field Necessity for well-trained personnel Operators are at risk of being stung | Kalis et al. (2003) |

Appendix 4

Paratuberculosis
Intended purpose of test: confirmation of clinical cases

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PCR þþþ Bovine, sheep, goats, alpacas, llamas | Faces and tissues IS900, F57 and HspX | Systematic review and meta-analysis using cultures as gold standard Pooled sensitivity 0.92 (95% CI 0.85-0.96) Pooled specificity 0.85 (95% CI 0.77-0.91) | Mixed populations. Forty-three studied from 24 scientific articles were considered in this meta-analysis | See reference | Rapidity, good sensitivity and specificity compared with cultural methods | Cost more elevated than ELISA Necessity for specific equipment and well-trained personnel It could have poor sensitivity when applied to a population with unknow paratuberculosis status | Liu et al. (2025) |
| Culture þþþ Bovine, sheep, goats | Faces | Review reporting sensitivity and specificity variable according to the status (affected, infectious, infected) of the animals. Sensitivity is lower than specificity | Mixed populations. six evaluations for bovine population, one for goats and one for sheep, respectively | See reference | No false positive if coupled with other confirmatory test. Semiquantitative outputs | Presence of fastidious field isolates unable to growth The decontamination process reduces the analytical sensitivity, but the contaminant flora can impact as well A long time is required for the first isolation | Nielsen & Toft (2008) |
| Faecal ZN staining þ¨¨ Bovine | Faeces | Study analysing clinical case of paratuberculosis in dairy cows | Five dairy cows aged 2 (n = 2) or 3 (n = 3). The diagnosis included positive MAP antibody test and PCR positive faecal test. | Not validated | Rapid and cheap Useful for many animal species | Sensitivity and specificity in general very low | Cheng et al. (2020) |
| Histopathology þþþ Sheep, bovine | Tissues | First Study compared histopathology with liquid culture in TrekÔ system. Histopathology detected 80.9% of positive animals The second study analysed clinical case of paratuberculosis in dairy cows | First study: 104 sheep from flocks with a known history of MAP infection Second study: five dairy cows aged 2 (n = 2) or 3 (n = 3). The diagnosis included positive MAP antibody test and PCR positive faecal test | Not validated | Relatively cheap and not technically demanding | It requires very well-trained personnel for evaluation Accuracy unknown as the method was not employed in extensive studies and very often is used as ancillary test to confirm clinical cases Only post-mortem test | Hlokwe et al. (2025) Cheng et al. (2020) |
| AGID þþ¨ Different species | Serum | Se: 13.8% for sheep and 39.5% for goats Sp: 100% |  | See reference | Possibility of working with non-mammalian animals or zoo animals Speed Economically accessible. possibility of doing it in poorly equipped laboratories | Lower sensitivity than ELISAs | Gumber et al. (2006) |
| ELISA þþþ Cattle | Serum | Se: approx. between 50 and 100% Depending on, among other things, the kit used, the type of sampling, the individual prevalence, the test used as a reference, the type of analysis, the status of the animals (infected, sick), and the size of the herd |  | See reference | Speed, relatively good sensitivity and specificity compared with cultural method Economically accessible based on the sampling performed Ease of sample collection | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations Few systematic studies carried out | Field et al. (2022) |
| ELISA þþþ Different species | Serum | Goat. Se: 82–100% (affected animals) Sp: 92-100% (affected animals) Sheep: Se: 36–85% (affected animals) Sp: 95–99% (affected animals) Depending on, among other things, the kit used, the type of sampling, the individual prevalence, the test used as a reference, the type of analysis, the status of the animals (infected, sick), and the size of the herd |  | See reference | Speed, relatively good sensitivity and specificity compared with cultural methods Economically accessible based on the sampling performed Ease of sample collection | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations Few systematic studies carried out | Dimareli-Malli et al. (2004) |

Appendix 5

Paratuberculosis
Intended purpose of test: prevalence of infection – surveillance

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PCR þþþ Bovine, sheep, goats, alpacas, llamas | Faces and tissues IS900, F57 and HspX | Systematic review and meta-analysis using cultures as gold standard Pooled sensitivity 0.92 (95% CI 0.85-0.96) Pooled specificity 0.85 (95% CI 0.77-0.91) | Mixed populations. Forty-three studied from 24 scientific articles were considered in this meta-analysis | See reference | Rapidity, good sensitivity and specificity compared with cultural methods | Cost more elevated than ELISA Necessity for specific equipment and well-trained personnel It could have poor sensitivity when applied to a population with unknow paratuberculosis status | Liu et al. (2025) |
| Culture þþ¨ Bovine, sheep, goats | Faces | Review reporting sensitivity and specificity variable according to the status (affected, infectious, infected) of the animals. Sensitivity is lower than specificity | Mixed populations. six evaluations for bovine population, one for goats and one for sheep, respectively | See reference | No false positive if coupled with other confirmatory tests Semiquantitative outputs | Presence of fastidious field isolates unable to growth The decontamination process reduces the analytical sensitivity, but the contaminant flora can impact as well A long time is required for the first isolation | Nielsen & Toft (2008) |
| Faecal ZN staining þ¨¨ Bovine | Faeces | Study analysing clinical case of paratuberculosis in dairy cows | Five dairy cows aged 2 (n = 2) or 3 (n = 3). The diagnosis included positive MAP antibody test and PCR positive faecal test. | Not validated | Rapid and inexpensive Useful for many animal species | Sensitivity and specificity in general very low | Cheng Z et al. (2020). |
| Histopathology þ¨¨ Sheep, bovine | Tissues | First study compared histopathology with liquid culture in TrekÔ system. Histopathology detected 80.9% of positive animals The second study analysed clinical case of paratuberculosis in dairy cows | First study: 104 sheep from flocks with a known history of MAP infection Second study: five dairy cows aged 2 (n = 2) or 3 (n = 3). The diagnosis included positive MAP antibody test and PCR positive faecal test | Not validated | Relatively inexpensive and not technically demanding | It requires very well-trained personnel for evaluation Accuracy unknown as the method was not employed in extensive studies and very often is used as ancillary test to confirm clinical cases Only post-mortem test | Hlokwe et al. (2025) Cheng et al. (2020) |
| AGID þþ¨ Different species | Blood of individual animal |  |  | Not validated | Possibility of working with non-mammalian animals or zoo animals. Speed Economically accessible. possibility of doing it in poorly equipped laboratories |  | Gumber et al. (2006) |
| ELISA þþþ Different species | Serum | Se: between 54 and 100% Sp: between 47 and 94% Depending on, among other things, the kit used, the type of sampling, the individual prevalence, the test used as a reference, the type of analysis, the status of the animals (infected, sick), and the size of the herd |  | See reference | Speed, relatively good sensitivity and specificity compared with cultural methods Economically accessible based on the sampling performed Ease of sample collection | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations Few systematic studies carried out | Nielsen & Toft (2008) |
| ELISA þþþ Dairy cattle | Bulk milk tank | Se: Between 10 and 97% Sp: Between 95 and 100% Depending on, among other things, the kit used, the type of sampling, the individual prevalence, the test used as a reference, the type of analysis, the status of the animals (infected, sick), and the size of the herd | Targeted sampling, random sampling, prevalence stratification, repeated sampling, etc. | See reference | Speed, relatively good sensitivity and specificity compared with cultural methods Economically accessible based on the sampling performed Ease of sample collection | Se and Sp values vary widely depending on herd prevalence, infection status, and disease progression Commercial kits with local validations | Field et al. (2022) |

Appendix 6

Paratuberculosis
Intended purpose of test: immune status in individual animals or populations post-vaccination

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AGID  | Serum | Data not available | Data not available | Data not available | Theoretically, this test could be applied at the herd level to assess if the animals have mounted an immunological response vs MAP, used as a proxy to control for successful vaccination | - Loss of differentiation between infected and vaccinated animals (DIVA). Not useful for assessing immune response at the individual level |  |
| Serum ELISA  bovine, goats | Serum bovines Milk goats | Data not available | Seven dairy herds, 1288 animals for bovines; 49 dairy herds for goats | See publications | Theoretically, this test could be applied at the herd level to assess the apparent success of vaccination. The proportion of positive animals is significantly higher in the vaccinated than in the non-vaccinated animals | Loss of differentiation between infected and vaccinated animals (DIVA). The ELISA response decreases over time after boosting. Not useful for assessing immune response at the individual level | Corbiere et al. (2023) for bovines Luttikholt et al. (2019) for goats |
| IFN-γ release assay  | Serum | Data not available | Data not available | Data not available | Theoretically, this test could be applied at the herd level to assess the apparent success of vaccination | - Interference with the immune tests used in bovine tuberculosis eradication programmes Loss of differentiation between infected and vaccinated animals (DIVA) |  |
| DTH  Bovine | Serum | Data not available | Seve, dairy and beef herds | See publication | Theoretically, this test could be applied at the herd level to assess the apparent success of vaccination | - Interference with the immune tests used in bovine tuberculosis eradication programmes (vaccinated animals showed seventeen times more reactions than the non-vaccinated in the single bovine intradermal tuberculin test, and four times more in the comparative intradermal test) Loss of differentiation between infected and vaccinated animals (DIVA) | Garrido et al. (2013) |

Use fresh eggs not more than 2 days old from a flock that is not receiving antibiotics. With a brush, scrub the eggs with water containing a detergent. Rinse with water and place the eggs in 70° alcohol for 30 minutes. Dry by inserting between two sterile towels. With sterile rat-tooth forceps, crack one end of the eggshell, making a hole of approximately 10 mm, and remove the egg white with the forceps and gravity. Make the hole larger and break the yolk. Mix the egg yolk by twirling the forceps, and remove the yolk sac. Pour the mixed egg yolk into media.

Johnin can be obtained from ID-Lelystad, The Netherlands