Chapter 3.4.4.

bovine genital campylobacteriosis

SUMMARY

Description of the disease: Bovine genital campylobacteriosis (BGC) is a venereal disease also known as bovine venereal campylobacteriosis. The causal agent of this sexually transmissible disease is Campylobacter fetus subsp. venerealis, one of three subspecies of C. fetus. Bovine infections with C. fetus subsp. venerealis are associated with infertility, early embryonic death, and abortion with considerable economic losses. Bovine infections with C. fetus subsp. fetus are associated with abortion and have a more sporadic occurrence.

Campylobacter fetus subsp. venerealis has a pronounced tropism for the male and female genital systems of cattle. Bacterial transmission takes place mainly during natural mating. The disease may also spread through artificial insemination with semen from infected bulls.

Detection of the agent: Samples taken from bulls, cows or aborted fetuses can be analysed for the presence of the causal organism. The organism is a thin Gram-negative curved rod that may form S-shapes, flying seagull silhouette shapes and spirals, and can be cultured on selective media at 37°C after at least 2–3 days in a microaerobic atmosphere. Confirmation of organism and discrimination between the C. fetus subspecies can be achieved using biochemical or molecular methods, such as polymerase chain reaction and whole genome sequencing. Immunofluorescence may also be used to identify the organism, but it will not differentiate between different subspecies.

A monoclonal antibody-based capture enzyme-linked immunosorbent assay (ELISA) may also be used to detect C. fetus from Clarke’s transport enrichment medium. Like immunofluorescence, the ELISA cannot differentiate adequately between the two C. fetus subspecies and is limited to a screening method, with traditional cultural methods to confirm identification of any positive ELISA result. However, compared with immunofluorescence, it has the advantage of higher sensitivity and specificity for C. fetus identification and much higher throughput for both negative and positive results where larger volume testing is conducted.

Serological tests: ELISA can be used for evaluating herd immunity but is not suitable for diagnosis of the infection in individual animals. This test cannot differentiate between infections caused by the two subspecies C. fetus subsp. venerealis and C. fetus subsp. fetus.

Requirements for vaccines: While there are commercial vaccines available, and autologous vaccines based on isolated strains from farms can be used, there is a lack of scientific evidence overall of the effectiveness of vaccination.

| United States | Comment Category: General Proposed amended text: autologous Some consider « autologous » and « autogenous » synonymous, but most regulatory authorities distinguish between the two, using autologous to describe (e.g. cancer vaccines) made from one individual and for that individual, while using autogenous to describe agents isolated from an outbreak and then used in the same farm/region. Supporting evidence: n/a |
| --- | --- |

A.  introduction

1.	Description and impact of the disease

Bovine genital campylobacteriosis (BGC, also known as bovine venereal campylobacteriosis) is a venereal disease characterised by infertility, early embryonic death, and abortion in cattle. The causal agent of this sexually transmissible disease is Campylobacter fetus subsp. venerealis (Cfv). It can be isolated from the genital tract of cattle (e.g. preputial smegma, vaginal mucus) or internal organs of aborted fetuses and causes fertility problems with considerable economic losses. Bulls are important reservoirs and should therefore be targeted for diagnostic testing and disease control. Campylobacter fetus subsp. fetus (Cff) can be recovered from the intestinal tract of cattle and other animal species (Garcia et al., 1983); it can be isolated from aborted bovine fetuses indicating that it has clinical relevance in cattle. Cff is associated with sporadic cases of bovine abortion whereas Cfv is associated with endemic abortion and fertility problems in certain areas.

Although C. fetus is primarily recognised as a pathogen in animals, Cff is occasionally diagnosed as an opportunistic pathogen in humans. Infections usually occur in pregnant or immuno-compromised individuals and are often systemic with a variety of complications depending on the site of infection (Wagenaar et al., 2014). Laboratory manipulations should be performed with appropriate biosafety and containment procedures as determined by biorisk analysis (see Chapter 1.1.4 Biosafety and biosecurity: Standard for managing biological risk in the veterinary laboratory and animal facilities).

2.	Taxonomy

Campylobacter fetus is one of the 33 68 currently recognised species within the genus Campylobacter (http://www.bacterio.net/campylobacter.html https://lpsn.dsmz.de/search?word=campylobacter). Three subspecies of C. fetus have been recognised: C. fetus subspecies testudinum (Cft), C. fetus subsp. fetus and C. fetus subsp. venerealis, of which Cft is reptile-associated and both Cff and Cfv are mammal-associated. Cfv includes a variant designated Cfv biovar intermedius (Florent et al., 1959; Veron & Chatelain, 1973). Although the clinical signs related to infections by Cfv and Cff overlap, they were originally defined by the differences in clinical presentation (Florent et al., 1959; Veron & Chatelain, 1973).

b.  DIAGNOSTIC TECHNIQUES

Table 1. Test methods(a) available for diagnosis of bovine genital campylobacteriosis and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post-vaccination |
| Detection and identification of the agent(b) |  |  |  |  |  |  |
| Culture (including subspecies identification) | ☑☑☑ | ☑☑☑ | ☑☑☑ | ☑☑☑ | ☑☑☑ | ☐☐☐ |
| IFAT | ☑☑☐ | ☑☑☐ | ☑☑☐ | ☑☑☐ | ☑☑☐ | ☐☐☐ |
| MAb-based capture ELISA | ☑☑☐ | ☑☑☐ | ☑☑☐ | ☑☑☐ | ☑☑☐ | ☐☐☐ |
| Detection of immune response |  |  |  |  |  |  |
| Antibody ELISA | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☐☐ |

Key: ☑☑☑ = recommended for this purpose; ☑☑☐ = recommended but has limitations; 
☑☐☐ = suitable in very limited circumstances; ☐☐☐ = not appropriate for this purpose.
IFAT = immunofluorescent antibody test; MAb = monoclonal antibody; ELISA = enzyme-linked immunosorbent assay.
(a)Culture is the gold standard, but there are no data on specificity and sensitivity at the herd level. 
The characteristics of the additional tests described (e.g. IFAT and Mab-based capture ELISA) are 
compared with culture at the sample level, not at the herd level.
(b)A combination of agent identification methods applied on the same clinical sample is recommended.

Culturing and identification of the organism is a suitable test for certifying individual animal prior to movement. The validated sensitive and specific monoclonal antibody (MAb)-based capture enzyme-linked immunosorbent assay (ELISA) screening procedure (Brooks et al., 2004; Devenish et al., 2005) can accurately detect C. fetus subsp. from incubated Clarke’s transport enrichment medium (TEM). Only positive ELISA results are cultured for confirmation of the specific subspecies using standard isolation and identification methods. This procedure has the advantage of more rapid turnaround times for reporting, and ease, compared with traditional cultural methods.

Cfv and Cff can be differentiated by the 1% glycine tolerance test and H2S production in cysteine-rich medium; Cfv is not able to grow in the presence of 1% glycine and not able to produce H2S from cysteine-rich medium, whereas Cff is 1% glycine tolerant and H2S production positive (Florent et al., 1959; Veron & Chatelain, 1973). Neither DNA–DNA hybridisation (Harvey & Greenwood, 1983) nor protein-banding patterns using polyacrylamide gel electrophoresis (PAGE) of whole cell proteins (Vandamme et al., 1990) revealed any major difference between Cfv and Cff. MALDI-TOF (matrix assisted laser desorption ionisation–time of flight) mass spectrometry can be used to identify C. fetus at species level (Bessede et al., 2011), but this assay is not able to differentiate between Cff and Cfv. Of all described molecular tests, only polymerase chain reaction (PCR) assays targeting the nahE gene, both conventional and real-time (Abril et al., 2007; van der Graaf-van Bloois et al., 2013), and multilocus sequence typing (MLST) and amplified fragment length polymorphism (AFLP) (van Bergen et al., 2005a; Wagenaar et al., 2001) are able to identify C. fetus reliably at the species level. Several molecular methods have been described claiming to differentiate between Cff and Cfv, including PCR (Abril et al., 2007; Hum et al., 1997; Tu et al., 2005; van Bergen et al., 2005c; van der Graaf-van Bloois et al., 2024; Wang et al., 2002), pulsed-field gel electrophoresis (PFGE) (On & Harrington, 2001), MLST (van Bergen et al., 2005a) and AFLP (Wagenaar et al., 2001) (see also Section B.1.9), but none of these molecular tests of which only the PCR targeting the asd gene is able to identify the C. fetus isolates reliably to subspecies level (Iraola et al., 2015; van der Graaf-van Bloois et al., 2013; 2024). Whole genome sequencing (WGS) can be used to differentiate the mammal-associated for reliable genomic differentiation of C. fetus strains based on their core genomes (van der Graaf-van Bloois et al., 2014), but this method is not in full concordance with the phenotypic subspecies identification of C. fetus strains.

1.	Detection and identification Isolation and detection of the agent

1.1.	Collection of specimens

1.1.1.	Male: preputial smegma and semen

In bulls, smegma may be obtained by different methods (da Silva Silveira et al., 2018): scraping (Tedesco et al., 1977), aspiration (Campero et al., 2003), and washing (Clarke & Dufty, 1978). Note that the same sample, collected using the same sampling method, can be used for the detection of Trichomonas foetus (Waldner et al., 2017) (see Chapter 3.4.14 Trichomonosis).

Smegma can be used for isolation of the organism or is rinsed into a tube with approximately 5 ml phosphate buffered saline (PBS, pH 7–7.3, concentration 1×, components: 138 mM NaCl, 2.7 mM KCl, 8 mM Na₂HPO₄-7H₂O, in 1.5 mM KH₂PO₄) with 1% formalin for diagnosis by immunofluorescence. Smegma can also be collected from the artificial vagina after semen collection, by washing the artificial vagina with 20–30 ml of PBS.

For preputial washing, 20–30 ml of PBS is introduced into the preputial sac. After vigorous massage for 15–20 seconds, the infused liquid is collected.

Semen is collected under conditions that are as aseptic as possible. Semen samples must be diluted with PBS and are inoculated directly on to culture medium or into transport and enrichment medium.

1.1.2.	Female: cervico vaginal mucus

Samples may be obtained by aspiration or washing the vaginal cavity. Hollow plastic scraping tools can also be used. The samples can also be used for Trichomonas foetus detection (see chapter 3.4.14)

For aspiration, the vulva region is cleaned, and an artificial insemination (AI) pipette or Cassou pipette (blue sheath type) is inserted into the vaginal cavity so that the anterior reaches the cervix (Campero et al., 2003). Gentle suction is applied while moving the pipette gently backwards and forwards. The pipette is removed, and the collected mucus is inoculated directly on to culture medium or into transport and enrichment medium.

Cervico-vaginal mucus (CVM) may also be collected by washing the vaginal cavity: 20–30 ml of PBS is infused into the cavity through a syringe attached to an AI pipette. The fluid is sucked out and re-infused four to five times before being collected and spread directly on to culture medium or added to transport and enrichment medium. Washing fluid in the vaginal cavity may also be collected by a tampon or gauze held inside the vagina for 5–10 minutes after PBS infusion. Samples of CVM obtained by suction may be diluted with PBS or sown directly on to culture medium or transport and enrichment medium.

CVM is transferred into approximately 5 ml of PBS with 1% of formalin for immunofluorescence testing.

1.1.3.	Aborted fetuses, placentas

The placenta as well as the liver, lungs and stomach contents of the fetus provide the best samples for isolation of the causative bacteria. Samples are collected aseptically and inoculated into transport and enrichment medium, or into PBS with 1% formalin for IFA testing.

1.2.	Transport of specimens

The use of a transport medium is essential if the specimens are not processed in the laboratory within the same day after collection. For dispatch to the laboratory, specimens must be placed in an insulated container (within the temperature range 4–8°C) protected from light and shipped to reach the laboratory as soon as possible, preferably on the same day as sampling.

Various transport and enrichment media are available, such as Clark’s, Lander’s, SBL, Foley’s and Clark’s, Weybridge’s, Cary-Blair’s (Garcia et al., 1984; Hum et al., 1994; Monke et al., 2002), Thomann’s transport and enrichment (TTE) medium (Harwood et al., 2009).

Some of the transport and enrichment media mentioned above contain cycloheximide. Because of its potential toxicity, amphotericin B can be used as an alternative.

1.3.	Treatment of specimens

On arrival at the laboratory, specimens should be inoculated directly on to culture medium, or, if required immediately, processed further.

1.3.1.	Genital tract samples

The total volume of the preputia washings may be centrifuged (3500 g) to concentrate the sample. The final sample (reduced to 500 µl) may be inoculated on to the culture medium (directly on Skirrow agar plate, using the filter method, and to TTE medium (Harwood et al., 2009).

If the CVM is not very viscous it can be inoculated directly or diluted with an equal volume of PBS (pH 7–7.3, concentration 1×, components: 138 mM NaCl, 2.7 mM KCl, 8 mM Na₂HPO₄-7H₂O, in 1.5 mM KH₂PO₄). When the CVM is very viscous, it may be necessary to liquefy it by adding an equal volume of L-cysteine solution (100 mM N-Acetyl-L-cysteine, CAS number 616-91-1, dissolved in PBS and sterilised by membrane filtration). After 15–20 minutes, the diluted and liquefied mucus can then be inoculated on to isolation medium.

For the filter method, sterile cellulose acetate membranes of 0.65 µm pore size are placed on the surface of non-selective agar supplemented with 5% blood. A suspension of the sample is made in in PBS or saline, and 10–15 drops of this suspension are placed on top of the membrane and allowed to filter passively at 37°C (microaerobic conditions are not required). After 30–40 minutes, the filter membranes are removed and the culture plates incubated for 1–2 2–3 days at 37°C under microaerobic conditions (Steele & McDermott, 1984).

1.3.2.	Aborted fetuses, placentas

Fetal stomach contents are inoculated directly on to culture medium. Internal organs or pieces of organs are flamed to disinfect the surface and are subsequently homogenised. The homogenate is inoculated on to culture medium.

After washing placental membranes with PBS to eliminate the majority of the surface contamination, the chorionic villi are scraped and the scrapings are transferred to culture medium.

1.4.	Detection and identification Isolation of Campylobacter fetus

1.4.1.	Culture media for isolation

Many media are currently in use for the bacteriological diagnosis of BGC. It should be noted that several media used for the isolation of Campylobacter spp. are not suitable for the isolation of C. fetus because of antimicrobials (e.g. cephalosporins) that may inhibit C. fetus growth (van Bergen et al., 2005b; van der Graaf-van Bloois et al., 2023). Most culture media contain cycloheximide. Because of its potential toxicity, this antifungal agent can be replaced by amphotericin B. The recommended selective medium for isolation of C. fetus is TTE (Harwood et al., 2009). This is based on Skirrow’s medium, but with the selective supplements reduced to 75% of the original recommendations, i.e.: polymyxin B sulphate (1.9 IU/ml), trimethoprim (3.8 µg/ml), vancomycin (7.5 µg/ml) and 5 mg/litre amphotericin B. After 48 hours of enrichment, the enrichment broth can be plated on either Skirrow’s selective plates or non-selective plates using the filtration method. Skirrow’s selective plates are a blood-based agar containing 5–7% (lysed) defibrinated blood and Skirrow selective supplement.

Alternatively, a non-selective blood-based (5–7% blood) medium in combination with filtration (0.65 µm) can be used; however, it may be less sensitive when compared with a selective medium.

Quality control of each batch of media should be performed using control strains.

1.4.2.	Incubation conditions

Plates or tubes with TTE medium are incubated at 37°C and under microaerobic atmosphere of 5–10% oxygen, 5–10% carbon dioxide and preferably 5–9% hydrogen for optimal growth (Vandamme, 2000). Appropriate microaerobic conditions may be produced by a variety of methods. In some laboratories the suitable atmosphere is created by a gas replacement in a jar. Gas generator kits are also available from commercial sources. Variable atmosphere incubators can also be used.

Conditions of culture and incubation are systematically verified by using control strains of C. fetus subsp. fetus and C. fetus subsp. venerealis. Such controls should be set up for each isolation attempt.

1.5.	Detection and identification Identification of Campylobacter species

1.5.1.	Colony morphology

Colonies of C. fetus usually appear on culture media after 2–5 days. To prevent overgrowth of specific colonies by contaminants, it is recommended that the media be evaluated daily and suspicious colonies be subcultured. After 3–5 days of incubation, colonies measure 1–3 mm in diameter. They are slightly grey-pink, round, convex, smooth and shiny, with a regular edge.

1.5.2.	Macroscopic morphology

Campylobacter is motile, a property that may disappear during sub-culturing. Campylobacter often takes the form of a thin, curved bacillus, 0.3–0.4 µm wide and 0.5–8.0 µm long. Short forms (comma-shaped), medium forms (S-shaped/flying seagull-shaped), and long forms (helical with several spirals) may be observed simultaneously in the living state. Old cultures may contain coccoid bacteria.

1.5.3.	Biochemical tests

See Table 2.

1.5.4.	Atmosphere

Campylobacter does not grow under aerobic conditions.

1.6.	Detection of Campylobacter fetus by the immunofluorescence method

The immunofluorescence antibody test (IFAT) can be applied to detect the organism directly from samples or to confirm the identification of a strain after isolation. This test was able to detect C. fetus in contaminated field samples. The detection limit of this test is 104 and 102 colony-forming units/ml in non-centrifuged and centrifuged preputial washings, respectively (da Silva Silveira et al., 2018). IFAT cannot differentiate between different subspecies.

1.6.1.	Preparation of immune sera

Campylobacter strains, preferably standard strains from recognised culture collections (C. fetus subsp. venerealis or C. fetus subsp. fetus), are grown on blood-based medium at 37°C under microaerobic conditions for 3 days. The organisms are harvested into PBS, and washed twice by centrifugation. Rabbits aged 3 months are inoculated intramuscularly with 2 ml of 1011 organisms/ml of a C. fetus subspecies resuspended in PBS and Freund’s incomplete adjuvant. Inocula are administered at four sites, 0.5 ml at each site. The animals are bled before inoculation and at weekly intervals thereafter. When the serum titres reach high levels, as estimated by the immunofluorescence test or agglutination test, 0.1–1.0 ml of 1010 viable organisms/ml are injected intravenously. The rabbits are bled for serum 7 days later. The rabbit sera are pooled. A conjugate prepared from chicken IgY was described as an alternative to rabbit antibodies. MAbs that can be used for immunodiagnostic detection of C. fetus have been described (Brooks et al., 2002).

1.6.2.	Preparation of conjugates

Conjugates are prepared as described by Harlow & Lane (1988). The working dilution of the conjugate is determined by checkerboard titration against smears of a C. fetus culture using positive and negative control dilutions and selecting twice the lowest concentration that produces brilliant fluorescence with C. fetus bacteria.

1.6.3.	Sample preparation

The genital fluid (fetal abomasal content, preputial smegma or CVM) samples are rinsed into approximately 5 ml PBS + 1% formalin. Two centrifugation steps are carried out. First, samples are centrifuged at 600 g for 10 minutes at 4°C to remove debris. Subsequently, the supernatant is centrifuged at 8000 g for 30 minutes at 4°C. The pellet is dissolved in ~100 µl remaining supernatant.

1.6.4.	Immunofluorescence test (Mellick et al., 1965)

The sample (20 µl) is applied in duplicate to microscope slides. The material is air-dried and fixed in acetone at –20°C for 30 minutes or ethanol at 18–25°C for 30 minutes. Glass slides will be air-dried and the fluorescein isothiocyanate isomer (FITC)-conjugated antiserum is added at the appropriate dilution. Staining is carried out in a humid chamber at 37°C for 30 minutes in dark condition. The slides are then washed three times for 10 minutes in PBS. The slides are mounted in buffered glycerol (90% glycerol: 10% PBS). The cover-slips are sealed to prevent drying, and the slides are examined under ultraviolet light in a fluorescent microscope. Positive and negative control slides will be used each time the test is done. Campylobacter fetus subsp. venerealis and C. fetus subsp. fetus reference strains are used as positive controls, and another Campylobacter species is used as negative control. Samples that show fluorescent bacteria presenting the typical morphology of C. fetus are considered positive.

1.7.	Biochemical identification of Campylobacter fetus subspecies

Tests described in Table 2 must be done on pure cultures.

Table 2. Differential characteristics of Campylobacter species potentially isolated from the bovine genital tract and aborted fetuses (according to Bergey’s Manual 2nd edition, 2005)

|  | 25°C | 42°C | Oxidase | Catalase | NaCl 3.5% | Glycine 1% | H2S cysteine |
| --- | --- | --- | --- | --- | --- | --- | --- |
| C. fetus subsp. venerealis | V | V(a) | + | V | – | – | – |
| C. fetus subsp. fetus | V | V(a) | + | + | – | + | + |
| C. jejuni | – | V(b) | + | V(c) | – | V | + |
| C. hyointestinalis | – | + | + | + | – | V | n.d. |
| C. sputorum | – | + | + | V | + | + | n.d. |

(a)Although C. fetus does not belong to the thermophilic Campylobacters, 
a considerable number of strains of this species grows at 42°C; 
(b)C. jejuni subsp. jejuni is positive, C. jejuni subsp. doylei is negative; 
(c)C. jejuni subsp. jejuni is positive, C. jejuni subsp. doylei is variable; 
+ = positive reaction or growth and – = negative reaction or absence of growth of the strain on an appropriate medium under specified conditions (see Section B.1.4); V = variable results; n.d. = not determined.

1.7.1.	Growth at 25°C and 42°C

A cell-suspension (~McFarland No. 1) is inoculated on to two blood-based medium-plates. Each plate is incubated under the specified atmospheric conditions (see Section B.1.4.2) at 25°C and 42°C. Control strains are tested in parallel.

1.7.2 1.	Oxidase and catalase

Tests are performed according to a standard bacteriological protocol. Control strains are tested in parallel.

1.7.3 2.	Growth in the presence of sodium chloride

A cell-suspension is inoculated on to blood medium containing 3.5% NaCl (15 ml of blood medium + 2.04 ml of 5 M sodium chloride solution), and on to plain blood medium. Incubation is performed under the specified atmospheric conditions (see Section B.1.4.2). Control strains are tested in parallel.

1.7.4 3.	Growth in the presence of 1% glycine

A cell-suspension (~McFarland No. 1) is inoculated on to a glycine medium (15 ml of blood-based medium + 1.65 ml of 10% aqueous solution of filter sterilised glycine), and on to the same medium without glycine. Incubation is performed under the specified atmospheric conditions (see Section B.1.4.2). Two control strains (Cff and Cfv) are tested in parallel. As all strains are fastidious, small changes in media can be important, and lack of growth in the presence of glycine should be considered to be a presumptive test for C. fetus subsp. venerealis. The reproducibility of the assay is poor and intermediate strains have been described (Salama et al., 1992; Van Bergen et al., 2005a). Furthermore, the reliability of the 1% glycine tolerance test can be influenced by the fact that glycine tolerance can be transduced by phages (Chang & Ogg, 1971).

1.7.5 4.	Hydrogen sulphide production in cysteine medium

The H2S test is done in a Brucella broth medium containing 0.02% cysteine. A cell suspension (~McFarland No. 1) is inoculated into the medium. H2S production is detected by a lead acetate strip that is attached inside the top of the tube for 72 hours. Blackening of the lead acetate strip is considered as a positive reaction. Control strains are tested in parallel.

1.8.	Monoclonal antibody-based capture ELISA

The MAb-based capture ELISA procedure can be used to detect the presence of C. fetus species cultured in Clarke’s TEM. The validated procedure and reagents are described by Brooks et al. (2004) and Devenish et al. (2005). Briefly, the samples (preputial washes, vaginal mucus, fetal fluids, placental tissues, liver tissue) are placed in Clarke’s TEM and incubated for 4–5 days. Approximately 1.5 ml of the TEM fluids is withdrawn, heated and tested by ELISA. A rabbit polyclonal antiserum (to six different C. fetus subsp. fetus and C. fetus subsp. venerealis serotype A and B strains) is used to capture antigen from the TEM fluid. The detection of any captured antigen is accomplished with further testing using four mouse MAbs specific to lipopolysaccharide (LPS) epitopes; C. fetus subsp. core LPS (1 MAb: M1825), serotype A-specific side chain LPS (2 MAbs: M1177 and M1194) and serotype B-specific side chain LPS (1 MAb: M1183). The test has been shown to be 100% sensitive and 99.5% specific for the detection of C. fetus species from the TEM fluids, and large numbers of samples can be tested at the same time.

1.8.1.	Test procedure

i)	Solid phase: ELISA plate wells are coated with an optimal dilution of a rabbit polyclonal anti-C. fetus subsp. serum (in 0.06 M carbonate buffer, pH 9.6) and incubated for 18 hours at room temperature (RT). Coated ELISA plates can be sealed and stored at –20°C for 1 month. Prior to testing, ELISA plates, at RT, are washed four times using 0.01 M PBS containing 0.15 M NaCl and 0.05% Tween 20 (PBST).

ii)	Controls: There are three control antigens: 1) C. fetus subsp. fetus (ATCC 27374), a serotype B strong positive control that binds with the LPS core MAb (M1825) and the single serotype B specific MAb (M1183); 2) C. fetus subsp. venerealis (ATCC 19438), a weak serotype A positive control that binds to the LPS core MAb (M1825) and the two serotype A-specific MAbs (M1177 and M1194); and 3) C. sputorum biovar sputorum, a negative control that does not bind with any of the four MAbs. Lots of the three control antigens are grown, washed, concentrated and stored at –20°C.

iii)	Testing samples: After 4–5 days’ incubation at 37°C of inoculated TEM samples, approximately 1.5 ml of fluid is withdrawn from the TEM vials. Optimally diluted control antigens and undiluted TEM fluid samples are heated at 100°C for 15 minutes and cooled to RT. Each heated test fluid sample is added in duplicate and each heated control antigen is inoculated in quadruple to appropriate wells in the solid-phase ELISA plate and incubated for 1 hour at RT.

iv)	Detector: To economise on reagents, screening of fluids is done initially with the core MAb M1825. Diluted MAb M1825 (optimally in PBST) is added to each well of the ELISA plates and the plates are incubated for 1 hour at RT. Fluids that are positive using MAb M1825 are further tested using all four MAbs.

v)	Conjugate: Horseradish-peroxidase goat anti-mouse immunoglobulin G (heavy and light chains) conjugate, optimally diluted in PBST, is added to all wells and plates are incubated for 1 hour at RT.

vi)	Substrate: 3,3’,5,5’-tetramethylbenzidine-hydrogen peroxide substrate is added to wells and the plates are placed on an orbital shaker for 10 minutes at RT. Optical densities (OD) are immediately measured at 620 nm (OD620) using an ELISA reader.

All reagent lots, including capture antiserum, control antigens, mouse MAbs and conjugate are tested beforehand by checkerboard titration to determine optimal dilutions used in routine testing of sample fluids. Throughout the test procedure, 100 µl volumes are used and plates are washed four times between stages using PBST.

vii)	Interpretation of the results: To be ELISA positive, the fluid must be positive against not only the core MAb but also to at least one of the serotype-specific MAbs. In initial screening using MAb M1825, the mean OD620 of the each test sample is divided by the mean OD620 obtained from strong positive C. fetus subsp. fetus serotype B control antigen and multiplied by 100% to obtain a per cent positivity (%P). Any test fluid with a %P greater than or equal to 14% is considered positive and tested further with all four MAbs in the procedure. A repeat positive with M1825 and an OD620 value greater than or equal to 0.2 with at least one of the other three serotype-specific MAb is a positive ELISA result for the detection of C. fetus ssp. in the original test fluid sample. All TEM vials corresponding to ELISA positive fluid samples are cultured as described in Section B.1.4 Isolation of Campylobacter fetus for confirmation and to determine the subspecies of the cultured isolate.

1.9.	Molecular identification of Campylobacter fetus subspecies

The use of clinical samples for direct PCR has not been successfully demonstrated and can result in nonspecific amplification. The method is therefore not recommended for primary diagnosis. It is however possible to perform PCR from TTE medium after enrichment.

Several molecular methods for the identification of C. fetus subspecies have been described, including 16S sequencing (Gorkiewicz et al., 2003; On & Harrington, 2001), PFGE (On & Harrington, 2001), AFLP (Wagenaar et al., 2001), and MLST (van Bergen et al., 2005a). MLST was recommended for the differentiation of Cff and Cfv strains; a recent study however, a study described a Cff strain that was isolated with the Cfv-associated MLST ST-4 genotype (Iraola et al., 2015), showing that MLST is also not fully reliable for C. fetus subspecies differentiation. Whole genome sequencing WGS can be used for a very reliable characterisation genomic identification of C. fetus strains (van der Graaf-van Bloois et al., 2014 2024), but this method is expensive and currently not widely used in diagnostic laboratories. Furthermore, the web-page https://klif.uu.nl/cfvcatch was developed as an online tool for identification of C. fetus genomes to the subspecies level, to perform phylogenetic analysis with reference genomes and to identify antimicrobial resistant genes.

PCR assays are the best option for routine diagnostic laboratories would be served best by a PCR assay. Several PCRs have been claimed to be subspecies specific, including those developed by Hum et al. (1997), Wang et al. (2002), Tu et al. (2005), van Bergen et al. (2005c), and Abril et al. (2007) and van der Graaf-van Bloois et al. (2024). However, a only the recently described PCR assay that identifies targeting the asd gene can identify C. fetus isolates reliably to the subspecies level is not available (van der Graaf-van Bloois et al., 2013 2024) (Table 3).

Conventional PCR

| Pathogen/ target gene | Primer (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method: Abril et al. (2007), amplicon size: 390 bp |  |  |  |
| NahE | CFETSpp-L: GGT-TAT-TTT-TTA-TAA-CTG-TAG-GAA-TGC-AGA-T CFETSpp-R: GAT-CGC-TTA-AAT-CTT-GTA-CTT-TTA-GCT-TTT | 20 nM | 35 cycles of: 95°C/30 sec 48°C/40 sec / 72°C 30 sec |
| Method: Van Der Graaf-Van Bloois et al. (2024), amplicon size: Cff: 335 bp, Cfv 329 bp |  |  |  |
| Asd_Cff | ASD_forw: CAC-TTG-TGT-TCG-TGT-TC ASD_Cff_rev: TTT-TTA-GCT-AAT-GGT-TTA-ATT-C | 10 nM | 35 cycles of: 95°C/20 sec 58°C/20 sec and 72°C 30 sec |
| Asd_Cff | ASD_forw: CAC-TTG-TGT-TCG-TGT-TC ASD_CfV_rev: TTT-TTA-GCT-AAT-GGT-CTT-G | 10 nM | 35 cycles of: 95°C/20 sec 58°C/20 sec and 72°C 30 sec |

(a)A denaturation step prior to cycling has not been included.

PCR fragments should be visualised on a 2% agarose gel stained with for example Midori Green Advanced DNA staining (GC tech) and a positive result is indicated by visible DNA fragments with the sizes indicated in the table above.

Real-time PCR

| Pathogen/ target gene | Primer (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method: Method: Van Der Graaf-Van Bloois et al. (2013), amplicon size: Cff: 335 bp, Cfv 329 bp |  |  |  |
| NahE | nahE_F: TGT-TAT-GGT-GAT-CAA-AAT-AGC-TGT-TG nahE_R: GAG-CTG-TTT-TTA-TGG-CTA-CTC-TTT-TTT-TA nahE_P: FAM-TGT-ATA-TGC-ACT-TTT-AGC-AAC-TT-NFQ | nahE_F:12 nM nahE_R:12 nM nahE_P:4 nM | 40 cycles of: 95°C/3 sec and 60°C/30 sec |
| Method: Van Der Graaf-Van Bloois et al. (2024) |  |  |  |
| asd | ASD_RT_forw: TCT-TTG-GTG-CGT-TGC-TGA-TCA ASD_RT_rev: GAT-GAC-GGG-CAA-AAT-AGT-CAC-GT ASD_Cff_P: FAM-TGG-TGT-CAA-ATA-CAA-GAA-TTA-AAC-C-BHQ ASD_Cfv_P: HEX-AAA-TGG-TGT-CAA-ATA-CAA-GAC-CA-BHQ | ASD_RT_forw: 12 nM ASD_RT_rev: 12 nM ASD_Cff_P: 4 nM ASD_Cfv_P: 4 nM | 45 cycles of: 95°C/10 sec and 58°C/30 sec |

(a)A denaturation step prior to cycling has not been included.

| PCR assay | Identification | Target | Sensitivity(a) | Specificitya |
| --- | --- | --- | --- | --- |
| Abril et al., 2007 | C. fetus Cfv | nahE ISCfe1 | 100% (143/143) 97% (58/60) | 100% (12/12) 100% (95/95) |
| Van Bergen et al., 2005c | Cfv | unknown | 45% (27/60) | 100% (95/95) |
| Hum et al., 1997 | C. fetus Cfv | cstA parA | 100% (143/143) 58% (46/70) | 100% (12/12) 83% (79/95) |
| McMillen et al., 2006 | Cfv | parA | 53% (32/60) | 100% (95/95) |
| Wang et al., 2002 | Cff | sapB2 | 76% (63/83) | 72% (52/72) |
| Van der Graaf-van Bloois et al., 2013 | C. fetus | nahE | 100% (143/143) | 100% (12/12) |
| Van der Graaf-van Bloois et al., 2024 | Cff Cfv | Asd | Cff: 100% (104/104) Cfv: 100% (38/38) | Non C. fetus 100% (38/38) |

Table 3. Sensitivity and specificity of C. fetus (sub)species identification of PCR assays

(a)Represented as percentage (number of correct identified strains/total number of strains). Study included; 
143 C. fetus strains, 60 Cfv strains, 83 Cff strains, 12 non-fetus Campylobacter strains, 95 non-Cfv strains 
and 72 non-Cff strains (van der Graaf-van Bloois et al., 2013).

The recently described PCR assay targeting the asd gene identifies both subspecies (Cff and Cfv) reliably van der Graaf-van Bloois et al., 2024). The asd PCR can be assessed in silico on sequenced genomes using a web interface containing the Cfvcatch tool (https://klif.uu.nl/cfvcatch).

The multiplex PCR assay described by Abril et al. (2007) proved to be reliable for the correct identification of C. fetus species, with 100% sensitivity and 100% specificity, though the Cfv-specific target (IS-element) described for this PCR is 97% sensitive and cannot be used for a reliable differentiation of Cff and Cfv isolates (van der Graaf-van Bloois et al., 2013). The C. fetus target of this PCR, gene nahE, can be used to identify C. fetus species and has also been developed as a real-time assay (McGoldrick et al., 2013; van der Graaf-van Bloois et al., 2013).

The PCR described by Van Bergen et al. (2005c) is able to detect Cfv strains as defined by AFLP, but the assay does not identify the C. fetus subsp. venerealis biovar intermedius. Therefore, this PCR is not suitable for diagnostic purposes (van der Graaf-van Bloois et al., 2013).

The multiplex PCR described by Hum et al. (1997) enables the amplification of a C. fetus-specific DNA fragment (approximately 200 bp smaller than the 960 bp described in the original publication), as well as a C. fetus subsp. venerealis-specific fragment. Comparison of this PCR against AFLP and MLST (van Bergen et al., 2005a) and against the glycine test (Willoughby et al., 2005) confirms that PCR can give false positive and negative reactions (van der Graaf-van Bloois et al., 2013). In a recent study, this PCR showed a positive result with a C. hyointestinalis strain isolated from a bull (Spence et al., 2011). This observation renders the Cfv-specific target gene parA, and consequently all other PCR assays using this target, unsuitable for diagnostic purposes.

The PCR described by Wang et al. (2002) reveals only a C. fetus subsp. fetus-specific product. These results were obtained only for a very limited number of strains. Evaluations of its value for subspecies differentiation using larger sets of strains yielded both false positive and negative reactions (Van Bergen et al., 2005c; Van der Graaf-van Bloois et al., 2013).

The random amplification of polymorphic DNA (RAPD)-PCRs were described by Tu et al. (2005) but apparently have been evaluated with a very limited number of C. fetus subsp. venerealis strains. In a recent study, the sensitivity of this assay was shown to be very low (Van der Graaf-van Bloois et al., 2013).

2.	Serological tests – antibody detection

An ELISA is available for the detection of antigen-specific secretory IgA antibodies in the vaginal mucus following abortion due to C. fetus subsp. venerealis. These antibodies are long lasting, and their concentration remains constant in the vaginal mucus for several months (Hum et al., 1991). This assay has been used to screen for BGC in cattle herds with infertility and abortions; the specificity was found to be 98.5%. The sensitivity could not be estimated (da Silva Silveira et al., 2018) so it is not yet considered as validated. The ELISA does not differentiate an antibody response to the different subspecies.

Initial sampling can be done after the early involution period (usually 1 week after abortion) when mucus becomes clear.

2.1.	Antigen preparation and coating

Cultures are transferred to PBS with 0.5% formalin for 1 hour, centrifuged at 17,000 g, washed twice with PBS, and then resuspended in 0.05 M carbonate buffer, pH 9.6. The final absorbance is adjusted to OD610 nm = 0.21. Flat-bottomed polystyrene microtitre plates coated with 10 µl of antigen are left overnight at 4°C, and then stored at –20°C. Before use, the plates are rinsed twice with distilled water and then tapped gently to remove moisture.

2.1.1.	Test procedure

i)	Diluted vaginal mucus (100 µl) is added to each well, and the plate is incubated at 37°C for 2 hours. The plates are then washed as before, and 100 µl of rabbit anti-bovine IgA is added. After 2 hours incubation at 37°C, the plates are washed and 100 µl of goat anti-rabbit IgG conjugated to horseradish peroxidase is added to each well. After a further 2 hours incubation at 37°C, the plates are washed, and 100 µl of substrate is added (0.8 mg/µl 5 amino-salicylic acid; pH 6.0), immediately activated by the addition of 2% 1 M hydrogen peroxide). The plates are left at room temperature for 30 minutes and the reaction is stopped by the addition of 50 µl of 3 M sodium hydroxide. The absorbance is measured on an ELISA reader at 450 nm. Each sample is tested in duplicate, and positive and negative controls are included in each plate. The absorbance measurements yielded by the test sample are corrected for the absorbance measurement of positive and negative controls according to the formula:

Absorbancesample – Absorbancenegative control

Result = ________________________________________________ × 100

Absorbancepositive control – Absorbancenegative control

ii)	The test is considered to be positive if the result is above 40. Vaccinated animals will not react to IgA ELISA as their vaginal mucus contains only IgG isotype antibodies.

An ELISA for the detection of the serum humoral IgG response after vaccination has also been described (Cobo et al., 2004).

c.  REQUIREMENTS FOR VACCINES

There are several commercial vaccines available around the world, however vaccine efficacies have either not been reported for many decades or have not been reported favourably (Cobo et al., 2003). Certain jurisdictions advocate the use of these vaccines, however WOAH is not currently in a position to recommend an international standard for such products.

REFERENCES

Abril C., Vilei E.M., Brodard I., Burnens A., Frey J. & Miserez R. (2007). Discovery of Insertion Element ISCfe1: A new tool for Campylobacter fetus subspecies differentiation. Clin. Microbiol. Infect., 13, 993–1000.

Bessede E., Solecki O., Sifre E., Labadi L. & Megraud F. (2011). Identification of Campylobacter species and related organisms by matrix assisted laser desorption ionization–time of flight (MALDI-TOF) mass spectrometry. Clin. Microbio. Infect., 17, 1735–1739.

Brooks B.W., Devenish J., Lutze-Wallace C.L., Milnes D., Robertson R.H. & Berlie-Surujballi G. (2004). Evaluation of a monoclonal antibody-based enzyme-linked immunosorbent assay for detection of Campylobacter fetus in bovine preputial washing and vaginal mucus samples. Vet. Microbiol., 103 (1–2), 77–84.

Brooks B.W., Robertson R.H., Lutze-Wallace C.L. & Pfahler W. (2002). Monoclonal antibodies specific for Campylobacter fetus lipopolysaccharides. Vet. Microbiol., 87, 37–49.

Campero C.M., Moore D.P., Odeon A.C., Cipolla A.L. & Odriozola E. (2003). Aetiology of bovine abortion in Argentina. Vet. Res. Commun., 27, 359–369.

Chang W. & Ogg J.E. (1971). Transduction and mutation to glycine tolerance in Vibrio fetus. Am. J. Vet. Res., 32, 649–653.

Clarke B.L. & Dufty J.H. (1978). Isolation of Campylobacter fetus from bulls. Aust. Vet. J., 54, 262–263.

Cobo E.R., Cipolla A., Morsella C., Cano D. & Campero C. (2003). Effect of two commercial vaccines to Campylobacter fetus subspecies on heifers naturally challenged. J. Vet. Med. B Infect. Dis. Vet. Public Health, 50, 75–80.

Cobo E.R., Morsella C., Cano D., Cipolla A. & Campero C.M. (2004). Immunization in heifers with dual vaccines containing Tritrichomonas foetus and Campylobacter fetus antigens using systemic and mucosal routes. Theriogenology, 62, 1367–1382.

Da Silva Silveira C., Fraga M., Giannitti F., Macias-Rioseco M. & Riet-Correa F. (2018). Diagnosis of Bovine Genital Campylobacteriosis in South America. Front. Vet. Sci., 5, 321. doi:10.3389/fvets.2018.00321

Devenish J., Brooks B., Perry K., Milnes D., Burke T., McCabe D., Duff S. & Lutze-Wallace C.L. (2005). Validation of a monoclonal antibody-based capture enzyme-linked immunosorbent assay for detection of Campylobacter fetus. Clin. Diagn. Lab. Immunol., 12, 1261–1268.

Florent A. (1959). Les deux vibrioses génitales de la bête bovine : La vibriose vénérienne, due à Vibrio fœtus venerialis, et la vibriose d'origine intestinale due à V. fœtus intestinalis. Proceedings 10th International Veterinary Congress Madrid, 2, 953–957.

Garcia M.M., Eaglesome M.D. & Rigby C. (1983). Campylobacters important to veterinary medicine. Vet. Bull., 53, 793–818.

Garcia M.M., Stewart R.B. & Ruckerbauer G.M. (1984). Quantitative evaluation of a transport-enrichment medium for Campylobacter fetus. Vet. Rec., 115, 434–436.

Gorkiewicz G., Feierl G., Schober C., Dieber F., Köfer J., Zechner R. & Zechner E.L. (2003). Species-specific identification of Campylobacters by partial 16S rRNA gene sequencing. J. Clin. Microbiol., 41, 2537-2546.

Harlow E. & Lane D. (1988). Antibodies: A Laboratory Manual. Cold Spring Harbor, New York, USA.

Harvey S.M. & Greenwood J.R. (1983). Relationship among catalase-positive Campylobacters determined by deoxyribonucleic acid-deoxyribonucleic acid hybridisation. Int. J. Syst. Bacteriol., 33, 275–284.

Harwood L.J., Thomann A., Brodard I., Makaya P.V. & Perreten V. (2009). Campylobacter fetus subspecies venerealis transport medium for enrichment and PCR. Vet. Rec., 165, 507–508.

Hum S., Brunner J., McInnes A., Mendoza G. & Stephens J. (1994). Evaluation of cultural methods and selective media for the isolation of Campylobacter fetus subsp. venerealis from cattle. Aust. Vet. J., 71, 184–186.

Hum S., Quinn K., Brunner J. & On S.L.W. (1997). Evaluation of a PCR assay for identification and differentiation of Campylobacter fetus subspecies. Aust. Vet. J., 75, 827–831.

Hum S., Stephens L.R. & Quinn C. (1991). Diagnosis by ELISA of bovine abortion due to Campylobacter fetus. Aust. Vet. J., 68, 272–275.

Iraola G., Betancor L., Calleros L., Gadea P., Algorta G., Galeano S., Muxi P., Greif G. & Perez R. (2015). A rural worker infected with a bovine-prevalent genotype of Campylobacter fetus subsp. fetus supports zoonotic transmission and inconsistency of MLST and whole-genome typing. Eur. J. Clin. Microbiol. Infect. Dis., 34, 1593–1596.

McGoldrick A., Chanter J., Gale S., Parr J., Toszeghy M. & Line K. (2013). Real Time PCR to detect and differentiate Campylobacter fetus subspecies fetus and Campylobacter fetus subspecies venerealis. J. Microbiol. Methods, 94, 199–204.

McMillen L., Fordyce G., Doogan V.J. & Lew A.E. (2006). Comparison of culture and a novel 5’ Taq nuclease assay for direct detection of Campylobacter fetus subsp. venerealis in clinical specimens from cattle. J. Clin. Microbiol., 44, 938–945.

Mellick P. W., Winter A.J. & McEntee K. (1965). Diagnosis of vibriosis in the bull by use of the fluorescent antibody technic. Cornell Vet., 55, 280–294.

Monke H.J., Love B.C., Wittum T.E., Monke D.R. & Byrum B.A. (2002). Effect of transport enrichment medium, transport time, and growth medium on the detection of Campylobacter fetus subsp. venerealis. J. Vet. Invest., 14, 35–39

On S.L.W. & Harrington C.S. (2001). Evaluation of numerical analysis of PFGE-DNA profiles for differentiating Campylobacter fetus subspecies by comparison with phenotypic, PCR and 16s rDNA sequencing methods. J. Appl. Microbiol., 90, 285–293.

Salama S.M., Garcia M.M. & Taylor D.E. (1992). Differentiation of the subspecies of Campylobacter fetus by genomic sizing. Int. J. Syst. Bact., 42, 446–450.

Spence R.P., Bruce I.R., McFadden A.M., Hill F.I., Tisdall D., Humphrey S., van der Graaf L., van Bergen M.A. & Wagenaar J.A. (2011). Cross-reaction of a Campylobacter fetus subspecies venerealis real-time PCR. Vet. Rec., 168, 131.

Steele T.W. & McDermott S.N. (1984). The use of membrane filters applied directly to the surface of agar plates for the isolation of Campylobacter jejuni from feces. Pathology, 16, 263–265.

Tedesco L.F., Errico F. & Del Baglivi P.L. (1977). Comparison of three sampling methods for the diagnosis of genital vibriosis in the bull. Aust. Vet. J., 53, 470–472.

Tu Z.C., Eisner W., Kreiswirth B.N. & Blaser M.J. (2005). Genetic divergence of Campylobacter fetus strains of mammal and reptile origins. J. Clin. Microbiol., 43, 3334–3340.

van Bergen M.A.P., Dingle K.E., Maiden M.C., Newell D.G., van der Graaf-Van Bloois L., van Putten J.P. & Wagenaar J.A. (2005a). Clonal nature of Campylobacter fetus as defined by multilocus sequence typing. J. Clin. Microbiol., 43, 5888–5898.

van Bergen, M.A.P., Linnane S., van Putten J.P. & Wagenaar J.A. (2005b). Global detection and identification of Campylobacter fetus subsp. venerealis. Rev. sci. tech. Off. int. Epiz., 24, 1017–1026.

van Bergen M. A. P., Simons G., van der Graaf-van Bloois L., van Putten J.P., Rombout J., Wesley I. & J. Wagenaar J.A. (2005c). Amplified fragment length polymorphism based identification of genetic markers and novel PCR assay for differentiation of Campylobacter fetus subspecies. J. Med. Microbiol., 54, 1217–1224.

Vandamme P. (2000). Taxonomy of the family Campylobacteraceae. In: Campylobacter, Second Edition Nachamkin I. & Blaser M.J., eds. ASM Press, Washington DC, USA, 3–26.

Vandamme P., Pot B., Falsen E., Kersters K. & De Ley J. (1990). Intra- and interspecific relationships of veterinary Campylobacters revealed by numerical analysis of electrophoretic protein profiles and DNA:DNA hybridizations. System. Appl. Microbiol., 13, 295–303.

Van Der Graaf-Van Bloois L., Duim B., Looft T., Veldman K.T., Zomer A.L. & Wagenaar J.A. (2023). Antimicrobial resistance in Campylobacter fetus: emergence and genomic evolution. Microb. Genom., Mar;9(3):mgen000934. doi: 10.1099/mgen.0.000934

van der Graaf-van Bloois L., Miller W.G., Yee E., Rijnsburger M., Wagenaar J.A. & Duim B. (2014). Inconsistency of phenotypic and genomic characteristics of Campylobacter fetus subspecies requires re-evaluation of current diagnostics. J. Clin. Microbiol., 52, 4183–4188.

van der Graaf-van Bloois L., van Bergen M.A.P., van der Wal F.J., de Boer A.G., Duim B., Schmidt T & Wagenaar J.A. (2013). Evaluation of molecular assays for identification Campylobacter fetus species and subspecies and development of a C. fetus specific real-time PCR assay. J. Microbiol. Methods, 95, 93–97.

Van Der Graaf-Van Bloois L., Zomer A.L., Duim B. & Wagenaar J.A. (2024). Campylobacter fetus subspecies specific PCR assays inferred from comparative genomic analysis for accurate subspecies identification. J. Microbiol. Methods, 226, 107049.

Veron M. & Chatelain R. (1973). Taxonomic study of the genus Campylobacter Sebald and Véron and designation of the neotype strain for the type species Campylobacter fetus (Smith and Taylor) Sebald and Véron. Int. J. Syst. Bacteriol., 23, 122–134.

Wagenaar J.A., Van Bergen M.A.P., Blaser M.J., Tauxe R.V., Newell D.G. & Van Putten J.P.M. (2014). Campylobacter fetus infections in humans: exposure and disease. Clin. Infect. Dis., 58, 1579–1586.

Wagenaar J.A., Van Bergen M.A.P., Newell D.G., Grogono-Thomas R. & Duim B. (2001). Comparative study using amplified fragment length polymorphism fingerprinting and phenotyping to differentiate Campylobacter fetus strains isolated from animals. J. Clin. Microbiol., 39, 2283–2286.

Waldner C.L., Parker S., Gesy K.M., Waugh T., Lanigan E. & Campbell J.R. (2017). Application of direct polymerase chain reaction assays for Campylobacter fetus subsp. venerealis and Tritrichomonas foetus to screen preputial samples from breeding bulls in cow-calf herds in western Canada. Can. J. Vet. Res., 81, 91–99.

Wang G., Clark C.G., Taylor T.M., Pucknell C., Barton C., Price L., Woodward D.L. & Rodgers F.G. (2002). Colony multiplex PCR assay for the identification and differentiation of Campylobacter jejuni, C. coli, C. lari, C. upsaliensis, and C. fetus subsp. fetus. J. Clin. Microbiol., 40, 4744–4747.

Willoughby K., Nettleton P.F., Quirie M., Maley M.A., Foster G., Toszeghy M. & Newell D.G. (2005). A multiplex polymerase chain reaction to detect and differentiate Campylobacter fetus subspecies fetus and Campylobacter fetus species venerealis: use on UK isolates of C. fetus and other Campylobacter spp. J. Appl. Microbiol., 99, 758–766.

*
*   *

NB: There is a WOAH Reference Laboratory for campylobacteriosis (please consult the WOAH Web site: 
https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3). 
Please contact the WOAH Reference Laboratories for any further information on 
diagnostic tests, reagents and vaccines for bovine genital campylobacteriosis

NB: First adopted in 1990. Most recent updates adopted in 2021.

This is the unique number for this chemical assigned by Chemical Abstracts Service (CAS).