Chapter 3.4.10.

haemorrhagic septicaemia
(Pasteurella multocida 
serotypes 6:b and 6:e)

SUMMARY

Haemorrhagic septicaemia (HS) is a major disease of cattle and buffaloes characterised by an acute, highly fatal septicaemia with high morbidity and mortality. It is caused by certain serotypes of Pasteurella multocida that are geographically restricted to some areas of Asia, Africa, the Middle East and southern Europe.

The diagnosis of HS depends on the isolation of the causative organism, P. multocida, generally from the blood or bone marrow of a dead animal, by cultural and biological methods, and the identification of the organism by biochemical, serological and molecular methods.

Isolation and detection of the agent: Pure cultures of P. multocida can be obtained by streaking materials on to artificial media and the subsequent identification on the basis of the morphological, cultural, and biochemical characteristics of P. multocida.

Conventionally, the identification of the specific serotype is carried out using one or more serological methods. These include rapid slide agglutination, indirect haemagglutination for ‘capsular’ typing using sheep red blood cells coated with bacterial extracts, ‘somatic’ typing by agar gel immunodiffusion tests using heat-treated cell extracts, or agglutination using acid-treated cells. Confirmation of the isolates can be made using molecular techniques.

Serology: Serological tests for detecting specific antibodies are not normally used for diagnostic purposes.

Requirements for vaccines: Effective vaccines against HS are formalin-killed bacterins, or dense bacterins with adjuvants. The latter enhance the level and prolong the duration of immunity.

Seed cultures for the production of vaccines should contain capsulated organisms. Vaccines are standardised as to their bacterial density on the basis of turbidity tests and dry bacterial weight. Potency tests are carried out in mice and/or rabbits.

A.  introduction

Haemorrhagic septicaemia (HS) is a major disease of cattle and buffaloes occurring as catastrophic epizootics in many Asian and African countries, resulting in high mortality and morbidity (Bain et al., 1982; Carter & De Alwis, 1989; Chanda et al., 2024; De Alwis, 1992; Mustafa et al., 1978; Shivachandra et al., 2011; Singh et al., 1996). The disease has been recorded in wild mammals in several Asian and European countries (Carigan et al., 1991; Rosen, 1981). In many Asian countries disease outbreaks mostly occur during the climatic conditions typical of monsoon (high humidity and high temperatures). The disease is caused by Pasteurella multocida, a Gram-negative coccobacillus residing mostly as a commensal in the nasopharynx of animals. The Asian serotype B:2 and the African serotype E:2 (Carter and Heddleston system), corresponding to 6:B and 6:E (Namioka-Carter system), are mainly responsible for the disease. In wild ruminants, serotype B:2,5 is predominantly present while serotype B:3,4 also has been reported from fallow deer (Aalbæk et al., 2009). The association of other serotypes, namely A:1, A:3 with a HS-like condition in cattle and buffaloes in India has been recorded (Kumar et al., 1996; 2004). The geographical distribution of HS includes some areas of Asia, Africa, the Middle East and southern Europe. It has never been confirmed in Mexico, Central or South America.

Clinically, HS caused by B:2 or E:2 strains is typified by fever, respiratory distress with nasal discharge, and frothing from the mouth, leading eventually to recumbency and death. Infection with serotypes A:1 and A:3 predominantly involves pneumonia and death. Septicaemia is the main characteristic feature in all forms of the disease. The incubation period varies from 3 to 5 days. In peracute cases, sudden death without clinical signs may be observed (Carter & De Alwis, 1989; De Alwis, 1992). Water buffaloes are generally more susceptible to HS than cattle and show more severe forms of disease with profound clinical signs. Severe subcutaneous oedema of the mandible, neck and brisket is a distinctive feature of the disease. In endemic areas, mortality is largely confined to older calves and young adults.

At post-mortem, most animals succumbing to HS typically show marked swelling of the neck caused by severe blood-tinged oedema. There are also abundant petechial haemorrhages in many tissues and organs, particularly in serosal membranes. The thoracic, pericardial and abdominal cavities may contain sero-sanguinolent fluid. The lungs are notably congested and oedematous, and foam is generally present in the nasal cavity, trachea and bronchi. Microscopically, there is interstitial pneumonia and pulmonary oedema as well as focal infiltrates of neutrophils and macrophages in many tissues. All these lesions are similar to those observed in severe sepsis and septic shock.

Massive epizootics may occur in endemic as well as non-endemic areas (Carter & De Alwis, 1989; Chanda et al., 2024; De Alwis, 1992). Within an endemic country, there can be spatial and temporal variation in the occurrence of HS outbreaks (Chanda et al., 2024). This indicates the need for targeted and tailored prevention and control strategies within endemic settings. HS has been identified as a secondary complication in cattle and water buffaloes following outbreaks of foot and mouth disease (FMD). Case fatality approaches 100% if treatment is not followed at the initial stage of infection (Carter & De Alwis, 1989; De Alwis, 1992). Appropriate antibiotics need to be selected following antimicrobial susceptibility tests for effective reduction of case fatality as multidrug resistant P. multocida strains are emerging (Prajapati et al., 2020a; Shivachandra et al., 2011). The ability of P. multocida to form biofilms has been documented in different serogroups including serotype B:2 (Prajapati et al., 2020b), which are known to significantly enhance the resistance of P. multocida to antibiotics in vivo.

The diagnosis of the disease is based on the clinical signs, gross lesions, morbidity and mortality patterns. Confirmation requires the isolation and characterisation of the pathogen using conventional and molecular techniques. There are no confirmed reports of human infections with P. multocida B:2 and E:2; however, other serotypes from companion animals like cat and dog do cause human infections and precautions should be taken to avoid exposure. The organism should be handled with appropriate biosafety and containment procedures as determined by biorisk analysis (see Chapter 1.1.4 Biosafety and biosecurity: Standard for managing biological risk in the veterinary laboratory and animal facilities).

B.  DIAGNOSTIC TECHNIQUES

Table 1. Test methods available and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection(a) | Individual animal freedom from infection prior to movement(b) | Contribute to eradication policies(c) | Confirmation of clinical cases(d) | Prevalence of infection – surveillance(e) | Immune status in individual animals or populations post-vaccination(f) |
| Detection of the agent(g) |  |  |  |  |  |  |
| Bacterial isolation | ☐☐☐ | ☐☐☐ | ☑☐☐ | ☑☑☑ | ☑☐☐ | ☐☐☐ |
| Antigen detection | ☐☐☐ | ☐☐☐ | ☑☐☐ | ☑☑☑ | ☑☐☐ | ☐☐☐ |
| Mouse pathogenicity test | ☐☐☐ | ☐☐☐ | ☑☐☐ | ☑☑☑(h) | ☑☐☐ | ☐☐☐ |
| CIEP | ☐☐☐ | ☐☐☐ | ☑☐☐ | ☑☑☑ | ☑☐☐ | ☑☐☐ |
| Rapid slide agglutination test | ☐☐☐ | ☑☐☐ | ☑☐☐ | ☑☑☑ | ☐☐☐ | ☐☐☐ |
| PCR | ☐☐☐ | ☑☐☐ | ☑☐☐ | ☑☑☑ | ☑☐☐ | ☐☐☐ |
| Real-time PCR | ☐☐☐ | ☑☐☐ | ☑☐☐ | ☑☑☑ | ☑☐☐ | ☐☐☐ |
| Detection of immune response |  |  |  |  |  |  |
| IHA | ☐☐☐ | ☑☐☐ | ☑☐☐ | ☑☑☐ | ☑☐☐ | ☑☑☑ ☑☑☐ |
| ELISA | ☐☐☐ | ☑☐☐ | ☑☐☐ | ☐☐☐ | ☑☑☐ | ☑☑☐ |

Key: ☑☑☑ = recommended for this purpose; ☑☑☐ = recommended but has limitations; 
☑☐☐ = suitable in very limited circumstances; ☐☐☐ = not appropriate for this purpose.
CIEP = counter-immuno-electrophoresis; PCR = polymerase chain reaction; 
IHA = indirect haemagglutination; ELISA = enzyme-linked immunosorbent assay.
(a)See Appendix 1 of this chapter for the justification table of the scores given to the tests for this purpose.
(b)See Appendix 2 of this chapter for the justification table of the scores given to the tests for this purpose.
(c)See Appendix 3 of this chapter for the justification table of the scores given to the tests for this purpose.
(d)See Appendix 4 of this chapter for the justification table of the scores given to the tests for this purpose.
(e)See Appendix 5 of this chapter for the justification table of the scores given to the tests for this purpose.
(f)See Appendix 6 of this chapter for the justification table of the scores given to the tests for this purpose.
(g)A combination of agent identification methods applied on the same clinical sample is recommended. 
(h)For animal welfare/ethical reasons, this test should only be used as a last resort.

1.	Isolation and detection of the agent

1.1.	Cultural and biochemical methods

True septicaemia in HS occurs at the terminal stage of the disease, therefore blood samples and nasal swabs/discharge should be taken from sick animals immediately before death. Animals in the early stages of the disease may not contain P. multocida in blood. The bacteria are also not consistently present in the nasal secretions or body fluids of sick animals. Blood samples collected from ailing animals undergoing antibiotic treatment may not indicate the presence of bacteria due to their suppression in the circulation.

A blood sample or swab collected from the heart is satisfactory only if taken immediately after death. If the animal has been dead for a long time, bone marrow from a long bones (humerus, femur, tibia, etc.) can be used for bacterial isolation. If there is no facility for post-mortem examination, blood can be collected from the jugular vein by incision or aspiration. Blood samples in any standard transport medium should be dispatched on ice and well packed to avoid any leakage. If the blood samples are not transported to the laboratory within a few hours, they can be frozen. However repeated freezing and thawing may destroy the organism and is not advisable.

Blood smears from affected animals are stained with Gram, Leishman’s or methylene blue stains. The organisms appear as Gram-negative, bipolar-staining short bacilli. No conclusive diagnosis can be made on the basis of direct microscopic examinations alone.

Blood samples, or swabs eluted into 2–3 ml sterile physiological saline, are cultured. Alternatively, the surface of a long bone is disinfected with alcohol and split open. The marrow is extracted aseptically and cultured. Direct culture is usually satisfactory only if the material is fresh and free from contaminants or post-mortem invaders that would otherwise overgrow any Pasteurella present.

For biological examinations, a small volume (0.2 ml) of eluted nasal/blood swabs or a portion of tissues/bone marrow in saline is inoculated subcutaneously or intramuscularly into mice. The mouse usually serves as a biological ‘screen’ for extraneous organisms. If viable P. multocida is present, the mice die 24–36 hours following inoculation, and a pure growth of P. multocida can be seen in blood smears. Pure cultures of P. multocida can usually be grown from blood (preferably from heart) of the mice, even when the original samples (nasal swab and tissue samples) come from relatively old carcasses. The organism can be identified by its morphological and cultural characteristics, biochemical reactions and serological tests. The mouse inoculation method may be used as a last resort in isolation of bacterial agent, particularly from heavily contaminated nasal/tissue materials.

A suitable bacteriological medium for Pasteurella is casein/sucrose/yeast (CSY) agar containing 5% blood. The composition of this medium is casein hydrolysate (3 g), sucrose (3 g), yeast extract (5 g), sodium chloride (5 g), anhydrous dipotassium hydrogen orthophosphate (3 g), and distilled water to 1 litre. The pH is adjusted to 7.3–7.4, after which 1.5% agar is added. The medium is autoclaved at 1 bar for 15 minutes. After cooling to 45–50°C, 5% calf blood (antibody-free P. multocida) is added (Wijewardana et al., 1986). Conventional blood agar may also be used.

Freshly isolated P. multocida forms smooth, greyish glistening translucent colonies, approximately 1 mm in diameter, on blood agar after 24 hours’ incubation at 37°C. Colonies grown on CSY agar are larger. Old cultures, particularly those grown on media devoid of blood, may produce smaller colonies. Pasteurella multocida does not grow on MacConkey agar. Gram-stained blood or tissue smears show Gram-negative, short, ovoid, bipolar-staining coccobacilli. A degree of pleomorphism will be noted, particularly in old cultures, with longer rods of varying length. The bipolar staining will be more evident with methylene blue or Leishman’s stain.

HS organisms produce oxidase, catalase and indole, and will reduce nitrates. They do not produce hydrogen sulphide or urease, and fail to use citrate or liquefy gelatin. Glucose and sucrose are always fermented with the production of acid only. Most strains also ferment sorbitol. Some strains ferment arabinose, xylose and maltose, whereas salicin and lactose are almost invariably not fermented.

One property of HS-causing strains of P. multocida is the ability to produce the enzyme hyaluronidase (Carter & Chengappa, 1980). Having identified the genus and species by cultural characteristics and biochemical tests, hyaluronidase production may then be used as a specific test for HS-causing pasteurellae. It should be noted that B serotypes other than B:2 (or 6:B), and type E, are hyaluronidase negative.

A hyaluronic-acid-producing culture is streaked across the centre of a dextrose starch agar plate. The Pasteurella culture to be tested for hyaluronidase production is streaked at right angles. The plates are incubated at 37°C for 18 hours. Originally, hyaluronic-acid-producing Streptococcus equi was used, but a convenient culture for this purpose is a capsulated mucoid P. multocida type A culture. At the point of intersection, the mucoid growth of the hyaluronic acid producer will diminish into a thin line of growth, indicating the production of hyaluronidase by the test culture. Use of freshly prepared plates and a humidified incubator will facilitate hyaluronic acid production and, thereby, the interpretation of the test.

1.2.	Serotyping methods

Several serotyping tests are used for the identification of the HS-causing serotypes of P. multocida. These consist of a rapid slide agglutination test (Namioka & Murata, 1961a), an indirect haemagglutination (IHA) test for capsular typing (Carter, 1955), an agglutination test using hydrochloric-acid-treated cells for somatic typing (Namioka & Murata, 1961b), the agar gel immunodiffusion (AGID) test (Anon, 1981; Heddleston et al., 1972; Wijewardana et al., 1982), and the counter immunoelectrophoresis test (CIEP) (Carter & Chengappa, 1981).

Hyperimmune antisera for most of these tests are prepared against specific reference strains in rabbits. Cultures in CSY broth (6–8-hours old) are seeded on to CSY blood agar medium. After overnight incubation (18–20 hours) the growth is washed into physiological saline containing 0.3% formalin. The turbidity of the cell suspension is adjusted to that of MacFarland’s tube No. 4. Rabbits are inoculated intravenously at 3–4-day intervals with 0.2, 0.5, 1.0, 1.5 and finally, 2.0 ml of this suspension. The rabbits are inoculated subcutaneously or intramuscularly 1 week after the last injection with 0.5 ml of a similar, but live, suspension. The animals are bled 10 days later. The serum is stored at –20°C, but small quantities for regular use are stored at 4°C with the addition of 1/10,000 merthiolate.

1.2.1.	Rapid slide agglutination test (capsular typing)

A single colony is mixed with a drop of saline on a slide, a drop of antiserum is added, and the slide is warmed gently. A coarse, floccular agglutination appears within 30 seconds. Old cultures may give a fine, granular agglutination that takes longer to appear.

1.2.2.	Indirect haemagglutination test (capsular typing)

This was originally performed using antigen-sensitised human type ‘O’ red blood cells (RBCs) (Carter, 1955), but more recently sheep RBCs have been used (Sawada et al., 1985; Wijewardana et al., 1986). The antigen is prepared as follows:

A 6–8-hour broth culture of a reference strain is seeded on to CSY blood agar plates and incubated overnight at 37°C. The growth is harvested in 3 ml physiological saline containing 0.3% formalin. This suspension is then heated at 56°C for 30 minutes, centrifuged at 3000 g for 15 minutes at 4°C, and the clear supernatant fluid is stored at –20°C. If a refrigerated centrifuge is not available, centrifugation at 1500 g for 30 minutes gives a supernatant fluid. This is used as the antigen extract. A similar procedure is followed for preparing an antigen extract from an unknown strain that is to be typed.

Sheep blood is collected aseptically into an anticoagulant and centrifuged at 500 g for 10 minutes. The packed RBCs are washed three times in sterile physiological saline. The antigen extract from an unknown strain prepared by the method described above is used to sensitise the RBCs or absorbed on to the RBCs. This is done by adding 15 volumes of the antigen extract to the RBCs and incubating the mixture for 1 hour at 37°C with frequent shaking. The sensitised RBCs are recovered by centrifugation, washed three times in sterile physiological saline, and made up to a final 1% suspension in physiological saline. The type-specific hyperimmune antiserum (three volumes) is absorbed by the addition of packed RBCs (one volume) for 30 minutes at room temperature, and then centrifuged at 500 g for 10 minutes to pellet the RBCs. The absorbed antiserum is then inactivated by heating at 56°C for 30 minutes.

The test itself can be carried out in tubes or plates, and is performed in two rows. The test described below is for standard microtitre plates.

i)	The capsular extract of the unknown strain is prepared as described above and used to sensitise the sheep RBCs. The known type-specific hyperimmune sera raised in rabbits against types A, B, D and E are diluted as follows:

ii)	Using four separate rows of wells, the first wells are filled with 0.72 ml saline followed by 0.4 ml in the next six wells or more.

iii)	The type-specific hyperimmune sera are each separately diluted in each row by adding 0.08 ml of the serum to the first well and mixing with a pipette. From this well 0.4 ml is transferred to the next well, mixed, and the process carried on until well seven. This constitutes 1/10 dilution in the first well and a doubling dilution thereafter.

iv)	All the wells are each filled with 0.4 ml of antigen-adsorbed/sensitised RBCs, shaken slightly and left at room temperature. By the addition of the sensitised blood, the serum dilutions in the wells are doubled, i.e. 1/20 in well one, 1/40 in the second, and so on. A positive, negative and saline control are included in each test run.

v)	The first reading is taken after 2 hours and a final reading after 18 hours. A course agglutination of the RBCs along the sides of the concave wells is taken as a positive reading, and the formation of a button at the centre of the wells as negative. An arbitrary score of 1 to 4 is given depending on the size of the agglutination. An unknown strain is identified with the hyperimmune serum that has agglutination. In the absence of agglutination with all sera, the strain is considered to be untypeable.

While IHA can be used for typing unknown strains, the test itself is more efficient when dealing with serotypes B and E and is more reliable as a quantitative test against these strains.

1.2.3.	Agar gel immunodiffusion tests

AGID tests are used for what is described as ‘capsular’ as well as ‘somatic’ typing, depending on the antigens and antisera used. The double-diffusion technique is employed. Wells are punched in the solid agar in a circular pattern with one centre well surrounded by six peripheral wells.

i)	Capsular typing: The gel medium is 1.0% Noble agar, or equivalent product, in 0.2 M phosphate buffer containing merthiolate at a final concentration of 1/10,000 (Anon, 1981; Wijewardena et al., 1982). Antigens and antisera are the same as for capsular typing by the IHA method (Carter, 1955). The standard antiserum is placed in the centre well, and the test antigens are placed in the peripheral wells alternately with standard homologous antigen.

ii)	Somatic typing: The gel medium consists of special Noble agar, or equivalent product, at a concentration of 0.9% in 0.85% sodium chloride solution.

iii)	For antigen preparation, the growth from each plate is harvested in 1 ml of 8.5% sodium chloride containing 0.3% formalin. The suspension is heated at 100°C for 1 hour, the cells are sedimented by centrifugation, and the supernatant fluid is used as antigen.

iv)	Antisera against 16 somatic types (Heddleston et al., 1972) are prepared in chickens. Oil-emulsified bacterin (1 ml) is injected subcutaneously into the mid-portion of the neck of 12–16-week-old male birds. A further injection is made 3 weeks later of 1 ml intramuscularly into the breast, 0.5 ml on each side of the sternum. The birds are bled 1 week later, and the serum is separated and preserved with 0.01% thiomersal and 0.06% phenol. Sera are tested against all somatic types and sera that cross-react are discarded. Some antisera preparations against B:2 may cross react with the somatic type 5.

v)	The test antigen is placed in the centre well and antisera against the different serotypes are placed in the peripheral wells. All HS serotypes (Asian and African) will react with type 2 antiserum. Cross-reactions may occur with type 5.

1.2.4.	Counter immunoelectrophoresis

CIEP offers a rapid method for the identification of capsular types B and E cultures.

i)	Preparation of capsular substance

Capsular substance is prepared in the same manner as described for the IHA test.

ii)	Preparation of hyperimmune antisera

Antisera are prepared in rabbits as for the IHA test.

iii)	Medium for CIEP

The medium for the CIEP consists of agarose (2.0 g), barbitone sodium (2.06 g), diethyl barbituric acid (0.37 g), distilled water (180 ml), and 1/1000 merthiolate (20 ml).

iv)	Veronal acetate buffer (barbitone buffer)

The barbitone buffer consists of barbitone sodium (29.24 g), anhydrous sodium acetate (11.70 g), 0.1 N hydrochloric acid (180 ml), and distilled water to 3 litres. The pH should be 8.8.

v)	Preparation of slides

The electrophoresis plates are prepared by precoating glass slides (57 mm × 70 mm) with 12 ml volumes of the medium. Seven wells, 4 mm in diameter and 7 mm apart, are cut in a row. A parallel set of wells is cut 6 mm (centre to centre) away from the other set of wells.

vi)	Test procedure

The well on the side of the cathode is loaded with a 20 µl volume of capsular antigen, while an equal volume of type-specific antiserum is loaded on to the well on the side of the anode. Controls included in the test are 0.85% sodium chloride solution against positive antiserum, and capsular extract against negative rabbit serum as well as positive and negative control samples. The electrophoresis tank is filled with barbitone buffer, pH 8.8. The antigen and antiserum are electrophoresed for 30 minutes at 150 V (25 V/cm). The plates are then examined for precipitation lines.

vii)	Interpretation of the results

The presence of a distinct line between the antigen and antiserum wells is considered to be a positive result.

1.2.5.	Agglutination tests (somatic antigen)

The somatic ‘O’ antigen is prepared by a method similar to that described previously for the IHA test (Namioka, 1978; Namioka & Murata, 1961b). A 6–8-hour test culture is seeded on to CSY blood agar and incubated overnight. The growth is harvested in 2–3 ml of physiological saline containing 0.3% formalin per plate, and centrifuged at 3000 g for 15 minutes at 4°C (or 1200–1500 g for 30–45 minutes at room temperature). The deposited bacteria are resuspended in 25 ml normal HCl saline (0.85% saline in a normal HCl solution) to give an opacity approximately equivalent to Brown’s opacity tube No. 6, and incubated overnight. The suspension is again centrifuged, the supernatant fluid is discarded, and the cell residue is washed three times successively in phosphate buffered saline (PBS) at pH 5.0, 6.0 and 7.0, respectively.

Finally, a suspension of the residual cells, equivalent to Brown’s opacity tube No. 6, is prepared in PBS at pH 7.0. Any suspensions that autoagglutinate should be discarded.

Antisera are prepared against whole bacterial cell suspensions of the reference strains B:2 (Asian HS), E:2 (African HS) and 11:B (Australian 989, non-HS). Agglutination tests are carried out on a slide and the test antigen is used against the three types of sera. A fine granular agglutination indicates a specific somatic agglutination. Tests carried out against the standard antigens will facilitate reading and interpretation. When nonspecific partial agglutination occurs, the tests carried out with tenfold dilutions of the serum against the test and standard antigens will help to identify somatic antigen.

1.2.6.	Serotype designation

Broadly, two typing systems are adopted. One is ‘capsular’ typing by Carter’s IHA test (Carter, 1955) or by AGID tests (Anon, 1981; Wijewardena et al., 1982). The other is ‘somatic’ typing by the method of Namioka & Murata (Namioka, 1978; Namioka & Murata, 1961b; 1961c), and by the method of Heddleston et al. (1972). It is generally agreed that designation of serotypes should be based on a somatic–capsular combination. Two systems commonly in use are the Namioka–Carter and the Carter–Heddleston systems. In the former system, Asian and African HS serotypes are designated 6:B and 6:E, respectively, while in the latter system they are designated B.2 and E.2, respectively.

1.3.	Molecular methods – detection of nucleic acids Nucleic acid recognition methods

Extraction of nucleic acids

Different kits and procedures can be used for nucleic acid extraction. The quality and concentration of the extracted nucleic acid is important and can be checked using a suitable method as appropriate to the circumstances.

1.3.1.	Real-time PCR

Primers and probes (sequence)

| Pathogen/ target gene | Primer/probe (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: HS-est-RT-PCR; Petersen et al., 2014; GenBank Accession No.: 178 bp |  |  |  |
| est | Fwd name: PmHSF: CCT-TCT-ACA-CAA-GST-GGT-TTG-A Rev name: Pm HSAR: GCC-AAR-TCA-TTA-CCR-TCT | 0.3 mM 0.3 mM | 40 cycles of: 95°C/30 sec and 50°C/60 sec |

(a)A denaturation step prior to cycling has not been included.

1.3.2. Conventional PCR

Primers (sequences)

| Pathogen/ target gene | Primer (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Pasteurella multocida-specific PCR assay; Townsend et al., 1998; GenBank Accession No.: AF016259; amplicon size: 460 bp |  |  |  |
| Kmt1 | Fwd name: KMT1T7: ATC-CGC-TAT-TTA-CCC-AGT-GG Rev name: KMT1SP6: GCT-GTA-AAC-GAA-CTC-GCC-AC | 3.2 pmol 3.2 pmol | 30 cycles of: 95°C/1 min and 55°C/1 min; final extension at 72°C/9 min |
| Method 2: HS-causing type-B-specific PCR assay; Townsend et al., 1998; GenBank Accession No.: AF016260; amplicon size: 620 bp |  |  |  |
| Cap B | Fwd name: KTT72: AGG-CTC-GTT-TGG-ATT-ATG-AAG Rev name: KTSP61: ATC-CGC-TAA-CAC-ACT-CTC | 3.2 pmol 3.2 pmol | 30 cycles of: 95°C/1 min and 55°C/1 min; final extension at 72°C/9 min |
| Method 3: Pasteurella multocida multiplex capsular PCR typing system; Townsend et al., 2001; amplicon sizes: 1044 bp, 760 bp, 657 bp, 511 bp and 851 bp |  |  |  |
| Cap A | Fwd name: CAPA-FWD: TGC-CAA-AAT-CGC-AGT-CAG Rev name: CAPA-REV: TTG-CCA-TCA-TTG-TCA-GTG | 3.2 pmol 3.2 pmol | [Amplicon size: 1044 bp] 30 cycles of: 95°C/1 min and 55°C/1 min; final extension at 72°C/5 min |
| Cap B | Fwd name: CAPB-FWD: CAT-TTA-TCC-AAG-CTC-CAC-C Rev name: CAPB-REV: GCC-CGA-GAG-TTT-CAA-TCC | 3.2 pmol 3.2 pmol | [Amplicon size: 760 bp] 30 cycles of: 95°C/1 min and 55°C/1 min; final extension at 72°C/5 min |
| Cap D | Fwd name: CAPD-FWD: TTA-CAA-AAG-AAA-GAC-TAG-GAG-CCC Rev name: CAPD-REV: CAT-CTA-CCC-ACT-CAA-CCA-TAT-CAG | 3.2 pmol 3.2 pmol | [Amplicon size: 657 bp] 30 cycles of: 95°C/1 min and 55°C/1 min; final extension at 72°C/5 min |
| Cap E | Fwd name: CAPE-FWD: TCC-GCA-GAA-AAT-TAT-TGA-CTC Rev name: CAPE-FWD: GCT-TGC-TGC-TTG-ATT-TTG-TC | 3.2 pmol 3.2 pmol | [Amplicon size: 511 bp] 30 cycles of: 95°C/1 min and 55°C/1 min; final extension at 72°C/5 min |
| Cap F | Fwd name: CAPF-FWD: AAT-CGG-AGA-ACG-CAG-AAA-TCA-G Rev name: CAPF-FWD: TTC-CGC-CGT-CAA-TTA-CTC-TG | 3.2 pmol 3.2 pmol | [Amplicon size: 851 bp] 30 cycles of: 95°C/1 min and 55°C/1 min; final extension at 72°C/5 min |
| Method 4: Pasteurella multocida type A specific PCR; Gautam et al., 2004; GenBank Accession No.: AF067175; amplicon size: 564 bp |  |  |  |
| Cap A | Fwd name: RGPMA5: AAT-GT-TTG-CGA-TAG-TCC-GTT-AGA Rev name: RGPMA6: ATT-TGG-CGC-CAT-ATC-ACA-GTC | 20 pmol 20 pmol | 30 cycles of: 95°C/ 45 sec and 56°C/45 sec; final extension at 72°C/6 min |
| Method 5: Pasteurella multocida Multiplex LPS PCR Typing System; Harper et al., 2015; GenBank Accession No.: HQ162664–HQ162679; amplicon sizes: varying: 1307 bp, 810 bp, 474 bp, 550 bp, 1175 bp, 1668 bp, 931 bp, 255 bp |  |  |  |
| L1 (Heddleston Serovar 1 and 14) | Fwd name: BAP6119: ACA-TTC-CAG-ATA-ATA-CA-CCCG Rev name: BAP6120: ATT-GGA-GCA-CCT-AGT-AAC-CC | 0.4 µM 0.4 µM | [Amplicon size: 1307 bp] 30 cycles of: 96°C/30 sec and 52°C/30 sec; final extension at 72°C/5 min |
| L2 (Heddleston Serovar 2/5) | Fwd name: BAP6121: CTT-AAA-GTA-ACA-CTC-GCT-ATTGC Rev name: BAP6122: TTT-GAT-TTC-CCT-TGG-GAT-AGC | 0.4 µM 0.4 µM | [Amplicon size: 810 bp] 30 cycles of: 96°C/30 sec and 52°C/30 sec; final extension at 72°C/5 min |
| L3 (Heddleston Serovar 3 and 4) | Fwd name: BAP7213: TGC-AGG-CGA-GAG-TTG-ATA-AAC-CAT-C Rev name: BAP7214: CAA-AGA-TTG-GTT-CCA-AAT-CTG-AAT-GGA | 0.4 µM 0.4 µM | [Amplicon size: 474 bp] 30 cycles of: 96°C/30 sec and 52°C/30 sec; final extension at 72°C/5 min |
| L4 (Heddleston Serovar 6 and 7) | Fwd name: BAP6126: CTT-TAT-TTG-GTC-TTT-ATA-TAT-ACC Rev name: BAP6125: TTT-CCA-TAG-ATT-AGC-AAT-GCC-G | 0.4 µM 0.4 µM | [Amplicon size: 550 bp] 30 cycles of: 96°C/30 sec and 52°C/30 sec; final extension at 72°C/5 min |
| L5 (Heddleston Serovar 9) | Fwd name: BAP6129: AGA-TTG-CAT-GGC-GAA-ATG-GC Rev name: BAP6130: CAA-TCC-TCG-TAA-GAC-CCC-C | 0.4 µM 0.4 µM | [Amplicon size: 1175 bp] 30 cycles of: 96°C/30 sec and 52°C/30 sec; final extension at 72°C/5 min |
| L6 (Heddleston Serovar 10, 11, 15, and 12) | Fwd name: BAP7292: TCT-TTA-TAA-TTA-TAC-TCT-CCC-AAG-G Rev name: BAP7293: AAT-GA-AGG-TTT-AAA-AGA-GAT-AGC-TGG-AG | 0.4 µM 0.4 µM | [Amplicon size: 1668 bp] 30 cycles of: 96°C/30 sec and 52°C/30 sec; final extension at 72°C/5 min |
| L7 (Heddleston Serovar 8 and 3) | Fwd name: BAP6127: CCT-ATA-TTT-ATA-TCT-CCT-CCC-C Rev name: BAP6128: CTA-ATA-TAT-AAA-CCA-TCC-AAC-GC | 0.4 µM 0.4 µM | [Amplicon size: 931 bp] 30 cycles of: 96°C/30 sec and 52°C/30 sec; final extension at 72°C/5 min |
| L8 (Heddleston Serovar 16) | Fwd name: BAP6133: GAG-AGT-TAC-AAA-AAT-GAT-CGG-C Rev name: BAP6134: TCC-TGG-TTC-ATA-TAT-AGG-TAG-G | 0.4 µM 0.4 µM | [Amplicon size: 255 bp] 30 cycles of: 96°C/30 sec and 52°C/30 sec; final extension at 72°C/5 min |

(a)A denaturation step prior to cycling has not been included.

1.3.3.	Loop-mediated isothermal amplification (LAMP) assays

| Pathogen/ target gene | Primer/probe (5’–3’) | Concentration | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Pm-LAMP assays; Moustafa & Bennett, 2017; GenBank Accession No.: AF016259 |  |  |  |
| Kmt1 | Pm-AMM-F3: CAG-CAA-TTT-CGA-GCA-AAC-AAT-G Pm-AMM-B3: AGC-CAA-ATA-AAA-GAC-TAC-CGA-C Pm-AMM-FIP: CAC-CGC-CCC-ACT-GGG-TAA-ATA-GTG-GGG-CTT-TAC-GCT-GAT Pm-AMM-BIP: ATG-AAC-CGA-TTG-CCG-CGA-AAT-TGA-AGC-CCA-CTC-ACA-ACG-AG Pm-AMM-LF: CGG-ATA-GAG-CAG-TAA-TGT-CAG-CA Pm-AMM-LB: TGC-CAC-TTG-AAA-TGG-GAA-ATG | 0.314 µmol/l for each of FIP and BIP, 0.157 µmol/l for each of LB and LF, 0.029 µmol/l for each of F3 and B3 | 63°C for 34 minutes |
| Method 2: HS LAMP assay. Moustafa & Bennett, 2017; GenBank Accession No.: JQAO00000000 |  |  |  |
| CapB | 1517-AMM-F3: AGC-AAT-GAA-TGT-TGC-TGC 1517-AMM-B3: TTG-TTG-TAT-CGG-GTT-GTT-TG 1517-AMM-FIP: ACT-GTT-GAA-CCG-AGA-TAA-AAC-TCA-ATT-GCC-AAA-AGA-AAT-GGG-GT 1517-AMM-BIP:CCA-TTG-TAA-AGT-GGA-TGC-TAC-TCG-GTT-TCC-TGC-ACC-ACC-TAA 1517-AMM-LB: CGT-AGG-TCA-TAA-TGG-CAT-TGG-TGTG | 0.29 µmol/l for each of FIP, BIP, 0.143 µmol/l for LB, 0.029 µmol/l for each of F3 and B3 | 63°C for 28 minutes |

General notes:

i)	PCR technology can be applied for rapid, sensitive and specific and/or detection of ≤10 P. multocida organisms per reaction directly using a colony, culture, infected tissue or mixed culture following lysate preparation.

ii)	Pasteurella multocida can be detected regardless of the purity of the specimen, an advantage if the specimen is from an old carcass or from tonsil or nasal swabs. The swab should be inoculated in 2 ml CSY broth and incubated on a roller for 2–4 hours; 2 µl of the culture is then added directly to the PCR mixture prior to amplification.

iii)	For each colony PCR, material from two to three well-isolated P. multocida colonies is collected using a sterile tip on a 20 µl micropipette (volume set at 20 µl) inserted into the middle of each colony. The collected material is then added to a 50 µl PCR mixture and mixed thoroughly by pipetting.

iv)	Species-specific PCR can identify all subspecies of P. multocida, but has been found to give a false positive with both P. avium biovar 2 and P. canis biovar 2 (Method 1).

v)	For capsular serotyping, multiplex capsular PCR typing system could be employed along with species-specific PCR assay (Method 3).

vi)	For somatic serogrouping, multiplex LPS PCR typing system could be employed along with a species-specific PCR assay (Method 5).

vii)	Presumptive capular and somatic serotypes could be obtained within 3–4 hours, in comparison with biochemical analysis and conventional serotyping, which can take up to 2 weeks.

viii)	For setting up the PCR, use a reaction mix of either 25 µl of 50 µl containing 1 × PCR buffer, 200 µM each deoxynucleotide triphosphate (dNTP), 2 mM MgCl2, 1 u Taq DNA polymerase or master mix, using either purified DNA, culture lysate or direct colony as template DNA.

ix)	For all PCR conditions, an initial denaturation step at 95°C for 5 minutes and final extension step at 72°C for 7 minutes needs to be included (Methods 1–5).

x)	Generally, it is suggested to optimise the reaction mix/reagents/template DNA in a thermocycler used to get desired amplicons, as it was found to vary in amplicon intensity between uniplex or multiplex PCR assays with combination of multiple pair of primers for capsular and somatic typing.

xi)	Upon amplifications, 5 µl of each sample is electrophoresed on a 2% agarose gel in 1 × Tris-acetate running buffer (TAE) at 4 V/cm for 1 hour. The gel is stained with 1% ethidium bromide and DNA fragments are viewed by UV transillumination (Methods 1–5).

xii)	For rapid and real-time diagnosis, the HS-est real-time PCR could be employed for detection of the specific types of P. multocida involved in HS compared with other PCR assays.

xiii)	Pm-LAMP assay and an HS-LAMP assay specific for serogroup B:2 strains associated with HS in cattle and buffalo could be used at field level as a simple alternate method to PCR assays, which are sophisticated laboratory-based methodologies.

1.3.1.	Pasteurella multocida-specific PCR assay

PCR technology can be applied for rapid, sensitive and specific and/or detection of P. multocida (Miflin & Blackall, 2001; Townsend et al., 1998a). The rapidity and high specificity of two of the P. multocida-specific assays (Miflin & Blackall, 2001; Townsend et al., 1998a) provide optimal efficiency without the need for additional hybridisation. The P. multocida-specific PCRs (Miflin & Blackall, 2001; Townsend et al., 1998a) identify all subspecies of P. multocida. The Miflin & Blackall PCR (Miflin & Blackall, 2001) was described as giving a false positive with both P. avium biovar 2 and P. canis biovar 2, while the Townsend et al. PCR (1998a) gave a false positive with P. canis biovar 2 (it has not been tested against P. avium biovar 2). Recently, both P. avium biovar 2 and P. canis biovar 2 have been re-named as P. multocida (Christensen et al., 2004) – meaning that both the Townsend et al. (1998a) and the Miflin & Blackall (Miflin & Blackall, 2001) PCR assays are now regarded as being specific for P. multocida. Some difficulties remain as it is now known that sucrose-negative P. multocida-like organisms from large cat bite wounds form two groups. While both are positive in the Miflin & Blackall P. multocida-specific PCR (2001) only one group has been confirmed as true P. multocida by other genotypic methods (Christensen et al., 2005). The Townsend et al. (1998a) PCR is described in the following paragraph.

A fraction of an isolated colony of the suspect organism is transferred directly into the PCR mixture. Alternatively, template DNA can be obtained from 2 µl of either a mixed or pure broth culture. All currently used methods for the preparation of template DNA produce reproducible results with the KMT1 primers (Townsend et al., 1998a), and allow detection of ≤10 organisms per reaction. The sensitivity and specificity of the P. multocida-specific PCR offer the most compelling argument for the use of PCR technology in laboratory investigation of suspected HS cases. Pasteurella multocida can be detected regardless of the purity of the specimen, an advantage if the specimen is from an old carcass or from tonsil or nasal swabs. In such cases, the swab should be inoculated in 2 ml CSY broth and incubated on a roller for 2–4 hours; 2 µl of the culture is then added directly to the PCR mixture prior to amplification.

Primer sequences (Townsend et al., 1998a):

P.-multocida-specific PCR:	KMT1T7	5’-ATC-CGC-TAT-TTA-CCC-AGT-GG-3’

KMT1SP6	5’-GCT-GTA-AAC-GAA-CTC-GCC-AC-3’

PCR conditions:

Template DNA is added to the PCR mixture (total volume of 25 µl) containing 1 × PCR buffer, 200 µM each deoxynucleotide triphosphate (dNTP), 2 mM MgCl2, 3.2 pmol of each primer and 0.5 u Taq DNA polymerase. Thermocycler parameters are as follows: initial denaturation at 95°C for 5 minutes; 30 cycles of 95°C for 1 minute, 55°C for 1 minute, 72°C for 1 minute; with a final extension at 72°C for 7 minutes. 5 µl of each sample is electrophoresed on a 2% agarose gel in 1 × Tris-acetate running buffer (TAE) at 4 V/cm for 1 hour. The gel is stained with 1% ethidium bromide and DNA fragments are viewed by UV transillumination.

The PCR amplification yields a product of 460 bp.

1.3.2.	Pasteurella multocida multiplex capsular PCR typing system

Identification of the genes involved in the biosynthesis of the P. multocida A:1 (Chung et al., 1998) and B:2 (Boyce et al., 2000) polysaccharide capsules provided the required information to determine the biosynthetic region of the remaining three serogroups (D, E, and F) (Boyce et al., 2000). Moreover, with the use of serogroup specific multiplex PCR, conflicting results as regards to typing of some strains could be confirmed (Townsend et al., 2001). With this knowledge, serogroup-specific sequences were identified for use as primers in a multiplex capsular PCR-typing system (Townsend et al., 2001). The P.-multocida-specific primers are included as an internal control for species identification. In the multiplex capsular PCR typing system, the amplicon band giving the typing result may be unclear. In such cases, removal of the P. multocida-specific primers (KMT1T7, KMT1SP6) from the mixture can improve the result.

Primer sequences (Townsend et al., 2001):

Multiplex capsular PCR:	CAPA-FWD	5’-TGC-CAA-AAT-CGC-AGT-CAG-3’

CAPA-REV	5’-TTG-CCA-TCA-TTG-TCA-GTG-3’

CAPB-FWD	5’-CAT-TTA-TCC-AAG-CTC-CAC-C-3’

CAPB-REV	5’-GCC-CGA-GAG-TTT-CAA-TCC-3’

CAPD-FWD	5’-TTA-CAA-AAG-AAA-GAC-TAG-GAG-CCC-3’

CAPD-REV	5’-CAT-CTA-CCC-ACT-CAA-CCA-TAT-CAG-3’

CAPE-FWD	5’TCC-GCA-GAA-AAT-TAT-TGA-CTC-3’

CAPE-REV	5’-GCT-TGC-TGC-TTG-ATT-TTG-TC-3’

CAPF-FWD	5’-AAT-CGG-AGA-ACG-CAG-AAA-TCA-G-3’

CAPF-REV	5’-TTC-CGC-CGT-CAA-TTA-CTC-TG-3’

KMT1T7	5’-ATC-CGC-TAT-TTA-CCC-AGT-GG-3’

KMT1SP6	5’-GCT-GTA-AAC-GAA-CTC-GCC-AC-3’

Size of resulting fragments:

Serogroup A	CAPA-FWD/CAPA-REV	1044 bp

Serogroup B	CAPB-FWD/CAPB-REV	760 bp

Serogroup D	CAPD-FWD/CAPD-REV	657 bp

Serogroup E	CAPE-FWD/CAPE/REV	511 bp

Serogroup F	CAPF-FWD/CAPF-REV	851 bp

PCR conditions:

Template DNA is added to the PCR mixture (total volume of 25 µl) containing 1 × PCR buffer, 200 µM each deoxynucleotide triphosphate (dNTP), 2 mM MgCl2, 3.2 pmol of each primer and 1 u Taq DNA polymerase. In the original publication (Townsend et al., 2001) it is suggested to use a standard cycling programme as per P.-multocida-specific PCR assay. However, the cycling programme should be optimised to and validated for the model of thermocycler in use. Agarose gel electrophoresis is as described above.

1.3.3.	HS-causing type-B-specific PCR assay

Presumptive identification of HS-causing type-B-specific P. multocida is also possible by PCR amplification (Townsend et al., 1998a). Type B cultures with the predominant somatic antigen being either type 2 or 5 are identified by the amplification of a ~620 bp fragment with the KTSP61 and KTT72 primers.

Primer sequences (Townsend et al., 1998a):

HS-causing type-B-specific PCR	KTT72	5’-AGG-CTC-GTT-TGG-ATT-ATG-AAG-3’

KTSP61	5’-ATC-CGC-TAA-CAC-ACT-CTC-3’

Conditions for HS-causing type-B-specific PCR are as described for P. multocida-specific PCR. The usefulness of these primers has been reported for identification of serogroup B strains.

HS-causing type-B-specific PCR primers can also be used in a multiplex PCR with the P. multocida-specific primers, dramatically decreasing the time required for P. multocida detection and presumptive identification of the HS-serotype. Multiplex PCR conditions are as described above except that 3.2 pmol of each of the four primers and 1 u Taq DNA polymerase are used. The use of the multiplex P.-multocida-specific/HS-causing type-B-specific PCR on suspect organisms can confirm the identity and provide a presumptive serotype within 3–4 hours, in comparison with biochemical analysis and conventional serotyping, which can take up to 2 weeks.

1.3.4.	Pasteurella multocida type A specific PCR

Primers useful for typing of serogroup A strains with several somatic types have been reported to be useful in specific identification of isolates (Gautam et al., 2004).

Primers:

RGPMA5: 	5’-AAT-GT-TTG-CGA-TAG-TCC-GTT-AGA-3’

RGPMA6: 	5’-ATT-TGG-CGC-CAT-ATC-ACA-GTC-3’

PCR conditions:

Template DNA (50 ng) is added to the PCR mixture (total volume of 25 µl) containing 1 × PCR buffer, 200 µm each dNTPs, 1.5 mM MgCl2, 20 pmol of each primer and 1 unit Taq DNA polymerase. Standard amplification conditions are as follows: initial denaturation at 95°C for 5 minutes; 30 cycles of 95°C for 45 seconds, 56°C for 45 seconds, 72°C for 45 seconds, followed by final extension of 72°C for 6 minutes. Amplified products are separated by agarose gel electrophoresis (1.5% agarose gel) in 0.5 × TBE buffer at 5 v/cm for 2 hours.

The PCR amplification yields a product of 564 bp.

The test can be applied on direct culture, boiled cell lysate and infected tissues.

1.3.5	Pasteurella multocida multiplex LPS PCR typing system

Pasteurella multocida strains can be classiﬁed into 16 somatic or lipopolysaccharide (LPS) serovars (serotypes) using the Heddleston gel diffusion precipitin test. The genes required for LPS assembly have been identified. The multiplex PCR method was developed for LPS molecular typing based on LPS outer core structure genes (Harper et al., 2015).

Primers:

BAP6119: 	5’- ACA-TTC-CAG-ATA-ATA-CA-CCCG-3’

BAP6120: 	5’- ATT-GGA-GCA-CCT-AGT-AAC-CC-3’

BAP6121: 	5’- CTT-AAA-GTA-ACA-CTC-GCT-ATT-GC-3’

BAP6122: 	5’- TTT-GAT-TTC-CCT-TGG-GAT-AGC-3’

BAP7213: 	5’-TGC-AGG-CGA-GAG-TTG-ATA-AAC-CAT-C-3’

BAP7214: 	5’- CAA-AGA-TTG-GTT-CCA-AAT-CTG-AAT-GGA-3’

BAP6126: 	5’- CTT-TAT-TTG-GTC-TTT-ATA-TAT-ACC-3’

BAP6125: 	5’- TTT-CCA-TAG-ATT-AGC-AAT-GCC-G-3’

BAP6129: 	5’- AGA-TTG-CAT-GGC-GAA-ATG-GC-3’

BAP6130: 	5’- CAA-TCC-TCG-TAA-GAC-CCC-C-3’

BAP7292: 	5’- TCT-TTA-TAA-TTA-TAC-TCT-CCC-AAG-G-3’

BAP7293: 	5’- AAT-GA-AGG-TTT-AAA-AGA-GAT-AGC-TGG-AG-3’

BAP6127: 	5’- CCT-ATA-TTT-ATA-TCT-CCT-CCC-C-3’

BAP6128: 	5’- CTA-ATA-TAT-AAA-CCA-TCC-AAC-GC-3’

BAP6133: 	5’- GAG-AGT-TAC-AAA-AAT-GAT-CGG-C-3’

BAP6134: 	5’- TCC-TGG-TTC-ATA-TAT-AGG-TAG-G-3’

Size of resulting fragments:

L1 (Heddleston Serovar 1 and14)	BAP6119/ BAP6120	1307 bp

L2 (Heddleston Serovar 2/5)	BAP6121/ BAP6122	810 bp

L3 (Heddleston Serovar 3 and 4)	BAP7213/ BAP7214	474 bp

L4 (Heddleston Serovar 6 and 7)	BAP6126/ BAP6125	550 bp

L5 (Heddleston Serovar 9)	BAP6129/ BAP6130	1175 bp

L6 (Heddleston Serovar 10, 11, 15, and 12)	BAP7292/ BAP7293	1668 bp

L7 (Heddleston Serovar 8 and 3)	BAP6127/ BAP6128	931 bp

L8 (Heddleston Serovar 16)	BAP6133/ BAP6134	255 bp

PCR conditions:

Each of the ﬁnal multiplex LPS PCRs (50 µl ﬁnal volume) is performed in 1×Taq polymerase buffer (10 mM Tris-HCl, 1.5 mM MgCl2, 50 mM KCl) containing 0.4 µM each primer, 0.2 mM deoxynucleoside triphosphates (dNTPs), and 1.7 U Taq polymerase. For each colony PCR, material from 2 to 3 well-isolated P. multocida colonies is collected using a sterile tip on a 20 μl micropipette (volume set at 20 μl) inserted into the middle of each colony. The collected material is then added to a 50 μl PCR mixture and mixed thoroughly by pipetting. For PCR using genomic DNA, approximately 50 ng of column-puriﬁed DNA is added to each PCR mixture. All reaction mixtures are mixed brieﬂy then centrifuged for 10 seconds at 13,000 g. For colony PCR, the cycling conditions are 96°C for 10 minutes, followed by 30 cycles of 96°C for 30 seconds, 52°C for 30 seconds, and 72°C for 2.5 minutes, with a ﬁnal extension at 72°C for 5 minutes. For PCR using genomic DNA as the template, the cycling conditions are identical to those in the colony PCR except that the initial denaturation step at 96°C is reduced to 5 minutes. Amplified products are separated by 2% agarose gel electrophoresis.

1.3.6	Real-time PCR and loop-mediated isothermal amplification (LAMP) assays

HS-est real-time PCR based on est target gene has been developed (Petersen et al., 2014). It specifically detects ST122, ST63, ST147 and ST162 associated with HS. However, it did not detect strains of ST151 with capsular type D isolated from pigs that were found positive with HS-causing type-B-specific PCR assay. The HS-est real-time PCR represents a fast and specific detection of the specific types of P. multocida involved in HS compared with other PCR assays.

Recently, the development of a Pm-LAMP assay and an HS-LAMP assay specific for serogroup B:2 strains associated with HS in cattle and buffalo were reported (Moustafa & Bennett, 2017). The preliminary findings suggest that the HS-LAMP assay has high sensitivity and specificity for detection of HS-associated P. multocida. It is presumed that the Pm-LAMP method should be a useful diagnostic tool for rapid and visible detection of P. multocida from diverse clinical materials of various host species. However, it needs further evaluation directly on clinical specimens, along with its utility in the field as a simple alternate to PCR assays, which are sophisticated laboratory-based methodologies.

1.3.74.	Genotypic differentiation of isolates

Once presumptive (or definitive) identification has been made, further differentiation of isolates can be achieved by genotypic fingerprinting methods. Molecular techniques such as ribotyping based on sequence analysis of the 16S rRNA gene, enterobacterial repetitive intragenic consensus (ERIC)-PCR, repetitive extragenic palindromic sequence PCR (REP-PCR), and/or multilocus sequence typing (MLST) analyses can more easily and accurately differentiate subspecies of P. multocida. Restriction endonuclease analysis (REA) with the enzymes HhaI and HpaII has proved useful for characterisation of type B HS-serotypes. Among 71 P. multocida capsule serogroup B isolates, 20 DNA fingerprint profiles were observed. With HS-causing serogroup strains, 13 unique profile among 54 isolates resembling the profile of the somatic serotype 2 reference strain have been reported (Wilson et al., 1992). In contrast, while a single HhaI profile was observed among 13 serogroup E isolates, differentiation of these strains was possible following HpaII digestion. HpaII appear to generate finer subdivisions than those achieved with the use of HhaI (Wilson et al., 1995). Ribotyping and large DNA separation by pulsed-field gel electrophoresis also provide useful discrimination of serogroup B and E P. multocida isolates (Townsend et al., 1997a). Genetic diversity of HS-causing Pasteurella multocida strains of animal or bird origin could be obtained by sequence analysis of the 16S rRNA gene. A study in the United Kingdom using 79 field isolates recovered from various species revealed nineteen 16S rRNA types that clustered into two distinct phylogenetic lineages (Davies, 2004). On the other hand, sequence analyses of Indian isolates of P. multocida serogroup B from different animal species did not reveal considerable variation (Dey et al., 2007). Multilocus sequence typing (MLST), a sequence-based typing system based on seven housekeeping genes has been used to identify strain diversity of bovine isolates of P. multocida as well as isolates from other host species (Davies et al., 2004; Hotchkiss et al., 2011; Sarangi et al., 2016; Subaaharan et al., 2010). MLST of 55 isolates of P. multocida associated with HS found that the majority include sequence type (ST) 122 (n = 50), and rarely ST63, ST147 and ST162 in comparison with other members of the species isolated from different lesion types and hosts (Petersen et al., 2014).

PCR fingerprinting is feasible for any laboratory with PCR capability, with several methods previously used for P. multocida differentiation. Random amplified polymorphic DNA (RAPD) analysis and arbitrarily primed PCR (AP-PCR), respectively, have been shown to be useful for epidemiological studies of P. multocida isolated from rabbits (Chaslus-Dancla et al., 1996). Repetitive sequence PCR analysis of P. multocida has proved useful for discrimination of avian and swine HS causing isolates, although all HS-causing strains analysed demonstrated similar profiles (Townsend et al., 1997b; 1998b). However, molecular variability among HS-causing strains of P. multocida belonging to serogroup B has been found recently. Using repetitive extragenic palindromic (REP)-PCR, enterobacterial repetitive intragenic consensus (ERIC)-PCR and single primer PCR, genotypic differentiation among five P. multocida serogroup B isolates have been reported (Biswas et al., 2004; Prajapati et al., 2020b). RAPD and AP-PCR analysis of HS-causing P. multocida isolates have not also been previously described reported with less discriminatory power.

In addition, virulence-associated genes (VAGs) profiling of P. multocida isolates have also been found to be useful for the differentiation of multiple strains prevalent among diverse host species (Prajapati et al., 2020b). Virulence genotyping in epidemiological studies commonly targets genes encoding fimbriae and other adhesins (ptfA, fimA, hsf-1, hsf-2, pfhA, and tadD), toxins (toxA), iron acquisition proteins (exbB, exbD, tonB, hgbA, hgbB, fur, and tbpA), sialidases (nanB and nanH), hyaluronidase (pmHAS), outer membrane proteins (OMPs) (ompA, ompH, oma87, and plpB), and superoxide dismutases (sodA and sodC) (Prajapati et al., 2020b; Sarangi et al., 2015). Pasteurella multocida strains exhibit distinct virulence gene patterns depending on their virulence potential, capsular type, and host species. Additionally, VAG profiling has proven useful for differentiating P. multocida strains circulating among diverse host species (Prajapati et al., 2020b).

Two distinct MLST schemes have been developed for the characterisation of P. multocida strains: the multihost MLST scheme and the Rural Industries Research and Development Corporation (RIRDC)-based MLST scheme. The multihost MLST scheme includes isolates from a diverse range of hosts, including birds, pigs, sheep, and cattle, and is based on seven housekeeping genes (adk, aroA, deoD, gdhA, g6pd, mdh, and pgi). In contrast, the RIRDC MLST scheme, originally designed for avian isolates is based on a different set of seven housekeeping genes (adk, est, pmi, zwf, mdh, gdh, and pgi) and is also widely used for typing P. multocida isolates from non-avian species. Both MLST schemes are publicly accessible at the P. multocida MLST database (http://pubmlst.org/pmultocida/). Notably, several studies have reported that the multihost MLST genotype ST44 (corresponding to RIRDC ST122) is predominantly associated with HS in South-East Asia (Prajapati et al., 2022). Recently, phylogeny based on whole genome multilocus sequence typing (wgMLST), an extended concept of the traditional MLST, indicated the clustering of HS-causing strains against non-HS-causing strains (Prajapati et al., 2022).

1.3.5.	Whole genome sequence-based typing

With advancements in next generation sequencing (NGS) technologies, bacterial whole genome sequencing (WGS) has become more time and cost efficient. Whole genome assemblies of P. multocida strains from various countries and host species are publicly available on multiple data platforms, facilitating studies on species evolution, genomic dynamics, niche specialisation, and pathogenomics. The draft genomes of P. multocida serotype B:2 have been sequenced and analysed in endemic countries with the data publicly available in genome databases. The draft genome size has been reported to range from 2.3 to 2.4 Mb, with a GC content of approximately 40.5% and 2181–2307 coding sequences (CDS) (Prajapati et al., 2022; Sarker et al., 2018). WGS data of P. multocida have been used to determine capsular types, LPS genotypes, and MLST sequence types (Peng et al., 2021; Prajapati et al., 2023). Additionally, sequencing enables rapid identification of known and putative virulence genes within a genome. Several command-line and web-based tools have been developed for strain typing using assembled WGS data. For instance, genome-based MLST typing can be easily performed using the Genome Analysis Services of Center for Genomic Epidemiology (https://www.genomicepidemiology.org/). Recently, wgMLST revealed that HS-causing strains form a distinct cluster from non-HS strains, all belonging to sequence type 122 (Prajapati et al., 2022). Comparative genomics and molecular phylogenetic analyses are increasingly used to explore similarities and divergences among bacterial strains, providing insights into their clustering, transmission, and disease associations in relation to temporal, spatial, and clinical data. In a recent study (Prajapati et al., 2022), the pan-genome analysis of 46 bovine-origin P. multocida strains identified 7872 genes, comprising 1133 core genes (14%), 2594 dispensable genes (33%), and 4145 unique genes (53%), suggesting niche-specific adaptation.

1.4.	Biomarker-based method

Recently, a matrix assisted laser desorption ionisation time-of-flight mass spectrometry (MALDI-TOF MS) biomarker-based method was developed for differentiating HS-causing strains (B:2,5, E:2,5, and B:3,4) from non-HS strains of P. multocida. The developed assisted model, which used two peaks (6419 and 7729 m/z), accurately differentiated HS-causing strains of P. multocida from non-HS-causing strains, with 98.2% accuracy for non-HS strains, 100% accuracy for classic B:2,5 and E:2,5 HS-causing strains, and 84.4% accuracy for combined HS-causing strains (B:2,5, E:2,5, and B:3,4) with an overall accuracy of 96.9% (Maddock et al., 2024).

2.	Serological tests

Serological tests for detecting antibodies are not normally used for diagnosis. The IHA test can be used for this purpose, following a method broadly similar to that described for capsular typing above. High titres detected by the IHA test are indicative of recent exposure to HS. As HS is a disease that occurs mainly in animals reared under unsophisticated husbandry conditions, where disease-reporting systems are also poor, there is often considerable delay in notification of outbreaks. Deaths occur very suddenly and no carcasses are available for examination when notification is made. In such situations, high IHA titres from 1/160 up to 1/1280 or higher among in-contact animals surviving in affected herds, are indicative of recent exposure to HS for the purpose of diagnosis.

The enzyme-linked immunosorbent assay (ELISA) is a rapid, highly sensitive and specific serological test that has been employed to detect antibodies against HS in a limited study. Most of these studies employed different antigens of P. multocida such as sonicated or heat killed whole cell, and OMPs/IROMPs, which have been prepared for ELISA to detect specific antibodies in animals. However, variability in batch-to-batch antigen preparation for the assay and non-availability of single or multiple HS-specific immuno-dominant antigens have precluded the wider application of ELISA in routine sero-monitoring and or sero-surveillance.

C.  REQUIREMENTS FOR VACCINES

1.	Background

1.1.	Rationale and intended use of the product

The three types of vaccines used against HS are bacterins, alum-precipitated vaccine (APV) and oil-adjuvanted vaccine (OAV). To provide sufficient immunity with bacterins, repeated vaccination is required. Administration of dense bacterins can give rise to shock reactions, which are less frequent with the APV and almost nonexistent with the OAV.

A live HS vaccine prepared using an avirulent P. multocida strain B:3,4 (Fallow deer strain) has been used for control of the disease in cattle and water buffaloes over 6 months of age in Myanmar since 1989. It is administered by intranasal aerosol application (Carter et al., 1991; Myint et al., 2005). The vaccine has been recommended by the Food and Agriculture Organization of the United Nations (FAO) as a safe and potent vaccine for use in Asian countries. However, there is no report of its use in other countries and killed vaccines are the only preparations in use by the countries affected with HS.

Guidelines for the production of veterinary vaccines are given in Chapter 1.1.8 Principles of veterinary vaccine production. The guidelines given here and in chapter 1.1.8 are intended to be general in nature and may be supplemented by national and regional requirements.

2.	Outline of production and minimum requirements for conventional vaccines

2.1.	Characteristics of the seed

2.1.1.	Biological characteristics

A local isolate of P. multocida representing the prevalent serotype is used. A well-capsulated, stable culture that produces large colonies of approximately 2 mm in diameter on CSY blood agar must be maintained. Seed cultures should be stored as semisolid nutrient agar stab cultures at room temperature, or as lyophilised cultures.

A calf is infected with the culture, and, within 2–3 hours of its death, blood is collected aseptically from the heart and stored at –20°C in 1 ml aliquots. A fresh aliquot is used for each new batch of vaccine. It is permissible to subculture this aliquot once or twice, provided the colony size does not diminish. A blood aliquot is thawed, plated on to CSY blood agar, and the growth is tested for agglutinability by the appropriate antiserum on a slide. A good culture will give a coarse floccular agglutination in under 30 seconds. A poor culture will yield only a fine granular agglutination.

2.1.2.	Quality criteria (sterility, purity, freedom from extraneous agents)

Seed lots must be shown to be:

i)	Pure: Free from adventitious agents.

ii)	Safe: Produce no adverse reaction in the target species when given as recommended.

iii)	Efficacious: Stimulate effective immunity as indicated by potency tests.

The necessary tests are described in Section C.2.2.4 below.

2.2.	Method of manufacture

2.2.1.	Procedure

For vaccine production, dense suspensions of bacteria are necessary. They should have a minimum bacterial content of 1.5 g dry weight per litre of suspension. There are two methods of producing dense suspensions. The first is to culture on solid medium in Roux flasks and harvest in formalinised physiological saline, by which means suspensions of any density can be achieved. This is laborious as each flask must be harvested separately and tested for purity. The second and recommended method is the use of a large vessel with aerated cultures in a medium that specifically supports P. multocida.

There are two types of aeration process – by vortexing and sparging. Sterile air is provided by a compressor. In vortex aeration, the culture is stirred by an impeller shaft operating in the air stream, whereas in sparging aeration, the air is dispersed through a sparger. Intermittent aeration seems to produce denser growth (Thomas, 1968). The more finely dispersed the air, the better is the bacterial growth. Vessels of 20–40 litres are usually employed, and incubation is at 37°C. In continuous culture systems, once a maximum density has been reached, usually within 15 hours, about 25% of the working volume is harvested and replaced hourly. The harvests of continuous cultures are collected in relatively small volumes into separate vessels, but, after several days, the density diminishes, presumably through loss of capsular antigen. For this reason, batch cultures are preferred. If batch culture vessels are inoculated at a rate of 50 ml/litre of medium, maximum turbidity is obtained within 15–18 hours, when the growth can be terminated by the addition of formalin to a final concentration of 0.5%. This procedure, where a large inoculum is employed and the growth is terminated within a short period, helps to minimise the chances of contamination. The turbidity is standardised against a reference containing the equivalent dry weight/volume of 1.5 g/litre.

Dense cultures are also obtained using fermenters, where heat sterilisation of the tanks and culture can be carried out in situ, with automatic temperature, pH and aeration control devices. Liquid sterilisation systems by filtration, for heat-labile components, can also be built into the fermenter. A 100 litre batch fermenter will yield a minimum of 66,000 doses (each of 3 ml) of OAV, and even more doses if the density is high enough for dilution to a reference standard equivalent to 1.5 g/litre, dry weight/volume.

OAV is made by the emulsification of equal volumes of a light mineral oil and the bacterial suspension, with 5% pure anhydrous lanolin as emulsifying agent. The mineral oil and lanolin are first sterilised and, on cooling to 40°C, 0.5% formalin is added to the mixture. The bacterial suspension is added slowly and emulsification is continued for a further 10 minutes. Following overnight storage, the mixture is re-emulsified, bottled and stored at 4°C for 2 weeks prior to use.

APV is prepared by first adjusting the turbidity of the suspension to the reference standard as above, and diluting it with an equal volume of 0.5% formalinised physiological saline. The pH is adjusted to 6.5, and a hot 20% solution of potash alum is added to give a final concentration of 1% alum. After overnight storage with continuous agitation, the vaccine is bottled for use.

2.2.2.	Requirements for substrates and media

A suitable sterilised medium for the aerated culture method is casein hydrolysate (2 g), sucrose (6 g), yeast extract (6 g), sodium chloride (5 g), anhydrous dipotassium hydrogen orthophosphate (8.6 g), anhydrous potassium dihydrogen orthophosphate (1.36 g), and distilled water to 1 litre. A denser growth is obtained if the casein, sucrose and yeast are prepared as a concentrate, filter-sterilised or autoclaved for 10 minutes at 107°C, and transferred aseptically into the tank that has previously been heat-sterilised with the rest of the ingredients.

2.2.3.	In-process controls

Proper concentration of bacterial growth, the capsulation of the bacteria, purity of culture and efficient inactivation all need to be checked.

2.2.4.	Final product batch tests

i)	Sterility and purity

Tests for sterility and freedom from contamination of biological materials intended for veterinary use may be found in chapter 1.1.9.

ii)	Safety

Two seronegative cattle are vaccinated with twice the recommended dose and observed for 10–14 days for adverse effects.

Five mice are inoculated intramuscularly with 0.2 ml each of the vaccine, and observed for 5 days. The blood of any mouse that dies is cultured for P. multocida.

iii)	Batch potency

Potency tests can be carried out by any of the following methods:

a)	Vaccination of cattle followed by direct challenge or passive mouse protection tests using the bovine sera. This procedure is not very feasible as cattle take a long time to develop adequate immunity after OAV;

b)	Vaccination of rabbits followed by direct challenge or passive mouse protection test using the rabbit sera; or

c)	Potency tests in mice, the most feasible method of the three.

Each of 50 mice is vaccinated intramuscularly with 0.2 ml of vaccine, and again 14 days later. On day 21, the mice are divided into ten groups of five, each group being challenged with respective dilutions of a 6–8-hour broth culture of a field strain in the range 10–1–10–10; 50 unvaccinated controls are similarly challenged, and all mice are observed for 5 days. The median lethal dose (LD50) can then be calculated in order to obtain an indication of the dose that is sufficient to protect cattle: vaccines prepared in the manner described give at least 104 units protection in the vaccinated mice.

2.3.	Requirements for regulatory approval

2.3.1.	Safety requirements

i)	Target and non-target animal safety

See chapter 1.1.8.

ii)	Reversion-to-virulence for attenuated/live vaccines

See chapter 1.1.8.

iii)	Environmental consideration

See chapter 1.1.8.

2.3.2.	Efficacy requirements

i)	For animal production

A single dose of vaccine administered to young calves 4–6 months of age will protect susceptible animals for 3–4 months when APV is used, and for 6–9 months when OAV is used.

The vaccine should be administered by deep intramuscular injection. The use of nylon 5 ml volume syringes for a 3 ml dose and a gauge 14–15 needle is advised, and the recommended age for primary vaccination is 4–6 months. For routine, prophylactic vaccination, a single dose of OAV at 4–6 months, a booster 3–6 months later, and annual revaccination thereafter, is recommended. Where husbandry practices are such that reaching individual animals at appropriate times is impracticable, annual vaccination of all animals over 4 months of age, preferably before the breeding season, and vaccination of all calves under 1 year of age, 6 months later, is recommended. In the face of an outbreak in vaccinated animals, one dose of APV, followed by one dose of OAV, is recommended.

Leakage of OAV into subcutaneous tissue can occasionally give rise to fibrous lumps at sites of injection. Rarely, abscesses may develop if sterility conditions are not observed, though most animals are resistant to such infections. APV may occasionally cause shock reactions.

ii)	For control and eradication

Not applicable.

2.3.3.	Stability

The OAV emulsion should be pure white, and should stick to glass like paint. If the emulsion shows signs of cracking, it should be discarded. Separation of a thin layer of oil on the surface is permissible. It can be stored at 4–8°C for 6 months without any significant loss of potency. It must not be frozen. Increase in the content of lanolin improves stability, but also increases the viscosity – a distinct disadvantage. Use of other emulsifying agents such as ‘Arlacel’ helps to produce thinner, stable emulsions.

3.	Vaccines based on biotechnology

Not applicable at present. However, several attempts are being made to develop defined live mutant vaccines, bacterial ghosts, as well as recombinant subunit vaccine with suitable adjuvants (Shivachandra et al., 2011).

REFERENCES

Aalbæk B., Eriksen L., Rimler R. B., Leifsson P. S., Basse A., Christiansen T. & Eriksen E. (2009). Typing of Pasteurella multocida from haemorrhagic septicaemia in Danish fallow deer (Dama dama). APMIS, 107, 913–920.

Anon (1981). Simple serological technique recommended for HS diagnosis. Asian Livestock, 6, 41–42.

Bain R.V.S., De Alwis M.C.L., Carter G.R. & Gupta B.K. (1982). Haemorrhagic Septicaemia. FAO Animal Production and Health Paper No. 33. FAO, Rome, Italy.

Biswas A., Shivachandra S.B., Saxena M.K., Kumar A.A., Singh V.P. & Srivastava S.K. (2004). Molecular variability among strains of P. multocida isolated from an outbreak of haemorrhagic septicaemia in India. Vet. Res. Commun., 28, 287–298.

Boyce J.D., Chung J.Y. & Adler B. (2000). Genetic organisation of the capsule biosynthetic locus of Pasteurella multocida M1404 (B:2). Vet. Microbiol., 72, 121–134.

Carigan M.J., Dawkins H.J.S., Cockram E.A & Hansen A.T. (1991). P. multocida septicaemia in fallow deer. Aust. Vet. J., 68, 201–203.

Carter G.R. (1955). A haemagglutination test for the identification of serological types. Am. J. Vet. Res., 16, 481–484.

Carter G.R. & Chengappa M.M. (1980). Hyaluronidase production by type B Pasteurella multocida from cases of haemorrhagic septicaemia. J. Clin. Microbiol., 11, 94–96.

Carter G.R. & Chengappa M.M. (1981). Identification of type B and E Pasteurella multocida by counterimmuno-electrophoresis. Vet. Rec., 108, 145–146.

Carter G.R. & De Alwis M.C.L. (1989). Haemorrhagic septicaemia. In: Pasteurella and Pasteurellosis, Adlam C. & Rutter J.M., eds. Academic Press, London, UK, 131–160.

Carter G.R., Myint A., Van Khar R. & Khin A. (1991). Immunisation of cattle and buffaloes with live haemorrhagic septicaemia vaccine. Vet. Rec., 129, 203.

Chanda M.M., Purse B.V., Hemadri D., Patil S.S., Yogisharadhya R., Prajapati A. & Shivachandra S.B. (2024). Spatial and temporal analysis of haemorrhagic septicaemia outbreaks in India over three decades (1987–2016). Sci. Rep., 14, 6773.

Chaslus-Dancla E., Lesage-Descauses M.C., Leroy-Setrin S., Martel J.L., Coudert P. & Lafont J.P. (1996). Validation of random amplified polymorphic DNA assays by ribotyping as tools for epidemiological surveys of Pasteurella multocida. Vet. Microbiol., 52, 91–102.

Christensen H., Angen O., Olsen J.E. & Bisgaard M. (2004). Revised description and classification of atypical isolates of Pasteurella multocida from bovine lungs based on genotypic characterization to include variants previously classified as biovar 2 of Pasteurella canis and Pasteurella avium. Microbiol., 150, 1757–1767.

Christensen H., Bisgaard M., Angen O., Frederiksen W. & Olsen J. E. (2005). Characterization of sucrose-negative Pasteurella multocida variants, including isolates from large-cat bite wounds. J. Clin. Microbiol., 43, 259–270.

Chung J.Y., Zhang Y. & Adler B. (1998). The capsule biosynthetic locus of Pasteurella multocida A:1. FEMS Microbiol. Lett., 166, 289–296.

Davies R.L. (2004). Genetic diversity among Pasteurella multocida strains of avian, bovine, ovine and porcine origin from England and Wales by comparative sequence analysis of the 16S rRNA gene. Microbiology, 150, 4199–4210.

Davies R.L. Maccorquodale R. & Reilly S. (2004). Characterisation of bovine strains of Pasteurella multocida and comparison with isolates of avian, ovine and porcine origin Vet. Microbiol., 99, 145–158.

De Alwis M.C.L. (1992). Haemorrhagic septicaemia – a general review. Br. Vet. J., 148, 99–112.

Dey S., Singh V.P., Kumar A.A., Sharma B., Srivastava S.K. & Singh N. (2007). Comparative sequence analysis of 16S rRNA gene of Pasteurella multocida serogroup B isolates from different animal species. Res. Vet. Sci., 83, 1–4.

Gautam R., Kumar A.A., Singh V.P., Singh Vijendra P., Dutta T.K. & Shivchandra S.B. (2004). Specific identification of Pasteurella multocida serogroup A isolates by PCR assay. Res. Vet. Sci., 76, 179–185.

Harper M., John M., Turni C., Edmunds M., St M.F., Adler B., Blackall P.J., Cox A.D. & Boyce J.D. (2015). Development of a rapid multiplex PCR assay to genotype Pasteurella multocida strains by use of the lipopolysaccharide outer core biosynthesis locus. J. Clin. Microbiol., 53, 477–485.

Heddleston K.L, Gallagher J.E. & Rebers P.A. (1972). Fowl cholera: gel diffusion precipitin test for serotyping Pasteurella multocida from avian species. Avian Dis., 16, 925–936.

Hotchkiss E.J., Hodgson J.C., Lainson F.A. & Zadoks R.N. (2011). Multilocus sequence typing of a global collection of Pasteurella multocida isolates from cattle and other host species demonstrates niche association. BMC Microbiology, 11, 115.

Kumar A.A., Harbola P.C., Rimler R.B. & Kumar P.N. (1996). Studies on Pasteurella multocida isolates of animal and avian origin from India. Ind. J. Comp. Microbiol. Immunol. Infect. Dis., 17, 120–124.

Kumar A.A., Shivachandra S.B., Biswas A., Singh V.P., Singh V.P. & Srivastava S.K. (2004). Prevalent serotypes of Pasteurella multocida isolated from different animal and avian species in India. Vet. Res. Commun., 28, 657–667.

Miflin J.K. & Blackall P.J. (2001). Development of a 23S rRNA-based PCR assay for the identification of Pasteurella multocida. Lett. Appl. Microbiol., 33, 216–221.

Maddock K., Stenger B.L.S., Roberts J.C., Wynn E.L., Clawson M.L. & Loy J.D. (2024). Development of a MALDI-TOF MS model for differentiating haemorrhagic septicaemia-causing strains of Pasteurella multocida from other capsular groups. J. Microbiol. Methods. 227, 107067.

Moustafa A.M. & Bennett M.D. (2017). Development of loop-mediated isothermal amplification-based diagnostic assays for detection of Pasteurella multocida and hemorrhagic septicemia-associated P. multocida serotype B: 2. Am. J. Vet. Res., 78, 134–143.

Mustafa A.A., Ghalib H.W. & Shigidi M.T. (1978). Carrier rate of Pasteurella multocida in a cattle herd associated with an outbreak of haemorrhagic septicaemia in the Sudan. Br. Vet. J., 134, 375–378.

Myint A., Jones T.O. & Nyunt H.H. (2005). Safety, efficacy and cross-protectivity of a live intranasal aerosol haemorrhagic septicaemia. Vet. Rec., 156, 41–45.

Namioka S. (1978). Pasteurella multocida. Biochemical characteristics and serotypes. In: Methods in Microbiology, 10. Academic Press, London, UK, 272–292.

Namioka S. & Murata M. (1961a). Serological studies on Pasteurella multocida. I: a simplified method of capsular typing of the organism. Cornell Vet., 51, 498–507.

Namioka S. & Murata M. (1961b). Serological studies on Pasteurella multocida. II: characteristics of the somatic (O) antigen of the organism. Cornell Vet., 51, 507–521.

Namioka S. & Murata M. (1961c). Serological studies on Pasteurella multocida. III. O antigenic analysis of cultures isolated from various animals. Cornell Vet., 51, 522–528.

Peng Z., Liu J., Liang W., Wang F., Wang L., Wang X., Hua L., Chen H., Wilson B.A., Wang J. & Wu B. (2021). Development of an online tool for Pasteurella multocida genotyping and genotypes of Pasteurella multocida from different hosts. Front. Vet. Sci., 8, 771157.

Prajapati A., Chanda M.M., Dhayalan A., Yogisharadhya R., Chaudhury J.K., Mohanty N. N. & Shivachandra S.B. (2020a). Variability in in vitro biofilm production and antibiotic sensitivity pattern among Pasteurella multocida strains. Biofouling, 36, 938–950.

Prajapati A., Chanda M.M., Yogisharadhya R., Parveen A., Ummer J., Dhayalan A., Mohanty N. N., & Shivachandra S.B. (2020b). Comparative genetic diversity analysis based on virulence and repetitive gene profiling of Pasteurella multocida isolates from animal hosts. Infect. Genet. Evol., 85, 104564.

Prajapati A., Yogisharadhya R., Mohanty N.N., Mendem S.K., Chanda M.M., Siddaramappa S. & Shivachandra S.B, (2023). Comparative genome analysis of Pasteurella multocida strains of porcine origin. Genome, 67, 13–23.

Prajapati A., Yogisharadhya R., Mohanty N.N., Mendem S.K., Nizamuddin A., Chanda M.M. & Shivachandra S.B. (2022). Comparative genome analysis of Pasteurella multocida strains causing haemorrhagic septicaemia (HS) in bovines. Gene, 826, 146–452.

Petersen A., Bisgaard M., Townsend K. & Christensen H. (2014). MLST typing of Pasteurella multocida associated with haemorrhagic septicaemia and development of a real-time PCR specific for haemorrhagic septicaemia associated isolates. Vet. Microbiol., 170, 335–341.

Rosen M.N. (1981). Pasteurellosis Infectious Diseases of Wild Animals, Second Ed. Davis J.B., Karstak L.H. & Trainer D.O., eds. Iowa State University Press, Ames, Iowa, USA, 244–252.

Sarangi L.N., Thomas P., Gupta S.K., Priyadarshini A., Kumar S., Nagaleekar V.K., Kumar A. & Singh V.P. (2015). Virulence gene profiling and antibiotic resistance pattern of Indian isolates of Pasteurella multocida of small ruminant origin. Comp. Immunol. Microbiol. Infect. Dis. 38, 33–39.

Sarangi L.N, Thomas P., Gupta S.K., Kumar S., Viswas K.N. & Singh V.P. (2016). Molecular epidemiology of Pasteurella multocida circulating in india by multilocus sequence typing. Transbound. Emerg. Dis., 63, e286–292.

Sarker M.S.A., Rahman M.T., Mahmud M.M., Tagliamonte M.S., Chowdhury S.M.Z.H., Islam M.R., Rahman M.B., El Zowalaty M.E. & Nazir K.N.H. (2018). First Genome Sequence of Pasteurella multocida Type B Strain BAUTB2, a Major Pathogen Responsible for Mortality of Bovines in Bangladesh. Microbiol. Resour. Announc., 7,(9):e00901-18. doi: 10.1128/MRA.00901-18.

Sawada T., Rimler R.B. & Rhoades K.P. (1985). Haemorrhagic septicaemia: naturally acquired antibodies against Pasteurella multocida types B and E in calves in the United States. Am. J. Vet. Res., 46, 1247–1250.

Sawada T., Rimler R.B. & Rhoades K.R. (1982). Indirect hemagglutination test that uses glutaraldehyde-fixed sheep erythrocytes sensitized with extract antigens for detection of Pasteurella antibody. J. Clin Microbiol, 15, 752–756. doi: 10.1128/jcm.15.5.752-756.1982

Shivachandra S.B., Viswas K.N. & Kumar A.A. (2011). A review of haemorrhagic septicaemia in cattle and buffalo. Animal Health Res. Reviews, 12, 67–82.

Singh V.P, Kumar A.A., Srivastava S.K. & Rathore B.S. (1996). Significance of HS in Asia: India. International Workshop on Diagnosis and Control of HS. Bali, Indonesia, Indonesian Department of Agriculture, 28–30 May, 1999, p.16.

Subaaharan S., Blackall L.L. & Blackall P.J. (2010). Development of a multi-locus sequence typing scheme for avian isolates of Pasteurella multocida. Vet. Microbiol., 141, 354–361.

Tankaew P., Srisawat W., Singhla T., Tragoolpua K., Kataoka Y., Sawada T. & Sthitmatee N. (2018). Comparison of two indirect ELISA coating antigens for the detection of dairy cow antibodies against Pasteurella multocida. J. Microbiol. Methods, 145, 20–27.

Thomas J. (1968). Studies on haemorrhagic septicaemia oil adjuvant vaccine. I. Methods of production. Kajian Vet. Malaysia–Singapore, 1, 152–158.

Townsend K.M., Boyce J.D., Chung J.Y., Frost A.J. & Adler B. (2001). Genetic organisation of Pasteurella multocida cap loci and development of a multiplex capsular PCR typing system. J. Clin. Microbiol., 39, 924–929.

Townsend K.M., Dawkins H.J.S. & Papadimitriou J.M. (1997a). Analysis of haemorrhagic septicaemia-causing isolates of Pasteurella multocida by ribotyping and field alternation gel electrophoresis (FAGE). Vet. Microbiol., 57, 383–395.

Townsend K.M., Dawkins H.J.S. & Papadimitriou J.M. (1997b). REP-PCR analysis of Pasteurella multocida isolates that cause haemorrhagic septicaemia. Res. Vet. Sci., 63, 151–155.

Townsend K.M., Frost A.J., Lee C.W., Papadimitriou J.M. & Dawkins H.J.S. (1998a). Development of PCR assays for species- and type-specific identification of Pasteurella multocida isolates. J. Clin. Microbiol., 36, 1096–1100.

Townsend K.M., O’Boyle D., Phan T.T., Hanh T.X., Wijewardana T.G., Wilkie I., Trung N.T. & Frost A.J. (1998b). Acute septicaemic pasteurellosis in Vietnamese pigs. Vet. Microbiol., 63, 205–215.

Wijewardana T.G., De Alwis M.C.L. & Bastianz H.L.G. (1986). Cultural, biochemical and pathogenicity studies on strains of Pasteurella multocida isolated from carrier animals and outbreaks of haemorrhagic septicaemia. Sri Lanka Vet. J., 34, 43–57.

Wijewardana T.G., De Alwis M.C.L. & Vipulasiri A.A. (1982). An agar gel diffusion test for rapid identification of Pasteurella multocida type B (Carter). Sri Lanka Vet. J., 30, 12–14.

Wilson M.A., Duncan R.M., Nordholm G.E. & Berlowski B.M. (1995). Pasteurella multocida isolated from wild birds of North America; A serotype and DNA fingerprint study of isolates from 1978 to 1993. Avian Dis., 39, 587–593.

Wilson M.A., Rimler R.B. & Hoffman L.J. (1992). Comparison of DNA fingerprints and somatic serotypes of serogroup B and E Pasteurella multocida isolates. J. Clin. Microbiol., 30, 1518–1524.

*
*   *

NB: At the time of publication (2025) there were no WOAH Reference Laboratories 
for haemorrhagic septicaemia (please consult the WOAH Web site: 
https://www.woah.org/en/what-we-offer/expertise-network/reference-laboratories/#ui-id-3 http://www.oie.int/).

NB: First adopted in 1989; Most recent updates adopted in 2021.

Appendix 1.

Haemorrhagic septicaemia (Pasteurella multocida serotype 6:B and 6:E)
Intended purpose of test: population freedom from infection

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No assays are available for this purpose. As Pasteurella multocida is known to be ubiquitous as well as commensal, it is difficult to use any assay to detect pathogenic organism and declare as freedom from potential threats. |  |  |  |  |  |  |  |

Appendix 2.

Haemorrhagic septicaemia (Pasteurella multocida serotype 6:B and 6:E)
Intended purpose of test: individual animal freedom from infection prior to movement

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| The available assays have limited utility in declaring an animal as free from infection as Pasteurella multocida is known to be ubiquitous as well as commensal, it is difficult to use any assay to detect and differentiate pathogenic and non-pathogenic organisms and declare individual freedom from potential threats. |  |  |  |  |  |  |  |

Appendix 3.

Haemorrhagic septicaemia (Pasteurella multocida serotype 6:B and 6:E)
Intended purpose of test: contribute to eradication policies

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| It is difficult to completely eradicate the pathogen from a population as it is multispecies and virulent. |  |  |  |  |  |  |  |

Appendix 4.

Haemorrhagic septicaemia (Pasteurella multocida serotype 6:B and 6:E)
Intended purpose of test: confirmation of clinical cases

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Bacterial isolation ☑☑☑ | Blood Nasal swab Tissues, bone marrow of long bones (femur, humerus etc.) | High accuracy | Use of samples from HS endemic and non-endemic areas | Standard Bacteriological methods | 1.Pure culture possible directly from blood of infected live animal with high fever 2. Pure culture possible directly from heart blood of infected dead animal | 1.Non-availability of specific growth media 2. Mixed cultures from Nasal swabs complicates isolation 3. Isolation is possible from carrier/non-infected animal/ healthy animals due to commensal nature of organism in nasopharynax/upper respiratory tract | Bergey’s Manual for isolation of Pasteurella multocida |
| Antigen detection ☑☑☑ | Blood/tissues | Not available | Use of samples from HS endemic and non-endemic areas | See reference | Easy to perform | Preparing standard antigen /antisera are laborious | Namioka (1978) |
| Mouse pathogenicity test(a) ☑☑☑ | Pure culture / Mixed broth culture | Not available | Use of samples from HS endemic and non-endemic areas | As described | 1. Aids in isolation of pure culture 2. Results within 24–48 hours | 1. Ethical issues 2. Non-specific mortality some times 3. Time consuming-2–3 days | – |
| CIEP ☑☑☑ | Pure culture | Highly specific Low sensitivity | Use of samples from HS endemic and non-endemic areas | See reference | 1. Specifically detects B and E cultures | 1. Laborious 2. Non-availability of standard sera 3. Does not recognise other serotypes | Carter & Chengappa (1981) |
| Rapid slide agglutination test ☑☑☑ | Pure culture | Highly specific Low sensitivity | Use of samples from HS endemic and non-endemic areas | See reference | 1. Simple and rapid test 2. Results within 30 sec 3. No other reagents required | 1. Standard reference sera not available 2.Non-availability of global reference laboratories | Heddleston et al. (1972) |
| PCR ☑☑☑ | Extracted DNA/ culture lysate | 1. Highly specific to P. multocida 2. Highly sensitive assay DSe/DSp-not mentioned | Use of samples from HS endemic and non-endemic areas | See reference | 1. Rapid identification of species and type 2. Capsular and somatic typing | 1.False-positive amplification of P. canis biotype 1 2.HSB-PCR do not detect E:2 strains from Africa 3. Needs equipment/expertise | Townsend et al, (1998; 2001) |
| Real-time PCR ☑☑☑ | Extracted DNA/ culture lysate | 1. Highly specific to P. multocida 2. Highly sensitive assay DSe/DSp-not mentioned | Use of samples from HS endemic and non-endemic areas | See reference | 1. Rapid and real time identification /diagnosis 2. More accurately identifies P. multocida isolates than PCR | 1. Needs sophisticated equipment and expertise 2.Expensive reagents | Petersen et al. (2014) |
| IHA ☑☑☐ | Serum | 1. Highly variable depending on type of antigen | Use of samples from HS endemic and non-endemic areas | See reference | 1.Simple and relatively inexpensive assay 2.Suitable for large-scale sero-surveys | 1. Variable sensitivity, dependent on antigen quality, strain, and preparation 2. Cross-reactions with other Pasteurellae 3. Performance differs in endemic vs non-endemic areas | Sawada et al. (1982) Sawada et al. (1985) |
| IHA ☑☑☐ | Pure culture | 1. Highly specific, sensitivity acceptable for typeable strains | Use of samples from HS endemic and non-endemic areas | See reference | 1.Reliable serotyping method 2.Useful for identification /selection of potential candidate strain | 1. Requires type-specific antisera, which may not be available in all labs 2.Laborious and less suited for routine diagnostic labs | Carter, 1955 |

(a)For animal welfare/ethical reasons, this test should only be used as a last resort.

Appendix 5.

Haemorrhagic septicaemia (Pasteurella multocida serotype 6:B and 6:E)
Intended purpose of test: prevalence of infection – surveillance

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ELISA ☑☑☐ | Serum | 1. Highly variable depending on type of antigen/strain | Use of samples from HS endemic and non-endemic areas | See reference | 1. Simple to assess the level of antibodies against the pathogen 2. Suitable for large-scale sero-surveys | 1.Variable sensitivity, dependent on quality and type of antigen /strain used 2.Probability of cross-reacting with antibodies generated by other Pasteurellae | Tankaew et al. (2018) Shivachandra et al. (2011) |
| All the assays are suitable in limited circumstances. |  |  |  |  |  |  |  |

Appendix 6.

Haemorrhagic septicaemia (Pasteurella multocida serotype 6:B and 6:E)
Intended purpose of test: immune status in individual animals or populations post-vaccination

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| At present, there is no globally accepted standard immune assay except IHA to monitor antibodies status. However, repeatability of IHA had shown a serious concern due to variability in antigen preparation. Similarly, ELISA has been used by some researchers with limited success in monitoring, post-vaccination antibodies/immune status in animals. ELISA performed using whole cell (heat killed/sonicated/ boiled) antigen or OMPs/IROMPs with lab-to-lab variation in antigen preparation found to provide variable reactivity. Cross-reactivity is possible with immunity raised against other capsular/somatic serotypes. |  |  |  |  |  |  |  |

The bacterial antigens in broth are covered by a light mineral oil (adjuvant) and then emulsified (stabilised) with an emulsifying agent, in this case lanolin or lanoline (wool fat). This has to be done as the watery phase with the bacteria (broth) will not mix with the oily phase (adjuvant). The proportion of oil to emulsifying agent will vary with different batches of lanolin and will have to be adjusted accordingly. The higher the percentage of lanoline, the higher the stability of the emulsion.