chapter 3.6.10.

glanders and Melioidosis

SUMMARY

Description and importance of the disease: Glanders is a highly contagious and fatal disease of horses, donkeys, and mules caused by infection with the bacterium Burkholderia mallei. The It is an obligate mammalian pathogen that spreads by direct host-to-host transmission and causes nodules and ulcerations in the skin, lymph nodes, upper respiratory tract and lungs. The skin cutaneous form is known as ‘farcy’. Melioidosis is an infectious disease, caused by B. pseudomallei. Melioidosis is uncommon, is an infectious disease with a wide host range. Unlike B. mallei, B. pseudomallei is an environmental pathogen present in humans and animals soil and sometimes resembles glanders water. Human and animal cases of melioidosis have been reported mainly in South-East Asia and Australia, but the disease is now emerging in Africa and the Americas. This chapter focuses on the disease in horses. B. mallei and B. pseudomallei infections in equidae, which share clinical similarities due to their genetic proximity. Burkholderia mallei has evolved from B. pseudomallei by genomic reduction of genetic information and is phylogenetically considered as a phylogenetic clone, i.e. a pathovar of B. pseudomallei.

Control of glanders and melioidosis requires testing of suspect clinical cases, screening of apparently normal subclinical equids, and elimination culling of reactors. Stable confirmed cases. Good stable hygiene and manure management are imperative essential for disease control. As B. mallei and B. pseudomallei can be transmitted to humans, all infected or contaminated (or potentially infected or contaminated) material biological samples must be handled in a laboratory with appropriate biosafety and biosecurity controls following a biorisk analysis.

Detection of the agent: Smears from fresh material specimens containing B. mallei bacteria or B. pseudomallei may reveal Gram-negative nonsporulating, nonencapsulated rods. Electron microscopy reveals a capsule-like structure in both bacteria. Burkholderia mallei grows aerobically and prefers media that contain glycerol. Standard-containing media. for isolation of Burkholderia pseudomallei can be used grow on standard media and selective enrichment techniques have been developed. The presence of a capsule-like cover has been demonstrated by electron microscopy in both agents. Unlike the Pseudomonas species and the closely related bacterium B. pseudomallei, B. mallei is nonmotile. For identification, Biochemical phenotyping can be used for identification. Commercially available biochemical identification kits lack diagnostic sensitivity. MALDI-TOF spectra have been made are available for both agents in the past years. Whole genome sequences have been published. Specific monoclonal antibodies and polymerase chain reaction (PCR), as well as real-time PCR assays are available. Whole genome sequences have been published for both bacteria.

Serological tests: Complement fixation is an accurate and reliable serological method for diagnostic use in the diagnosis of glanders in equids and is the test recommended for individual animal freedom from infection prior to movement alongside the newly validated recombinant double-antigen enzyme-linked immunosorbent assays (ELISA). Other ELISAs are promising but require further validation glanders in equids. A rose bengal plate agglutination test for glanders has been developed. An immunoblot test based on a crude formalin preparation of B. mallei antigens from isolates of from different geographical regions is also a sensitive and specific assay. None of these tests may also be positive in horses with melioidosis. Enzyme-linked immunosorbent assays show promise for specific diagnosis in equids once their validation is complete can distinguish between infections caused by B. mallei and B. pseudomallei. Furthermore, the occurrence of B. pseudomallei in tropical soils may influence the results and must be considered.

Mallein test: The mallein test is a hypersensitivity skin test against for B. mallei. The test is not generally recommended because of animal welfare concerns, however it can but may be useful in remote endemic areas where sample transport or proper cooling of samples is not possible. Mallein It involves an intradermo-palpebral injection of mallein, a water-soluble protein fraction of the organism, is injected intradermo-palpebrally. In B. mallei, which causes eyelid swelling in infected animals, the eyelid swells markedly within 1–2 days. This test may also be positive in Horses with melioidosis may also test positive.

Requirements for vaccines and diagnostic biologicals: There are No vaccines are avaiblable. A mallein purified protein derivative is commercially available.

A.  introduction

Glanders is a bacterial disease of that primarily affects perissodactyls or odd-toed ungulates, such as horses, donkeys and mules. It is a zoonotic disease and has been known recognised since ancient times. It is caused by the bacterium The causative agent, Burkholderia mallei (Yabuuchi et al., 1992) and has previously been variously classified in the past genera such as Pseudomonas, Pfeifferella, Loefflerella, Malleomyces or Actinobacillus. It is a serious contagious disease in Although equids and outbreaks may also occur in are the primary hosts, glanders can infect other species. Outbreaks have been reported in wild felids living in the wild or in zoological gardens and zoo animals. Susceptibility to glanders has been proven demonstrated in camels, small ruminants, bears, wolves and dogs. Carnivores may become infected by eating, often through ingestion of infected meat, but cattle, and pigs are resistant. Small ruminants may be infected if kept in or close contact with glanderous horses (Wittig et al., 2006). Glanders generally takes an acute form in donkeys and mules with high fever and respiratory signs (swollen nostrils, dyspnoea, and pneumonia) and death occurs within a few days. In horses, glanders generally takes a more chronic course and horses may survive for several years. Chronic and subclinical ‘occult’ cases infected animals. Cattle, pigs, rats and birds are potential sources of infection due to the permanent or intermittent shedding of bacteria relatively resistant (Wittig et al., 2006). Khan et al. (2013) reviewed the disease, its epidemiology, diagnosis and control.

In horses equids, inflammatory pustules and ulcers develop in the nasal conchae and nasal septae, which give rise to septa, producing a sticky yellow discharge, accompanied by enlarged firm submaxillary lymph nodes. Stellate scarring follows upon healing of the ulcers. In the lungs, the formation of reddish nodular abscesses with a central grey necrotic zone in the lungs is accompanied by progressive debility, febrile episodes, coughing weakness, fever, cough and dyspnoea. Diarrhoea and polyuria can also occur. In the skin cutaneous form (‘farcy’), the lymphatics vessels are enlarged and 0.5–2.5 cm sized nodular abscesses (‘buds’) develop, which ulcerate and discharge yellow oily pus. Dry ulcers may also develop. Pyogranulomatous nodules are sometimes found in the liver and spleen. Discharges from the respiratory tract Respiratory and skin cutaneous discharges are infective, infectious and transmission between animals, which is facilitated occurs by close contact, inhalation, ingestion of contaminated material (e.g. from infected feed and water troughs), or by inoculation (e.g. via a harness) is common through equipment such as harnesses. The incubation period can vary from days to months (Wittig et al., 2006). In horses, the disease is often chronic and can persist for years. Chronic and subclinical ‘occult’ cases pose a risk due to intermittent or permanent bacterial shedding (Wittig et al., 2006). In donkeys and mules, glanders typically presents acutely with high fever and respiratory signs (swollen nostrils, dyspnoea, and pneumonia), leading to death within days. Khan et al. (2013) reviewed the disease, its epidemiology, diagnosis and control. The incubation period can range from a few days to many months (Wittig et al., 2006).

Glanders is transmissible transmitted to humans by through direct contact with diseased sick animals or with infected or contaminated material. In the untreated Without treatment, acute disease, cases have a the mortality rate can reach 95% within 3 weeks of up to 90% (Neubauer et al., 1997 Van Zandt et al., 2013). However, survival is possible if the infected person is treated early and aggressively treatment with multiple systemic antibiotic therapies antibiotics can improve survival. A chronic form with abscessation can abscess formation may occur (Neubauer et al., 1997).

Glanders has been eradicated from many countries by statutory through compulsory testing, culling of infected animals, and import restrictions. However, it persists in numerous Asian, African parts of Asia, Africa and South American America. It is re-emerging in countries in the Middle East, India, Pakistan, Nepal, and can be considered a re-emerging disease Brazil. Glanders can be introduced into glanders disease-free areas by movement of infected equids (Neubauer et al., 2005).

Melioidosis is caused by B. pseudomallei is the causative agent of melioidosis, a soil-dwelling bacterium historically endemic to South-East Asia (Cambodia, Indonesia, Laos, Malaysia, Myanmar, Singapore, Thailand, and originates from Vietnam) and northern Australia. Its range is expanding and now includes the Pacific, South-East Asia (areas within latitudes 20°N, Africa, and 20°S) the Americas (Limmathurotsakul et al., 2016). It is an important soil bacterium, denitrifying organic materials and is ubiquitous in those areas. Thus, B. Burkholderia pseudomallei is stable in the environment. It is and it also naturally resistant to various antibiotics and disinfectants (Currie, 2015; O’Connell et al., 2009; Sprague & Neubauer, 2004). Burkholderia pseudomallei has is an extremely broad opportunistic pathogen with a wide host range, including wildlife, farm animals and humans (Rush & Thomas, 2012). Burkholderia pseudomallei has regularly been isolated, mammals, birds and reptiles (Birnie et al., 2022).

In humans, melioidosis can cause a wide range of signs, from abscesses in various organs (spleen, liver, lung, lymph nodes), from milk in cases with mastitis, or from faeces in diarrhoea cases. This chapter focuses on localised infections to severe systemic disease. Despite timely and aggressive multi-antibiotic therapy, the disease in horses, which may closely resemble glanders, but more diverse presentations also occur is often fatal (Meumann et al., 2024).

Melioidosis in horses has is rare and often presents with signs similar to glanders. Occurrences have been reported as peracute cases with high fever, septicaemia, limb oedema, diarrhoea and death occurring within 24 hours, or acute cases with limb oedema, slight mild colic and intestinal hypermotility. More typically, melioidosis runs has a subacute to chronic course from of 3 weeks to 3 months with no without loss of appetite. Further signs Other reported are signs include emaciation, oedema and lymphangitis of the limbs, mild colic, diarrhoea, pneumonia, cough and nasal discharge. Skin involvement may initially resemble fungal eczema, later becoming papular without abscess formation. Acute meningoencephalitis and keratitis may be seen occur. If the infection is acquired per os, intestinal signs may predominate. It is reported that The lungs are always affected and show reported to be involved with signs of acute bronchopneumonia and numerous multiple abscesses. Severe enteritis, multiple microabscessation in the kidneys, and necrotic foci in liver and spleen may be found at necropsy. Ulcers on the mucosa of the upper respiratory tract and cicatrical scar tissue on the septum nasi and epiglottis may be found. Ulcers and nodules in the skin and subcutis of the limbs may be confused with farcy. Conjunctivitis and keratitis, although rare, have been reported, though rare. The incubation period for naturally occurring infection in animals is not known. Spread unknown. Experimental infection of horses with B. pseudomallei (via oral or subcutaneous routes) failed to generate lesions in the nasal septum or conchae; however, typical pyogranulomas indistinguishable from those caused by glanders were observed in the lungs and other organs, and the pathogen was detected in the bladder (Wernery et al., 2019a; 2019b). The disease may be spread by infected animals or by contaminated materials in the animals’ their environment. Infection is thought to occur by inoculation, ingestion or inhalation of environmental organisms. Inapparent infection may occur (reviewed by Sprague & Neubauer, 2004). In humans the disease is frequently fatal despite timely institution of therapy (Currie, 2015; Kingsley et al., 2016b). No approved antibiotic regimens for horses have been are recommended for horses.

Melioidosis can be considered an emerging disease and is present in many regions worldwide (Limmathurotsakul et al., 2016). Control In regions where B. pseudomallei is not endemic (e.g. non-tropical countries), control of melioidosis requires testing of suspected clinical cases, screening of apparently normal equids, and elimination of reactors. In areas with a temperate climate, special thought has to be given to Emphasis should be placed on maintaining stable hygiene practices (disinfection, removal of faeces several times a day, reduction of the reduced use of water for cleaning, disinfection of hooves and lower limbs, movement control) and soil hygiene. Suitable methods to prevent spread by treatment of manure, waste water or rodent control have not been investigated or reported (Dodin, 1992). Dodin (1992) stated that The outbreak at the enzootics Jardin des Plantes in France declined and in the infected soils were cleared only after all 1970s highlighted the risks of importing infected animals were removed. Consequently, Sprague & Neubauer (2004) proposed that equids with melioidosis should be culled immediately in non-endemic countries to prevent local establishment, which led to the contamination of environmental reservoirs that would pose an ongoing risk of infection for zoo animals, humans and animals nearby cavalry horses, facilitating the spread of the disease across the country. It took a decade to bring the epidemic under control. In addition, the infection can be imported from species other than equidae. When handling suspect or known infected animals or fomites, stringent precautions must be taken suspected or confirmed to prevent self-infection or transmission of the bacteria. Laboratory samples must be infected with B. mallei or B. pseudomallei, or when handling potentially contaminated materials, strict biosafety protocols are essential. This includes securely packaged, kept packaging specimens to prevent spillage, keeping specimens cool (not frozen) and shipped as outlined during transport, and following the transport guidelines for biological materials in Chapter 1.1.3 Transport of biological materials. All manipulations with of potentially infected/contaminated material must be performed at an appropriate biosafety and containment level as determined by a biorisk analysis (see Chapter 1.1.4 Biosafety and biosecurity: Standard for managing biological risk in the veterinary laboratory and animal facilities).

Outside its host, B. mallei has limited resistance to environmental factors such as desiccation, heat, light or and chemicals, making its survival beyond 2 weeks is unlikely (Neubauer et al., 1997). However, it can persist for several months under favourable conditions, and can remain viable in tap water for at least 1 month. Effective disinfectants include benzalkonium chloride (1/2,000), sodium hypochlorite (500 ppm available chlorine), iodine, mercuric chloride in alcohol, and potassium permanganate. Phenolic disinfectants are less effective (St. Georgiev, 2008). In contrast, B. pseudomallei is more resilient, surviving up to 16 years in water (Pumpuang et al., 2011), 7 months in muddy water and up to 30 months in laboratory soil. Chlorine has only a bacteriostatic effect on on B. pseudomallei, with bacteria recoverable even in water containing up to 1000 p.p.m. free chlorine (review: Sprague & Neubauer, 2004).

B.  DIAGNOSTIC TECHNIQUES

Test methods available for the diagnosis of glanders and their purpose are listed in Table 1. For melioidosis, B. pseudomallei can be specifically confirmed by culture and polymerase chain reaction (PCR). Although serological tests developed for glanders may cross-react and give an indication of potential melioidosis cases, these tests are not fully validated for melioidosis. This issue is particularly relevant in areas where B. pseudomallei is present in the soil, as environmental exposure may lead to positive test results.

Table 1. Test methods available for the diagnosis of glanders and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection(a) | Individual animal freedom from infection prior to movement(b) | Contribute to eradication policies(c) | Confirmation of clinical cases(d) | Prevalence of infection – surveillance(e) | Immune status in individual animals or populations post-vaccination |
| Detection of the agent |  |  |  |  |  |  |
| Conventional PCR | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☐☐ ☑☑☐ | ☐☐☐ | ☐☐☐ |
| Real-time PCR | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☑☑ | ☐☐☐ | ☐☐☐ |
| Culture | ☐☐☐ | ☐☐☐ | ☐☐☐ | ☑☐☐ ☑☑☐ | ☐☐☐ | ☐☐☐ |
| Detection of immune response |  |  |  |  |  |  |
| Complement fixation(f) | ☑☑☐ | ☑☑☐ (a) | ☑☑☑ | ☑☑☐ | ☑☑☑ | ☐☐☐ |
| ELISA(g, h) | ☑☐☐ ☑☑☐ | ☑☐☐ ☑☑☐ | ☑☑☐ ☑☑☑ | ☑☐☐ ☑☑☐ | ☑☑☐ ☑☑☑ | ☐☐☐ |
| Recombinant double-antigen ELISA | ☑☑☑ | ☑☑☑ | ☑☑☑ | ☑☑☑ | ☑☑☑(h) | ☐☐☐ |
| Mallein skin test | ☑☐☐ | ☑☐☐ | ☑☐☐ | ☑☐☐ | ☑☐☐ | ☐☐☐ |
| Western blotting | ☑☐☐ | ☑☐☐ | ☑☑☐ | ☑☐☐ | ☑☑☐ | ☐☐☐ |

Key: ☑☑☑ = recommended for this purpose; ☑☑☐ = recommended but has limitations; 
☑☐☐ = suitable in very limited circumstances; ☐☐☐ = not appropriate for this purpose.
PCR = polymerase chain reaction; ELISA = enzyme-linked immunosorbent assay.
(a)Horse samples only – care needed with interpretation of test on donkey samples See Appendix 1 of this chapter for justification table for the scores given to the tests for this purpose.
(b)See Appendix 2 of this chapter for justification table for the scores given to the tests for this purpose.
(c)See Appendix 3 of this chapter for justification table for the scores given to the tests for this purpose.
(d)See Appendix 4 of this chapter for justification table for the scores given to the tests for this purpose.
(e)See Appendix 5 of this chapter for justification table for the scores given to the tests for this purpose.
(f)Horse samples only – care needed with interpretation of test on donkey samples.
(g)Only validated ELISAs should be used, especially for mules and donkeys, which are not always included in validation studies.
(h)Special consideration given in tropical regions where B. peudomallei is present in soils.

For melioidosis, culture and polymerase chain reaction (PCR) methods may be used to detect and identify the organism for confirmation of clinical cases, as described in the text below, but serological methods are not yet available for this infection.

1.	Interpretation of tests for the diagnosis of glanders

Confirmation of a diagnosis of glanders should be based on the or melioidosis requires isolation and identification of Burkholderia B. mallei in a sample or B. pseudomallei from an equid sample or a derived-product derived from that equid; or the identification in such samples, or detection of antigen or their specific genetic material specific to B. mallei. Supporting evidence may be provided by in these samples. In animals showing clinical signs, a positive serological test results such as a titre of 1/5 in the complement fixation test (CFT) result, confirmed by a second test with of equal or higher greater sensitivity and higher specificity, e.g. B. mallei-specific lipopolysaccharide (LPS)-western blot, I-enzyme-linked immunosorbent assay (ELISA) (indirect) (based on a recombinant protein from type VI secretion system) or C-ELISA (competitive ELISA) (based on B. mallei-specific monoclonal antibodies may indicate glanders or melioidosis and should prompt further investigation for direct detection of the agent. The serological tests to be used depend on the prevalence of the disease (Sprague et al., 2009).

2.	Detection of the agent

Cases for requiring specific glanders investigation for glanders or melioidosis should be clinically differentiated on clinical grounds from other chronic infections affecting of the nasal mucous membranes, sinuses or the skin. Among these are These include strangles (Streptococcus equi), ulcerative lymphangitis (Corynebacterium pseudotuberculosis), pseudotuberculosis (Yersinia pseudotuberculosis) and sporotrichosis (Sporotrichium spp.). Glanders should be excluded from suspected cases of epizootic lymphangitis (Histoplasma capsulatum farciminosum), with which it has many clinical similarities. In horses and humans in particular, glanders should be distinguished from melioidosis.

2.1.	Morphology of Burkholderia mallei and B. pseudomallei

Burkholderia mallei organisms are fairly numerous is often found in smears from fresh lesions, but scarce less commonly in older lesions. Smears should can be stained with methylene blue or Gram’s stain. The Gram-negative rods have rounded ends, are 2–5 µm long and 0.3–0.8 µm wide with granular inclusions of various size. The bacteria are generally located extracellularly and frequently stain irregularly and poorly when Gram’s stain is used. They do not have a readily visible capsule under the light microscope and do not form spores. The presence of a capsule-like cover coat has been verified observed by electron microscopy. This capsule is composed of neutral carbohydrates and serves to protect the cell from unfavourable adverse environmental factors. Unlike other organisms in the Pseudomonas group and its close relative B. pseudomallei, B. mallei has no flagellae and is therefore nonmotile (Sprague & Neubauer, 2004). Nonmotility is the most important phenotypic characteristic diagnostically for diagnosis and must be demonstrated when pure culture is available. The organisms are difficult to detect in tissue sections, where they may have a beaded appearance. In culture media, they vary in their appearance depending on varies according to the age of the culture and the type of medium. In Older cultures, there is much pleomorphism are highly pleomorphic. Branching filaments form on the surface of broth cultures (Neubauer et al., 2005).

In contrast, B. pseudomallei is motile due to the presence of flagella and can be found in both acute and chronic lesions. These Gram-negative rods are 2–4 µm long and 0.4–0.8 µm wide, with rounded ends. Smears from lesions or cultures can be stained with Gram’s stain or methylene blue. Burkholderia pseudomallei is primarily extracellular, but may be present within macrophages during infection. It has a polysaccharide capsule that aids in immune evasion and survival in the environment, although this capsule is not readily visible under the light microscope. In tissue sections, B. pseudomallei may appear granular or clumped. On solid media, the colony morphology of B. pseudomallei varies, with some strains forming smooth colonies and others developing a wrinkled appearance, depending on the strain and culture conditions.

2.2.	Cultural characteristics

It is preferable to attempt isolation from unopened Isolation of B. mallei is most effective when samples are taken from fresh, uncontaminated lesions. to avoid bacterial overgrowth. Key organs include the lungs, liver, spleen and lymph nodes in the vicinity of the lesions. The nasal cavity, trachea and skin lesion (if present) should also be sampled.

Burkholderia mallei is an aerobic and facultative anaerobic only bacterium that can grow anaerobically in the presence of nitrate, growing optimally at 37°C. It grows well, but best, albeit slowly, at 37°C. It can be grown on a variety of on culture media, including sheep blood agar. Incubation of cultures for 72 hours is The recommended; glycerol incubation period is 72 hours. Glycerol enrichment is particularly useful. The tiny greyish shiny shining colonies of B. mallei on sheep blood agar can be easily overgrown by other bacteria; hence so careful observation is needed to not to overlook miss the bacteria after 72 hours of incubation. After a few days on glycerol agar, a confluent, smooth, moist and slightly viscous cream-coloured growth can be is observed. On continued further incubation, the growth thickens and becomes dark brown and tough. Burkholderia mallei also grows well on glycerol potato agar and in glycerol broth, on which forming a slimy pellicle forms. Growth on nutrient agar, the growth is much less effusive profuse, and growth is poor on gelatine. Various is poor. Several commercially available Burkholderia selective agars enable allow the growth of B. mallei (Glass et al., 2009).

Even in fresh samples obtained under sterile conditions, B. mallei is often overgrown by other bacteria, which makes making isolation extremely difficult (Wernery, 2009).

Confirmation of the identity of suspected isolates is by biochemical reactions or by PCR. Growth characteristics may alter in vitro, so fresh isolates should be used for identification reactions. The positive biochemical reactions include reduction of nitrates, utilisation of arginine by arginine dihydrolase, assimilation of glucose, N-acetyl glucosamine and gluconate. Strain to strain variation is observed in the assimilation reactions of arabinose, fructose, mannose, mannitol, adipic acid, malate, trisodium citrate, phenyl acetic acid and VP reaction, which needs an incubation time of 48 hours. Indole is not produced, horse blood is not haemolysed and no diffusible pigments are produced in cultures. Various biochemical characteristics can be used for the differentiation of B. mallei from B. pseudomallei, as B. mallei has lost many fermentative activities during phylogeny (Neubauer et al., 1997). Commercially available laboratory biochemical identification systems can be used for confirmation that an organism belongs to the Pseudomonas group. In general, however, commercially available systems are not suitable for unambiguous identification of members of the steadily growing number of species within the genus Burkholderia (Glass & Popovic, 2005, Hemarajata et al., 2016; Inglis et al., 2005; Kingsley et al., 2016a; Lau et al., 2015; Zong et al., 2012).

A novel selective medium has been described for the isolation of B. mallei from equine specimens (Kinoshita et al., 2019). This agar was prepared by combining 5 g of proteose peptone no. 3, 10 g of tryptone pancreatic digest of casein, 0.25 g of magnesium sulfate, 1 g of sodium pyruvate, 5 g of sodium chloride, 40 ml of glycerol, 3 mg of crystal violet (3 ml from 0.1% w/v crystal violet in distilled water), 50 mg of cycloheximide (5 ml from 1% [w/v] cycloheximide in absolute ethanol), 15 g of agar, and distilled water (960 ml). The mixture is sterilised at 121°C for 15 minutes. After cooling to 45°C, the medium is supplemented with three antimicrobials: 16.7 mg of ticarcillin disodium salt (668 μl from 25 mg/ml stock solution), 197.8 mg of fosfomycin sodium (1520 μl from 130 mg/ml stock solution), 40,000 units of polymyxin B (400 µl from 100,000 units/ml stock solution). For heavily Lack of motility is therefore of special relevance. Cell matrix-assisted laser desorption/ionisation mass spectrometric typing can be used (Cunningham & Patel, 2013; Karger et al. 2012). A bacteriophage specific for B. mallei is available. Reference laboratories or specialised laboratories use B. pseudomallei-specific antibodies that are not commercially available and that have not been validated for use in equids (Sprague & Neubauer, 2004).

All prepared culture media should be subjected to quality control and must support growth of the suspect organism from a small inoculum. The reference strain should be cultured in parallel with the suspicious samples to ensure that the tests are functioning correctly.

In contaminated samples, supplementation of media with substances that inhibit the growth of Gram-positive organisms (e.g. crystal violet, proflavine) has proven to be useful, as well as and pre-treatment with penicillin (1000 units/ml for 3 hours at 37°C) have proven to be useful. A semi-selective medium has been developed (Xie et al., 1980) composed consisting of polymyxin E (1000 units), bacitracin (250 units), and actidione (0.25 mg) incorporated into nutrient agar (100 ml) containing glycerine (4%), donkey or horse serum (10%), and ovine haemoglobin or tryptone agar (0.1%) has been developed. Heavily contaminated samples should also be streaked onto stiff blood agar (3% agar) which inhibits the growth of Proteus spp., and onto Sabouraud dextrose agar, which inhibits the growth of many Gram-positive and Gram-negative bacteria in glanders samples. These samples should also be streaked onto plated on blood agar and incubated for 24 hours anaerobically for 24 hours to inhibit the growth of obligate aerobes. Isolation of B. mallei from the anaerobic plates needs a further 24 hours’ incubation at 37°C. PCR methods may also prove useful for testing contaminated samples.

Although there are no validated procedures methods for the isolation of isolating B. pseudomallei from horse equine samples exist. Cultivation may be successful from samples of, cultivation from ulcers, lesions or excretions. Standard media, i.e. urine can be successful (Wernery et al., 2019a). Initial isolation can be performed on blood agar or MacConkey agar, are used for isolation of B. pseudomallei and selective enrichment techniques e.g. Selective media such as Ashdown agar, Galimand’s broth or B. pseudomallei selective agar (and BPSA) have been developed (Limmathurotsakul et al., 2012; improve detection (see website Melioidosis - Home) (Peacock et al., 2005; Prakash et al., 2014; Roesnita et al., 2012; Sprague & Neubauer, 2004; Trung et al., 2011). Colony morphology varies from). Burkholderia pseudomallei colonies may appear smooth to rough depending on the medium and strain, and often becomes or wrinkled after, often with a few days of incubation. A metallic sheen over the area of confluent growth on Ashdown or Columbia agar is an important feature.

All culture media must be quality controlled to ensure growth of the suspect organism from samples with low bacterial loads.

Biochemical tests such as the API Gallery are useful for the presumptive identification of B. pseudomallei (Dance et al., 1989) B. mallei and B. pseudomallei. The API 20NE system is used to identify non-enteric, oxidase-positive bacteria. Burkholderia mallei and B. pseudomallei share several similar and different biochemical characteristics. Typical positive results for B. mallei include nitrate reduction, oxidase activity and arginine dihydrolase activity. It also shows positive assimilation of glucose, N-acetylglucosamine and gluconate. However, B. mallei does not produce urease, which may help to distinguish it from B. pseudomallei (Neubauer et al., 1997). In contrast, B. pseudomallei also shows positive nitrate reduction, oxidase activity and glucose assimilation. It typically has positive or variable arginine dihydrolase activity. Unlike B. mallei, B. pseudomallei is urease positive, a key differentiator between the two bacteria. Although commercial biochemical systems can confirm membership of the Pseudomonas group, they are generally not reliable for accurate identification of the diverse Burkholderia genus (Glass & Popovic, 2005; Inglis et al., 2005; Lau et al., 2015; Zong et al., 2012). These results should be interpreted alongside other identification methods, such as MALDI-TOF MS (Cunningham & Patel, 2013; Karger et al. 2012), which is a more advanced technique, although database inconsistencies can occasionally lead to misidentifications, or PCR, which remains the most reliable method for accurately distinguishing between the two species.

Outside the body, B. mallei shows little resistance to drying, heat, light or chemicals, so that survival beyond 2 weeks is unlikely (Neubauer et al., 1997). Under favourable conditions, however, it can probably survive a few months. Burkholderia mallei can remain viable in tap water for at least 1 month. For disinfection, benzalkonium chloride (1/2,000), sodium hypochlorite (500 ppm available chlorine), iodine, mercuric chloride in alcohol, and potassium permanganate have been shown to be highly effective. Phenolic disinfectants are less effective (St. Georgiev, 2008).

Burkholderia pseudomallei can survive in water up to 16 years (Pumpuang et al., 2011), in muddy water for up to 7 months and in soil in the laboratory for up to 30 months. Chlorine has only a bacteriostatic effect on the agent as bacteria were recovered from water containing up to 1000 p.p.m.

National regulations and guidelines for should be observed for the safe handling and application of disinfectants should be observed.

2.3.	Identification of Burkholderia mallei and B. pseudomallei by polymerase chain reaction (PCR) and real-time PCR

PCR methods available for B. mallei and B. pseudomallei are listed in Tables 2 and 3.

Table 2. Conventional PCR methods available for Burkholderia mallei and B. pseudomallei

| Pathogen/ target gene | Primer (5’–3’) | Concentration of working solution | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Scholz et al. (2006); GenBank Accession No.: NC_006350, NC_006351; amplicon size: 989bp |  |  |  |
| Burkholderia mallei/fliP | Bma-IS407-fliP-f: 5’-TCA-GGT-TTG-TAT-GTC-GCT-CGG-3’ Bma-fliP-r: 5’-CTA-GGT-GAA-GCT-CTG-CGC-GAG-3’ | 10 µM 10 µM | 94°C/10 min, 35 × (94°C/30 sec, 65°C/30 sec, 72°C/60 sec); 72°C/7 min |

(a)Conditions of used polymerases and mastermixes must be considered.

Table 3. Real-time PCR methods available for Burkholderia mallei and B. pseudomallei

| Pathogen/ target gene | Primer/probe (5’–3’) | Concentration of working solution | Cycling parameters(a) |
| --- | --- | --- | --- |
| Method 1: Tomaso et al. (2006); GenBank Accession No.: NC_006350, NC_006351 |  |  |  |
| Burkholderia mallei/fliP | Bma-flip-f: CCC-ATT-GGC-CCT-ATC-GAA-G Bma-flip-r: GCC-CGA-CGA-GCA-CCT-GAT-T probe Bma-flip: FAM-CAG-GTC-AAC-GAG-CTT-CAC-GCG-GAT-C-BHQ | 10 µM 10 µM 10 µM | (50°C/2 min)(b); 95°C/10 min; 45 × (95°C/25 sec, 63°C/60 sec) |
| Method 1: Thibault et al. (2004); GenBank Accession No.: AF074878 |  |  |  |
| Burkholderia pseudomallei/orf11 | orf11F: ATC-GCC-AAA-TGC-CGG-GTT-TC orf11R: CAA-ATG-GCC-ATC-GTG-ATG-TTC orf11pro: FAM-TCG-GCG-AAC-GCG-ATT-TGA-TCG-TTC-C-BHQ | 50 µM 50 µM 20 µM | (50°C/2 min)(b); 95°C/10 min; 45 × (95°C/10 sec, 60°C/45 sec) |

(a)Conditions of used polymerases and mastermixes must be considered. (b)Uracyl N-glycosylase pre-treatment in association with inclusion of uracil instead of thymine in the master mix helps to prevent contamination from previous amplifications.

Burkholderia pseudomallei and B. mallei are closely related bacteria with different environmental and disease profiles. Burkholderia pseudomallei has a highly flexible genome, influenced by frequent gene transfers and rearrangements. In contrast, B. mallei has evolved into a strict mammalian pathogen through genome reduction, resulting in a more uniform population, although it is still evolving.

Several PCR and real-time PCR assays have been developed for the specific detection and identification of B. mallei and differentiation of B. pseudomallei have been developed (reviewed by Lowe et al., 2014). One A conventional PCR and one a real-time PCR assay were have been evaluated using samples from a natural outbreak of glanders in horses (Scholz et al., 2006; Tomaso et al., 2006). These two assays are therefore described presented in more detail, but in this chapter, although real-time PCR is recommended because of its higher analytical sensitivity. Inter-laboratory studies are still needed to confirm the their robustness of these assays. The guidelines and precautions outlined in Chapter 1.1.6 Principles and methods of validation of diagnostic assays for infectious diseases of terrestrial animals should be observed followed.

2.3.1.	DNA preparation

Single From agar cultures, single colonies are transferred from an agar plate to 200 µl of deionised water. After heat inactivation (for example 99 100°C for 30 20 minutes), the DNA isolation supernatant obtained after centrifugation at 8000 g for 10 minutes can be performed using commercial DNA preparation kits for gram-negative bacteria (see Scholz et al., 2006 and Tomaso et al., 2006). Alternatively, heat-inactivated bacteria from pure cultures (eg 99°C, 10 minutes) can be used directly for PCR or subjected to DNA extraction using commercial kits designed for Gram-negative bacteria.

Tissue samples from horses (e.g. skin, lung, mucous membrane of the nasal conchae and septae, liver and spleen) that have been inactivated and preserved in formalin can be processed for DNA extraction using commercially available kits. Formalin-fixed tissues (48 hours, 10% v/v) are should be cut with a scalpel into pieces of 0.5 × 0.5 cm (approximately 500 mg). The specimens are, washed twice in deionised water (10 ml), and incubated overnight in sterile saline at 4°C, and minced by freezing. Samples are then frozen in liquid nitrogen, followed by grinding crushed with a mortar and pestle. and total DNA is prepared from 50 mg tissue using a commercial extraction extracted using kits according to the manufacturer’s instructions. DNA is eluted with 80 µl dH2O or as appropriate for the kit used.

For B. pseudomallei, Kits have been evaluated for the DNA extraction of DNA from tissue samples formalin-fixed, paraffin–embedded tissues for the detection of B. pseudomallei (Obersteller et al., 2016).

2.3.2.	PCR assay (Scholz et al., 2006) assays for B. mallei detection

The assay may have to be adapted to the PCR instrument used with minor modifications to the cycle conditions and the concentration of the reagents used.

The oligonucleotides used by Scholz et al., (2006) are based on the differences between the fliP sequences from B. mallei ATCC 23344T (accession numbers NC_006350, NC_006351) and B. pseudomallei K96243 (accession numbers NC_006348, NC_006349). Primers Bma-IS407-flip-f (5’-TCA-GGT-TTG-TAT-GTC-GCT-CGG-3’) and Bma- IS407-flip-r (5’-CTA-GGT-GAA-GCT-CTG-CGC-GAG-3’) are used to amplify a 989 bp fragment. The PCR uses 50 µl ready-to-go master mix, 15 pmol of each primer, and 4 µl of template DNA. Thermal cycling conditions are 94°C for 30 seconds and 35 cycles at 65°C for 30 seconds and 72°C for 60 seconds and succeeded by a final elongation step at 72°C for 7 minutes. Visualisation of the products takes place under UV light after agarose gel (1% w/v in TAE buffer) electrophoresis and staining with nucleic acid stain. No template controls containing PCR-grade water instead of template and positive controls containing B. mallei DNA have to be included in each run to detect contamination by amplicons of former runs or amplification failure. The lower detection limit of this assay is 10 fg or 2 genome equivalents.

Scholz et al. (2006) developed a conventional PCR method targeting differences in the fliP gene to specifically differentiate B. mallei from B. pseudomallei (Table 2). The PCR reaction contains Taq polymerase, primers and DNA template. Amplicons are stained with a nucleic acid dye before visualisation under UV light on agarose gels. No-template and B. mallei positive controls ensure reliability.

2.3.3.	Real-time PCR assay (Tomaso et al., 2006)

The assay should be This method was then adapted to the for real-time PCR instrument used, e.g. the cycling vials should be chosen according to the manufacturer’s recommendations, the concentration of the oligonucleotides may have to be increased, or the labelling of the probes altered.

The oligonucleotides used by Tomaso et al. (2006) are based on differences in the fliP sequences of B. mallei ATCC 23344T (accession numbers NC_006350, NC_006351) and B. pseudomallei K96243 (accession numbers NC_006348, NC_006349). The fluorogenic by Tomaso et al. (2006, Table 2) and incorporates a probe is synthesised with 6-carboxy-fluorescein (FAM) at the 5’-end and black hole quencher 1 (BHQ1) at the 3’-end. Oligonucleotides used were Bma-flip-f (5’-CCC-ATT-GGC-CCT-ATC-GAA-G-3’), Bma-flip-r (5’-GCC-CGA-CGA-GCA-CCT-GAT-T-3’) and probe Bma-flip (5’-6FAM-CAG-GTC-AAC-GAG-CTT-CAC-GCG-GAT-C-BHQ1-3’) that binds to the amplified fragment, increasing the sensitivity and specificity of the test compared with conventional PCR. The 25 µl reaction mixture volume consists of 12.5 µl 2× master mix, 0.1 µl of each primer (10 pmol/µl), 0.1 µl of the probe (10 pmol/µl) and 4 µl template DNA. Thermal cycling conditions are 50°C for 2 minutes; 95°C for 10 minutes; 45 cycles at 95°C for 25 seconds and 63°C for 1 minute. Possible contaminations with amplification products from former reactions are inactivated by an initial A pre-incubation step using with uracil N’-glycosilase. The authors suggest including an N-glycosylase (50°C for 2 minutes) and the use of uracil instead of thymine in the master mix helps to prevent contamination from previous amplifications. An internal PCR inhibition control based on a bacteriophage lambda gene target (Lambda-F [5’-ATG-CCA-CGT-AAG-CGA-AAC-A-3] Lambda-R [5’-GCA-TAA-ACG-AAG-CAG-TCG-AGT-3’], Lam-YAK [5’-YAK-ACC-TTA-CCG-AAA-TCG-GTA-CGG-ATA-CCG-C-DB-3’]), which can be titrated to provide reproducible cycle threshold values. However, depending on the sample material a PCR targeting a housekeeping gene may be used additionally or as an alternative. No template controls containing 4 µl of PCR-grade water instead and (endogenous or exogenous), along with no-template and B. mallei positive controls containing DNA of B. mallei have to be included in each run to detect amplicon contamination or amplification failure, must be included to ensure reliability.

The linear range of the assay was determined to cover concentrations from 240 pg to 70 fg bacterial DNA/reaction. The lower limit of detection defined as the lowest amount of DNA that was consistently detectable in three runs with eight measurements each is 60 fg DNA or four genome equivalents (95% probability). The intra-assay variability of the fliP PCR assay for 35 pg DNA/reaction is 0.68% (based on Ct values) and for 875 fg 1.34%, respectively. The inter-assay variability for 35 pg DNA/reaction is 0.89% (based on Ct values) and for 875 fg DNA 2.76%, respectively.

To date, A positive PCR result in real-time PCR confirms the diagnosis ‘of Burkholderia mallei’ for an isolate and the diagnosis of ‘glanders’ in clinical cases. It has to be kept in mind, however, samples. The target of these two PCR methods is based on a mobile element in the B. mallei fliP gene, which distinguishes it from B. pseudomallei. It is important to note that future genetic evolution may well result in B. mallei clones that can no longer be detected by these standard PCRs. could lead to the loss of this element in B. mallei strains, potentially causing false-negative results with fliP-based PCR tests (Laroucau et al., 2021). The use of multiple PCR systems is therefore recommended, in complement to serological methods, especially in regions where B. mallei strains are poorly characterised (Laroucau et al., 2021).

The sensitivity of the PCR assays for clinical samples is unknown, so a negative result therefore, is no proof of does not rule out the absence presence of B. mallei in the sample and other diagnostic means must be applied used for confirmation.

2.3.3.	PCR assay for B. pseudomallei detection

No PCR methods have been validated for the detection of B. pseudomallei in equine samples, but several PCR systems are available for the specific identification of this species. Among the available targets, the orf11 PCR (Thibault et al., 2004) (Table 2) is commonly used, for identification or as differential diagnosis with B. mallei.

2.4.	Other methods

2.4.	Molecular typing methods and whole genome sequencing

Molecular typing techniques for Burkholderia isolates such as PCR-restriction fragment length polymorphism (Tanpiboonsak et al., 2004), pulsed field gel electrophoresis (Chantratita et al., 2006), ribotyping (Harvey & Minter, 2005), Multi-locus sequence typing (MLST) (Godoy et al., 2003) reveals considerable diversity among B. pseudomallei strains, with variation associated with geographical origin. In contrast, B. mallei strains are nearly identical worldwide and are characterised by a single sequence type (ST40). Multi-locus or variable number of tandem repeat analysis (MLVA) has been developed to differentiate B. mallei strains (Currie et al., 2009; Singha et al., 2021), are only appropriate for use in but it requires specialised laboratories. Molecular typing laboratory equipment and is mainly used to compare strains from the same outbreak.

More advanced methods such as whole genome sequencing (WGS) and molecular typing techniques such as core genome MLST (cgMLST) (Appelt et al., 2022; Brangsch et al., 2022) and single nucleotide polymorphism (SNP) typing may be useful in the future (Gilling et al., 2014; McRobb et al., 2015; Price et al., 2015 Girault et al., 2018) offer new opportunities to study both B. mallei and B. pseudomallei. These methods provide the highest resolution and discriminatory power for differentiating isolates and conducting epidemiological studies.

3.	Serological tests

Burkholderia mallei evolved from B. pseudomallei, which means that infections caused by the two species are currently indistinguishable by serological tests (Neubauer et al., 1997; Wernery et al., 2019b). As a result, serological methods cannot reliably differentiate between the two species, and definitive diagnosis can only be made by direct pathogen identification. WOAH Reference Laboratories can provide positive reference sera for serological testing.

3.1.	Complement fixation test in horses, donkeys, and mules

The CFT is an accurate a reliable serological test that has been used for many years for diagnosing the diagnosis of glanders and establishing freedom from infection prior to movement. It will deliver positive results detects infections within 1 week post-of infection and will also recognise can identify sera from exacerbated chronic cases. Application of rigorous Strict quality control in the formulation of CFT antigens reagents (antigen, complement and haemolytic systems are crucial system) is essential for the performance of this test as its, with both specificity and sensitivity are critically dependent depending on the antigen used (Elschner et al., 2011; Khan et al., 2011). However, the specificity of the CFT has been questioned (Neubauer et al., 2005). The CFT is valid has been validated for horses, mules and camels; if used, but care must be taken when using the test in donkeys particular care is needed to avoid misdiagnosis.

3.1.1.	Antigen preparation

i)	The stock culture strain of B.mallei stored at –80°C is should  be revived by plating onto sheep blood agar and incubated at 37°C for 48 hours to get a confluent growth.

ii)	From this 48 hours culture, a loopful A loop (0.5 mm diameter) of the 48-hour culture is then inoculated into 5 ml of brain–heart infusion (BHI) broth with 3% glycerol and incubated at 37°C for 24 hours.

iii)	After 24 hours, 1 ml from of the above culture broth is further inoculated into 100 ml BHI broth with 3% glycerol and incubated at 37°C for 48 hours with gentle agitation shaking.

iv)	The cultures are inactivated by exposing the flasks to flowing steam (100°C) for 60 minutes.

v)	The clear supernatant is decanted and, filtered. and the filtrate is re-heated again by exposure to live steam for 1 hour, and. It is then clarified by centrifugation at 5000 g for 10 minutes.

vi)	The clarified product supernatant is stored as concentrated antigen in brown glass bottles to shield at 4°C, protected from light and stored at 4°C. Antigen has been shown to be. The antigen is stable for at least 10 years in this concentrated state for at least 10 years.

vii)	Aliquots of antigen are prepared by diluting the concentrated antigen are prepared by dilution 1/20 with sterile physiological saline containing 0.5% phenol. The diluted antigen is dispensed into brown-glass vials and stored at 4°C. The final working dilution is determined by a block titration. The final working dilution for the CFT is prepared when performing the test. and prepared at the time of testing. The resulting antigen consists mainly of lipopolysaccharides (LPS).

The resulting antigen consists primarily of lipopolysaccharides (LPS). An alternative procedure method is to use young cultures by growing the organism, in which B. mallei is grown on glycerol–agar slopes for up to 48 hours and washing them off washed with normal saline. A suspension of the culture is heated at 70°C for 1 hour at 70°C and the heat-treated bacterial suspension is used as antigen. The disadvantage of this antigen preparation method is that the antigen contains all the bacterial cell components. The antigen should be safety tested by inoculating inoculation onto blood agar plates.

Commercial antigens are available (Khan et al., 2011).

3.1.2.	CFT procedure

i)	Serum is diluted 1/5 in veronal (barbiturate) buffered saline containing 0.1% gelatine (VBSG), or in CFD (complement fixation diluent – available as tablets) without gelatine or other commercially provided CFT buffers.

ii)	The diluted serum is inactivated at 58–60°C for 30 minutes at 58–60°C. Serum of equidae other than horses should be inactivated at 63°C for 30 minutes. , while camel serum is should be inactivated at 56°C for 30 minutes at 56°C.

iii)	Twofold dilutions of the sera are prepared using veronal in CFT buffer or alternative commercially available CFT buffers in 96-well round-bottom microtitre plates.

iv)	Guinea-pig complement is diluted in the chosen CFT buffer and 4 or 5 complement haemolytic units-50% (CH50) are used for the analysis.

v)	Sera, complement and antigen are mixed in the plates and incubated for 1 hour at 37°C. An alternative more sensitive procedure is to incubate overnight incubation at 4°C.

vi)	A 2-3% suspension of sensitised washed sheep red blood cells is added to the plates.

vii)	Plates are incubated at 37°C for 45 minutes at 37°C, and then centrifuged at 600 g for 5 minutes at 600 g.

Note: When using commercially available CFT-antigens and ready-to-use CFT reagents, the manufacturers’ instructions should be applied followed.

Recommended Controls to verify test conditions:

i)	Positive control: a control serum that known to gives a positive reaction;

ii)	Negative control serum: a control serum that known to gives a negative reaction;

iii)	Anti-complementary control (serum control): diluent, for each serum to be tested): CFT buffer + inactivated test serum + complement + haemolytic system;

iv)	Antigen control: diluent CFT buffer + antigen + complement + haemolytic system;

v)	Haemolytic system control: diluent CFT buffer + haemolytic system;

vi)	Complement control: diluent CFT buffer + complement titration + antigen + haemolytic system.

3.1.3.	Reading the results

The absence of When all test controls (antigen, haemolytic system, complement, negative and positive controls) are valid and no anti-complementary activity must be checked for each is detected in the test serum; anti-complementary sera must be excluded from analyses. A sample that produces, the degree of haemolysis of the test serum can be evaluated. A serum with 100% haemolysis at the1/5 dilution is negative, 25–75% haemolysis is suspicious suspect, and no haemolysis (100% fixation) is positive. False-positives results can may occur, and animals can may remain positive for months. Moreover, Animals infected with B. mallei and B. pseudomallei and B. mallei produce cross react and cannot be differentiated-reactive antibodies, making them indistinguishable by serology CFT (Neubauer et al., 1997). Healthy non-glanderous equids; Wernery et al., 2019b). An intradermal mallein test can show a false produce CFT-positive CFT reaction results for a variable period of time following a mallein intradermal test.

3.2.	Enzyme-linked immunosorbent assays

Both plate and membrane based ELISAs have been used for the serodiagnosis of glanders, but none of these procedures has been able to differentiate between B. mallei and B. pseudomallei. An avidin–biotin dot ELISA has been described, but has not yet been widely used or validated. The antigen used is a concentrated and purified heat-inactivated bacterial culture. A spot of this antigen is placed on a nitrocellulose dipstick. Using antigen-dotted, pre-blocked dipsticks, the test can be completed in approximately 1 hour. An I-ELISA was shown to be of limited value for the serological diagnosis of glanders (Sprague et al., 2009). An I-ELISA based on recombinant Burkholderia intracellular motility A protein (rBimA) showed a promising sensitivity of 100% and a specificity of 98.88% (Kumar et al., 2011). Pal et al. (2012) used also recombinant proteins to develop an ELISA.

A C-ELISA that makes use of an uncharacterised anti-LPS MAb has also been developed and found to be similar to the CFT in performance (Katz et al., 2000). The C-ELISA was used again on a panel of horse sera originating mainly from Middle Eastern countries (Sprague et al., 2009). A commercially available C-ELISA has recently been developed using anti-s B. mallei LPS MAb along with antigen prepared from a regional B. mallei isolate. This showed higher sensitivity than CFT in identifying field cases. The C-ELISA has been evaluated on donkey sera and reliable results obtained in an infection trial. Continuing development of monoclonal antibody reagents specific for B. mallei antigenic components will offer the possibility to develop more specific ELISAs that will help to resolve questionable test results of quarantined imported horses (Neubauer et al., 1997).

Several in-house and commercial enzyme-linked immunosorbent assays (ELISAs) based on crude or recombinant antigens have been developed for glanders, but systematic validation studies according to Chapter 1.1.6 Validation of diagnostic assays for infectious diseases of terrestrial animals, are lacking. A recent comparative study of five ELISAs using crude suspension or recombinant antigens showed promising results (Elschner et al., 2019). A commercial recombinant double antigen-based ELISA was validated with 400 negative sera from Germany and 370 positive field samples from equidae collected in India and Pakistan (Elschner et al., 2021). This ELISA showed a significantly higher specificity (99.8%) than the CFT (97%) and similar sensitivities (CFT 96.5%, ELISA 98.1%).

The presence of B. pseudomallei in the environment may expose equids living in tropical regions where the bacterium is endemic, potentially leading to infection. However, reported cases of melioidosis remain rare. Exposure to the bacterium can induce a detectable serological response, particularly when sensitive assays such as the commercial recombinant double antigen-based ELISA are used. This assay detects B. mallei antibodies (Elschner et al., 2021) and also cross-reacts with B. pseudomallei antibodies (Desoutter et al., 2024; Gasqué et al., 2024; Laroucau et al., 2025). This validated ELISA is therefore recommended for: i) to confirm clinical cases (in combination with direct diagnostic methods to distinguish between glanders and melioidosis), alongside associated epidemiological investigations; and ii) in the context of international trade, to prevent exposed or infected animals from entering populations and regions that are free from glanders and melioidosis. In areas endemic for melioidosis, where exposure to B. pseudomallei may be frequent, apparently healthy equids with a positive ELISA result should undergo follow-up testing and movement restrictions may be warranted. Further studies are needed to clarify the infectious status and epidemiological role of such animals.

More recently, an in-house competitive ELISA for B. mallei infection has been developed based on a monoclonal antibody to B. mallei lipopolysaccharide (Wernery et al., 2021).

For melioidosis, no although serological techniques tests developed for glanders may cross-react if not specifically designed for glanders, none have been validated for use in veterinary medicine nor are any commercially available to date.

3.3.	Immunoblot assays

Immunoblot assays were have been developed for the serodiagnosis of glanders, but further validation was impossible because of the lack of a positive serum control panel (Elschner et al., 2011; Katz et al., 1999). Recently, the development of an This test was recently included in a comparative assays study with the CFT and a commercial recombinant double antigen-based ELISA using 400 glanders negative from Germany and 370 glanders positive field samples from horses, mules, and donkeys (Elschner et al., 2021). The immunoblot using B. mallei LPS antigenwas reinitiated. The aim was to obtain a was significantly more sensitive test specific (99.2%) than the CFT in order to retest false positive CFT sera in non-endemic areas (Elschner et al., 2011). (97.0%). Considering the comparable sensitivities of CFT (96.5%) and the immunoblot (97.3%), the immunoblot is a suitable confirmatory test. However, the test is best suited to single samples, as it is time-consuming and requires experienced laboratories. The developed assay test is based on crude antigen preparations of the from B. mallei strains (Bogor, Zagreb and Mukteswar, which are also the basis of most CFT antigen formulations. The antigens are and Bahrain1) separated by SDS-PAGE (sodium dodecyl sulphate-polyacrylamide gel electrophoresis) and subsequently transferred to nitrocellulose membranes. Anti-B. mallei LPS antibodies in a serum sample reacting to the antigen on the blot strip are visualised by animal using a species-specific (phosphatase) conjugate and the NBT-BCIP (nitro-blue tetrazolium-5-bromo-4-chloro-3-indolyl-phosphate) colour system. The immunoblot test is scored considered positive if the banding a clear scale band pattern of the B. mallei LPS ladder within appears in the 20–60 kDa region is clearly visible, suspicious range, suspect if a weak colour reaction is detected observed and negative if no reaction is seen. 171 sera of glanderous horses and mules from Pakistan and Brazil and 305 sera of negative German horses were investigated and all glanders positive and negative animals were diagnosed correctly, however the test has not been fully validated to date. This test is not able to occurs. This test cannot differentiate glanders from melioidosis infection and it has not yet been evaluated for use in donkeys because of the lack of a significant number of positive control sera.

For melioidosis, no serological techniques have yet been validated for use in veterinary medicine.

3.4.	Other serological tests

The rose bengal plate agglutination test (RBT) has been described and validated in Russia for the diagnosis of glanders in horses and other susceptible animals; and has been validated in Russia. The test is based on a heat-inactivated bacterial suspension stained with rose bengal, which is used in a plate agglutination test. In a study in Pakistan, the RBT showed a sensitivity of 90% and a specificity of 100% (Naureen et al., 2007). The antigen is a heat-inactivated bacterial suspension coloured with Rose Bengal, which is used in a plate agglutination test.

However, the accuracy of other agglutination and precipitin tests this test is unsatisfactory not ideal for control programmes. , as horses with chronic glanders and those or in a debilitated condition poor health may give negative or inconclusive results.

For melioidosis, no serological techniques have yet been validated for use in veterinary medicine.

4.	Tests for cellular immunity

4.1.	The mallein test

The Mallein purified protein derivative (mallein PPD), which is available a commercially, is a available solution of water-soluble protein fractions of prepared from a heat-treated B. mallei suspension (see section C below for details of its preparation and availability). Although the test is not generally widely recommended because of animal welfare concerns, however it can may be useful in remote endemic areas where sample transport or proper cooling of samples is not possible. It depends on The test detects hypersensitivity to mallein in infected horses being hypersensitive to mallein. However, advanced clinical cases in horses and acute cases in donkeys and mules may give inconclusive results requiring additional diagnostic methods. In addition, transient seroconversion after mallein injection has been demonstrated in healthy uninfected horses, resulting in false positive CFT results.

The intradermo-palpebral test is the most sensitive, reliable and specific mallein test for detecting infected perissodactyls or odd-toed ungulates, and has largely displaced replaced other methods. The test involves the intradermal injection of 0.1 ml of concentrated mallein PPD is injected intradermally into the lower eyelid and the test. The reaction is read at 24 and 48 hours. A positive reaction is characterised by a marked oedematous swelling of the eyelid, and there may be possibly accompanied by a purulent discharge from the inner canthus or conjunctiva. This is usually accompanied by and a rise in body temperature. With A negative response, there is usually no reaction typically shows minimal or only a little no swelling of the lower lid.

No data are available for on the use of this mallein PPD for in equids with melioidosis.

C.  REQUIREMENTS FOR vaccines and DIAGNOSTIC BIOLOGICALS

There are no vaccines are available for against glanders or melioidosis.

Mallein PPD is available commercially from institutes such as the Central Veterinary Control and Research Institute, 06020 Etlik, Ankara, Turkey or the Pasteur Institute, Bucharest, Romania, Calea Giulesti 333, Cod:060269, Sector 6 (aprovizionare@pasteur.ro). The following information outlines the requirements for the production of mallein PPD.

1.	Seed management

Mallein PPD is produced using three strains of B. mallei are employed in the production of mallein PPD, namely: Bogor strain (originating from Indonesia), Mukteswar strain (India) and Zagreb strain (Yugoslavia). The seed material is kept as a stock of freeze-dried cultures. The strains are subcultured on to glycerol agar at 37°C for 1–2 days. For maintaining To maintain virulence and antigenicity, the strains may can be passaged in guinea-pigs.

2.	Production

Dorset-Henley medium, enriched by the addition of trace elements, is used for the production of mallein PPD. The liquid medium is inoculated with a thick saline suspension of B. mallei, grown on glycerol agar. The production medium is incubated at 37°C for about 10 weeks. The bacteria are then killed by steaming for 3 hours in a Koch’s steriliser. The fluid is then passed through a layer of cotton wool to remove coarse bacterial clumps. The resulting turbid fluid is cleared by membrane filtration, and one part trichloroacetic acid 40 % is immediately added to nine parts culture filtrate. The mixture is allowed to stand overnight during which the light brownish to greyish precipitate settles.

The supernatant is decanted and discarded. The precipitate is centrifuged for 15 minutes at 2500 g and the layer of precipitate is washed three or more times in a solution of 5% NaCl, pH 3, until the pH is 2.7. The washed precipitate is dissolved by stirring with a minimum of an alkaline solvent. The fluid is dark brown and has a pH of 6.7. This mallein concentrate is centrifuged again and the supernatant diluted with an equal amount of a glucose buffer solution. The protein content of this product is estimated by the Kjeldahl method and freeze-dried after it has been dispensed into ampoules.

3.	In-process control

During the period of incubation, the flasks are inspected regularly for any signs of contamination, and suspicious flasks are discarded. A typical growth of the B. mallei cultures comprises turbidity, sedimentation, some surface growth with a tendency towards sinking, and the formation of a conspicuous slightly orange-coloured ring along the margin of the surface of the medium.

4.	Batch control

Each batch of mallein PPD is tested for sterility, safety, preservatives, protein content and potency.

Sterility testing is performed according to the European Pharmacopoeia guidelines.

The examination for safety is conducted on five to ten normal healthy horses by applying the intradermo-palpebral test. The resulting swelling should be, at most, barely detectable and transient, without any signs of conjunctival discharge.

Preparations containing phenol as a preservative should not contain more than 0.5% (w/v) phenol. The protein content should be no less than 0.95 mg/ml and not more than 1.05 mg/ml.

Potency testing is performed in guinea-pigs and horses. The animals are sensitised by subcutaneous inoculation with a concentrated suspension of heat-killed B. mallei in paraffin oil adjuvant. Cattle can also be used instead of horses. The production batch is bio-assayed against a standard mallein PPD by intradermal injection in 0.1 ml doses in such a way that complete randomisation is obtained.

In guinea-pigs, the different areas of erythema are measured after 24 hours, and in horses the increase in skin thickness is measured with callipers. The results are statistically evaluated, using standard statistical methods for parallel-line assays.

REFERENCES

Appelt S., Rohleder A.M., Jacob D., von Buttlar H., Georgi E., Mueller K., Wernery U., Kinne J., Joseph M., Jose S.V. & Scholz H.C. (2022). Genetic diversity and spatial distribution of Burkholderia mallei by core genome-based multilocus sequence typing analysis PLoS One, 17(7):e0270499.

Birnie E., Biemond J.J., Wiersinga W.J. (2022). Drivers of melioidosis endemicity: epidemiological transition, zoonosis, and climate change. Curr. Opin. Infect. Dis., 35, 196–204.

Brangsch H., Saqib, M., Sial A. U. R., Melzer F., Linde J. & Elschner M.C. (2022). Sequencing-based genotyping of Pakistani Burkholderia mallei strains: A useful way for investigating glanders outbreaks. Pathogens, 11, 614.

Chantratita N., Vesaratchavest M., Wuthiekanun V., Tiyawisutsri R., Ulziitogtokh T., Akcay E., Day N.P. & Peacock S.J. (2006). Pulsed-field gel electrophoresis as a discriminatory typing technique for the biothreat agent Burkholderia mallei. Am. J. Trop. Med. Hyg., 74, 345–347.

Cunningham S.A. & Patel R. (2013). Importance of using Bruker’s security-relevant library for Biotyper identification of Burkholderia pseudomallei, Brucella species, and Francisella tularensis. J. Clin. Microbiol., 51, 1639–1640.

Currie B.J. (2015). Melioidosis: evolving concepts in epidemiology, pathogenesis, and treatment. Semin. Respir. Crit. Care Med., 36, 111–1125.

Currie B.J., Haslem A., Pearson T., Hornstra H., Leadem B., Mayo M., Gal D., Ward L., Godoy D., Spratt B.G., Keim P. (2009). Identification of melioidosis outbreak by multilocus variable number tandem repeat analysis. Emerg Infect Dis., 15, 169–174.

Dance D.A., Wuthiekanun V., Naigowit P. & White N.J. (1989). Identification of Pseudomonas pseudomallei in clinical practice: use of simple screening tests and API 20NE. J. Clin. Pathol., 42, 645–648.

Desoutter A., Deshayes T., Vorimore F., Klotoe B., Durand B., Colot J., Wagner-Lichtenegger G., Steinmetz I., Tuanyok A. & Laroucau K. (2024). Isolation of Burkholderia pseudomallei from a goat in New Caledonia: implications for animal and human health monitoring and serological tool comparison. BMC Vet. Res., 20, 114.

Dodin A. (1992). Naissance, vie... et assoupissement d’une maladie infectieuse: la melioidose. Ann. Inst. Pasteur, 3, 267–270.

Elschner M.C., Laroucau K., Singha H., Tripathi B.N., Saqib M., Gardner I., Saini S., Kumar S., El-Adawy H., Melzer F., Khan I., Malik P., Sauter-Louis C. & Neubauer H. (2019). Evaluation of the comparative accuracy of the complement fixation test, Western blot and five enzyme-linked immunosorbent assays for serodiagnosis of glanders. PLoS One 14(4): e0214963. doi: 10.1371/journal.pone.0214963.

Elschner M.C., Melzer F., Singha H., Muhammad S., Gardner I. & Neubauer H. (2021). Validation of a Commercial Glanders ELISA as an Alternative to the CFT in International Trade of Equidae. Front. Vet. Sci., 8, 628389

Elschner M.C., Scholz H.C., Melzer F., Saqib M., Marten P., Rassbach A., Dietzsch M., Schmoock G., de Assis Santana V.L., de Souza M.M., Wernery R., Wernery U. & Neubauer H. (2011). Use of a Western blot technique for the serodiagnosis of glanders. BMC Vet. Res., 7, 4.

Gasqué M., Guernier-Cambert V., Manuel G., Aaziz R., Terret J., Deshayes T., Baudrimont X., Breurec S., Rochelle-Newall E. & Laroucau K. (2024). Reassessing the distribution of Burkholderia pseudomallei outside known endemic areas using animal serological screening combined with environmental surveys: The case of Les Saintes (Guadeloupe) and French Guiana. PLoS Negl. Trop. Dis., 18(9):e0011977.

Girault G., Wattiau P., Saqib M., Martin B., Vorimore F., Singha H., Engelsma M., Roest H.J., Spicic S., Grunow R., Vicari N., De Keersmaecker S.C.J., Roosens N.H.C., Fabbi M., Tripathi B.N., Zientara S., Madani N. & Laroucau K. (2018). High-resolution melting PCR analysis for rapid genotyping of Burkholderia mallei. Infect. Genet. Evol., 63, 1–4.

Glass M.B., Beesley C.A., Wilkins P.P. & Hoffmaster A.R. (2009). Comparison of four selective media for the isolation of Burkholderia mallei and Burkholderia pseudomallei. Am. J. Trop. Med. Hyg., 80, 1023–1028.

Glass M.B. & Popovic T. (2005). Preliminary evaluation of the API 20NE and RapID NF plus systems for rapid identification of Burkholderia pseudomallei and B. mallei. J. Clin. Microbiol., 43, 479–483.

Gilling D.H., Luna V.A. & Pflugradt C. (2014). The identification and differentiation between Burkholderia mallei and Burkholderia pseudomallei using one gene pyrosequencing. Int. Sch. Res. Notices, October 2, 109583.

Godoy D., Randle G., Simpson A.J., Aanensen D.M., Pitt T.L., Kinoshita R. & Spratt B.G. (2003). Multilocus sequence typing and evolutionary relationships among the causative agents of melioidosis and glanders, Burkholderia pseudomallei and Burkholderia mallei. J. Clin. Microbiol., 41, 2068–2079.

Harvey S.P. & Minter J.M. (2005). Ribotyping of Burkholderia mallei isolates. FEMS Immunol. Med. Microbiol., 44, 91–97.

Hemarajata P., Baghdadi J.D., Hoffman R. & Humphries R.M. (2016). Burkholderia pseudomallei: challenges for the clinical microbiology laboratory. J. Clin. Microbiol., 54, 2866–2873.

Inglis T.J., Merritt A., Chidlow G., Aravena-Roman M. & Harnett G. (2005). Comparison of diagnostic laboratory methods for identification of Burkholderia pseudomallei. J. Clin. Microbiol., 43, 2201–2206.

Karger A., Stock R., Ziller M., Elschner M.C., Bettin B., Melzer F., Maier T., Kostrzewa M., Scholz H.C., Neubauer H. & Tomaso H. (2012). Rapid identification of Burkholderia mallei and Burkholderia pseudomallei by intact cell matrix-assisted laser desorption/ionisation mass spectrometric typing. BMC Microbiol., 12, 229.

Katz J.B., Chieves., Hennager S.G., Nicholson J.M., Fisher T.A. & Byers P.E. (1999). Serodiagnosis of equine piroplasmosis, dourine and glanders using an arrayed immunoblotting method. J. Vet. Diagn. Invest., 11, 292–294.

Khan I., Wieler L.H., Melzer F., Elschner M.C., Muhammad G., Ali S., Sprague L.D., Neubauer H. & Saqib M. (2013). Glanders in animals: a review on epidemiology, clinical presentation, diagnosis and countermeasures. Transbound. Emerg. Dis., 60, 204–221.

Khan I., Wieler L.H., Melzer F., Gwida M., Santana V.L., de Souza M.M., Saqib M., Elschner M.C. & Neubauer H. (2011). Comparative evaluation of three commercially available complement fixation test antigens for the diagnosis of glanders. Vet. Rec., 169, 495.

Kingsley P.V., Arunkumar G., Tipre M., Leader M. & Sathiakumar N. (2016a). Pitfalls and optimal approaches to diagnose melioidosis. Asian Pac. J. Trop. Med., 9, 515–524.

Kingsley P.V., Leader M., Nagodawithana N.S., Tipre M. & Sathiakumar N. (2016b). Melioidosis in Malaysia: A review of case reports. PLoS Negl. Trop. Dis., 10, e0005182.

Kinoshita Y., Cloutier A.K., Rozak D.A., Khan M.S.R., Niwa H., Uchida-Fujii E., Katayama Y. & Tuanyok A. (2019). A novel selective medium for the isolation of Burkholderia mallei from equine specimens. BMC Vet. Res., 15, 133.

Kumar S., Malik P., Verma S.K., Pal V., Gautam V., Mukhopadhyay C. & Rai G.P. (2011). Use of a recombinant Burkholderia intracellular motility a protein for immunodiagnosis of glanders. Clin. Vaccine Immunol., 18, 1456–1461.

Laroucau K., Aaziz R., Vorimore F., Varghese K., Deshayes T., Bertin C., Delannoy S., Sami A.M., Al Batel M., El Shorbagy M., Almutawaa K.A.W., Alanezi S.J., Alazemi Y.S.N., Guernier-Cambert V. & Wernery U. (2021). A genetic variant of Burkholderia mallei detected in Kuwait: Consequences for the PCR diagnosis of glanders. Transbound. Emerg. Dis., 68, 960–963.

Laroucau K., Stefanini A., Klotoe B., Terret J., Vorimore F., Granier S.A., Colot J., Gasque M., Currie B.J. & Desoutter A. (2025). Diagnosis and genotyping of melioidosis in a domestic cat in New Caledonia. Vet. Microbiol., (in press)

Lau S.K., Sridhar S., Ho C.C., Chow W.N., Lee K.C., Lam C.W., Yuen K.Y. & Woo P.C. (2015). Laboratory diagnosis of melioidosis: past, present and future. Exp. Biol. Med. (Maywood), 240, 742–751.

Limmathurotsakul D., Wuthiekanun V., Amornchai P., Wongsuwan G., Day N.P. & Peacock S.J. (2012). Effectiveness of a simplified method for isolation of Burkholderia pseudomallei from soil. Appl. Environ, Microbiol., 78, 876–877.

Limmathurotsakul D., Golding N., Dance D.A., Messina J.P., Pigott D.M., Moyes C.L., Rolim D.B., Bertherat E., Day N.P., Peacock S.J. & Hay S.I. (2016). Predicted global distribution of Burkholderia pseudomallei and burden of melioidosis. Nat. Microbiol., 1, 15008.

Lowe W., March J.K., Bunnell A.J., O’Neill K.L. & Robison R.A. (2014). PCR-based Methodologies Used to Detect and Differentiate the Burkholderia pseudomallei complex: B. pseudomallei, B. mallei, and B. thailandensis. Curr. Issues Mol. Biol., 16, 23–54. Epub 2013 Aug 22.

McRobb E., Sarovich D.S., Price E.P., Kaestli M., Mayo M., Keim P. & Currie B.J. (2015). Tracing melioidosis back to the source: using whole-genome sequencing to investigate an outbreak originating from a contaminated domestic water supply. J. Clin. Microbiol., 53, 1144–1148.

Meumann E.M., Limmathurotsakul D., Dunachie S.J., Wiersinga W.J. & Currie B.J. (2024). Burkholderia pseudomallei and melioidosis. Nat. Rev. Microbiol., 22, 155–169.

Naureen A., Saqib M., Muhammad G., Hussain M.H. & Asi M.N. (2007). Comparative evaluation of Rose Bengal plate agglutination test, mallein test, and some conventional serological tests for diagnosis of equine glanders. J. Vet. Diagn. Invest., 19, 362–367.

Neubauer H., Finke E.-J. & Meyer H. (1997). Human glanders. International Review of the Armed Forces Medical Services, LXX, 10/11/12, 258–265.

Neubauer H., Sprague L.D., Zacharia R., Tomaso H., Al Dahouk S., Wernery R., Wernery U. & Scholz H.C. (2005). Serodiagnosis of Burkholderia mallei infections in horses: state-of-the-art and perspectives. J. Vet. Med. [B] Infect. Dis. Vet. Public Health., 52, 201–205.

Obersteller S., Neubauer H., Hagen R.M. & Frickmann H. (2016). Comparison of five commercial nucleic acid extraction kits for the PCR-based detection of Burkholderia pseudomallei DNA in formalin-fixed, paraffin-embedded tissues. Eur. J. Microbiol. Immunol. (Bp), 6, 244–252.

O’Connell H.A., Rose L.J., Shams A., Bradley M., Arduino M.J. & Rice E.W. (2009). Variability of Burkholderia pseudomallei strain sensitivities to chlorine disinfection. Appl. Environ. Microbiol., 75, 5405–5409.

Pal V., Kumar S., Malik P. & Rai G.P. (2012). Evaluation of recombinant proteins of Burkholderia mallei for serodiagnosis of glanders. Clin. Vaccine Immunol., 19, 1193–1198.

Peacock S.J., Chieng G., Cheng A.C., Dance D.A., Amornchai P., Wongsuvan G., Teerawattanasook N., Chierakul W., Day N.P. & Wuthiekanun V. (2005). Comparison of Ashdown’s medium, Burkholderia cepacia medium, and Burkholderia pseudomallei selective agar for clinical isolation of Burkholderia pseudomallei. J. Clin. Microbiol., 43, 5359–5361.

Prakash A., Thavaselvam D., Kumar A., Kumar A., Arora S., Tiwari S., Barua A. & Sathyaseelan K. (2014). Isolation, identification and characterization of Burkholderia pseudomallei from soil of coastal region of India. Springerplus, 3, 438.

Price E.P., Sarovich D.S., Viberg L., Mayo M., Kaestli M., Tuanyok A., Foster J.T.,Keim P., Pearson T. & Currie B.J. (2015). Whole-genome sequencing of Burkholderia pseudomallei isolates from an unusual melioidosis case identifies a polyclonal infection with the same multilocus sequence type. J. Clin. Microbiol., 53, 282–286.

Pumpuang A., Chantratita N., Wikraiphat C., Saiprom N., Day N.P., Peacock S.J. & Wuthiekanun V. (2011). Survival of Burkholderia pseudomallei in distilled water for 16 years. Trans. R. Soc. Trop. Med. Hyg., 105, 598–600.

Roesnita B., Tay S.T., Puthucheary S.D. & Sam I.C. (2012). Diagnostic use of Burkholderia pseudomallei selective media in a low prevalence setting. Trans. R. Soc. Trop. Med. Hyg., 106, 131–133.

Rush C.M. & Thomas A.D. (2012). Melioidosis in animals. In: Melioidosis – A Century of Observations and Research. Ketheesan N. Ed. Elsevier BV, Amsterdam, the Netherlands, 312–336.

Scholz H.C., Joseph M., Tomaso H., Al Dahouk S., Witte A., Kinne J., Hagen R.M., Wernery R., Wernery U. & Neubauer H. (2006). Detection of the reemerging agent Burkholderia mallei in a recent outbreak of glanders in the United Arab Emirates by a newly developed fliP-based polymerase chain reaction assay. Diagn. Microbiol. Infect. Dis., 54, 241–247.

Singha H., Elschner M.C., Malik P., Saini S., Tripathi B.N., Mertens-Scholz K., Brangsch H., Melzer F., Singh R.K. & Neubauer H. (2021). Molecular typing of Burkholderia mallei isolates from equids with glanders, India. Emerg. Infect. Dis., 27, 1745–1748.

Sprague L.D. & Neubauer H. (2004). A review on animal melioidosis with special respect to epizootiology, clinical presentation and diagnostics. J. Vet. Med. B Infect. Dis. Vet. Public Health, 51, 305–320.

Sprague L.D., Zachariah R., Neubauer H., Wernery R., Joseph M., Scholz H.C. & Wernery U. (2009). Prevalence-dependent use of serological tests for diagnosing glanders in horses. BMC Vet. Res., 5, 32.

St. Georgiev V. (2008). Glanders. In: National Institute of Allergy and Infectious Diseases, NIH: Impact on Global Health. Humana Press (Part of Springer Science+Business Media), New York, USA, 239–241.

Tanpiboonsak S., Paemanee A., Bunyarataphan S. & Tungpradabkul S. (2004). PCR-RFLP based differentiation of Burkholderia mallei and Burkholderia pseudomallei. Mol. Cell. Probes., 18, 97–101.

Thibault F.M., Valade E. & Vidal D.R. (2004). Identification and discrimination of Burkholderia pseudomallei, B. mallei and B. thailandensis by real-time PCR targeting type III secretion system genes. J. Clin. Microbiol., 42, 5871–5874.

Tomaso H., Scholz H.C., Al Dahouk S., Eickhoff M., Treu T.M., Wernery R., Wernery U. & Neubauer H. (2006). Development of a 5’-nuclease real-time PCR assay targeting fliP for the rapid identification of Burkholderia mallei in clinical samples. Clin. Chem., 52, 307–310.

Trung T.T., Hetzer A., Topfstedt E., Göhler A., Limmathurotsakul D., Wuthiekanun V., Peacock S.J. & Steinmetz I. (2011). Improved culture-based detection and quantification of Burkholderia pseudomallei from soil. Trans. R. Soc. Trop. Med. Hyg., 105, 346–351.

Van Zandt K.E., Greer M.T. & Gelhaus H.C. (2013). Glanders: an overview of infection in humans. Orphanet J Rare Dis., 8, 131. https://doi.org/10.1186/1750-1172-8-131

Wernery U. (2009). Glanders. In: Infectious Diseases of the Horse, Mair T.S. & Hutchinson R.E., eds. Equine Veterinary Journal Ltd, Cambridgeshire, UK, 253–260.

Wernery U., Chan E., Raghavan R., Teng J.L.L., Syriac G., Siu S.Y., Joseph M., Yeung M.L., Jia L., Cai J.P., Chiu T.H., Lau S.K.P. & Woo P.C.Y. (2021). Development of a sensitive competitive enzyme-linked immunosorbent assay for serodiagnosis of Burkholderia mallei, a Tier 1 select agent PLoS Negl. Trop. Dis., 15(12):e0010007.

Wernery U., Rodriguez Caveney M., Joseph M., Jose S., John J. & Kinne J. (2019a). Clinical and Pathological Changes of 6 Horses Infected with Burkholderia pseudomallei. Austin J. Vet. Sci. Anim. Husb., 6, 1053.

Wernery U., Rodriguez Caveney M., Wernery R., Raghavan R., Laroucau K., Syriac G., Thomas S.M., John J., Joseph M., Jose S., Joseph S. & Woo P. (2019b). Evaluation of serological responses in horses challenged with Burkholderia pseudomallei using current diagnostic tests for glanders. Vet. Ital., 55, 261–267.

Wittig M.B., Wohlsein P., Hagen R.M., Al Dahouk S., Tomaso H., Scholz H.C., Nikolaou K., Wernery R., Wernery U., Kinne J., Elschner M. & Neubauer H. (2006). Glanders – a comprehensive review. Dtsch. Tierarztl. Wochenschr., 113, 323–230.

Xie X., Xu F., Xu B., Duan X. & Gong R. (1980). A New Selective Medium for Isolation of Glanders Bacilli. Collected papers of veterinary research. Control Institute of Veterinary Biologics, Ministry of Agriculture, Peking, China (People’s Rep. of), 6, 83–90.

Yabuuchi E., Kosako Y., Oyaizu H., Yano I., Hotta H., Hashimoto Y., Ezaki T. & Arakawa M. (1992). Proposal of Burkholderia gen. nov. and transfer of seven species of the genus Pseudomonas homology group II to the new genus with the type species Burkholderia cepacia (Palleroni and Holmes 1981) comb. nov. Microbiol. Immunol., 36, 1251–1275.

Zong Z., Wang X., Deng Y. & Zhou T. (2012). Misidentification of Burkholderia pseudomallei as Burkholderia cepacia by the VITEK 2 system. J. Med. Microbiol., 61, 1483–1484.

*
*   *

NB: There are WOAH Reference Laboratories for glanders (please consult the WOAH web site: http://www.woah.org/en/scientific-expertise/reference-laboratories/list-of-laboratories/). 
Please contact the WOAH Reference Laboratories for any further information on 
diagnostic tests, reagents and diagnostic biologicals for glanders

NB: First adopted in 1991. Most recent updates adopted in 2018.

Appendix 1: Glanders
Intended purpose of test: population freedom from infection

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CFT ☑☑☐ | Serum and complement fixing antibodies against B. mallei | Dsp = 96.4 %(CI 95%: 95.6-97.0) Dse = 98.0% (CI 95%: 95.5-99.4) | 1. 254 true-positive field serum samples from Pakistan and India 2. 2,959 true-negative field serum samples from Asia, South-America and Europe | See reference | 1. High sensitivity of CFT | 1. Significantly less specific than e.g. ELISA and Western blot 2. Commercially limited available reagents 3. Complicated non-harmonised testing protocol 4. Experienced staff needed | Elschner et al. (2019) |
| CFT ☑☑☐ | Serum and complement fixing antibodies against B. mallei | Dsp = 97.0 %(CI 95%: 94.8-98.4) Dse = 96,5% (CI 95%: 94.1-98.1) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Significantly less specific than e.g. ELISA and Western blot 2. Commercially limited available reagents 3. Complicated non-harmonised testing protocol 4. Experienced staff needed | Elschner et al. (2021) |
| (a)Double-antigen ELISA ☑☑☑ Equids | Serum and plasma and B. mallei recombinant proteins | Reference tests were Western blot and CFT Dsp = 99.8% (CI 95%: 98.6-100) Dse = 98.1% (CI 95%: 96.1–99.2) | 1. 370 true-positive field serum samples (clinical signs and positive CFT or isolation of B. mallei or molecular detection of B. mallei from Pakistan and India) 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Significantly more specific than CFT 2. Comparable sensitivity of CFT and the ELISA 3. Commercially available 4. Rapid and simple testing protocol | 1. Validation data based on samples from India and Pakistan only 2. Not sufficiently validated for donkeys and mules 3. Analytical specificity determined only with sera from a European country free of glanders and melioidosis 4. Cross reactivity with B. pseudomallei | Elschner et al. (2021) ILC validation report Desoutter et al. (2024) Laroucau et al. (2025) |
| Mallein skin test ☑☐☐ | Mallein | N/A | N/A | N/A | N/A | 1. Low sensitivity and specificity 2. Animal welfare concens | N/A |
| Western blotting ☑☐☐ | Serum and antibodies against B. mallei | Dsp = 99.2 %(CI 95%: 97.8-99.8) Dse = 97.3% (CI 95%: 95.1-98.7) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Commercially not available 2. Complicated testing protocol 3. Experienced staff needed 4. Cross reaction with B. pseudomallei antibodies | Elschner et al. (2021) |

Key: Dsp = diagnostic specificity; Dse = diagnostic sensitivity 
(a)Horse samples only – care needed with interpretation of test on donkey samples.

Appendix 2: Glanders
Intended purpose of test: individual animal freedom from infection prior to movement

| Test with score and species | Sample type and target analytes | Accuracy | Test population used to measure accuracy | Validation report | Advantages | Disadvantages: | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| (a)CFT ☑☑☐ | Serum and complement fixing antibodies against B. mallei | Dsp = 97.0 %(CI 95%: 94.8-98.4) Dse = 96,5% (CI 95%: 94.1-98.1) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Significantly less specific than e.g. ELISA and Western blot 2. Commercially limited available reagents 3. Complicated non-harmonised testing protocol 4. Experienced staff needed | Elschner et al. (2021) |
| (a)Double-antigen ELISA ☑☑☑ Equids | Serum and plasma and B. mallei recombinant proteins | Reference tests were Western blot and CFT Dsp = 99.8% (CI 95%: 98.6-100) Dse = 98.1% (CI 95%: 96.1–99.2) | 1. 370 true-positive field serum samples (clinical signs and positive CFT or isolation of B. mallei or molecular detection of B. mallei from Pakistan and India) 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Significantly more specific than CFT 2. Comparable sensitivity of CFT and the ELISA 3. Commercially available 4. Rapid and simple testing protocol | 1. Validation data based on samples from India and Pakistan only 2. Not sufficiently validated for donkeys and mules 3. Analytical specificity determined only with sera from a European country free of glanders and melioidosis 4. Cross reactivity with B. pseudomallei | Elschner et al. (2021) ILC validation report Desoutter et al. (2024) Laroucau et al. (2025) |
| Mallein skin test ☑☐☐ | Mallein | N/A | N/A | N/A | N/A | 1. Low sensitivity and specificity 2. Animal welfare concens | N/A |
| Western blotting ☑☐☐ | Serum and antibodies against B. mallei | Dsp = 99.2 %(CI 95%: 97.8-99.8) Dse = 97.3% (CI 95%: 95.1-98.7) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Commercially not available 2. Complicated testing protocol 3. Experienced staff needed | Elschner et al. (2021) |

Key: Dsp = diagnostic specificity; Dse = diagnostic sensitivity

(a)Horse samples only – care needed with interpretation of test on donkey samples.

Appendix 3: Glanders 
Intended purpose of test: contribute to eradication policies

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CFT ☑☑☑ | Serum and complement fixing antibodies against B. mallei | Dsp = 97.0 %(CI 95%: 94.8-98.4) Dse = 96,5% (CI 95%: 94.1-98.1) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Significantly less specific than e.g. ELISA and Western blot 2. Commercially limited available reagents 3. Complicated non-harmonised testing protocol 4. Experienced staff needed | Elschner et al. (2021) |
| (a)Double-antigen ELISA ☑☑☑ Equids | Serum and plasma and B. mallei recombinant proteins | Reference tests were Western blot and CFT Dsp = 99.8% (CI 95%: 98.6-100) Dse = 98.1% (CI 95%: 96.1–99.2) | 1. 370 true-positive field serum samples (clinical signs and positive CFT or isolation of B. mallei or molecular detection of B. mallei from Pakistan and India) 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Significantly more specific than CFT 2. Comparable sensitivity of CFT and the ELISA 3. Commercially available 4. Rapid and simple testing protocol | 1. Validation data based on samples from India and Pakistan only 2. Not sufficiently validated for donkeys and mules 3. Analytical specificity determined only with sera from a European country free of glanders and melioidosis 4. Cross reactivity with B. pseudomallei | Elschner et al. (2021) ILC validation report Desoutter et al. (2024) Laroucau et al. (2025) |
| Mallein skin test ☑☐☐ | Mallein | N/A | N/A | N/A | N/A | 1. Low sensitivity and specificity 2. Animal welfare concens | N/A |
| Western blotting ☑☑☐ | Serum and antibodies against B. mallei | Dsp = 99.2 %(CI 95%: 97.8-99.8) Dse = 97.3% (CI 95%: 95.1-98.7) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Commercially not available 2. Complicated testing protocol 3. Experienced staff needed | Elschner et al. (2021) |

Key: Dsp = diagnostic specificity; Dse = diagnostic sensitivity

(a)Horse samples only – care needed with interpretation of test on donkey samples.

Appendix 4: Glanders 
Intended purpose of test: confirmation of clinical cases

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Conventional PCR ☑☑☐ | Lesions, tissues, swabs and primers specific for B. mallei | N/A | N/A | See reference | High specificity Rapid for real-time PCR | Intermediate sensitivity Time consuming | Scholz et al. (2006) |
| Real-time PCR ☑☑☑ | Lesions, tissues, swabs and primers specific for B. mallei | N/A | N/A | See reference | High sensitivity and specificity Rapid | Need expensive lab equipment | Tomaso et al. (2006) |
| Culture ☑☑☐ | Lesions, tissues, swabs on recommended culture media | N/A | N/A | N/A | Obtaining isolates for further characterisation | Low to intermediate sensitivity |  |
| CFT ☑☑☐ | Serum and complement fixing antibodies against B. mallei | Dsp = 96.4 %(CI 95%: 95.6-97.0) Dse = 98.0% (CI 95%: 95.5-99.4) | 1. 254 true-positive field serum samples from Pakistan and India 2. 2,959 true-negative field serum samples from Asia, South-America and Europe | See reference | 1. High sensitivity of CFT | 1. Significantly less specific than e.g. ELISA and Western blot 2. Commercially limited available reagents 3. Complicated non-harmonised testing protocol 4. experienced staff needed | Elschner et al. (2019) |
| CFT ☑☑☐ | Serum and complement fixing antibodies against B. mallei | Dsp = 97.0 %(CI 95%: 94.8-98.4) Dse = 96,5% (CI 95%: 94.1-98.1) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Significantly less specific than e.g. ELISA and Western blot 2. Commercially limited available reagents 3. Complicated non-harmonised testing protocol 4. experienced staff needed | Elschner et al. (2021) |
| (a)Double-antigen ELISA ☑☑☑ Equids | Serum and plasma and B. mallei recombinant proteins | Reference tests were Western blot and CFT Dsp = 99.8% (CI 95%: 98.6-100) Dse = 98.1% (CI 95%: 96.1–99.2) | 1. 370 true-positive field serum samples (clinical signs and positive CFT or isolation of B. mallei or molecular detection of B. mallei from Pakistan and India) 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Significantly more specific than CFT 2. Comparable sensitivity of CFT and the ELISA 3. Commercially available 4. Rapid and simple testing protocol | 1. Validation data based on samples from India and Pakistan only 2. Not sufficiently validated for donkeys and mules 3. Analytical specificity determined only with sera from a European country free of glanders and melioidosis 4. Cross reactivity with B. pseudomallei | Elschner et al. (2021) ILC validation report Desoutter et al. (2024) Laroucau et al. (2025) |
| Mallein skin test ☑☐☐ | Mallein | N/A | N/A | N/A | N/A | 1. Low sensitivity and specificity 2. Animal welfare concens | N/A |
| Western blotting ☑☐☐ | Serum and antibodies against B. mallei | Dsp = 99.2 %(CI 95%: 97.8-99.8) Dse = 97.3% (CI 95%: 95.1-98.7) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Commercially not available 2. Complicated testing protocol 3. Experienced staff needed | Elschner et al. (2021) |

Key: Dsp = diagnostic specificity; Dse = diagnostic sensitivity

(a)Horse samples only – care needed with interpretation of test on donkey samples.

Appendix 5: Glanders 
Intended purpose of test: prevalence of infection – surveillance

| Test with score and species | Sample type and target analytes | Accuracy | Test population | Validation report | Advantages | Disadvantages | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CFT ☑☑☑ | Serum and complement fixing antibodies against B. mallei | Dsp = 96.4 %(CI 95%: 95.6-97.0) Dse = 98.0% (CI 95%: 95.5-99.4) | 1. 254 true-positive field serum samples from Pakistan and India 2. 2,959 true-negative field serum samples from Asia, South-America and Europe | See reference | 1. High sensitivity of CFT | 1. Significantly less specific than e.g. ELISA and Western blot 2. Commercially limited available reagents 3. Complicated non-harmonised testing protocol 4. Experienced staff needed | Elschner et al. (2019) |
| CFT ☑☑☑ | Serum and complement fixing antibodies against B. mallei | Dsp = 97.0 %(CI 95%: 94.8-98.4) Dse = 96,5% (CI 95%: 94.1-98.1) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Significantly less specific than e.g. ELISA and Western blot 2. Commercially limited available reagents 3. Complicated non-harmonised testing protocol 4. Experienced staff needed | Elschner et al. (2021) |
| (a)Double-antigen ELISA ☑☑☑ Equids | Serum and plasma and B. mallei recombinant proteins | Reference tests were Western blot and CFT Dsp = 99.8% (CI 95%: 98.6-100) Dse = 98.1% (CI 95%: 96.1–99.2) | 1. 370 true-positive field serum samples (clinical signs and positive CFT or isolation of B. mallei or molecular detection of B. mallei from Pakistan and India) 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Significantly more specific than CFT 2. Comparable sensitivity of CFT and the ELISA 3. Commercially available 4. Rapid and simple testing protocol | 1. Validation data based on samples from India and Pakistan only 2. Not sufficiently validated for donkeys and mules 3. Analytical specificity determined only with sera from a European country free of glanders and melioidosis 4. Cross reactivity with B. pseudomallei | Elschner et al. (2021) ILC validation report Desoutter et al. (2024) Laroucau et al. (2025) |
| Mallein skin test ☑☐☐ | Mallein | N/A | N/A | N/A | N/A | 1. Low sensitivity and specificity 2. Animal welfare concens | N/A |
| Western blotting ☑☑☐ | Serum and antibodies against B. mallei | Dsp = 99.2 %(CI 95%: 97.8-99.8) Dse = 97.3% (CI 95%: 95.1-98.7) | 1. 370 true-positive field serum samples from Pakistan and India 2. 400 true-negative field serum samples from Germany (officially free from glanders) tested negative in CFT | See reference | 1. Comparable sensitivity of CFT and e.g. ELISA and Western blot | 1. Commercially not available 2. Complicated testing protocol 3. Experienced staff needed | Elschner et al. (2021) |

Key: Dsp = diagnostic specificity; Dse = diagnostic sensitivity

(a)Horse samples only – care needed with interpretation of test on donkey samples.

MALDI-TOF: Matrix assisted laser desorption ionisation time of flight [mass spectrometry]

MALDI-TOF MS: Matrix assisted laser desorption ionisation time of flight mass spectrometry

Central Veterinary Control and Research Institute, 06020 Etlik, Ankara, Turkey; Pasteur Institute, Bucharest, Romania, Calea Giulesti 333, Cod:060269, Sector 6 aprovizionare@pasteur.ro